## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3544-11_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3544-11_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3544-11_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3544-11_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3544-11_0_5_node_129 | 0.4 | n |  | TRUE
5 | bus_LV_3544-11_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_3544-11_0_5_node_139 | 0.4 | n |  | TRUE
7 | bus_LV_3544-11_0_5_node_119 | 0.4 | n |  | TRUE
8 | bus_LV_3544-11_0_5_node_120 | 0.4 | n |  | TRUE
9 | bus_LV_3544-11_0_5_node_121 | 0.4 | n |  | TRUE
10 | bus_LV_3544-11_0_5_node_122 | 0.4 | n |  | TRUE
11 | bus_LV_3544-11_0_5_node_123 | 0.4 | n |  | TRUE
12 | bus_LV_3544-11_0_5_node_125 | 0.4 | n |  | TRUE
13 | bus_LV_3544-11_0_5_node_127 | 0.4 | n |  | TRUE
14 | bus_LV_3544-11_0_5_node_137 | 0.4 | n |  | TRUE
15 | bus_LV_3544-11_0_5_node_124 | 0.4 | n |  | TRUE
16 | bus_LV_3544-11_0_5_node_128 | 0.4 | n |  | TRUE
17 | bus_LV_3544-11_0_5_node_126 | 0.4 | n |  | TRUE
18 | bus_LV_3544-11_0_5_node_138 | 0.4 | n |  | TRUE
19 | bus_LV_3544-11_0_5_node_136 | 0.4 | n |  | TRUE
20 | bus_LV_3544-11_0_5_node_130 | 0.4 | n |  | TRUE
21 | bus_LV_3544-11_0_5_node_131 | 0.4 | n |  | TRUE
22 | bus_LV_3544-11_0_5_node_132 | 0.4 | n |  | TRUE
23 | bus_LV_3544-11_0_5_node_133 | 0.4 | n |  | TRUE
24 | bus_LV_3544-11_0_5_node_134 | 0.4 | n |  | TRUE
25 | bus_LV_3544-11_0_5_node_135 | 0.4 | n |  | TRUE
26 | bus_LV_3544-11_0_5_node_100 | 0.4 | n |  | TRUE
27 | bus_LV_3544-11_0_5_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_3544-11_0_5_node_10 | 0.4 | n |  | TRUE
29 | bus_LV_3544-11_0_5_node_140 | 0.4 | n |  | TRUE
30 | bus_LV_3544-11_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_3544-11_0_5_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_3544-11_0_5_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_3544-11_0_5_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_3544-11_0_5_node_8 | 0.4 | n |  | TRUE
35 | bus_LV_3544-11_0_5_node_5 | 0.4 | n |  | TRUE
36 | bus_LV_3544-11_0_5_node_6 | 0.4 | n |  | TRUE
37 | bus_LV_3544-11_0_5_node_7 | 0.4 | n |  | TRUE
38 | bus_LV_3544-11_0_5_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_3544-11_0_5_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_3544-11_0_5_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_3544-11_0_5_node_9 | 0.4 | n |  | TRUE
42 | bus_LV_3544-11_0_5_node_11 | 0.4 | n |  | TRUE
43 | bus_LV_3544-11_0_5_node_15 | 0.4 | n |  | TRUE
44 | bus_LV_3544-11_0_5_node_13 | 0.4 | n |  | TRUE
45 | bus_LV_3544-11_0_5_node_12 | 0.4 | n |  | TRUE
46 | bus_LV_3544-11_0_5_node_14 | 0.4 | n |  | TRUE
47 | bus_LV_3544-11_0_5_node_16 | 0.4 | n |  | TRUE
48 | bus_LV_3544-11_0_5_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_3544-11_0_5_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_3544-11_0_5_node_17 | 0.4 | n |  | TRUE
51 | bus_LV_3544-11_0_5_node_18 | 0.4 | n |  | TRUE
52 | bus_LV_3544-11_0_5_node_19 | 0.4 | n |  | TRUE
53 | bus_LV_3544-11_0_5_node_20 | 0.4 | n |  | TRUE
54 | bus_LV_3544-11_0_5_node_21 | 0.4 | n |  | TRUE
55 | bus_LV_3544-11_0_5_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_3544-11_0_5_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_3544-11_0_5_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_3544-11_0_5_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_3544-11_0_5_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_3544-11_0_5_node_24 | 0.4 | n |  | TRUE
61 | bus_LV_3544-11_0_5_node_25 | 0.4 | n |  | TRUE
62 | bus_LV_3544-11_0_5_node_26 | 0.4 | n |  | TRUE
63 | bus_LV_3544-11_0_5_node_27 | 0.4 | n |  | TRUE
64 | bus_LV_3544-11_0_5_node_28 | 0.4 | n |  | TRUE
65 | bus_LV_3544-11_0_5_node_29 | 0.4 | n |  | TRUE
66 | bus_LV_3544-11_0_5_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_3544-11_0_5_node_110 | 0.4 | n |  | TRUE
68 | bus_LV_3544-11_0_5_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_3544-11_0_5_node_108 | 0.4 | n |  | TRUE
70 | bus_LV_3544-11_0_5_node_30 | 0.4 | n |  | TRUE
71 | bus_LV_3544-11_0_5_node_31 | 0.4 | n |  | TRUE
72 | bus_LV_3544-11_0_5_node_32 | 0.4 | n |  | TRUE
73 | bus_LV_3544-11_0_5_node_33 | 0.4 | n |  | TRUE
74 | bus_LV_3544-11_0_5_node_34 | 0.4 | n |  | TRUE
75 | bus_LV_3544-11_0_5_node_35 | 0.4 | n |  | TRUE
76 | bus_LV_3544-11_0_5_node_112 | 0.4 | n |  | TRUE
77 | bus_LV_3544-11_0_5_node_111 | 0.4 | n |  | TRUE
78 | bus_LV_3544-11_0_5_node_116 | 0.4 | n |  | TRUE
79 | bus_LV_3544-11_0_5_node_114 | 0.4 | n |  | TRUE
80 | bus_LV_3544-11_0_5_node_109 | 0.4 | n |  | TRUE
81 | bus_LV_3544-11_0_5_node_117 | 0.4 | n |  | TRUE
82 | bus_LV_3544-11_0_5_node_40 | 0.4 | n |  | TRUE
83 | bus_LV_3544-11_0_5_node_42 | 0.4 | n |  | TRUE
84 | bus_LV_3544-11_0_5_node_44 | 0.4 | n |  | TRUE
85 | bus_LV_3544-11_0_5_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_3544-11_0_5_node_141 | 0.4 | n |  | TRUE
87 | bus_LV_3544-11_0_5_node_56 | 0.4 | n |  | TRUE
88 | bus_LV_3544-11_0_5_node_50 | 0.4 | n |  | TRUE
89 | bus_LV_3544-11_0_5_node_51 | 0.4 | n |  | TRUE
90 | bus_LV_3544-11_0_5_node_53 | 0.4 | n |  | TRUE
91 | bus_LV_3544-11_0_5_node_55 | 0.4 | n |  | TRUE
92 | bus_LV_3544-11_0_5_node_142 | 0.4 | n |  | TRUE
93 | bus_LV_3544-11_0_5_node_57 | 0.4 | n |  | TRUE
94 | bus_LV_3544-11_0_5_node_58 | 0.4 | n |  | TRUE
95 | bus_LV_3544-11_0_5_node_59 | 0.4 | n |  | TRUE
96 | bus_LV_3544-11_0_5_node_60 | 0.4 | n |  | TRUE
97 | bus_LV_3544-11_0_5_node_113 | 0.4 | n |  | TRUE
98 | bus_LV_3544-11_0_5_node_106 | 0.4 | n |  | TRUE
99 | bus_LV_3544-11_0_5_node_66 | 0.4 | n |  | TRUE
100 | bus_LV_3544-11_0_5_node_104 | 0.4 | n |  | TRUE
101 | bus_LV_3544-11_0_5_node_103 | 0.4 | n |  | TRUE
102 | bus_LV_3544-11_0_5_node_99 | 0.4 | n |  | TRUE
103 | bus_LV_3544-11_0_5_node_77 | 0.4 | n |  | TRUE
104 | bus_LV_3544-11_0_5_node_93 | 0.4 | n |  | TRUE
105 | bus_LV_3544-11_0_5_node_97 | 0.4 | n |  | TRUE
106 | bus_LV_3544-11_0_5_node_69 | 0.4 | n |  | TRUE
107 | bus_LV_3544-11_0_5_node_70 | 0.4 | n |  | TRUE
108 | bus_LV_3544-11_0_5_node_71 | 0.4 | n |  | TRUE
109 | bus_LV_3544-11_0_5_node_72 | 0.4 | n |  | TRUE
110 | bus_LV_3544-11_0_5_node_98 | 0.4 | n |  | TRUE
111 | bus_LV_3544-11_0_5_node_86 | 0.4 | n |  | TRUE
112 | bus_LV_3544-11_0_5_node_87 | 0.4 | n |  | TRUE
113 | bus_LV_3544-11_0_5_node_73 | 0.4 | n |  | TRUE
114 | bus_LV_3544-11_0_5_node_74 | 0.4 | n |  | TRUE
115 | bus_LV_3544-11_0_5_node_75 | 0.4 | n |  | TRUE
116 | bus_LV_3544-11_0_5_node_76 | 0.4 | n |  | TRUE
117 | bus_LV_3544-11_0_5_node_88 | 0.4 | n |  | TRUE
118 | bus_LV_3544-11_0_5_node_91 | 0.4 | n |  | TRUE
119 | bus_LV_3544-11_0_5_node_78 | 0.4 | n |  | TRUE
120 | bus_LV_3544-11_0_5_node_79 | 0.4 | n |  | TRUE
121 | bus_LV_3544-11_0_5_node_80 | 0.4 | n |  | TRUE
122 | bus_LV_3544-11_0_5_node_81 | 0.4 | n |  | TRUE
123 | bus_LV_3544-11_0_5_node_82 | 0.4 | n |  | TRUE
124 | bus_LV_3544-11_0_5_node_83 | 0.4 | n |  | TRUE
125 | bus_LV_3544-11_0_5_node_94 | 0.4 | n |  | TRUE
126 | bus_LV_3544-11_0_5_node_84 | 0.4 | n |  | TRUE
127 | bus_LV_3544-11_0_5_node_95 | 0.4 | n |  | TRUE
128 | bus_LV_3544-11_0_5_node_89 | 0.4 | n |  | TRUE
129 | bus_LV_3544-11_0_5_node_85 | 0.4 | n |  | TRUE
130 | bus_LV_3544-11_0_5_node_90 | 0.4 | n |  | TRUE
131 | bus_LV_3544-11_0_5_node_92 | 0.4 | n |  | TRUE
132 | bus_LV_3544-11_0_5_node_102 | 0.4 | n |  | TRUE
133 | bus_LV_3544-11_0_5_node_96 | 0.4 | n |  | TRUE
134 | bus_LV_3544-11_0_5_node_101 | 0.4 | n |  | TRUE
135 | bus_LV_3544-11_0_5_node_107 | 0.4 | n |  | TRUE
136 | bus_LV_3544-11_0_5_node_118 | 0.4 | n |  | TRUE
137 | bus_MV_158_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3544-11_0_5_load_0 | 0 | 0.00040489 | 0.00010147 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3544-11_0_5_load_3 | 3 | 0.00021291 | 5.336e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3544-11_0_5_load_129 | 4 | 0.00042709 | 0.00010704 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3544-11_0_5_load_139 | 6 | 0.0024441 | 0.00061255 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3544-11_0_5_load_119 | 7 | 0.00087396 | 0.00021903 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3544-11_0_5_load_122 | 10 | 0.0010358 | 0.00025959 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3544-11_0_5_load_125 | 12 | 0.00044217 | 0.00011082 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3544-11_0_5_load_127 | 13 | 0.00057035 | 0.00014294 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3544-11_0_5_load_137 | 14 | 0.00016304 | 4.0861e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3544-11_0_5_load_128 | 16 | 0.00064192 | 0.00016088 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3544-11_0_5_load_126 | 17 | 0.00049912 | 0.00012509 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3544-11_0_5_load_138 | 18 | 0.00074871 | 0.00018764 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3544-11_0_5_load_136 | 19 | 0.00058171 | 0.00014579 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3544-11_0_5_load_130 | 20 | 0.00098244 | 0.00024622 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3544-11_0_5_load_131 | 21 | 0.00046002 | 0.00011529 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3544-11_0_5_load_132 | 22 | 0.00042904 | 0.00010753 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3544-11_0_5_load_133 | 23 | 0.00030453 | 7.6322e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3544-11_0_5_load_134 | 24 | 0.00099499 | 0.00024937 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3544-11_0_5_load_135 | 25 | 0.00031042 | 7.7799e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3544-11_0_5_load_100 | 26 | 0.00024834 | 6.2239e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3544-11_0_5_load_10 | 28 | 0.0042965 | 0.0010768 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3544-11_0_5_load_140 | 29 | 0.0038442 | 0.00096344 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3544-11_0_5_load_46 | 32 | 0.00068905 | 0.00017269 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3544-11_0_5_load_39 | 33 | 0.0005737 | 0.00014378 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3544-11_0_5_load_8 | 34 | 0.0020867 | 0.00052297 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3544-11_0_5_load_5 | 35 | 0.0007711 | 0.00019326 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3544-11_0_5_load_6 | 36 | 0.001775 | 0.00044486 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3544-11_0_5_load_7 | 37 | 0.0018072 | 0.00045292 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3544-11_0_5_load_41 | 40 | 0.0031426 | 0.0007876 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3544-11_0_5_load_9 | 41 | 0.0018666 | 0.00046781 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3544-11_0_5_load_11 | 42 | 0.0010126 | 0.00025378 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3544-11_0_5_load_15 | 43 | 0.0017093 | 0.00042838 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3544-11_0_5_load_13 | 44 | 0.0027034 | 0.00067755 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3544-11_0_5_load_12 | 45 | 0.0038663 | 0.00096898 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3544-11_0_5_load_14 | 46 | 0.0038335 | 0.00096076 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3544-11_0_5_load_16 | 47 | 0.0033677 | 0.00084403 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3544-11_0_5_load_37 | 48 | 0.0093264 | 0.0023374 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3544-11_0_5_load_36 | 49 | 0.0042486 | 0.0010648 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3544-11_0_5_load_17 | 50 | 0.0013376 | 0.00033522 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3544-11_0_5_load_18 | 51 | 0.0030126 | 0.00075502 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3544-11_0_5_load_47 | 55 | 0.0021914 | 0.00054921 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3544-11_0_5_load_54 | 56 | 0.0030767 | 0.00077109 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3544-11_0_5_load_52 | 57 | 0.0031336 | 0.00078536 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3544-11_0_5_load_61 | 58 | 0.00044472 | 0.00011146 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3544-11_0_5_load_38 | 59 | 0.0012535 | 0.00031415 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3544-11_0_5_load_24 | 60 | 0.0054046 | 0.0013545 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3544-11_0_5_load_25 | 61 | 0.0064464 | 0.0016156 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3544-11_0_5_load_27 | 63 | 0.0033 | 0.00082705 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3544-11_0_5_load_28 | 64 | 0.0042675 | 0.0010695 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3544-11_0_5_load_29 | 65 | 0.001803 | 0.00045187 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3544-11_0_5_load_48 | 66 | 0.0024439 | 0.00061251 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3544-11_0_5_load_110 | 67 | 0.0012817 | 0.00032121 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3544-11_0_5_load_49 | 68 | 0.0030882 | 0.00077396 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3544-11_0_5_load_30 | 70 | 0.0027477 | 0.00068865 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3544-11_0_5_load_31 | 71 | 0.020186 | 0.005059 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3544-11_0_5_load_33 | 73 | 0.0040316 | 0.0010104 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3544-11_0_5_load_111 | 77 | 0.0011474 | 0.00028757 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3544-11_0_5_load_116 | 78 | 0.00094893 | 0.00023783 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3544-11_0_5_load_114 | 79 | 0.00090596 | 0.00022705 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3544-11_0_5_load_109 | 80 | 0.0013404 | 0.00033594 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3544-11_0_5_load_40 | 82 | 0.0019006 | 0.00047633 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3544-11_0_5_load_42 | 83 | 0.0021687 | 0.00054352 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3544-11_0_5_load_141 | 86 | 0.00039828 | 9.9817e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3544-11_0_5_load_56 | 87 | 0.0025539 | 0.00064007 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3544-11_0_5_load_50 | 88 | 0.0018106 | 0.00045378 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3544-11_0_5_load_51 | 89 | 0.0055024 | 0.001379 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3544-11_0_5_load_142 | 92 | 0.0035965 | 0.00090137 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3544-11_0_5_load_57 | 93 | 0.0012032 | 0.00030156 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3544-11_0_5_load_58 | 94 | 0.0055951 | 0.0014023 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3544-11_0_5_load_59 | 95 | 0.010138 | 0.0025408 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3544-11_0_5_load_113 | 97 | 0.0033163 | 0.00083115 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3544-11_0_5_load_106 | 98 | 0.0024735 | 0.00061993 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3544-11_0_5_load_66 | 99 | 0.00061018 | 0.00015293 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3544-11_0_5_load_104 | 100 | 0.00033208 | 8.3226e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3544-11_0_5_load_103 | 101 | 0.00019569 | 4.9044e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3544-11_0_5_load_99 | 102 | 0.00030627 | 7.6759e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3544-11_0_5_load_77 | 103 | 0.00021926 | 5.4951e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3544-11_0_5_load_97 | 105 | 0.00025274 | 6.3342e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3544-11_0_5_load_69 | 106 | 0.00020592 | 5.1609e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3544-11_0_5_load_70 | 107 | 0.0002838 | 7.1128e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3544-11_0_5_load_86 | 111 | 0.0001698 | 4.2556e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3544-11_0_5_load_87 | 112 | 0.00013907 | 3.4854e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3544-11_0_5_load_73 | 113 | 0.00032697 | 8.1947e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3544-11_0_5_load_74 | 114 | 0.00029339 | 7.3529e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3544-11_0_5_load_75 | 115 | 0.00025912 | 6.4941e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3544-11_0_5_load_88 | 117 | 0.00032026 | 8.0265e-05 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3544-11_0_5_load_78 | 119 | 0.00032836 | 8.2295e-05 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3544-11_0_5_load_79 | 120 | 0.00040135 | 0.00010059 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3544-11_0_5_load_82 | 123 | 0.00026431 | 6.6243e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3544-11_0_5_load_83 | 124 | 0.0002989 | 7.4911e-05 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3544-11_0_5_load_94 | 125 | 0.00036126 | 9.0541e-05 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3544-11_0_5_load_84 | 126 | 0.0002308 | 5.7844e-05 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3544-11_0_5_load_95 | 127 | 0.00030957 | 7.7584e-05 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3544-11_0_5_load_89 | 128 | 0.00051715 | 0.00012961 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3544-11_0_5_load_85 | 129 | 0.00019164 | 4.8029e-05 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3544-11_0_5_load_90 | 130 | 0.00034086 | 8.5427e-05 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3544-11_0_5_load_102 | 132 | 0.000324 | 8.1203e-05 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3544-11_0_5_load_96 | 133 | 0.00016659 | 4.1752e-05 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3544-11_0_5_load_101 | 134 | 0.00012138 | 3.0421e-05 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3544-11_0_5_load_107 | 135 | 0.0023808 | 0.00059669 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3544-11_0_5_load_118 | 136 | 0.0012547 | 0.00031446 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3544-11_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.10919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_3544-11_0_5_line_1 | NAYY 4x150 SE | 0 | 2 | 0.13221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_3544-11_0_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.14716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3544-11_0_5_line_3 | NAYY 4x150 SE | 1 | 4 | 0.35583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_3544-11_0_5_line_4 | NAYY 4x150 SE | 2 | 5 | 0.036187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_3544-11_0_5_line_5 | NAYY 4x150 SE | 3 | 6 | 0.10045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3544-11_0_5_line_6 | NAYY 4x150 SE | 4 | 20 | 0.059089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_3544-11_0_5_line_7 | NAYY 4x150 SE | 5 | 27 | 0.07253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3544-11_0_5_line_8 | NAYY 4x150 SE | 5 | 28 | 0.048718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3544-11_0_5_line_9 | NAYY 4x150 SE | 7 | 8 | 0.027037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_3544-11_0_5_line_10 | NAYY 4x150 SE | 7 | 9 | 0.025737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_3544-11_0_5_line_11 | NAYY 4x150 SE | 8 | 10 | 0.028578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_3544-11_0_5_line_12 | NAYY 4x150 SE | 8 | 11 | 0.046865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3544-11_0_5_line_13 | NAYY 4x150 SE | 9 | 12 | 0.045282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_3544-11_0_5_line_14 | NAYY 4x150 SE | 10 | 13 | 0.0032819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_3544-11_0_5_line_15 | NAYY 4x150 SE | 11 | 14 | 0.16743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3544-11_0_5_line_16 | NAYY 4x150 SE | 12 | 17 | 0.016215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_3544-11_0_5_line_17 | NAYY 4x150 SE | 13 | 15 | 0.029562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_3544-11_0_5_line_18 | NAYY 4x150 SE | 15 | 16 | 0.02354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_3544-11_0_5_line_19 | NAYY 4x150 SE | 16 | 19 | 0.0015194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_3544-11_0_5_line_20 | NAYY 4x150 SE | 17 | 18 | 0.26664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_3544-11_0_5_line_21 | NAYY 4x150 SE | 18 | 26 | 1.1936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_3544-11_0_5_line_22 | NAYY 4x150 SE | 19 | 25 | 0.034316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_3544-11_0_5_line_23 | NAYY 4x150 SE | 20 | 21 | 0.002328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_3544-11_0_5_line_24 | NAYY 4x150 SE | 21 | 22 | 0.028644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_3544-11_0_5_line_25 | NAYY 4x150 SE | 22 | 23 | 0.015432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_3544-11_0_5_line_26 | NAYY 4x150 SE | 23 | 24 | 0.0053062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_3544-11_0_5_line_27 | NAYY 4x150 SE | 24 | 25 | 0.010909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_3544-11_0_5_line_28 | NAYY 4x150 SE | 26 | 110 | 0.019496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3544-11_0_5_line_29 | NAYY 4x150 SE | 26 | 107 | 0.1655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3544-11_0_5_line_30 | NAYY 4x150 SE | 27 | 29 | 0.027164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3544-11_0_5_line_31 | NAYY 4x150 SE | 27 | 30 | 0.057599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3544-11_0_5_line_32 | NAYY 4x150 SE | 27 | 31 | 0.046074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3544-11_0_5_line_33 | NAYY 4x150 SE | 28 | 34 | 0.01544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_3544-11_0_5_line_34 | NAYY 4x150 SE | 30 | 32 | 0.04292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3544-11_0_5_line_35 | NAYY 4x150 SE | 30 | 33 | 0.05852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3544-11_0_5_line_36 | NAYY 4x150 SE | 31 | 39 | 0.005532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3544-11_0_5_line_37 | NAYY 4x150 SE | 31 | 58 | 0.05552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3544-11_0_5_line_38 | NAYY 4x150 SE | 33 | 59 | 0.012521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3544-11_0_5_line_39 | NAYY 4x150 SE | 34 | 41 | 0.012433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_3544-11_0_5_line_40 | NAYY 4x150 SE | 35 | 36 | 0.025091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3544-11_0_5_line_41 | NAYY 4x150 SE | 36 | 37 | 0.011553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3544-11_0_5_line_42 | NAYY 4x150 SE | 37 | 38 | 0.010475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3544-11_0_5_line_43 | NAYY 4x150 SE | 38 | 39 | 0.027501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3544-11_0_5_line_44 | NAYY 4x150 SE | 38 | 40 | 0.042441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3544-11_0_5_line_45 | NAYY 4x150 SE | 39 | 86 | 0.029904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3544-11_0_5_line_46 | NAYY 4x150 SE | 40 | 83 | 0.0079942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3544-11_0_5_line_47 | NAYY 4x150 SE | 41 | 42 | 0.0007837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_3544-11_0_5_line_48 | NAYY 4x150 SE | 42 | 43 | 0.020927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_3544-11_0_5_line_49 | NAYY 4x150 SE | 43 | 44 | 0.012412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_3544-11_0_5_line_50 | NAYY 4x150 SE | 44 | 45 | 0.0088045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_3544-11_0_5_line_51 | NAYY 4x150 SE | 45 | 46 | 0.018834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_3544-11_0_5_line_52 | NAYY 4x150 SE | 46 | 47 | 0.0020646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_3544-11_0_5_line_53 | NAYY 4x150 SE | 47 | 48 | 0.016221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_3544-11_0_5_line_54 | NAYY 4x150 SE | 48 | 49 | 0.0047198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_3544-11_0_5_line_55 | NAYY 4x150 SE | 49 | 63 | 0.015182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_3544-11_0_5_line_56 | NAYY 4x150 SE | 50 | 51 | 0.024817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3544-11_0_5_line_57 | NAYY 4x150 SE | 50 | 52 | 0.01551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3544-11_0_5_line_58 | NAYY 4x150 SE | 52 | 53 | 0.03139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3544-11_0_5_line_59 | NAYY 4x150 SE | 52 | 54 | 0.047647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3544-11_0_5_line_60 | NAYY 4x150 SE | 53 | 55 | 0.1043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3544-11_0_5_line_61 | NAYY 4x150 SE | 54 | 56 | 0.13185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3544-11_0_5_line_62 | NAYY 4x150 SE | 56 | 57 | 0.00938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3544-11_0_5_line_63 | NAYY 4x150 SE | 57 | 89 | 0.0019177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3544-11_0_5_line_64 | NAYY 4x150 SE | 59 | 82 | 0.024235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3544-11_0_5_line_65 | NAYY 4x150 SE | 60 | 61 | 0.013468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_3544-11_0_5_line_66 | NAYY 4x150 SE | 60 | 62 | 0.0091849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_3544-11_0_5_line_67 | NAYY 4x150 SE | 61 | 63 | 0.015198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_3544-11_0_5_line_68 | NAYY 4x150 SE | 62 | 64 | 0.016456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3544-11_0_5_line_69 | NAYY 4x150 SE | 62 | 65 | 0.011026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_3544-11_0_5_line_70 | NAYY 4x150 SE | 64 | 66 | 0.01308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3544-11_0_5_line_71 | NAYY 4x150 SE | 65 | 67 | 0.0020473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_3544-11_0_5_line_72 | NAYY 4x150 SE | 66 | 68 | 0.015816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3544-11_0_5_line_73 | NAYY 4x150 SE | 67 | 69 | 0.004858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_3544-11_0_5_line_74 | NAYY 4x150 SE | 68 | 88 | 0.0021136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3544-11_0_5_line_75 | NAYY 4x150 SE | 69 | 98 | 0.012987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_3544-11_0_5_line_76 | NAYY 4x150 SE | 69 | 96 | 0.005548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3544-11_0_5_line_77 | NAYY 4x150 SE | 70 | 71 | 0.071674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3544-11_0_5_line_78 | NAYY 4x150 SE | 70 | 72 | 0.017889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3544-11_0_5_line_79 | NAYY 4x150 SE | 71 | 73 | 0.080253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3544-11_0_5_line_80 | NAYY 4x150 SE | 72 | 74 | 0.11011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3544-11_0_5_line_81 | NAYY 4x150 SE | 72 | 75 | 0.062777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3544-11_0_5_line_82 | NAYY 4x150 SE | 74 | 76 | 0.011281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3544-11_0_5_line_83 | NAYY 4x150 SE | 74 | 77 | 0.1094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
84 | LV_3544-11_0_5_line_84 | NAYY 4x150 SE | 75 | 78 | 0.052443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3544-11_0_5_line_85 | NAYY 4x150 SE | 76 | 79 | 0.070565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3544-11_0_5_line_86 | NAYY 4x150 SE | 77 | 80 | 0.006642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_3544-11_0_5_line_87 | NAYY 4x150 SE | 78 | 81 | 0.067666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3544-11_0_5_line_88 | NAYY 4x150 SE | 80 | 135 | 0.036309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
89 | LV_3544-11_0_5_line_89 | NAYY 4x150 SE | 81 | 136 | 0.036607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3544-11_0_5_line_90 | NAYY 4x150 SE | 83 | 84 | 0.066827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3544-11_0_5_line_91 | NAYY 4x150 SE | 84 | 85 | 0.002869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3544-11_0_5_line_92 | NAYY 4x150 SE | 85 | 87 | 0.066822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3544-11_0_5_line_93 | NAYY 4x150 SE | 87 | 90 | 0.023425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3544-11_0_5_line_94 | NAYY 4x150 SE | 89 | 90 | 0.031425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3544-11_0_5_line_95 | NAYY 4x150 SE | 90 | 91 | 0.031725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3544-11_0_5_line_96 | NAYY 4x150 SE | 91 | 92 | 0.026924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3544-11_0_5_line_97 | NAYY 4x150 SE | 93 | 94 | 0.0087506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3544-11_0_5_line_98 | NAYY 4x150 SE | 93 | 95 | 0.0020747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3544-11_0_5_line_99 | NAYY 4x150 SE | 94 | 96 | 0.0029084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3544-11_0_5_line_100 | NAYY 4x150 SE | 96 | 97 | 0.014318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3544-11_0_5_line_101 | NAYY 4x150 SE | 98 | 135 | 0.0011767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
102 | LV_3544-11_0_5_line_102 | NAYY 4x150 SE | 99 | 100 | 0.93719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3544-11_0_5_line_103 | NAYY 4x150 SE | 100 | 101 | 0.010005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3544-11_0_5_line_104 | NAYY 4x150 SE | 101 | 117 | 0.00374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3544-11_0_5_line_105 | NAYY 4x150 SE | 102 | 103 | 0.1998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3544-11_0_5_line_106 | NAYY 4x150 SE | 102 | 104 | 0.14003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_3544-11_0_5_line_107 | NAYY 4x150 SE | 102 | 105 | 0.21059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3544-11_0_5_line_108 | NAYY 4x150 SE | 103 | 115 | 0.074363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3544-11_0_5_line_109 | NAYY 4x150 SE | 104 | 118 | 0.012198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_3544-11_0_5_line_110 | NAYY 4x150 SE | 105 | 133 | 0.12871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_3544-11_0_5_line_111 | NAYY 4x150 SE | 106 | 107 | 0.012262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_3544-11_0_5_line_112 | NAYY 4x150 SE | 106 | 108 | 0.018383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_3544-11_0_5_line_113 | NAYY 4x150 SE | 108 | 109 | 0.048879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_3544-11_0_5_line_114 | NAYY 4x150 SE | 109 | 111 | 0.018503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_3544-11_0_5_line_115 | NAYY 4x150 SE | 110 | 134 | 0.014465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_3544-11_0_5_line_116 | NAYY 4x150 SE | 110 | 133 | 0.083131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_3544-11_0_5_line_117 | NAYY 4x150 SE | 111 | 112 | 0.018717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_3544-11_0_5_line_118 | NAYY 4x150 SE | 113 | 114 | 0.0023286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_3544-11_0_5_line_119 | NAYY 4x150 SE | 113 | 115 | 0.0027026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_3544-11_0_5_line_120 | NAYY 4x150 SE | 114 | 116 | 0.034503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_3544-11_0_5_line_121 | NAYY 4x150 SE | 116 | 117 | 0.025093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_3544-11_0_5_line_122 | NAYY 4x150 SE | 118 | 128 | 0.028503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_3544-11_0_5_line_123 | NAYY 4x150 SE | 118 | 122 | 0.062078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_3544-11_0_5_line_124 | NAYY 4x150 SE | 119 | 120 | 0.059023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_3544-11_0_5_line_125 | NAYY 4x150 SE | 119 | 121 | 0.040568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_3544-11_0_5_line_126 | NAYY 4x150 SE | 120 | 122 | 0.009655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_3544-11_0_5_line_127 | NAYY 4x150 SE | 121 | 123 | 0.077396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_3544-11_0_5_line_128 | NAYY 4x150 SE | 121 | 124 | 0.077022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_3544-11_0_5_line_129 | NAYY 4x150 SE | 122 | 125 | 0.024704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_3544-11_0_5_line_130 | NAYY 4x150 SE | 123 | 126 | 0.071787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_3544-11_0_5_line_131 | NAYY 4x150 SE | 124 | 127 | 0.012241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_3544-11_0_5_line_132 | NAYY 4x150 SE | 126 | 129 | 0.031406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_3544-11_0_5_line_133 | NAYY 4x150 SE | 128 | 130 | 0.021687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_3544-11_0_5_line_134 | NAYY 4x150 SE | 130 | 131 | 0.075746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_3544-11_0_5_line_135 | NAYY 4x150 SE | 131 | 132 | 0.0054626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3544-11_0_5_trafo_4 | 0.25 MVA 20/0.4 kV | 137 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2772414.3121 | 1171020.7476 | 2772418.2194 | 1171028.9116 | 2772419.0597 | 1171031.9051 | 2772419.1118 | 1171035.154 | 2772418.6349 | 1171038.1653 | 2772417.443 | 1171041.0114 | 2772415.4135 | 1171044.2339 | 2772412.9977 | 1171046.7779 | 2772399.8193 | 1171056.9978 | 2772393.3195 | 1171063.6618 | 2772374.9495 | 1171087.2448 | 2772368.9749 | 1171095.0805 | 2772367.0136 | 1171098.0602 | 2772364.6482 | 1171101.7846 | 2772362.1738 | 1171105.8395 | 2772361.4737 | 1171107.5692
1 | 2772332.8652 | 1171236.5395 | 2772344.0001 | 1171184.4339 | 2772354.6604 | 1171130.4685 | 2772358.6906 | 1171115.1592 | 2772360.5586 | 1171109.8301 | 2772361.4737 | 1171107.5692
2 | 2772414.3121 | 1171020.7476 | 2772407.7232 | 1171023.8501 | 2772396.2304 | 1171030.0258 | 2772387.8475 | 1171035.3456 | 2772379.1538 | 1171042.4248 | 2772371.1346 | 1171049.7457 | 2772362.7829 | 1171059.0478 | 2772356.0108 | 1171068.5288 | 2772352.2575 | 1171074.7267 | 2772349.484 | 1171080.3967 | 2772347.0541 | 1171085.565 | 2772344.5541 | 1171091.5765 | 2772341.1714 | 1171102.2002 | 2772336.5517 | 1171120.1729 | 2772333.1397 | 1171134.9836
3 | 2772414.3121 | 1171020.7476 | 2772588.6213 | 1170710.5366
4 | 2772332.8652 | 1171236.5395 | 2772325.4253 | 1171271.9471
5 | 2772290.4683 | 1171224.0249 | 2772295.0132 | 1171219.5714 | 2772301.174 | 1171212.4417 | 2772306.648 | 1171205.2366 | 2772312.4618 | 1171196.0618 | 2772317.5123 | 1171186.2755 | 2772321.5023 | 1171177.4264 | 2772324.5774 | 1171168.184 | 2772328.1039 | 1171155.7517 | 2772332.3624 | 1171138.3581 | 2772333.1397 | 1171134.9836
6 | 2772588.6213 | 1170710.5366 | 2772591.0692 | 1170651.4985
7 | 2772296.6179 | 1171321.2543 | 2772298.6154 | 1171317.8085 | 2772301.0359 | 1171314.5639 | 2772303.8891 | 1171311.7098 | 2772307.8075 | 1171308.8196 | 2772316.3362 | 1171302.4029 | 2772325.8409 | 1171295.5917 | 2772328.633 | 1171293.2697 | 2772330.902 | 1171290.7658 | 2772333.0054 | 1171287.9014 | 2772334.5627 | 1171284.5875 | 2772335.533 | 1171281.9907 | 2772335.7195 | 1171280.0276 | 2772335.5245 | 1171278.554 | 2772334.9404 | 1171276.769 | 2772334.0563 | 1171275.5647 | 2772332.705 | 1171274.6362 | 2772325.4253 | 1171271.9471
8 | 2772325.4253 | 1171271.9471 | 2772323.7276 | 1171275.6129 | 2772322.1314 | 1171278.4141 | 2772319.8502 | 1171281.3401 | 2772317.308 | 1171284.0252 | 2772314.1294 | 1171286.7476 | 2772309.8875 | 1171289.7064 | 2772304.6786 | 1171292.2147 | 2772295.2346 | 1171295.5802 | 2772287.0871 | 1171299.1164
9 | 2772656.3199 | 1170483.0214 | 2772665.1144 | 1170487.1112 | 2772674.8309 | 1170501.4703
10 | 2772681.6355 | 1170526.2885 | 2772678.9163 | 1170517.013 | 2772674.8309 | 1170501.4703
11 | 2772656.3199 | 1170483.0214 | 2772652.487 | 1170491.4299 | 2772643.9669 | 1170508.7884
12 | 2772638.5399 | 1170441.8173 | 2772643.1987 | 1170448.6129 | 2772655.5269 | 1170466.1388 | 2772657.2506 | 1170471.9603 | 2772657.3142 | 1170477.4671 | 2772656.3199 | 1170483.0214
13 | 2772681.6355 | 1170526.2885 | 2772693.126 | 1170526.6191 | 2772716.8844 | 1170502.5971
14 | 2772643.9669 | 1170508.7884 | 2772642.5208 | 1170511.7346
15 | 2772638.5399 | 1170441.8173 | 2772620.3889 | 1170467.2743 | 2772611.1438 | 1170476.1834 | 2772548.8588 | 1170525.4053 | 2772513.1987 | 1170551.083
16 | 2772716.8844 | 1170502.5971 | 2772728.2864 | 1170491.0685
17 | 2772628.7252 | 1170537.867 | 2772636.2206 | 1170524.5703 | 2772642.5208 | 1170511.7346
18 | 2772628.7252 | 1170537.867 | 2772617.1733 | 1170558.3776
19 | 2772616.4277 | 1170559.7015 | 2772617.1733 | 1170558.3776
20 | 2772728.2864 | 1170491.0685 | 2772887.9254 | 1170277.5004
21 | 2772887.9254 | 1170277.5004 | 2773957.4191 | 1170807.5768
22 | 2772616.4277 | 1170559.7015 | 2772603.503 | 1170582.6496 | 2772600.6432 | 1170590.0979
23 | 2772591.0692 | 1170651.4985 | 2772591.1656 | 1170649.1724
24 | 2772591.1656 | 1170649.1724 | 2772592.3523 | 1170620.5525 | 2772592.3523 | 1170620.5525
25 | 2772595.612 | 1170605.4686 | 2772592.3523 | 1170620.5525
26 | 2772595.612 | 1170605.4686 | 2772596.7329 | 1170600.2822
27 | 2772600.6432 | 1170590.0979 | 2772596.7329 | 1170600.2822 | 2772596.7329 | 1170600.2822
28 | 2773974.707 | 1170798.7736 | 2773963.9914 | 1170805.2692 | 2773957.4191 | 1170807.5768
29 | 2773957.4191 | 1170807.5768 | 2773925.568 | 1170969.9851
30 | 2772280.3384 | 1171338.9923 | 2772280.2097 | 1171335.7412 | 2772280.2968 | 1171332.7077 | 2772280.9464 | 1171330.3464 | 2772282.2338 | 1171328.4371 | 2772284.818 | 1171326.4205 | 2772296.6179 | 1171321.2543
31 | 2772296.6179 | 1171321.2543 | 2772298.6154 | 1171317.8085 | 2772301.0359 | 1171314.5639 | 2772303.8891 | 1171311.7098 | 2772307.8075 | 1171308.8196 | 2772310.9209 | 1171313.7023 | 2772313.8803 | 1171316.7455 | 2772317.9448 | 1171319.6981 | 2772321.834 | 1171321.8228 | 2772326.6651 | 1171323.1404 | 2772333.8887 | 1171324.0485 | 2772342.7684 | 1171324.3369
32 | 2772277.2735 | 1171363.0819 | 2772279.2956 | 1171358.7804 | 2772296.6179 | 1171321.2543
33 | 2772274.265 | 1171307.674 | 2772278.4459 | 1171304.3844 | 2772287.0871 | 1171299.1164 | 2772287.0871 | 1171299.1164
34 | 2772342.7684 | 1171324.3369 | 2772347.5243 | 1171323.7395 | 2772350.5757 | 1171323.0486 | 2772353.5816 | 1171321.8115 | 2772356.8131 | 1171320.1806 | 2772359.5895 | 1171318.1362 | 2772362.5987 | 1171314.6527 | 2772364.6908 | 1171311.9102 | 2772373.5602 | 1171297.8462
35 | 2772342.7684 | 1171324.3369 | 2772347.218 | 1171325.0763 | 2772350.8347 | 1171326.2923 | 2772354.0065 | 1171327.807 | 2772360.0816 | 1171332.4522 | 2772363.6629 | 1171334.9016 | 2772367.5945 | 1171336.8829 | 2772371.9921 | 1171338.633 | 2772376.7746 | 1171339.7713 | 2772381.3536 | 1171340.2698 | 2772394.7068 | 1171340.1975 | 2772397.3591 | 1171339.8066
36 | 2772274.9098 | 1171368.0853 | 2772277.2735 | 1171363.0819
37 | 2772277.2735 | 1171363.0819 | 2772279.9026 | 1171364.3028 | 2772280.3963 | 1171364.4393 | 2772280.9001 | 1171364.4872 | 2772281.4525 | 1171364.4474 | 2772282.0606 | 1171364.3314 | 2772282.5504 | 1171364.0675 | 2772283.0062 | 1171363.658 | 2772290.0074 | 1171353.3828 | 2772294.4868 | 1171348.0175 | 2772302.3507 | 1171338.6235 | 2772304.4167 | 1171336.7922 | 2772305.7088 | 1171336.0508 | 2772307.659 | 1171335.5841 | 2772309.2204 | 1171335.5956 | 2772311.3679 | 1171335.9909 | 2772312.6918 | 1171336.5405 | 2772317.8381 | 1171339.9126
38 | 2772404.4287 | 1171329.9935 | 2772400.977 | 1171337.2526 | 2772399.4095 | 1171338.7868 | 2772397.3591 | 1171339.8066
39 | 2772274.265 | 1171307.674 | 2772270.4412 | 1171310.6827 | 2772264.659 | 1171315.5642
40 | 2772305.0975 | 1171376.6777 | 2772303.2452 | 1171379.186 | 2772301.1812 | 1171380.9506 | 2772299.3486 | 1171382.1213 | 2772296.9936 | 1171383.088 | 2772283.3859 | 1171388.2028
41 | 2772283.3859 | 1171388.2028 | 2772282.1503 | 1171388.6672 | 2772279.048 | 1171390.0684 | 2772273.1752 | 1171393.5529
42 | 2772263.2325 | 1171392.9841 | 2772268.357 | 1171394.7438 | 2772270.1644 | 1171394.7178 | 2772271.4517 | 1171394.41 | 2772272.8798 | 1171393.7281 | 2772273.1752 | 1171393.5529
43 | 2772263.2325 | 1171392.9841 | 2772264.7356 | 1171389.6909 | 2772269.6272 | 1171379.2995 | 2772274.9098 | 1171368.0853
44 | 2772263.2325 | 1171392.9841 | 2772260.9701 | 1171398.1906 | 2772260.2074 | 1171400.493 | 2772259.5549 | 1171402.9543 | 2772259.2884 | 1171404.7705 | 2772259.1261 | 1171406.6899 | 2772258.8049 | 1171416.2782 | 2772258.6947 | 1171424.3825 | 2772259.0032 | 1171434.7093
45 | 2772300.6613 | 1171365.1992 | 2772294.7856 | 1171362.1389 | 2772294.0643 | 1171361.9292 | 2772293.0502 | 1171361.7888 | 2772292.1495 | 1171361.9631 | 2772291.5022 | 1171362.3783 | 2772282.7638 | 1171369.7009 | 2772281.4781 | 1171370.2201 | 2772279.9888 | 1171370.3664 | 2772278.4315 | 1171369.9435 | 2772274.9098 | 1171368.0853
46 | 2772259.0032 | 1171434.7093 | 2772259.2419 | 1171442.7
47 | 2772264.0601 | 1171316.0697 | 2772264.659 | 1171315.5642
48 | 2772248.0692 | 1171329.5696 | 2772264.0601 | 1171316.0697
49 | 2772238.5851 | 1171337.5764 | 2772248.0692 | 1171329.5696
50 | 2772238.5851 | 1171337.5764 | 2772238.5017 | 1171337.6467 | 2772231.707 | 1171343.0728
51 | 2772216.9901 | 1171354.8255 | 2772231.707 | 1171343.0728
52 | 2772216.9901 | 1171354.8255 | 2772215.3768 | 1171356.1139
53 | 2772203.1237 | 1171366.7327 | 2772211.2124 | 1171359.4395 | 2772215.3768 | 1171356.1139
54 | 2772203.1237 | 1171366.7327 | 2772199.6184 | 1171369.8933
55 | 2772188.3431 | 1171380.0599 | 2772199.6184 | 1171369.8933
56 | 2772495.6423 | 1171331.1986 | 2772501.6471 | 1171342.5481 | 2772502.3838 | 1171344.8825 | 2772502.8742 | 1171347.5323 | 2772502.4601 | 1171354.3541
57 | 2772498.9168 | 1171369.0827 | 2772500.6916 | 1171366.4646 | 2772501.9288 | 1171363.1082 | 2772502.4601 | 1171354.3541
58 | 2772498.9168 | 1171369.0827 | 2772493.6733 | 1171375.727 | 2772491.221 | 1171381.4062 | 2772505.6723 | 1171372.958
59 | 2772498.9168 | 1171369.0827 | 2772493.6733 | 1171375.727 | 2772491.221 | 1171381.4062 | 2772477.7505 | 1171393.5526 | 2772473.514 | 1171396.3223 | 2772468.8333 | 1171398.0339 | 2772464.0676 | 1171398.7088
60 | 2772505.6723 | 1171372.958 | 2772510.5095 | 1171368.2037 | 2772526.7763 | 1171345.8729 | 2772528.1144 | 1171342.7307 | 2772528.8987 | 1171339.4169 | 2772529.1657 | 1171335.9881 | 2772529.1147 | 1171332.439 | 2772528.3554 | 1171329.0252 | 2772526.1841 | 1171323.3354 | 2772523.8422 | 1171318.2524 | 2772521.4591 | 1171314.069 | 2772517.0062 | 1171307.5907 | 2772509.4482 | 1171297.5423 | 2772508.2225 | 1171295.9723 | 2772507.4408 | 1171294.1371 | 2772506.9915 | 1171292.456 | 2772506.8648 | 1171290.7397 | 2772507.5367 | 1171282.5695
61 | 2772464.0676 | 1171398.7088 | 2772463.4013 | 1171397.1215 | 2772462.3467 | 1171395.9902 | 2772460.6646 | 1171394.852 | 2772455.8927 | 1171393.08 | 2772453.2235 | 1171392.7253 | 2772412.6059 | 1171393.4597 | 2772405.4402 | 1171393.999 | 2772398.2309 | 1171394.9929 | 2772391.9532 | 1171396.3362 | 2772386.9022 | 1171397.8815 | 2772382.1539 | 1171399.5467 | 2772371.7252 | 1171404.1516 | 2772362.2924 | 1171409.2633 | 2772343.5403 | 1171420.0683 | 2772340.826 | 1171421.7254
62 | 2772340.826 | 1171421.7254 | 2772332.8202 | 1171426.6133
63 | 2772331.1835 | 1171427.6126 | 2772332.8202 | 1171426.6133
64 | 2772396.8142 | 1171312.4105 | 2772403.5928 | 1171315.4856 | 2772405.3202 | 1171316.6474 | 2772406.632 | 1171318.1531 | 2772407.3933 | 1171319.8988 | 2772407.6344 | 1171321.8964 | 2772407.5034 | 1171323.5274 | 2772404.4287 | 1171329.9935
65 | 2772166.4936 | 1171398.5338 | 2772172.5556 | 1171392.4167 | 2772176.4032 | 1171389.4546
66 | 2772160.0285 | 1171405.0579 | 2772166.4936 | 1171398.5338
67 | 2772188.3431 | 1171380.0599 | 2772186.8031 | 1171381.4485 | 2772176.4032 | 1171389.4546
68 | 2772160.0285 | 1171405.0579 | 2772152.605 | 1171416.4555 | 2772151.2359 | 1171418.9603
69 | 2772160.0285 | 1171405.0579 | 2772153.9762 | 1171396.143 | 2772153.8483 | 1171395.9273
70 | 2772144.9626 | 1171430.4382 | 2772151.2359 | 1171418.9603
71 | 2772153.8483 | 1171395.9273 | 2772152.8037 | 1171394.1664
72 | 2772144.9626 | 1171430.4382 | 2772144.3882 | 1171431.4892 | 2772136.545 | 1171442.5744 | 2772135.9011 | 1171443.3904
73 | 2772150.3251 | 1171389.9883 | 2772152.8037 | 1171394.1664
74 | 2772135.9011 | 1171443.3904 | 2772134.5918 | 1171445.0496
75 | 2772150.3251 | 1171389.9883 | 2772160.1106 | 1171381.4492
76 | 2772150.3251 | 1171389.9883 | 2772147.4918 | 1171385.2139
77 | 2772166.3645 | 1171187.4172 | 2772155.5043 | 1171205.2023 | 2772152.7348 | 1171212.0736 | 2772152.3396 | 1171213.8416 | 2772152.5021 | 1171215.6479 | 2772153.2126 | 1171217.3031 | 2772154.3982 | 1171218.6717 | 2772180.0321 | 1171234.0427 | 2772177.1386 | 1171239.6398
78 | 2772168.8594 | 1171255.4974 | 2772171.4889 | 1171250.5683 | 2772177.1386 | 1171239.6398
79 | 2772211.686 | 1171121.2993 | 2772198.0727 | 1171138.6622 | 2772183.5156 | 1171159.3303 | 2772166.3645 | 1171187.4172
80 | 2772168.8594 | 1171255.4974 | 2772171.3192 | 1171262.352 | 2772171.4215 | 1171265.7246 | 2772170.1928 | 1171269.326 | 2772147.4438 | 1171290.2929 | 2772118.5008 | 1171311.2936 | 2772111.2392 | 1171318.1139 | 2772110.5192 | 1171319.995 | 2772109.6449 | 1171322.183 | 2772109.8999 | 1171324.7705 | 2772113.7732 | 1171332.7887 | 2772115.3923 | 1171335.5932
81 | 2772168.8594 | 1171255.4974 | 2772162.1714 | 1171255.1276 | 2772140.5423 | 1171248.0012 | 2772119.3625 | 1171239.8868 | 2772110.0163 | 1171234.5029
82 | 2772104.8983 | 1171339.8074 | 2772115.3923 | 1171335.5932
83 | 2772115.3923 | 1171335.5932 | 2772137.7349 | 1171324.5124 | 2772163.0616 | 1171320.9574 | 2772184.492 | 1171322.7289 | 2772191.2663 | 1171321.6888 | 2772195.5737 | 1171325.7827 | 2772196.0772 | 1171327.4431 | 2772195.2759 | 1171328.9548 | 2772184.0194 | 1171339.4639 | 2772181.5245 | 1171344.6284
84 | 2772110.0163 | 1171234.5029 | 2772097.2787 | 1171244.3357 | 2772084.5265 | 1171261.6194 | 2772076.5471 | 1171274.1703
85 | 2772104.8983 | 1171339.8074 | 2772098.1763 | 1171346.7656 | 2772093.1955 | 1171354.4076 | 2772074.8561 | 1171402.8186
86 | 2772179.144 | 1171350.7624 | 2772179.3721 | 1171349.0838 | 2772181.5245 | 1171344.6284
87 | 2772027.0005 | 1171318.0448 | 2772046.4516 | 1171309.016 | 2772069.9513 | 1171284.5448 | 2772076.5471 | 1171274.1703
88 | 2772160.9972 | 1171380.6756 | 2772169.8452 | 1171372.9546 | 2772177.897 | 1171359.9403 | 2772179.144 | 1171350.7624
89 | 2772027.0005 | 1171318.0448 | 2772013.1491 | 1171314.9341 | 2771991.4651 | 1171309.2745
90 | 2772242.6639 | 1171505.2072 | 2772241.7881 | 1171503.4472 | 2772241.5239 | 1171501.4489 | 2772241.6983 | 1171499.3742 | 2772242.4929 | 1171497.0282 | 2772251.3623 | 1171482.4694 | 2772257.106 | 1171469.3222 | 2772258.3223 | 1171464.5527 | 2772259.2658 | 1171460.4872 | 2772259.4753 | 1171456.3895 | 2772259.4481 | 1171449.6048 | 2772259.2419 | 1171442.7
91 | 2772242.6639 | 1171505.2072 | 2772244.8693 | 1171507.0499
92 | 2772244.8693 | 1171507.0499 | 2772246.9131 | 1171507.5868 | 2772248.9605 | 1171507.7346 | 2772250.8899 | 1171507.4563 | 2772252.748 | 1171506.7312 | 2772254.1152 | 1171505.7695 | 2772258.0361 | 1171501.4558 | 2772285.3268 | 1171462.2697 | 2772287.2625 | 1171459.4034
93 | 2772304.3623 | 1171443.9881 | 2772297.1562 | 1171448.3409 | 2772294.5841 | 1171450.2021 | 2772292.5995 | 1171451.8689 | 2772291.0514 | 1171453.7929 | 2772287.2625 | 1171459.4034
94 | 2772304.3623 | 1171443.9881 | 2772331.1835 | 1171427.6126
95 | 2772304.3623 | 1171443.9881 | 2772305.7308 | 1171446.1849 | 2772306.385 | 1171447.3937 | 2772306.7321 | 1171448.6381 | 2772306.8512 | 1171449.8204 | 2772306.8426 | 1171451.4549 | 2772305.7925 | 1171458.1642 | 2772303.0262 | 1171474.7889
96 | 2772303.0262 | 1171474.7889 | 2772299.9856 | 1171486.8348 | 2772297.6518 | 1171494.2635 | 2772296.726 | 1171500.9096
97 | 2772139.5013 | 1171376.7236 | 2772145.4986 | 1171383.0959
98 | 2772138.0794 | 1171375.2128 | 2772139.5013 | 1171376.7236
99 | 2772147.4918 | 1171385.2139 | 2772145.4986 | 1171383.0959
100 | 2772149.2468 | 1171371.0068 | 2772147.4918 | 1171385.2139
101 | 2772160.1106 | 1171381.4492 | 2772160.9972 | 1171380.6756
102 | 2774463.0742 | 1170353.7249 | 2774140.276 | 1169473.877
103 | 2774463.0742 | 1170353.7249 | 2774455.4389 | 1170355.9661 | 2774455.9065 | 1170357.9594
104 | 2774456.7606 | 1170361.6006 | 2774455.9065 | 1170357.9594
105 | 2774370.3713 | 1170662.577 | 2774384.8652 | 1170463.3063
106 | 2774505.4214 | 1170663.0334 | 2774499.9267 | 1170661.3611 | 2774493.1428 | 1170660.3186 | 2774482.3681 | 1170659.0711 | 2774475.5228 | 1170658.5607 | 2774459.8866 | 1170652.8235 | 2774445.8671 | 1170648.8905 | 2774437.0722 | 1170647.4893 | 2774427.3256 | 1170646.6944 | 2774415.6795 | 1170646.9787 | 2774407.114 | 1170648.4869 | 2774397.8818 | 1170651.3326 | 2774389.9179 | 1170653.4811 | 2774374.9553 | 1170660.3975 | 2774370.3713 | 1170662.577
107 | 2774175.696 | 1170739.6745 | 2774183.3593 | 1170736.13 | 2774198.4591 | 1170731.5971 | 2774216.1731 | 1170726.4172 | 2774228.306 | 1170723.8668 | 2774240.1884 | 1170719.1294 | 2774252.1096 | 1170713.0585 | 2774259.1884 | 1170709.2159 | 2774267.9804 | 1170704.1219 | 2774277.7456 | 1170697.1544 | 2774289.8915 | 1170690.4673 | 2774308.5 | 1170683.234 | 2774324.874 | 1170677.8042 | 2774348.7612 | 1170671.2471 | 2774366.3142 | 1170664.506 | 2774370.3713 | 1170662.577
108 | 2774434.2232 | 1170410.14 | 2774425.5927 | 1170428.6661 | 2774416.6779 | 1170440.3402 | 2774400.3769 | 1170452.1888 | 2774384.8652 | 1170463.3063
109 | 2774505.4214 | 1170663.0334 | 2774508.3685 | 1170664.8985 | 2774511.4039 | 1170668.2008 | 2774513.7591 | 1170671.728
110 | 2774052.242 | 1170773.7733 | 2774054.6416 | 1170773.3216 | 2774073.886 | 1170769.22 | 2774095.6366 | 1170764.7686 | 2774120.1776 | 1170760.7207 | 2774135.6785 | 1170756.6107 | 2774152.2829 | 1170750.3531 | 2774166.5035 | 1170743.9262 | 2774175.696 | 1170739.6745
111 | 2773936.1334 | 1170974.0124 | 2773931.1889 | 1170969.9367 | 2773928.3486 | 1170969.1426 | 2773925.568 | 1170969.9851
112 | 2773947.1223 | 1170988.6486 | 2773940.17 | 1170980.4843 | 2773936.5726 | 1170974.3745 | 2773936.1334 | 1170974.0124
113 | 2773902.6093 | 1171009.0228 | 2773915.6804 | 1171002.3396 | 2773932.5384 | 1170994.4316 | 2773947.1223 | 1170988.6486
114 | 2773902.6093 | 1171009.0228 | 2773891.7199 | 1170994.0633
115 | 2773974.707 | 1170798.7736 | 2773970.9552 | 1170795.3507 | 2773970.0578 | 1170790.6537 | 2773970.9163 | 1170786.13
116 | 2773974.707 | 1170798.7736 | 2773979.6781 | 1170799.2291 | 2773983.8995 | 1170797.2829 | 2773989.1053 | 1170793.0743 | 2773996.0218 | 1170787.692 | 2774006.1254 | 1170783.8255 | 2774031.7545 | 1170777.6291 | 2774052.242 | 1170773.7733
117 | 2773891.7199 | 1170994.0633 | 2773889.9894 | 1170991.6859 | 2773884.8866 | 1170976.7579
118 | 2774435.3644 | 1170407.6902 | 2774436.3477 | 1170405.5794
119 | 2774435.3644 | 1170407.6902 | 2774434.2232 | 1170410.14
120 | 2774463.9602 | 1170385.2293 | 2774452.3841 | 1170392.5665 | 2774442.9897 | 1170398.6104 | 2774436.3477 | 1170405.5794 | 2774436.3477 | 1170405.5794
121 | 2774463.9602 | 1170385.2293 | 2774462.77 | 1170379.812 | 2774460.0557 | 1170376.5191 | 2774458.6067 | 1170369.4705 | 2774456.7606 | 1170361.6006
122 | 2774513.7591 | 1170671.728 | 2774535.8826 | 1170671.3261 | 2774542.0869 | 1170669.8565
123 | 2774460.1824 | 1170702.4332 | 2774472.4348 | 1170691.8238 | 2774485.9019 | 1170684.208 | 2774513.7591 | 1170671.728
124 | 2774416.3583 | 1170754.9253 | 2774421.1487 | 1170750.9441 | 2774432.9641 | 1170737.7195 | 2774442.435 | 1170722.9699 | 2774449.9973 | 1170713.036 | 2774453.4938 | 1170709.3961
125 | 2774382.4219 | 1170776.799 | 2774391.5151 | 1170772.6703 | 2774407.3008 | 1170762.4526 | 2774416.3583 | 1170754.9253
126 | 2774460.1824 | 1170702.4332 | 2774453.4938 | 1170709.3961
127 | 2774382.4219 | 1170776.799 | 2774373.0804 | 1170781.0428 | 2774338.9141 | 1170794.3521 | 2774318.0837 | 1170802.9665 | 2774311.0599 | 1170806.642
128 | 2774382.4219 | 1170776.799 | 2774385.9333 | 1170781.6387 | 2774409.6222 | 1170786.1084 | 2774437.2525 | 1170785.8883 | 2774456.3951 | 1170783.3926
129 | 2774460.1824 | 1170702.4332 | 2774461.8532 | 1170704.2167 | 2774466.3631 | 1170705.2598 | 2774473.1178 | 1170704.4107 | 2774479.0689 | 1170703.5495 | 2774483.8785 | 1170703.4571
130 | 2774246.9675 | 1170838.8297 | 2774272.0286 | 1170824.9391 | 2774296.1365 | 1170814.4513 | 2774311.0599 | 1170806.642
131 | 2774466.5541 | 1170777.4316 | 2774460.3396 | 1170782.8783 | 2774456.3951 | 1170783.3926
132 | 2774246.9675 | 1170838.8297 | 2774244.6689 | 1170840.1037 | 2774228.0227 | 1170847.8057 | 2774218.6228 | 1170852.3406
133 | 2774542.0869 | 1170669.8565 | 2774563.19 | 1170664.8581 | 2774563.19 | 1170664.8581
134 | 2774624.3753 | 1170621.0964 | 2774614.8305 | 1170630.205 | 2774599.447 | 1170643.6814 | 2774583.3884 | 1170654.8359 | 2774563.19 | 1170664.8581
135 | 2774624.3753 | 1170621.0964 | 2774627.8594 | 1170616.8891

## bus_geodata
| x | y | coords
0 | 2772361.4737 | 1171107.5692
1 | 2772414.3121 | 1171020.7476
2 | 2772332.8652 | 1171236.5395
3 | 2772333.1397 | 1171134.9836
4 | 2772588.6213 | 1170710.5366
5 | 2772325.4253 | 1171271.9471
6 | 2772290.4683 | 1171224.0249
7 | 2772674.8309 | 1170501.4703
8 | 2772656.3199 | 1170483.0214
9 | 2772681.6355 | 1170526.2885
10 | 2772643.9669 | 1170508.7884
11 | 2772638.5399 | 1170441.8173
12 | 2772716.8844 | 1170502.5971
13 | 2772642.5208 | 1170511.7346
14 | 2772513.1987 | 1170551.083
15 | 2772628.7252 | 1170537.867
16 | 2772617.1733 | 1170558.3776
17 | 2772728.2864 | 1170491.0685
18 | 2772887.9254 | 1170277.5004
19 | 2772616.4277 | 1170559.7015
20 | 2772591.0692 | 1170651.4985
21 | 2772591.1656 | 1170649.1724
22 | 2772592.3523 | 1170620.5525
23 | 2772595.612 | 1170605.4686
24 | 2772596.7329 | 1170600.2822
25 | 2772600.6432 | 1170590.0979
26 | 2773957.4191 | 1170807.5768
27 | 2772296.6179 | 1171321.2543
28 | 2772287.0871 | 1171299.1164
29 | 2772280.3384 | 1171338.9923
30 | 2772342.7684 | 1171324.3369
31 | 2772277.2735 | 1171363.0819
32 | 2772373.5602 | 1171297.8462
33 | 2772397.3591 | 1171339.8066
34 | 2772274.265 | 1171307.674
35 | 2772305.0975 | 1171376.6777
36 | 2772283.3859 | 1171388.2028
37 | 2772273.1752 | 1171393.5529
38 | 2772263.2325 | 1171392.9841
39 | 2772274.9098 | 1171368.0853
40 | 2772259.0032 | 1171434.7093
41 | 2772264.659 | 1171315.5642
42 | 2772264.0601 | 1171316.0697
43 | 2772248.0692 | 1171329.5696
44 | 2772238.5851 | 1171337.5764
45 | 2772231.707 | 1171343.0728
46 | 2772216.9901 | 1171354.8255
47 | 2772215.3768 | 1171356.1139
48 | 2772203.1237 | 1171366.7327
49 | 2772199.6184 | 1171369.8933
50 | 2772502.4601 | 1171354.3541
51 | 2772495.6423 | 1171331.1986
52 | 2772498.9168 | 1171369.0827
53 | 2772505.6723 | 1171372.958
54 | 2772464.0676 | 1171398.7088
55 | 2772507.5367 | 1171282.5695
56 | 2772340.826 | 1171421.7254
57 | 2772332.8202 | 1171426.6133
58 | 2772317.8381 | 1171339.9126
59 | 2772404.4287 | 1171329.9935
60 | 2772166.4936 | 1171398.5338
61 | 2772176.4032 | 1171389.4546
62 | 2772160.0285 | 1171405.0579
63 | 2772188.3431 | 1171380.0599
64 | 2772151.2359 | 1171418.9603
65 | 2772153.8483 | 1171395.9273
66 | 2772144.9626 | 1171430.4382
67 | 2772152.8037 | 1171394.1664
68 | 2772135.9011 | 1171443.3904
69 | 2772150.3252 | 1171389.9883
70 | 2772177.1386 | 1171239.6398
71 | 2772166.3645 | 1171187.4172
72 | 2772168.8594 | 1171255.4974
73 | 2772211.686 | 1171121.2993
74 | 2772115.3923 | 1171335.5932
75 | 2772110.0163 | 1171234.5029
76 | 2772104.8983 | 1171339.8074
77 | 2772181.5245 | 1171344.6284
78 | 2772076.5471 | 1171274.1703
79 | 2772074.8561 | 1171402.8186
80 | 2772179.144 | 1171350.7624
81 | 2772027.0005 | 1171318.0448
82 | 2772396.8142 | 1171312.4105
83 | 2772259.2419 | 1171442.7
84 | 2772242.6639 | 1171505.2072
85 | 2772244.8693 | 1171507.0499
86 | 2772300.6613 | 1171365.1992
87 | 2772287.2625 | 1171459.4034
88 | 2772134.5918 | 1171445.0496
89 | 2772331.1835 | 1171427.6126
90 | 2772304.3623 | 1171443.9881
91 | 2772303.0262 | 1171474.7889
92 | 2772296.726 | 1171500.9096
93 | 2772139.5013 | 1171376.7236
94 | 2772145.4986 | 1171383.0959
95 | 2772138.0794 | 1171375.2128
96 | 2772147.4918 | 1171385.2139
97 | 2772149.2468 | 1171371.0068
98 | 2772160.1106 | 1171381.4492
99 | 2774140.276 | 1169473.877
100 | 2774463.0742 | 1170353.7249
101 | 2774455.9065 | 1170357.9594
102 | 2774370.3713 | 1170662.577
103 | 2774384.8652 | 1170463.3063
104 | 2774505.4214 | 1170663.0334
105 | 2774175.696 | 1170739.6745
106 | 2773936.1334 | 1170974.0124
107 | 2773925.568 | 1170969.9851
108 | 2773947.1223 | 1170988.6486
109 | 2773902.6093 | 1171009.0228
110 | 2773974.707 | 1170798.7736
111 | 2773891.7199 | 1170994.0633
112 | 2773884.8866 | 1170976.7579
113 | 2774435.3644 | 1170407.6902
114 | 2774436.3477 | 1170405.5794
115 | 2774434.2232 | 1170410.14
116 | 2774463.9602 | 1170385.2293
117 | 2774456.7606 | 1170361.6006
118 | 2774513.7591 | 1170671.728
119 | 2774416.3583 | 1170754.9253
120 | 2774453.4938 | 1170709.3961
121 | 2774382.4219 | 1170776.799
122 | 2774460.1824 | 1170702.4332
123 | 2774311.0599 | 1170806.642
124 | 2774456.3951 | 1170783.3926
125 | 2774483.8785 | 1170703.4571
126 | 2774246.9675 | 1170838.8297
127 | 2774466.5541 | 1170777.4316
128 | 2774542.0869 | 1170669.8565
129 | 2774218.6228 | 1170852.3406
130 | 2774563.19 | 1170664.8581
131 | 2774624.3753 | 1170621.0964
132 | 2774627.8594 | 1170616.8891
133 | 2774052.242 | 1170773.7733
134 | 2773970.9163 | 1170786.13
135 | 2772160.9972 | 1171380.6756
136 | 2771991.4651 | 1171309.2745
137 | 2772332.705 | 1171274.6362

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1