## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3544-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3544-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3544-8_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3544-8_0_3_node_52 | 0.4 | n |  | TRUE
4 | bus_LV_3544-8_0_3_node_53 | 0.4 | n |  | TRUE
5 | bus_LV_3544-8_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_3544-8_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_3544-8_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_3544-8_0_3_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_3544-8_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3544-8_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_3544-8_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_3544-8_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_3544-8_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3544-8_0_3_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_3544-8_0_3_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_3544-8_0_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_3544-8_0_3_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_3544-8_0_3_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_3544-8_0_3_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_3544-8_0_3_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_3544-8_0_3_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_3544-8_0_3_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_3544-8_0_3_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_3544-8_0_3_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_3544-8_0_3_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_3544-8_0_3_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_3544-8_0_3_node_61 | 0.4 | n |  | TRUE
28 | bus_LV_3544-8_0_3_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_3544-8_0_3_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_3544-8_0_3_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_3544-8_0_3_node_12 | 0.4 | n |  | TRUE
32 | bus_LV_3544-8_0_3_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_3544-8_0_3_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_3544-8_0_3_node_13 | 0.4 | n |  | TRUE
35 | bus_LV_3544-8_0_3_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_3544-8_0_3_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_3544-8_0_3_node_16 | 0.4 | n |  | TRUE
38 | bus_LV_3544-8_0_3_node_88 | 0.4 | n |  | TRUE
39 | bus_LV_3544-8_0_3_node_17 | 0.4 | n |  | TRUE
40 | bus_LV_3544-8_0_3_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_3544-8_0_3_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_3544-8_0_3_node_81 | 0.4 | n |  | TRUE
43 | bus_LV_3544-8_0_3_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_3544-8_0_3_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_3544-8_0_3_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_3544-8_0_3_node_85 | 0.4 | n |  | TRUE
47 | bus_LV_3544-8_0_3_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_3544-8_0_3_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_3544-8_0_3_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_3544-8_0_3_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_3544-8_0_3_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_3544-8_0_3_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_3544-8_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_3544-8_0_3_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_3544-8_0_3_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_3544-8_0_3_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_3544-8_0_3_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_3544-8_0_3_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_3544-8_0_3_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_3544-8_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_3544-8_0_3_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_3544-8_0_3_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_3544-8_0_3_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_3544-8_0_3_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_3544-8_0_3_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_3544-8_0_3_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_3544-8_0_3_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_3544-8_0_3_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_3544-8_0_3_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_3544-8_0_3_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_3544-8_0_3_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_3544-8_0_3_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_3544-8_0_3_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_3544-8_0_3_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_3544-8_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_3544-8_0_3_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_3544-8_0_3_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_3544-8_0_3_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_3544-8_0_3_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_3544-8_0_3_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_3544-8_0_3_node_87 | 0.4 | n |  | TRUE
82 | bus_LV_3544-8_0_3_node_89 | 0.4 | n |  | TRUE
83 | bus_LV_3544-8_0_3_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_3544-8_0_3_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_3544-8_0_3_node_84 | 0.4 | n |  | TRUE
86 | bus_MV_158_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3544-8_0_3_load_0 | 0 | 0.0067667 | 0.0016959 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3544-8_0_3_load_1 | 1 | 0.0025349 | 0.00063531 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3544-8_0_3_load_52 | 3 | 0.0042713 | 0.0010705 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3544-8_0_3_load_53 | 4 | 0.010691 | 0.0026794 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3544-8_0_3_load_9 | 6 | 0.0022602 | 0.00056646 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3544-8_0_3_load_11 | 7 | 0.018612 | 0.0046645 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3544-8_0_3_load_10 | 10 | 0.00062512 | 0.00015667 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3544-8_0_3_load_5 | 11 | 0.002456 | 0.00061553 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3544-8_0_3_load_24 | 14 | 0.0011609 | 0.00029096 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3544-8_0_3_load_27 | 17 | 0.0024784 | 0.00062114 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3544-8_0_3_load_63 | 18 | 0.0031688 | 0.00079419 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3544-8_0_3_load_57 | 20 | 0.001336 | 0.00033484 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3544-8_0_3_load_58 | 21 | 0.0030931 | 0.00077521 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3544-8_0_3_load_54 | 22 | 0.00061014 | 0.00015292 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3544-8_0_3_load_59 | 24 | 0.00048182 | 0.00012076 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3544-8_0_3_load_60 | 25 | 0.0014299 | 0.00035838 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3544-8_0_3_load_64 | 26 | 0.0044657 | 0.0011192 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3544-8_0_3_load_51 | 28 | 0.0024651 | 0.00061782 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3544-8_0_3_load_48 | 29 | 0.001983 | 0.00049698 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3544-8_0_3_load_49 | 30 | 0.00058651 | 0.00014699 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3544-8_0_3_load_14 | 32 | 0.0038926 | 0.00097557 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3544-8_0_3_load_18 | 35 | 0.0027469 | 0.00068844 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3544-8_0_3_load_75 | 36 | 0.0017725 | 0.00044423 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3544-8_0_3_load_16 | 37 | 0.0014454 | 0.00036224 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3544-8_0_3_load_88 | 38 | 0.0057695 | 0.001446 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3544-8_0_3_load_17 | 39 | 0.0023961 | 0.00060052 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3544-8_0_3_load_19 | 40 | 0.001931 | 0.00048397 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3544-8_0_3_load_20 | 43 | 0.0028322 | 0.00070981 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3544-8_0_3_load_23 | 45 | 0.0013476 | 0.00033774 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3544-8_0_3_load_85 | 46 | 0.00098448 | 0.00024673 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3544-8_0_3_load_28 | 47 | 0.0030123 | 0.00075495 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3544-8_0_3_load_29 | 48 | 0.0027069 | 0.00067841 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3544-8_0_3_load_30 | 49 | 0.0023601 | 0.00059149 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3544-8_0_3_load_31 | 50 | 0.0015781 | 0.0003955 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3544-8_0_3_load_32 | 51 | 0.0034761 | 0.00087119 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3544-8_0_3_load_66 | 52 | 0.0026649 | 0.00066788 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3544-8_0_3_load_37 | 53 | 0.00094165 | 0.000236 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3544-8_0_3_load_65 | 54 | 0.0031115 | 0.00077981 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3544-8_0_3_load_35 | 55 | 0.0020005 | 0.00050137 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3544-8_0_3_load_33 | 56 | 0.0016111 | 0.00040379 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3544-8_0_3_load_34 | 57 | 0.0011527 | 0.0002889 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3544-8_0_3_load_36 | 58 | 0.0013701 | 0.00034339 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3544-8_0_3_load_74 | 59 | 0.00051514 | 0.00012911 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3544-8_0_3_load_42 | 60 | 0.00078231 | 0.00019607 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3544-8_0_3_load_38 | 61 | 0.0006201 | 0.00015541 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3544-8_0_3_load_39 | 62 | 0.00086221 | 0.00021609 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3544-8_0_3_load_40 | 63 | 0.001381 | 0.0003461 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3544-8_0_3_load_41 | 64 | 0.00042171 | 0.00010569 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3544-8_0_3_load_50 | 65 | 0.0013418 | 0.0003363 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3544-8_0_3_load_43 | 66 | 0.0019619 | 0.00049171 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3544-8_0_3_load_44 | 67 | 0.0028666 | 0.00071844 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3544-8_0_3_load_45 | 68 | 0.0017363 | 0.00043517 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3544-8_0_3_load_47 | 69 | 0.0049774 | 0.0012474 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3544-8_0_3_load_82 | 70 | 0.0059376 | 0.0014881 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3544-8_0_3_load_71 | 71 | 0.0023697 | 0.0005939 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3544-8_0_3_load_70 | 72 | 0.0018205 | 0.00045626 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3544-8_0_3_load_68 | 74 | 0.0029599 | 0.00074182 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3544-8_0_3_load_69 | 75 | 0.0032754 | 0.0008209 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3544-8_0_3_load_73 | 76 | 0.0027528 | 0.00068991 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3544-8_0_3_load_72 | 78 | 0.0024598 | 0.00061649 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3544-8_0_3_load_86 | 80 | 0.0023984 | 0.0006011 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3544-8_0_3_load_89 | 82 | 0.0016377 | 0.00041046 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3544-8_0_3_load_76 | 83 | 0.001152 | 0.00028871 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3544-8_0_3_load_83 | 84 | 0.0026911 | 0.00067445 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3544-8_0_3_load_84 | 85 | 0.0092228 | 0.0023115 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3544-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_3544-8_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.010959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_3544-8_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.037043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3544-8_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.015578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_3544-8_0_3_line_4 | NAYY 4x150 SE | 4 | 8 | 0.0018249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_3544-8_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.019866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_3544-8_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.014362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_3544-8_0_3_line_7 | NAYY 4x150 SE | 6 | 9 | 0.019318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_3544-8_0_3_line_8 | NAYY 4x150 SE | 7 | 10 | 0.0058414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3544-8_0_3_line_9 | NAYY 4x150 SE | 8 | 70 | 0.026442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3544-8_0_3_line_10 | NAYY 4x150 SE | 8 | 67 | 0.021063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_3544-8_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.033401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3544-8_0_3_line_12 | NAYY 4x150 SE | 10 | 31 | 0.051601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_3544-8_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.038335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_3544-8_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.029623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_3544-8_0_3_line_15 | NAYY 4x150 SE | 13 | 28 | 0.020394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3544-8_0_3_line_16 | NAYY 4x150 SE | 13 | 29 | 0.0013074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_3544-8_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.013809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3544-8_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.006944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3544-8_0_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.013601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3544-8_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.012934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3544-8_0_3_line_21 | NAYY 4x150 SE | 18 | 27 | 0.012201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3544-8_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.077299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3544-8_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.021403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3544-8_0_3_line_24 | NAYY 4x150 SE | 19 | 22 | 0.092429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3544-8_0_3_line_25 | NAYY 4x150 SE | 20 | 46 | 0.0078325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3544-8_0_3_line_26 | NAYY 4x150 SE | 21 | 23 | 0.016732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3544-8_0_3_line_27 | NAYY 4x150 SE | 22 | 28 | 0.075659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3544-8_0_3_line_28 | NAYY 4x150 SE | 23 | 26 | 0.025197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3544-8_0_3_line_29 | NAYY 4x150 SE | 23 | 27 | 0.008742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3544-8_0_3_line_30 | NAYY 4x150 SE | 24 | 25 | 0.00097092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3544-8_0_3_line_31 | NAYY 4x150 SE | 24 | 26 | 0.1929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3544-8_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.017332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_3544-8_0_3_line_33 | NAYY 4x150 SE | 30 | 65 | 0.0020959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_3544-8_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.041165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3544-8_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.036122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_3544-8_0_3_line_36 | NAYY 4x150 SE | 33 | 36 | 0.097555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_3544-8_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.085037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3544-8_0_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.08328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3544-8_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.017739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3544-8_0_3_line_40 | NAYY 4x150 SE | 36 | 38 | 0.51312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3544-8_0_3_line_41 | NAYY 4x150 SE | 37 | 39 | 0.010738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3544-8_0_3_line_42 | NAYY 4x150 SE | 38 | 82 | 0.28313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3544-8_0_3_line_43 | NAYY 4x150 SE | 38 | 81 | 0.22398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3544-8_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.042065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3544-8_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.029748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3544-8_0_3_line_46 | NAYY 4x150 SE | 42 | 84 | 0.020161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3544-8_0_3_line_47 | NAYY 4x150 SE | 42 | 77 | 0.01588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3544-8_0_3_line_48 | NAYY 4x150 SE | 43 | 44 | 0.033671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3544-8_0_3_line_49 | NAYY 4x150 SE | 44 | 45 | 0.0024129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3544-8_0_3_line_50 | NAYY 4x150 SE | 45 | 46 | 0.018197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3544-8_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.00073341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_3544-8_0_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.012778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_3544-8_0_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.0026027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_3544-8_0_3_line_54 | NAYY 4x150 SE | 49 | 51 | 0.0010626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_3544-8_0_3_line_55 | NAYY 4x150 SE | 50 | 52 | 0.0022847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_3544-8_0_3_line_56 | NAYY 4x150 SE | 51 | 53 | 0.015368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_3544-8_0_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.014835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_3544-8_0_3_line_58 | NAYY 4x150 SE | 53 | 55 | 0.0027892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_3544-8_0_3_line_59 | NAYY 4x150 SE | 54 | 73 | 0.0097806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_3544-8_0_3_line_60 | NAYY 4x150 SE | 55 | 56 | 0.023107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_3544-8_0_3_line_61 | NAYY 4x150 SE | 56 | 57 | 0.00076849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_3544-8_0_3_line_62 | NAYY 4x150 SE | 57 | 58 | 0.0061676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_3544-8_0_3_line_63 | NAYY 4x150 SE | 58 | 59 | 0.014386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_3544-8_0_3_line_64 | NAYY 4x150 SE | 59 | 60 | 0.0060938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_3544-8_0_3_line_65 | NAYY 4x150 SE | 60 | 63 | 0.00085121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_3544-8_0_3_line_66 | NAYY 4x150 SE | 61 | 62 | 0.0067986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_3544-8_0_3_line_67 | NAYY 4x150 SE | 61 | 63 | 0.0038089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_3544-8_0_3_line_68 | NAYY 4x150 SE | 62 | 64 | 0.00069716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_3544-8_0_3_line_69 | NAYY 4x150 SE | 64 | 65 | 0.01099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_3544-8_0_3_line_70 | NAYY 4x150 SE | 66 | 67 | 0.0066518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_3544-8_0_3_line_71 | NAYY 4x150 SE | 66 | 68 | 0.0083673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_3544-8_0_3_line_72 | NAYY 4x150 SE | 68 | 69 | 0.0019324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_3544-8_0_3_line_73 | NAYY 4x150 SE | 69 | 71 | 0.011125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_3544-8_0_3_line_74 | NAYY 4x150 SE | 71 | 72 | 0.0012229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_3544-8_0_3_line_75 | NAYY 4x150 SE | 72 | 78 | 0.0049737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_3544-8_0_3_line_76 | NAYY 4x150 SE | 73 | 74 | 0.016314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_3544-8_0_3_line_77 | NAYY 4x150 SE | 73 | 75 | 0.0095735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3544-8_0_3_line_78 | NAYY 4x150 SE | 74 | 76 | 0.0017628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_3544-8_0_3_line_79 | NAYY 4x150 SE | 75 | 77 | 0.0095144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3544-8_0_3_line_80 | NAYY 4x150 SE | 76 | 78 | 0.0067349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_3544-8_0_3_line_81 | NAYY 4x150 SE | 77 | 79 | 0.002856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3544-8_0_3_line_82 | NAYY 4x150 SE | 79 | 83 | 0.031144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3544-8_0_3_line_83 | NAYY 4x150 SE | 80 | 81 | 0.074798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3544-8_0_3_line_84 | NAYY 4x150 SE | 84 | 85 | 0.0014974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3544-8_0_3_trafo_0 | 0.25 MVA 20/0.4 kV | 86 | 0 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2776463.6924 | 1166887.273 | 2776470.2613 | 1166881.8465 | 2776479.4972 | 1166875.1902
1 | 2776488.8864 | 1166870.3717 | 2776486.2445 | 1166870.3274 | 2776479.4972 | 1166875.1902
2 | 2776488.8864 | 1166870.3717 | 2776467.9498 | 1166856.7443 | 2776461.5697 | 1166854.8552 | 2776457.7616 | 1166851.0156
3 | 2776488.8864 | 1166870.3717 | 2776502.235 | 1166862.342
4 | 2776503.7988 | 1166861.4013 | 2776502.235 | 1166862.342
5 | 2776412.2457 | 1166913.7729 | 2776405.2505 | 1166921.6081 | 2776404.481 | 1166926.1564 | 2776405.2747 | 1166930.8388
6 | 2776401.4465 | 1166904.2693 | 2776412.2457 | 1166913.7729
7 | 2776408.5033 | 1166949.8853 | 2776405.2747 | 1166930.8388
8 | 2776401.4465 | 1166904.2693 | 2776398.6602 | 1166909.4034
9 | 2776513.6061 | 1166885.8786 | 2776510.4756 | 1166880.3037 | 2776507.4014 | 1166870.7268 | 2776503.7988 | 1166861.4013
10 | 2776503.7988 | 1166861.4013 | 2776518.481 | 1166852.7022 | 2776522.0931 | 1166850.9905
11 | 2776408.5033 | 1166949.8853 | 2776406.6485 | 1166963.7326 | 2776408.167 | 1166969.4157 | 2776416.196 | 1166976.9806 | 2776418.603 | 1166977.7143
12 | 2776351.158 | 1166902.9368 | 2776354.4379 | 1166901.8654 | 2776360.1434 | 1166902.1998 | 2776373.2573 | 1166901.2393 | 2776395.5219 | 1166912.4363 | 2776398.6602 | 1166909.4034
13 | 2776446.3189 | 1166959.5599 | 2776440.9025 | 1166964.5054 | 2776434.726 | 1166975.7679 | 2776431.0082 | 1166979.7513 | 2776425.2396 | 1166979.7375 | 2776418.603 | 1166977.7143
14 | 2776446.3189 | 1166959.5599 | 2776462.8367 | 1166956.4308 | 2776475.0618 | 1166952.3415
15 | 2776475.0618 | 1166952.3415 | 2776473.2135 | 1166962.0518 | 2776473.8784 | 1166972.5366
16 | 2776475.0618 | 1166952.3415 | 2776476.182 | 1166951.6673
17 | 2776362.7839 | 1167120.3567 | 2776360.2726 | 1167119.7825 | 2776356.6751 | 1167109.1417
18 | 2776362.7839 | 1167120.3567 | 2776363.9696 | 1167127.1978
19 | 2776362.7839 | 1167120.3567 | 2776375.6346 | 1167115.9012
20 | 2776363.9696 | 1167127.1978 | 2776375.2954 | 1167124.7612 | 2776376.5802 | 1167124.3482
21 | 2776388.1959 | 1167120.6138 | 2776376.5802 | 1167124.3482
22 | 2776432.7255 | 1167105.9072 | 2776506.5365 | 1167082.9509
23 | 2776432.7255 | 1167105.9072 | 2776420.2074 | 1167110.3328 | 2776412.4711 | 1167112.8175
24 | 2776432.7255 | 1167105.9072 | 2776430.3398 | 1167092.1912 | 2776431.2968 | 1167080.742 | 2776434.4076 | 1167072.6481 | 2776444.5494 | 1167063.315 | 2776486.0986 | 1167047.2017
25 | 2776506.5365 | 1167082.9509 | 2776514.0156 | 1167080.6248
26 | 2776396.541 | 1167117.934 | 2776412.4711 | 1167112.8175
27 | 2776473.8784 | 1166972.5366 | 2776486.0986 | 1167047.2017
28 | 2776396.541 | 1167117.934 | 2776409.1129 | 1167139.7709
29 | 2776396.541 | 1167117.934 | 2776388.1959 | 1167120.6138
30 | 2776391.9372 | 1167332.573 | 2776392.7013 | 1167331.974
31 | 2776409.1129 | 1167139.7709 | 2776392.7013 | 1167331.974
32 | 2776476.182 | 1166951.6673 | 2776491.0313 | 1166942.7287
33 | 2776491.0313 | 1166942.7287 | 2776492.827 | 1166941.6478
34 | 2776358.7576 | 1166943.3861 | 2776352.8115 | 1166910.5479 | 2776351.158 | 1166902.9368
35 | 2776351.158 | 1166902.9368 | 2776348.9048 | 1166892.5277 | 2776353.3156 | 1166885.8176 | 2776358.7564 | 1166878.9932 | 2776365.1736 | 1166873.0983
36 | 2776365.1736 | 1166873.0983 | 2776357.396 | 1166869.4889 | 2776337.293 | 1166865.2952 | 2776333.176 | 1166865.6525 | 2776328.2747 | 1166866.8877 | 2776324.9257 | 1166871.0933 | 2776323.0716 | 1166878.4012 | 2776321.6551 | 1166892.4615 | 2776315.9869 | 1166909.3775 | 2776309.935 | 1166922.4109
37 | 2776437.4051 | 1166828.0099 | 2776400.7779 | 1166849.8327 | 2776382.9914 | 1166861.4548 | 2776374.0141 | 1166866.6072 | 2776365.1736 | 1166873.0983
38 | 2776437.4051 | 1166828.0099 | 2776470.1381 | 1166808.3527 | 2776475.6991 | 1166804.2233 | 2776482.2175 | 1166798.02 | 2776501.7255 | 1166776.3284
39 | 2776501.7255 | 1166776.3284 | 2776512.3106 | 1166762.0934
40 | 2776309.935 | 1166922.4109 | 2775824.6338 | 1166755.7529
41 | 2776512.3106 | 1166762.0934 | 2776518.718 | 1166753.4767
42 | 2775824.6338 | 1166755.7529 | 2775798.7805 | 1167037.7009
43 | 2775824.6338 | 1166755.7529 | 2775791.5795 | 1166744.8426 | 2775752.7066 | 1166722.007 | 2775715.7712 | 1166713.3302 | 2775707.239 | 1166707.4754 | 2775703.1157 | 1166699.403 | 2775701.5471 | 1166691.2162 | 2775706.1387 | 1166661.8123 | 2775708.8475 | 1166632.8648 | 2775714.1544 | 1166625.6244 | 2775718.4546 | 1166615.6076
44 | 2776600.0948 | 1166790.0528 | 2776587.0768 | 1166786.7006 | 2776580.7491 | 1166784.5905 | 2776576.4077 | 1166782.4165 | 2776574.3457 | 1166780.8878 | 2776572.9839 | 1166779.2574 | 2776572.1432 | 1166777.3643 | 2776571.4075 | 1166774.7625 | 2776570.8311 | 1166771.1756 | 2776570.7119 | 1166767.1803
45 | 2776581.5283 | 1166813.3289 | 2776600.0948 | 1166790.0528
46 | 2776581.5283 | 1166813.3289 | 2776570.5964 | 1166802.0862 | 2776566.3927 | 1166800.5372
47 | 2776591.1389 | 1166825.9896 | 2776581.5283 | 1166813.3289
48 | 2776533.801 | 1167075.0912 | 2776523.9704 | 1167107.2956
49 | 2776533.801 | 1167075.0912 | 2776531.3916 | 1167075.2206
50 | 2776514.0156 | 1167080.6248 | 2776531.3916 | 1167075.2206
51 | 2776566.1291 | 1166866.3281 | 2776566.4956 | 1166865.6928
52 | 2776566.1291 | 1166866.3281 | 2776565.2534 | 1166867.8456 | 2776561.3403 | 1166873.5137 | 2776558.5565 | 1166876.576
53 | 2776566.4956 | 1166865.6928 | 2776567.7964 | 1166863.4385
54 | 2776557.8417 | 1166877.3623 | 2776558.5565 | 1166876.576
55 | 2776567.7964 | 1166863.4385 | 2776567.7964 | 1166863.4385 | 2776568.5114 | 1166861.2686
56 | 2776557.8417 | 1166877.3623 | 2776552.0055 | 1166883.7823 | 2776547.4857 | 1166888.7167
57 | 2776571.7333 | 1166847.3565 | 2776569.9873 | 1166849.3787 | 2776568.974 | 1166851.5287 | 2776568.6188 | 1166853.1865 | 2776568.7023 | 1166859.2056 | 2776568.5114 | 1166861.2686 | 2776568.5114 | 1166861.2686
58 | 2776547.4857 | 1166888.7167 | 2776545.6018 | 1166890.7734
59 | 2776578.1251 | 1166839.9535 | 2776571.7333 | 1166847.3565
60 | 2776529.9965 | 1166907.8142 | 2776532.0664 | 1166905.5501 | 2776545.6018 | 1166890.7734
61 | 2776529.4779 | 1166908.3814 | 2776529.9965 | 1166907.8142
62 | 2776529.4779 | 1166908.3814 | 2776525.3163 | 1166912.9333
63 | 2776515.3848 | 1166923.336 | 2776520.5408 | 1166918.1566 | 2776525.3163 | 1166912.9333
64 | 2776515.3848 | 1166923.336 | 2776511.0857 | 1166927.6547
65 | 2776510.4851 | 1166928.258 | 2776511.0857 | 1166927.6547
66 | 2776507.798 | 1166930.9574 | 2776505.7939 | 1166932.9705 | 2776502.7744 | 1166935.5294
67 | 2776507.798 | 1166930.9574 | 2776510.4851 | 1166928.258
68 | 2776502.2425 | 1166935.9801 | 2776502.7744 | 1166935.5294
69 | 2776492.827 | 1166941.6478 | 2776502.2425 | 1166935.9801 | 2776502.2425 | 1166935.9801
70 | 2776528.2194 | 1166848.4122 | 2776524.7124 | 1166849.7492 | 2776522.0931 | 1166850.9905
71 | 2776528.2194 | 1166848.4122 | 2776536.0378 | 1166845.4315
72 | 2776537.8435 | 1166844.7432 | 2776536.0378 | 1166845.4315
73 | 2776537.8435 | 1166844.7432 | 2776548.2391 | 1166840.7801
74 | 2776549.3818 | 1166840.3444 | 2776548.2391 | 1166840.7801
75 | 2776549.3818 | 1166840.3444 | 2776554.0292 | 1166838.5727
76 | 2776578.1251 | 1166839.9535 | 2776575.4684 | 1166838.3295 | 2776573.4431 | 1166837.636 | 2776570.9398 | 1166837.3066 | 2776562.4048 | 1166837.3115 | 2776562.4048 | 1166837.3115
77 | 2776578.1251 | 1166839.9535 | 2776584.6522 | 1166832.9499
78 | 2776560.6479 | 1166837.4558 | 2776562.4048 | 1166837.3115
79 | 2776591.1389 | 1166825.9896 | 2776584.6522 | 1166832.9499
80 | 2776560.6479 | 1166837.4558 | 2776557.72 | 1166837.6964 | 2776554.3962 | 1166838.4328 | 2776554.0292 | 1166838.5727
81 | 2776593.2712 | 1166824.0838 | 2776591.1389 | 1166825.9896
82 | 2776593.2712 | 1166824.0838 | 2776613.492 | 1166844.8528 | 2776615.3281 | 1166845.9855
83 | 2775718.4546 | 1166615.6076 | 2775709.442 | 1166621.9722 | 2775683.8527 | 1166643.9444 | 2775666.7149 | 1166665.3743 | 2775664.8645 | 1166667.1953
84 | 2776564.9877 | 1166800.0195 | 2776566.3927 | 1166800.5372

## bus_geodata
| x | y | coords
0 | 2776463.6924 | 1166887.273
1 | 2776479.4972 | 1166875.1902
2 | 2776488.8864 | 1166870.3717
3 | 2776457.7616 | 1166851.0156
4 | 2776502.235 | 1166862.342
5 | 2776412.2457 | 1166913.7729
6 | 2776405.2747 | 1166930.8388
7 | 2776401.4465 | 1166904.2694
8 | 2776503.7988 | 1166861.4013
9 | 2776408.5033 | 1166949.8853
10 | 2776398.6602 | 1166909.4034
11 | 2776418.603 | 1166977.7143
12 | 2776446.3189 | 1166959.5599
13 | 2776475.0618 | 1166952.3415
14 | 2776356.6751 | 1167109.1417
15 | 2776362.7839 | 1167120.3567
16 | 2776363.9696 | 1167127.1978
17 | 2776375.6346 | 1167115.9012
18 | 2776376.5802 | 1167124.3482
19 | 2776432.7255 | 1167105.9072
20 | 2776506.5365 | 1167082.9509
21 | 2776412.4711 | 1167112.8175
22 | 2776486.0986 | 1167047.2017
23 | 2776396.541 | 1167117.934
24 | 2776392.7013 | 1167331.974
25 | 2776391.9372 | 1167332.573
26 | 2776409.1129 | 1167139.7709
27 | 2776388.1959 | 1167120.6138
28 | 2776473.8784 | 1166972.5366
29 | 2776476.182 | 1166951.6673
30 | 2776491.0313 | 1166942.7287
31 | 2776351.158 | 1166902.9368
32 | 2776358.7576 | 1166943.3861
33 | 2776365.1736 | 1166873.0983
34 | 2776437.4051 | 1166828.0099
35 | 2776501.7255 | 1166776.3284
36 | 2776309.935 | 1166922.4109
37 | 2776512.3106 | 1166762.0934
38 | 2775824.6338 | 1166755.7529
39 | 2776518.718 | 1166753.4767
40 | 2776570.7119 | 1166767.1803
41 | 2776600.0948 | 1166790.0528
42 | 2776581.5283 | 1166813.3289
43 | 2776523.9704 | 1167107.2956
44 | 2776533.801 | 1167075.0912
45 | 2776531.3916 | 1167075.2206
46 | 2776514.0156 | 1167080.6248
47 | 2776566.1291 | 1166866.3281
48 | 2776566.4956 | 1166865.6928
49 | 2776558.5565 | 1166876.576
50 | 2776567.7964 | 1166863.4385
51 | 2776557.8417 | 1166877.3623
52 | 2776568.5114 | 1166861.2686
53 | 2776547.4857 | 1166888.7167
54 | 2776571.7333 | 1166847.3565
55 | 2776545.6018 | 1166890.7734
56 | 2776529.9965 | 1166907.8142
57 | 2776529.4779 | 1166908.3814
58 | 2776525.3163 | 1166912.9333
59 | 2776515.3848 | 1166923.336
60 | 2776511.0857 | 1166927.6547
61 | 2776507.798 | 1166930.9574
62 | 2776502.7744 | 1166935.5294
63 | 2776510.4851 | 1166928.258
64 | 2776502.2425 | 1166935.9801
65 | 2776492.827 | 1166941.6478
66 | 2776528.2194 | 1166848.4122
67 | 2776522.0931 | 1166850.9905
68 | 2776536.0378 | 1166845.4315
69 | 2776537.8435 | 1166844.7432
70 | 2776513.6061 | 1166885.8786
71 | 2776548.2391 | 1166840.7801
72 | 2776549.3818 | 1166840.3444
73 | 2776578.1251 | 1166839.9535
74 | 2776562.4048 | 1166837.3115
75 | 2776584.6522 | 1166832.9499
76 | 2776560.6479 | 1166837.4558
77 | 2776591.1389 | 1166825.9896
78 | 2776554.0292 | 1166838.5727
79 | 2776593.2712 | 1166824.0838
80 | 2775664.8645 | 1166667.1953
81 | 2775718.4546 | 1166615.6076
82 | 2775798.7805 | 1167037.7009
83 | 2776615.3281 | 1166845.9855
84 | 2776566.3927 | 1166800.5372
85 | 2776564.9877 | 1166800.0195
86 | 2776463.6924 | 1166887.273

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1