## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3551-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3551-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3551-11_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3551-11_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3551-11_0_4_node_23 | 0.4 | n |  | TRUE
5 | bus_LV_3551-11_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_3551-11_0_4_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_3551-11_0_4_node_65 | 0.4 | n |  | TRUE
8 | bus_LV_3551-11_0_4_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_3551-11_0_4_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_3551-11_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_3551-11_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3551-11_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3551-11_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3551-11_0_4_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_3551-11_0_4_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_3551-11_0_4_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_3551-11_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3551-11_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_3551-11_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3551-11_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_3551-11_0_4_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_3551-11_0_4_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_3551-11_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_3551-11_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_3551-11_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_3551-11_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_3551-11_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_3551-11_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_3551-11_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_3551-11_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_3551-11_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_3551-11_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_3551-11_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_3551-11_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_3551-11_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_3551-11_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_3551-11_0_4_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_3551-11_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_3551-11_0_4_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_3551-11_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_3551-11_0_4_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_3551-11_0_4_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_3551-11_0_4_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_3551-11_0_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_3551-11_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_3551-11_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_3551-11_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_3551-11_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_3551-11_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_3551-11_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_3551-11_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_3551-11_0_4_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_3551-11_0_4_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_3551-11_0_4_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_3551-11_0_4_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_3551-11_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_3551-11_0_4_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_3551-11_0_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_3551-11_0_4_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_3551-11_0_4_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_3551-11_0_4_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_3551-11_0_4_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_3551-11_0_4_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_3551-11_0_4_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_3551-11_0_4_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_3551-11_0_4_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_3551-11_0_4_node_67 | 0.4 | n |  | TRUE
68 | bus_MV_160_0_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3551-11_0_4_load_0 | 0 | 0.0014862 | 0.00037247 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3551-11_0_4_load_1 | 1 | 0.0022343 | 0.00055997 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3551-11_0_4_load_3 | 2 | 0.010574 | 0.00265 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3551-11_0_4_load_23 | 4 | 0.0013885 | 0.000348 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3551-11_0_4_load_51 | 8 | 0.0017255 | 0.00043246 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3551-11_0_4_load_64 | 9 | 0.0024526 | 0.00061467 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3551-11_0_4_load_5 | 10 | 0.0011731 | 0.00029401 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3551-11_0_4_load_6 | 11 | 0.0015192 | 0.00038075 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3551-11_0_4_load_9 | 13 | 0.0015651 | 0.00039224 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3551-11_0_4_load_27 | 14 | 0.0016316 | 0.00040892 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3551-11_0_4_load_21 | 15 | 0.00091589 | 0.00022954 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3551-11_0_4_load_25 | 16 | 0.0022075 | 0.00055326 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3551-11_0_4_load_11 | 17 | 0.0012139 | 0.00030424 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3551-11_0_4_load_20 | 18 | 0.00091643 | 0.00022968 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3551-11_0_4_load_12 | 19 | 0.0012579 | 0.00031526 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3551-11_0_4_load_18 | 20 | 0.0013165 | 0.00032994 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3551-11_0_4_load_46 | 21 | 0.0019921 | 0.00049928 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3551-11_0_4_load_13 | 23 | 0.0017642 | 0.00044214 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3551-11_0_4_load_15 | 25 | 0.0092625 | 0.0023214 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3551-11_0_4_load_22 | 26 | 0.0038178 | 0.00095683 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3551-11_0_4_load_16 | 27 | 0.0013276 | 0.00033273 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3551-11_0_4_load_17 | 28 | 0.0011281 | 0.00028273 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3551-11_0_4_load_19 | 29 | 0.0010305 | 0.00025828 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3551-11_0_4_load_24 | 30 | 0.0029797 | 0.00074679 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3551-11_0_4_load_26 | 31 | 0.0024679 | 0.00061852 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3551-11_0_4_load_29 | 33 | 0.0015918 | 0.00039895 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3551-11_0_4_load_30 | 34 | 0.0033439 | 0.00083806 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3551-11_0_4_load_32 | 36 | 0.0019772 | 0.00049554 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3551-11_0_4_load_39 | 37 | 0.0020208 | 0.00050645 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3551-11_0_4_load_38 | 38 | 0.0027585 | 0.00069136 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3551-11_0_4_load_42 | 39 | 0.0022785 | 0.00057104 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3551-11_0_4_load_37 | 40 | 0.0021294 | 0.00053367 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3551-11_0_4_load_50 | 42 | 0.0014559 | 0.00036489 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3551-11_0_4_load_49 | 43 | 0.0024568 | 0.00061574 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3551-11_0_4_load_34 | 45 | 0.0011012 | 0.00027599 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3551-11_0_4_load_35 | 46 | 0.0026603 | 0.00066673 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3551-11_0_4_load_36 | 47 | 0.0026568 | 0.00066586 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3551-11_0_4_load_40 | 48 | 0.0042387 | 0.0010623 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3551-11_0_4_load_41 | 49 | 0.001915 | 0.00047995 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3551-11_0_4_load_44 | 51 | 0.0021815 | 0.00054673 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3551-11_0_4_load_70 | 52 | 0.0034394 | 0.000862 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3551-11_0_4_load_71 | 53 | 0.0037596 | 0.00094225 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3551-11_0_4_load_56 | 54 | 0.0016373 | 0.00041035 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3551-11_0_4_load_58 | 56 | 0.0098388 | 0.0024658 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3551-11_0_4_load_63 | 57 | 0.0010847 | 0.00027185 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3551-11_0_4_load_52 | 58 | 0.0028987 | 0.00072648 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3551-11_0_4_load_55 | 59 | 0.0032992 | 0.00082686 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3551-11_0_4_load_53 | 60 | 0.0010081 | 0.00025264 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3551-11_0_4_load_57 | 61 | 0.0022944 | 0.00057504 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3551-11_0_4_load_59 | 62 | 0.0095033 | 0.0023817 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3551-11_0_4_load_60 | 63 | 0.0044365 | 0.0011119 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3551-11_0_4_load_61 | 64 | 0.0096164 | 0.0024101 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3551-11_0_4_load_62 | 65 | 0.0037867 | 0.00094904 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3551-11_0_4_load_66 | 66 | 0.0050915 | 0.0012761 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3551-11_0_4_load_67 | 67 | 0.0020708 | 0.00051898 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3551-11_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.03229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3551-11_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.059224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_3551-11_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.064448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_3551-11_0_4_line_3 | NAYY 4x150 SE | 2 | 6 | 0.068358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_3551-11_0_4_line_4 | NAYY 4x150 SE | 3 | 7 | 0.010857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_3551-11_0_4_line_5 | NAYY 4x150 SE | 4 | 5 | 0.024329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3551-11_0_4_line_6 | NAYY 4x150 SE | 5 | 18 | 0.016421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3551-11_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.013583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_3551-11_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.008315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3551-11_0_4_line_9 | NAYY 4x150 SE | 8 | 58 | 0.0092351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_3551-11_0_4_line_10 | NAYY 4x150 SE | 9 | 57 | 0.068125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_3551-11_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.0083837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3551-11_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0095367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3551-11_0_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.014864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3551-11_0_4_line_14 | NAYY 4x150 SE | 13 | 17 | 0.022574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3551-11_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.044935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3551-11_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0039449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3551-11_0_4_line_17 | NAYY 4x150 SE | 15 | 26 | 0.027871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3551-11_0_4_line_18 | NAYY 4x150 SE | 15 | 29 | 0.0084104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3551-11_0_4_line_19 | NAYY 4x150 SE | 16 | 30 | 0.0084705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3551-11_0_4_line_20 | NAYY 4x150 SE | 17 | 19 | 0.001152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3551-11_0_4_line_21 | NAYY 4x150 SE | 18 | 20 | 0.029985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3551-11_0_4_line_22 | NAYY 4x150 SE | 19 | 23 | 0.016819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3551-11_0_4_line_23 | NAYY 4x150 SE | 20 | 27 | 0.03209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3551-11_0_4_line_24 | NAYY 4x150 SE | 21 | 22 | 0.038589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3551-11_0_4_line_25 | NAYY 4x150 SE | 22 | 36 | 0.010315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_3551-11_0_4_line_26 | NAYY 4x150 SE | 23 | 24 | 0.068938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3551-11_0_4_line_27 | NAYY 4x150 SE | 24 | 25 | 0.014125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3551-11_0_4_line_28 | NAYY 4x150 SE | 25 | 26 | 0.01887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3551-11_0_4_line_29 | NAYY 4x150 SE | 27 | 28 | 0.019022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3551-11_0_4_line_30 | NAYY 4x150 SE | 28 | 29 | 0.006539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3551-11_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.010259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3551-11_0_4_line_32 | NAYY 4x150 SE | 31 | 32 | 0.012058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3551-11_0_4_line_33 | NAYY 4x150 SE | 32 | 33 | 0.031639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_3551-11_0_4_line_34 | NAYY 4x150 SE | 32 | 34 | 0.034416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3551-11_0_4_line_35 | NAYY 4x150 SE | 32 | 35 | 0.047803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_3551-11_0_4_line_36 | NAYY 4x150 SE | 33 | 36 | 0.039094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_3551-11_0_4_line_37 | NAYY 4x150 SE | 35 | 37 | 0.0085819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_3551-11_0_4_line_38 | NAYY 4x150 SE | 35 | 38 | 0.012119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3551-11_0_4_line_39 | NAYY 4x150 SE | 37 | 39 | 0.011428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_3551-11_0_4_line_40 | NAYY 4x150 SE | 38 | 40 | 0.0084377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3551-11_0_4_line_41 | NAYY 4x150 SE | 39 | 48 | 0.013897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_3551-11_0_4_line_42 | NAYY 4x150 SE | 40 | 47 | 0.0080811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3551-11_0_4_line_43 | NAYY 4x150 SE | 41 | 42 | 0.017355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_3551-11_0_4_line_44 | NAYY 4x150 SE | 41 | 43 | 0.012883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_3551-11_0_4_line_45 | NAYY 4x150 SE | 41 | 44 | 0.030753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3551-11_0_4_line_46 | NAYY 4x150 SE | 42 | 54 | 0.010306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_3551-11_0_4_line_47 | NAYY 4x150 SE | 43 | 51 | 0.026647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_3551-11_0_4_line_48 | NAYY 4x150 SE | 44 | 52 | 0.034034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3551-11_0_4_line_49 | NAYY 4x150 SE | 45 | 46 | 0.0054749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3551-11_0_4_line_50 | NAYY 4x150 SE | 46 | 47 | 0.016182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3551-11_0_4_line_51 | NAYY 4x150 SE | 48 | 49 | 0.0045387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_3551-11_0_4_line_52 | NAYY 4x150 SE | 49 | 50 | 0.012852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_3551-11_0_4_line_53 | NAYY 4x150 SE | 50 | 51 | 0.031545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_3551-11_0_4_line_54 | NAYY 4x150 SE | 52 | 53 | 0.037856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3551-11_0_4_line_55 | NAYY 4x150 SE | 54 | 59 | 0.0073334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_3551-11_0_4_line_56 | NAYY 4x150 SE | 55 | 56 | 0.078179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_3551-11_0_4_line_57 | NAYY 4x150 SE | 55 | 57 | 0.016934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_3551-11_0_4_line_58 | NAYY 4x150 SE | 56 | 61 | 0.0085759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_3551-11_0_4_line_59 | NAYY 4x150 SE | 58 | 60 | 0.010752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_3551-11_0_4_line_60 | NAYY 4x150 SE | 59 | 60 | 0.010468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_3551-11_0_4_line_61 | NAYY 4x150 SE | 61 | 62 | 0.030864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_3551-11_0_4_line_62 | NAYY 4x150 SE | 62 | 63 | 0.015612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3551-11_0_4_line_63 | NAYY 4x150 SE | 63 | 64 | 0.016923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3551-11_0_4_line_64 | NAYY 4x150 SE | 64 | 65 | 0.020655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3551-11_0_4_line_65 | NAYY 4x150 SE | 65 | 66 | 0.00035655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3551-11_0_4_line_66 | NAYY 4x150 SE | 66 | 67 | 0.0139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3551-11_0_4_trafo_33 | 0.25 MVA 20/0.4 kV | 68 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2806789.5505 | 1126833.9058 | 2806774.1681 | 1126862.2969
1 | 2806789.5505 | 1126833.9058 | 2806802.6374 | 1126809.7051 | 2806814.5183 | 1126795.0511 | 2806824.2102 | 1126786.6198
2 | 2806726.0152 | 1126822.0444 | 2806789.5505 | 1126833.9058
3 | 2806876.9267 | 1126743.1403 | 2806850.5632 | 1126763.6942 | 2806824.2102 | 1126786.6198
4 | 2806726.0152 | 1126822.0444 | 2806726.0855 | 1126811.1908
5 | 2806887.6031 | 1126921.2396 | 2806882.2973 | 1126922.0813 | 2806863.359 | 1126921.2387
6 | 2806887.6031 | 1126921.2396 | 2806892.9092 | 1126920.3868 | 2806903.7259 | 1126918.1435
7 | 2806876.9267 | 1126743.1403 | 2806888.3116 | 1126735.7324
8 | 2806726.0855 | 1126811.1908 | 2806732.4529 | 1126805.8433
9 | 2806888.3116 | 1126735.7324 | 2806896.0524 | 1126730.6956
10 | 2806785.1291 | 1126762.6443 | 2806741.4077 | 1126798.3228 | 2806732.4529 | 1126805.8433
11 | 2806921.6314 | 1126987.7979 | 2806914.0434 | 1126991.3628
12 | 2806930.263 | 1126983.7428 | 2806921.6314 | 1126987.7979
13 | 2806930.263 | 1126983.7428 | 2806944.232 | 1126978.6622
14 | 2806944.232 | 1126978.6622 | 2806965.4465 | 1126970.9464
15 | 2807007.1362 | 1126860.4098 | 2806998.6398 | 1126904.5342
16 | 2807008.5366 | 1126856.7219 | 2807007.1362 | 1126860.4098
17 | 2807025.3369 | 1126909.7354 | 2807020.7813 | 1126907.113 | 2807012.6449 | 1126904.3316 | 2807004.1863 | 1126904.1976 | 2806998.6398 | 1126904.5342
18 | 2806990.2449 | 1126905.0436 | 2806998.6398 | 1126904.5342
19 | 2807011.5435 | 1126848.8031 | 2807008.5366 | 1126856.7219
20 | 2806965.4465 | 1126970.9464 | 2806966.5291 | 1126970.5527
21 | 2806903.7259 | 1126918.1435 | 2806933.0866 | 1126912.0544
22 | 2806981.8603 | 1126963.6528 | 2806968.6121 | 1126969.7951 | 2806966.5291 | 1126970.5527
23 | 2806933.0866 | 1126912.0544 | 2806946.6773 | 1126909.2358 | 2806964.7981 | 1126907.4397
24 | 2806956.082 | 1126778.5403 | 2806940.7011 | 1126813.932
25 | 2806956.082 | 1126778.5403 | 2806962.9795 | 1126780.3337 | 2806965.3595 | 1126782.4549
26 | 2807044.0592 | 1126935.8734 | 2807015.6664 | 1126943.1542 | 2807001.3501 | 1126950.2942 | 2806981.8603 | 1126963.6528
27 | 2807044.0592 | 1126935.8734 | 2807042.312 | 1126929.6737 | 2807038.5924 | 1126922.9504
28 | 2807025.3369 | 1126909.7354 | 2807027.4996 | 1126910.9803 | 2807033.298 | 1126916.251 | 2807038.5924 | 1126922.9504
29 | 2806964.7981 | 1126907.4397 | 2806983.7278 | 1126905.5634
30 | 2806990.2449 | 1126905.0436 | 2806986.9619 | 1126905.2428 | 2806983.7278 | 1126905.5634
31 | 2807011.5435 | 1126848.8031 | 2807015.1854 | 1126839.212
32 | 2807019.4659 | 1126827.939 | 2807015.1854 | 1126839.212
33 | 2807019.4659 | 1126827.939 | 2806998.1135 | 1126811.6467 | 2806994.5447 | 1126808.4661
34 | 2807019.4659 | 1126827.939 | 2807039.4518 | 1126843.8065 | 2807047.4231 | 1126847.7579
35 | 2807003.0559 | 1126783.7972 | 2807003.4254 | 1126793.7316 | 2807009.4953 | 1126809.7786 | 2807019.4659 | 1126827.939
36 | 2806994.5447 | 1126808.4661 | 2806965.3595 | 1126782.4549
37 | 2807003.0559 | 1126783.7972 | 2807002.7324 | 1126775.2214
38 | 2807003.0559 | 1126783.7972 | 2807014.6382 | 1126787.3645
39 | 2807002.7324 | 1126775.2214 | 2807003.1235 | 1126763.7996
40 | 2807022.7021 | 1126789.8482 | 2807014.6382 | 1126787.3645
41 | 2807003.9429 | 1126749.9363 | 2807003.4549 | 1126754.1237 | 2807003.1235 | 1126763.7996
42 | 2807022.7021 | 1126789.8482 | 2807024.9972 | 1126790.5551 | 2807029.9323 | 1126793.3662
43 | 2806943.17 | 1126700.0373 | 2806928.6234 | 1126709.5024
44 | 2806943.17 | 1126700.0373 | 2806952.8163 | 1126708.5773
45 | 2806965.9654 | 1126679.3838 | 2806945.3243 | 1126698.6317 | 2806943.17 | 1126700.0373
46 | 2806919.985 | 1126715.1232 | 2806928.6234 | 1126709.5024
47 | 2806974.7795 | 1126723.0083 | 2806969.5825 | 1126721.33 | 2806963.4926 | 1126718.0293 | 2806952.8163 | 1126708.5773
48 | 2806965.9654 | 1126679.3838 | 2806966.2457 | 1126676.379 | 2806966.9847 | 1126671.9218 | 2806968.3447 | 1126667.3523 | 2806970.227 | 1126661.4993 | 2806972.7805 | 1126655.6471 | 2806975.8735 | 1126649.8134 | 2806977.359 | 1126647.6862
49 | 2807047.8823 | 1126805.3687 | 2807043.598 | 1126801.9598
50 | 2807043.598 | 1126801.9598 | 2807040.0183 | 1126799.1115 | 2807029.9323 | 1126793.3662
51 | 2807003.9429 | 1126749.9363 | 2807004.4682 | 1126745.4281
52 | 2807004.798 | 1126732.7023 | 2807005.509 | 1126736.4974 | 2807004.4682 | 1126745.4281
53 | 2807004.798 | 1126732.7023 | 2806974.7795 | 1126723.0083
54 | 2806977.359 | 1126647.6862 | 2806979.6135 | 1126644.4578 | 2806983.1748 | 1126639.8191 | 2806987.2872 | 1126635.7554 | 2806991.9115 | 1126632.0653 | 2806996.2809 | 1126629.512 | 2807002.4209 | 1126626.619 | 2807006.7246 | 1126625.2223
55 | 2806913.8382 | 1126719.1228 | 2806919.985 | 1126715.1232
56 | 2806798.249 | 1126751.938 | 2806799.8997 | 1126750.593 | 2806841.3128 | 1126716.8058 | 2806859.1192 | 1126702.8852
57 | 2806798.249 | 1126751.938 | 2806785.1291 | 1126762.6443
58 | 2806865.8755 | 1126697.6033 | 2806859.1192 | 1126702.8852
59 | 2806896.0524 | 1126730.6956 | 2806905.0645 | 1126724.8316
60 | 2806913.8382 | 1126719.1228 | 2806905.0645 | 1126724.8316
61 | 2806865.8755 | 1126697.6033 | 2806876.0178 | 1126689.6744 | 2806891.3708 | 1126680.2968
62 | 2806904.6943 | 1126672.1588 | 2806891.3708 | 1126680.2968
63 | 2806904.6943 | 1126672.1588 | 2806919.1366 | 1126663.3374
64 | 2806919.1366 | 1126663.3374 | 2806936.7638 | 1126652.5707
65 | 2806937.0681 | 1126652.3848 | 2806936.7638 | 1126652.5707
66 | 2806948.8804 | 1126645.0596 | 2806945.4079 | 1126647.2909 | 2806937.0681 | 1126652.3848

## bus_geodata
| x | y | coords
0 | 2806774.1681 | 1126862.2969
1 | 2806789.5505 | 1126833.9058
2 | 2806824.2101 | 1126786.6198
3 | 2806726.0152 | 1126822.0444
4 | 2806863.359 | 1126921.2387
5 | 2806887.6031 | 1126921.2396
6 | 2806876.9267 | 1126743.1403
7 | 2806726.0855 | 1126811.1908
8 | 2806888.3116 | 1126735.7324
9 | 2806732.4529 | 1126805.8433
10 | 2806921.6314 | 1126987.7979
11 | 2806914.0434 | 1126991.3628
12 | 2806930.263 | 1126983.7428
13 | 2806944.232 | 1126978.6622
14 | 2807007.1362 | 1126860.4098
15 | 2806998.6398 | 1126904.5342
16 | 2807008.5366 | 1126856.7219
17 | 2806965.4465 | 1126970.9464
18 | 2806903.7259 | 1126918.1435
19 | 2806966.5291 | 1126970.5527
20 | 2806933.0866 | 1126912.0544
21 | 2806940.7011 | 1126813.932
22 | 2806956.082 | 1126778.5403
23 | 2806981.8603 | 1126963.6528
24 | 2807044.0592 | 1126935.8734
25 | 2807038.5924 | 1126922.9504
26 | 2807025.3369 | 1126909.7354
27 | 2806964.7981 | 1126907.4397
28 | 2806983.7278 | 1126905.5634
29 | 2806990.2449 | 1126905.0436
30 | 2807011.5435 | 1126848.8031
31 | 2807015.1854 | 1126839.212
32 | 2807019.4659 | 1126827.939
33 | 2806994.5447 | 1126808.4661
34 | 2807047.4231 | 1126847.7579
35 | 2807003.0559 | 1126783.7972
36 | 2806965.3595 | 1126782.4549
37 | 2807002.7324 | 1126775.2214
38 | 2807014.6382 | 1126787.3645
39 | 2807003.1235 | 1126763.7996
40 | 2807022.7021 | 1126789.8482
41 | 2806943.17 | 1126700.0373
42 | 2806928.6234 | 1126709.5024
43 | 2806952.8163 | 1126708.5773
44 | 2806965.9654 | 1126679.3838
45 | 2807047.8823 | 1126805.3687
46 | 2807043.598 | 1126801.9598
47 | 2807029.9323 | 1126793.3662
48 | 2807003.9429 | 1126749.9363
49 | 2807004.4682 | 1126745.4281
50 | 2807004.798 | 1126732.7023
51 | 2806974.7795 | 1126723.0083
52 | 2806977.359 | 1126647.6862
53 | 2807006.7246 | 1126625.2223
54 | 2806919.985 | 1126715.1232
55 | 2806798.249 | 1126751.938
56 | 2806859.1192 | 1126702.8852
57 | 2806785.1291 | 1126762.6443
58 | 2806896.0524 | 1126730.6956
59 | 2806913.8382 | 1126719.1228
60 | 2806905.0645 | 1126724.8316
61 | 2806865.8755 | 1126697.6033
62 | 2806891.3708 | 1126680.2968
63 | 2806904.6943 | 1126672.1588
64 | 2806919.1366 | 1126663.3374
65 | 2806936.7638 | 1126652.5707
66 | 2806937.0681 | 1126652.3848
67 | 2806948.8804 | 1126645.0596
68 | 2806931.525 | 1126776.743

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1