## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3551-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3551-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3551-5_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3551-5_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3551-5_0_4_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_3551-5_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3551-5_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3551-5_0_4_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_3551-5_0_4_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_3551-5_0_4_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_3551-5_0_4_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_3551-5_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_3551-5_0_4_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_3551-5_0_4_node_61 | 0.4 | n |  | TRUE
14 | bus_LV_3551-5_0_4_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_3551-5_0_4_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_3551-5_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_3551-5_0_4_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_3551-5_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_3551-5_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_3551-5_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_3551-5_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_3551-5_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_3551-5_0_4_node_80 | 0.4 | n |  | TRUE
24 | bus_LV_3551-5_0_4_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_3551-5_0_4_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_3551-5_0_4_node_79 | 0.4 | n |  | TRUE
27 | bus_LV_3551-5_0_4_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_3551-5_0_4_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_3551-5_0_4_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_3551-5_0_4_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_3551-5_0_4_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_3551-5_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_3551-5_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_3551-5_0_4_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_3551-5_0_4_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_3551-5_0_4_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_3551-5_0_4_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_3551-5_0_4_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_3551-5_0_4_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_3551-5_0_4_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_3551-5_0_4_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_3551-5_0_4_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_3551-5_0_4_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_3551-5_0_4_node_76 | 0.4 | n |  | TRUE
45 | bus_LV_3551-5_0_4_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_3551-5_0_4_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_3551-5_0_4_node_19 | 0.4 | n |  | TRUE
48 | bus_LV_3551-5_0_4_node_20 | 0.4 | n |  | TRUE
49 | bus_LV_3551-5_0_4_node_21 | 0.4 | n |  | TRUE
50 | bus_LV_3551-5_0_4_node_22 | 0.4 | n |  | TRUE
51 | bus_LV_3551-5_0_4_node_23 | 0.4 | n |  | TRUE
52 | bus_LV_3551-5_0_4_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_3551-5_0_4_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_3551-5_0_4_node_24 | 0.4 | n |  | TRUE
55 | bus_LV_3551-5_0_4_node_25 | 0.4 | n |  | TRUE
56 | bus_LV_3551-5_0_4_node_26 | 0.4 | n |  | TRUE
57 | bus_LV_3551-5_0_4_node_27 | 0.4 | n |  | TRUE
58 | bus_LV_3551-5_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_3551-5_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_3551-5_0_4_node_31 | 0.4 | n |  | TRUE
61 | bus_LV_3551-5_0_4_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_3551-5_0_4_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_3551-5_0_4_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_3551-5_0_4_node_32 | 0.4 | n |  | TRUE
65 | bus_LV_3551-5_0_4_node_37 | 0.4 | n |  | TRUE
66 | bus_LV_3551-5_0_4_node_36 | 0.4 | n |  | TRUE
67 | bus_LV_3551-5_0_4_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_3551-5_0_4_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_3551-5_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_3551-5_0_4_node_35 | 0.4 | n |  | TRUE
71 | bus_LV_3551-5_0_4_node_33 | 0.4 | n |  | TRUE
72 | bus_LV_3551-5_0_4_node_34 | 0.4 | n |  | TRUE
73 | bus_LV_3551-5_0_4_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_3551-5_0_4_node_77 | 0.4 | n |  | TRUE
75 | bus_LV_3551-5_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_3551-5_0_4_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_3551-5_0_4_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_3551-5_0_4_node_52 | 0.4 | n |  | TRUE
79 | bus_MV_160_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3551-5_0_4_load_0 | 0 | 0.0085411 | 0.0021406 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3551-5_0_4_load_4 | 3 | 0.001771 | 0.00044386 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3551-5_0_4_load_5 | 5 | 0.0023733 | 0.00059481 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3551-5_0_4_load_6 | 6 | 0.0040148 | 0.0010062 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3551-5_0_4_load_28 | 8 | 0.0054521 | 0.0013664 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3551-5_0_4_load_47 | 9 | 0.0068979 | 0.0017288 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3551-5_0_4_load_42 | 10 | 0.0032572 | 0.00081634 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3551-5_0_4_load_16 | 11 | 0.0027136 | 0.0006801 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3551-5_0_4_load_61 | 13 | 0.0040302 | 0.0010101 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3551-5_0_4_load_48 | 15 | 0.0018968 | 0.00047538 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3551-5_0_4_load_14 | 16 | 0.0013391 | 0.0003356 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3551-5_0_4_load_7 | 17 | 0.0069352 | 0.0017381 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3551-5_0_4_load_8 | 18 | 0.0063504 | 0.0015916 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3551-5_0_4_load_11 | 21 | 0.002186 | 0.00054786 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3551-5_0_4_load_63 | 25 | 0.0068979 | 0.0017288 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3551-5_0_4_load_79 | 26 | 0.0054449 | 0.0013646 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3551-5_0_4_load_41 | 28 | 0.0062341 | 0.0015624 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3551-5_0_4_load_38 | 29 | 0.00089873 | 0.00022524 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3551-5_0_4_load_13 | 30 | 0.011463 | 0.002873 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3551-5_0_4_load_17 | 32 | 0.0046974 | 0.0011773 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3551-5_0_4_load_18 | 33 | 0.0034542 | 0.0008657 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3551-5_0_4_load_64 | 34 | 0.0032287 | 0.0008092 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3551-5_0_4_load_67 | 37 | 0.0032027 | 0.00080266 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3551-5_0_4_load_68 | 38 | 0.001354 | 0.00033935 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3551-5_0_4_load_70 | 40 | 0.0035333 | 0.00088553 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3551-5_0_4_load_72 | 41 | 0.0028459 | 0.00071325 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3551-5_0_4_load_73 | 42 | 0.00087338 | 0.00021889 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3551-5_0_4_load_75 | 43 | 0.0012033 | 0.00030156 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3551-5_0_4_load_76 | 44 | 0.0037653 | 0.00094367 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3551-5_0_4_load_78 | 45 | 0.0035041 | 0.00087822 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3551-5_0_4_load_19 | 47 | 0.010263 | 0.0025722 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3551-5_0_4_load_20 | 48 | 0.0086587 | 0.0021701 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3551-5_0_4_load_21 | 49 | 0.0083349 | 0.0020889 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3551-5_0_4_load_22 | 50 | 0.0041794 | 0.0010475 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3551-5_0_4_load_23 | 51 | 0.011328 | 0.0028391 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3551-5_0_4_load_58 | 52 | 0.0035522 | 0.00089027 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3551-5_0_4_load_57 | 53 | 0.0018197 | 0.00045606 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3551-5_0_4_load_24 | 54 | 0.0052909 | 0.001326 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3551-5_0_4_load_25 | 55 | 0.0030065 | 0.0007535 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3551-5_0_4_load_26 | 56 | 0.0037355 | 0.00093619 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3551-5_0_4_load_45 | 58 | 0.0026491 | 0.00066394 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3551-5_0_4_load_44 | 59 | 0.0011326 | 0.00028386 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3551-5_0_4_load_62 | 61 | 0.0049073 | 0.0012299 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3551-5_0_4_load_39 | 62 | 0.0091842 | 0.0023018 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3551-5_0_4_load_50 | 63 | 0.0025331 | 0.00063486 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3551-5_0_4_load_36 | 66 | 0.0019432 | 0.00048701 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3551-5_0_4_load_46 | 67 | 0.0026974 | 0.00067603 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3551-5_0_4_load_49 | 68 | 0.0017105 | 0.00042869 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3551-5_0_4_load_59 | 69 | 0.0026171 | 0.00065592 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3551-5_0_4_load_35 | 70 | 0.0021822 | 0.0005469 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3551-5_0_4_load_33 | 71 | 0.0019517 | 0.00048914 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3551-5_0_4_load_34 | 72 | 0.0018705 | 0.00046878 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3551-5_0_4_load_77 | 74 | 0.00051503 | 0.00012908 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3551-5_0_4_load_60 | 76 | 0.0017677 | 0.00044303 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3551-5_0_4_load_51 | 77 | 0.0082686 | 0.0020723 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3551-5_0_4_load_52 | 78 | 0.010641 | 0.0026668 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3551-5_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3551-5_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.017742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_3551-5_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.016633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_3551-5_0_4_line_3 | NAYY 4x150 SE | 2 | 7 | 0.004083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3551-5_0_4_line_4 | NAYY 4x150 SE | 2 | 8 | 0.028585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_3551-5_0_4_line_5 | NAYY 4x150 SE | 3 | 9 | 0.015614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_3551-5_0_4_line_6 | NAYY 4x150 SE | 4 | 5 | 0.013188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3551-5_0_4_line_7 | NAYY 4x150 SE | 4 | 6 | 0.01223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3551-5_0_4_line_8 | NAYY 4x150 SE | 5 | 10 | 0.023577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3551-5_0_4_line_9 | NAYY 4x150 SE | 6 | 11 | 0.0034871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3551-5_0_4_line_10 | NAYY 4x150 SE | 7 | 12 | 0.03397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3551-5_0_4_line_11 | NAYY 4x150 SE | 7 | 13 | 0.021416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3551-5_0_4_line_12 | NAYY 4x150 SE | 8 | 14 | 0.0089534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_3551-5_0_4_line_13 | NAYY 4x150 SE | 9 | 15 | 0.0099007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_3551-5_0_4_line_14 | NAYY 4x150 SE | 10 | 12 | 0.020557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3551-5_0_4_line_15 | NAYY 4x150 SE | 11 | 16 | 0.0066616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3551-5_0_4_line_16 | NAYY 4x150 SE | 12 | 67 | 0.007343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3551-5_0_4_line_17 | NAYY 4x150 SE | 14 | 60 | 0.010632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_3551-5_0_4_line_18 | NAYY 4x150 SE | 15 | 65 | 0.0062269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_3551-5_0_4_line_19 | NAYY 4x150 SE | 16 | 30 | 0.014442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3551-5_0_4_line_20 | NAYY 4x150 SE | 17 | 18 | 0.044274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_3551-5_0_4_line_21 | NAYY 4x150 SE | 17 | 19 | 0.0039418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_3551-5_0_4_line_22 | NAYY 4x150 SE | 18 | 20 | 0.033347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_3551-5_0_4_line_23 | NAYY 4x150 SE | 19 | 21 | 0.020265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_3551-5_0_4_line_24 | NAYY 4x150 SE | 19 | 22 | 0.047035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3551-5_0_4_line_25 | NAYY 4x150 SE | 20 | 23 | 0.10135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_3551-5_0_4_line_26 | NAYY 4x150 SE | 21 | 24 | 0.020276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_3551-5_0_4_line_27 | NAYY 4x150 SE | 22 | 25 | 0.076405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3551-5_0_4_line_28 | NAYY 4x150 SE | 23 | 26 | 0.010029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_3551-5_0_4_line_29 | NAYY 4x150 SE | 24 | 28 | 0.013232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3551-5_0_4_line_30 | NAYY 4x150 SE | 24 | 29 | 0.011661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_3551-5_0_4_line_31 | NAYY 4x150 SE | 26 | 27 | 0.11701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_3551-5_0_4_line_32 | NAYY 4x150 SE | 27 | 73 | 0.039648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3551-5_0_4_line_33 | NAYY 4x150 SE | 28 | 51 | 0.020517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3551-5_0_4_line_34 | NAYY 4x150 SE | 29 | 62 | 0.0088964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_3551-5_0_4_line_35 | NAYY 4x150 SE | 30 | 31 | 0.0087669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3551-5_0_4_line_36 | NAYY 4x150 SE | 31 | 32 | 0.018882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3551-5_0_4_line_37 | NAYY 4x150 SE | 31 | 33 | 0.055084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3551-5_0_4_line_38 | NAYY 4x150 SE | 34 | 35 | 0.036348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3551-5_0_4_line_39 | NAYY 4x150 SE | 34 | 36 | 0.037476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3551-5_0_4_line_40 | NAYY 4x150 SE | 35 | 37 | 0.032362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3551-5_0_4_line_41 | NAYY 4x150 SE | 36 | 38 | 0.010912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3551-5_0_4_line_42 | NAYY 4x150 SE | 37 | 39 | 0.036488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3551-5_0_4_line_43 | NAYY 4x150 SE | 38 | 40 | 0.0097824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3551-5_0_4_line_44 | NAYY 4x150 SE | 39 | 41 | 0.0204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3551-5_0_4_line_45 | NAYY 4x150 SE | 41 | 42 | 0.045716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3551-5_0_4_line_46 | NAYY 4x150 SE | 42 | 43 | 0.015445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3551-5_0_4_line_47 | NAYY 4x150 SE | 43 | 75 | 0.016218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3551-5_0_4_line_48 | NAYY 4x150 SE | 44 | 45 | 0.017911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3551-5_0_4_line_49 | NAYY 4x150 SE | 45 | 46 | 0.066367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3551-5_0_4_line_50 | NAYY 4x150 SE | 46 | 73 | 0.024155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3551-5_0_4_line_51 | NAYY 4x150 SE | 47 | 48 | 0.015941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3551-5_0_4_line_52 | NAYY 4x150 SE | 47 | 49 | 0.022959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3551-5_0_4_line_53 | NAYY 4x150 SE | 48 | 50 | 0.021747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3551-5_0_4_line_54 | NAYY 4x150 SE | 49 | 51 | 0.0069415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3551-5_0_4_line_55 | NAYY 4x150 SE | 50 | 52 | 0.011496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3551-5_0_4_line_56 | NAYY 4x150 SE | 52 | 53 | 0.012521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3551-5_0_4_line_57 | NAYY 4x150 SE | 54 | 55 | 0.033744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3551-5_0_4_line_58 | NAYY 4x150 SE | 54 | 56 | 0.023697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3551-5_0_4_line_59 | NAYY 4x150 SE | 55 | 57 | 0.056593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3551-5_0_4_line_60 | NAYY 4x150 SE | 57 | 58 | 0.015055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3551-5_0_4_line_61 | NAYY 4x150 SE | 58 | 59 | 0.017521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3551-5_0_4_line_62 | NAYY 4x150 SE | 59 | 67 | 0.0068812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3551-5_0_4_line_63 | NAYY 4x150 SE | 60 | 61 | 0.012055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3551-5_0_4_line_64 | NAYY 4x150 SE | 60 | 62 | 0.016475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_3551-5_0_4_line_65 | NAYY 4x150 SE | 60 | 63 | 0.0092974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3551-5_0_4_line_66 | NAYY 4x150 SE | 63 | 68 | 0.016004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3551-5_0_4_line_67 | NAYY 4x150 SE | 64 | 65 | 0.018104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_3551-5_0_4_line_68 | NAYY 4x150 SE | 64 | 66 | 0.0163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3551-5_0_4_line_69 | NAYY 4x150 SE | 65 | 69 | 0.018827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3551-5_0_4_line_70 | NAYY 4x150 SE | 66 | 70 | 0.018165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3551-5_0_4_line_71 | NAYY 4x150 SE | 68 | 77 | 0.011144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3551-5_0_4_line_72 | NAYY 4x150 SE | 69 | 76 | 0.022901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3551-5_0_4_line_73 | NAYY 4x150 SE | 70 | 72 | 0.018447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3551-5_0_4_line_74 | NAYY 4x150 SE | 71 | 72 | 0.015959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3551-5_0_4_line_75 | NAYY 4x150 SE | 73 | 74 | 0.053609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3551-5_0_4_line_76 | NAYY 4x150 SE | 74 | 75 | 0.061862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3551-5_0_4_line_77 | NAYY 4x150 SE | 77 | 78 | 0.023603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3551-5_0_4_trafo_32 | 0.25 MVA 20/0.4 kV | 79 | 64 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2808475.1873 | 1123768.2635 | 2808461.5512 | 1123758.0941
1 | 2808485.0968 | 1123753.5334 | 2808475.1873 | 1123768.2635
2 | 2808475.1873 | 1123768.2635 | 2808466.0503 | 1123782.1621
3 | 2808485.0968 | 1123753.5334 | 2808487.1861 | 1123750.0238
4 | 2808485.0968 | 1123753.5334 | 2808501.0753 | 1123766.2863 | 2808507.1355 | 1123771.7232
5 | 2808457.4365 | 1123795.1838 | 2808458.048 | 1123794.3347 | 2808466.0503 | 1123782.1621
6 | 2808424.1885 | 1123773.858 | 2808434.1793 | 1123765.2496
7 | 2808424.1885 | 1123773.858 | 2808417.5681 | 1123776.9222 | 2808413.9554 | 1123780.2838
8 | 2808448.6998 | 1123746.811 | 2808445.1088 | 1123752.2995 | 2808437.4577 | 1123762.4247 | 2808434.1793 | 1123765.2496
9 | 2808411.4025 | 1123782.6593 | 2808413.9554 | 1123780.2838
10 | 2808459.955 | 1123729.6085 | 2808487.1861 | 1123750.0238
11 | 2808487.1861 | 1123750.0238 | 2808493.174 | 1123741.5765 | 2808497.1076 | 1123731.2381
12 | 2808513.0485 | 1123778.3449 | 2808511.0036 | 1123775.1933 | 2808507.1355 | 1123771.7232
13 | 2808457.4365 | 1123795.1838 | 2808451.6506 | 1123803.2178
14 | 2808459.955 | 1123729.6085 | 2808448.6998 | 1123746.811
15 | 2808411.4025 | 1123782.6593 | 2808406.5255 | 1123787.1972
16 | 2808459.955 | 1123729.6085 | 2808463.5821 | 1123723.2239
17 | 2808513.0485 | 1123778.3449 | 2808515.7458 | 1123778.9162 | 2808519.0356 | 1123780.6648 | 2808522.2796 | 1123783.2904
18 | 2808448.0116 | 1123808.2707 | 2808451.6506 | 1123803.2178
19 | 2808395.1056 | 1123794.7457 | 2808398.3429 | 1123790.2859 | 2808405.0958 | 1123788.5275 | 2808406.5255 | 1123787.1972
20 | 2808524.5646 | 1123839.1809 | 2808522.2314 | 1123841.9963 | 2808517.4964 | 1123846.794 | 2808510.1377 | 1123852.9138 | 2808500.9534 | 1123858.9261 | 2808489.1858 | 1123865.1842
21 | 2808527.0798 | 1123836.146 | 2808524.5646 | 1123839.1809
22 | 2808459.7436 | 1123880.8416 | 2808489.1858 | 1123865.1842
23 | 2808527.0798 | 1123836.146 | 2808539.8159 | 1123820.3833
24 | 2808507.348 | 1123868.9015 | 2808519.4679 | 1123861.9226 | 2808528.117 | 1123855.0909 | 2808532.4134 | 1123848.9101 | 2808532.4105 | 1123844.2939 | 2808529.7109 | 1123838.4168 | 2808527.0798 | 1123836.146
25 | 2808459.7436 | 1123880.8416 | 2808478.2216 | 1123980.4962
26 | 2808552.5589 | 1123804.612 | 2808539.8159 | 1123820.3833
27 | 2808507.348 | 1123868.9015 | 2808511.7161 | 1123868.0288 | 2808529.4753 | 1123863.38 | 2808550.5336 | 1123855.953 | 2808568.4561 | 1123846.5714 | 2808577.7141 | 1123840.5676
28 | 2808478.2216 | 1123980.4962 | 2808470.5399 | 1123986.9443
29 | 2808552.5589 | 1123804.612 | 2808560.1898 | 1123793.802
30 | 2808552.5589 | 1123804.612 | 2808543.0242 | 1123797.898
31 | 2808376.9904 | 1124056.6815 | 2808385.6341 | 1124051.34 | 2808447.9446 | 1124002.3437 | 2808457.2451 | 1123998.1039 | 2808470.5399 | 1123986.9443
32 | 2808345.6792 | 1124056.1477 | 2808347.3413 | 1124051.144 | 2808348.1472 | 1124047.6902 | 2808350.8032 | 1124048.1154 | 2808360.8116 | 1124049.9841 | 2808366.3814 | 1124050.9658 | 2808372.0143 | 1124052.8061 | 2808374.1663 | 1124053.9703 | 2808375.7281 | 1124055.2365 | 2808376.9904 | 1124056.6815
33 | 2808572.0218 | 1123777.0405 | 2808560.1898 | 1123793.802
34 | 2808535.7503 | 1123792.776 | 2808543.0242 | 1123797.898
35 | 2808389.4007 | 1123801.3677 | 2808392.7109 | 1123798.0448 | 2808395.1056 | 1123794.7457
36 | 2808389.4007 | 1123801.3677 | 2808388.6144 | 1123809.8498 | 2808386.551 | 1123820.0008
37 | 2808389.4007 | 1123801.3677 | 2808395.5347 | 1123831.4557 | 2808393.4333 | 1123855.7417
38 | 2808138.6558 | 1124140.361 | 2808151.3889 | 1124159.2635 | 2808161.436 | 1124168.3656
39 | 2808188.5053 | 1124194.2775 | 2808167.534 | 1124173.89 | 2808161.436 | 1124168.3656
40 | 2808138.6558 | 1124140.361 | 2808160.0172 | 1124116.051
41 | 2808188.5053 | 1124194.2775 | 2808195.5234 | 1124185.9215
42 | 2808191.6028 | 1124098.4812 | 2808163.3978 | 1124112.2037 | 2808160.0172 | 1124116.051
43 | 2808201.8148 | 1124178.4306 | 2808195.5234 | 1124185.9215
44 | 2808191.6028 | 1124098.4812 | 2808208.7467 | 1124109.5373
45 | 2808208.7467 | 1124109.5373 | 2808220.0996 | 1124116.8588 | 2808235.66 | 1124115.7373 | 2808250.7431 | 1124122.6525 | 2808250.7523 | 1124122.6619
46 | 2808250.7523 | 1124122.6619 | 2808261.5807 | 1124133.6759
47 | 2808272.9507 | 1124145.2407 | 2808261.5807 | 1124133.6759
48 | 2808262.7557 | 1124065.5283 | 2808277.0526 | 1124059.3118 | 2808279.1909 | 1124058.409
49 | 2808340.3313 | 1124032.5939 | 2808279.1909 | 1124058.409
50 | 2808345.6792 | 1124056.1477 | 2808340.3313 | 1124032.5939
51 | 2808588.04 | 1123751.8146 | 2808588.5255 | 1123751.0045 | 2808595.7002 | 1123737.8355
52 | 2808588.04 | 1123751.8146 | 2808577.9845 | 1123768.5936 | 2808576.025 | 1123771.3696
53 | 2808605.3251 | 1123718.3406 | 2808598.1259 | 1123733.383 | 2808595.7002 | 1123737.8355
54 | 2808572.0218 | 1123777.0405 | 2808576.025 | 1123771.3696
55 | 2808605.3251 | 1123718.3406 | 2808605.6043 | 1123717.7572 | 2808608.888 | 1123708.4938 | 2808609.1764 | 1123707.5148
56 | 2808612.5355 | 1123695.4562 | 2808611.7205 | 1123698.881 | 2808609.1764 | 1123707.5148
57 | 2808422.3948 | 1123691.8952 | 2808420.8996 | 1123693.247 | 2808414.267 | 1123703.83 | 2808410.8785 | 1123708.5295 | 2808405.5853 | 1123711.3837 | 2808398.5973 | 1123713.9125
58 | 2808383.1226 | 1123731.3319 | 2808387.5936 | 1123723.8889 | 2808391.9009 | 1123718.5092 | 2808398.5973 | 1123713.9125
59 | 2808477.5953 | 1123686.5475 | 2808474.382 | 1123685.7137 | 2808469.6588 | 1123685.017 | 2808456.6586 | 1123685.2807 | 2808429.144 | 1123688.0808 | 2808424.2299 | 1123690.2362 | 2808422.3948 | 1123691.8952
60 | 2808477.5953 | 1123686.5475 | 2808474.9909 | 1123696.7132 | 2808473.4586 | 1123701.0091
61 | 2808466.9811 | 1123717.2408 | 2808468.83 | 1123713.9862 | 2808473.4586 | 1123701.0091
62 | 2808466.9811 | 1123717.2408 | 2808463.5821 | 1123723.2239
63 | 2808514.2276 | 1123792.2783 | 2808522.2796 | 1123783.2904
64 | 2808522.2796 | 1123783.2904 | 2808535.7503 | 1123792.776
65 | 2808522.2796 | 1123783.2904 | 2808527.7499 | 1123775.7727
66 | 2808537.1661 | 1123762.8323 | 2808527.7499 | 1123775.7727
67 | 2808448.0116 | 1123808.2707 | 2808456.2709 | 1123812.9713 | 2808463.4782 | 1123817.7357
68 | 2808463.4782 | 1123817.7357 | 2808452.3722 | 1123829.6664
69 | 2808448.0116 | 1123808.2707 | 2808434.9161 | 1123805.4835 | 2808429.6569 | 1123806.8659
70 | 2808440.0939 | 1123843.0517 | 2808442.8619 | 1123839.883 | 2808452.3722 | 1123829.6664
71 | 2808537.1661 | 1123762.8323 | 2808541.1108 | 1123757.4113 | 2808543.4237 | 1123753.6213
72 | 2808413.4212 | 1123822.0712 | 2808417.1859 | 1123815.7842 | 2808426.7605 | 1123807.6273 | 2808429.6569 | 1123806.8659
73 | 2808440.0939 | 1123843.0517 | 2808427.9584 | 1123856.9446
74 | 2808427.9584 | 1123856.9446 | 2808426.4123 | 1123858.7146 | 2808420.3519 | 1123869.2729 | 2808419.9006 | 1123870.6353
75 | 2808345.6792 | 1124056.1477 | 2808343.4705 | 1124061.1104 | 2808341.2497 | 1124065.3051 | 2808338.0027 | 1124070.6102 | 2808334.5166 | 1124075.6845 | 2808327.9699 | 1124083.7902 | 2808319.7923 | 1124093.5303 | 2808314.5792 | 1124099.4886
76 | 2808272.9507 | 1124145.2407 | 2808301.6818 | 1124114.2293 | 2808314.5792 | 1124099.4886
77 | 2808556.832 | 1123734.2637 | 2808550.5847 | 1123741.8876 | 2808543.4237 | 1123753.6213

## bus_geodata
| x | y | coords
0 | 2808461.5512 | 1123758.0941
1 | 2808475.1873 | 1123768.2635
2 | 2808485.0968 | 1123753.5334
3 | 2808466.0503 | 1123782.1621
4 | 2808424.1885 | 1123773.858
5 | 2808434.1793 | 1123765.2496
6 | 2808413.9554 | 1123780.2838
7 | 2808487.1861 | 1123750.0238
8 | 2808507.1355 | 1123771.7232
9 | 2808457.4365 | 1123795.1838
10 | 2808448.6998 | 1123746.811
11 | 2808411.4025 | 1123782.6593
12 | 2808459.955 | 1123729.6085
13 | 2808497.1076 | 1123731.2381
14 | 2808513.0485 | 1123778.3449
15 | 2808451.6506 | 1123803.2178
16 | 2808406.5255 | 1123787.1972
17 | 2808524.5646 | 1123839.1809
18 | 2808489.1858 | 1123865.1842
19 | 2808527.0798 | 1123836.146
20 | 2808459.7436 | 1123880.8416
21 | 2808539.8159 | 1123820.3833
22 | 2808507.348 | 1123868.9015
23 | 2808478.2216 | 1123980.4962
24 | 2808552.5589 | 1123804.612
25 | 2808577.7141 | 1123840.5676
26 | 2808470.5399 | 1123986.9443
27 | 2808376.9904 | 1124056.6815
28 | 2808560.1898 | 1123793.802
29 | 2808543.0242 | 1123797.898
30 | 2808395.1056 | 1123794.7457
31 | 2808389.4007 | 1123801.3677
32 | 2808386.551 | 1123820.0008
33 | 2808393.4333 | 1123855.7417
34 | 2808161.436 | 1124168.3656
35 | 2808138.6558 | 1124140.361
36 | 2808188.5053 | 1124194.2775
37 | 2808160.0172 | 1124116.051
38 | 2808195.5234 | 1124185.9215
39 | 2808191.6028 | 1124098.4812
40 | 2808201.8148 | 1124178.4306
41 | 2808208.7467 | 1124109.5373
42 | 2808250.7523 | 1124122.6619
43 | 2808261.5807 | 1124133.6759
44 | 2808262.7557 | 1124065.5283
45 | 2808279.1909 | 1124058.409
46 | 2808340.3313 | 1124032.5939
47 | 2808588.04 | 1123751.8146
48 | 2808595.7002 | 1123737.8355
49 | 2808576.025 | 1123771.3696
50 | 2808605.3251 | 1123718.3406
51 | 2808572.0218 | 1123777.0405
52 | 2808609.1764 | 1123707.5148
53 | 2808612.5355 | 1123695.4562
54 | 2808398.5973 | 1123713.9125
55 | 2808422.3948 | 1123691.8952
56 | 2808383.1226 | 1123731.3319
57 | 2808477.5953 | 1123686.5475
58 | 2808473.4586 | 1123701.0091
59 | 2808466.9811 | 1123717.2408
60 | 2808522.2796 | 1123783.2904
61 | 2808514.2276 | 1123792.2783
62 | 2808535.7503 | 1123792.776
63 | 2808527.7499 | 1123775.7727
64 | 2808463.4782 | 1123817.7357
65 | 2808448.0116 | 1123808.2707
66 | 2808452.3722 | 1123829.6664
67 | 2808463.5821 | 1123723.2239
68 | 2808537.1661 | 1123762.8323
69 | 2808429.6569 | 1123806.8659
70 | 2808440.0939 | 1123843.0517
71 | 2808419.9006 | 1123870.6353
72 | 2808427.9584 | 1123856.9446
73 | 2808345.6792 | 1124056.1477
74 | 2808314.5792 | 1124099.4886
75 | 2808272.9507 | 1124145.2407
76 | 2808413.4212 | 1123822.0712
77 | 2808543.4237 | 1123753.6213
78 | 2808556.832 | 1123734.2637
79 | 2808448.0116 | 1123808.2707

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1