## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3561-11_2_3_node_33 | 0.4 | n |  | TRUE
1 | bus_LV_3561-11_2_3_node_34 | 0.4 | n |  | TRUE
2 | bus_LV_3561-11_2_3_node_35 | 0.4 | n |  | TRUE
3 | bus_LV_3561-11_2_3_node_36 | 0.4 | n |  | TRUE
4 | bus_LV_3561-11_2_3_node_37 | 0.4 | n |  | TRUE
5 | bus_LV_3561-11_2_3_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_3561-11_2_3_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_3561-11_2_3_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_3561-11_2_3_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_3561-11_2_3_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_3561-11_2_3_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_3561-11_2_3_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_3561-11_2_3_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_3561-11_2_3_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_3561-11_2_3_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_3561-11_2_3_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_3561-11_2_3_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_3561-11_2_3_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_3561-11_2_3_node_52 | 0.4 | n |  | TRUE
19 | bus_LV_3561-11_2_3_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_3561-11_2_3_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_3561-11_2_3_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_3561-11_2_3_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_3561-11_2_3_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_3561-11_2_3_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_3561-11_2_3_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_3561-11_2_3_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_3561-11_2_3_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_3561-11_2_3_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_3561-11_2_3_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_3561-11_2_3_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_3561-11_2_3_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_3561-11_2_3_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_3561-11_2_3_node_67 | 0.4 | n |  | TRUE
34 | bus_LV_3561-11_2_3_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_3561-11_2_3_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_3561-11_2_3_node_174 | 0.4 | n |  | TRUE
37 | bus_LV_3561-11_2_3_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_3561-11_2_3_node_73 | 0.4 | n |  | TRUE
39 | bus_LV_3561-11_2_3_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_3561-11_2_3_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_3561-11_2_3_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_3561-11_2_3_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_3561-11_2_3_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_3561-11_2_3_node_173 | 0.4 | n |  | TRUE
45 | bus_MV_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3561-11_2_3_load_33 | 0 | 0.0013115 | 0.00032869 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3561-11_2_3_load_34 | 1 | 0.0012695 | 0.00031817 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3561-11_2_3_load_35 | 2 | 0.0010362 | 0.0002597 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3561-11_2_3_load_37 | 4 | 0.00057802 | 0.00014487 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3561-11_2_3_load_38 | 5 | 0.00074785 | 0.00018743 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3561-11_2_3_load_39 | 6 | 0.0007648 | 0.00019168 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3561-11_2_3_load_40 | 7 | 0.0010704 | 0.00026828 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3561-11_2_3_load_41 | 8 | 0.0014852 | 0.00037222 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3561-11_2_3_load_43 | 11 | 0.00093676 | 0.00023478 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3561-11_2_3_load_44 | 12 | 0.00074088 | 0.00018568 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3561-11_2_3_load_55 | 17 | 0.00052758 | 0.00013222 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3561-11_2_3_load_52 | 18 | 0.00032153 | 8.0583e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3561-11_2_3_load_64 | 19 | 0.00034991 | 8.7697e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3561-11_2_3_load_51 | 20 | 0.00069003 | 0.00017294 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3561-11_2_3_load_63 | 23 | 0.00061956 | 0.00015528 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3561-11_2_3_load_62 | 24 | 0.00075598 | 0.00018947 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3561-11_2_3_load_56 | 25 | 0.00028299 | 7.0925e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3561-11_2_3_load_57 | 26 | 0.00033774 | 8.4646e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3561-11_2_3_load_58 | 27 | 0.00027697 | 6.9415e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3561-11_2_3_load_59 | 28 | 0.0013246 | 0.00033197 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3561-11_2_3_load_60 | 29 | 0.00056252 | 0.00014098 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3561-11_2_3_load_61 | 30 | 0.0010986 | 0.00027533 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3561-11_2_3_load_67 | 33 | 0.00027745 | 6.9536e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3561-11_2_3_load_174 | 36 | 0.0002401 | 6.0174e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3561-11_2_3_load_70 | 39 | 0.00025099 | 6.2903e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3561-11_2_3_load_71 | 40 | 0.00018203 | 4.5622e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3561-11_2_3_load_72 | 41 | 0.00042022 | 0.00010532 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3561-11_2_3_load_75 | 42 | 0.0017955 | 0.00045001 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3561-11_2_3_load_76 | 43 | 0.00037297 | 9.3474e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3561-11_2_3_load_173 | 44 | 0.00032426 | 8.1268e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3561-11_2_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.028264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_3561-11_2_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.5732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_3561-11_2_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.052141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_3561-11_2_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.21478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_3561-11_2_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0081141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_3561-11_2_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.0058564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_3561-11_2_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.016634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_3561-11_2_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.23849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_3561-11_2_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.34088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3561-11_2_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.1218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_3561-11_2_3_line_10 | NAYY 4x150 SE | 10 | 16 | 0.089294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3561-11_2_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.14538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3561-11_2_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.00037826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_3561-11_2_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.21649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_3561-11_2_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.24489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3561-11_2_3_line_15 | NAYY 4x150 SE | 13 | 15 | 1.9641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_3561-11_2_3_line_16 | NAYY 4x150 SE | 14 | 17 | 0.016166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3561-11_2_3_line_17 | NAYY 4x150 SE | 14 | 18 | 0.0075131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3561-11_2_3_line_18 | NAYY 4x150 SE | 15 | 19 | 0.011536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3561-11_2_3_line_19 | NAYY 4x150 SE | 16 | 20 | 0.052966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3561-11_2_3_line_20 | NAYY 4x150 SE | 17 | 25 | 0.0065065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3561-11_2_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.1301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3561-11_2_3_line_22 | NAYY 4x150 SE | 19 | 31 | 0.31377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3561-11_2_3_line_23 | NAYY 4x150 SE | 21 | 22 | 1.0157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3561-11_2_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.011158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3561-11_2_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.0092202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3561-11_2_3_line_26 | NAYY 4x150 SE | 24 | 30 | 0.16567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3561-11_2_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.0070271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3561-11_2_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.0042203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3561-11_2_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.0457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3561-11_2_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.21457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3561-11_2_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.077032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3561-11_2_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.04246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3561-11_2_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.31188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3561-11_2_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.073648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3561-11_2_3_line_35 | NAYY 4x150 SE | 34 | 44 | 0.10433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3561-11_2_3_line_36 | NAYY 4x150 SE | 34 | 37 | 0.47737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3561-11_2_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.01879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3561-11_2_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.3504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3561-11_2_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.099735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3561-11_2_3_line_40 | NAYY 4x150 SE | 38 | 43 | 0.0057906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3561-11_2_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.0077099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3561-11_2_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.030022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3561-11_2_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.015513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3561-11_2_3_trafo_34 | 0.25 MVA 20/0.4 kV | 45 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72 | x73 | y73 | x74 | y74 | x75 | y75 | x76 | y76 | x77 | y77 | x78 | y78 | x79 | y79 | x80 | y80 | x81 | y81 | x82 | y82 | x83 | y83 | x84 | y84 | x85 | y85 | x86 | y86 | x87 | y87 | x88 | y88 | x89 | y89 | x90 | y90 | x91 | y91 | x92 | y92 | x93 | y93 | x94 | y94 | x95 | y95 | x96 | y96 | x97 | y97 | x98 | y98 | x99 | y99 | x100 | y100 | x101 | y101 | x102 | y102 | x103 | y103 | x104 | y104 | x105 | y105 | x106 | y106 | x107 | y107 | x108 | y108 | x109 | y109 | x110 | y110 | x111 | y111 | x112 | y112 | x113 | y113 | x114 | y114 | x115 | y115 | x116 | y116 | x117 | y117 | x118 | y118 | x119 | y119 | x120 | y120 | x121 | y121 | x122 | y122 | x123 | y123 | x124 | y124 | x125 | y125 | x126 | y126 | x127 | y127 | x128 | y128 | x129 | y129 | x130 | y130 | x131 | y131 | x132 | y132 | x133 | y133 | x134 | y134 | x135 | y135 | x136 | y136 | x137 | y137 | x138 | y138 | x139 | y139
0 | 2804462.9338 | 1131943.4546 | 2804462.9495 | 1131943.1951 | 2804463.3025 | 1131937.323 | 2804463.109 | 1131930.7429 | 2804463.2951 | 1131927.5236 | 2804463.8122 | 1131924.7715 | 2804466.3876 | 1131915.6128
1 | 2804414.0413 | 1131754.6287 | 2804413.4327 | 1131758.0258 | 2804411.7691 | 1131768.9143 | 2804409.7769 | 1131777.4448 | 2804404.9721 | 1131788.4495 | 2804402.2496 | 1131793.7297 | 2804398.7649 | 1131798.9841 | 2804395.3381 | 1131803.4396 | 2804391.3232 | 1131807.7306 | 2804387.0748 | 1131812.0915 | 2804383.2628 | 1131816.7676 | 2804379.2508 | 1131822.1154 | 2804375.6752 | 1131827.7782 | 2804372.7661 | 1131834.4758 | 2804370.9279 | 1131843.0115 | 2804370.2914 | 1131849.0631 | 2804368.9521 | 1131855.6136 | 2804366.8168 | 1131862.9046 | 2804361.646 | 1131872.8848 | 2804352.6712 | 1131887.7637 | 2804349.5423 | 1131896.4004 | 2804346.9198 | 1131908.0685 | 2804345.2152 | 1131916.9869 | 2804343.845 | 1131923.5364 | 2804340.0825 | 1131928.8036 | 2804336.0253 | 1131936.1742 | 2804331.9681 | 1131943.5449 | 2804328.9403 | 1131951.9291 | 2804328.0015 | 1131960.9958 | 2804328.6084 | 1131966.9782 | 2804329.8795 | 1131971.1033 | 2804332.1668 | 1131975.7188 | 2804343.6523 | 1131986.6407 | 2804350.4828 | 1131992.0773 | 2804357.4518 | 1131997.0625 | 2804362.9081 | 1132002.3303 | 2804367.1131 | 1132007.222 | 2804372.802 | 1132016.3239 | 2804376.6533 | 1132021.8711 | 2804378.4736 | 1132023.2007 | 2804380.4285 | 1132024.2011 | 2804381.9914 | 1132024.254 | 2804383.585 | 1132023.6295 | 2804384.3927 | 1132022.767 | 2804385.1118 | 1132021.3342 | 2804385.4765 | 1132020.1231 | 2804385.2677 | 1132019.0037 | 2804384.1393 | 1132013.6266 | 2804377.2836 | 1132003.929 | 2804372.8834 | 1131996.1499 | 2804368.1932 | 1131988.0606 | 2804363.5802 | 1131980.8749 | 2804361.0614 | 1131974.2161 | 2804360.6416 | 1131972.5001 | 2804360.4601 | 1131970.8033 | 2804360.6596 | 1131967.64 | 2804361.772 | 1131964.1517 | 2804364.135 | 1131961.0617 | 2804367.4551 | 1131957.9373 | 2804372.0493 | 1131954.2888 | 2804376.5742 | 1131951.0939 | 2804380.6529 | 1131947.4168 | 2804390.0873 | 1131941.5073 | 2804394.4505 | 1131938.7631 | 2804398.8099 | 1131936.1299 | 2804403.6449 | 1131933.5684 | 2804408.8112 | 1131931.4631 | 2804414.4371 | 1131929.2177 | 2804420.1943 | 1131926.5095 | 2804424.2903 | 1131924.1455 | 2804428.4053 | 1131921.4484 | 2804432.2378 | 1131918.4415 | 2804436.1776 | 1131915.683 | 2804439.7869 | 1131912.6685 | 2804443.75 | 1131909.2211 | 2804447.5092 | 1131905.8781 | 2804450.9452 | 1131901.8344 | 2804453.411 | 1131898.6701 | 2804455.8769 | 1131895.5057 | 2804458.4623 | 1131892.223 | 2804460.8323 | 1131888.477 | 2804463.3616 | 1131885.2591 | 2804465.4252 | 1131882.1367 | 2804468.0525 | 1131879.2114 | 2804469.7189 | 1131877.5772 | 2804471.4808 | 1131876.5356 | 2804473.3039 | 1131875.9634 | 2804475.1158 | 1131875.7244 | 2804477.6238 | 1131876.777 | 2804478.6717 | 1131877.7023 | 2804479.0228 | 1131878.7152 | 2804479.0682 | 1131880.1071 | 2804478.6433 | 1131881.7278 | 2804477.2554 | 1131884.0166 | 2804475.0494 | 1131888.6135 | 2804471.084 | 1131898.5009 | 2804467.4402 | 1131911.8695 | 2804466.3876 | 1131915.6128
2 | 2804447.1868 | 1131715.7003 | 2804443.5468 | 1131719.8483 | 2804439.6219 | 1131723.5305 | 2804431.4791 | 1131730.4402 | 2804422.6076 | 1131738.838 | 2804418.5364 | 1131743.4274 | 2804415.8359 | 1131747.8296 | 2804414.5161 | 1131751.9783 | 2804414.0413 | 1131754.6287
3 | 2804447.1868 | 1131715.7003 | 2804450.6424 | 1131709.9445 | 2804454.0235 | 1131702.0616 | 2804457.2978 | 1131695.0539 | 2804460.8371 | 1131689.1006 | 2804483.6337 | 1131662.3879 | 2804493.3052 | 1131650.8584 | 2804499.2921 | 1131644.7879 | 2804502.5859 | 1131641.7628 | 2804503.9271 | 1131640.1731 | 2804504.668 | 1131638.552 | 2804504.4267 | 1131635.6631 | 2804502.8837 | 1131633.1972 | 2804501.5812 | 1131631.5959 | 2804499.9349 | 1131631.0396 | 2804497.4998 | 1131630.3343 | 2804495.1006 | 1131630.8425 | 2804492.9737 | 1131631.9607 | 2804490.9805 | 1131633.684 | 2804487.2916 | 1131637.452 | 2804480.702 | 1131644.2474 | 2804474.4691 | 1131651.4331 | 2804471.0458 | 1131655.099 | 2804467.5021 | 1131657.9933 | 2804455.8584 | 1131665.6186 | 2804449.2281 | 1131668.6087 | 2804442.9362 | 1131670.7092 | 2804429.1736 | 1131673.9807 | 2804415.7265 | 1131676.8179 | 2804407.3199 | 1131678.6887
4 | 2804407.3199 | 1131678.6887 | 2804401.2798 | 1131680.0328 | 2804399.4246 | 1131680.5512
5 | 2804399.4246 | 1131680.5512 | 2804393.8946 | 1131682.0964 | 2804393.7962 | 1131682.1552
6 | 2804381.7311 | 1131693.3022 | 2804384.5388 | 1131689.5435 | 2804386.8073 | 1131686.9731 | 2804389.5203 | 1131684.7068 | 2804393.7962 | 1131682.1552
7 | 2804381.7311 | 1131693.3022 | 2804380.1222 | 1131695.456 | 2804375.9772 | 1131700.1764 | 2804373.2169 | 1131702.9304 | 2804370.4849 | 1131704.6176 | 2804366.7785 | 1131707.0838 | 2804363.0924 | 1131708.9501 | 2804354.8217 | 1131712.3519 | 2804346.8592 | 1131715.5305 | 2804339.5542 | 1131719.5545 | 2804335.9473 | 1131722.2688 | 2804332.787 | 1131724.9982 | 2804329.7039 | 1131727.9527 | 2804326.893 | 1131731.517 | 2804310.1869 | 1131766.2111 | 2804305.8565 | 1131774.3623 | 2804298.8838 | 1131772.2133 | 2804296.6936 | 1131767.4565 | 2804304.5219 | 1131737.9344 | 2804314.2184 | 1131711.9792 | 2804316.5432 | 1131707.2862 | 2804320.6621 | 1131702.6538 | 2804323.7751 | 1131698.1321 | 2804328.5793 | 1131693.9789 | 2804335.5253 | 1131687.3512 | 2804339.0241 | 1131681.9081 | 2804342.5156 | 1131676.4537 | 2804344.9085 | 1131670.8127
8 | 2804447.7688 | 1131418.8631 | 2804450.8308 | 1131421.5473 | 2804453.2052 | 1131427.4671 | 2804455.1601 | 1131434.1625 | 2804459.1876 | 1131443.3973 | 2804464.8289 | 1131452.0972 | 2804476.9608 | 1131468.3135 | 2804485.8412 | 1131483.5743 | 2804488.4764 | 1131491.3494 | 2804489.5982 | 1131498.0611 | 2804490.39 | 1131502.6816 | 2804493.2261 | 1131518.1828 | 2804496.2631 | 1131525.2485 | 2804497.0586 | 1131533.6286 | 2804496.7791 | 1131538.4687 | 2804494.7059 | 1131543.237 | 2804491.3756 | 1131546.8837 | 2804488.038 | 1131550.5191 | 2804475.5504 | 1131555.9692 | 2804459.3104 | 1131562.2822 | 2804444.1295 | 1131569.6432 | 2804439.5151 | 1131572.9685 | 2804435.274 | 1131577.1072 | 2804427.6814 | 1131587.5726 | 2804420.1094 | 1131597.4269 | 2804411.2693 | 1131606.2596 | 2804403.0302 | 1131615.1014 | 2804394.0601 | 1131621.6273 | 2804385.3305 | 1131626.9711 | 2804368.3514 | 1131638.2757 | 2804353.139 | 1131649.084 | 2804349.4351 | 1131653.2966 | 2804348.2054 | 1131659.3392 | 2804346.3856 | 1131667.3305 | 2804344.9085 | 1131670.8127
9 | 2804447.7688 | 1131418.8631 | 2804444.9041 | 1131418.9998 | 2804442.428 | 1131421.096 | 2804441.1159 | 1131424.3328 | 2804441.2559 | 1131427.4853 | 2804443.5529 | 1131431.1335 | 2804445.8771 | 1131433.9818 | 2804458.7588 | 1131456.9749 | 2804467.202 | 1131484.9232 | 2804460.5797 | 1131504.0638 | 2804441.4481 | 1131520.6454
10 | 2804427.4204 | 1131441.777 | 2804439.8555 | 1131457.9256 | 2804452.1941 | 1131482.6132 | 2804452.607 | 1131501.6138 | 2804452.6391 | 1131503.1721 | 2804441.4481 | 1131520.6454
11 | 2804441.4481 | 1131520.6454 | 2804356.8167 | 1131536.2897 | 2804317.4482 | 1131551.5641 | 2804301.1212 | 1131556.614
12 | 2804300.7598 | 1131556.7257 | 2804301.1212 | 1131556.614
13 | 2804130.434 | 1131678.436 | 2804138.1752 | 1131676.7845 | 2804145.6942 | 1131662.7792 | 2804160.1436 | 1131643.0575 | 2804177.7435 | 1131623.865 | 2804243.6677 | 1131574.3841 | 2804300.7598 | 1131556.7257
14 | 2804258.3787 | 1131477.8796 | 2804254.7297 | 1131480.9262 | 2804249.257 | 1131503.9322 | 2804234.9301 | 1131523.6578 | 2804183.2254 | 1131571.6175 | 2804172.9259 | 1131596.0398 | 2804148.5525 | 1131628.6176 | 2804132.7468 | 1131660.6398 | 2804128.4882 | 1131672.8311 | 2804130.434 | 1131678.436
15 | 2803829.8774 | 1132933.8127 | 2803828.4147 | 1132932.3953 | 2803825.95 | 1132931.6669 | 2803823.1691 | 1132931.6287 | 2803819.0817 | 1132933.0813 | 2803815.1528 | 1132935.3178 | 2803811.7191 | 1132937.0372 | 2803808.1946 | 1132937.7969 | 2803804.3615 | 1132938.7909 | 2803800.3054 | 1132939.5439 | 2803796.7786 | 1132940.3703 | 2803794.0731 | 1132941.5247 | 2803790.4946 | 1132943.8843 | 2803786.3034 | 1132946.8127 | 2803781.1015 | 1132949.7738 | 2803777.115 | 1132952.1197 | 2803771.959 | 1132955.5494 | 2803766.5422 | 1132959.6267 | 2803761.629 | 1132962.9423 | 2803758.6308 | 1132965.6886 | 2803754.7285 | 1132968.738 | 2803756.476 | 1132950.5222 | 2803761.147 | 1132934.5185 | 2803768.7887 | 1132917.0355 | 2803774.1846 | 1132904.2151 | 2803781.9801 | 1132889.4846 | 2803785.8386 | 1132875.6335 | 2803771.0653 | 1132875.8357 | 2803713.6472 | 1132877.9359 | 2803669.4167 | 1132884.1186 | 2803623.4508 | 1132870.2332 | 2803585.6272 | 1132864.2307 | 2803588.4991 | 1132858.5993 | 2803592.5232 | 1132852.395 | 2803596.7952 | 1132839.5254 | 2803598.3374 | 1132834.016 | 2803600.4811 | 1132830.0952 | 2803612.8723 | 1132801.1156 | 2803611.5264 | 1132799.2016 | 2803624.7863 | 1132785.8342 | 2803636.3637 | 1132773.2221 | 2803656.9477 | 1132762.9826 | 2803673.3778 | 1132753.4262 | 2803686.6984 | 1132738.0367 | 2803695.2354 | 1132717.5473 | 2803703.9587 | 1132697.4758 | 2803709.304 | 1132679.7595 | 2803716.1896 | 1132660.7049 | 2803719.7449 | 1132642.3611 | 2803730.868 | 1132620.1571 | 2803741.2505 | 1132595.4589 | 2803752.7148 | 1132570.686 | 2803763.3871 | 1132558.8778 | 2803773.9685 | 1132549.5358 | 2803788.67 | 1132523.8489 | 2803796.9583 | 1132513.7176 | 2803808.466 | 1132506.1644 | 2803816.731 | 1132503.5736 | 2803825.6737 | 1132505.1101 | 2803845.1106 | 1132511.5389 | 2803859.2647 | 1132515.3202 | 2803878.6599 | 1132522.9823 | 2803894.0873 | 1132521.0117 | 2803910.4853 | 1132514.9473 | 2803926.1419 | 1132506.1885 | 2803933.3691 | 1132502.1503 | 2803941.7986 | 1132497.4297 | 2803949.7707 | 1132484.574 | 2803953.2748 | 1132476.8953 | 2803955.5889 | 1132467.9418 | 2803958.283 | 1132458.6896 | 2803960.9418 | 1132450.4818 | 2803965.7528 | 1132445.4166 | 2803974.8326 | 1132440.3844 | 2803989.0712 | 1132435.7377 | 2804003.8245 | 1132429.3177 | 2804011.3602 | 1132427.5591 | 2804021.1593 | 1132425.8769 | 2804028.5125 | 1132424.9574 | 2804035.1656 | 1132426.2834 | 2804039.7942 | 1132425.7056 | 2804044.5336 | 1132422.7625 | 2804043.0298 | 1132414.8034 | 2804039.1319 | 1132407.8979 | 2804034.7765 | 1132402.2116 | 2804035.4782 | 1132390.1115 | 2804037.604 | 1132384.4551 | 2804037.6507 | 1132374.4016 | 2804039.7164 | 1132370.0668 | 2804044.6274 | 1132367.0627 | 2804049.4153 | 1132362.6864 | 2804050.1044 | 1132357.3485 | 2804054.1585 | 1132350.2779 | 2804058.6818 | 1132346.2041 | 2804063.1357 | 1132344.1857 | 2804069.9067 | 1132342.0231 | 2804072.282 | 1132335.5965 | 2804075.3527 | 1132329.8052 | 2804076.2154 | 1132322.2931 | 2804077.6984 | 1132315.8141 | 2804077.1602 | 1132308.0211 | 2804081.6904 | 1132297.5853 | 2804086.0371 | 1132288.9341 | 2804090.7639 | 1132281.1188 | 2804094.3313 | 1132274.0874 | 2804097.8987 | 1132267.056 | 2804099.1885 | 1132262.8729 | 2804100.9367 | 1132257.2149 | 2804101.9871 | 1132244.8373 | 2804103.1674 | 1132239.1045 | 2804105.9401 | 1132235.0605 | 2804108.1685 | 1132227.2831 | 2804114.7252 | 1132220.0636 | 2804122.8523 | 1132214.9548 | 2804131.7687 | 1132205.4237 | 2804139.8196 | 1132197.0979 | 2804145.9358 | 1132193.3338 | 2804152.0601 | 1132189.5589 | 2804161.712 | 1132179.2518 | 2804170.4168 | 1132173.473 | 2804173.9687 | 1132170.323 | 2804180.3657 | 1132168.5149 | 2804187.5809 | 1132167.8134 | 2804193.3697 | 1132164.1607 | 2804194.564 | 1132158.0168 | 2804200.1211 | 1132154.8345 | 2804204.3119 | 1132151.9396 | 2804195.8325 | 1132148.5385 | 2804192.4566 | 1132146.7115 | 2804185.5928 | 1132141.8078 | 2804182.1838 | 1132136.3981 | 2804183.8536 | 1132128.5018 | 2804182.7206 | 1132120.5218 | 2804151.2682 | 1132087.5805 | 2804130.8631 | 1132032.9118 | 2804123.7466 | 1131977.3242 | 2804134.8812 | 1131830.1122 | 2804142.9103 | 1131788.6953 | 2804128.5401 | 1131723.2969 | 2804130.434 | 1131678.436
16 | 2804258.3787 | 1131477.8796 | 2804270.7816 | 1131467.5117
17 | 2804258.3787 | 1131477.8796 | 2804250.9803 | 1131476.5723
18 | 2803829.8774 | 1132933.8127 | 2803828.5084 | 1132936.4694 | 2803827.5496 | 1132938.6171 | 2803827.0415 | 1132941.1137 | 2803825.6614 | 1132944.49
19 | 2804427.4204 | 1131441.777 | 2804425.4268 | 1131439.1846 | 2804421.3295 | 1131432.6948 | 2804418.5676 | 1131425.0156 | 2804414.9713 | 1131408.2764 | 2804414.6125 | 1131404.527 | 2804414.9711 | 1131399.8564 | 2804417.5748 | 1131393.7603 | 2804418.4633 | 1131392.3594
20 | 2804270.7816 | 1131467.5117 | 2804275.7736 | 1131463.3387
21 | 2804183.0085 | 1131433.0089 | 2804195.9233 | 1131437.0382 | 2804201.1644 | 1131442.7657 | 2804203.276 | 1131449.622 | 2804203.6764 | 1131457.8441 | 2804204.4907 | 1131465.2238 | 2804205.9021 | 1131467.941 | 2804207.9983 | 1131467.9563 | 2804210.4864 | 1131465.5044 | 2804216.7666 | 1131458.5092 | 2804221.251 | 1131451.7313 | 2804227.7436 | 1131450.0822 | 2804234.4255 | 1131449.6741 | 2804238.037 | 1131450.9308 | 2804239.3373 | 1131453.9668 | 2804237.6429 | 1131456.6568 | 2804235.2199 | 1131458.0987 | 2804232.9016 | 1131460.5452 | 2804232.4106 | 1131463.6652 | 2804232.207 | 1131467.8628 | 2804233.3768 | 1131471.3393 | 2804236.1199 | 1131473.6566 | 2804240.903 | 1131475.598 | 2804249.0376 | 1131476.229 | 2804250.9803 | 1131476.5723
22 | 2803906.8631 | 1133215.149 | 2803906.3006 | 1133208.7566 | 2803905.6487 | 1133199.9921 | 2803906.4058 | 1133184.646 | 2803906.4869 | 1133168.098 | 2803909.0983 | 1133146.9083 | 2803910.046 | 1133132.9923 | 2803904.0325 | 1133114.3477 | 2803891.1045 | 1133096.8933 | 2803878.3198 | 1133082.0353 | 2803863.2357 | 1133065.2089 | 2803848.7636 | 1133051.2506 | 2803832.6447 | 1133036.9921 | 2803821.554 | 1133028.1088 | 2803813.2879 | 1133020.0216 | 2803809.7157 | 1133013.5165 | 2803807.4401 | 1133009.4689 | 2803806.5447 | 1133005.8571 | 2803806.3345 | 1133002.7245 | 2803806.5959 | 1132999.7747 | 2803808.0385 | 1132996.3086 | 2803809.0056 | 1132993.2268 | 2803810.3712 | 1132989.7581 | 2803811.8185 | 1132986.3812 | 2803813.1097 | 1132982.8321 | 2803814.8172 | 1132978.5963 | 2803815.8849 | 1132974.8173 | 2803817.5049 | 1132970.89 | 2803818.6287 | 1132967.7357 | 2803820.4761 | 1132961.636 | 2803821.8381 | 1132956.2207 | 2803823.6514 | 1132951.1321 | 2803825.2522 | 1132945.4912 | 2803825.6614 | 1132944.49
23 | 2803911.2885 | 1131646.9634 | 2803912.2231 | 1131653.7576 | 2803907.2696 | 1131671.9318 | 2803898.5623 | 1131708.3653 | 2803895.9636 | 1131724.1498 | 2803895.3109 | 1131737.3194 | 2803900.5439 | 1131759.9529 | 2803903.7249 | 1131776.9225 | 2803903.2452 | 1131791.1323 | 2803897.7366 | 1131819.5875 | 2803897.4008 | 1131841.6327 | 2803892.2732 | 1131871.1351 | 2803887.6579 | 1131897.5628 | 2803882.9271 | 1131909.1487 | 2803882.2702 | 1131921.5284 | 2803885.6829 | 1131930.7199 | 2803894.0994 | 1131945.586 | 2803900.7041 | 1131958.1775 | 2803903.0644 | 1131967.9451 | 2803906.2954 | 1131988.4534 | 2803908.5509 | 1131992.8786 | 2803911.1659 | 1131969.7647 | 2803911.0525 | 1131952.1202 | 2803904.3878 | 1131937.8804 | 2803899.5824 | 1131919.2544 | 2803901.4687 | 1131909.2742 | 2803913.3905 | 1131879.6785 | 2803921.8461 | 1131856.6284 | 2803936.0449 | 1131828.0885 | 2803944.4849 | 1131807.5628 | 2803952.7387 | 1131794.1494 | 2803959.146 | 1131779.261 | 2803961.9506 | 1131754.4184 | 2803971.0598 | 1131716.3636 | 2803986.6553 | 1131660.8648 | 2804002.1465 | 1131633.7924 | 2804018.3483 | 1131613.5289 | 2804028.0349 | 1131603.1226 | 2804043.2891 | 1131579.8797 | 2804065.9113 | 1131549.6114 | 2804077.5326 | 1131532.8305 | 2804099.6054 | 1131524.5335 | 2804116.2458 | 1131510.4694 | 2804137.0257 | 1131500.9721 | 2804149.0641 | 1131491.0125 | 2804160.4997 | 1131466.5062 | 2804166.0461 | 1131456.3606 | 2804168.6872 | 1131451.8896 | 2804171.8158 | 1131446.6786 | 2804183.0085 | 1131433.0089
24 | 2803911.2885 | 1131646.9634 | 2803909.7606 | 1131635.9101
25 | 2803911.2885 | 1131646.9634 | 2803903.4763 | 1131651.8606
26 | 2803853.7989 | 1131805.7604 | 2803866.3152 | 1131780.1532 | 2803861.6233 | 1131750.6195 | 2803880.1945 | 1131706.4995 | 2803903.4763 | 1131651.8606 | 2803903.4763 | 1131651.8606
27 | 2804281.1651 | 1131458.8318 | 2804275.7736 | 1131463.3387
28 | 2804281.1651 | 1131458.8318 | 2804284.4031 | 1131456.1251
29 | 2803756.9524 | 1131765.4399 | 2803774.459 | 1131802.4243 | 2803775.0027 | 1131807.1745
30 | 2803775.0027 | 1131807.1745 | 2803778.6025 | 1131838.6241 | 2803777.3025 | 1131857.2776 | 2803787.6332 | 1131868.6489 | 2803793.5377 | 1131902.2276 | 2803805.2877 | 1131881.5909 | 2803822.5678 | 1131845.7803 | 2803846.89 | 1131819.8954 | 2803853.7989 | 1131805.7604
31 | 2803942.0512 | 1133218.3395 | 2803936.8905 | 1133216.6636 | 2803931.5617 | 1133205.8169 | 2803930.0051 | 1133198.9683 | 2803928.7778 | 1133194.233 | 2803927.5502 | 1133189.5089 | 2803925.9036 | 1133185.7827 | 2803922.592 | 1133184.8033 | 2803917.9655 | 1133187.6168 | 2803913.0831 | 1133197.0954 | 2803909.5456 | 1133204.862 | 2803906.8631 | 1133215.149
32 | 2803906.8631 | 1133215.149 | 2803907.3739 | 1133221.0168 | 2803908.2248 | 1133225.7171 | 2803910.5694 | 1133233.649 | 2803911.7942 | 1133237.7724 | 2803913.5422 | 1133242.1471 | 2803915.0237 | 1133245.7453 | 2803917.2694 | 1133249.3026 | 2803919.4112 | 1133252.7451 | 2803920.7777 | 1133254.6662
33 | 2803942.0512 | 1133218.3395 | 2803941.4233 | 1133216.394 | 2803938.1831 | 1133207.1417 | 2803937.1765 | 1133193.5935 | 2803942.8644 | 1133188.1019 | 2803947.3406 | 1133189.0539 | 2803950.8407 | 1133193.5767 | 2803951.6738 | 1133204.9612 | 2803955.2319 | 1133217.8059 | 2803959.3612 | 1133220.8151 | 2803974.7622 | 1133221.6245 | 2803988.0852 | 1133223.9543 | 2804000.0593 | 1133225.1486 | 2804011.0582 | 1133228.2898 | 2804021.251 | 1133234.3068 | 2804032.5719 | 1133247.7586 | 2804037.952 | 1133265.748 | 2804039.5295 | 1133283.3754 | 2804042.5099 | 1133290.5057 | 2804047.837 | 1133295.2349 | 2804049.7008 | 1133300.5145 | 2804048.4148 | 1133322.6054 | 2804042.4006 | 1133340.9439 | 2804033.3046 | 1133352.1931 | 2804020.6016 | 1133358.4375 | 2804012.9933 | 1133368.0797 | 2804010.4008 | 1133375.7002 | 2804008.7344 | 1133379.8594 | 2804008.0203 | 1133384.5736
34 | 2803946.9946 | 1133316.3425 | 2803947.8711 | 1133312.5236 | 2803948.9556 | 1133308.4782 | 2803949.1829 | 1133305.1713 | 2803949.0779 | 1133301.208 | 2803948.4235 | 1133296.1695 | 2803947.7062 | 1133290.9399 | 2803945.7972 | 1133284.2573 | 2803945.0336 | 1133280.6277 | 2803944.1509 | 1133276.8718 | 2803943.2603 | 1133273.3492 | 2803941.8082 | 1133270.7085 | 2803938.6024 | 1133267.2856 | 2803935.613 | 1133264.5263 | 2803931.4344 | 1133261.8381 | 2803928.5166 | 1133260.3825 | 2803925.1453 | 1133258.4334 | 2803921.9567 | 1133256.3236 | 2803920.7777 | 1133254.6662
35 | 2804008.0203 | 1133384.5736 | 2804009.0709 | 1133384.9539 | 2804010.2323 | 1133385.705 | 2804011.0396 | 1133386.4442 | 2804011.5268 | 1133387.762 | 2804011.4331 | 1133388.9378 | 2804011.2043 | 1133390.465 | 2804010.476 | 1133392.6316 | 2804009.8195 | 1133394.5003 | 2804009.8314 | 1133397.5706 | 2804010.3482 | 1133399.8349 | 2804011.2091 | 1133402.4111 | 2804012.243 | 1133405.338 | 2804014.1544 | 1133408.2945 | 2804017.0617 | 1133411.8853 | 2804020.0014 | 1133414.287 | 2804022.6069 | 1133416.088 | 2804024.4941 | 1133418.165 | 2804026.9541 | 1133420.8508 | 2804028.1731 | 1133423.3168 | 2804028.6701 | 1133426.1699 | 2804028.5229 | 1133428.7009 | 2804028.29 | 1133430.3503 | 2804028.7214 | 1133431.7219 | 2804029.634 | 1133432.7649 | 2804031.074 | 1133433.937 | 2804032.1977 | 1133434.2085 | 2804033.3812 | 1133434.3041 | 2804034.6918 | 1133434.0592 | 2804035.8397 | 1133433.3861 | 2804036.7568 | 1133432.4717 | 2804037.2701 | 1133431.4213 | 2804037.2843 | 1133429.1749 | 2804036.9304 | 1133425.7372 | 2804036.4177 | 1133421.5265 | 2804035.8672 | 1133416.8364 | 2804035.5852 | 1133412.8671 | 2804035.8839 | 1133409.2734 | 2804036.9666 | 1133405.2836 | 2804038.4469 | 1133400.0169 | 2804039.702 | 1133396.3999 | 2804040.0443 | 1133394.5468
36 | 2804008.0203 | 1133384.5736 | 2804008.7344 | 1133379.8594 | 2804010.4008 | 1133375.7002 | 2804012.9933 | 1133368.0797 | 2804020.6016 | 1133358.4375 | 2804033.3046 | 1133352.1931 | 2804042.4006 | 1133340.9439 | 2804048.4148 | 1133322.6054 | 2804049.7008 | 1133300.5145 | 2804053.6769 | 1133304.6308 | 2804065.3501 | 1133310.1641 | 2804071.3538 | 1133309.01 | 2804075.5618 | 1133305.1258 | 2804080.6732 | 1133300.5046 | 2804085.2223 | 1133294.5075 | 2804088.4011 | 1133290.9778 | 2804092.7362 | 1133289.9453 | 2804097.5681 | 1133289.2633 | 2804104.2834 | 1133288.0332 | 2804108.7205 | 1133282.3882 | 2804112.8542 | 1133275.6874 | 2804113.1357 | 1133264.3961 | 2804113.4125 | 1133256.208 | 2804114.7715 | 1133244.2747 | 2804115.8442 | 1133233.2883 | 2804115.5027 | 1133221.7312 | 2804114.4935 | 1133208.7279 | 2804113.4429 | 1133195.5787 | 2804112.1775 | 1133186.5042 | 2804113.0097 | 1133176.4773 | 2804114.5852 | 1133164.2955 | 2804118.1499 | 1133157.3307 | 2804123.76 | 1133149.1338 | 2804126.8645 | 1133141.8755 | 2804131.1262 | 1133131.1637 | 2804133.6829 | 1133121.8736 | 2804133.1726 | 1133118.2748 | 2804133.2136 | 1133114.3276 | 2804132.9971 | 1133111.3839 | 2804133.4119 | 1133108.4615 | 2804131.7207 | 1133101.497 | 2804130.9754 | 1133092.0842 | 2804130.5695 | 1133089.0451 | 2804129.8098 | 1133085.9829 | 2804128.5217 | 1133083.281 | 2804128.532 | 1133079.5552 | 2804129.3974 | 1133075.6136 | 2804129.8402 | 1133073.4596 | 2804129.8902 | 1133067.8777 | 2804129.8083 | 1133063.4591 | 2804129.5579 | 1133059.4687 | 2804130.1533 | 1133052.5705 | 2804127.9696 | 1133047.636 | 2804124.4257 | 1133040.9871 | 2804120.5327 | 1133036.0059 | 2804113.7739 | 1133030.3051 | 2804102.7959 | 1133022.2036 | 2804099.2676 | 1133018.0579 | 2804097.8132 | 1133013.6597 | 2804098.0012 | 1133009.2392 | 2804099.5226 | 1133006.4098 | 2804101.9091 | 1133004.8888 | 2804104.2844 | 1133004.1571 | 2804107.5369 | 1133003.9223
37 | 2803946.9946 | 1133316.3425 | 2803953.0632 | 1133304.368 | 2803953.7923 | 1133299.052
38 | 2804428.7776 | 1133046.3338 | 2804423.6069 | 1133045.18 | 2804418.1727 | 1133044.2953 | 2804413.2995 | 1133044.5974 | 2804409.8664 | 1133044.2476 | 2804405.9444 | 1133044.2261 | 2804402.9807 | 1133044.1258 | 2804399.1935 | 1133043.764 | 2804393.8626 | 1133043.4723 | 2804390.5448 | 1133043.36 | 2804385.5683 | 1133043.0692 | 2804382.3739 | 1133042.7275 | 2804379.7643 | 1133042.6392 | 2804375.7306 | 1133042.5026 | 2804372.3016 | 1133042.0307 | 2804366.9549 | 1133042.2056 | 2804362.2686 | 1133043.8155 | 2804356.8738 | 1133045.4126 | 2804354.6655 | 1133047.5847 | 2804353.3721 | 1133050.7332 | 2804352.3175 | 1133053.6561 | 2804350.821 | 1133055.9746 | 2804349.4443 | 1133057.9413 | 2804347.3756 | 1133059.4062 | 2804343.6796 | 1133059.993 | 2804341.3327 | 1133059.2017 | 2804339.9605 | 1133057.6203 | 2804337.6335 | 1133056.2402 | 2804335.3821 | 1133056.0417 | 2804332.9589 | 1133057.5057 | 2804331.1414 | 1133059.2906 | 2804328.4928 | 1133061.0363 | 2804326.1367 | 1133062.1133 | 2804324.4102 | 1133062.8001 | 2804322.4112 | 1133063.3442 | 2804318.7915 | 1133063.4998 | 2804316.7515 | 1133063.4308 | 2804313.9572 | 1133063.3362 | 2804310.8682 | 1133063.9769 | 2804308.9591 | 1133063.9123 | 2804306.2341 | 1133063.8201 | 2804304.6714 | 1133063.7673 | 2804301.8838 | 1133063.4727 | 2804299.0228 | 1133063.2981 | 2804295.3432 | 1133063.1736 | 2804292.6735 | 1133063.4948 | 2804288.7245 | 1133063.3612 | 2804285.2433 | 1133063.5215 | 2804282.1682 | 1133063.7511 | 2804277.6633 | 1133063.8768 | 2804274.8045 | 1133063.6355 | 2804271.7565 | 1133063.0652 | 2804269.9931 | 1133062.7942 | 2804268.3032 | 1133062.4034 | 2804264.9046 | 1133061.9436 | 2804261.7761 | 1133061.7043 | 2804258.5216 | 1133061.3161 | 2804256.0659 | 1133061.2331 | 2804252.7943 | 1133061.1224 | 2804248.9146 | 1133060.9911 | 2804246.2471 | 1133061.2457 | 2804242.8446 | 1133061.1306 | 2804240.2527 | 1133060.9762 | 2804236.9062 | 1133058.7497 | 2804234.1786 | 1133056.9112 | 2804232.7591 | 1133056.0401 | 2804227.0706 | 1133055.158 | 2804222.6118 | 1133053.9172 | 2804216.9659 | 1133051.5462 | 2804210.8144 | 1133047.9457 | 2804205.7392 | 1133044.6485 | 2804198.4238 | 1133039.229 | 2804193.9181 | 1133035.2727 | 2804190.2959 | 1133029.5777 | 2804185.9795 | 1133024.1261 | 2804181.6307 | 1133019.63 | 2804176.2587 | 1133017.1349 | 2804170.8405 | 1133016.0062 | 2804162.8316 | 1133014.9123 | 2804156.3508 | 1133013.0693 | 2804149.7148 | 1133011.4879 | 2804145.0932 | 1133011.1871 | 2804140.2791 | 1133012.2478 | 2804136.0606 | 1133012.1052 | 2804127.1426 | 1133009.6348 | 2804121.7476 | 1133007.8173 | 2804117.0423 | 1133005.8898 | 2804112.7188 | 1133004.5201 | 2804107.5369 | 1133003.9223
39 | 2804107.5369 | 1133003.9223 | 2804137.0276 | 1132987.8346 | 2804150.1527 | 1132983.718 | 2804161.647 | 1132981.337 | 2804176.0642 | 1132979.8113 | 2804188.7393 | 1132979.2055 | 2804195.436 | 1132980.1326 | 2804201.9363 | 1132981.7571
40 | 2804428.7776 | 1133046.3338 | 2804434.5633 | 1133046.5717
41 | 2804201.9363 | 1132981.7571 | 2804204.1864 | 1132982.3194 | 2804209.1882 | 1132984.3295
42 | 2804209.1882 | 1132984.3295 | 2804211.3185 | 1132985.1856 | 2804217.4859 | 1132985.5833 | 2804220.8766 | 1132983.9962 | 2804231.9797 | 1132974.7282 | 2804235.2828 | 1132974.2373
43 | 2804235.2828 | 1132974.2373 | 2804250.6273 | 1132971.9567

## bus_geodata
| x | y | coords
0 | 2804466.3876 | 1131915.6128
1 | 2804462.9338 | 1131943.4546
2 | 2804414.0413 | 1131754.6287
3 | 2804447.1868 | 1131715.7003
4 | 2804407.3199 | 1131678.6887
5 | 2804399.4246 | 1131680.5512
6 | 2804393.7962 | 1131682.1552
7 | 2804381.7311 | 1131693.3022
8 | 2804344.9085 | 1131670.8127
9 | 2804447.7688 | 1131418.8631
10 | 2804441.4481 | 1131520.6454
11 | 2804300.7598 | 1131556.7257
12 | 2804301.1212 | 1131556.614
13 | 2804130.434 | 1131678.436
14 | 2804258.3787 | 1131477.8796
15 | 2803829.8774 | 1132933.8127
16 | 2804427.4204 | 1131441.777
17 | 2804270.7816 | 1131467.5117
18 | 2804250.9803 | 1131476.5723
19 | 2803825.6614 | 1132944.49
20 | 2804418.4633 | 1131392.3594
21 | 2804183.0085 | 1131433.0089
22 | 2803911.2885 | 1131646.9634
23 | 2803909.7606 | 1131635.9101
24 | 2803903.4763 | 1131651.8606
25 | 2804275.7736 | 1131463.3387
26 | 2804281.1651 | 1131458.8318
27 | 2804284.4031 | 1131456.1251
28 | 2803756.9524 | 1131765.4399
29 | 2803775.0027 | 1131807.1745
30 | 2803853.7989 | 1131805.7604
31 | 2803906.8631 | 1133215.149
32 | 2803942.0512 | 1133218.3395
33 | 2803920.7777 | 1133254.6662
34 | 2804008.0203 | 1133384.5736
35 | 2803946.9946 | 1133316.3425
36 | 2803953.7923 | 1133299.052
37 | 2804107.5369 | 1133003.9223
38 | 2804428.7776 | 1133046.3338
39 | 2804201.9363 | 1132981.7571
40 | 2804209.1882 | 1132984.3295
41 | 2804235.2828 | 1132974.2373
42 | 2804250.6273 | 1132971.9567
43 | 2804434.5633 | 1133046.5717
44 | 2804040.0443 | 1133394.5468
45 | 2804462.9338 | 1131943.4546

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1