## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3561-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3561-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3561-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3561-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3561-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3561-1_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_3561-1_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3561-1_0_4_node_103 | 0.4 | n |  | TRUE
8 | bus_LV_3561-1_0_4_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_3561-1_0_4_node_107 | 0.4 | n |  | TRUE
10 | bus_LV_3561-1_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3561-1_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3561-1_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3561-1_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_3561-1_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3561-1_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3561-1_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_3561-1_0_4_node_97 | 0.4 | n |  | TRUE
18 | bus_LV_3561-1_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3561-1_0_4_node_106 | 0.4 | n |  | TRUE
20 | bus_LV_3561-1_0_4_node_105 | 0.4 | n |  | TRUE
21 | bus_LV_3561-1_0_4_node_102 | 0.4 | n |  | TRUE
22 | bus_LV_3561-1_0_4_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_3561-1_0_4_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_3561-1_0_4_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_3561-1_0_4_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_3561-1_0_4_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_3561-1_0_4_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_3561-1_0_4_node_162 | 0.4 | n |  | TRUE
29 | bus_LV_3561-1_0_4_node_101 | 0.4 | n |  | TRUE
30 | bus_LV_3561-1_0_4_node_163 | 0.4 | n |  | TRUE
31 | bus_LV_3561-1_0_4_node_115 | 0.4 | n |  | TRUE
32 | bus_LV_3561-1_0_4_node_116 | 0.4 | n |  | TRUE
33 | bus_LV_3561-1_0_4_node_164 | 0.4 | n |  | TRUE
34 | bus_LV_3561-1_0_4_node_100 | 0.4 | n |  | TRUE
35 | bus_LV_3561-1_0_4_node_172 | 0.4 | n |  | TRUE
36 | bus_LV_3561-1_0_4_node_113 | 0.4 | n |  | TRUE
37 | bus_LV_3561-1_0_4_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_3561-1_0_4_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_3561-1_0_4_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_3561-1_0_4_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_3561-1_0_4_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_3561-1_0_4_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_3561-1_0_4_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_3561-1_0_4_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_3561-1_0_4_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_3561-1_0_4_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_3561-1_0_4_node_110 | 0.4 | n |  | TRUE
48 | bus_LV_3561-1_0_4_node_98 | 0.4 | n |  | TRUE
49 | bus_LV_3561-1_0_4_node_99 | 0.4 | n |  | TRUE
50 | bus_LV_3561-1_0_4_node_104 | 0.4 | n |  | TRUE
51 | bus_LV_3561-1_0_4_node_108 | 0.4 | n |  | TRUE
52 | bus_LV_3561-1_0_4_node_109 | 0.4 | n |  | TRUE
53 | bus_LV_3561-1_0_4_node_112 | 0.4 | n |  | TRUE
54 | bus_LV_3561-1_0_4_node_114 | 0.4 | n |  | TRUE
55 | bus_MV_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3561-1_0_4_load_0 | 0 | 0.002912 | 0.00072981 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3561-1_0_4_load_3 | 3 | 0.0020652 | 0.00051758 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3561-1_0_4_load_4 | 4 | 0.00076025 | 0.00019054 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3561-1_0_4_load_6 | 5 | 0.0025621 | 0.00064212 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3561-1_0_4_load_5 | 6 | 0.0014808 | 0.00037113 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3561-1_0_4_load_31 | 8 | 0.00058824 | 0.00014743 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3561-1_0_4_load_107 | 9 | 0.0020071 | 0.00050302 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3561-1_0_4_load_7 | 10 | 0.0015501 | 0.00038849 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3561-1_0_4_load_8 | 11 | 0.0016032 | 0.0004018 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3561-1_0_4_load_10 | 13 | 0.0017974 | 0.00045046 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3561-1_0_4_load_14 | 16 | 0.0015634 | 0.00039184 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3561-1_0_4_load_97 | 17 | 0.001029 | 0.0002579 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3561-1_0_4_load_106 | 19 | 0.0027123 | 0.00067977 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3561-1_0_4_load_105 | 20 | 0.003277 | 0.00082129 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3561-1_0_4_load_102 | 21 | 0.0031583 | 0.00079155 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3561-1_0_4_load_32 | 22 | 0.00054915 | 0.00013763 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3561-1_0_4_load_36 | 25 | 0.00071096 | 0.00017818 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3561-1_0_4_load_37 | 26 | 0.00091605 | 0.00022958 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3561-1_0_4_load_38 | 27 | 0.0010916 | 0.00027359 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3561-1_0_4_load_101 | 29 | 0.00043839 | 0.00010987 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3561-1_0_4_load_163 | 30 | 0.00082634 | 0.0002071 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3561-1_0_4_load_115 | 31 | 0.00043349 | 0.00010864 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3561-1_0_4_load_116 | 32 | 0.001922 | 0.00048171 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3561-1_0_4_load_164 | 33 | 0.0019427 | 0.00048689 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3561-1_0_4_load_172 | 35 | 0.00055273 | 0.00013853 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3561-1_0_4_load_55 | 37 | 0.00040647 | 0.00010187 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3561-1_0_4_load_56 | 38 | 0.00028943 | 7.2537e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3561-1_0_4_load_57 | 39 | 0.0056474 | 0.0014154 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3561-1_0_4_load_58 | 40 | 0.00025221 | 6.3211e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3561-1_0_4_load_59 | 41 | 0.0010288 | 0.00025783 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3561-1_0_4_load_60 | 42 | 0.00060451 | 0.0001515 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3561-1_0_4_load_62 | 44 | 0.0012361 | 0.0003098 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3561-1_0_4_load_63 | 45 | 0.00034879 | 8.7416e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3561-1_0_4_load_64 | 46 | 0.00076919 | 0.00019278 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3561-1_0_4_load_104 | 50 | 0.0011811 | 0.00029602 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3561-1_0_4_load_108 | 51 | 0.00086077 | 0.00021573 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3561-1_0_4_load_112 | 53 | 0.00064887 | 0.00016262 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3561-1_0_4_load_114 | 54 | 0.00034822 | 8.7272e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3561-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3561-1_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.09634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3561-1_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.19961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3561-1_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.060535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3561-1_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.02777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3561-1_0_4_line_5 | NAYY 4x150 SE | 5 | 9 | 0.044926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3561-1_0_4_line_6 | NAYY 4x150 SE | 6 | 7 | 0.2869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3561-1_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.61948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3561-1_0_4_line_8 | NAYY 4x150 SE | 7 | 50 | 0.048709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3561-1_0_4_line_9 | NAYY 4x150 SE | 8 | 22 | 0.056043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3561-1_0_4_line_10 | NAYY 4x150 SE | 8 | 23 | 0.1122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3561-1_0_4_line_11 | NAYY 4x150 SE | 9 | 19 | 0.029634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3561-1_0_4_line_12 | NAYY 4x150 SE | 10 | 11 | 0.042579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3561-1_0_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.12961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3561-1_0_4_line_14 | NAYY 4x150 SE | 12 | 13 | 0.10065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3561-1_0_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.025512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_3561-1_0_4_line_16 | NAYY 4x150 SE | 12 | 15 | 0.30003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_3561-1_0_4_line_17 | NAYY 4x150 SE | 13 | 16 | 0.011936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3561-1_0_4_line_18 | NAYY 4x150 SE | 14 | 17 | 0.23776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_3561-1_0_4_line_19 | NAYY 4x150 SE | 15 | 21 | 0.10636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3561-1_0_4_line_20 | NAYY 4x150 SE | 15 | 18 | 0.34866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_3561-1_0_4_line_21 | NAYY 4x150 SE | 17 | 48 | 0.19855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_3561-1_0_4_line_22 | NAYY 4x150 SE | 18 | 19 | 0.035862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3561-1_0_4_line_23 | NAYY 4x150 SE | 18 | 20 | 0.098361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_3561-1_0_4_line_24 | NAYY 4x150 SE | 20 | 50 | 0.02243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_3561-1_0_4_line_25 | NAYY 4x150 SE | 23 | 24 | 0.59307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3561-1_0_4_line_26 | NAYY 4x150 SE | 24 | 25 | 0.22273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3561-1_0_4_line_27 | NAYY 4x150 SE | 24 | 26 | 0.01614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3561-1_0_4_line_28 | NAYY 4x150 SE | 26 | 27 | 0.014048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3561-1_0_4_line_29 | NAYY 4x150 SE | 28 | 29 | 0.15767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_3561-1_0_4_line_30 | NAYY 4x150 SE | 28 | 30 | 0.0098669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_3561-1_0_4_line_31 | NAYY 4x150 SE | 29 | 49 | 0.045844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_3561-1_0_4_line_32 | NAYY 4x150 SE | 30 | 31 | 0.20402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3561-1_0_4_line_33 | NAYY 4x150 SE | 30 | 32 | 0.16965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_3561-1_0_4_line_34 | NAYY 4x150 SE | 31 | 54 | 0.082707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3561-1_0_4_line_35 | NAYY 4x150 SE | 32 | 53 | 0.11299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_3561-1_0_4_line_36 | NAYY 4x150 SE | 33 | 34 | 0.15152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3561-1_0_4_line_37 | NAYY 4x150 SE | 34 | 49 | 0.081976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3561-1_0_4_line_38 | NAYY 4x150 SE | 35 | 36 | 0.022746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3561-1_0_4_line_39 | NAYY 4x150 SE | 36 | 46 | 0.093883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3561-1_0_4_line_40 | NAYY 4x150 SE | 37 | 38 | 0.023231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3561-1_0_4_line_41 | NAYY 4x150 SE | 37 | 39 | 0.37767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_3561-1_0_4_line_42 | NAYY 4x150 SE | 38 | 40 | 0.059595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3561-1_0_4_line_43 | NAYY 4x150 SE | 39 | 41 | 0.48433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_3561-1_0_4_line_44 | NAYY 4x150 SE | 40 | 42 | 0.017179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3561-1_0_4_line_45 | NAYY 4x150 SE | 41 | 43 | 0.082612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_3561-1_0_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.082136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_3561-1_0_4_line_47 | NAYY 4x150 SE | 44 | 45 | 0.031078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_3561-1_0_4_line_48 | NAYY 4x150 SE | 45 | 46 | 0.044108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_3561-1_0_4_line_49 | NAYY 4x150 SE | 46 | 47 | 0.18848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_3561-1_0_4_line_50 | NAYY 4x150 SE | 47 | 53 | 0.17138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_3561-1_0_4_line_51 | NAYY 4x150 SE | 47 | 52 | 0.14942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3561-1_0_4_line_52 | NAYY 4x150 SE | 48 | 49 | 0.076857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_3561-1_0_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.027237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3561-1_0_4_trafo_103 | 0.25 MVA 20/0.4 kV | 55 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59
0 | 2800891.1585 | 1136195.468 | 2800891.6509 | 1136196.6412 | 2800892.0048 | 1136198.0433 | 2800892.1562 | 1136199.9725 | 2800892.1296 | 1136202.1628 | 2800891.6153 | 1136205.1154 | 2800890.0174 | 1136213.4881
1 | 2800850.4551 | 1136110.6381 | 2800852.2383 | 1136113.9898 | 2800853.1905 | 1136116.6242 | 2800853.9253 | 1136119.7741 | 2800854.0051 | 1136123.6251 | 2800854.2335 | 1136129.2608 | 2800854.8191 | 1136133.6514 | 2800855.6331 | 1136137.4269 | 2800857.4658 | 1136142.0704 | 2800859.707 | 1136146.9388 | 2800868.748 | 1136167.1269 | 2800871.8174 | 1136172.3344 | 2800875.0905 | 1136177.4373 | 2800878.2051 | 1136181.2893 | 2800883.2452 | 1136186.7626 | 2800887.3877 | 1136190.9713 | 2800889.7105 | 1136193.3844 | 2800890.5448 | 1136194.4688 | 2800891.1585 | 1136195.468
2 | 2800891.1585 | 1136195.468 | 2800891.0918 | 1136192.1513 | 2800891.5905 | 1136178.7874 | 2800892.2281 | 1136169.1208 | 2800894.3789 | 1136154.7219 | 2800902.5474 | 1136109.9473 | 2800904.192 | 1136100.8036 | 2800905.4912 | 1136086.9992 | 2800905.1516 | 1136083.0839 | 2800904.0857 | 1136078.7773 | 2800900.4189 | 1136065.8309 | 2800899.3365 | 1136059.0101 | 2800898.9522 | 1136053.892 | 2800898.5788 | 1136048.2181 | 2800898.9421 | 1136044.0148 | 2800901.2365 | 1136035.4823 | 2800901.2555 | 1136032.135 | 2800900.4203 | 1136029.2264 | 2800893.5754 | 1136005.3074 | 2800893.2997 | 1136002.4842 | 2800893.2868 | 1135999.1693
3 | 2800850.4551 | 1136110.6381 | 2800849.7402 | 1136114.2959 | 2800848.2306 | 1136119.6179 | 2800846.2676 | 1136125.3697 | 2800844.6861 | 1136130.7671 | 2800843.3774 | 1136136.7632 | 2800842.7284 | 1136143.0703 | 2800842.7527 | 1136148.8215 | 2800842.8694 | 1136154.3422 | 2800842.7867 | 1136158.9109 | 2800842.3205 | 1136164.123 | 2800841.5839 | 1136168.4363 | 2800841.1689 | 1136170.0283
4 | 2800881.7437 | 1135974.3897 | 2800882.3497 | 1135978.5509 | 2800883.4566 | 1135983.0146 | 2800885.3867 | 1135987.0496 | 2800887.5472 | 1135991.1034 | 2800893.2868 | 1135999.1693 | 2800893.2868 | 1135999.1693
5 | 2800862.8503 | 1135936.1719 | 2800866.6263 | 1135938.3422 | 2800870.9477 | 1135941.5781 | 2800874.0797 | 1135945.1414 | 2800876.2998 | 1135949.4864 | 2800878.1781 | 1135955.0769 | 2800879.5438 | 1135960.7949 | 2800881.6287 | 1135973.5996 | 2800881.7437 | 1135974.3897
6 | 2800789.4238 | 1135737.524 | 2800787.302 | 1135738.321 | 2800785.1787 | 1135738.4728 | 2800782.4575 | 1135737.8373 | 2800780.0085 | 1135736.1986 | 2800778.7168 | 1135734.2759 | 2800777.7023 | 1135731.4282 | 2800777.5419 | 1135728.6088 | 2800777.9645 | 1135725.3973 | 2800779.1006 | 1135719.4957 | 2800779.5647 | 1135715.0398 | 2800779.5059 | 1135710.5554 | 2800778.7053 | 1135706.369 | 2800777.1286 | 1135700.2769 | 2800772.9781 | 1135686.8029 | 2800765.9761 | 1135668.0397 | 2800764.2476 | 1135663.4998 | 2800763.1039 | 1135660.1361 | 2800761.9752 | 1135656.5505 | 2800760.9178 | 1135653.6012 | 2800759.3313 | 1135651.0458 | 2800757.5125 | 1135649.2168 | 2800755.559 | 1135648.4289 | 2800752.7454 | 1135648.0239 | 2800750.3354 | 1135648.4553 | 2800748.0974 | 1135649.7378 | 2800746.6593 | 1135651.9813 | 2800746.3444 | 1135655.1964 | 2800746.9819 | 1135658.0316 | 2800748.24 | 1135661.1989 | 2800750.904 | 1135665.87 | 2800753.1454 | 1135670.7384 | 2800755.0337 | 1135676.7295 | 2800756.5544 | 1135684.2767 | 2800757.2714 | 1135690.9741 | 2800757.4558 | 1135698.1655 | 2800757.1545 | 1135703.9837 | 2800756.1782 | 1135708.3224 | 2800754.7717 | 1135712.8581 | 2800752.0316 | 1135719.7409 | 2800749.1841 | 1135726.8425 | 2800747.5709 | 1135731.5715 | 2800746.3582 | 1135736.5364 | 2800745.2018 | 1135743.0491 | 2800743.0748 | 1135753.5003 | 2800741.1837 | 1135760.0999 | 2800739.0812 | 1135766.8036 | 2800736.6566 | 1135773.6968 | 2800735.1224 | 1135779.0625 | 2800734.2045 | 1135784.66 | 2800734.2082 | 1135790.7998 | 2800734.3714 | 1135798.402 | 2800735.4527 | 1135809.8942 | 2800736.4198 | 1135818.5687 | 2800736.421 | 1135818.6113
7 | 2800736.421 | 1135818.6113 | 2800150.3596 | 1136019.3257
8 | 2800789.4238 | 1135737.524 | 2800795.4433 | 1135748.3019 | 2800797.1029 | 1135751.6716 | 2800799.5537 | 1135755.8018 | 2800801.7214 | 1135759.4109 | 2800804.5435 | 1135763.2642 | 2800808.0927 | 1135767.7201 | 2800812.7969 | 1135772.8818 | 2800816.8702 | 1135777.4741
9 | 2800150.3596 | 1136019.3257 | 2800144.9092 | 1136013.5898 | 2800137.004 | 1136005.2972 | 2800127.3504 | 1135990.7291 | 2800115.1082 | 1135975.9417
10 | 2800192.7616 | 1136118.4388 | 2800192.986 | 1136111.6726 | 2800193.3807 | 1136099.7734 | 2800191.561 | 1136084.0414 | 2800183.8193 | 1136062.9298 | 2800166.8879 | 1136036.7196 | 2800150.3596 | 1136019.3257
11 | 2800838.1776 | 1135920.0113 | 2800840.0029 | 1135921.9846 | 2800843.8649 | 1135925.1385 | 2800848.1389 | 1135927.7166 | 2800862.8503 | 1135936.1719
12 | 2801077.235 | 1135966.1212 | 2801077.235 | 1135966.1212 | 2801072.4406 | 1135958.8207 | 2801068.0742 | 1135950.2332 | 2801063.2879 | 1135942.6883 | 2801060.1289 | 1135938.0895 | 2801054.1633 | 1135931.4953 | 2801053.529 | 1135931.0004
13 | 2800938.7044 | 1135884.8059 | 2800944.7082 | 1135881.2352 | 2800948.4073 | 1135879.334 | 2800952.316 | 1135878.541 | 2800955.7372 | 1135879.1999 | 2800959.5637 | 1135880.8734 | 2800967.2316 | 1135886.0894 | 2800972.9064 | 1135889.3927 | 2800983.6907 | 1135894.9349 | 2801017.5416 | 1135910.7553 | 2801023.7962 | 1135913.5329 | 2801031.0067 | 1135916.5204 | 2801038.642 | 1135921.3238 | 2801046.9409 | 1135925.8602 | 2801053.529 | 1135931.0004
14 | 2800938.7044 | 1135884.8059 | 2800942.7696 | 1135887.1769 | 2800948.232 | 1135890.1505 | 2800953.5402 | 1135893.3637 | 2800958.2076 | 1135897.3119 | 2800962.4584 | 1135901.2796 | 2800967.4303 | 1135906.2613 | 2800970.5954 | 1135910.2151 | 2800975.2743 | 1135917.2892 | 2800977.9786 | 1135920.9718 | 2800980.7201 | 1135923.9995 | 2800983.6805 | 1135926.7008 | 2800986.975 | 1135929.3131 | 2800993.9856 | 1135934.1402 | 2800997.2631 | 1135937.2636 | 2800999.8609 | 1135940.4422 | 2801002.1453 | 1135944.0107 | 2801005.5663 | 1135949.7638 | 2801007.9628 | 1135953.4363 | 2801009.0896 | 1135954.6779
15 | 2800934.8762 | 1135863.7457 | 2800934.4788 | 1135865.7345 | 2800934.1879 | 1135867.9938 | 2800933.8622 | 1135871.2975 | 2800933.5336 | 1135874.6901 | 2800933.1414 | 1135876.5234 | 2800932.7812 | 1135877.6237 | 2800931.3915 | 1135879.8019 | 2800938.7044 | 1135884.8059
16 | 2800892.876 | 1135627.5827 | 2800894.5716 | 1135634.2682 | 2800895.0702 | 1135641.5033 | 2800895.3347 | 1135651.3779 | 2800896.1698 | 1135657.3007 | 2800897.7779 | 1135662.2148 | 2800900.7028 | 1135667.6065 | 2800904.6241 | 1135674.0769 | 2800910.5615 | 1135682.2272 | 2800915.2069 | 1135689.1555 | 2800918.2728 | 1135694.7077 | 2800921.3191 | 1135700.8486 | 2800924.2047 | 1135707.4181 | 2800928.0902 | 1135715.6558 | 2800932.7224 | 1135722.2834 | 2800938.8319 | 1135728.5041 | 2800946.657 | 1135734.0923 | 2800952.9534 | 1135738.6287 | 2800955.501 | 1135741.0047 | 2800957.1543 | 1135743.1731 | 2800957.9829 | 1135745.1249 | 2800958.688 | 1135748.2405 | 2800958.8556 | 1135752.2279 | 2800958.0365 | 1135756.4717 | 2800952.9668 | 1135771.5409 | 2800947.294 | 1135785.9894 | 2800937.9972 | 1135809.1041 | 2800934.3764 | 1135819.5278 | 2800931.0329 | 1135831.3399 | 2800927.7044 | 1135844.554 | 2800925.6211 | 1135853.9166 | 2800923.9894 | 1135861.2811 | 2800921.3788 | 1135869.3581 | 2800920.7364 | 1135873.3854 | 2800920.7505 | 1135876.1999 | 2800921.0566 | 1135878.112 | 2800921.6912 | 1135879.4123 | 2800922.7845 | 1135880.5832 | 2800924.3052 | 1135881.4124 | 2800925.79 | 1135881.9289 | 2800927.9602 | 1135881.9901 | 2800929.8991 | 1135881.1314 | 2800931.3915 | 1135879.8019 | 2800938.7044 | 1135884.8059
17 | 2801009.0896 | 1135954.6779 | 2801010.5857 | 1135956.3265 | 2801012.6176 | 1135958.919 | 2801014.9811 | 1135961.5003 | 2801016.6977 | 1135963.857
18 | 2800934.8762 | 1135863.7457 | 2800936.1765 | 1135859.3955 | 2800937.9338 | 1135854.5045 | 2800941.6681 | 1135845.5305 | 2800946.1548 | 1135834.7797 | 2800950.0908 | 1135827.6143 | 2800954.508 | 1135821.2658 | 2800959.3968 | 1135815.7894 | 2800965.3209 | 1135809.9916 | 2800970.9433 | 1135804.4618 | 2800977.2941 | 1135797.8773 | 2800994.7593 | 1135778.1379 | 2800998.2629 | 1135773.7833 | 2801000.9426 | 1135768.7228 | 2801002.3218 | 1135765.0093 | 2801003.1856 | 1135761.2786 | 2801003.6848 | 1135757.3912 | 2801004.0744 | 1135752.6326 | 2801004.2577 | 1135746.6658 | 2801003.9856 | 1135741.6516 | 2801002.9697 | 1135736.5347 | 2801000.6296 | 1135729.3161 | 2800995.9014 | 1135718.1695 | 2800994.0224 | 1135712.6012 | 2800992.6298 | 1135707.6942 | 2800992.0528 | 1135702.8144 | 2800992.2048 | 1135698.2481 | 2800993.0775 | 1135691.7037 | 2800994.7031 | 1135685.4513 | 2800997.2059 | 1135676.9146 | 2800998.4475 | 1135670.6272 | 2800999.1506 | 1135662.698 | 2800998.8556 | 1135656.0591 | 2800998.4503 | 1135651.4895
19 | 2800892.876 | 1135627.5827 | 2800886.3083 | 1135636.0508 | 2800884.0129 | 1135649.9333 | 2800889.9916 | 1135691.0968 | 2800894.0552 | 1135713.6553 | 2800900.31 | 1135729.518
20 | 2800819.5381 | 1135889.7599 | 2800821.4013 | 1135889.7886 | 2800822.2086 | 1135886.8234 | 2800823.1197 | 1135884.9073 | 2800825.1087 | 1135882.7712 | 2800826.9262 | 1135881.1633 | 2800830.5094 | 1135879.5029 | 2800849.6721 | 1135872.1546 | 2800855.7571 | 1135869.1538 | 2800859.9129 | 1135866.4892 | 2800863.3232 | 1135863.3104 | 2800865.5786 | 1135860.349 | 2800867.6742 | 1135857.3266 | 2800871.7623 | 1135849.7547 | 2800874.1758 | 1135846.2091 | 2800876.2422 | 1135844.0644 | 2800890.291 | 1135832.5308 | 2800895.5685 | 1135827.1785 | 2800899.4087 | 1135822.8906 | 2800902.3344 | 1135819.2286 | 2800905.298 | 1135814.1997 | 2800906.8458 | 1135810.2805 | 2800926.1555 | 1135774.4633 | 2800927.4746 | 1135772.0937 | 2800928.929 | 1135770.5182 | 2800930.9759 | 1135768.9624 | 2800935.0326 | 1135766.9619 | 2800937.9666 | 1135765.369 | 2800939.8647 | 1135763.8861 | 2800943.941 | 1135758.0601 | 2800946.8308 | 1135753.6294 | 2800948.111 | 1135751.2696 | 2800948.6355 | 1135749.6298 | 2800949.0961 | 1135748.2881 | 2800949.249 | 1135746.9363 | 2800949.1571 | 1135745.5318 | 2800949.2805 | 1135744.6016 | 2800949.7365 | 1135743.8604 | 2800950.578 | 1135743.3434 | 2800951.9854 | 1135743.179 | 2800957.1543 | 1135743.1731 | 2800955.501 | 1135741.0047 | 2800952.9534 | 1135738.6287 | 2800946.657 | 1135734.0923 | 2800938.8319 | 1135728.5041 | 2800932.7224 | 1135722.2834 | 2800928.0902 | 1135715.6558 | 2800924.2047 | 1135707.4181 | 2800921.3191 | 1135700.8486 | 2800918.2728 | 1135694.7077 | 2800915.2069 | 1135689.1555 | 2800910.5615 | 1135682.2272 | 2800904.6241 | 1135674.0769 | 2800900.7028 | 1135667.6065 | 2800897.7779 | 1135662.2148 | 2800896.1698 | 1135657.3007 | 2800895.3347 | 1135651.3779 | 2800895.0702 | 1135641.5033 | 2800894.5716 | 1135634.2682 | 2800892.876 | 1135627.5827
21 | 2800987.9718 | 1135457.0913 | 2800986.9851 | 1135462.4306 | 2800985.0022 | 1135468.7712 | 2800983.0363 | 1135474.6008 | 2800981.9795 | 1135479.504 | 2800981.0076 | 1135484.399 | 2800980.3815 | 1135490.9405 | 2800980.9651 | 1135514.5954 | 2800981.4163 | 1135520.9392 | 2800982.2656 | 1135526.8959 | 2800983.2151 | 1135531.2319 | 2800985.0146 | 1135537.109 | 2800987.0224 | 1135543.4379 | 2800990.2354 | 1135550.5855 | 2800993.4851 | 1135557.7899 | 2800996.0684 | 1135564.6496 | 2800997.7883 | 1135570.6019 | 2800998.8416 | 1135576.6765 | 2800999.231 | 1135582.7958 | 2800999.4539 | 1135589.2877 | 2800999.0515 | 1135598.5951 | 2800997.1585 | 1135620.5103 | 2800996.4798 | 1135627.7063 | 2800996.7308 | 1135635.6673 | 2800998.3124 | 1135649.9347 | 2800998.4503 | 1135651.4895
22 | 2800819.5381 | 1135889.7599 | 2800820.2404 | 1135892.4972 | 2800820.8836 | 1135894.4651 | 2800821.766 | 1135896.6522 | 2800824.6213 | 1135901.8191 | 2800831.6966 | 1135911.1862 | 2800836.776 | 1135918.496 | 2800838.1776 | 1135920.0113
23 | 2800819.5381 | 1135889.7599 | 2800819.3296 | 1135887.4617 | 2800819.559 | 1135884.9668 | 2800820.2491 | 1135881.8198 | 2800821.237 | 1135878.9831 | 2800823.2679 | 1135875.5915 | 2800827.7541 | 1135869.4787 | 2800829.5573 | 1135866.4467 | 2800831.1397 | 1135863.1069 | 2800832.1372 | 1135859.9813 | 2800832.7825 | 1135856.0987 | 2800832.8549 | 1135851.6076 | 2800832.6667 | 1135846.1513 | 2800832.5751 | 1135840.1087 | 2800832.4806 | 1135833.9213 | 2800832.6909 | 1135827.5996 | 2800833.2284 | 1135820.4768 | 2800833.8572 | 1135812.6896 | 2800833.9148 | 1135808.6429 | 2800833.4669 | 1135804.2791 | 2800832.2781 | 1135800.1909 | 2800830.7073 | 1135796.2346 | 2800830.2231 | 1135795.4351
24 | 2800830.2231 | 1135795.4351 | 2800828.1152 | 1135791.9551 | 2800824.3209 | 1135786.3009 | 2800819.13 | 1135780.0219 | 2800816.8702 | 1135777.4741
25 | 2800192.7616 | 1136118.4388 | 2800192.574 | 1136124.094 | 2800194.5246 | 1136131.9333 | 2800210.9154 | 1136158.6373 | 2800217.641 | 1136175.3107 | 2800226.5907 | 1136195.2946 | 2800242.1882 | 1136218.7357 | 2800259.7455 | 1136257.3908 | 2800275.154 | 1136302.0699 | 2800280.1584 | 1136331.3771 | 2800282.97 | 1136348.31 | 2800289.8967 | 1136366.8031 | 2800301.874 | 1136398.1214 | 2800304.8005 | 1136415.0692 | 2800308.7421 | 1136434.6201 | 2800314.36 | 1136447.9868 | 2800320.6771 | 1136456.9944 | 2800325.395 | 1136464.2917 | 2800326.5341 | 1136468.7229 | 2800325.1279 | 1136472.3356 | 2800321.7481 | 1136474.6148 | 2800317.573 | 1136473.008 | 2800313.7467 | 1136466.4633 | 2800290.406 | 1136438.9499 | 2800228.5598 | 1136386.9017 | 2800187.1224 | 1136350.9024 | 2800171.4432 | 1136341.7735 | 2800166.9473 | 1136340.5455
26 | 2800166.9473 | 1136340.5455 | 2800179.3694 | 1136397.4824 | 2800185.0166 | 1136432.9616 | 2800188.087 | 1136456.0315 | 2800193.7616 | 1136465.1401 | 2800207.1978 | 1136484.294 | 2800210.1973 | 1136496.7284 | 2800207.8915 | 1136527.695 | 2800209.121 | 1136554.9416
27 | 2800166.9473 | 1136340.5455 | 2800159.9705 | 1136338.6457 | 2800151.2265 | 1136336.939
28 | 2800137.4388 | 1136334.2478 | 2800151.2265 | 1136336.939
29 | 2801029.0866 | 1135310.3963 | 2801025.3114 | 1135338.166 | 2801033.8371 | 1135360.2058 | 2801027.9701 | 1135373.758 | 2801035.2923 | 1135395.8467 | 2801041.0387 | 1135412.5106 | 2801049.7657 | 1135431.276 | 2801052.1716 | 1135447.1614 | 2801050.9754 | 1135453.0054 | 2801050.1419 | 1135460.5821
30 | 2801029.0866 | 1135310.3963 | 2801024.5621 | 1135308.6217 | 2801019.5581 | 1135308.455
31 | 2801040.447 | 1135505.2091 | 2801045.2105 | 1135491.9427 | 2801049.9258 | 1135462.547 | 2801050.1419 | 1135460.5821
32 | 2801019.5581 | 1135308.455 | 2801026.6512 | 1135104.5579
33 | 2801019.5581 | 1135308.455 | 2800871.9376 | 1135224.8481
34 | 2801026.6512 | 1135104.5579 | 2801033.4821 | 1135085.4321 | 2801041.6172 | 1135070.8654 | 2801052.5947 | 1135051.4551 | 2801058.5519 | 1135046.3035 | 2801060.4456 | 1135038.9478 | 2801059.0773 | 1135031.124
35 | 2800871.9376 | 1135224.8481 | 2800859.049 | 1135198.003 | 2800854.9001 | 1135179.3792 | 2800854.1943 | 1135142.0171 | 2800857.2408 | 1135115.4326
36 | 2801075.6134 | 1135578.9556 | 2801071.7338 | 1135584.421 | 2801070.124 | 1135592.5091 | 2801070.0294 | 1135601.3596 | 2801071.4165 | 1135609.4363 | 2801073.6779 | 1135625.2613 | 2801076.809 | 1135633.7075 | 2801082.6391 | 1135644.6129 | 2801085.6309 | 1135650.9968 | 2801085.8406 | 1135657.188 | 2801084.3539 | 1135670.8304 | 2801085.6025 | 1135679.8257 | 2801086.9645 | 1135688.4244 | 2801086.3168 | 1135695.6102 | 2801083.8216 | 1135705.3039 | 2801083.2977 | 1135711.782 | 2801087.1412 | 1135724.9217
37 | 2801040.447 | 1135505.2091 | 2801044.3649 | 1135516.173 | 2801047.9897 | 1135525.7591 | 2801053.9955 | 1135537.6379 | 2801059.3728 | 1135545.258 | 2801065.5176 | 1135555.5064 | 2801072.0529 | 1135570.2169 | 2801075.6134 | 1135578.9556
38 | 2800837.0415 | 1134915.4574 | 2800842.496 | 1134921.4782 | 2800844.8022 | 1134925.1031 | 2800845.3535 | 1134927.2903 | 2800845.6356 | 1134931.315 | 2800844.9788 | 1134935.3084
39 | 2800820.907 | 1134822.9714 | 2800837.0415 | 1134915.4574
40 | 2800582.8174 | 1134837.8253 | 2800584.8307 | 1134829.9807 | 2800575.6763 | 1134817.9317
41 | 2800582.8174 | 1134837.8253 | 2800578.1225 | 1134856.1183 | 2800593.8806 | 1134890.5658 | 2800599.5657 | 1134919.3287 | 2800599.6566 | 1134956.2364 | 2800593.5021 | 1134982.4036 | 2800589.3475 | 1135007.9698 | 2800569.5232 | 1135045.1278 | 2800553.4465 | 1135089.6068 | 2800548.4419 | 1135121.2845 | 2800547.5053 | 1135150.1721 | 2800544.1531 | 1135174.0855 | 2800547.0568 | 1135184.7706 | 2800554.4393 | 1135188.4083 | 2800562.2948 | 1135186.6228
42 | 2800560.0829 | 1134761.8677 | 2800561.6023 | 1134765.0649 | 2800564.8129 | 1134778.5743 | 2800566.8831 | 1134804.3807 | 2800568.0085 | 1134807.6103 | 2800570.0754 | 1134810.5597 | 2800575.6763 | 1134817.9317
43 | 2800562.2948 | 1135186.6228 | 2800562.2948 | 1135186.6228 | 2800571.6174 | 1135164.565 | 2800581.6886 | 1135147.5707 | 2800589.1459 | 1135140.8446 | 2800601.344 | 1135135.6554 | 2800631.4791 | 1135125.2896 | 2800649.1654 | 1135110.5061 | 2800654.6438 | 1135097.4968 | 2800656.533 | 1135075.8928 | 2800673.887 | 1135053.0344 | 2800681.0721 | 1135033.4195 | 2800686.4631 | 1135010.5304 | 2800694.9097 | 1134975.219 | 2800705.7986 | 1134945.9282 | 2800718.2742 | 1134927.0787 | 2800737.3875 | 1134890.9541 | 2800759.5268 | 1134861.3701 | 2800770.3368 | 1134834.7017 | 2800770.9014 | 1134797.8046 | 2800762.2591 | 1134779.9428
44 | 2800551.6518 | 1134746.9332 | 2800557.1017 | 1134755.5947 | 2800560.0829 | 1134761.8677
45 | 2800732.5929 | 1134703.6013 | 2800733.2995 | 1134715.4815 | 2800743.6739 | 1134741.5308 | 2800762.2591 | 1134779.9428
46 | 2800732.5929 | 1134703.6013 | 2800746.1928 | 1134724.6304 | 2800760.2581 | 1134743.0167 | 2800773.2312 | 1134750.4554 | 2800781.3521 | 1134754.8408 | 2800789.9361 | 1134759.4851
47 | 2800806.3356 | 1134784.7577 | 2800802.9646 | 1134782.3429 | 2800800.0693 | 1134776.2738 | 2800797.4398 | 1134767.5441 | 2800791.0998 | 1134760.1146 | 2800789.9361 | 1134759.4851
48 | 2800806.3356 | 1134784.7577 | 2800810.8131 | 1134787.9651 | 2800816.673 | 1134792.687 | 2800819.9224 | 1134800.6142 | 2800819.566 | 1134816.8859 | 2800820.907 | 1134822.9714
49 | 2800820.907 | 1134822.9714 | 2800933.3504 | 1134974.2421
50 | 2800933.3504 | 1134974.2421 | 2800925.8354 | 1134974.815 | 2800909.6972 | 1134992.5857 | 2800878.5571 | 1135020.6127 | 2800872.3644 | 1135036.7791 | 2800869.6649 | 1135069.9792 | 2800858.6779 | 1135102.8924 | 2800857.2408 | 1135115.4326
51 | 2800976.0141 | 1134996.0279 | 2800958.429 | 1135009.3569 | 2800952.5723 | 1135026.0683 | 2800940.8497 | 1135038.7137 | 2800930.9735 | 1135044.4913 | 2800926.1209 | 1135043.3064 | 2800922.0719 | 1135040.2019 | 2800920.9429 | 1135031.5332 | 2800924.6408 | 1135010.7013 | 2800938.1236 | 1134982.4427 | 2800935.8527 | 1134976.372 | 2800933.3504 | 1134974.2421
52 | 2800987.9718 | 1135457.0913 | 2800999.3972 | 1135465.6135 | 2801010.1923 | 1135480.7994 | 2801020.4238 | 1135496.2558 | 2801029.3558 | 1135507.2421 | 2801040.447 | 1135505.2091
53 | 2800976.0141 | 1134996.0279 | 2800979.1991 | 1135002.8743 | 2800983.9629 | 1135008.8055 | 2800985.0854 | 1135012.3465 | 2800984.4919 | 1135017.6767 | 2800983.6848 | 1135020.5668

## bus_geodata
| x | y | coords
0 | 2800890.0174 | 1136213.4881
1 | 2800891.1585 | 1136195.468
2 | 2800850.4551 | 1136110.6381
3 | 2800893.2868 | 1135999.1693
4 | 2800841.1689 | 1136170.0283
5 | 2800881.7437 | 1135974.3897
6 | 2800736.421 | 1135818.6113
7 | 2800789.4238 | 1135737.524
8 | 2800150.3596 | 1136019.3257
9 | 2800862.8503 | 1135936.1719
10 | 2801077.235 | 1135966.1212
11 | 2801053.529 | 1135931.0004
12 | 2800938.7044 | 1135884.8059
13 | 2801009.0896 | 1135954.6779
14 | 2800934.8762 | 1135863.7457
15 | 2800892.876 | 1135627.5827
16 | 2801016.6977 | 1135963.857
17 | 2800998.4503 | 1135651.4895
18 | 2800819.5381 | 1135889.7599
19 | 2800838.1776 | 1135920.0113
20 | 2800830.2231 | 1135795.4351
21 | 2800900.31 | 1135729.518
22 | 2800115.1082 | 1135975.9417
23 | 2800192.7616 | 1136118.4388
24 | 2800166.9473 | 1136340.5455
25 | 2800209.121 | 1136554.9416
26 | 2800151.2265 | 1136336.939
27 | 2800137.4388 | 1136334.2478
28 | 2801029.0866 | 1135310.3963
29 | 2801050.1419 | 1135460.5821
30 | 2801019.5581 | 1135308.455
31 | 2801026.6512 | 1135104.5579
32 | 2800871.9376 | 1135224.8481
33 | 2801087.1412 | 1135724.9217
34 | 2801075.6134 | 1135578.9556
35 | 2800844.9788 | 1134935.3084
36 | 2800837.0415 | 1134915.4574
37 | 2800582.8174 | 1134837.8253
38 | 2800575.6763 | 1134817.9317
39 | 2800562.2948 | 1135186.6228
40 | 2800560.0829 | 1134761.8677
41 | 2800762.2591 | 1134779.9428
42 | 2800551.6518 | 1134746.9332
43 | 2800732.5929 | 1134703.6013
44 | 2800789.9361 | 1134759.4851
45 | 2800806.3356 | 1134784.7577
46 | 2800820.907 | 1134822.9714
47 | 2800933.3504 | 1134974.2421
48 | 2800987.9718 | 1135457.0913
49 | 2801040.447 | 1135505.2091
50 | 2800816.8702 | 1135777.4741
51 | 2800983.6848 | 1135020.5668
52 | 2800976.0141 | 1134996.0279
53 | 2800857.2408 | 1135115.4326
54 | 2801059.0773 | 1135031.124
55 | 2800789.4238 | 1135737.524

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1