## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3561-28_2_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_3561-28_2_2_node_126 | 0.4 | n |  | TRUE
2 | bus_LV_3561-28_2_2_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_3561-28_2_2_node_127 | 0.4 | n |  | TRUE
4 | bus_LV_3561-28_2_2_node_129 | 0.4 | n |  | TRUE
5 | bus_LV_3561-28_2_2_node_123 | 0.4 | n |  | TRUE
6 | bus_LV_3561-28_2_2_node_133 | 0.4 | n |  | TRUE
7 | bus_LV_3561-28_2_2_node_132 | 0.4 | n |  | TRUE
8 | bus_LV_3561-28_2_2_node_131 | 0.4 | n |  | TRUE
9 | bus_LV_3561-28_2_2_node_150 | 0.4 | n |  | TRUE
10 | bus_LV_3561-28_2_2_node_149 | 0.4 | n |  | TRUE
11 | bus_LV_3561-28_2_2_node_134 | 0.4 | n |  | TRUE
12 | bus_LV_3561-28_2_2_node_135 | 0.4 | n |  | TRUE
13 | bus_LV_3561-28_2_2_node_136 | 0.4 | n |  | TRUE
14 | bus_LV_3561-28_2_2_node_138 | 0.4 | n |  | TRUE
15 | bus_LV_3561-28_2_2_node_139 | 0.4 | n |  | TRUE
16 | bus_LV_3561-28_2_2_node_140 | 0.4 | n |  | TRUE
17 | bus_LV_3561-28_2_2_node_141 | 0.4 | n |  | TRUE
18 | bus_LV_3561-28_2_2_node_142 | 0.4 | n |  | TRUE
19 | bus_LV_3561-28_2_2_node_143 | 0.4 | n |  | TRUE
20 | bus_LV_3561-28_2_2_node_144 | 0.4 | n |  | TRUE
21 | bus_LV_3561-28_2_2_node_145 | 0.4 | n |  | TRUE
22 | bus_LV_3561-28_2_2_node_146 | 0.4 | n |  | TRUE
23 | bus_LV_3561-28_2_2_node_147 | 0.4 | n |  | TRUE
24 | bus_LV_3561-28_2_2_node_148 | 0.4 | n |  | TRUE
25 | bus_LV_3561-28_2_2_node_151 | 0.4 | n |  | TRUE
26 | bus_LV_3561-28_2_2_node_110 | 0.4 | n |  | TRUE
27 | bus_LV_3561-28_2_2_node_152 | 0.4 | n |  | TRUE
28 | bus_LV_3561-28_2_2_node_115 | 0.4 | n |  | TRUE
29 | bus_LV_3561-28_2_2_node_153 | 0.4 | n |  | TRUE
30 | bus_LV_3561-28_2_2_node_154 | 0.4 | n |  | TRUE
31 | bus_LV_3561-28_2_2_node_111 | 0.4 | n |  | TRUE
32 | bus_LV_3561-28_2_2_node_155 | 0.4 | n |  | TRUE
33 | bus_LV_3561-28_2_2_node_98 | 0.4 | n |  | TRUE
34 | bus_LV_3561-28_2_2_node_99 | 0.4 | n |  | TRUE
35 | bus_LV_3561-28_2_2_node_100 | 0.4 | n |  | TRUE
36 | bus_LV_3561-28_2_2_node_102 | 0.4 | n |  | TRUE
37 | bus_LV_3561-28_2_2_node_104 | 0.4 | n |  | TRUE
38 | bus_LV_3561-28_2_2_node_105 | 0.4 | n |  | TRUE
39 | bus_LV_3561-28_2_2_node_114 | 0.4 | n |  | TRUE
40 | bus_LV_3561-28_2_2_node_112 | 0.4 | n |  | TRUE
41 | bus_LV_3561-28_2_2_node_106 | 0.4 | n |  | TRUE
42 | bus_LV_3561-28_2_2_node_107 | 0.4 | n |  | TRUE
43 | bus_LV_3561-28_2_2_node_108 | 0.4 | n |  | TRUE
44 | bus_LV_3561-28_2_2_node_109 | 0.4 | n |  | TRUE
45 | bus_LV_3561-28_2_2_node_125 | 0.4 | n |  | TRUE
46 | bus_LV_3561-28_2_2_node_113 | 0.4 | n |  | TRUE
47 | bus_LV_3561-28_2_2_node_117 | 0.4 | n |  | TRUE
48 | bus_LV_3561-28_2_2_node_118 | 0.4 | n |  | TRUE
49 | bus_LV_3561-28_2_2_node_119 | 0.4 | n |  | TRUE
50 | bus_LV_3561-28_2_2_node_120 | 0.4 | n |  | TRUE
51 | bus_LV_3561-28_2_2_node_121 | 0.4 | n |  | TRUE
52 | bus_LV_3561-28_2_2_node_122 | 0.4 | n |  | TRUE
53 | bus_LV_3561-28_2_2_node_124 | 0.4 | n |  | TRUE
54 | bus_MV_0_node_125 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3561-28_2_2_load_127 | 3 | 0.00066879 | 0.00016761 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3561-28_2_2_load_129 | 4 | 0.00071161 | 0.00017835 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3561-28_2_2_load_133 | 6 | 0.00077488 | 0.0001942 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3561-28_2_2_load_132 | 7 | 0.00030504 | 7.6451e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3561-28_2_2_load_150 | 9 | 0.00024471 | 6.1331e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3561-28_2_2_load_149 | 10 | 0.00041279 | 0.00010345 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3561-28_2_2_load_134 | 11 | 0.00022183 | 5.5595e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3561-28_2_2_load_135 | 12 | 0.00047604 | 0.00011931 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3561-28_2_2_load_136 | 13 | 0.00041708 | 0.00010453 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3561-28_2_2_load_138 | 14 | 0.00058776 | 0.00014731 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3561-28_2_2_load_139 | 15 | 0.00021553 | 5.4018e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3561-28_2_2_load_140 | 16 | 0.00082465 | 0.00020668 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3561-28_2_2_load_141 | 17 | 0.00048568 | 0.00012172 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3561-28_2_2_load_142 | 18 | 0.00042382 | 0.00010622 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3561-28_2_2_load_143 | 19 | 0.00034122 | 8.5518e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3561-28_2_2_load_144 | 20 | 0.00086047 | 0.00021565 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3561-28_2_2_load_147 | 23 | 0.00043547 | 0.00010914 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3561-28_2_2_load_148 | 24 | 0.00030809 | 7.7215e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3561-28_2_2_load_151 | 25 | 0.00022807 | 5.716e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3561-28_2_2_load_152 | 27 | 0.00040111 | 0.00010053 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3561-28_2_2_load_153 | 29 | 0.00023575 | 5.9084e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3561-28_2_2_load_155 | 32 | 0.00020931 | 5.2457e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3561-28_2_2_load_98 | 33 | 0.00099727 | 0.00024994 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3561-28_2_2_load_99 | 34 | 0.0005209 | 0.00013055 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3561-28_2_2_load_100 | 35 | 0.00031367 | 7.8612e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3561-28_2_2_load_114 | 39 | 0.00039794 | 9.9732e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3561-28_2_2_load_112 | 40 | 0.00055447 | 0.00013896 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3561-28_2_2_load_106 | 41 | 0.00027556 | 6.9063e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3561-28_2_2_load_107 | 42 | 0.00049527 | 0.00012413 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3561-28_2_2_load_108 | 43 | 0.00057123 | 0.00014316 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3561-28_2_2_load_113 | 46 | 0.00065184 | 0.00016337 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3561-28_2_2_load_117 | 47 | 0.00055822 | 0.0001399 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3561-28_2_2_load_118 | 48 | 0.00029112 | 7.296e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3561-28_2_2_load_119 | 49 | 0.00057924 | 0.00014517 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3561-28_2_2_load_120 | 50 | 0.00037276 | 9.3422e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3561-28_2_2_load_122 | 52 | 0.00026551 | 6.6544e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3561-28_2_2_load_124 | 53 | 0.00096544 | 0.00024196 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3561-28_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.13936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3561-28_2_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.005938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3561-28_2_2_line_2 | NAYY 4x150 SE | 0 | 3 | 0.21494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3561-28_2_2_line_3 | NAYY 4x150 SE | 1 | 8 | 0.42198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3561-28_2_2_line_4 | NAYY 4x150 SE | 1 | 11 | 0.084394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3561-28_2_2_line_5 | NAYY 4x150 SE | 2 | 6 | 0.060778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3561-28_2_2_line_6 | NAYY 4x150 SE | 2 | 7 | 0.0166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3561-28_2_2_line_7 | NAYY 4x150 SE | 3 | 4 | 0.048972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3561-28_2_2_line_8 | NAYY 4x150 SE | 4 | 5 | 0.34578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3561-28_2_2_line_9 | NAYY 4x150 SE | 5 | 52 | 0.19809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3561-28_2_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.26631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3561-28_2_2_line_11 | NAYY 4x150 SE | 8 | 10 | 0.022865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3561-28_2_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.028097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3561-28_2_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.061486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3561-28_2_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.013199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3561-28_2_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.0025761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3561-28_2_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.023705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3561-28_2_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.008833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3561-28_2_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.0072635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3561-28_2_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.020017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3561-28_2_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.00038307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3561-28_2_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.091865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3561-28_2_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.078348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3561-28_2_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.048792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3561-28_2_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.063271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3561-28_2_2_line_25 | NAYY 4x150 SE | 25 | 26 | 0.17017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3561-28_2_2_line_26 | NAYY 4x150 SE | 26 | 31 | 0.093443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3561-28_2_2_line_27 | NAYY 4x150 SE | 26 | 45 | 0.177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3561-28_2_2_line_28 | NAYY 4x150 SE | 26 | 44 | 0.075388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3561-28_2_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.14069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3561-28_2_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.03304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3561-28_2_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.13942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3561-28_2_2_line_32 | NAYY 4x150 SE | 28 | 37 | 0.42545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3561-28_2_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.077724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3561-28_2_2_line_34 | NAYY 4x150 SE | 31 | 32 | 0.08089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3561-28_2_2_line_35 | NAYY 4x150 SE | 33 | 34 | 0.037649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3561-28_2_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.03967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3561-28_2_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.2046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3561-28_2_2_line_38 | NAYY 4x150 SE | 36 | 37 | 0.27757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3561-28_2_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.51256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3561-28_2_2_line_40 | NAYY 4x150 SE | 37 | 39 | 0.52597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3561-28_2_2_line_41 | NAYY 4x150 SE | 38 | 40 | 0.23735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3561-28_2_2_line_42 | NAYY 4x150 SE | 40 | 46 | 0.014079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3561-28_2_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.099959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3561-28_2_2_line_44 | NAYY 4x150 SE | 41 | 43 | 0.035701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3561-28_2_2_line_45 | NAYY 4x150 SE | 42 | 44 | 0.3855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3561-28_2_2_line_46 | NAYY 4x150 SE | 45 | 51 | 0.38459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3561-28_2_2_line_47 | NAYY 4x150 SE | 47 | 48 | 0.027721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3561-28_2_2_line_48 | NAYY 4x150 SE | 47 | 49 | 0.22261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3561-28_2_2_line_49 | NAYY 4x150 SE | 48 | 50 | 0.0068061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3561-28_2_2_line_50 | NAYY 4x150 SE | 49 | 51 | 0.050903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3561-28_2_2_line_51 | NAYY 4x150 SE | 50 | 52 | 0.21869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3561-28_2_2_line_52 | NAYY 4x150 SE | 52 | 53 | 0.08558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3561-28_2_2_trafo_125 | 0.25 MVA 20/0.4 kV | 54 | 45 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33
0 | 2801750.9766 | 1130796.1832 | 2801755.7182 | 1130801.7139 | 2801773.9308 | 1130797.2392 | 2801810.5855 | 1130774.9615 | 2801814.4388 | 1130771.7757 | 2801817.0564 | 1130768.8823 | 2801822.7632 | 1130758.9068 | 2801829.5839 | 1130747.4337 | 2801835.8086 | 1130738.3431 | 2801840.6487 | 1130731.4642 | 2801843.863 | 1130724.0972 | 2801846.011 | 1130718.4186 | 2801846.9976 | 1130715.4262
1 | 2801846.9976 | 1130715.4262 | 2801846.1463 | 1130712.2945 | 2801845.6255 | 1130709.6522
2 | 2801846.9976 | 1130715.4262 | 2801853.2859 | 1130709.5077 | 2801859.9251 | 1130707.1602 | 2801867.7122 | 1130705.7632 | 2801875.7275 | 1130703.0724 | 2801885.2274 | 1130698.407 | 2801930.2576 | 1130669.8476 | 2801941.8057 | 1130657.4203 | 2801970.8913 | 1130623.145 | 2801986.2537 | 1130577.8111 | 2801980.1578 | 1130570.9085
3 | 2801750.9766 | 1130796.1832 | 2801755.7182 | 1130801.7139 | 2801753.9494 | 1130813.3558 | 2801759.9884 | 1130816.9722 | 2801761.6555 | 1130826.1484 | 2801756.0874 | 1130834.5158 | 2801755.2529 | 1130852.5733 | 2801761.843 | 1130860.9241 | 2801768.1728 | 1130869.9113 | 2801777.6021 | 1130878.6573 | 2801781.6408 | 1130888.3799 | 2801786.5833 | 1130893.6614 | 2801790.0047 | 1130899.9377 | 2801801.3506 | 1130907.1572 | 2801803.1019 | 1130914.7346 | 2801807.1634 | 1130923.0788 | 2801803.0314 | 1130940.3811 | 2801803.1585 | 1130954.3443 | 2801800.1501 | 1130965.244 | 2801808.6642 | 1130977.6077 | 2801814.9234 | 1130984.09 | 2801817.2077 | 1130996.2455 | 2801817.4217 | 1131035.5268 | 2801814.5231 | 1131060.4448 | 2801812.3764 | 1131084.0866 | 2801802.4239 | 1131093.3195 | 2801800.6624 | 1131111.2015 | 2801799.0973 | 1131122.0494 | 2801796.1416 | 1131126.0661 | 2801794.6373 | 1131132.7895 | 2801790.9462 | 1131143.8222 | 2801786.1881 | 1131155.4088 | 2801783.2227 | 1131162.7174 | 2801776.161 | 1131175.4171
4 | 2801750.9766 | 1130796.1832 | 2801737.5766 | 1130801.0635 | 2801730.5584 | 1130803.91 | 2801726.6955 | 1130806.6952 | 2801724.7286 | 1130809.2655 | 2801723.1724 | 1130812.695 | 2801722.6516 | 1130817.6716 | 2801724.3331 | 1130826.6482 | 2801724.8423 | 1130832.8716 | 2801724.9347 | 1130841.1833 | 2801725.6339 | 1130855.566 | 2801726.2873 | 1130863.2402 | 2801726.2873 | 1130863.2402
5 | 2801845.6255 | 1130709.6522 | 2801847.443 | 1130691.4828 | 2801864.0773 | 1130652.3531
6 | 2801845.6255 | 1130709.6522 | 2801841.2037 | 1130708.6257 | 2801838.4215 | 1130708.3659 | 2801836.1364 | 1130709.6131 | 2801830.7771 | 1130713.5726
7 | 2801938.6352 | 1130545.1645 | 2801953.1561 | 1130554.5147 | 2801978.6321 | 1130569.1808 | 2801980.1578 | 1130570.9085
8 | 2801938.6352 | 1130545.1645 | 2802083.1694 | 1130231.0442
9 | 2802083.1694 | 1130231.0442 | 2802091.2214 | 1130233.2712 | 2802118.544 | 1130237.9447 | 2802150.4743 | 1130240.4035 | 2802246.3217 | 1130209.9321 | 2802260.3868 | 1130206.6547 | 2802267.5398 | 1130204.4138 | 2802273.2662 | 1130201.4912 | 2802274.131 | 1130200.8937
10 | 2801588.5098 | 1131331.5753 | 2801599.0869 | 1131326.7007 | 2801609.5022 | 1131321.3647 | 2801613.9029 | 1131317.9301 | 2801617.4343 | 1131313.2874 | 2801624.0173 | 1131300.8274 | 2801627.0185 | 1131295.2105 | 2801631.9623 | 1131288.6686 | 2801647.188 | 1131273.405 | 2801653.1399 | 1131267.8422 | 2801656.9198 | 1131265.4547 | 2801661.9657 | 1131263.4765 | 2801668.1465 | 1131262.6039 | 2801672.0256 | 1131262.5555 | 2801684.5403 | 1131264.0745 | 2801689.9936 | 1131263.9785 | 2801694.1173 | 1131263.0707 | 2801703.8018 | 1131259.0785 | 2801711.3087 | 1131254.9691 | 2801717.7221 | 1131250.8232 | 2801724.2689 | 1131245.2247 | 2801727.706 | 1131241.1018 | 2801730.2827 | 1131235.5042 | 2801736.0475 | 1131217.5446 | 2801737.5212 | 1131209.1962 | 2801738.6919 | 1131200.2259 | 2801739.7053 | 1131195.9664 | 2801741.0241 | 1131192.4846 | 2801743.506 | 1131189.4976 | 2801748.3514 | 1131185.6776 | 2801757.2451 | 1131180.9027 | 2801769.4037 | 1131176.2369 | 2801776.161 | 1131175.4171
11 | 2801776.161 | 1131175.4171 | 2801760.7137 | 1131192.2751
12 | 2801726.2873 | 1130863.2402 | 2801732.5346 | 1130890.6344
13 | 2801696.2564 | 1130931.4425 | 2801712.4603 | 1130927.5456 | 2801726.0372 | 1130913.2059 | 2801734.4307 | 1130898.9489 | 2801732.5346 | 1130890.6344
14 | 2801696.2564 | 1130931.4425 | 2801696.2564 | 1130931.4425 | 2801683.4737 | 1130934.7302
15 | 2801680.9788 | 1130935.3718 | 2801683.4737 | 1130934.7302
16 | 2801680.9788 | 1130935.3718 | 2801675.0512 | 1130936.8964 | 2801658.429 | 1130931.1583
17 | 2801658.429 | 1130931.1583 | 2801658.429 | 1130931.1583 | 2801652.6894 | 1130924.4442
18 | 2801652.6894 | 1130924.4442 | 2801647.9696 | 1130918.9231
19 | 2801647.9696 | 1130918.9231 | 2801643.679 | 1130913.904 | 2801638.2883 | 1130906.5722 | 2801635.9604 | 1130902.9403
20 | 2801635.7537 | 1130902.6178 | 2801635.9604 | 1130902.9403
21 | 2801584.3307 | 1130826.8905 | 2801592.7418 | 1130843.0544 | 2801598.3804 | 1130851.7402 | 2801605.5776 | 1130862.002 | 2801617.6348 | 1130877.2531 | 2801627.6366 | 1130892.1799 | 2801631.5557 | 1130895.7921 | 2801633.2542 | 1130898.7184 | 2801635.7537 | 1130902.6178
22 | 2801579.3211 | 1130753.6142 | 2801570.6874 | 1130766.2951 | 2801570.0811 | 1130776.6078 | 2801571.0869 | 1130782.9701 | 2801572.4303 | 1130789.6107 | 2801573.1096 | 1130795.3615 | 2801574.865 | 1130800.2807 | 2801578.8633 | 1130808.2222 | 2801580.2462 | 1130811.138 | 2801581.4845 | 1130818.3868 | 2801583.2497 | 1130822.7836 | 2801584.3307 | 1130826.8905
23 | 2801579.3211 | 1130753.6142 | 2801584.9557 | 1130755.4929 | 2801591.3983 | 1130756.0304 | 2801601.3489 | 1130755.406 | 2801605.9662 | 1130754.2699 | 2801612.1933 | 1130751.33 | 2801617.3182 | 1130748.1531 | 2801623.4222 | 1130742.2061 | 2801623.5908 | 1130742.0579
24 | 2801677.4711 | 1130709.522 | 2801673.9396 | 1130711.114 | 2801662.991 | 1130715.9984 | 2801651.7332 | 1130721.829 | 2801642.1799 | 1130727.6387 | 2801629.665 | 1130736.7196 | 2801623.5908 | 1130742.0579
25 | 2802135.3158 | 1130950.5017 | 2802121.3681 | 1130956.5418 | 2802112.4803 | 1130961.3497 | 2802098.1414 | 1130971.4809 | 2802092.4287 | 1130976.0948 | 2802079.9627 | 1130989.9259 | 2802074.7197 | 1130994.789 | 2802067.8923 | 1130999.31 | 2802032.8752 | 1131016.4243 | 2802011.4104 | 1131034.4815 | 2802001.3956 | 1131042.5664 | 2801998.2996 | 1131044.3203 | 2801995.7612 | 1131044.6136
26 | 2802135.3158 | 1130950.5017 | 2802136.9999 | 1130981.9574 | 2802122.4581 | 1130996.3084 | 2802134.6436 | 1131036.0126
27 | 2802083.4774 | 1130869.6628 | 2802106.4914 | 1130865.9281 | 2802132.2647 | 1130876.267 | 2802156.8251 | 1130883.6847 | 2802140.6075 | 1130898.8027 | 2802111.0851 | 1130915.9558 | 2802119.428 | 1130938.4915 | 2802135.3158 | 1130950.5017
28 | 2802202.6584 | 1130943.5239 | 2802201.9536 | 1130940.397 | 2802200.1427 | 1130937.3778 | 2802197.3898 | 1130935.328 | 2802194.7854 | 1130934.5957 | 2802192.0341 | 1130935.26 | 2802188.8286 | 1130936.3651 | 2802181.0433 | 1130941.3989 | 2802177.1646 | 1130943.9607 | 2802172.3254 | 1130945.9677 | 2802163.1271 | 1130947.3838 | 2802143.3762 | 1130948.9918 | 2802135.3158 | 1130950.5017
29 | 2802125.7899 | 1131180.0998 | 2802117.7575 | 1131187.6947 | 2802092.685 | 1131190.5485 | 2802022.1993 | 1131168.9706 | 2802006.776 | 1131179.0435 | 2801994.6126 | 1131180.6166
30 | 2801983.6794 | 1131211.7948 | 2801994.6126 | 1131180.6166
31 | 2802173.5052 | 1131058.3573 | 2802158.0837 | 1131094.1567 | 2802122.0226 | 1131132.1128 | 2802125.7899 | 1131180.0998
32 | 2802364.7275 | 1131269.8855 | 2802353.6071 | 1131281.0583 | 2802330.7756 | 1131295.9541 | 2802311.3577 | 1131307.6721 | 2802291.2816 | 1131314.4185 | 2802279.9961 | 1131330.5244 | 2802265.4544 | 1131344.8862 | 2802244.2711 | 1131359.8376 | 2802217.0957 | 1131356.4473 | 2802209.3022 | 1131342.1718 | 2802204.2912 | 1131318.9245 | 2802218.0636 | 1131302.9018 | 2802202.5285 | 1131297.4321 | 2802175.6004 | 1131286.6426 | 2802145.6096 | 1131268.3208 | 2802119.6432 | 1131253.4372 | 2802118.0277 | 1131226.8444 | 2802125.7899 | 1131180.0998
33 | 2802173.5052 | 1131058.3573 | 2802133.2745 | 1131068.4005 | 2802141.9781 | 1131055.5003 | 2802134.6436 | 1131036.0126
34 | 2802134.6436 | 1131036.0126 | 2802125.6265 | 1131052.0612 | 2802121.265 | 1131057.7658 | 2802115.3777 | 1131064.1423 | 2802104.0933 | 1131073.3079 | 2802095.0502 | 1131079.7679 | 2802093.174 | 1131083.5425 | 2802092.9862 | 1131087.5404 | 2802095.2229 | 1131091.8863 | 2802098.7112 | 1131094.539 | 2802102.1816 | 1131094.8341
35 | 2802498.576 | 1131248.9783 | 2802503.4741 | 1131250.4995 | 2802533.3659 | 1131263.3063
36 | 2802498.576 | 1131248.9783 | 2802498.576 | 1131248.9783 | 2802492.9727 | 1131248.2566 | 2802486.3997 | 1131248.6369 | 2802480.8032 | 1131250.24 | 2802469.189 | 1131254.9782 | 2802464.1364 | 1131256.455 | 2802460.3291 | 1131256.4275 | 2802460.3291 | 1131256.4275
37 | 2802537.3381 | 1131087.9978 | 2802518.202 | 1131104.385 | 2802482.7241 | 1131138.2099 | 2802476.8152 | 1131145.4529 | 2802472.6769 | 1131152.7663 | 2802456.7191 | 1131185.8887 | 2802453.9041 | 1131196.5055 | 2802450.0134 | 1131241.055 | 2802450.5991 | 1131246.5803 | 2802452.7914 | 1131251.7814 | 2802456.5032 | 1131254.8867 | 2802460.3291 | 1131256.4275
38 | 2802537.3381 | 1131087.9978 | 2802404.4356 | 1131141.0694 | 2802364.7275 | 1131269.8855
39 | 2802537.3381 | 1131087.9978 | 2802553.5954 | 1131074.2392 | 2802558.8296 | 1131067.3518 | 2802562.0052 | 1131060.4732 | 2802574.55 | 1131011.9096 | 2802577.81 | 1130995.3905 | 2802579.613 | 1130980.2462 | 2802582.43 | 1130939.6983 | 2802583.3587 | 1130931.7767 | 2802583.8126 | 1130925.5966 | 2802585.9297 | 1130917.8706 | 2802587.9778 | 1130913.5792 | 2802590.7716 | 1130911.1925 | 2802593.4125 | 1130910.6026 | 2802597.5708 | 1130910.9757 | 2802613.3345 | 1130913.3285 | 2802620.7495 | 1130914.2891 | 2802636.8704 | 1130914.0402 | 2802647.0086 | 1130914.258 | 2802650.857 | 1130913.0635 | 2802653.333 | 1130910.4993 | 2802654.6326 | 1130906.4609 | 2802654.235 | 1130902.4545 | 2802652.6084 | 1130899.0075 | 2802656.7769 | 1130844.1567 | 2802652.7766 | 1130755.8862 | 2802655.4482 | 1130730.0265 | 2802691.869 | 1130673.9443 | 2802696.8638 | 1130666.3928
40 | 2802364.7275 | 1131269.8855 | 2802355.5349 | 1131297.6067 | 2802334.9067 | 1131320.8294 | 2802320.9133 | 1131343.4402 | 2802301.0543 | 1131368.335 | 2802282.8513 | 1131393.2741 | 2802258.3171 | 1131409.7705 | 2802230.9687 | 1131411.3239 | 2802206.5482 | 1131399.7952 | 2802198.8927 | 1131381.3978 | 2802174.5197 | 1131368.2135 | 2802145.8539 | 1131359.8352 | 2802112.7852 | 1131359.5516 | 2802089.8746 | 1131352.1893 | 2802071.9146 | 1131345.0037 | 2802042.3422 | 1131339.0648 | 2802041.8162 | 1131379.4448 | 2802035.0694 | 1131408.0713 | 2802012.3098 | 1131439.1081
41 | 2802696.8638 | 1130666.3928 | 2802684.7384 | 1130671.3915 | 2802630.7283 | 1130729.1972 | 2802619.6453 | 1130744.4974 | 2802619.1666 | 1130766.5821 | 2802599.2325 | 1130830.4029 | 2802591.7618 | 1130830.4082 | 2802587.0697 | 1130824.3446 | 2802582.2757 | 1130805.6868 | 2802582.372 | 1130802.8149
42 | 2802582.8439 | 1130788.7437 | 2802582.372 | 1130802.8149
43 | 2802514.9525 | 1130620.6945 | 2802466.2791 | 1130674.1202 | 2802457.7853 | 1130686.9381 | 2802454.3203 | 1130698.7499
44 | 2802528.8911 | 1130587.8271 | 2802514.9525 | 1130620.6945
45 | 2802202.6584 | 1130943.5239 | 2802249.0762 | 1130949.9608 | 2802322.7192 | 1130899.661 | 2802397.7196 | 1130833.7357 | 2802422.9463 | 1130796.6526 | 2802428.8022 | 1130776.7391 | 2802437.8175 | 1130757.0982 | 2802448.7879 | 1130741.6939 | 2802451.3878 | 1130708.7466 | 2802454.3203 | 1130698.7499
46 | 2802083.4774 | 1130869.6628 | 2802106.4914 | 1130865.9281 | 2802117.6149 | 1130862.2738 | 2802162.6344 | 1130845.7839 | 2802179.0546 | 1130841.4284 | 2802213.423 | 1130834.2925 | 2802229.6439 | 1130829.2185 | 2802256.7043 | 1130813.3182 | 2802267.6693 | 1130806.578 | 2802278.7666 | 1130796.1161 | 2802299.2179 | 1130768.5494 | 2802311.4973 | 1130746.5039 | 2802316.4346 | 1130731.6759 | 2802318.6807 | 1130714.5666 | 2802318.1136 | 1130692.1354 | 2802318.23 | 1130680.605 | 2802319.4054 | 1130675.2054 | 2802322.3499 | 1130671.0774 | 2802329.8431 | 1130665.1108 | 2802337.4108 | 1130660.3702 | 2802339.6723 | 1130657.5318 | 2802341.1194 | 1130652.9977 | 2802340.6322 | 1130649.589 | 2802339.4294 | 1130647.2908 | 2802337.1157 | 1130645.2446
47 | 2802406.9182 | 1130408.2673 | 2802406.9182 | 1130408.2673 | 2802405.2907 | 1130404.3754 | 2802404.7669 | 1130400.2202 | 2802404.9827 | 1130395.3891 | 2802406.9602 | 1130387.2245 | 2802407.1872 | 1130384.3625 | 2802407.2279 | 1130381.1554
48 | 2802406.9182 | 1130408.2673 | 2802411.2272 | 1130414.5069 | 2802422.1882 | 1130432.0699 | 2802425.1 | 1130439.5084 | 2802426.6243 | 1130445.7882 | 2802427.256 | 1130450.403 | 2802426.8331 | 1130453.5922 | 2802425.2703 | 1130457.4328 | 2802419.9872 | 1130463.9294 | 2802406.0169 | 1130477.9652 | 2802389.7231 | 1130495.5382 | 2802379.441 | 1130504.6591 | 2802371.121 | 1130509.9862 | 2802364.8232 | 1130515.014 | 2802360.51 | 1130519.719 | 2802357.941 | 1130522.992 | 2802356.2502 | 1130526.2833 | 2802355.1577 | 1130530.1285 | 2802354.9519 | 1130535.3493 | 2802354.2841 | 1130551.1434 | 2802346.2519 | 1130595.1683
49 | 2802407.3142 | 1130374.3499 | 2802407.2279 | 1130381.1554
50 | 2802337.1157 | 1130645.2446 | 2802346.2519 | 1130595.1683
51 | 2802407.3142 | 1130374.3499 | 2802274.131 | 1130200.8937
52 | 2802338.3737 | 1130149.3928 | 2802331.2402 | 1130167.1615 | 2802295.2713 | 1130186.2892 | 2802274.131 | 1130200.8937

## bus_geodata
| x | y | coords
0 | 2801846.9976 | 1130715.4262
1 | 2801750.9766 | 1130796.1832
2 | 2801845.6255 | 1130709.6522
3 | 2801980.1578 | 1130570.9085
4 | 2801938.6352 | 1130545.1645
5 | 2802083.1694 | 1130231.0442
6 | 2801864.0773 | 1130652.3531
7 | 2801830.7771 | 1130713.5726
8 | 2801776.161 | 1131175.4171
9 | 2801588.5098 | 1131331.5753
10 | 2801760.7137 | 1131192.2751
11 | 2801726.2873 | 1130863.2402
12 | 2801732.5346 | 1130890.6344
13 | 2801696.2564 | 1130931.4425
14 | 2801683.4737 | 1130934.7302
15 | 2801680.9788 | 1130935.3718
16 | 2801658.429 | 1130931.1583
17 | 2801652.6894 | 1130924.4442
18 | 2801647.9696 | 1130918.9231
19 | 2801635.9604 | 1130902.9403
20 | 2801635.7537 | 1130902.6178
21 | 2801584.3307 | 1130826.8905
22 | 2801579.3211 | 1130753.6142
23 | 2801623.5908 | 1130742.0579
24 | 2801677.4711 | 1130709.522
25 | 2801995.7612 | 1131044.6136
26 | 2802135.3158 | 1130950.5017
27 | 2801994.6126 | 1131180.6166
28 | 2802125.7899 | 1131180.0998
29 | 2801983.6794 | 1131211.7948
30 | 2802173.5052 | 1131058.3573
31 | 2802134.6436 | 1131036.0126
32 | 2802102.1816 | 1131094.8341
33 | 2802498.576 | 1131248.9783
34 | 2802533.3659 | 1131263.3063
35 | 2802460.3291 | 1131256.4275
36 | 2802537.3381 | 1131087.9978
37 | 2802364.7275 | 1131269.8855
38 | 2802696.8638 | 1130666.3928
39 | 2802012.3098 | 1131439.1081
40 | 2802582.372 | 1130802.8149
41 | 2802514.9525 | 1130620.6945
42 | 2802454.3203 | 1130698.7499
43 | 2802528.8911 | 1130587.8271
44 | 2802202.6584 | 1130943.5239
45 | 2802083.4774 | 1130869.6628
46 | 2802582.8439 | 1130788.7437
47 | 2802406.9182 | 1130408.2673
48 | 2802407.2279 | 1130381.1554
49 | 2802346.2519 | 1130595.1683
50 | 2802407.3142 | 1130374.3499
51 | 2802337.1157 | 1130645.2446
52 | 2802274.131 | 1130200.8937
53 | 2802338.3737 | 1130149.3928
54 | 2802083.4774 | 1130869.6628

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1