## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3561-29_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3561-29_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3561-29_0_3_node_12 | 0.4 | n |  | TRUE
3 | bus_LV_3561-29_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3561-29_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3561-29_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_3561-29_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3561-29_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3561-29_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3561-29_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3561-29_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_3561-29_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3561-29_0_3_node_73 | 0.4 | n |  | TRUE
13 | bus_LV_3561-29_0_3_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_3561-29_0_3_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_3561-29_0_3_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_3561-29_0_3_node_55 | 0.4 | n |  | TRUE
17 | bus_LV_3561-29_0_3_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_3561-29_0_3_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_3561-29_0_3_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_3561-29_0_3_node_95 | 0.4 | n |  | TRUE
21 | bus_LV_3561-29_0_3_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_3561-29_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_3561-29_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3561-29_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_3561-29_0_3_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_3561-29_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_3561-29_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_3561-29_0_3_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_3561-29_0_3_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_3561-29_0_3_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_3561-29_0_3_node_94 | 0.4 | n |  | TRUE
32 | bus_LV_3561-29_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_3561-29_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_3561-29_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_3561-29_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_3561-29_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3561-29_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_3561-29_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_3561-29_0_3_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_3561-29_0_3_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_3561-29_0_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_3561-29_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_3561-29_0_3_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_3561-29_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_3561-29_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_3561-29_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_3561-29_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_3561-29_0_3_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_3561-29_0_3_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_3561-29_0_3_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_3561-29_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_3561-29_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_3561-29_0_3_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_3561-29_0_3_node_85 | 0.4 | n |  | TRUE
55 | bus_LV_3561-29_0_3_node_92 | 0.4 | n |  | TRUE
56 | bus_LV_3561-29_0_3_node_86 | 0.4 | n |  | TRUE
57 | bus_LV_3561-29_0_3_node_87 | 0.4 | n |  | TRUE
58 | bus_LV_3561-29_0_3_node_84 | 0.4 | n |  | TRUE
59 | bus_LV_3561-29_0_3_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_3561-29_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_3561-29_0_3_node_91 | 0.4 | n |  | TRUE
62 | bus_LV_3561-29_0_3_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_3561-29_0_3_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_3561-29_0_3_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_3561-29_0_3_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_3561-29_0_3_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_3561-29_0_3_node_90 | 0.4 | n |  | TRUE
68 | bus_LV_3561-29_0_3_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_3561-29_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_3561-29_0_3_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_3561-29_0_3_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_3561-29_0_3_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_3561-29_0_3_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_3561-29_0_3_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_3561-29_0_3_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_3561-29_0_3_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_3561-29_0_3_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_3561-29_0_3_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_3561-29_0_3_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_3561-29_0_3_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_3561-29_0_3_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_3561-29_0_3_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_3561-29_0_3_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_3561-29_0_3_node_82 | 0.4 | n |  | TRUE
85 | bus_MV_160_0_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3561-29_0_3_load_0 | 0 | 0.0042239 | 0.0010586 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3561-29_0_3_load_12 | 2 | 0.0084903 | 0.0021279 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3561-29_0_3_load_2 | 3 | 0.0038068 | 0.00095406 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3561-29_0_3_load_3 | 4 | 0.0040624 | 0.0010181 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3561-29_0_3_load_13 | 5 | 0.0003941 | 9.8771e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3561-29_0_3_load_4 | 6 | 0.010564 | 0.0026476 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3561-29_0_3_load_7 | 8 | 0.0043529 | 0.0010909 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3561-29_0_3_load_11 | 10 | 0.0042453 | 0.001064 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3561-29_0_3_load_8 | 11 | 0.0031297 | 0.00078439 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3561-29_0_3_load_73 | 12 | 0.0046309 | 0.0011606 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3561-29_0_3_load_66 | 13 | 0.0077416 | 0.0019402 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3561-29_0_3_load_57 | 14 | 0.0018811 | 0.00047146 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3561-29_0_3_load_55 | 16 | 0.0025582 | 0.00064115 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3561-29_0_3_load_56 | 17 | 0.0023996 | 0.0006014 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3561-29_0_3_load_61 | 18 | 0.0042628 | 0.0010684 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3561-29_0_3_load_63 | 19 | 0.0022703 | 0.00056899 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3561-29_0_3_load_95 | 20 | 0.0016572 | 0.00041534 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3561-29_0_3_load_67 | 21 | 0.0061875 | 0.0015507 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3561-29_0_3_load_15 | 22 | 0.00064965 | 0.00016282 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3561-29_0_3_load_27 | 25 | 0.0064317 | 0.0016119 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3561-29_0_3_load_17 | 26 | 0.00079724 | 0.00019981 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3561-29_0_3_load_62 | 28 | 0.00076998 | 0.00019297 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3561-29_0_3_load_51 | 29 | 0.00019979 | 5.0072e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3561-29_0_3_load_50 | 30 | 0.00083478 | 0.00020922 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3561-29_0_3_load_94 | 31 | 0.00079083 | 0.0001982 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3561-29_0_3_load_23 | 33 | 0.00074163 | 0.00018587 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3561-29_0_3_load_28 | 35 | 0.00105 | 0.00026317 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3561-29_0_3_load_35 | 38 | 0.0020199 | 0.00050623 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3561-29_0_3_load_53 | 39 | 0.0031243 | 0.00078302 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3561-29_0_3_load_39 | 41 | 0.0018251 | 0.0004574 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3561-29_0_3_load_34 | 42 | 0.00040686 | 0.00010197 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3561-29_0_3_load_54 | 43 | 0.0020776 | 0.00052071 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3561-29_0_3_load_29 | 44 | 0.00068085 | 0.00017064 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3561-29_0_3_load_30 | 45 | 0.00022552 | 5.6522e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3561-29_0_3_load_31 | 46 | 0.0002134 | 5.3482e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3561-29_0_3_load_48 | 49 | 0.00055122 | 0.00013815 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3561-29_0_3_load_47 | 50 | 0.00018732 | 4.6947e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3561-29_0_3_load_36 | 51 | 0.0038102 | 0.00095494 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3561-29_0_3_load_89 | 53 | 0.0022936 | 0.00057483 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3561-29_0_3_load_92 | 55 | 0.0027843 | 0.00069782 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3561-29_0_3_load_86 | 56 | 0.0048667 | 0.0012197 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3561-29_0_3_load_87 | 57 | 0.0060739 | 0.0015223 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3561-29_0_3_load_84 | 58 | 0.0042264 | 0.0010592 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3561-29_0_3_load_52 | 59 | 0.0007704 | 0.00019308 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3561-29_0_3_load_44 | 60 | 0.0002078 | 5.2081e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3561-29_0_3_load_42 | 62 | 0.00076331 | 0.0001913 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3561-29_0_3_load_41 | 63 | 0.00073088 | 0.00018318 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3561-29_0_3_load_45 | 65 | 0.00047717 | 0.00011959 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3561-29_0_3_load_46 | 66 | 0.00034103 | 8.547e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3561-29_0_3_load_90 | 67 | 0.0030233 | 0.00075771 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3561-29_0_3_load_59 | 69 | 0.0011098 | 0.00027814 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3561-29_0_3_load_60 | 70 | 0.0035738 | 0.00089567 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3561-29_0_3_load_68 | 71 | 0.0069151 | 0.0017331 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3561-29_0_3_load_69 | 72 | 0.0039229 | 0.00098316 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3561-29_0_3_load_70 | 73 | 0.0036353 | 0.0009111 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3561-29_0_3_load_71 | 74 | 0.0069378 | 0.0017388 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3561-29_0_3_load_72 | 75 | 0.005197 | 0.0013025 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3561-29_0_3_load_75 | 76 | 0.0041527 | 0.0010408 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3561-29_0_3_load_76 | 77 | 0.0023545 | 0.0005901 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3561-29_0_3_load_77 | 78 | 0.0045141 | 0.0011313 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3561-29_0_3_load_79 | 79 | 0.00085625 | 0.0002146 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3561-29_0_3_load_78 | 80 | 0.0020422 | 0.00051183 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3561-29_0_3_load_80 | 81 | 0.0027648 | 0.00069293 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3561-29_0_3_load_88 | 82 | 0.0034924 | 0.00087529 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3561-29_0_3_load_81 | 83 | 0.0038488 | 0.0009646 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3561-29_0_3_load_82 | 84 | 0.0028336 | 0.00071017 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 76 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3561-29_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.032054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3561-29_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.19274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3561-29_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0030081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3561-29_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.01872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3561-29_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.010699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3561-29_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.032135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3561-29_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.096627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3561-29_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.043368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3561-29_0_3_line_8 | NAYY 4x150 SE | 8 | 12 | 0.048508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3561-29_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.022865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3561-29_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.036272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3561-29_0_3_line_11 | NAYY 4x150 SE | 10 | 13 | 0.014261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3561-29_0_3_line_12 | NAYY 4x150 SE | 11 | 14 | 0.19467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3561-29_0_3_line_13 | NAYY 4x150 SE | 12 | 15 | 0.010599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3561-29_0_3_line_14 | NAYY 4x150 SE | 13 | 21 | 0.025835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3561-29_0_3_line_15 | NAYY 4x150 SE | 14 | 18 | 0.16106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3561-29_0_3_line_16 | NAYY 4x150 SE | 14 | 17 | 0.0044417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3561-29_0_3_line_17 | NAYY 4x150 SE | 15 | 76 | 0.019356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_3561-29_0_3_line_18 | NAYY 4x150 SE | 15 | 77 | 0.036638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3561-29_0_3_line_19 | NAYY 4x150 SE | 15 | 75 | 0.0126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3561-29_0_3_line_20 | NAYY 4x150 SE | 16 | 17 | 0.032433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3561-29_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.11685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3561-29_0_3_line_22 | NAYY 4x150 SE | 18 | 28 | 0.061186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3561-29_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.1574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3561-29_0_3_line_24 | NAYY 4x150 SE | 20 | 31 | 0.15431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3561-29_0_3_line_25 | NAYY 4x150 SE | 21 | 71 | 0.024335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3561-29_0_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.05221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3561-29_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.13506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3561-29_0_3_line_28 | NAYY 4x150 SE | 24 | 25 | 0.037215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3561-29_0_3_line_29 | NAYY 4x150 SE | 25 | 32 | 0.088785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3561-29_0_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.043513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3561-29_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.14047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3561-29_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.10968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3561-29_0_3_line_33 | NAYY 4x150 SE | 30 | 66 | 0.020024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3561-29_0_3_line_34 | NAYY 4x150 SE | 32 | 35 | 0.045511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3561-29_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.1337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3561-29_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.12499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3561-29_0_3_line_37 | NAYY 4x150 SE | 35 | 39 | 0.12956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3561-29_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.017597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3561-29_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.066679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3561-29_0_3_line_40 | NAYY 4x150 SE | 37 | 40 | 0.090054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3561-29_0_3_line_41 | NAYY 4x150 SE | 37 | 41 | 0.044891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3561-29_0_3_line_42 | NAYY 4x150 SE | 38 | 42 | 0.055321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3561-29_0_3_line_43 | NAYY 4x150 SE | 39 | 43 | 0.059532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3561-29_0_3_line_44 | NAYY 4x150 SE | 40 | 59 | 0.028513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3561-29_0_3_line_45 | NAYY 4x150 SE | 40 | 60 | 0.033284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3561-29_0_3_line_46 | NAYY 4x150 SE | 43 | 68 | 0.034052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3561-29_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0031059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3561-29_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.011557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3561-29_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.13133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3561-29_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.19217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3561-29_0_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.039245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3561-29_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.012625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3561-29_0_3_line_53 | NAYY 4x150 SE | 50 | 65 | 0.0050115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3561-29_0_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.025514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3561-29_0_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.055623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3561-29_0_3_line_56 | NAYY 4x150 SE | 52 | 54 | 0.015523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3561-29_0_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.039523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3561-29_0_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.030137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3561-29_0_3_line_59 | NAYY 4x150 SE | 54 | 57 | 0.018169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3561-29_0_3_line_60 | NAYY 4x150 SE | 54 | 58 | 0.016357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3561-29_0_3_line_61 | NAYY 4x150 SE | 55 | 61 | 0.013592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3561-29_0_3_line_62 | NAYY 4x150 SE | 56 | 82 | 0.003816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3561-29_0_3_line_63 | NAYY 4x150 SE | 57 | 69 | 0.014362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3561-29_0_3_line_64 | NAYY 4x150 SE | 58 | 68 | 0.023646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3561-29_0_3_line_65 | NAYY 4x150 SE | 59 | 61 | 0.0081828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3561-29_0_3_line_66 | NAYY 4x150 SE | 60 | 62 | 0.028888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3561-29_0_3_line_67 | NAYY 4x150 SE | 61 | 67 | 0.037853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3561-29_0_3_line_68 | NAYY 4x150 SE | 62 | 63 | 0.019241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3561-29_0_3_line_69 | NAYY 4x150 SE | 63 | 64 | 0.024968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3561-29_0_3_line_70 | NAYY 4x150 SE | 64 | 65 | 0.012132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3561-29_0_3_line_71 | NAYY 4x150 SE | 64 | 66 | 0.020033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3561-29_0_3_line_72 | NAYY 4x150 SE | 67 | 70 | 0.048825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3561-29_0_3_line_73 | NAYY 4x150 SE | 71 | 72 | 0.013959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3561-29_0_3_line_74 | NAYY 4x150 SE | 72 | 73 | 0.013564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3561-29_0_3_line_75 | NAYY 4x150 SE | 73 | 74 | 0.02179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3561-29_0_3_line_76 | NAYY 4x150 SE | 74 | 75 | 0.04273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3561-29_0_3_line_77 | NAYY 4x150 SE | 76 | 78 | 0.022951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3561-29_0_3_line_78 | NAYY 4x150 SE | 77 | 79 | 0.0087147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3561-29_0_3_line_79 | NAYY 4x150 SE | 78 | 80 | 0.01537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3561-29_0_3_line_80 | NAYY 4x150 SE | 79 | 81 | 0.0074232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3561-29_0_3_line_81 | NAYY 4x150 SE | 80 | 82 | 0.014233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3561-29_0_3_line_82 | NAYY 4x150 SE | 81 | 83 | 0.015044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3561-29_0_3_line_83 | NAYY 4x150 SE | 83 | 84 | 0.0077223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3561-29_0_3_trafo_75 | 0.25 MVA 20/0.4 kV | 85 | 76 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2802225.538 | 1133258.0413 | 2802212.507 | 1133228.7552
1 | 2802212.507 | 1133228.7552 | 2802098.0978 | 1133073.6427
2 | 2802225.538 | 1133258.0413 | 2802227.6779 | 1133255.9272
3 | 2802225.538 | 1133258.0413 | 2802212.3432 | 1133271.3204
4 | 2802098.0978 | 1133073.6427 | 2802104.9762 | 1133065.4473
5 | 2802248.7629 | 1133231.7341 | 2802235.11 | 1133248.585 | 2802227.6779 | 1133255.9272
6 | 2802317.5478 | 1133165.0013 | 2802306.6291 | 1133181.0637 | 2802277.5714 | 1133206.9626 | 2802256.4125 | 1133222.2927 | 2802248.7629 | 1133231.7341
7 | 2802317.5478 | 1133165.0013 | 2802331.6276 | 1133150.9691 | 2802350.9057 | 1133137.5485
8 | 2802350.9057 | 1133137.5485 | 2802352.435 | 1133136.4839 | 2802369.2567 | 1133125.4912 | 2802377.0112 | 1133123.3708 | 2802385.7604 | 1133122.841 | 2802395.2762 | 1133124.9423
9 | 2802304.3435 | 1133284.239 | 2802322.0142 | 1133269.7289
10 | 2802304.3435 | 1133284.239 | 2802276.3722 | 1133307.3309
11 | 2802322.0142 | 1133269.7289 | 2802332.1421 | 1133261.4124 | 2802332.9421 | 1133260.5782
12 | 2802276.3722 | 1133307.3309 | 2802397.3598 | 1133459.8359
13 | 2802405.6365 | 1133127.1777 | 2802396.5085 | 1133125.2145 | 2802395.2762 | 1133124.9423
14 | 2802332.9421 | 1133260.5782 | 2802350.1332 | 1133242.6507 | 2802350.458 | 1133241.7076
15 | 2802552.9418 | 1133501.4926 | 2802397.3598 | 1133459.8359
16 | 2802397.3598 | 1133459.8359 | 2802397.3598 | 1133459.8359 | 2802394.4484 | 1133463.1903
17 | 2802405.6365 | 1133127.1777 | 2802422.1828 | 1133137.2222
18 | 2802405.6365 | 1133127.1777 | 2802431.5944 | 1133101.3222
19 | 2802405.6365 | 1133127.1777 | 2802397.4715 | 1133136.7737
20 | 2802371.1994 | 1133485.5776 | 2802380.6007 | 1133478.6387 | 2802388.3262 | 1133470.2442 | 2802394.4484 | 1133463.1903
21 | 2802552.9418 | 1133501.4926 | 2802554.6687 | 1133508.6232 | 2802555.1848 | 1133513.2231 | 2802554.2694 | 1133517.9974 | 2802553.0383 | 1133521.849 | 2802539.2674 | 1133552.4083 | 2802525.0477 | 1133584.176 | 2802523.4716 | 1133590.0404 | 2802523.2655 | 1133594.3491 | 2802524.2412 | 1133597.6519 | 2802526.1569 | 1133599.3512 | 2802528.5078 | 1133600.2531 | 2802532.4524 | 1133599.8182 | 2802535.3105 | 1133598.2345 | 2802536.1875 | 1133597.0001
22 | 2802552.9418 | 1133501.4926 | 2802551.1491 | 1133494.0901 | 2802550.6806 | 1133487.6121 | 2802551.2231 | 1133482.9254 | 2802552.5648 | 1133478.766 | 2802555.1326 | 1133473.8914 | 2802557.5925 | 1133470.626 | 2802563.8886 | 1133465.5651 | 2802575.703 | 1133458.8763 | 2802581.495 | 1133455.4422
23 | 2802536.1875 | 1133597.0001 | 2802689.5978 | 1133632.2199
24 | 2802689.5978 | 1133632.2199 | 2802840.252 | 1133598.8393
25 | 2802350.458 | 1133241.7076 | 2802358.3826 | 1133218.6995
26 | 2802580.7446 | 1132637.389 | 2802573.5697 | 1132636.4587 | 2802569.1588 | 1132636.9892 | 2802565.6663 | 1132638.1734 | 2802560.8317 | 1132641.2257 | 2802547.4409 | 1132652.5888 | 2802536.2944 | 1132660.3192
27 | 2802580.7446 | 1132637.389 | 2802570.1353 | 1132660.4909 | 2802560.663 | 1132682.7856 | 2802559.1764 | 1132688.9644 | 2802559.394 | 1132695.345 | 2802561.3548 | 1132703.5193 | 2802572.9827 | 1132733.9073 | 2802574.0673 | 1132738.7931 | 2802573.9121 | 1132743.6486 | 2802573.1657 | 1132747.75 | 2802571.6308 | 1132751.6916 | 2802566.8164 | 1132758.7376 | 2802563.4348 | 1132762.3614
28 | 2802563.4348 | 1132762.3614 | 2802559.1659 | 1132766.9342 | 2802538.1561 | 1132789.6731
29 | 2802506.2764 | 1132868.1787 | 2802505.5726 | 1132853.7735 | 2802505.6684 | 1132846.0909 | 2802506.3741 | 1132839.2964 | 2802507.6788 | 1132833.256 | 2802510.104 | 1132827.3533 | 2802513.3443 | 1132820.5882 | 2802517.8193 | 1132813.0858 | 2802522.8823 | 1132806.2038 | 2802538.1561 | 1132789.6731
30 | 2802720.9796 | 1133438.8707 | 2802751.6993 | 1133408.0543
31 | 2802581.495 | 1133455.4422 | 2802720.9796 | 1133438.8707
32 | 2802725.2836 | 1133048.6973 | 2802728.4493 | 1133094.0505 | 2802733.1594 | 1133150.2448 | 2802734.4724 | 1133157.9636
33 | 2802723.8893 | 1133028.7217 | 2802725.2836 | 1133048.6973
34 | 2802506.2764 | 1132868.1787 | 2802510.3089 | 1132913.5105
35 | 2802506.2764 | 1132868.1787 | 2802561.1789 | 1132859.0199 | 2802577.7367 | 1132854.7815 | 2802613.9679 | 1132843.028 | 2802619.0904 | 1132840.8085 | 2802627.4113 | 1132836.7498 | 2802634.4088 | 1132832.1685
36 | 2802634.4088 | 1132832.1685 | 2802629.4563 | 1132821.5136 | 2802627.1158 | 1132809.9564 | 2802623.8875 | 1132797.7577 | 2802620.6688 | 1132785.2702 | 2802613.2188 | 1132772.3292 | 2802608.9884 | 1132763.1222 | 2802603.9025 | 1132752.0736 | 2802604.1556 | 1132744.5297 | 2802608.5616 | 1132739.55 | 2802616.001 | 1132734.6609 | 2802627.3844 | 1132729.6039 | 2802629.5987 | 1132727.3621
37 | 2802510.3089 | 1132913.5105 | 2802511.403 | 1132925.8105 | 2802510.3219 | 1132954.3708 | 2802507.0296 | 1132967.285 | 2802488.0348 | 1133008.1246 | 2802487.0017 | 1133018.4785 | 2802491.7979 | 1133037.0141 | 2802492.0333 | 1133037.6815
38 | 2802628.8752 | 1132969.048 | 2802632.6373 | 1132986.2364
39 | 2802628.8752 | 1132969.048 | 2802625.0128 | 1132970.0084 | 2802623.3041 | 1132971.3191 | 2802622.2444 | 1132974.4202 | 2802616.2387 | 1133000.6684 | 2802614.2721 | 1133006.453 | 2802604.5587 | 1133012.5115 | 2802591.9484 | 1133010.4112
40 | 2802637.1209 | 1133072.6324 | 2802632.6251 | 1133061.926 | 2802632.2156 | 1133058.7423 | 2802632.5345 | 1133056.8177 | 2802639.5628 | 1133041.2037 | 2802640.9968 | 1133036.1354 | 2802641.6476 | 1133031.4412 | 2802641.2568 | 1133025.6331 | 2802632.6373 | 1132986.2364
41 | 2802632.6373 | 1132986.2364 | 2802638.0233 | 1132986.495 | 2802641.4055 | 1132986.2971 | 2802644.672 | 1132985.1832 | 2802648.8163 | 1132982.9421 | 2802652.932 | 1132979.4875 | 2802656.3522 | 1132977.0107 | 2802658.0438 | 1132975.9775 | 2802658.8954 | 1132975.1719 | 2802661.4306 | 1132973.3439 | 2802665.6802 | 1132970.4945 | 2802667.7434 | 1132968.4949 | 2802669.7387 | 1132964.9334
42 | 2802548.2062 | 1133019.5032 | 2802548.3188 | 1133019.078 | 2802551.5241 | 1133009.9092 | 2802554.7774 | 1133005.28 | 2802563.7915 | 1133001.4559 | 2802571.4261 | 1133002.9133 | 2802587.4991 | 1133009.6701 | 2802591.9484 | 1133010.4112
43 | 2802492.0333 | 1133037.6815 | 2802496.6256 | 1133050.7012 | 2802497.8512 | 1133061.9539 | 2802493.7907 | 1133084.2189 | 2802491.7523 | 1133095.8161
44 | 2802637.1209 | 1133072.6324 | 2802622.0687 | 1133090.8134 | 2802618.8718 | 1133094.5391
45 | 2802637.1209 | 1133072.6324 | 2802660.1893 | 1133048.6389
46 | 2802482.8164 | 1133128.1192 | 2802487.2099 | 1133121.6597 | 2802491.7523 | 1133095.8161
47 | 2802969.5847 | 1132766.5721 | 2802966.7014 | 1132767.7266
48 | 2802955.9725 | 1132772.0225 | 2802966.7014 | 1132767.7266
49 | 2802840.1153 | 1132829.3649 | 2802852.0107 | 1132816.6397 | 2802872.6843 | 1132801.8514 | 2802935.4594 | 1132780.236 | 2802955.9725 | 1132772.0225
50 | 2802840.1153 | 1132829.3649 | 2802822.4685 | 1132823.8003 | 2802808.3018 | 1132829.1194 | 2802791.7191 | 1132835.9257 | 2802782.254 | 1132843.0712 | 2802767.9619 | 1132856.7171 | 2802768.6305 | 1132888.2168 | 2802768.7086 | 1132926.971 | 2802764.0448 | 1132965.5659
51 | 2802764.0448 | 1132965.5659 | 2802760.4296 | 1132984.8648 | 2802743.4142 | 1132994.6133
52 | 2802732.0684 | 1133000.0608 | 2802737.524 | 1132997.9879 | 2802743.4142 | 1132994.6133
53 | 2802727.3836 | 1133001.8407 | 2802732.0684 | 1133000.0608
54 | 2802517.4411 | 1133151.1143 | 2802523.2605 | 1133137.5284 | 2802526.4047 | 1133127.2652
55 | 2802517.4411 | 1133151.1143 | 2802540.1413 | 1133139.7186 | 2802559.3685 | 1133129.3966 | 2802566.4585 | 1133124.8906
56 | 2802504.9394 | 1133160.3606 | 2802517.4411 | 1133151.1143
57 | 2802566.4585 | 1133124.8906 | 2802587.6455 | 1133111.4255 | 2802600.9768 | 1133105.9297
58 | 2802504.9394 | 1133160.3606 | 2802484.901 | 1133157.4196 | 2802475.1909 | 1133155.5742
59 | 2802504.9394 | 1133160.3606 | 2802503.5197 | 1133165.6964 | 2802500.0325 | 1133172.4755 | 2802497.0876 | 1133176.5458
60 | 2802504.9394 | 1133160.3606 | 2802498.3876 | 1133155.803 | 2802495.1496 | 1133152.6246 | 2802493.092 | 1133149.3837
61 | 2802613.5432 | 1133100.7491 | 2802600.9768 | 1133105.9297
62 | 2802471.4421 | 1133154.8618 | 2802475.1909 | 1133155.5742
63 | 2802497.0876 | 1133176.5458 | 2802488.6691 | 1133188.1815
64 | 2802482.8164 | 1133128.1192 | 2802491.1017 | 1133146.249 | 2802493.092 | 1133149.3837
65 | 2802613.5432 | 1133100.7491 | 2802618.8718 | 1133094.5391
66 | 2802680.6235 | 1133028.2431 | 2802680.3826 | 1133028.4145 | 2802674.2289 | 1133034.0363 | 2802660.1893 | 1133048.6389
67 | 2802613.5432 | 1133100.7491 | 2802605.5478 | 1133110.0463 | 2802590.1472 | 1133130.4846
68 | 2802696.301 | 1133017.0876 | 2802680.6235 | 1133028.2431
69 | 2802718.4831 | 1133010.0842 | 2802716.4239 | 1133008.9806 | 2802712.7013 | 1133008.2995 | 2802708.4771 | 1133009.2477 | 2802704.5499 | 1133011.2181 | 2802696.301 | 1133017.0876
70 | 2802718.4831 | 1133010.0842 | 2802727.3836 | 1133001.8407 | 2802727.3836 | 1133001.8407
71 | 2802718.4831 | 1133010.0842 | 2802720.7374 | 1133012.262 | 2802722.2438 | 1133015.8274 | 2802723.3653 | 1133021.2151 | 2802723.8893 | 1133028.7217
72 | 2802557.5768 | 1133165.938 | 2802571.5798 | 1133156.3784 | 2802581.3186 | 1133142.2011 | 2802590.1472 | 1133130.4846
73 | 2802361.8712 | 1133205.1885 | 2802358.8325 | 1133217.3934 | 2802358.3826 | 1133218.6995
74 | 2802361.8712 | 1133205.1885 | 2802365.0393 | 1133192.4642 | 2802365.2072 | 1133192.0449
75 | 2802365.2072 | 1133192.0449 | 2802373.3055 | 1133171.8162
76 | 2802373.3055 | 1133171.8162 | 2802374.7366 | 1133168.2414 | 2802389.3588 | 1133146.3081 | 2802397.4715 | 1133136.7737
77 | 2802422.1828 | 1133137.2222 | 2802427.9777 | 1133140.74 | 2802443.2256 | 1133146.1283
78 | 2802431.5944 | 1133101.3222 | 2802437.7687 | 1133095.1722
79 | 2802457.717 | 1133151.2492 | 2802443.2256 | 1133146.1283
80 | 2802437.7687 | 1133095.1722 | 2802443.028 | 1133089.9336
81 | 2802457.717 | 1133151.2492 | 2802463.8654 | 1133153.4219 | 2802471.4421 | 1133154.8618
82 | 2802453.1656 | 1133078.8191 | 2802453.1656 | 1133078.8191 | 2802443.523 | 1133089.4405 | 2802443.028 | 1133089.9336
83 | 2802453.1656 | 1133078.8191 | 2802460.8448 | 1133079.6327

## bus_geodata
| x | y | coords
0 | 2802212.507 | 1133228.7552
1 | 2802225.538 | 1133258.0413
2 | 2802098.0978 | 1133073.6427
3 | 2802227.6779 | 1133255.9272
4 | 2802212.3432 | 1133271.3204
5 | 2802104.9762 | 1133065.4473
6 | 2802248.7629 | 1133231.7341
7 | 2802317.5478 | 1133165.0013
8 | 2802350.9057 | 1133137.5485
9 | 2802304.3435 | 1133284.239
10 | 2802322.0142 | 1133269.7289
11 | 2802276.3722 | 1133307.3309
12 | 2802395.2762 | 1133124.9423
13 | 2802332.9421 | 1133260.5782
14 | 2802397.3598 | 1133459.8359
15 | 2802405.6365 | 1133127.1777
16 | 2802371.1994 | 1133485.5776
17 | 2802394.4484 | 1133463.1903
18 | 2802552.9418 | 1133501.4926
19 | 2802536.1875 | 1133597.0001
20 | 2802689.5978 | 1133632.2199
21 | 2802350.458 | 1133241.7076
22 | 2802536.2944 | 1132660.3192
23 | 2802580.7446 | 1132637.389
24 | 2802563.4348 | 1132762.3614
25 | 2802538.1561 | 1132789.6731
26 | 2802751.6993 | 1133408.0543
27 | 2802720.9796 | 1133438.8707
28 | 2802581.495 | 1133455.4422
29 | 2802734.4724 | 1133157.9636
30 | 2802725.2836 | 1133048.6973
31 | 2802840.252 | 1133598.8393
32 | 2802506.2764 | 1132868.1787
33 | 2802629.5987 | 1132727.3621
34 | 2802634.4088 | 1132832.1685
35 | 2802510.3089 | 1132913.5105
36 | 2802628.8752 | 1132969.048
37 | 2802632.6373 | 1132986.2364
38 | 2802591.9484 | 1133010.4112
39 | 2802492.0333 | 1133037.6815
40 | 2802637.1209 | 1133072.6324
41 | 2802669.7387 | 1132964.9334
42 | 2802548.2062 | 1133019.5032
43 | 2802491.7523 | 1133095.8161
44 | 2802969.5847 | 1132766.5721
45 | 2802966.7014 | 1132767.7266
46 | 2802955.9725 | 1132772.0225
47 | 2802840.1153 | 1132829.3649
48 | 2802764.0448 | 1132965.5659
49 | 2802743.4142 | 1132994.6133
50 | 2802732.0684 | 1133000.0608
51 | 2802526.4047 | 1133127.2652
52 | 2802517.4411 | 1133151.1143
53 | 2802566.4585 | 1133124.8906
54 | 2802504.9394 | 1133160.3606
55 | 2802600.9768 | 1133105.9297
56 | 2802475.1909 | 1133155.5742
57 | 2802497.0876 | 1133176.5458
58 | 2802493.092 | 1133149.3837
59 | 2802618.8718 | 1133094.5391
60 | 2802660.1893 | 1133048.6389
61 | 2802613.5432 | 1133100.7491
62 | 2802680.6235 | 1133028.2431
63 | 2802696.301 | 1133017.0876
64 | 2802718.4831 | 1133010.0842
65 | 2802727.3836 | 1133001.8407
66 | 2802723.8893 | 1133028.7217
67 | 2802590.1472 | 1133130.4846
68 | 2802482.8164 | 1133128.1192
69 | 2802488.6691 | 1133188.1815
70 | 2802557.5768 | 1133165.938
71 | 2802358.3826 | 1133218.6995
72 | 2802361.8712 | 1133205.1885
73 | 2802365.2072 | 1133192.0449
74 | 2802373.3055 | 1133171.8162
75 | 2802397.4715 | 1133136.7737
76 | 2802422.1828 | 1133137.2222
77 | 2802431.5944 | 1133101.3222
78 | 2802443.2256 | 1133146.1283
79 | 2802437.7687 | 1133095.1722
80 | 2802457.717 | 1133151.2492
81 | 2802443.028 | 1133089.9336
82 | 2802471.4421 | 1133154.8618
83 | 2802453.1656 | 1133078.8191
84 | 2802460.8448 | 1133079.6327
85 | 2802405.6365 | 1133127.1777

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1