## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3561-33_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3561-33_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3561-33_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3561-33_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3561-33_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3561-33_0_4_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_3561-33_0_4_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_3561-33_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3561-33_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3561-33_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3561-33_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3561-33_0_4_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_3561-33_0_4_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_3561-33_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3561-33_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3561-33_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3561-33_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3561-33_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3561-33_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3561-33_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_3561-33_0_4_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_3561-33_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_3561-33_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_3561-33_0_4_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_3561-33_0_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_3561-33_0_4_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_3561-33_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_3561-33_0_4_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_3561-33_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_3561-33_0_4_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_3561-33_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_3561-33_0_4_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_3561-33_0_4_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_3561-33_0_4_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_3561-33_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_3561-33_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_3561-33_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_3561-33_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_3561-33_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_3561-33_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_3561-33_0_4_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_3561-33_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_3561-33_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_3561-33_0_4_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_3561-33_0_4_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_3561-33_0_4_node_68 | 0.4 | n |  | TRUE
46 | bus_LV_3561-33_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_3561-33_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_3561-33_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_3561-33_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_3561-33_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_3561-33_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_3561-33_0_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_3561-33_0_4_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_3561-33_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_3561-33_0_4_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_3561-33_0_4_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_3561-33_0_4_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_3561-33_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_3561-33_0_4_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_3561-33_0_4_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_3561-33_0_4_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_3561-33_0_4_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_3561-33_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_3561-33_0_4_node_61 | 0.4 | n |  | TRUE
65 | bus_MV_0_node_50 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3561-33_0_4_load_0 | 0 | 0.00012224 | 3.0637e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3561-33_0_4_load_1 | 1 | 0.00014937 | 3.7435e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3561-33_0_4_load_2 | 2 | 0.00020905 | 5.2392e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3561-33_0_4_load_4 | 4 | 0.00020498 | 5.1372e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3561-33_0_4_load_44 | 6 | 0.00060734 | 0.00015221 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3561-33_0_4_load_5 | 8 | 0.00023976 | 6.009e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3561-33_0_4_load_7 | 9 | 0.00017816 | 4.4652e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3561-33_0_4_load_8 | 10 | 0.00025626 | 6.4224e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3561-33_0_4_load_21 | 11 | 9.9756e-05 | 2.5001e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3561-33_0_4_load_9 | 13 | 0.0002715 | 6.8045e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3561-33_0_4_load_13 | 17 | 0.00013674 | 3.4271e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3561-33_0_4_load_14 | 18 | 0.00020626 | 5.1694e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3561-33_0_4_load_22 | 20 | 0.00025573 | 6.4091e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3561-33_0_4_load_15 | 21 | 0.00084842 | 0.00021263 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3561-33_0_4_load_38 | 23 | 0.00014908 | 3.7362e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3561-33_0_4_load_37 | 24 | 0.00019269 | 4.8294e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3561-33_0_4_load_62 | 25 | 0.00014654 | 3.6726e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3561-33_0_4_load_18 | 26 | 0.00054275 | 0.00013603 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3561-33_0_4_load_45 | 27 | 0.00032151 | 8.0579e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3561-33_0_4_load_25 | 28 | 0.00045658 | 0.00011443 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3561-33_0_4_load_51 | 29 | 0.00018411 | 4.6142e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3561-33_0_4_load_30 | 30 | 0.00018523 | 4.6422e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3561-33_0_4_load_36 | 32 | 0.00019717 | 4.9415e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3561-33_0_4_load_26 | 34 | 0.00026073 | 6.5345e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3561-33_0_4_load_27 | 35 | 0.00022521 | 5.6444e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3561-33_0_4_load_29 | 37 | 0.00023987 | 6.0118e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3561-33_0_4_load_31 | 38 | 0.00044755 | 0.00011217 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3561-33_0_4_load_33 | 39 | 0.00012638 | 3.1674e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3561-33_0_4_load_66 | 40 | 0.00011142 | 2.7925e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3561-33_0_4_load_32 | 41 | 0.00012 | 3.0075e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3561-33_0_4_load_65 | 44 | 0.0001969 | 4.9347e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3561-33_0_4_load_68 | 45 | 0.00025098 | 6.2902e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3561-33_0_4_load_39 | 46 | 0.00015053 | 3.7727e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3561-33_0_4_load_40 | 47 | 9.7279e-05 | 2.438e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3561-33_0_4_load_41 | 48 | 0.0001825 | 4.574e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3561-33_0_4_load_42 | 49 | 0.00037099 | 9.2979e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3561-33_0_4_load_43 | 50 | 0.00015749 | 3.9472e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3561-33_0_4_load_46 | 51 | 0.00014408 | 3.6109e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3561-33_0_4_load_47 | 52 | 0.00015876 | 3.9789e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3561-33_0_4_load_48 | 53 | 0.00044497 | 0.00011152 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3561-33_0_4_load_49 | 54 | 0.00038431 | 9.6316e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3561-33_0_4_load_52 | 55 | 0.00011095 | 2.7807e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3561-33_0_4_load_60 | 56 | 9.3681e-05 | 2.3479e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3561-33_0_4_load_59 | 57 | 0.00014193 | 3.5571e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3561-33_0_4_load_53 | 58 | 0.00014495 | 3.6328e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3561-33_0_4_load_54 | 59 | 0.00020114 | 5.0411e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3561-33_0_4_load_55 | 60 | 8.719e-05 | 2.1852e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3561-33_0_4_load_56 | 61 | 0.00011172 | 2.7999e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3561-33_0_4_load_57 | 62 | 0.00020087 | 5.0344e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3561-33_0_4_load_58 | 63 | 9.7256e-05 | 2.4375e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3561-33_0_4_load_61 | 64 | 9.7231e-05 | 2.4368e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3561-33_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0024354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3561-33_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.020701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3561-33_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.12624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3561-33_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.032559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3561-33_0_4_line_4 | NAYY 4x150 SE | 3 | 8 | 0.23887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3561-33_0_4_line_5 | NAYY 4x150 SE | 3 | 7 | 0.060038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3561-33_0_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.40396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3561-33_0_4_line_7 | NAYY 4x150 SE | 5 | 7 | 0.39391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3561-33_0_4_line_8 | NAYY 4x150 SE | 6 | 27 | 0.023879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3561-33_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.13061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3561-33_0_4_line_10 | NAYY 4x150 SE | 8 | 9 | 0.026204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3561-33_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.48122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3561-33_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.12585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3561-33_0_4_line_13 | NAYY 4x150 SE | 12 | 26 | 0.10208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3561-33_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.034073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3561-33_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.091555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3561-33_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.15544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3561-33_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.054958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3561-33_0_4_line_18 | NAYY 4x150 SE | 15 | 18 | 0.20145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3561-33_0_4_line_19 | NAYY 4x150 SE | 16 | 19 | 0.53849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3561-33_0_4_line_20 | NAYY 4x150 SE | 16 | 20 | 0.24848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3561-33_0_4_line_21 | NAYY 4x150 SE | 17 | 21 | 0.013058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3561-33_0_4_line_22 | NAYY 4x150 SE | 18 | 22 | 0.26137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3561-33_0_4_line_23 | NAYY 4x150 SE | 19 | 23 | 0.1921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3561-33_0_4_line_24 | NAYY 4x150 SE | 19 | 24 | 0.084555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3561-33_0_4_line_25 | NAYY 4x150 SE | 19 | 25 | 0.16156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3561-33_0_4_line_26 | NAYY 4x150 SE | 22 | 26 | 0.29021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3561-33_0_4_line_27 | NAYY 4x150 SE | 23 | 30 | 0.023606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3561-33_0_4_line_28 | NAYY 4x150 SE | 23 | 31 | 0.097793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3561-33_0_4_line_29 | NAYY 4x150 SE | 24 | 32 | 0.00057097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3561-33_0_4_line_30 | NAYY 4x150 SE | 27 | 50 | 0.00011594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3561-33_0_4_line_31 | NAYY 4x150 SE | 28 | 29 | 0.019313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3561-33_0_4_line_32 | NAYY 4x150 SE | 29 | 33 | 0.090197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3561-33_0_4_line_33 | NAYY 4x150 SE | 30 | 40 | 0.36389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3561-33_0_4_line_34 | NAYY 4x150 SE | 30 | 36 | 0.18714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3561-33_0_4_line_35 | NAYY 4x150 SE | 31 | 42 | 0.053182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3561-33_0_4_line_36 | NAYY 4x150 SE | 33 | 55 | 0.45754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3561-33_0_4_line_37 | NAYY 4x150 SE | 33 | 54 | 0.48077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_3561-33_0_4_line_38 | NAYY 4x150 SE | 34 | 35 | 0.00037321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3561-33_0_4_line_39 | NAYY 4x150 SE | 34 | 36 | 0.15692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3561-33_0_4_line_40 | NAYY 4x150 SE | 35 | 37 | 0.010364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3561-33_0_4_line_41 | NAYY 4x150 SE | 36 | 38 | 0.080858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3561-33_0_4_line_42 | NAYY 4x150 SE | 37 | 39 | 0.09477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3561-33_0_4_line_43 | NAYY 4x150 SE | 39 | 41 | 0.0079564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3561-33_0_4_line_44 | NAYY 4x150 SE | 40 | 45 | 0.21878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3561-33_0_4_line_45 | NAYY 4x150 SE | 42 | 43 | 0.15892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3561-33_0_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.18276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3561-33_0_4_line_47 | NAYY 4x150 SE | 46 | 47 | 0.0084198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3561-33_0_4_line_48 | NAYY 4x150 SE | 46 | 48 | 0.0039674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3561-33_0_4_line_49 | NAYY 4x150 SE | 47 | 49 | 0.023011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3561-33_0_4_line_50 | NAYY 4x150 SE | 48 | 50 | 0.0028172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3561-33_0_4_line_51 | NAYY 4x150 SE | 49 | 51 | 0.016131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_3561-33_0_4_line_52 | NAYY 4x150 SE | 51 | 52 | 0.0096676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_3561-33_0_4_line_53 | NAYY 4x150 SE | 52 | 53 | 0.017679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_3561-33_0_4_line_54 | NAYY 4x150 SE | 53 | 54 | 0.0073565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_3561-33_0_4_line_55 | NAYY 4x150 SE | 55 | 56 | 0.0036225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3561-33_0_4_line_56 | NAYY 4x150 SE | 56 | 57 | 0.0036441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3561-33_0_4_line_57 | NAYY 4x150 SE | 57 | 62 | 0.00056718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3561-33_0_4_line_58 | NAYY 4x150 SE | 58 | 59 | 0.0016056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3561-33_0_4_line_59 | NAYY 4x150 SE | 58 | 60 | 0.0044679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3561-33_0_4_line_60 | NAYY 4x150 SE | 59 | 61 | 0.062202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3561-33_0_4_line_61 | NAYY 4x150 SE | 60 | 62 | 0.0089734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3561-33_0_4_line_62 | NAYY 4x150 SE | 61 | 63 | 0.0024727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3561-33_0_4_line_63 | NAYY 4x150 SE | 63 | 64 | 0.0073785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3561-33_0_4_trafo_50 | 0.25 MVA 20/0.4 kV | 65 | 33 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58
0 | 2802999.2454 | 1139693.5777 | 2803001.4553 | 1139694.6011
1 | 2802999.2454 | 1139693.5777 | 2802988.0386 | 1139688.3879 | 2802982.4493 | 1139682.1838
2 | 2802903.2992 | 1139642.7809 | 2802994.5949 | 1139702.1895 | 2803000.342 | 1139703.206 | 2803004.5881 | 1139699.645 | 2803001.4553 | 1139694.6011
3 | 2802973.9927 | 1139651.6885 | 2802974.8572 | 1139662.8292 | 2802978.0871 | 1139677.3418 | 2802982.4493 | 1139682.1838
4 | 2802903.2992 | 1139642.7809 | 2802933.6207 | 1139679.9054 | 2802965.2006 | 1139709.1308 | 2803005.0117 | 1139760.4784 | 2803016.0956 | 1139776.757 | 2803018.8503 | 1139823.2205 | 2803029.5038 | 1139836.0726
5 | 2802867.3358 | 1139594.6333 | 2802903.2992 | 1139642.7809
6 | 2802547.1861 | 1139824.1359 | 2802557.4102 | 1139836.9367 | 2802569.3801 | 1139847.4937 | 2802591.3893 | 1139858.6995 | 2802611.357 | 1139877.0553 | 2802633.7375 | 1139920.7409 | 2802650.0377 | 1139977.4472 | 2802667.1708 | 1140052.8788 | 2802662.4014 | 1140078.2118 | 2802659.8574 | 1140083.3651 | 2802657.0542 | 1140087.2974 | 2802653.3327 | 1140091.7549 | 2802648.7829 | 1140095.2058 | 2802642.8193 | 1140097.2077 | 2802636.2388 | 1140099.011 | 2802630.7426 | 1140099.4714 | 2802625.6657 | 1140098.678 | 2802620.638 | 1140097.1076 | 2802615.3875 | 1140094.1505 | 2802607.1557 | 1140090.1145 | 2802603.5161 | 1140089.158 | 2802599.7965 | 1140088.9775 | 2802594.9324 | 1140089.8708 | 2802591.2522 | 1140091.0374 | 2802588.4451 | 1140093.023 | 2802585.8038 | 1140095.804 | 2802583.1013 | 1140100.407 | 2802576.6934 | 1140112.1176
7 | 2802547.1861 | 1139824.1359 | 2802867.3358 | 1139594.6333
8 | 2802576.6934 | 1140112.1176 | 2802575.6547 | 1140114.0158 | 2802573.0574 | 1140118.4666 | 2802570.3821 | 1140121.1129 | 2802567.1556 | 1140122.9844 | 2802563.0449 | 1140124.5926 | 2802558.5679 | 1140125.8684
9 | 2802867.3358 | 1139594.6333 | 2802873.5937 | 1139588.248 | 2802884.3155 | 1139572.058 | 2802887.9687 | 1139547.4439 | 2802885.0598 | 1139528.4151 | 2802874.8288 | 1139502.5443 | 2802869.6853 | 1139487.0108 | 2802872.3697 | 1139473.3409
10 | 2803040.8954 | 1139859.4107 | 2803033.542 | 1139840.9441 | 2803029.5038 | 1139836.0726
11 | 2802759.4673 | 1140249.7611 | 2803040.8954 | 1139859.4107
12 | 2802774.0236 | 1140366.7389 | 2802771.9004 | 1140359.6046 | 2802758.7765 | 1140343.3468 | 2802756.7773 | 1140339.1642 | 2802753.3661 | 1140320.1965 | 2802748.1356 | 1140288.4877 | 2802752.4553 | 1140258.6794 | 2802759.4673 | 1140249.7611
13 | 2802774.0236 | 1140366.7389 | 2802843.0275 | 1140406.632 | 2802850.9243 | 1140410.3123 | 2802856.7572 | 1140412.4216 | 2802861.652 | 1140413.3537 | 2802864.1188 | 1140413.5332
14 | 2803085.2706 | 1141032.3642 | 2803092.7774 | 1141022.6844 | 2803098.9342 | 1141015.3839 | 2803104.7781 | 1141009.3742 | 2803107.6444 | 1141006.743
15 | 2803161.4695 | 1140936.7614 | 2803160.3997 | 1140944.756 | 2803158.2366 | 1140952.5357 | 2803154.7926 | 1140960.6394 | 2803152.7278 | 1140965.0412 | 2803149.9532 | 1140969.497 | 2803144.9773 | 1140975.3245 | 2803139.5625 | 1140980.7035 | 2803111.5686 | 1141003.1406 | 2803107.6444 | 1141006.743
16 | 2802953.3577 | 1141040.6809 | 2802955.2125 | 1141043.6575 | 2802958.1024 | 1141046.2908 | 2802960.8238 | 1141047.984 | 2802964.2592 | 1141049.0451 | 2802968.4466 | 1141049.0303 | 2802979.5186 | 1141047.5232 | 2802984.6838 | 1141047.0409 | 2802990.2264 | 1141047.005 | 2802995.1058 | 1141047.4695 | 2803000.3849 | 1141048.4036 | 2803005.464 | 1141050.0205 | 2803026.6733 | 1141058.9988 | 2803031.3902 | 1141059.7137 | 2803036.1801 | 1141060.3199 | 2803040.7672 | 1141059.8626 | 2803045.0925 | 1141058.4955 | 2803049.8774 | 1141056.2764 | 2803055.9238 | 1141052.7094 | 2803059.3223 | 1141049.6093 | 2803061.7244 | 1141047.2988 | 2803063.6533 | 1141044.8723 | 2803065.2352 | 1141041.7778 | 2803069.7385 | 1141030.0948 | 2803070.7611 | 1141028.5276 | 2803072.0992 | 1141027.4159 | 2803073.4981 | 1141026.7845 | 2803075.0919 | 1141026.5379 | 2803076.7975 | 1141026.6287 | 2803078.5762 | 1141027.2892 | 2803085.2706 | 1141032.3642
17 | 2803161.4695 | 1140936.7614 | 2803127.7301 | 1140955.8793 | 2803112.199 | 1140960.411
18 | 2803161.4695 | 1140936.7614 | 2803161.7584 | 1140927.7283 | 2803160.6463 | 1140893.3437 | 2803159.1171 | 1140856.031 | 2803157.8503 | 1140830.3503 | 2803156.9544 | 1140816.5057 | 2803155.4572 | 1140796.7457 | 2803154.3993 | 1140788.6239 | 2803152.8379 | 1140780.1402 | 2803144.0551 | 1140748.8563 | 2803140.7371 | 1140737.3764
19 | 2802482.6922 | 1141101.105 | 2802484.3981 | 1141100.0389 | 2802486.4666 | 1141099.4076 | 2802489.498 | 1141099.6651 | 2802491.9501 | 1141100.6707 | 2802498.4382 | 1141105.4822 | 2802507.8727 | 1141113.5405 | 2802512.6232 | 1141116.692 | 2802546.3466 | 1141132.5622 | 2802553.1083 | 1141136.3264 | 2802559.9732 | 1141140.9171 | 2802585.8048 | 1141161.4498 | 2802591.6298 | 1141165.1492 | 2802594.3086 | 1141166.0511 | 2802597.1213 | 1141166.4015 | 2802600.1924 | 1141166.3934 | 2802602.4193 | 1141165.8565 | 2802609.8474 | 1141162.6135 | 2802612.0038 | 1141161.1955 | 2802613.8022 | 1141159.2094 | 2802615.357 | 1141156.9147 | 2802615.9746 | 1141154.5663 | 2802616.2126 | 1141152.2942 | 2802616.0535 | 1141149.2412 | 2802614.1346 | 1141138.3209 | 2802613.9997 | 1141135.2354 | 2802614.5475 | 1141132.2173 | 2802615.5646 | 1141129.8935 | 2802617.1426 | 1141127.822 | 2802619.581 | 1141125.8018 | 2802622.5538 | 1141124.3667 | 2802626.8582 | 1141123.388 | 2802634.8259 | 1141123.0996 | 2802641.4499 | 1141123.6336 | 2802648.6086 | 1141124.2857 | 2802654.608 | 1141124.3983 | 2802660.4829 | 1141123.8617 | 2802666.1152 | 1141122.7607 | 2802672.9306 | 1141120.5762 | 2802678.6978 | 1141117.9782 | 2802683.4399 | 1141114.9676 | 2802692.0527 | 1141108.539 | 2802698.6925 | 1141104.0239 | 2802702.8907 | 1141101.3954 | 2802707.2457 | 1141099.1393 | 2802712.3752 | 1141097.6544 | 2802744.0467 | 1141095.3379 | 2802764.3576 | 1141094.4191 | 2802775.4452 | 1141094.5028 | 2802783.5423 | 1141093.5738 | 2802808.1333 | 1141088.0497 | 2802820.3096 | 1141084.5996 | 2802860.9657 | 1141072.3641 | 2802906.2379 | 1141056.0686 | 2802923.2503 | 1141049.1109 | 2802936.8177 | 1141042.7493 | 2802941.5634 | 1141042.1526 | 2802946.1158 | 1141041.5828 | 2802953.3577 | 1141040.6809
20 | 2802953.3577 | 1141040.6809 | 2802952.7112 | 1141038.1677 | 2802952.5674 | 1141035.3488 | 2802953.0523 | 1141032.6067 | 2802954.2521 | 1141030.3446 | 2802956.6379 | 1141028.2894 | 2802995.1619 | 1141000.9895 | 2803004.5182 | 1140996.2658 | 2803019.0727 | 1140991.2278 | 2803029.2656 | 1140987.9449 | 2803034.8496 | 1140985.5413 | 2803039.0806 | 1140982.4026 | 2803042.4365 | 1140978.9674 | 2803048.3601 | 1140970.1352 | 2803059.4701 | 1140953.7918 | 2803064.3786 | 1140947.9063 | 2803070.7834 | 1140941.4706 | 2803078.9614 | 1140934.7164 | 2803084.8643 | 1140930.3882 | 2803094.0218 | 1140924.9461 | 2803104.9062 | 1140920.1073 | 2803115.0556 | 1140916.9788 | 2803122.9061 | 1140914.6961 | 2803126.5259 | 1140912.5712 | 2803128.6637 | 1140909.8848 | 2803130.1283 | 1140906.6196 | 2803130.5558 | 1140903.7532 | 2803130.4981 | 1140900.4366 | 2803129.8274 | 1140897.4999 | 2803128.666 | 1140894.7357 | 2803127.0817 | 1140892.4133 | 2803125.5769 | 1140891.1883
21 | 2803100.0927 | 1140965.1942 | 2803106.883 | 1140961.962 | 2803112.199 | 1140960.411
22 | 2803121.8796 | 1140495.6784 | 2803127.3293 | 1140500.2444 | 2803132.6545 | 1140506.9083 | 2803140.2325 | 1140517.986 | 2803145.2588 | 1140524.8401 | 2803154.3027 | 1140538.5588 | 2803156.5551 | 1140542.5276 | 2803157.4859 | 1140545.284 | 2803157.7755 | 1140547.8854 | 2803157.6979 | 1140551.3308 | 2803157.156 | 1140554.8496 | 2803155.9774 | 1140559.4481 | 2803153.6428 | 1140563.1734 | 2803138.3965 | 1140587.5748 | 2803134.5426 | 1140595.2755 | 2803132.7601 | 1140600.2095 | 2803131.4969 | 1140605.2612 | 2803130.593 | 1140612.2159 | 2803130.2544 | 1140620.6689 | 2803129.8713 | 1140655.5814 | 2803129.9391 | 1140672.5348 | 2803130.271 | 1140680.7323 | 2803130.8611 | 1140689.9507 | 2803132.033 | 1140699.489 | 2803133.3368 | 1140707.3967 | 2803135.503 | 1140717.5803 | 2803137.5753 | 1140726.437 | 2803140.7371 | 1140737.3764
23 | 2802482.6922 | 1141101.105 | 2802481.7031 | 1141102.8292 | 2802481.3517 | 1141105.042 | 2802481.5578 | 1141107.3846 | 2802482.4417 | 1141109.4831 | 2802483.8134 | 1141111.2644 | 2802486.6147 | 1141113.1047 | 2802501.5628 | 1141120.6139 | 2802507.3788 | 1141124.1238 | 2802510.1327 | 1141125.9959 | 2802512.5808 | 1141128.2693 | 2802513.8644 | 1141130.3813 | 2802514.6639 | 1141132.2434 | 2802514.8461 | 1141134.1515 | 2802514.5625 | 1141136.1774 | 2802513.7823 | 1141138.0977 | 2802512.447 | 1141139.5878 | 2802510.2545 | 1141140.7043 | 2802507.535 | 1141141.0134 | 2802504.0533 | 1141140.8742 | 2802471.5868 | 1141134.7899 | 2802445.4627 | 1141129.8308 | 2802428.9776 | 1141127.2975 | 2802409.8515 | 1141121.8171 | 2802396.9031 | 1141116.8667 | 2802390.5121 | 1141113.7492 | 2802384.4577 | 1141110.2314 | 2802382.6677 | 1141109.1962
24 | 2802482.6922 | 1141101.105 | 2802475.2896 | 1141092.8147 | 2802472.7202 | 1141089.1136 | 2802470.4151 | 1141084.1867 | 2802468.3345 | 1141078.5332 | 2802465.741 | 1141069.3589 | 2802464.4426 | 1141065.6226 | 2802462.5313 | 1141061.3429 | 2802460.3095 | 1141057.8314 | 2802456.8716 | 1141053.6339 | 2802453.3171 | 1141050.8451 | 2802449.6657 | 1141048.6537 | 2802439.5905 | 1141044.5449 | 2802437.9683 | 1141043.3448 | 2802437.4458 | 1141041.7144 | 2802437.4856 | 1141040.0696 | 2802439.141 | 1141035.6904
25 | 2802482.6922 | 1141101.105 | 2802493.0713 | 1141262.3361
26 | 2803121.8796 | 1140495.6784 | 2803114.367 | 1140491.1098 | 2803067.4774 | 1140472.0903 | 2803045.1693 | 1140462.7636 | 2803033.9206 | 1140456.9125 | 2803024.1495 | 1140451.5227 | 2803015.6811 | 1140445.1646 | 2803008.6371 | 1140439.0213 | 2802986.582 | 1140416.9121 | 2802978.1519 | 1140408.9537 | 2802971.2068 | 1140403.7592 | 2802964.9361 | 1140400.0223 | 2802959.1235 | 1140397.7689 | 2802953.4668 | 1140396.1437 | 2802946.9457 | 1140395.5016 | 2802940.9115 | 1140395.0316 | 2802935.5059 | 1140395.5505 | 2802928.6871 | 1140396.6669 | 2802882.9775 | 1140410.9455 | 2802876.3286 | 1140412.5015 | 2802870.4728 | 1140413.3612 | 2802866.1977 | 1140413.6845 | 2802864.1188 | 1140413.5332
27 | 2802360.6586 | 1141101.6032 | 2802364.2728 | 1141101.668 | 2802368.8098 | 1141102.6989 | 2802377.761 | 1141106.3584 | 2802382.6677 | 1141109.1962
28 | 2802382.6677 | 1141109.1962 | 2802370.8828 | 1141206.2765
29 | 2802439.141 | 1141035.6904 | 2802439.3428 | 1141035.1564
30 | 2802558.4564 | 1140125.9001 | 2802558.5679 | 1140125.8684
31 | 2802719.1997 | 1140560.5949 | 2802713.7824 | 1140558.9278 | 2802707.0528 | 1140556.021 | 2802701.3301 | 1140553.3531
32 | 2802613.0982 | 1140542.1748 | 2802614.7657 | 1140544.0883 | 2802616.8472 | 1140545.137 | 2802619.4195 | 1140545.7796 | 2802686.4315 | 1140549.177 | 2802692.4152 | 1140550.001 | 2802698.4135 | 1140551.9934 | 2802701.3301 | 1140553.3531
33 | 2802360.6586 | 1141101.6032 | 2802237.8848 | 1141444.1553
34 | 2802319.7492 | 1141011.9821 | 2802309.1698 | 1141021.2928 | 2802291.9744 | 1141038.5456 | 2802283.709 | 1141051.1484 | 2802278.3475 | 1141061.8466 | 2802271.8169 | 1141081.4704 | 2802270.9101 | 1141088.3139 | 2802274.4804 | 1141092.9272 | 2802277.0959 | 1141095.7177 | 2802282.0282 | 1141096.8954 | 2802302.7871 | 1141100.7395 | 2802321.4612 | 1141102.7229 | 2802338.918 | 1141104.0539 | 2802347.5198 | 1141103.6752 | 2802354.3081 | 1141102.5237 | 2802359.2963 | 1141101.5788 | 2802360.6586 | 1141101.6032
35 | 2802370.8828 | 1141206.2765 | 2802348.9545 | 1141206.3303 | 2802340.9318 | 1141205.2825 | 2802333.1308 | 1141203.1299 | 2802326.001 | 1141200.0099 | 2802319.5199 | 1141196.3666
36 | 2802613.0982 | 1140542.1748 | 2802608.1314 | 1140544.9888 | 2802596.9131 | 1140547.8486 | 2802581.1525 | 1140548.6762 | 2802577.5618 | 1140548.3331 | 2802574.5624 | 1140547.3425 | 2802572.102 | 1140545.6582 | 2802570.4268 | 1140543.7445 | 2802568.8904 | 1140539.989 | 2802568.1719 | 1140535.0264 | 2802568.1175 | 1140526.1041 | 2802569.576 | 1140504.4527 | 2802569.3235 | 1140500.7403 | 2802568.8567 | 1140497.9106 | 2802567.4128 | 1140494.8367 | 2802565.3789 | 1140492.1434 | 2802562.3206 | 1140490.3834 | 2802559.3824 | 1140489.4061 | 2802555.4068 | 1140489.0612 | 2802551.5753 | 1140489.7 | 2802547.8555 | 1140491.3658 | 2802544.4846 | 1140494.3336 | 2802536.7498 | 1140502.5605 | 2802533.9248 | 1140505.313 | 2802530.8099 | 1140507.533 | 2802501.4916 | 1140527.2479 | 2802491.2264 | 1140533.588 | 2802489.0556 | 1140534.7386 | 2802487.1869 | 1140535.3766 | 2802485.0637 | 1140535.5722 | 2802483.309 | 1140535.3354 | 2802481.2153 | 1140534.4197 | 2802479.8175 | 1140533.1827 | 2802478.5199 | 1140531.4818 | 2802470.0929 | 1140513.1023 | 2802468.2642 | 1140510.0266 | 2802466.1185 | 1140506.7623 | 2802463.3037 | 1140503.2532 | 2802460.4563 | 1140500.4881 | 2802428.742 | 1140479.9143 | 2802410.7803 | 1140470.1797 | 2802399.9656 | 1140465.6012 | 2802392.5394 | 1140462.5713 | 2802386.7632 | 1140459.2298 | 2802381.2203 | 1140455.8182 | 2802375.1009 | 1140451.464 | 2802368.8891 | 1140446.1948 | 2802364.7278 | 1140441.7506 | 2802354.2792 | 1140426.0285 | 2802350.0257 | 1140418.3668 | 2802344.567 | 1140404.8698 | 2802341.0359 | 1140396.5539 | 2802322.9031 | 1140365.5249 | 2802313.988 | 1140349.0756
37 | 2802613.0982 | 1140542.1748 | 2802612.3586 | 1140539.9031 | 2802612.4608 | 1140537.5486 | 2802613.1265 | 1140535.1462 | 2802615.318 | 1140531.3157 | 2802617.5441 | 1140528.9769 | 2802620.1263 | 1140527.2618 | 2802622.8259 | 1140525.951 | 2802626.019 | 1140525.0684 | 2802644.8112 | 1140523.1304 | 2802652.4285 | 1140521.8403 | 2802658.0844 | 1140520.0505 | 2802663.6383 | 1140517.6344 | 2802679.2545 | 1140509.1943 | 2802686.6519 | 1140505.5166 | 2802694.4346 | 1140502.7417 | 2802705.0576 | 1140499.5061 | 2802712.8148 | 1140496.5746 | 2802718.2804 | 1140492.6651 | 2802726.4665 | 1140483.3859 | 2802731.2942 | 1140476.6966 | 2802733.1094 | 1140473.988 | 2802733.9896 | 1140471.8487 | 2802734.3997 | 1140469.4933 | 2802734.2918 | 1140467.2095 | 2802733.273 | 1140460.8798 | 2802732.0666 | 1140456.9241 | 2802725.6157 | 1140441.6026 | 2802711.0179 | 1140423.6269 | 2802695.143 | 1140412.9606 | 2802685.6897 | 1140407.037 | 2802677.4612 | 1140399.2526 | 2802647.3714 | 1140366.5306 | 2802635.785 | 1140353.7617 | 2802629.0094 | 1140342.8229 | 2802625.3775 | 1140332.9351 | 2802620.7655 | 1140314.8726 | 2802617.7419 | 1140299.4772 | 2802612.984 | 1140288.0501 | 2802606.4988 | 1140275.1078 | 2802596.4156 | 1140259.7423 | 2802589.5516 | 1140251.6591 | 2802584.4756 | 1140246.2609 | 2802577.3032 | 1140240.7144 | 2802566.9003 | 1140233.9472 | 2802562.8742 | 1140230.9757 | 2802560.371 | 1140228.5002 | 2802558.4521 | 1140225.5884 | 2802557.2993 | 1140222.3241 | 2802554.24 | 1140207.6006
38 | 2802242.9983 | 1140882.9064 | 2802243.3484 | 1140883.0357
39 | 2802319.7492 | 1141011.9821 | 2802321.2835 | 1141004.1031 | 2802320.0462 | 1140999.6903 | 2802304.5306 | 1140970.5399 | 2802296.6458 | 1140957.3397 | 2802286.0723 | 1140946.741 | 2802275.5458 | 1140934.5089 | 2802267.53 | 1140930.2581 | 2802264.8142 | 1140926.0961 | 2802261.2171 | 1140916.5434 | 2802259.1103 | 1140906.3844 | 2802257.0441 | 1140895.0145 | 2802253.5405 | 1140890.0141 | 2802246.8808 | 1140884.3406 | 2802243.3484 | 1140883.0357
40 | 2802232.8683 | 1140881.268 | 2802239.6281 | 1140881.6615 | 2802242.9983 | 1140882.9064
41 | 2802339.4983 | 1140942.9387 | 2802328.3562 | 1140978.8805 | 2802334.5579 | 1141002.5575 | 2802328.4061 | 1141010.4261 | 2802319.7492 | 1141011.9821
42 | 2802232.8683 | 1140881.268 | 2802141.8728 | 1140907.7477
43 | 2802138.3756 | 1140900.6011 | 2802141.8728 | 1140907.7477
44 | 2802237.8848 | 1141444.1553 | 2802031.2042 | 1141515.8985
45 | 2802319.5199 | 1141196.3666 | 2802309.0941 | 1141189.41 | 2802300.9997 | 1141184.9896 | 2802295.4779 | 1141183.4919 | 2802291.1703 | 1141182.7356 | 2802283.7572 | 1141182.5537 | 2802262.8734 | 1141184.9675 | 2802256.8987 | 1141187.1029 | 2802251.6085 | 1141189.4837 | 2802247.5374 | 1141192.4615 | 2802243.115 | 1141196.5064 | 2802239.2143 | 1141201.5143 | 2802223.3175 | 1141229.1772 | 2802219.8249 | 1141237.1686 | 2802217.9896 | 1141243.0132 | 2802217.0685 | 1141247.5315 | 2802217.386 | 1141252.9811 | 2802218.674 | 1141257.0285 | 2802220.9679 | 1141261.3765 | 2802223.3046 | 1141263.7573
46 | 2802223.3046 | 1141263.7573 | 2802226.9472 | 1141266.6712 | 2802231.8375 | 1141269.3267 | 2802238.9959 | 1141271.5911 | 2802251.5453 | 1141274.2032 | 2802261.8117 | 1141277.1948 | 2802271.675 | 1141280.729 | 2802281.9585 | 1141285.5007 | 2802292.7448 | 1141291.8021 | 2802326.5193 | 1141314.391 | 2802367.7252 | 1141346.4613 | 2802377.2974 | 1141355.6807 | 2802378.0054 | 1141356.477
47 | 2802552.0803 | 1140128.1871 | 2802551.9377 | 1140128.246 | 2802549.0286 | 1140130.751 | 2802547.2531 | 1140134.3397 | 2802547.2019 | 1140134.7592
48 | 2802552.0803 | 1140128.1871 | 2802555.747 | 1140126.6722
49 | 2802546.0576 | 1140157.7238 | 2802546.5413 | 1140140.1774 | 2802547.2019 | 1140134.7592
50 | 2802558.4564 | 1140125.9001 | 2802555.747 | 1140126.6722 | 2802555.747 | 1140126.6722
51 | 2802546.0576 | 1140157.7238 | 2802545.9771 | 1140160.6465 | 2802546.0145 | 1140168.7006 | 2802546.6218 | 1140173.8177
52 | 2802546.6218 | 1140173.8177 | 2802546.9145 | 1140176.2832 | 2802548.1973 | 1140183.3525
53 | 2802552.7434 | 1140200.398 | 2802551.2295 | 1140193.1122 | 2802548.5513 | 1140185.3031 | 2802548.1973 | 1140183.3525
54 | 2802554.24 | 1140207.6006 | 2802552.7434 | 1140200.398
55 | 2802312.2619 | 1140345.8908 | 2802313.988 | 1140349.0756
56 | 2802310.5255 | 1140342.687 | 2802312.2619 | 1140345.8908
57 | 2802310.2553 | 1140342.1884 | 2802310.5255 | 1140342.687
58 | 2802303.8506 | 1140330.3711 | 2802303.0855 | 1140328.9594
59 | 2802303.8506 | 1140330.3711 | 2802305.9795 | 1140334.2992
60 | 2802303.0855 | 1140328.9594 | 2802296.5325 | 1140316.8683 | 2802286.9333 | 1140297.838 | 2802278.3365 | 1140284.4916 | 2802274.8583 | 1140273.7829
61 | 2802310.2553 | 1140342.1884 | 2802305.9795 | 1140334.2992
62 | 2802274.0945 | 1140271.4311 | 2802274.8583 | 1140273.7829
63 | 2802271.8151 | 1140264.4134 | 2802274.0945 | 1140271.4311

## bus_geodata
| x | y | coords
0 | 2802999.2454 | 1139693.5777
1 | 2803001.4553 | 1139694.6011
2 | 2802982.4493 | 1139682.1838
3 | 2802903.2992 | 1139642.7809
4 | 2802973.9927 | 1139651.6885
5 | 2802547.1861 | 1139824.1359
6 | 2802576.6934 | 1140112.1176
7 | 2802867.3358 | 1139594.6333
8 | 2803029.5038 | 1139836.0726
9 | 2803040.8954 | 1139859.4107
10 | 2802872.3697 | 1139473.3409
11 | 2802759.4673 | 1140249.7611
12 | 2802774.0236 | 1140366.7389
13 | 2803107.6444 | 1141006.743
14 | 2803085.2706 | 1141032.3642
15 | 2803161.4695 | 1140936.7614
16 | 2802953.3577 | 1141040.6809
17 | 2803112.199 | 1140960.411
18 | 2803140.7371 | 1140737.3764
19 | 2802482.6922 | 1141101.105
20 | 2803125.5769 | 1140891.1883
21 | 2803100.0927 | 1140965.1942
22 | 2803121.8796 | 1140495.6784
23 | 2802382.6677 | 1141109.1962
24 | 2802439.141 | 1141035.6904
25 | 2802493.0713 | 1141262.3361
26 | 2802864.1188 | 1140413.5332
27 | 2802558.5679 | 1140125.8684
28 | 2802719.1997 | 1140560.5949
29 | 2802701.3301 | 1140553.3531
30 | 2802360.6586 | 1141101.6032
31 | 2802370.8828 | 1141206.2765
32 | 2802439.3428 | 1141035.1564
33 | 2802613.0982 | 1140542.1748
34 | 2802243.3484 | 1140883.0357
35 | 2802242.9983 | 1140882.9064
36 | 2802319.7492 | 1141011.9821
37 | 2802232.8683 | 1140881.268
38 | 2802339.4983 | 1140942.9387
39 | 2802141.8728 | 1140907.7477
40 | 2802237.8847 | 1141444.1553
41 | 2802138.3756 | 1140900.6011
42 | 2802319.5199 | 1141196.3666
43 | 2802223.3046 | 1141263.7573
44 | 2802378.0054 | 1141356.477
45 | 2802031.2042 | 1141515.8985
46 | 2802552.0803 | 1140128.1871
47 | 2802547.2019 | 1140134.7592
48 | 2802555.747 | 1140126.6722
49 | 2802546.0576 | 1140157.7238
50 | 2802558.4564 | 1140125.9001
51 | 2802546.6218 | 1140173.8177
52 | 2802548.1973 | 1140183.3525
53 | 2802552.7434 | 1140200.398
54 | 2802554.24 | 1140207.6006
55 | 2802313.988 | 1140349.0756
56 | 2802312.2619 | 1140345.8908
57 | 2802310.5255 | 1140342.687
58 | 2802303.8506 | 1140330.3711
59 | 2802303.0855 | 1140328.9594
60 | 2802305.9795 | 1140334.2992
61 | 2802274.8583 | 1140273.7829
62 | 2802310.2553 | 1140342.1884
63 | 2802274.0945 | 1140271.4311
64 | 2802271.8151 | 1140264.4134
65 | 2802613.0982 | 1140542.1748

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1