## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3561-36_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3561-36_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3561-36_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3561-36_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3561-36_0_2_node_73 | 0.4 | n |  | TRUE
5 | bus_LV_3561-36_0_2_node_70 | 0.4 | n |  | TRUE
6 | bus_LV_3561-36_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3561-36_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3561-36_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3561-36_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_3561-36_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_3561-36_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_3561-36_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_3561-36_0_2_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_3561-36_0_2_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_3561-36_0_2_node_62 | 0.4 | n |  | TRUE
16 | bus_LV_3561-36_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3561-36_0_2_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_3561-36_0_2_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_3561-36_0_2_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_3561-36_0_2_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_3561-36_0_2_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_3561-36_0_2_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_3561-36_0_2_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_3561-36_0_2_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_3561-36_0_2_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_3561-36_0_2_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_3561-36_0_2_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_3561-36_0_2_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_3561-36_0_2_node_68 | 0.4 | n |  | TRUE
30 | bus_LV_3561-36_0_2_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_3561-36_0_2_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_3561-36_0_2_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_3561-36_0_2_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_3561-36_0_2_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_3561-36_0_2_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_3561-36_0_2_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_3561-36_0_2_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_3561-36_0_2_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_3561-36_0_2_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_3561-36_0_2_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_3561-36_0_2_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_3561-36_0_2_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_3561-36_0_2_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_3561-36_0_2_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_3561-36_0_2_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_3561-36_0_2_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_3561-36_0_2_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_3561-36_0_2_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_3561-36_0_2_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_3561-36_0_2_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_3561-36_0_2_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_3561-36_0_2_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_3561-36_0_2_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_3561-36_0_2_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_3561-36_0_2_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_3561-36_0_2_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_3561-36_0_2_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_3561-36_0_2_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_3561-36_0_2_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_3561-36_0_2_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_3561-36_0_2_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_3561-36_0_2_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_3561-36_0_2_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_3561-36_0_2_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_3561-36_0_2_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_3561-36_0_2_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_3561-36_0_2_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_3561-36_0_2_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_3561-36_0_2_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_3561-36_0_2_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_3561-36_0_2_node_72 | 0.4 | n |  | TRUE
72 | bus_MV_160_0_node_94 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3561-36_0_2_load_0 | 0 | 0.00049781 | 0.00012476 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3561-36_0_2_load_1 | 1 | 0.0009259 | 0.00023205 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3561-36_0_2_load_73 | 4 | 0.00097307 | 0.00024387 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3561-36_0_2_load_70 | 5 | 0.0072085 | 0.0018066 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3561-36_0_2_load_5 | 6 | 0.0017827 | 0.0004468 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3561-36_0_2_load_6 | 7 | 0.0016957 | 0.00042499 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3561-36_0_2_load_8 | 9 | 0.0013622 | 0.00034141 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3561-36_0_2_load_10 | 11 | 0.0014517 | 0.00036382 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3561-36_0_2_load_11 | 12 | 0.002082 | 0.00052179 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3561-36_0_2_load_15 | 13 | 0.0037155 | 0.00093119 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3561-36_0_2_load_62 | 15 | 0.0010777 | 0.0002701 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3561-36_0_2_load_12 | 16 | 0.0013024 | 0.00032642 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3561-36_0_2_load_16 | 17 | 0.0015243 | 0.00038202 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3561-36_0_2_load_17 | 18 | 0.0061103 | 0.0015314 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3561-36_0_2_load_18 | 19 | 0.0028945 | 0.00072543 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3561-36_0_2_load_20 | 20 | 0.0074028 | 0.0018553 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3561-36_0_2_load_21 | 21 | 0.0050098 | 0.0012556 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3561-36_0_2_load_23 | 23 | 0.00102 | 0.00025564 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3561-36_0_2_load_61 | 24 | 0.00085083 | 0.00021324 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3561-36_0_2_load_13 | 25 | 0.0095593 | 0.0023958 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3561-36_0_2_load_14 | 26 | 0.0018389 | 0.00046087 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3561-36_0_2_load_24 | 27 | 0.0010267 | 0.00025732 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3561-36_0_2_load_25 | 28 | 0.0011021 | 0.0002762 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3561-36_0_2_load_68 | 29 | 0.00064818 | 0.00016245 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3561-36_0_2_load_63 | 30 | 0.0013279 | 0.0003328 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3561-36_0_2_load_64 | 31 | 0.00027575 | 6.911e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3561-36_0_2_load_65 | 32 | 0.00028245 | 7.0788e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3561-36_0_2_load_26 | 35 | 0.00073273 | 0.00018364 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3561-36_0_2_load_29 | 38 | 0.00086915 | 0.00021783 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3561-36_0_2_load_33 | 39 | 0.0047635 | 0.0011939 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3561-36_0_2_load_30 | 40 | 0.003441 | 0.00086239 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3561-36_0_2_load_34 | 41 | 0.0012425 | 0.00031139 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3561-36_0_2_load_31 | 42 | 0.0018919 | 0.00047416 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3561-36_0_2_load_32 | 43 | 0.0012919 | 0.00032379 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3561-36_0_2_load_59 | 45 | 0.0012579 | 0.00031525 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3561-36_0_2_load_56 | 46 | 0.0011919 | 0.00029872 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3561-36_0_2_load_35 | 47 | 0.0023911 | 0.00059928 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3561-36_0_2_load_36 | 48 | 0.0039754 | 0.00099633 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3561-36_0_2_load_38 | 49 | 0.0011282 | 0.00028276 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3561-36_0_2_load_39 | 50 | 0.0014446 | 0.00036205 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3561-36_0_2_load_37 | 51 | 0.00077308 | 0.00019375 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3561-36_0_2_load_51 | 52 | 0.00034269 | 8.5885e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3561-36_0_2_load_44 | 55 | 0.00063556 | 0.00015929 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3561-36_0_2_load_40 | 56 | 0.0014619 | 0.00036639 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3561-36_0_2_load_41 | 57 | 0.00063977 | 0.00016034 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3561-36_0_2_load_43 | 58 | 0.00041731 | 0.00010459 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3561-36_0_2_load_46 | 61 | 0.00035696 | 8.9463e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3561-36_0_2_load_52 | 62 | 0.001837 | 0.00046039 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3561-36_0_2_load_48 | 63 | 0.00043576 | 0.00010921 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3561-36_0_2_load_49 | 64 | 0.00037631 | 9.4313e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3561-36_0_2_load_60 | 65 | 0.0014332 | 0.00035919 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3561-36_0_2_load_55 | 66 | 0.0023515 | 0.00058934 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3561-36_0_2_load_71 | 69 | 0.0012533 | 0.00031411 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3561-36_0_2_load_69 | 70 | 0.0020612 | 0.00051659 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3561-36_0_2_load_72 | 71 | 0.0021965 | 0.0005505 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3561-36_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0081744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3561-36_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.046239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3561-36_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.044824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3561-36_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.1234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3561-36_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.16652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3561-36_0_2_line_5 | NAYY 4x150 SE | 5 | 70 | 0.021275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3561-36_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.014954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3561-36_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.015679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3561-36_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.00013348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3561-36_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.046621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3561-36_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.041918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3561-36_0_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.018948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3561-36_0_2_line_12 | NAYY 4x150 SE | 10 | 13 | 0.019144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3561-36_0_2_line_13 | NAYY 4x150 SE | 10 | 14 | 0.064512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3561-36_0_2_line_14 | NAYY 4x150 SE | 11 | 15 | 0.0060983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3561-36_0_2_line_15 | NAYY 4x150 SE | 12 | 16 | 0.013829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3561-36_0_2_line_16 | NAYY 4x150 SE | 13 | 17 | 0.065649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3561-36_0_2_line_17 | NAYY 4x150 SE | 14 | 21 | 0.018672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3561-36_0_2_line_18 | NAYY 4x150 SE | 14 | 18 | 0.0008552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3561-36_0_2_line_19 | NAYY 4x150 SE | 15 | 24 | 0.0088275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3561-36_0_2_line_20 | NAYY 4x150 SE | 16 | 25 | 0.002058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3561-36_0_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.011572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3561-36_0_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.028574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3561-36_0_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.041168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3561-36_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.064192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3561-36_0_2_line_25 | NAYY 4x150 SE | 23 | 27 | 0.075819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3561-36_0_2_line_26 | NAYY 4x150 SE | 24 | 65 | 0.016121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3561-36_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.01068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3561-36_0_2_line_28 | NAYY 4x150 SE | 27 | 28 | 0.0067431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3561-36_0_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.0012276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3561-36_0_2_line_30 | NAYY 4x150 SE | 29 | 34 | 0.01294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3561-36_0_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.013135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3561-36_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.0038406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3561-36_0_2_line_33 | NAYY 4x150 SE | 31 | 33 | 0.021112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3561-36_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.002086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3561-36_0_2_line_35 | NAYY 4x150 SE | 35 | 36 | 0.024633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3561-36_0_2_line_36 | NAYY 4x150 SE | 36 | 37 | 0.027798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3561-36_0_2_line_37 | NAYY 4x150 SE | 36 | 38 | 0.042861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3561-36_0_2_line_38 | NAYY 4x150 SE | 37 | 39 | 0.0015895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3561-36_0_2_line_39 | NAYY 4x150 SE | 37 | 40 | 0.0199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3561-36_0_2_line_40 | NAYY 4x150 SE | 39 | 41 | 0.017922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3561-36_0_2_line_41 | NAYY 4x150 SE | 40 | 42 | 0.064755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3561-36_0_2_line_42 | NAYY 4x150 SE | 41 | 47 | 0.015107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3561-36_0_2_line_43 | NAYY 4x150 SE | 42 | 43 | 0.016601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3561-36_0_2_line_44 | NAYY 4x150 SE | 43 | 44 | 0.010998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3561-36_0_2_line_45 | NAYY 4x150 SE | 44 | 45 | 0.030684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3561-36_0_2_line_46 | NAYY 4x150 SE | 44 | 46 | 0.029365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3561-36_0_2_line_47 | NAYY 4x150 SE | 45 | 65 | 0.0022065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3561-36_0_2_line_48 | NAYY 4x150 SE | 46 | 66 | 0.0089026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3561-36_0_2_line_49 | NAYY 4x150 SE | 47 | 48 | 0.030943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3561-36_0_2_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0025764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3561-36_0_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.0094229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3561-36_0_2_line_52 | NAYY 4x150 SE | 50 | 54 | 0.0047485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3561-36_0_2_line_53 | NAYY 4x150 SE | 51 | 52 | 0.17495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3561-36_0_2_line_54 | NAYY 4x150 SE | 52 | 53 | 0.033619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3561-36_0_2_line_55 | NAYY 4x150 SE | 53 | 64 | 0.015516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3561-36_0_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.025695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3561-36_0_2_line_57 | NAYY 4x150 SE | 54 | 56 | 0.02889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3561-36_0_2_line_58 | NAYY 4x150 SE | 55 | 60 | 0.0084427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3561-36_0_2_line_59 | NAYY 4x150 SE | 56 | 57 | 0.0094414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3561-36_0_2_line_60 | NAYY 4x150 SE | 57 | 58 | 0.0085818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3561-36_0_2_line_61 | NAYY 4x150 SE | 58 | 59 | 0.012693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3561-36_0_2_line_62 | NAYY 4x150 SE | 59 | 61 | 0.0065291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3561-36_0_2_line_63 | NAYY 4x150 SE | 60 | 62 | 0.028201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3561-36_0_2_line_64 | NAYY 4x150 SE | 61 | 63 | 0.011701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3561-36_0_2_line_65 | NAYY 4x150 SE | 63 | 64 | 0.028673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3561-36_0_2_line_66 | NAYY 4x150 SE | 66 | 67 | 0.12474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3561-36_0_2_line_67 | NAYY 4x150 SE | 67 | 68 | 0.045455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3561-36_0_2_line_68 | NAYY 4x150 SE | 68 | 69 | 0.034926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3561-36_0_2_line_69 | NAYY 4x150 SE | 68 | 70 | 0.03886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3561-36_0_2_line_70 | NAYY 4x150 SE | 69 | 71 | 0.027218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3561-36_0_2_trafo_59 | 0.25 MVA 20/0.4 kV | 72 | 45 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2801653.1035 | 1131977.933 | 2801653.1035 | 1131977.933 | 2801652.3833 | 1131982.8807 | 2801653.5924 | 1131985.816
1 | 2801685.7073 | 1131946.0987 | 2801663.848 | 1131965.2449 | 2801654.832 | 1131972.7964 | 2801653.1035 | 1131977.933
2 | 2801685.7073 | 1131946.0987 | 2801699.6185 | 1131933.9168 | 2801718.9788 | 1131915.9775
3 | 2801718.9788 | 1131915.9775 | 2801814.3458 | 1131837.6679
4 | 2801814.3458 | 1131837.6679 | 2801963.5451 | 1131911.6159
5 | 2801963.5451 | 1131911.6159 | 2801969.8741 | 1131931.9279
6 | 2802113.5795 | 1132154.2607 | 2802107.5514 | 1132167.9457
7 | 2802119.9001 | 1132139.9119 | 2802113.5795 | 1132154.2607
8 | 2802107.5514 | 1132167.9457 | 2802107.4976 | 1132168.0678
9 | 2802160.8452 | 1132162.4266 | 2802119.9001 | 1132139.9119
10 | 2802119.9001 | 1132139.9119 | 2802124.4974 | 1132131.0564 | 2802137.8307 | 1132102.0319
11 | 2802107.4976 | 1132168.0678 | 2802099.8595 | 1132185.4077
12 | 2802160.8452 | 1132162.4266 | 2802169.4307 | 1132145.3154
13 | 2802160.8452 | 1132162.4266 | 2802169.9217 | 1132226.2966
14 | 2802137.8307 | 1132102.0319 | 2802140.3764 | 1132096.4904
15 | 2802095.5536 | 1132198.5262 | 2802098.4626 | 1132188.5791 | 2802099.8595 | 1132185.4077
16 | 2802169.4307 | 1132145.3154 | 2802174.852 | 1132134.5104 | 2802196.7635 | 1132090.82 | 2802198.8167 | 1132086.6105
17 | 2802169.9217 | 1132226.2966 | 2802161.9039 | 1132243.1597
18 | 2802169.9217 | 1132226.2966 | 2802170.7368 | 1132226.5555
19 | 2802140.3764 | 1132096.4904 | 2802141.1992 | 1132094.6993 | 2802143.5926 | 1132088.2741
20 | 2802095.5536 | 1132198.5262 | 2802094.976 | 1132200.5015
21 | 2802170.7368 | 1132226.5555 | 2802181.7658 | 1132230.059
22 | 2802181.7658 | 1132230.059 | 2802186.8297 | 1132231.6676 | 2802203.0603 | 1132237.4721 | 2802208.9006 | 1132238.9478
23 | 2802244.7465 | 1132222.64 | 2802229.2214 | 1132235.3561 | 2802223.3498 | 1132237.84 | 2802217.2415 | 1132239.3373 | 2802211.6357 | 1132239.6389 | 2802208.9006 | 1132238.9478
24 | 2802244.7465 | 1132222.64 | 2802286.9072 | 1132188.1258 | 2802294.4377 | 1132182.0035
25 | 2802294.4377 | 1132182.0035 | 2802313.6332 | 1132166.3975 | 2802353.3421 | 1132134.2662
26 | 2802147.1424 | 1132072.6042 | 2802146.5699 | 1132077.7056 | 2802144.2479 | 1132086.5149 | 2802143.5926 | 1132088.2741
27 | 2802091.9783 | 1132210.7521 | 2802094.976 | 1132200.5015
28 | 2802353.3421 | 1132134.2662 | 2802358.584 | 1132130.0246
29 | 2802359.5383 | 1132129.2524 | 2802358.584 | 1132130.0246
30 | 2802369.598 | 1132121.1125 | 2802359.5383 | 1132129.2524
31 | 2802384.4327 | 1132088.2054 | 2802383.7306 | 1132090.1644 | 2802379.432 | 1132100.3483
32 | 2802384.4327 | 1132088.2054 | 2802385.7284 | 1132084.5899
33 | 2802371.2221 | 1132119.7988 | 2802379.432 | 1132100.3483
34 | 2802371.2221 | 1132119.7988 | 2802369.598 | 1132121.1125
35 | 2802175.8266 | 1131927.6501 | 2802166.3585 | 1131931.4152 | 2802158.351 | 1131938.5215 | 2802157.3715 | 1131942.1286
36 | 2802200.977 | 1131939.6482 | 2802175.8266 | 1131927.6501
37 | 2802175.8266 | 1131927.6501 | 2802166.8882 | 1131921.5782 | 2802144.248 | 1131898.8858
38 | 2802200.977 | 1131939.6482 | 2802201.6703 | 1131938.2179
39 | 2802200.977 | 1131939.6482 | 2802192.2908 | 1131957.5528
40 | 2802209.4885 | 1131922.0908 | 2802201.6703 | 1131938.2179
41 | 2802192.2908 | 1131957.5528 | 2802191.8283 | 1131958.5062 | 2802183.6536 | 1131974.0601 | 2802161.4762 | 1132014.5026
42 | 2802209.4885 | 1131922.0908 | 2802216.0786 | 1131908.497
43 | 2802161.4762 | 1132014.5026 | 2802160.0854 | 1132017.0389 | 2802154.6361 | 1132029.236 | 2802154.5182 | 1132029.5652
44 | 2802150.81 | 1132039.9192 | 2802154.5182 | 1132029.5652
45 | 2802150.81 | 1132039.9192 | 2802147.3884 | 1132070.4114
46 | 2802150.81 | 1132039.9192 | 2802123.5752 | 1132028.94
47 | 2802147.3884 | 1132070.4114 | 2802147.1424 | 1132072.6042
48 | 2802115.3183 | 1132025.6113 | 2802123.5752 | 1132028.94
49 | 2802229.2665 | 1131880.5055 | 2802219.1182 | 1131902.2271 | 2802216.0786 | 1131908.497
50 | 2802229.2665 | 1131880.5055 | 2802230.3571 | 1131878.1712
51 | 2802230.3571 | 1131878.1712 | 2802234.3456 | 1131869.6341
52 | 2802236.3555 | 1131865.332 | 2802234.3456 | 1131869.6341
53 | 2802141.4153 | 1131763.7624 | 2802108.8533 | 1131591.8735
54 | 2802166.8799 | 1131771.9223 | 2802146.2991 | 1131772.3791 | 2802142.9816 | 1131772.4682 | 2802141.8702 | 1131771.8193 | 2802140.9799 | 1131770.5549 | 2802140.4569 | 1131767.7567 | 2802141.4153 | 1131763.7624
55 | 2802166.8799 | 1131771.9223 | 2802166.6038 | 1131774.1821 | 2802168.0514 | 1131777.2226 | 2802172.6512 | 1131785.9579
56 | 2802236.3555 | 1131865.332 | 2802238.4814 | 1131860.7762 | 2802242.9429 | 1131850.6927 | 2802246.6315 | 1131841.7849
57 | 2802236.3555 | 1131865.332 | 2802227.5905 | 1131860.7563 | 2802225.0794 | 1131858.4032 | 2802222.1735 | 1131849.6524 | 2802216.5551 | 1131846.7128
58 | 2802249.8616 | 1131833.9845 | 2802246.6315 | 1131841.7849
59 | 2802216.5551 | 1131846.7128 | 2802210.3862 | 1131843.4851 | 2802208.1521 | 1131842.4106
60 | 2802200.4182 | 1131838.6911 | 2802208.1521 | 1131842.4106
61 | 2802194.5044 | 1131827.4594 | 2802200.4182 | 1131838.6911
62 | 2802194.5044 | 1131827.4594 | 2802191.4624 | 1131821.6823
63 | 2802249.8616 | 1131833.9845 | 2802232.3355 | 1131827.0132 | 2802228.0903 | 1131824.1905 | 2802225.5502 | 1131820.7943
64 | 2802191.4624 | 1131821.6823 | 2802186.0107 | 1131811.329
65 | 2802186.0107 | 1131811.329 | 2802172.6512 | 1131785.9579
66 | 2802115.3183 | 1132025.6113 | 2801991.1813 | 1132013.3894
67 | 2801991.1813 | 1132013.3894 | 2801990.7128 | 1132008.958 | 2801988.7302 | 1132001.1726 | 2801981.4345 | 1131969.0288
68 | 2801981.4345 | 1131969.0288 | 2801974.1888 | 1131966.9623 | 2801961.3593 | 1131967.7568 | 2801949.0471 | 1131971.2936 | 2801947.8264 | 1131972.5153
69 | 2801981.4345 | 1131969.0288 | 2801969.8741 | 1131931.9279
70 | 2801947.8264 | 1131972.5153 | 2801945.0358 | 1131975.3082 | 2801943.2887 | 1131979.6099 | 2801944.1398 | 1131986.8903 | 2801947.1411 | 1131993.4863 | 2801946.5758 | 1131997.4966

## bus_geodata
| x | y | coords
0 | 2801653.1035 | 1131977.933
1 | 2801653.5924 | 1131985.816
2 | 2801685.7073 | 1131946.0987
3 | 2801718.9788 | 1131915.9775
4 | 2801814.3458 | 1131837.6679
5 | 2801963.5451 | 1131911.6159
6 | 2802113.5795 | 1132154.2607
7 | 2802107.5514 | 1132167.9457
8 | 2802119.9001 | 1132139.9119
9 | 2802107.4976 | 1132168.0678
10 | 2802160.8452 | 1132162.4266
11 | 2802137.8307 | 1132102.0319
12 | 2802099.8595 | 1132185.4077
13 | 2802169.4307 | 1132145.3154
14 | 2802169.9217 | 1132226.2966
15 | 2802140.3763 | 1132096.4904
16 | 2802095.5536 | 1132198.5262
17 | 2802198.8167 | 1132086.6105
18 | 2802170.7368 | 1132226.5555
19 | 2802181.7658 | 1132230.059
20 | 2802208.9006 | 1132238.9478
21 | 2802161.9039 | 1132243.1597
22 | 2802244.7465 | 1132222.64
23 | 2802294.4377 | 1132182.0035
24 | 2802143.5926 | 1132088.2741
25 | 2802094.976 | 1132200.5015
26 | 2802091.9783 | 1132210.7521
27 | 2802353.3421 | 1132134.2662
28 | 2802358.584 | 1132130.0246
29 | 2802359.5383 | 1132129.2524
30 | 2802384.4327 | 1132088.2054
31 | 2802379.432 | 1132100.3483
32 | 2802385.7284 | 1132084.5899
33 | 2802371.2221 | 1132119.7988
34 | 2802369.598 | 1132121.1125
35 | 2802157.3715 | 1131942.1286
36 | 2802175.8266 | 1131927.6501
37 | 2802200.977 | 1131939.6482
38 | 2802144.248 | 1131898.8858
39 | 2802201.6703 | 1131938.2179
40 | 2802192.2908 | 1131957.5528
41 | 2802209.4885 | 1131922.0908
42 | 2802161.4762 | 1132014.5026
43 | 2802154.5182 | 1132029.5652
44 | 2802150.81 | 1132039.9192
45 | 2802147.3884 | 1132070.4114
46 | 2802123.5752 | 1132028.94
47 | 2802216.0786 | 1131908.497
48 | 2802229.2665 | 1131880.5055
49 | 2802230.3571 | 1131878.1713
50 | 2802234.3456 | 1131869.6341
51 | 2802108.8533 | 1131591.8736
52 | 2802141.4153 | 1131763.7624
53 | 2802166.8799 | 1131771.9223
54 | 2802236.3555 | 1131865.332
55 | 2802246.6315 | 1131841.7849
56 | 2802216.5551 | 1131846.7128
57 | 2802208.1521 | 1131842.4106
58 | 2802200.4182 | 1131838.6911
59 | 2802194.5044 | 1131827.4594
60 | 2802249.8616 | 1131833.9845
61 | 2802191.4624 | 1131821.6823
62 | 2802225.5502 | 1131820.7943
63 | 2802186.0107 | 1131811.329
64 | 2802172.6512 | 1131785.9579
65 | 2802147.1424 | 1132072.6042
66 | 2802115.3183 | 1132025.6113
67 | 2801991.1813 | 1132013.3894
68 | 2801981.4345 | 1131969.0288
69 | 2801947.8264 | 1131972.5153
70 | 2801969.8741 | 1131931.9279
71 | 2801946.5758 | 1131997.4966
72 | 2802150.81 | 1132039.9192

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1