## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3561-38_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3561-38_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3561-38_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3561-38_0_3_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_3561-38_0_3_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_3561-38_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_3561-38_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_3561-38_0_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_3561-38_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3561-38_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_3561-38_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_3561-38_0_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_3561-38_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_3561-38_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3561-38_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_3561-38_0_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_3561-38_0_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_3561-38_0_3_node_92 | 0.4 | n |  | TRUE
18 | bus_LV_3561-38_0_3_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_3561-38_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_3561-38_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3561-38_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_3561-38_0_3_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_3561-38_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_3561-38_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_3561-38_0_3_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_3561-38_0_3_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_3561-38_0_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_3561-38_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_3561-38_0_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_3561-38_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_3561-38_0_3_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_3561-38_0_3_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_3561-38_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_3561-38_0_3_node_85 | 0.4 | n |  | TRUE
35 | bus_LV_3561-38_0_3_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_3561-38_0_3_node_77 | 0.4 | n |  | TRUE
37 | bus_LV_3561-38_0_3_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_3561-38_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_3561-38_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_3561-38_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_3561-38_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_3561-38_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_3561-38_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_3561-38_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_3561-38_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_3561-38_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_3561-38_0_3_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_3561-38_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_3561-38_0_3_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_3561-38_0_3_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_3561-38_0_3_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_3561-38_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_3561-38_0_3_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_3561-38_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_3561-38_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_3561-38_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_3561-38_0_3_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_3561-38_0_3_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_3561-38_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_3561-38_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_3561-38_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_3561-38_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_3561-38_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_3561-38_0_3_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_3561-38_0_3_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_3561-38_0_3_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_3561-38_0_3_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_3561-38_0_3_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_3561-38_0_3_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_3561-38_0_3_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_3561-38_0_3_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_3561-38_0_3_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_3561-38_0_3_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_3561-38_0_3_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_3561-38_0_3_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_3561-38_0_3_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_3561-38_0_3_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_3561-38_0_3_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_3561-38_0_3_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_3561-38_0_3_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_3561-38_0_3_node_91 | 0.4 | n |  | TRUE
82 | bus_LV_3561-38_0_3_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_3561-38_0_3_node_90 | 0.4 | n |  | TRUE
84 | bus_LV_3561-38_0_3_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_3561-38_0_3_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_3561-38_0_3_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_3561-38_0_3_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_3561-38_0_3_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_3561-38_0_3_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_3561-38_0_3_node_87 | 0.4 | n |  | TRUE
91 | bus_MV_160_0_node_95 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3561-38_0_3_load_0 | 0 | 0.00036825 | 9.2292e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3561-38_0_3_load_3 | 2 | 0.00035886 | 8.9938e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3561-38_0_3_load_7 | 3 | 0.00085298 | 0.00021378 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3561-38_0_3_load_8 | 4 | 0.0010294 | 0.00025799 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3561-38_0_3_load_9 | 6 | 0.00032603 | 8.1712e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3561-38_0_3_load_4 | 9 | 0.00062003 | 0.00015539 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3561-38_0_3_load_16 | 11 | 0.00041793 | 0.00010474 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3561-38_0_3_load_11 | 13 | 0.00057483 | 0.00014407 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3561-38_0_3_load_17 | 15 | 0.0010157 | 0.00025457 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3561-38_0_3_load_92 | 17 | 0.00061495 | 0.00015412 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3561-38_0_3_load_18 | 19 | 0.00046034 | 0.00011537 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3561-38_0_3_load_15 | 20 | 0.00047143 | 0.00011815 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3561-38_0_3_load_19 | 21 | 0.0010309 | 0.00025836 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3561-38_0_3_load_21 | 22 | 0.00022428 | 5.6211e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3561-38_0_3_load_22 | 23 | 0.0026435 | 0.00066252 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3561-38_0_3_load_25 | 24 | 0.0048588 | 0.0012177 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3561-38_0_3_load_23 | 25 | 0.0036109 | 0.00090497 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3561-38_0_3_load_28 | 27 | 0.0014065 | 0.00035251 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3561-38_0_3_load_26 | 28 | 0.0023657 | 0.00059291 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3561-38_0_3_load_29 | 29 | 0.0045021 | 0.0011283 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3561-38_0_3_load_30 | 30 | 0.0034827 | 0.00087284 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3561-38_0_3_load_32 | 32 | 0.0069009 | 0.0017295 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3561-38_0_3_load_33 | 33 | 0.004312 | 0.0010807 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3561-38_0_3_load_85 | 34 | 0.0047702 | 0.0011955 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3561-38_0_3_load_66 | 35 | 0.0041111 | 0.0010303 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3561-38_0_3_load_77 | 36 | 0.004352 | 0.0010907 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3561-38_0_3_load_65 | 37 | 0.0027034 | 0.00067755 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3561-38_0_3_load_34 | 38 | 0.0030437 | 0.00076283 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3561-38_0_3_load_35 | 39 | 0.0011743 | 0.0002943 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3561-38_0_3_load_38 | 41 | 0.0045385 | 0.0011374 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3561-38_0_3_load_37 | 42 | 0.009868 | 0.0024731 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3561-38_0_3_load_40 | 44 | 0.0037364 | 0.00093642 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3561-38_0_3_load_41 | 45 | 0.00070955 | 0.00017783 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3561-38_0_3_load_43 | 46 | 0.0013708 | 0.00034357 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3561-38_0_3_load_51 | 47 | 0.0013055 | 0.00032718 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3561-38_0_3_load_42 | 48 | 0.0017155 | 0.00042994 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3561-38_0_3_load_52 | 49 | 0.0039269 | 0.00098418 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3561-38_0_3_load_44 | 50 | 0.0016751 | 0.00041982 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3561-38_0_3_load_45 | 51 | 0.0044357 | 0.0011117 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3561-38_0_3_load_48 | 52 | 0.0033509 | 0.00083981 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3561-38_0_3_load_46 | 53 | 0.0031863 | 0.00079857 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3561-38_0_3_load_47 | 54 | 0.0045151 | 0.0011316 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3561-38_0_3_load_49 | 55 | 0.0032371 | 0.00081131 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3561-38_0_3_load_50 | 56 | 0.0050927 | 0.0012764 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3561-38_0_3_load_61 | 57 | 0.0054538 | 0.0013669 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3561-38_0_3_load_62 | 58 | 0.0025762 | 0.00064565 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3561-38_0_3_load_53 | 59 | 0.0026601 | 0.00066669 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3561-38_0_3_load_54 | 60 | 0.0035783 | 0.00089681 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3561-38_0_3_load_55 | 61 | 0.0039131 | 0.00098071 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3561-38_0_3_load_56 | 62 | 0.0037507 | 0.00094001 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3561-38_0_3_load_57 | 63 | 0.0027339 | 0.00068518 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3561-38_0_3_load_58 | 64 | 0.0039071 | 0.00097922 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3561-38_0_3_load_59 | 65 | 0.0015439 | 0.00038695 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3561-38_0_3_load_60 | 66 | 0.0031674 | 0.00079382 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3561-38_0_3_load_64 | 67 | 0.0019738 | 0.00049469 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3561-38_0_3_load_63 | 68 | 0.0029737 | 0.00074527 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3561-38_0_3_load_68 | 69 | 0.0024246 | 0.00060766 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3561-38_0_3_load_67 | 70 | 0.0022356 | 0.00056029 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3561-38_0_3_load_69 | 71 | 0.0039731 | 0.00099576 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3561-38_0_3_load_70 | 72 | 0.0042439 | 0.0010636 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3561-38_0_3_load_71 | 73 | 0.004177 | 0.0010469 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3561-38_0_3_load_72 | 74 | 0.0082489 | 0.0020674 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3561-38_0_3_load_80 | 75 | 0.0022506 | 0.00056406 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3561-38_0_3_load_79 | 76 | 0.0035058 | 0.00087864 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3561-38_0_3_load_73 | 77 | 0.0045066 | 0.0011295 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3561-38_0_3_load_74 | 78 | 0.0021096 | 0.0005287 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3561-38_0_3_load_76 | 80 | 0.0070345 | 0.001763 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3561-38_0_3_load_91 | 81 | 0.0036168 | 0.00090646 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3561-38_0_3_load_78 | 82 | 0.0011316 | 0.00028359 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3561-38_0_3_load_90 | 83 | 0.0011928 | 0.00029895 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3561-38_0_3_load_89 | 84 | 0.0086647 | 0.0021716 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3561-38_0_3_load_81 | 86 | 0.0018644 | 0.00046728 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3561-38_0_3_load_82 | 87 | 0.0017154 | 0.00042993 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3561-38_0_3_load_83 | 88 | 0.0044522 | 0.0011158 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3561-38_0_3_load_84 | 89 | 0.0068013 | 0.0017046 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3561-38_0_3_load_87 | 90 | 0.0040729 | 0.0010208 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3561-38_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.036162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3561-38_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.12279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3561-38_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.20542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3561-38_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.023687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3561-38_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.060339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3561-38_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.10046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3561-38_0_3_line_6 | NAYY 4x150 SE | 5 | 8 | 0.013552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3561-38_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.0089573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3561-38_0_3_line_8 | NAYY 4x150 SE | 7 | 10 | 0.043021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3561-38_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.020405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3561-38_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.036931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3561-38_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.012474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3561-38_0_3_line_12 | NAYY 4x150 SE | 11 | 20 | 0.013183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3561-38_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.016513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3561-38_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.033396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3561-38_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.054565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3561-38_0_3_line_16 | NAYY 4x150 SE | 15 | 19 | 0.011795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3561-38_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.052644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3561-38_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.026848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3561-38_0_3_line_19 | NAYY 4x150 SE | 18 | 24 | 0.024923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3561-38_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.0063847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3561-38_0_3_line_21 | NAYY 4x150 SE | 21 | 22 | 0.024298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3561-38_0_3_line_22 | NAYY 4x150 SE | 22 | 23 | 0.026042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3561-38_0_3_line_23 | NAYY 4x150 SE | 23 | 25 | 0.020308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3561-38_0_3_line_24 | NAYY 4x150 SE | 24 | 28 | 0.024159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3561-38_0_3_line_25 | NAYY 4x150 SE | 25 | 26 | 0.008214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3561-38_0_3_line_26 | NAYY 4x150 SE | 26 | 27 | 0.016301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3561-38_0_3_line_27 | NAYY 4x150 SE | 26 | 28 | 0.02026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3561-38_0_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.011309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3561-38_0_3_line_29 | NAYY 4x150 SE | 29 | 30 | 0.0034178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3561-38_0_3_line_30 | NAYY 4x150 SE | 30 | 31 | 0.029067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3561-38_0_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.032762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3561-38_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.014818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3561-38_0_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.016003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3561-38_0_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.017428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3561-38_0_3_line_35 | NAYY 4x150 SE | 34 | 36 | 0.019749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3561-38_0_3_line_36 | NAYY 4x150 SE | 35 | 37 | 0.024253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3561-38_0_3_line_37 | NAYY 4x150 SE | 36 | 79 | 0.0036317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3561-38_0_3_line_38 | NAYY 4x150 SE | 37 | 67 | 0.015288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3561-38_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.054843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3561-38_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.034425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3561-38_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.054536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3561-38_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.043002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3561-38_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.074151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3561-38_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.034663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_3561-38_0_3_line_45 | NAYY 4x150 SE | 43 | 45 | 0.043201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_3561-38_0_3_line_46 | NAYY 4x150 SE | 44 | 46 | 0.024635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_3561-38_0_3_line_47 | NAYY 4x150 SE | 45 | 47 | 0.014962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_3561-38_0_3_line_48 | NAYY 4x150 SE | 46 | 48 | 0.0016219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_3561-38_0_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.052423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_3561-38_0_3_line_50 | NAYY 4x150 SE | 48 | 50 | 0.0042754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_3561-38_0_3_line_51 | NAYY 4x150 SE | 49 | 59 | 0.0046634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_3561-38_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.022133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_3561-38_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.0018734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_3561-38_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.011663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_3561-38_0_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.021681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_3561-38_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.020668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_3561-38_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.014925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_3561-38_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.020961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3561-38_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.013471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3561-38_0_3_line_60 | NAYY 4x150 SE | 58 | 68 | 0.01003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3561-38_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.01245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_3561-38_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.018635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_3561-38_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.016604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_3561-38_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.018113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_3561-38_0_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.0026137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_3561-38_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.016912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3561-38_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.0012406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3561-38_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.0028902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3561-38_0_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.0065334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3561-38_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.0016574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3561-38_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.00146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3561-38_0_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.003525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3561-38_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.0056565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3561-38_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.014146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3561-38_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.00094777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3561-38_0_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.0022413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3561-38_0_3_line_77 | NAYY 4x150 SE | 76 | 86 | 0.002091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3561-38_0_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.011479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3561-38_0_3_line_79 | NAYY 4x150 SE | 77 | 79 | 0.023683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3561-38_0_3_line_80 | NAYY 4x150 SE | 78 | 80 | 0.010658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3561-38_0_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.0040128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3561-38_0_3_line_82 | NAYY 4x150 SE | 81 | 84 | 0.020303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3561-38_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.01607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3561-38_0_3_line_84 | NAYY 4x150 SE | 83 | 85 | 0.034806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3561-38_0_3_line_85 | NAYY 4x150 SE | 84 | 85 | 0.0092239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3561-38_0_3_line_86 | NAYY 4x150 SE | 85 | 90 | 0.0064002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3561-38_0_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.00013641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3561-38_0_3_line_88 | NAYY 4x150 SE | 87 | 88 | 0.012657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3561-38_0_3_line_89 | NAYY 4x150 SE | 88 | 89 | 0.015308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3561-38_0_3_trafo_58 | 0.25 MVA 20/0.4 kV | 91 | 64 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2802930.0634 | 1132553.4513 | 2802934.6832 | 1132545.3313 | 2802935.879 | 1132533.37 | 2802936.1989 | 1132530.5 | 2802936.8188 | 1132527.6512 | 2802939.0161 | 1132523.0423 | 2802941.0382 | 1132519.7199
1 | 2802930.0634 | 1132553.4513 | 2802998.2165 | 1132655.5889
2 | 2802729.8845 | 1132507.3518 | 2802930.0634 | 1132553.4513
3 | 2802729.8845 | 1132507.3518 | 2802728.4925 | 1132483.7061
4 | 2802708.0466 | 1132559.9202 | 2802716.0059 | 1132552.4126 | 2802722.7658 | 1132545.2763 | 2802725.3389 | 1132541.6366 | 2802727.9664 | 1132535.2291 | 2802729.4462 | 1132530.407 | 2802730.1615 | 1132525.8596 | 2802730.5499 | 1132518.654 | 2802729.8845 | 1132507.3518
5 | 2802728.4925 | 1132483.7061 | 2802726.368 | 1132447.6175 | 2802725.0427 | 1132434.0589 | 2802724.8332 | 1132428.5906 | 2802725.4946 | 1132421.5165 | 2802727.166 | 1132415.1214 | 2802728.7498 | 1132410.6477 | 2802731.8831 | 1132405.7031 | 2802735.0302 | 1132401.7267 | 2802739.1764 | 1132398.2956 | 2802745.439 | 1132393.812 | 2802747.3623 | 1132391.8523
6 | 2802698.1547 | 1132569.2093 | 2802704.8389 | 1132562.9491 | 2802708.0466 | 1132559.9202
7 | 2802748.3667 | 1132383.0545 | 2802748.5647 | 1132385.6528 | 2802748.204 | 1132389.2778 | 2802747.3623 | 1132391.8523
8 | 2802705.9451 | 1132381.8974 | 2802739.4519 | 1132380.2193 | 2802742.9752 | 1132380.649 | 2802745.7769 | 1132381.2213 | 2802747.1982 | 1132382.0476 | 2802748.3667 | 1132383.0545
9 | 2802698.1547 | 1132569.2093 | 2802685.4641 | 1132553.2303
10 | 2802705.9451 | 1132381.8974 | 2802707.2305 | 1132392.0511 | 2802707.7822 | 1132396.7411 | 2802706.9071 | 1132418.6979
11 | 2802693.55 | 1132380.3357 | 2802699.2107 | 1132381.3821 | 2802705.9451 | 1132381.8974
12 | 2802706.3821 | 1132431.8709 | 2802706.9071 | 1132418.6979
13 | 2802693.55 | 1132380.3357 | 2802677.4922 | 1132376.2931
14 | 2802693.55 | 1132380.3357 | 2802692.6633 | 1132388.381 | 2802691.0735 | 1132399.0055 | 2802688.6764 | 1132407.0446 | 2802686.9282 | 1132412.9622
15 | 2802677.4922 | 1132376.2931 | 2802680.3942 | 1132372.0415 | 2802695.4989 | 1132372.5596 | 2802709.8283 | 1132367.7017 | 2802717.4879 | 1132355.8128 | 2802716.7525 | 1132350.8358
16 | 2802716.7525 | 1132350.8358 | 2802715.0284 | 1132339.1674
17 | 2802635.8067 | 1132315.9883 | 2802674.2421 | 1132328.2229 | 2802676.2332 | 1132329.5243 | 2802677.7795 | 1132330.9888 | 2802678.7652 | 1132333.3132 | 2802678.9311 | 1132338.7021
18 | 2802642.0525 | 1132290.1819 | 2802638.9203 | 1132296.9284 | 2802637.3985 | 1132301.6267 | 2802636.6024 | 1132305.8266 | 2802635.8067 | 1132315.9883
19 | 2802642.0525 | 1132290.1819 | 2802644.1917 | 1132288.2182 | 2802648.1252 | 1132285.614 | 2802663.016 | 1132276.804
20 | 2802714.0951 | 1132332.8513 | 2802715.0284 | 1132339.1674
21 | 2802714.0951 | 1132332.8513 | 2802713.1919 | 1132326.7384 | 2802707.3469 | 1132309.5886
22 | 2802707.3469 | 1132309.5886 | 2802703.7968 | 1132299.1724 | 2802703.1996 | 1132284.1465
23 | 2802703.1996 | 1132284.1465 | 2802702.393 | 1132263.8543
24 | 2802663.016 | 1132276.804 | 2802668.2642 | 1132273.6989 | 2802684.196 | 1132265.1906
25 | 2802702.0668 | 1132255.6468 | 2802702.393 | 1132263.8543
26 | 2802702.0668 | 1132255.6468 | 2802708.6679 | 1132242.6879 | 2802709.501 | 1132241.1399
27 | 2802702.0668 | 1132255.6468 | 2802684.196 | 1132265.1906
28 | 2802714.7618 | 1132231.1301 | 2802712.8603 | 1132234.8982 | 2802709.501 | 1132241.1399
29 | 2802714.7618 | 1132231.1301 | 2802716.3016 | 1132228.0787
30 | 2802729.8455 | 1132202.3671 | 2802724.197 | 1132212.4327 | 2802716.3016 | 1132228.0787
31 | 2802729.8455 | 1132202.3671 | 2802750.0946 | 1132176.6125
32 | 2802729.8455 | 1132202.3671 | 2802717.9119 | 1132193.5831
33 | 2802760.0185 | 1132164.0581 | 2802755.6104 | 1132169.597 | 2802750.0946 | 1132176.6125
34 | 2802703.7447 | 1132183.4379 | 2802708.2653 | 1132186.4825 | 2802717.9119 | 1132193.5831
35 | 2802760.0185 | 1132164.0581 | 2802772.3163 | 1132148.6056
36 | 2802683.6282 | 1132169.89 | 2802703.7447 | 1132183.4379
37 | 2802774.5778 | 1132145.7639 | 2802772.3163 | 1132148.6056
38 | 2802670.9482 | 1132161.3502 | 2802683.6282 | 1132169.89
39 | 2802400.706 | 1132035.725 | 2802395.4052 | 1132057.588 | 2802384.4926 | 1132088.0383
40 | 2802371.2221 | 1132119.7988 | 2802383.7306 | 1132090.1644 | 2802384.4926 | 1132088.0383
41 | 2802371.2221 | 1132119.7988 | 2802383.7335 | 1132111.6981 | 2802408.3079 | 1132095.7709 | 2802417.4006 | 1132090.8339
42 | 2802455.1916 | 1132070.3145 | 2802417.4006 | 1132090.8339
43 | 2802520.7531 | 1132035.6741 | 2802465.3983 | 1132064.7725 | 2802455.1916 | 1132070.3145
44 | 2802520.7531 | 1132035.6741 | 2802534.3507 | 1132028.5222 | 2802552.8312 | 1132022.9613
45 | 2802520.7531 | 1132035.6741 | 2802538.6043 | 1132075.0143
46 | 2802576.4212 | 1132015.863 | 2802552.8312 | 1132022.9613
47 | 2802538.6043 | 1132075.0143 | 2802539.967 | 1132078.0175 | 2802545.9111 | 1132088.0528
48 | 2802578.0429 | 1132015.8367 | 2802576.4212 | 1132015.863 | 2802576.4212 | 1132015.863
49 | 2802590.0158 | 1132113.9694 | 2802568.9159 | 1132105.416 | 2802550.063 | 1132095.0624 | 2802545.9111 | 1132088.0528
50 | 2802578.0429 | 1132015.8367 | 2802582.3177 | 1132015.7673
51 | 2802590.0158 | 1132113.9694 | 2802594.3376 | 1132115.7214
52 | 2802604.4479 | 1132015.4082 | 2802582.3177 | 1132015.7673
53 | 2802604.4479 | 1132015.4082 | 2802606.321 | 1132015.3778
54 | 2802617.9823 | 1132015.1886 | 2802606.321 | 1132015.3778
55 | 2802617.9823 | 1132015.1886 | 2802639.6606 | 1132014.8369 | 2802639.6606 | 1132014.8369
56 | 2802639.6606 | 1132014.8369 | 2802659.2885 | 1132021.3099
57 | 2802659.2885 | 1132021.3099 | 2802673.4624 | 1132025.9843
58 | 2802693.1325 | 1132033.0898 | 2802690.3496 | 1132031.5535 | 2802673.4624 | 1132025.9843
59 | 2802693.1325 | 1132033.0898 | 2802704.9256 | 1132039.5999
60 | 2802713.7069 | 1132044.4474 | 2802704.9256 | 1132039.5999
61 | 2802605.8756 | 1132120.3987 | 2802594.3376 | 1132115.7214
62 | 2802605.8756 | 1132120.3987 | 2802612.2001 | 1132122.9625 | 2802622.1752 | 1132129.2868
63 | 2802636.1985 | 1132138.1778 | 2802622.1752 | 1132129.2868
64 | 2802636.1985 | 1132138.1778 | 2802642.0419 | 1132141.8825 | 2802651.3267 | 1132148.1356
65 | 2802653.4946 | 1132149.5956 | 2802651.3267 | 1132148.1356
66 | 2802653.4946 | 1132149.5956 | 2802667.522 | 1132159.0428
67 | 2802668.551 | 1132159.7358 | 2802667.522 | 1132159.0428
68 | 2802668.551 | 1132159.7358 | 2802670.9482 | 1132161.3502
69 | 2802719.4267 | 1132047.6049 | 2802713.7069 | 1132044.4474
70 | 2802720.8777 | 1132048.4058 | 2802720.8777 | 1132048.4058 | 2802719.4267 | 1132047.6049
71 | 2802720.8777 | 1132048.4058 | 2802722.3336 | 1132048.5146
72 | 2802722.3336 | 1132048.5146 | 2802725.8488 | 1132048.7772
73 | 2802725.8488 | 1132048.7772 | 2802731.4896 | 1132049.1985
74 | 2802731.4896 | 1132049.1985 | 2802745.5967 | 1132050.2522
75 | 2802745.5967 | 1132050.2522 | 2802746.5418 | 1132050.3228
76 | 2802748.7768 | 1132050.4898 | 2802746.5418 | 1132050.3228
77 | 2802748.7768 | 1132050.4898 | 2802750.862 | 1132050.6455
78 | 2802786.208 | 1132125.1334 | 2802791.8449 | 1132115.1342
79 | 2802774.5778 | 1132145.7639 | 2802786.208 | 1132125.1334
80 | 2802797.0791 | 1132105.8496 | 2802791.8449 | 1132115.1342
81 | 2802797.0791 | 1132105.8496 | 2802799.0497 | 1132102.354
82 | 2802809.0202 | 1132084.6675 | 2802799.0497 | 1132102.354
83 | 2802824.134 | 1132109.249 | 2802824.4737 | 1132111.235 | 2802822.839 | 1132118.599 | 2802818.7904 | 1132123.6989
84 | 2802813.5499 | 1132076.6324 | 2802820.6916 | 1132089.1295 | 2802824.134 | 1132109.249
85 | 2802813.5499 | 1132076.6324 | 2802809.0202 | 1132084.6675
86 | 2802813.5499 | 1132076.6324 | 2802816.9345 | 1132071.2004
87 | 2802750.862 | 1132050.6455 | 2802750.9981 | 1132050.6557
88 | 2802750.9981 | 1132050.6557 | 2802756.0377 | 1132051.0321 | 2802763.4613 | 1132049.3874
89 | 2802778.4064 | 1132046.0762 | 2802763.4613 | 1132049.3874

## bus_geodata
| x | y | coords
0 | 2802941.0382 | 1132519.7199
1 | 2802930.0634 | 1132553.4513
2 | 2802998.2165 | 1132655.5889
3 | 2802729.8845 | 1132507.3518
4 | 2802728.4925 | 1132483.7061
5 | 2802708.0466 | 1132559.9202
6 | 2802747.3623 | 1132391.8523
7 | 2802748.3667 | 1132383.0545
8 | 2802698.1547 | 1132569.2093
9 | 2802685.4641 | 1132553.2303
10 | 2802705.9451 | 1132381.8974
11 | 2802706.9071 | 1132418.6979
12 | 2802693.55 | 1132380.3357
13 | 2802686.9282 | 1132412.9622
14 | 2802677.4922 | 1132376.2931
15 | 2802716.7525 | 1132350.8358
16 | 2802635.8067 | 1132315.9883
17 | 2802678.9311 | 1132338.7021
18 | 2802642.0525 | 1132290.1819
19 | 2802715.0284 | 1132339.1674
20 | 2802706.3821 | 1132431.8709
21 | 2802714.0951 | 1132332.8513
22 | 2802707.3469 | 1132309.5886
23 | 2802703.1996 | 1132284.1465
24 | 2802663.016 | 1132276.804
25 | 2802702.393 | 1132263.8543
26 | 2802702.0668 | 1132255.6468
27 | 2802709.501 | 1132241.1399
28 | 2802684.196 | 1132265.1906
29 | 2802714.7618 | 1132231.1301
30 | 2802716.3016 | 1132228.0787
31 | 2802729.8455 | 1132202.3671
32 | 2802750.0946 | 1132176.6125
33 | 2802717.9119 | 1132193.5831
34 | 2802760.0185 | 1132164.0581
35 | 2802703.7447 | 1132183.4379
36 | 2802772.3163 | 1132148.6056
37 | 2802683.6282 | 1132169.89
38 | 2802400.706 | 1132035.725
39 | 2802384.4926 | 1132088.0383
40 | 2802371.2221 | 1132119.7988
41 | 2802417.4006 | 1132090.8339
42 | 2802455.1916 | 1132070.3145
43 | 2802520.7531 | 1132035.6741
44 | 2802552.8312 | 1132022.9613
45 | 2802538.6043 | 1132075.0143
46 | 2802576.4212 | 1132015.863
47 | 2802545.9111 | 1132088.0528
48 | 2802578.0429 | 1132015.8367
49 | 2802590.0158 | 1132113.9694
50 | 2802582.3177 | 1132015.7673
51 | 2802604.4479 | 1132015.4082
52 | 2802606.321 | 1132015.3778
53 | 2802617.9823 | 1132015.1886
54 | 2802639.6606 | 1132014.8369
55 | 2802659.2885 | 1132021.3099
56 | 2802673.4624 | 1132025.9843
57 | 2802693.1325 | 1132033.0898
58 | 2802704.9256 | 1132039.5999
59 | 2802594.3376 | 1132115.7214
60 | 2802605.8756 | 1132120.3987
61 | 2802622.1752 | 1132129.2868
62 | 2802636.1985 | 1132138.1778
63 | 2802651.3267 | 1132148.1356
64 | 2802653.4946 | 1132149.5956
65 | 2802667.522 | 1132159.0428
66 | 2802668.551 | 1132159.7358
67 | 2802670.9482 | 1132161.3502
68 | 2802713.7069 | 1132044.4474
69 | 2802719.4267 | 1132047.6049
70 | 2802720.8777 | 1132048.4058
71 | 2802722.3336 | 1132048.5146
72 | 2802725.8488 | 1132048.7772
73 | 2802731.4896 | 1132049.1985
74 | 2802745.5967 | 1132050.2522
75 | 2802746.5418 | 1132050.3228
76 | 2802748.7768 | 1132050.4898
77 | 2802786.208 | 1132125.1334
78 | 2802791.8449 | 1132115.1342
79 | 2802774.5778 | 1132145.7639
80 | 2802797.0791 | 1132105.8496
81 | 2802799.0497 | 1132102.354
82 | 2802818.7904 | 1132123.6989
83 | 2802824.134 | 1132109.249
84 | 2802809.0202 | 1132084.6675
85 | 2802813.5499 | 1132076.6324
86 | 2802750.862 | 1132050.6455
87 | 2802750.9981 | 1132050.6557
88 | 2802763.4613 | 1132049.3874
89 | 2802778.4064 | 1132046.0762
90 | 2802816.9345 | 1132071.2004
91 | 2802729.8455 | 1132202.3671

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1