## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3575-10_1_2_node_8 | 0.4 | n |  | TRUE
1 | bus_LV_3575-10_1_2_node_10 | 0.4 | n |  | TRUE
2 | bus_LV_3575-10_1_2_node_15 | 0.4 | n |  | TRUE
3 | bus_LV_3575-10_1_2_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_3575-10_1_2_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_3575-10_1_2_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_3575-10_1_2_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_3575-10_1_2_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_3575-10_1_2_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_3575-10_1_2_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_3575-10_1_2_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_3575-10_1_2_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_3575-10_1_2_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_3575-10_1_2_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_3575-10_1_2_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_3575-10_1_2_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_3575-10_1_2_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_3575-10_1_2_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_3575-10_1_2_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_3575-10_1_2_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_3575-10_1_2_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_3575-10_1_2_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_3575-10_1_2_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_3575-10_1_2_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_3575-10_1_2_node_33 | 0.4 | n |  | TRUE
25 | bus_MV_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3575-10_1_2_load_15 | 2 | 0.0013824 | 0.00034646 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3575-10_1_2_load_18 | 4 | 0.001097 | 0.00027494 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3575-10_1_2_load_20 | 5 | 0.0025689 | 0.00064384 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3575-10_1_2_load_27 | 8 | 0.0038187 | 0.00095706 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3575-10_1_2_load_29 | 11 | 0.0035698 | 0.00089468 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3575-10_1_2_load_28 | 12 | 0.0036102 | 0.0009048 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3575-10_1_2_load_31 | 13 | 0.0046218 | 0.0011583 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3575-10_1_2_load_16 | 14 | 0.0037616 | 0.00094274 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3575-10_1_2_load_23 | 15 | 0.0046526 | 0.001166 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3575-10_1_2_load_22 | 16 | 0.0010311 | 0.00025841 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3575-10_1_2_load_30 | 17 | 0.0027574 | 0.00069106 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3575-10_1_2_load_32 | 18 | 0.0033687 | 0.00084426 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3575-10_1_2_load_17 | 19 | 0.0027171 | 0.00068097 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3575-10_1_2_load_19 | 20 | 0.0010633 | 0.00026648 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3575-10_1_2_load_26 | 21 | 0.0033607 | 0.00084226 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3575-10_1_2_load_24 | 22 | 0.0029365 | 0.00073596 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3575-10_1_2_load_25 | 23 | 0.0032661 | 0.00081857 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3575-10_1_2_load_33 | 24 | 0.0044939 | 0.0011263 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3575-10_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.41389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3575-10_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.30778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3575-10_1_2_line_2 | NAYY 4x150 SE | 1 | 6 | 0.32955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3575-10_1_2_line_3 | NAYY 4x150 SE | 1 | 7 | 0.13036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3575-10_1_2_line_4 | NAYY 4x150 SE | 1 | 8 | 0.094745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3575-10_1_2_line_5 | NAYY 4x150 SE | 3 | 4 | 0.048753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3575-10_1_2_line_6 | NAYY 4x150 SE | 3 | 5 | 0.0031863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3575-10_1_2_line_7 | NAYY 4x150 SE | 4 | 14 | 0.022917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3575-10_1_2_line_8 | NAYY 4x150 SE | 5 | 7 | 0.060952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3575-10_1_2_line_9 | NAYY 4x150 SE | 6 | 13 | 0.024371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3575-10_1_2_line_10 | NAYY 4x150 SE | 7 | 9 | 0.022096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3575-10_1_2_line_11 | NAYY 4x150 SE | 8 | 12 | 0.029642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3575-10_1_2_line_12 | NAYY 4x150 SE | 9 | 15 | 0.032925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3575-10_1_2_line_13 | NAYY 4x150 SE | 9 | 16 | 0.12467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3575-10_1_2_line_14 | NAYY 4x150 SE | 10 | 11 | 0.018678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3575-10_1_2_line_15 | NAYY 4x150 SE | 10 | 12 | 0.028075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3575-10_1_2_line_16 | NAYY 4x150 SE | 11 | 17 | 0.047891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3575-10_1_2_line_17 | NAYY 4x150 SE | 13 | 18 | 0.031389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3575-10_1_2_line_18 | NAYY 4x150 SE | 14 | 19 | 0.12341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3575-10_1_2_line_19 | NAYY 4x150 SE | 15 | 21 | 0.04085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3575-10_1_2_line_20 | NAYY 4x150 SE | 18 | 24 | 0.0013395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3575-10_1_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.20026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3575-10_1_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0082479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3575-10_1_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.043859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3575-10_1_2_trafo_27 | 0.25 MVA 20/0.4 kV | 25 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29
0 | 2739266.43 | 1185710.1391 | 2739269.563 | 1185706.0865 | 2739275.3436 | 1185699.4824 | 2739284.7103 | 1185690.6822 | 2739294.0226 | 1185684.5494 | 2739300.5233 | 1185681.4537 | 2739309.3494 | 1185678.501 | 2739320.1223 | 1185676.8614 | 2739329.1659 | 1185677.6834 | 2739347.5604 | 1185682.5262 | 2739360.5435 | 1185683.6846 | 2739367.8954 | 1185683.0551 | 2739375.1931 | 1185681.1456 | 2739384.0836 | 1185676.7379 | 2739390.5978 | 1185671.0961 | 2739397.8253 | 1185662.035 | 2739402.9346 | 1185654.7593 | 2739432.4522 | 1185601.9603 | 2739457.893 | 1185523.2685 | 2739466.2007 | 1185500.9555 | 2739470.0977 | 1185493.6182 | 2739474.0757 | 1185488.3734 | 2739478.9464 | 1185483.4829 | 2739487.2322 | 1185478.1716 | 2739495.8063 | 1185475.2356 | 2739504.7615 | 1185473.9654 | 2739515.2698 | 1185473.5431 | 2739525.7261 | 1185475.3546 | 2739536.319 | 1185478.1813 | 2739540.6373 | 1185479.9611
1 | 2739266.43 | 1185710.1391 | 2739264.7226 | 1185707.0637 | 2739264.5135 | 1185705.224 | 2739265.0962 | 1185701.8349 | 2739274.8078 | 1185685.7592 | 2739289.0486 | 1185661.7381 | 2739293.31 | 1185657.7563 | 2739297.5227 | 1185655.8638 | 2739301.886 | 1185654.72 | 2739310.2933 | 1185653.3588 | 2739322.642 | 1185653.2348 | 2739336.7346 | 1185653.307 | 2739346.3575 | 1185651.8741 | 2739366.15 | 1185647.1753 | 2739372.3188 | 1185643.5826 | 2739384.6376 | 1185630.3144 | 2739390.4855 | 1185622.8001 | 2739391.9601 | 1185616.852 | 2739392.8155 | 1185608.6432 | 2739392.5038 | 1185593.5018 | 2739396.6175 | 1185574.2269 | 2739396.4518 | 1185567.2398 | 2739396.1481 | 1185551.4314 | 2739398.5319 | 1185542.1796 | 2739398.15 | 1185537.2669 | 2739393.6662 | 1185521.9394 | 2739378.5884 | 1185499.8936 | 2739374.5728 | 1185492.9836 | 2739374.5065 | 1185492.6666
2 | 2739631.403 | 1185767.1346 | 2739626.2609 | 1185764.6795 | 2739620.3813 | 1185760.1278 | 2739621.0881 | 1185752.0824 | 2739619.9131 | 1185743.5372 | 2739616.0068 | 1185728.034 | 2739616.8828 | 1185718.6248 | 2739625.2708 | 1185690.9207 | 2739633.6547 | 1185667.6534 | 2739637.4669 | 1185657.0784 | 2739634.936 | 1185643.164 | 2739629.5009 | 1185631.6617 | 2739617.7311 | 1185616.4532 | 2739595.1101 | 1185586.5804 | 2739584.8691 | 1185576.2003 | 2739575.5278 | 1185563.9064 | 2739563.7757 | 1185557.4275 | 2739556.8812 | 1185547.2701 | 2739552.9348 | 1185539.6944 | 2739550.3867 | 1185530.4389 | 2739545.8289 | 1185518.9571 | 2739542.4122 | 1185504.3771 | 2739540.5928 | 1185495.6279 | 2739540.6373 | 1185479.9611
3 | 2739540.6373 | 1185479.9611 | 2739536.319 | 1185478.1813 | 2739525.7261 | 1185475.3546 | 2739515.2698 | 1185473.5431 | 2739504.7615 | 1185473.9654 | 2739495.8063 | 1185475.2356 | 2739487.2322 | 1185478.1716 | 2739487.4257 | 1185472.1603 | 2739488.7943 | 1185466.51 | 2739491.6881 | 1185462.5743 | 2739495.5611 | 1185459.2174 | 2739501.2315 | 1185456.3805 | 2739508.26 | 1185453.5864 | 2739537.5481 | 1185444.4502 | 2739546.6068 | 1185443.983
4 | 2739540.6373 | 1185479.9611 | 2739552.8082 | 1185486.1717 | 2739569.5379 | 1185496.614 | 2739577.793 | 1185501.4657 | 2739583.5108 | 1185503.1447 | 2739589.3641 | 1185503.9261 | 2739596.6555 | 1185503.6068 | 2739604.7774 | 1185501.7279 | 2739620.2099 | 1185497.7289 | 2739627.6126 | 1185496.5671 | 2739628.4622 | 1185496.6002
5 | 2739495.8353 | 1185416.6459 | 2739471.2194 | 1185409.7452 | 2739448.1737 | 1185412.3074
6 | 2739495.8353 | 1185416.6459 | 2739498.6542 | 1185418.1313
7 | 2739438.761 | 1185399.2815 | 2739438.761 | 1185399.2815 | 2739436.9547 | 1185407.3346 | 2739440.2926 | 1185413.1836 | 2739448.1737 | 1185412.3074
8 | 2739546.6068 | 1185443.983 | 2739545.828 | 1185435.4693 | 2739537.4887 | 1185430.9493 | 2739527.6504 | 1185433.411 | 2739498.6542 | 1185418.1313
9 | 2739631.403 | 1185767.1346 | 2739640.2141 | 1185768.0963 | 2739655.3429 | 1185764.6891
10 | 2739566.0991 | 1185454.4897 | 2739561.571 | 1185452.2158 | 2739546.6068 | 1185443.983
11 | 2739628.4622 | 1185496.6002 | 2739634.7604 | 1185496.8451 | 2739643.2261 | 1185499.2109 | 2739656.6005 | 1185504.9381
12 | 2739566.0991 | 1185454.4897 | 2739571.1172 | 1185455.7298 | 2739576.6832 | 1185455.4037 | 2739582.283 | 1185453.6327 | 2739596.9158 | 1185446.4352
13 | 2739566.0991 | 1185454.4897 | 2739563.3409 | 1185430.6623 | 2739563.8945 | 1185402.9868 | 2739575.5911 | 1185394.1746 | 2739589.2007 | 1185401.5642 | 2739593.7381 | 1185396.566 | 2739593.3506 | 1185386.6603 | 2739599.185 | 1185373.5192 | 2739605.8196 | 1185363.7217
14 | 2739683.5879 | 1185506.9801 | 2739691.498 | 1185502.0718 | 2739698.4513 | 1185495.7934
15 | 2739683.5879 | 1185506.9801 | 2739678.3383 | 1185508.47 | 2739672.9475 | 1185509.4673 | 2739664.9225 | 1185508.5017 | 2739656.6005 | 1185504.9381
16 | 2739698.4513 | 1185495.7934 | 2739721.2458 | 1185475.211 | 2739734.2233 | 1185463.9554
17 | 2739655.3429 | 1185764.6891 | 2739673.9928 | 1185760.4889 | 2739686.078 | 1185758.3543
18 | 2739438.761 | 1185399.2815 | 2739450.6057 | 1185388.6933 | 2739485.7528 | 1185373.5551 | 2739493.6686 | 1185362.1749 | 2739497.9078 | 1185349.3302 | 2739496.5968 | 1185336.1227 | 2739475.522 | 1185316.8035
19 | 2739636.8617 | 1185439.3068 | 2739608.9349 | 1185442.3004 | 2739600.8667 | 1185444.4919 | 2739596.9158 | 1185446.4352
20 | 2739687.397 | 1185758.1213 | 2739686.078 | 1185758.3543
21 | 2739458.3492 | 1185195.5776 | 2739469.0396 | 1185224.7271 | 2739468.0758 | 1185236.2693 | 2739460.5828 | 1185239.3306 | 2739422.014 | 1185232.1829 | 2739416.1171 | 1185236.2155 | 2739416.1816 | 1185243.6117 | 2739453.6657 | 1185277.3216 | 2739472.5248 | 1185314.0561 | 2739475.522 | 1185316.8035
22 | 2739645.0626 | 1185438.4278 | 2739636.8617 | 1185439.3068
23 | 2739645.0626 | 1185438.4278 | 2739648.7227 | 1185438.0354 | 2739682.4255 | 1185433.1061 | 2739687.2953 | 1185429.4054

## bus_geodata
| x | y | coords
0 | 2739266.43 | 1185710.1391
1 | 2739540.6373 | 1185479.9611
2 | 2739374.5064 | 1185492.6666
3 | 2739495.8353 | 1185416.6459
4 | 2739448.1737 | 1185412.3074
5 | 2739498.6542 | 1185418.1313
6 | 2739631.403 | 1185767.1346
7 | 2739546.6068 | 1185443.983
8 | 2739628.4622 | 1185496.6002
9 | 2739566.0991 | 1185454.4897
10 | 2739683.5879 | 1185506.9801
11 | 2739698.4513 | 1185495.7934
12 | 2739656.6005 | 1185504.9381
13 | 2739655.3429 | 1185764.6891
14 | 2739438.761 | 1185399.2815
15 | 2739596.9158 | 1185446.4352
16 | 2739605.8196 | 1185363.7217
17 | 2739734.2233 | 1185463.9554
18 | 2739686.078 | 1185758.3543
19 | 2739475.522 | 1185316.8035
20 | 2739458.3492 | 1185195.5776
21 | 2739636.8617 | 1185439.3068
22 | 2739645.0626 | 1185438.4278
23 | 2739687.2953 | 1185429.4054
24 | 2739687.397 | 1185758.1213
25 | 2739628.4622 | 1185496.6002

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1