## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3575-3_1_2_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_3575-3_1_2_node_8 | 0.4 | n |  | TRUE
2 | bus_LV_3575-3_1_2_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_3575-3_1_2_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_3575-3_1_2_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_3575-3_1_2_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_3575-3_1_2_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_3575-3_1_2_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_3575-3_1_2_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_3575-3_1_2_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_3575-3_1_2_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_3575-3_1_2_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_3575-3_1_2_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_3575-3_1_2_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_3575-3_1_2_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_3575-3_1_2_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_3575-3_1_2_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_3575-3_1_2_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_3575-3_1_2_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_3575-3_1_2_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_3575-3_1_2_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_3575-3_1_2_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_3575-3_1_2_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_3575-3_1_2_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_3575-3_1_2_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_3575-3_1_2_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_3575-3_1_2_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_3575-3_1_2_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_3575-3_1_2_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_3575-3_1_2_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_3575-3_1_2_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_3575-3_1_2_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_3575-3_1_2_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_3575-3_1_2_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_3575-3_1_2_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_3575-3_1_2_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_3575-3_1_2_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_3575-3_1_2_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_3575-3_1_2_node_46 | 0.4 | n |  | TRUE
39 | bus_MV_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3575-3_1_2_load_7 | 0 | 0.00017102 | 4.2862e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3575-3_1_2_load_10 | 3 | 0.00018928 | 4.7438e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3575-3_1_2_load_11 | 4 | 0.00023411 | 5.8675e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3575-3_1_2_load_33 | 5 | 0.00016509 | 4.1375e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3575-3_1_2_load_34 | 6 | 0.00034512 | 8.6494e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3575-3_1_2_load_13 | 7 | 0.00019247 | 4.8236e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3575-3_1_2_load_15 | 8 | 0.00021766 | 5.455e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3575-3_1_2_load_14 | 9 | 0.00022158 | 5.5532e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3575-3_1_2_load_23 | 10 | 0.0017655 | 0.00044249 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3575-3_1_2_load_16 | 11 | 0.00018918 | 4.7413e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3575-3_1_2_load_17 | 12 | 0.00025893 | 6.4894e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3575-3_1_2_load_18 | 13 | 0.00032711 | 8.1982e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3575-3_1_2_load_20 | 15 | 0.00018087 | 4.533e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3575-3_1_2_load_22 | 17 | 0.00031372 | 7.8625e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3575-3_1_2_load_24 | 18 | 0.0016556 | 0.00041493 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3575-3_1_2_load_28 | 19 | 0.0002556 | 6.406e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3575-3_1_2_load_35 | 20 | 0.0018916 | 0.00047408 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3575-3_1_2_load_26 | 22 | 0.0035044 | 0.00087829 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3575-3_1_2_load_27 | 23 | 0.0026343 | 0.00066023 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3575-3_1_2_load_40 | 24 | 0.0015134 | 0.00037928 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3575-3_1_2_load_29 | 26 | 0.00023705 | 5.9411e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3575-3_1_2_load_30 | 27 | 0.00016564 | 4.1513e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3575-3_1_2_load_31 | 28 | 0.00020804 | 5.2139e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3575-3_1_2_load_32 | 29 | 0.00017952 | 4.4992e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3575-3_1_2_load_36 | 30 | 0.0021503 | 0.00053892 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3575-3_1_2_load_38 | 31 | 0.0024101 | 0.00060403 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3575-3_1_2_load_39 | 32 | 0.001664 | 0.00041703 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3575-3_1_2_load_41 | 33 | 0.0016213 | 0.00040635 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3575-3_1_2_load_45 | 34 | 0.0023866 | 0.00059815 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3575-3_1_2_load_42 | 35 | 0.0022049 | 0.0005526 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3575-3_1_2_load_44 | 37 | 0.0010477 | 0.00026257 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3575-3_1_2_load_46 | 38 | 0.0023467 | 0.00058814 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3575-3_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.22175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3575-3_1_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.017622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3575-3_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.16564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3575-3_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3575-3_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.032341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3575-3_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.018763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3575-3_1_2_line_6 | NAYY 4x150 SE | 5 | 29 | 0.036116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3575-3_1_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.02778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3575-3_1_2_line_8 | NAYY 4x150 SE | 8 | 10 | 0.22401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3575-3_1_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.032486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3575-3_1_2_line_10 | NAYY 4x150 SE | 10 | 16 | 0.058789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3575-3_1_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.016525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3575-3_1_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.12373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3575-3_1_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.031582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3575-3_1_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0068469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3575-3_1_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.10383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3575-3_1_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.0014485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3575-3_1_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.074137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3575-3_1_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.11035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3575-3_1_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.015428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3575-3_1_2_line_20 | NAYY 4x150 SE | 19 | 26 | 0.0047464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3575-3_1_2_line_21 | NAYY 4x150 SE | 20 | 30 | 0.097203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3575-3_1_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.19904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3575-3_1_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.18819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3575-3_1_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.31523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3575-3_1_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.020818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3575-3_1_2_line_26 | NAYY 4x150 SE | 24 | 34 | 0.097262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3575-3_1_2_line_27 | NAYY 4x150 SE | 25 | 31 | 0.036576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3575-3_1_2_line_28 | NAYY 4x150 SE | 25 | 30 | 0.088836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3575-3_1_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.025211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3575-3_1_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.057528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3575-3_1_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.014954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3575-3_1_2_line_32 | NAYY 4x150 SE | 31 | 32 | 0.055107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3575-3_1_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.031532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3575-3_1_2_line_34 | NAYY 4x150 SE | 33 | 35 | 0.18266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3575-3_1_2_line_35 | NAYY 4x150 SE | 34 | 38 | 0.14209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3575-3_1_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.090222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3575-3_1_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.13307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3575-3_1_2_trafo_25 | 0.25 MVA 20/0.4 kV | 39 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2737692.9386 | 1187928.2754 | 2737680.9758 | 1187936.7181 | 2737659.9779 | 1187955.0609 | 2737649.2259 | 1187961.9636 | 2737643.3836 | 1187964.787 | 2737625.4787 | 1187971.1027 | 2737600.8472 | 1187985.181 | 2737594.0216 | 1187990.2726 | 2737571.8829 | 1188000.4942 | 2737565.7543 | 1188010.7948 | 2737563.6188 | 1188014.3819 | 2737561.2375 | 1188018.3748 | 2737554.7034 | 1188039.6746 | 2737557.1763 | 1188044.98 | 2737568.1168 | 1188043.8082 | 2737575.8515 | 1188043.6524 | 2737581.3737 | 1188046.7817 | 2737585.5831 | 1188050.5814
1 | 2737692.9386 | 1187928.2754 | 2737695.7169 | 1187923.291 | 2737695.8401 | 1187917.9341 | 2737694.8909 | 1187914.7431 | 2737693.4076 | 1187911.8734
2 | 2737693.4076 | 1187911.8734 | 2737710.9613 | 1187899.6008 | 2737722.2896 | 1187883.9157 | 2737734.971 | 1187873.11 | 2737744.8092 | 1187860.1595 | 2737755.8399 | 1187820.9381 | 2737753.7381 | 1187784.2611 | 2737759.1817 | 1187770.8581
3 | 2737693.4076 | 1187911.8734 | 2737683.6826 | 1187912.2835 | 2737673.7497 | 1187897.5103 | 2737668.7076 | 1187878.8131 | 2737667.3326 | 1187846.6897 | 2737660.8156 | 1187826.413 | 2737653.1713 | 1187805.0428 | 2737647.8512 | 1187791.0699
4 | 2737774.6185 | 1187742.745 | 2737765.8906 | 1187754.3395 | 2737759.1817 | 1187770.8581
5 | 2737639.8212 | 1187774.1537 | 2737645.2398 | 1187784.2109 | 2737647.8512 | 1187791.0699
6 | 2737800.4031 | 1187717.6943 | 2737780.6762 | 1187734.6977 | 2737774.6185 | 1187742.745
7 | 2738265.7852 | 1187668.2811 | 2738279.3101 | 1187649.7677 | 2738282.8806 | 1187646.4821
8 | 2738222.8213 | 1187430.6742 | 2738282.8806 | 1187646.4821
9 | 2738313.2032 | 1187638.2858 | 2738306.5633 | 1187637.6431 | 2738294.8088 | 1187639.651 | 2738285.8996 | 1187643.704 | 2738282.8806 | 1187646.4821
10 | 2738167.7774 | 1187414.3984 | 2738182.5105 | 1187416.2953 | 2738207.6042 | 1187420.0439 | 2738222.8213 | 1187430.6742
11 | 2738037.7035 | 1187484.5934 | 2738041.7284 | 1187481.6778 | 2738049.312 | 1187476.1928 | 2738051.161 | 1187475.0079
12 | 2738037.7035 | 1187484.5934 | 2737996.6063 | 1187514.3636 | 2737940.7953 | 1187544.5682 | 2737932.4889 | 1187549.2254
13 | 2738077.7519 | 1187457.9674 | 2738051.161 | 1187475.0079
14 | 2737926.5166 | 1187552.5739 | 2737932.4889 | 1187549.2254
15 | 2738077.7519 | 1187457.9674 | 2738094.8454 | 1187449.5216 | 2738107.1327 | 1187436.3502 | 2738117.3962 | 1187427.858 | 2738129.2965 | 1187419.5482 | 2738148.8931 | 1187414.4406 | 2738167.7774 | 1187414.3984
16 | 2737925.2532 | 1187553.2823 | 2737926.5166 | 1187552.5739
17 | 2738167.7774 | 1187414.3984 | 2738171.213 | 1187407.4166 | 2738180.2174 | 1187402.5539 | 2738199.5234 | 1187388.8775 | 2738209.0844 | 1187378.7569 | 2738220.5021 | 1187364.1501
18 | 2737857.4175 | 1187634.2882 | 2737858.3337 | 1187632.3603 | 2737883.5959 | 1187603.586 | 2737894.9807 | 1187570.2554 | 2737925.2532 | 1187553.2823
19 | 2738227.5354 | 1187350.9553 | 2738226.8518 | 1187356.0269 | 2738220.5021 | 1187364.1501
20 | 2737855.3801 | 1187638.5751 | 2737857.4175 | 1187634.2882
21 | 2738227.5354 | 1187350.9553 | 2738228.1413 | 1187346.4603 | 2738232.9115 | 1187337.5523 | 2738245.9012 | 1187329.6793 | 2738263.8249 | 1187316.7162 | 2738277.1666 | 1187298.8992 | 2738289.6423 | 1187279.5832
22 | 2738151.5561 | 1187173.4247 | 2738133.9413 | 1187172.0062 | 2738127.4136 | 1187168.4306 | 2738124.1431 | 1187163.2957 | 2738122.7369 | 1187156.4245 | 2738123.1344 | 1187139.198 | 2738126.4644 | 1187119.2703 | 2738134.8869 | 1187089.697 | 2738139.4264 | 1187081.1951 | 2738144.1572 | 1187075.9779 | 2738152.5404 | 1187070.6003 | 2738154.7819 | 1187067.7387 | 2738154.1364 | 1187061.6413 | 2738152.2944 | 1187058.4407 | 2738144.1069 | 1187055.3384 | 2738139.1556 | 1187055.2241 | 2738134.0181 | 1187051.9364 | 2738125.5622 | 1187041.6111 | 2738122.9711 | 1187029.5196 | 2738124.0017 | 1187022.5713 | 2738124.0017 | 1187022.5713
23 | 2738151.5561 | 1187173.4247 | 2738164.4949 | 1187168.0968 | 2738177.4613 | 1187162.5693 | 2738198.5852 | 1187167.7163 | 2738213.1839 | 1187162.2377 | 2738226.1396 | 1187167.4185 | 2738229.5103 | 1187183.0863 | 2738230.4196 | 1187194.2827 | 2738238.4968 | 1187198.1833 | 2738255.0611 | 1187188.5692 | 2738265.1324 | 1187181.4851 | 2738281.0301 | 1187181.8968 | 2738304.6589 | 1187190.7024
24 | 2738124.0017 | 1187022.5713 | 2738120.5294 | 1187018.5659 | 2738115.4172 | 1187017.8141 | 2738108.8376 | 1187020.4533 | 2738100.3572 | 1187033.6792 | 2738092.3787 | 1187044.0145 | 2738078.9543 | 1187041.9256 | 2738062.3213 | 1187042.9318 | 2738049.1212 | 1187054.9481 | 2738041.5192 | 1187058.231 | 2738037.1131 | 1187054.0039 | 2738036.3725 | 1187044.7463 | 2738039.1159 | 1187038.9828 | 2738044.2805 | 1187029.8503 | 2738044.919 | 1187024.672 | 2738042.947 | 1187019.8228 | 2738038.693 | 1187019.5912 | 2738034.0384 | 1187021.5077 | 2738021.9217 | 1187041.4885 | 2738014.0368 | 1187051.081 | 2738006.4144 | 1187051.6058 | 2738003.5714 | 1187046.4585 | 2738011.0168 | 1187028.4493 | 2738016.0842 | 1187008.3059 | 2738017.1065 | 1186998.0659 | 2738014.0686 | 1186986.4757 | 2738011.2027 | 1186978.6814 | 2737993.8787 | 1186957.0098 | 2737982.1374 | 1186952.3635
25 | 2738324.1667 | 1187197.9721 | 2738304.6589 | 1187190.7024
26 | 2737943.4049 | 1187025.0113 | 2737943.4049 | 1187025.0113 | 2737950.5776 | 1187023.4642 | 2737964.4218 | 1186997.7408 | 2737967.9817 | 1186979.0749 | 2737967.7423 | 1186970.5849 | 2737966.8786 | 1186959.0449 | 2737968.0522 | 1186953.501 | 2737971.6968 | 1186950.0378 | 2737975.5277 | 1186949.748 | 2737982.1374 | 1186952.3635
27 | 2738324.1667 | 1187197.9721 | 2738325.389 | 1187195.2872 | 2738343.6886 | 1187167.0766
28 | 2738324.1667 | 1187197.9721 | 2738319.6625 | 1187214.848 | 2738308.8203 | 1187239.1055 | 2738300.2825 | 1187256.1328 | 2738289.6423 | 1187279.5832
29 | 2737844.5583 | 1187661.3458 | 2737855.3801 | 1187638.5751
30 | 2737844.5583 | 1187661.3458 | 2737834.6793 | 1187682.1325 | 2737811.5652 | 1187707.7622
31 | 2737800.4031 | 1187717.6943 | 2737810.3051 | 1187709.1594 | 2737811.5652 | 1187707.7622
32 | 2738356.5666 | 1187113.4984 | 2738354.2471 | 1187124.0646 | 2738343.6886 | 1187167.0766
33 | 2738356.5666 | 1187113.4984 | 2738359.221 | 1187101.4062 | 2738359.4262 | 1187084.2753 | 2738359.1272 | 1187082.2772
34 | 2738359.1272 | 1187082.2772 | 2738357.7733 | 1187073.2285 | 2738359.4641 | 1187046.6468 | 2738357.2917 | 1187039.58 | 2738351.4109 | 1187029.8143 | 2738338.9552 | 1187015.8712 | 2738331.7812 | 1187001.283 | 2738329.1171 | 1186985.7649 | 2738327.0564 | 1186946.4532 | 2738327.9093 | 1186921.1087 | 2738328.9977 | 1186916.9528 | 2738331.5238 | 1186908.9831
35 | 2737943.4049 | 1187025.0113 | 2737940.3177 | 1187020.192 | 2737942.2314 | 1187006.3809 | 2737937.9097 | 1186999.8096 | 2737930.0759 | 1186994.9365 | 2737922.8072 | 1186993.6903 | 2737907.8076 | 1186997.3478 | 2737880.5826 | 1186999.8786 | 2737865.1849 | 1186999.6129 | 2737857.5901 | 1186989.33 | 2737842.823 | 1186977.5921 | 2737834.9449 | 1186975.6061
36 | 2738382.8377 | 1186836.3111 | 2738370.6393 | 1186854.4768 | 2738349.4247 | 1186873.3571 | 2738333.0075 | 1186904.3022 | 2738331.5238 | 1186908.9831
37 | 2738382.8377 | 1186836.3111 | 2738374.9155 | 1186824.6968 | 2738365.9421 | 1186803.7398 | 2738360.0496 | 1186776.638 | 2738358.2419 | 1186746.1947 | 2738354.0715 | 1186734.4114 | 2738342.4666 | 1186711.7294

## bus_geodata
| x | y | coords
0 | 2737585.5831 | 1188050.5814
1 | 2737692.9386 | 1187928.2754
2 | 2737693.4076 | 1187911.8734
3 | 2737759.1817 | 1187770.8581
4 | 2737647.8512 | 1187791.0699
5 | 2737774.6185 | 1187742.745
6 | 2737639.8212 | 1187774.1537
7 | 2738265.7852 | 1187668.2811
8 | 2738282.8806 | 1187646.4821
9 | 2738313.2032 | 1187638.2858
10 | 2738222.8213 | 1187430.6742
11 | 2738037.7035 | 1187484.5934
12 | 2738051.161 | 1187475.0079
13 | 2737932.4889 | 1187549.2254
14 | 2738077.7519 | 1187457.9674
15 | 2737926.5166 | 1187552.5739
16 | 2738167.7774 | 1187414.3984
17 | 2737925.2532 | 1187553.2823
18 | 2738220.5021 | 1187364.1501
19 | 2737857.4175 | 1187634.2882
20 | 2738227.5354 | 1187350.9553
21 | 2738151.5561 | 1187173.4247
22 | 2738124.0017 | 1187022.5713
23 | 2738304.6589 | 1187190.7024
24 | 2737982.1374 | 1186952.3635
25 | 2738324.1667 | 1187197.9721
26 | 2737855.3801 | 1187638.5751
27 | 2737844.5583 | 1187661.3458
28 | 2737811.5652 | 1187707.7622
29 | 2737800.4031 | 1187717.6943
30 | 2738289.6423 | 1187279.5832
31 | 2738343.6886 | 1187167.0766
32 | 2738356.5666 | 1187113.4984
33 | 2738359.1272 | 1187082.2772
34 | 2737943.4049 | 1187025.0113
35 | 2738331.5238 | 1186908.9831
36 | 2738382.8377 | 1186836.3111
37 | 2738342.4666 | 1186711.7294
38 | 2737834.9449 | 1186975.6061
39 | 2738151.5561 | 1187173.4247

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1