## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3575-4_1_4_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_3575-4_1_4_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_3575-4_1_4_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_3575-4_1_4_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_3575-4_1_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_3575-4_1_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_3575-4_1_4_node_76 | 0.4 | n |  | TRUE
7 | bus_LV_3575-4_1_4_node_77 | 0.4 | n |  | TRUE
8 | bus_LV_3575-4_1_4_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_3575-4_1_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_3575-4_1_4_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_3575-4_1_4_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_3575-4_1_4_node_78 | 0.4 | n |  | TRUE
13 | bus_LV_3575-4_1_4_node_74 | 0.4 | n |  | TRUE
14 | bus_LV_3575-4_1_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3575-4_1_4_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_3575-4_1_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_3575-4_1_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_3575-4_1_4_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_3575-4_1_4_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_3575-4_1_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3575-4_1_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_3575-4_1_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_3575-4_1_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_3575-4_1_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_3575-4_1_4_node_79 | 0.4 | n |  | TRUE
26 | bus_LV_3575-4_1_4_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_3575-4_1_4_node_87 | 0.4 | n |  | TRUE
28 | bus_LV_3575-4_1_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_3575-4_1_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_3575-4_1_4_node_89 | 0.4 | n |  | TRUE
31 | bus_LV_3575-4_1_4_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_3575-4_1_4_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_3575-4_1_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_3575-4_1_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_3575-4_1_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_3575-4_1_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_3575-4_1_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_3575-4_1_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_3575-4_1_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_3575-4_1_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_3575-4_1_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_3575-4_1_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_3575-4_1_4_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_3575-4_1_4_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_3575-4_1_4_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_3575-4_1_4_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_3575-4_1_4_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_3575-4_1_4_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_3575-4_1_4_node_103 | 0.4 | n |  | TRUE
50 | bus_LV_3575-4_1_4_node_96 | 0.4 | n |  | TRUE
51 | bus_LV_3575-4_1_4_node_94 | 0.4 | n |  | TRUE
52 | bus_LV_3575-4_1_4_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_3575-4_1_4_node_82 | 0.4 | n |  | TRUE
54 | bus_LV_3575-4_1_4_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_3575-4_1_4_node_84 | 0.4 | n |  | TRUE
56 | bus_LV_3575-4_1_4_node_85 | 0.4 | n |  | TRUE
57 | bus_LV_3575-4_1_4_node_86 | 0.4 | n |  | TRUE
58 | bus_LV_3575-4_1_4_node_91 | 0.4 | n |  | TRUE
59 | bus_LV_3575-4_1_4_node_92 | 0.4 | n |  | TRUE
60 | bus_LV_3575-4_1_4_node_95 | 0.4 | n |  | TRUE
61 | bus_LV_3575-4_1_4_node_97 | 0.4 | n |  | TRUE
62 | bus_LV_3575-4_1_4_node_100 | 0.4 | n |  | TRUE
63 | bus_LV_3575-4_1_4_node_98 | 0.4 | n |  | TRUE
64 | bus_LV_3575-4_1_4_node_99 | 0.4 | n |  | TRUE
65 | bus_LV_3575-4_1_4_node_102 | 0.4 | n |  | TRUE
66 | bus_MV_56_1_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3575-4_1_4_load_5 | 0 | 0.00069115 | 0.00017322 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3575-4_1_4_load_6 | 1 | 0.0031446 | 0.00078812 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3575-4_1_4_load_9 | 4 | 0.00060375 | 0.00015131 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3575-4_1_4_load_10 | 5 | 0.00051382 | 0.00012877 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3575-4_1_4_load_77 | 7 | 0.0039255 | 0.00098382 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3575-4_1_4_load_75 | 8 | 0.0050263 | 0.0012597 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3575-4_1_4_load_12 | 9 | 0.00097769 | 0.00024503 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3575-4_1_4_load_24 | 10 | 0.00077322 | 0.00019379 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3575-4_1_4_load_78 | 12 | 0.0028963 | 0.00072589 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3575-4_1_4_load_74 | 13 | 0.0037581 | 0.00094186 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3575-4_1_4_load_11 | 14 | 0.0012896 | 0.00032321 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3575-4_1_4_load_25 | 15 | 0.00079373 | 0.00019893 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3575-4_1_4_load_13 | 16 | 0.00083534 | 0.00020936 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3575-4_1_4_load_14 | 17 | 0.0008857 | 0.00022198 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3575-4_1_4_load_23 | 18 | 0.00096904 | 0.00024286 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3575-4_1_4_load_15 | 20 | 0.0015363 | 0.00038503 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3575-4_1_4_load_16 | 21 | 0.0010593 | 0.00026549 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3575-4_1_4_load_18 | 23 | 0.0013917 | 0.0003488 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3575-4_1_4_load_19 | 24 | 0.0021616 | 0.00054175 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3575-4_1_4_load_79 | 25 | 0.0042888 | 0.0010749 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3575-4_1_4_load_88 | 26 | 0.00084546 | 0.00021189 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3575-4_1_4_load_87 | 27 | 0.0008768 | 0.00021975 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3575-4_1_4_load_20 | 28 | 0.00076832 | 0.00019256 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3575-4_1_4_load_89 | 30 | 0.005382 | 0.0013489 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3575-4_1_4_load_39 | 31 | 0.00051075 | 0.00012801 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3575-4_1_4_load_90 | 32 | 0.0025395 | 0.00063645 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3575-4_1_4_load_26 | 33 | 0.00065845 | 0.00016502 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3575-4_1_4_load_29 | 36 | 0.00058757 | 0.00014726 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3575-4_1_4_load_30 | 37 | 0.00089614 | 0.00022459 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3575-4_1_4_load_31 | 38 | 0.00061832 | 0.00015497 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3575-4_1_4_load_32 | 39 | 0.00070125 | 0.00017575 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3575-4_1_4_load_33 | 40 | 0.0002877 | 7.2105e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3575-4_1_4_load_35 | 41 | 0.0034858 | 0.00087363 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3575-4_1_4_load_38 | 42 | 0.0010231 | 0.00025643 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3575-4_1_4_load_43 | 43 | 0.00019886 | 4.9839e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3575-4_1_4_load_44 | 44 | 0.00024256 | 6.079e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3575-4_1_4_load_45 | 45 | 0.00024945 | 6.2517e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3575-4_1_4_load_71 | 46 | 0.0039408 | 0.00098765 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3575-4_1_4_load_72 | 47 | 0.0038035 | 0.00095324 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3575-4_1_4_load_73 | 48 | 0.0042627 | 0.0010683 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3575-4_1_4_load_103 | 49 | 0.0035741 | 0.00089575 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3575-4_1_4_load_94 | 51 | 0.0058336 | 0.001462 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3575-4_1_4_load_81 | 52 | 0.005684 | 0.0014245 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3575-4_1_4_load_82 | 53 | 0.00099017 | 0.00024816 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3575-4_1_4_load_83 | 54 | 0.0010516 | 0.00026357 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3575-4_1_4_load_84 | 55 | 0.0041083 | 0.0010296 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3575-4_1_4_load_85 | 56 | 0.0014054 | 0.00035223 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3575-4_1_4_load_86 | 57 | 0.00046712 | 0.00011707 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3575-4_1_4_load_91 | 58 | 0.0040542 | 0.0010161 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3575-4_1_4_load_92 | 59 | 0.0045404 | 0.0011379 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3575-4_1_4_load_100 | 62 | 0.0058092 | 0.0014559 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3575-4_1_4_load_98 | 63 | 0.0058654 | 0.00147 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3575-4_1_4_load_99 | 64 | 0.0058814 | 0.001474 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3575-4_1_4_load_102 | 65 | 0.017918 | 0.0044908 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3575-4_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_3575-4_1_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.19166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_3575-4_1_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.083061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_3575-4_1_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.029497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_3575-4_1_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.097466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3575-4_1_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.042309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_3575-4_1_4_line_6 | NAYY 4x150 SE | 3 | 7 | 0.016841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3575-4_1_4_line_7 | NAYY 4x150 SE | 3 | 8 | 0.020112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3575-4_1_4_line_8 | NAYY 4x150 SE | 4 | 9 | 0.084851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3575-4_1_4_line_9 | NAYY 4x150 SE | 5 | 10 | 0.057984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3575-4_1_4_line_10 | NAYY 4x150 SE | 6 | 11 | 0.023908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3575-4_1_4_line_11 | NAYY 4x150 SE | 6 | 12 | 0.04544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3575-4_1_4_line_12 | NAYY 4x150 SE | 8 | 13 | 0.013877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3575-4_1_4_line_13 | NAYY 4x150 SE | 9 | 14 | 0.027948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_3575-4_1_4_line_14 | NAYY 4x150 SE | 10 | 15 | 0.09331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3575-4_1_4_line_15 | NAYY 4x150 SE | 11 | 49 | 0.022142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3575-4_1_4_line_16 | NAYY 4x150 SE | 11 | 50 | 0.050057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3575-4_1_4_line_17 | NAYY 4x150 SE | 12 | 25 | 0.03729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_3575-4_1_4_line_18 | NAYY 4x150 SE | 13 | 48 | 0.0053116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3575-4_1_4_line_19 | NAYY 4x150 SE | 14 | 16 | 0.15581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_3575-4_1_4_line_20 | NAYY 4x150 SE | 15 | 33 | 0.15137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3575-4_1_4_line_21 | NAYY 4x150 SE | 16 | 17 | 0.0014474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_3575-4_1_4_line_22 | NAYY 4x150 SE | 17 | 18 | 0.040119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_3575-4_1_4_line_23 | NAYY 4x150 SE | 18 | 19 | 0.02959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_3575-4_1_4_line_24 | NAYY 4x150 SE | 19 | 29 | 0.13742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_3575-4_1_4_line_25 | NAYY 4x150 SE | 19 | 28 | 0.0094737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3575-4_1_4_line_26 | NAYY 4x150 SE | 20 | 21 | 0.031501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3575-4_1_4_line_27 | NAYY 4x150 SE | 20 | 22 | 0.05447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3575-4_1_4_line_28 | NAYY 4x150 SE | 22 | 23 | 0.071265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_3575-4_1_4_line_29 | NAYY 4x150 SE | 22 | 24 | 0.016117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_3575-4_1_4_line_30 | NAYY 4x150 SE | 23 | 25 | 0.034133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_3575-4_1_4_line_31 | NAYY 4x150 SE | 24 | 26 | 0.0038231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_3575-4_1_4_line_32 | NAYY 4x150 SE | 26 | 27 | 0.0078391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_3575-4_1_4_line_33 | NAYY 4x150 SE | 27 | 57 | 0.018758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3575-4_1_4_line_34 | NAYY 4x150 SE | 29 | 30 | 0.12894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_3575-4_1_4_line_35 | NAYY 4x150 SE | 29 | 31 | 0.21187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3575-4_1_4_line_36 | NAYY 4x150 SE | 30 | 32 | 0.017363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3575-4_1_4_line_37 | NAYY 4x150 SE | 31 | 42 | 0.0080925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3575-4_1_4_line_38 | NAYY 4x150 SE | 32 | 58 | 0.00026769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3575-4_1_4_line_39 | NAYY 4x150 SE | 33 | 34 | 0.12156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3575-4_1_4_line_40 | NAYY 4x150 SE | 34 | 35 | 0.018293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3575-4_1_4_line_41 | NAYY 4x150 SE | 35 | 36 | 0.06723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3575-4_1_4_line_42 | NAYY 4x150 SE | 36 | 37 | 0.057139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3575-4_1_4_line_43 | NAYY 4x150 SE | 37 | 38 | 0.042993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3575-4_1_4_line_44 | NAYY 4x150 SE | 38 | 39 | 0.050457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3575-4_1_4_line_45 | NAYY 4x150 SE | 40 | 41 | 0.012001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3575-4_1_4_line_46 | NAYY 4x150 SE | 40 | 42 | 0.060114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3575-4_1_4_line_47 | NAYY 4x150 SE | 41 | 43 | 0.31823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3575-4_1_4_line_48 | NAYY 4x150 SE | 43 | 44 | 0.059947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3575-4_1_4_line_49 | NAYY 4x150 SE | 44 | 45 | 0.19985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3575-4_1_4_line_50 | NAYY 4x150 SE | 46 | 47 | 0.0047934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3575-4_1_4_line_51 | NAYY 4x150 SE | 47 | 48 | 0.020976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3575-4_1_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.012372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3575-4_1_4_line_53 | NAYY 4x150 SE | 51 | 60 | 0.039469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3575-4_1_4_line_54 | NAYY 4x150 SE | 52 | 53 | 0.0069073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3575-4_1_4_line_55 | NAYY 4x150 SE | 52 | 54 | 0.03083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3575-4_1_4_line_56 | NAYY 4x150 SE | 53 | 55 | 0.017987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3575-4_1_4_line_57 | NAYY 4x150 SE | 54 | 56 | 0.0080136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3575-4_1_4_line_58 | NAYY 4x150 SE | 56 | 57 | 0.0020884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3575-4_1_4_line_59 | NAYY 4x150 SE | 58 | 59 | 0.015891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3575-4_1_4_line_60 | NAYY 4x150 SE | 60 | 61 | 0.015018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3575-4_1_4_line_61 | NAYY 4x150 SE | 61 | 62 | 0.043749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3575-4_1_4_line_62 | NAYY 4x150 SE | 61 | 63 | 0.0063956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3575-4_1_4_line_63 | NAYY 4x150 SE | 63 | 64 | 0.031896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3575-4_1_4_line_64 | NAYY 4x150 SE | 64 | 65 | 0.18168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3575-4_1_4_trafo_87 | 0.25 MVA 20/0.4 kV | 66 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2739125.8675 | 1187830.5905 | 2739130.8377 | 1187817.2426 | 2739131.6464 | 1187815.7548
1 | 2739085.2889 | 1188016.5413 | 2739084.6139 | 1187983.5219 | 2739111.6261 | 1187868.8369 | 2739125.8675 | 1187830.5905
2 | 2739171.3183 | 1187742.7801 | 2739131.6464 | 1187815.7548
3 | 2739085.2889 | 1188016.5413 | 2739065.9558 | 1187994.2637
4 | 2739085.2889 | 1188016.5413 | 2739058.0382 | 1188052.8593 | 2739040.8941 | 1188071.0422 | 2739035.1189 | 1188078.8364 | 2739026.1825 | 1188093.7312
5 | 2739201.4266 | 1187712.9786 | 2739171.3183 | 1187742.7801
6 | 2739155.2393 | 1187747.9328 | 2739171.3183 | 1187742.7801
7 | 2739171.3183 | 1187742.7801 | 2739190.1347 | 1187749.8823
8 | 2739065.9558 | 1187994.2637 | 2739053.0813 | 1187967.2991 | 2739036.9071 | 1187936.1769 | 2739026.6606 | 1187919.1217
9 | 2739026.1825 | 1188093.7312 | 2739022.4 | 1188100.0356 | 2739008.1288 | 1188128.927 | 2739001.1432 | 1188145.9579
10 | 2739201.4266 | 1187712.9786 | 2739219.3207 | 1187697.0709
11 | 2739201.4266 | 1187712.9786 | 2739184.6276 | 1187713.3107 | 2739158.1119 | 1187709.7362 | 2739156.2401 | 1187709.9378
12 | 2739202.1716 | 1187750.5758 | 2739199.4484 | 1187753.3978 | 2739190.1347 | 1187749.8823
13 | 2739007.8085 | 1187899.3584 | 2739019.6981 | 1187907.5327 | 2739026.6606 | 1187919.1217
14 | 2739001.1432 | 1188145.9579 | 2738997.1184 | 1188155.7704 | 2738994.7124 | 1188163.4094 | 2738993.6951 | 1188170.736 | 2738993.3823 | 1188177.6342 | 2738993.2724 | 1188184.993 | 2738992.2495 | 1188196.5005 | 2738991.5938 | 1188209.6178 | 2738992.3125 | 1188229.2722 | 2738993.0625 | 1188237.9194
15 | 2739219.3207 | 1187697.0709 | 2739197.1666 | 1187698.5905
16 | 2739195.2414 | 1187679.3084 | 2739199.7839 | 1187682.5387 | 2739207.2148 | 1187683.0007 | 2739222.4392 | 1187682.443 | 2739228.9585 | 1187687.9656 | 2739219.3207 | 1187697.0709
17 | 2739156.2401 | 1187709.9378 | 2739139.4344 | 1187711.7482 | 2739122.7707 | 1187719.7229 | 2739120.876 | 1187719.9916
18 | 2739202.1716 | 1187750.5758 | 2739205.86 | 1187746.7537
19 | 2739007.8085 | 1187899.3584 | 2739007.5284 | 1187899.1658 | 2738992.9624 | 1187897.6933 | 2738983.1716 | 1187903.882 | 2738981.3918 | 1187913.148 | 2738989.5218 | 1187938.7012 | 2738991.9241 | 1187956.1929 | 2738989.2775 | 1187968.6079 | 2738979.3916 | 1187973.638 | 2738967.1019 | 1187971.4289 | 2738936.4186 | 1187947.2377
20 | 2738993.0625 | 1188237.9194 | 2738994.9431 | 1188259.6015 | 2738993.8185 | 1188316.2311 | 2738985.1225 | 1188338.0686 | 2738958.4638 | 1188357.8544 | 2738946.2231 | 1188368.5563
21 | 2738935.2819 | 1187946.3416 | 2738936.4186 | 1187947.2377
22 | 2738935.2819 | 1187946.3416 | 2738915.7021 | 1187930.9045 | 2738905.9446 | 1187919.2688
23 | 2738893.7467 | 1187892.6653 | 2738895.379 | 1187899.2861 | 2738902.312 | 1187914.937 | 2738905.9446 | 1187919.2688
24 | 2738893.7467 | 1187892.6653 | 2738885.5341 | 1187851.9094 | 2738888.0927 | 1187804.476 | 2738886.509 | 1187799.3797 | 2738881.7753 | 1187796.4899 | 2738876.2981 | 1187790.1245 | 2738864.2436 | 1187778.7472 | 2738851.7757 | 1187777.2903
25 | 2738893.7467 | 1187892.6653 | 2738885.8784 | 1187887.3889
26 | 2738963.7289 | 1187800.8388 | 2738973.5398 | 1187788.2009 | 2738983.1737 | 1187776.0556
27 | 2739023.7771 | 1187740.4961 | 2739012.5191 | 1187746.7508 | 2738990.9395 | 1187766.2653 | 2738983.1737 | 1187776.0556
28 | 2739023.7771 | 1187740.4961 | 2739028.3992 | 1187732.7417 | 2739045.016 | 1187722.5083 | 2739067.3279 | 1187718.134 | 2739082.7162 | 1187716.757 | 2739087.1881 | 1187717.5172
29 | 2739023.7771 | 1187740.4961 | 2739025.9335 | 1187746.562 | 2739034.3552 | 1187751.3321
30 | 2739120.876 | 1187719.9916 | 2739110.3041 | 1187721.4903 | 2739098.78 | 1187719.4877 | 2739087.1881 | 1187717.5172
31 | 2739034.3552 | 1187751.3321 | 2739034.7775 | 1187751.5712 | 2739037.9823 | 1187752.5041
32 | 2739045.5091 | 1187754.6948 | 2739037.9823 | 1187752.5041
33 | 2739063.5194 | 1187759.9369 | 2739045.5091 | 1187754.6948
34 | 2738851.7757 | 1187777.2903 | 2738859.5861 | 1187743.3003 | 2738873.6965 | 1187718.052 | 2738879.7394 | 1187678.6724 | 2738892.2598 | 1187661.7605 | 2738893.0011 | 1187657.5628
35 | 2738851.7757 | 1187777.2903 | 2738646.8746 | 1187831.1967
36 | 2738893.0011 | 1187657.5628 | 2738896.0208 | 1187640.4644
37 | 2738646.8746 | 1187831.1967 | 2738639.0699 | 1187833.3355
38 | 2738895.999 | 1187640.1976 | 2738896.0208 | 1187640.4644 | 2738896.0208 | 1187640.4644
39 | 2738866.5963 | 1188449.551 | 2738862.2873 | 1188438.9094 | 2738876.6784 | 1188424.5207 | 2738896.5764 | 1188413.5514 | 2738927.5388 | 1188384.8915 | 2738946.2231 | 1188368.5563
40 | 2738866.5963 | 1188449.551 | 2738863.8314 | 1188450.9658 | 2738861.5621 | 1188452.4032 | 2738859.3903 | 1188453.9096 | 2738857.1024 | 1188456.1472 | 2738854.926 | 1188458.5097 | 2738852.7643 | 1188461.2284
41 | 2738852.7643 | 1188461.2284 | 2738847.0437 | 1188469.9804 | 2738833.8771 | 1188491.7922 | 2738824.892 | 1188505.4057 | 2738815.9786 | 1188517.4518
42 | 2738815.9786 | 1188517.4518 | 2738815.824 | 1188517.6607 | 2738809.2816 | 1188526.3159 | 2738804.9035 | 1188531.8076 | 2738799.7103 | 1188537.5695 | 2738777.4002 | 1188559.4504
43 | 2738746.4083 | 1188589.2452 | 2738761.0327 | 1188575.503 | 2738777.4002 | 1188559.4504
44 | 2738746.4083 | 1188589.2452 | 2738717.2055 | 1188616.6866 | 2738709.2716 | 1188623.3857
45 | 2738645.7577 | 1187901.804 | 2738637.1708 | 1187893.4197
46 | 2738637.1708 | 1187893.4197 | 2738639.0699 | 1187833.3355
47 | 2738645.7577 | 1187901.804 | 2738593.2982 | 1188215.6805
48 | 2738593.2982 | 1188215.6805 | 2738534.298 | 1188226.2951
49 | 2738534.298 | 1188226.2951 | 2738530.0502 | 1188227.0593 | 2738492.5923 | 1188249.8775 | 2738430.5156 | 1188260.1391 | 2738419.2646 | 1188251.3166 | 2738405.8718 | 1188223.8967 | 2738371.0275 | 1188207.9679 | 2738369.3943 | 1188202.5861
50 | 2739223.7543 | 1187728.2105 | 2739220.4258 | 1187731.6598
51 | 2739220.4258 | 1187731.6598 | 2739205.86 | 1187746.7537
52 | 2739195.2414 | 1187679.3084 | 2739191.7779 | 1187678.5829 | 2739186.3546 | 1187679.4242 | 2739183.1042 | 1187680.2167
53 | 2739145.1319 | 1187675.1518 | 2739149.6035 | 1187674.8666 | 2739155.8016 | 1187675.5 | 2739161.7799 | 1187678.3634 | 2739166.562 | 1187680.8098 | 2739177.0283 | 1187681.6981 | 2739183.1042 | 1187680.2167
54 | 2739101.3434 | 1187775.2469 | 2739106.8223 | 1187779.4531
55 | 2739101.3434 | 1187775.2469 | 2739100.671 | 1187774.7306 | 2739076.6703 | 1187763.7646 | 2739073.2189 | 1187762.76
56 | 2739121.0893 | 1187790.4061 | 2739106.8223 | 1187779.4531
57 | 2739073.2189 | 1187762.76 | 2739065.5245 | 1187760.5205
58 | 2739063.5194 | 1187759.9369 | 2739065.5245 | 1187760.5205
59 | 2738895.999 | 1187640.1976 | 2738894.7092 | 1187624.3595
60 | 2739145.1319 | 1187675.1518 | 2739138.2241 | 1187678.7831 | 2739131.5487 | 1187681.608
61 | 2739131.5487 | 1187681.608 | 2739129.4062 | 1187683.4819 | 2739129.2923 | 1187688.3831 | 2739130.3241 | 1187692.5882 | 2739133.5281 | 1187700.5355 | 2739136.8456 | 1187706.8843 | 2739145.9579 | 1187703.6379 | 2739149.3801 | 1187701.8715 | 2739150.7179 | 1187699.8121
62 | 2739131.5487 | 1187681.608 | 2739129.6389 | 1187681.3523 | 2739128.6498 | 1187681.2181 | 2739126.2114 | 1187678.7484
63 | 2739101.4415 | 1187668.6874 | 2739100.2679 | 1187670.9063 | 2739101.3146 | 1187674.1443 | 2739106.0967 | 1187676.5906 | 2739110.8902 | 1187678.5479 | 2739115.3912 | 1187679.2975 | 2739120.3859 | 1187679.4915 | 2739126.2114 | 1187678.7484
64 | 2739101.4415 | 1187668.6874 | 2739036.4083 | 1187499.044

## bus_geodata
| x | y | coords
0 | 2739125.8675 | 1187830.5905
1 | 2739131.6464 | 1187815.7548
2 | 2739085.2889 | 1188016.5413
3 | 2739171.3183 | 1187742.7801
4 | 2739065.9558 | 1187994.2637
5 | 2739026.1825 | 1188093.7312
6 | 2739201.4266 | 1187712.9786
7 | 2739155.2393 | 1187747.9328
8 | 2739190.1347 | 1187749.8823
9 | 2739026.6606 | 1187919.1217
10 | 2739001.1432 | 1188145.9579
11 | 2739219.3207 | 1187697.0709
12 | 2739156.2401 | 1187709.9378
13 | 2739202.1716 | 1187750.5758
14 | 2739007.8085 | 1187899.3584
15 | 2738993.0625 | 1188237.9194
16 | 2738936.4186 | 1187947.2377
17 | 2738935.2819 | 1187946.3416
18 | 2738905.9446 | 1187919.2688
19 | 2738893.7467 | 1187892.6653
20 | 2738983.1737 | 1187776.0556
21 | 2738963.7289 | 1187800.8388
22 | 2739023.7771 | 1187740.4961
23 | 2739087.1881 | 1187717.5172
24 | 2739034.3552 | 1187751.3321
25 | 2739120.876 | 1187719.9916
26 | 2739037.9823 | 1187752.5041
27 | 2739045.5091 | 1187754.6948
28 | 2738885.8784 | 1187887.3889
29 | 2738851.7757 | 1187777.2903
30 | 2738893.0011 | 1187657.5628
31 | 2738646.8746 | 1187831.1967
32 | 2738896.0208 | 1187640.4644
33 | 2738946.2231 | 1188368.5563
34 | 2738866.5963 | 1188449.551
35 | 2738852.7643 | 1188461.2284
36 | 2738815.9786 | 1188517.4518
37 | 2738777.4002 | 1188559.4504
38 | 2738746.4083 | 1188589.2452
39 | 2738709.2716 | 1188623.3857
40 | 2738637.1708 | 1187893.4197
41 | 2738645.7577 | 1187901.804
42 | 2738639.0699 | 1187833.3355
43 | 2738593.2982 | 1188215.6805
44 | 2738534.298 | 1188226.2951
45 | 2738369.3943 | 1188202.5861
46 | 2739223.7543 | 1187728.2105
47 | 2739220.4258 | 1187731.6598
48 | 2739205.86 | 1187746.7537
49 | 2739197.1666 | 1187698.5905
50 | 2739195.2414 | 1187679.3084
51 | 2739183.1042 | 1187680.2167
52 | 2739101.3434 | 1187775.2469
53 | 2739106.8223 | 1187779.4531
54 | 2739073.2189 | 1187762.76
55 | 2739121.0893 | 1187790.4061
56 | 2739065.5245 | 1187760.5205
57 | 2739063.5194 | 1187759.9369
58 | 2738895.999 | 1187640.1976
59 | 2738894.7092 | 1187624.3595
60 | 2739145.1319 | 1187675.1518
61 | 2739131.5487 | 1187681.608
62 | 2739150.7179 | 1187699.8121
63 | 2739126.2114 | 1187678.7484
64 | 2739101.4415 | 1187668.6874
65 | 2739036.4083 | 1187499.044
66 | 2739045.5091 | 1187754.6948

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1