## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3603-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3603-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3603-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3603-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3603-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3603-5_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_3603-5_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3603-5_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_3603-5_0_3_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_3603-5_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_3603-5_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_3603-5_0_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_3603-5_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_3603-5_0_3_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_3603-5_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_3603-5_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3603-5_0_3_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_3603-5_0_3_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_3603-5_0_3_node_67 | 0.4 | n |  | TRUE
19 | bus_LV_3603-5_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_3603-5_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_3603-5_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_3603-5_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_3603-5_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_3603-5_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_3603-5_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3603-5_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_3603-5_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_3603-5_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_3603-5_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_3603-5_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_3603-5_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_3603-5_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_3603-5_0_3_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_3603-5_0_3_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_3603-5_0_3_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_3603-5_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_3603-5_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_3603-5_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_3603-5_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_3603-5_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_3603-5_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_3603-5_0_3_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_3603-5_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_3603-5_0_3_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_3603-5_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_3603-5_0_3_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_3603-5_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_3603-5_0_3_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_3603-5_0_3_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_3603-5_0_3_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_3603-5_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_3603-5_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_3603-5_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_3603-5_0_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_3603-5_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_3603-5_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_3603-5_0_3_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_3603-5_0_3_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_3603-5_0_3_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_3603-5_0_3_node_63 | 0.4 | n |  | TRUE
61 | bus_MV_162_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3603-5_0_3_load_0 | 0 | 0.0030354 | 0.00076075 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3603-5_0_3_load_1 | 1 | 0.0017635 | 0.00044198 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3603-5_0_3_load_13 | 5 | 0.0071262 | 0.001786 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3603-5_0_3_load_6 | 6 | 0.0053376 | 0.0013377 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3603-5_0_3_load_37 | 8 | 0.0032741 | 0.00082056 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3603-5_0_3_load_11 | 9 | 0.0033972 | 0.00085141 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3603-5_0_3_load_5 | 10 | 0.0050362 | 0.0012622 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3603-5_0_3_load_20 | 11 | 0.0022723 | 0.00056949 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3603-5_0_3_load_17 | 12 | 0.0021885 | 0.00054848 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3603-5_0_3_load_38 | 13 | 0.0085958 | 0.0021543 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3603-5_0_3_load_7 | 14 | 0.0042704 | 0.0010703 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3603-5_0_3_load_8 | 15 | 0.0041596 | 0.0010425 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3603-5_0_3_load_22 | 17 | 0.0080637 | 0.0020209 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3603-5_0_3_load_67 | 18 | 0.0011783 | 0.00029531 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3603-5_0_3_load_9 | 19 | 0.0029029 | 0.00072753 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3603-5_0_3_load_10 | 20 | 0.0021508 | 0.00053905 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3603-5_0_3_load_14 | 22 | 0.0035818 | 0.00089768 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3603-5_0_3_load_16 | 24 | 0.0098613 | 0.0024715 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3603-5_0_3_load_21 | 26 | 0.0071824 | 0.0018001 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3603-5_0_3_load_25 | 27 | 0.010398 | 0.0026059 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3603-5_0_3_load_26 | 28 | 0.008398 | 0.0021047 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3603-5_0_3_load_28 | 30 | 0.0026673 | 0.0006685 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3603-5_0_3_load_29 | 31 | 0.0047779 | 0.0011975 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3603-5_0_3_load_30 | 32 | 0.002158 | 0.00054084 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3603-5_0_3_load_52 | 33 | 0.0081535 | 0.0020435 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3603-5_0_3_load_65 | 34 | 0.0063473 | 0.0015908 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3603-5_0_3_load_53 | 35 | 0.013741 | 0.0034438 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3603-5_0_3_load_31 | 36 | 0.0047837 | 0.0011989 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3603-5_0_3_load_32 | 37 | 0.0040559 | 0.0010165 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3603-5_0_3_load_34 | 39 | 0.0080793 | 0.0020249 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3603-5_0_3_load_35 | 40 | 0.0080257 | 0.0020114 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3603-5_0_3_load_36 | 41 | 0.0047606 | 0.0011931 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3603-5_0_3_load_50 | 42 | 0.001575 | 0.00039473 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3603-5_0_3_load_40 | 43 | 0.0060605 | 0.0015189 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3603-5_0_3_load_48 | 44 | 0.0063802 | 0.001599 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3603-5_0_3_load_41 | 45 | 0.004477 | 0.001122 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3603-5_0_3_load_57 | 48 | 0.0013665 | 0.00034249 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3603-5_0_3_load_64 | 49 | 0.0038038 | 0.00095332 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3603-5_0_3_load_54 | 50 | 0.0063206 | 0.0015841 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3603-5_0_3_load_42 | 51 | 0.0041547 | 0.0010413 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3603-5_0_3_load_43 | 52 | 0.0060817 | 0.0015242 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3603-5_0_3_load_45 | 54 | 0.0037662 | 0.0009439 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3603-5_0_3_load_46 | 55 | 0.0053524 | 0.0013415 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3603-5_0_3_load_47 | 56 | 0.0021143 | 0.00052988 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3603-5_0_3_load_62 | 57 | 0.0052833 | 0.0013241 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3603-5_0_3_load_59 | 58 | 0.0054121 | 0.0013564 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3603-5_0_3_load_60 | 59 | 0.0018927 | 0.00047436 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3603-5_0_3_load_63 | 60 | 0.0010721 | 0.00026869 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3603-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3603-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3603-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0091368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3603-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.08653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3603-5_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.015544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3603-5_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.019397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3603-5_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.027501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3603-5_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.090321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3603-5_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.0047735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3603-5_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.010666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3603-5_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.038295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3603-5_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.014689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3603-5_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.027112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_3603-5_0_3_line_13 | NAYY 4x150 SE | 9 | 19 | 0.010413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3603-5_0_3_line_14 | NAYY 4x150 SE | 10 | 14 | 0.022781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3603-5_0_3_line_15 | NAYY 4x150 SE | 12 | 25 | 0.014809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3603-5_0_3_line_16 | NAYY 4x150 SE | 13 | 47 | 0.013634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_3603-5_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.010329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3603-5_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.089369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3603-5_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.072548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3603-5_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.053044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3603-5_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.016543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3603-5_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0013404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3603-5_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.019508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3603-5_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.00736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3603-5_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.045419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3603-5_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.032649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3603-5_0_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.010512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3603-5_0_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.030407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3603-5_0_3_line_29 | NAYY 4x150 SE | 28 | 30 | 0.029824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3603-5_0_3_line_30 | NAYY 4x150 SE | 29 | 31 | 0.018441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3603-5_0_3_line_31 | NAYY 4x150 SE | 29 | 32 | 0.030527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3603-5_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.023024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3603-5_0_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.076553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3603-5_0_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.019797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3603-5_0_3_line_35 | NAYY 4x150 SE | 35 | 50 | 0.027266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3603-5_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.034044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3603-5_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.007695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3603-5_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.026769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3603-5_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.010294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3603-5_0_3_line_40 | NAYY 4x150 SE | 38 | 41 | 0.018752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3603-5_0_3_line_41 | NAYY 4x150 SE | 39 | 42 | 0.0024531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3603-5_0_3_line_42 | NAYY 4x150 SE | 40 | 43 | 0.028306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3603-5_0_3_line_43 | NAYY 4x150 SE | 41 | 44 | 0.014747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3603-5_0_3_line_44 | NAYY 4x150 SE | 43 | 45 | 0.0088222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3603-5_0_3_line_45 | NAYY 4x150 SE | 44 | 46 | 0.041839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3603-5_0_3_line_46 | NAYY 4x150 SE | 46 | 50 | 0.02111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3603-5_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.027236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_3603-5_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.0063879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_3603-5_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.015979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3603-5_0_3_line_50 | NAYY 4x150 SE | 49 | 60 | 0.027311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3603-5_0_3_line_51 | NAYY 4x150 SE | 51 | 52 | 0.032858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3603-5_0_3_line_52 | NAYY 4x150 SE | 51 | 53 | 0.028093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3603-5_0_3_line_53 | NAYY 4x150 SE | 52 | 54 | 0.010837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3603-5_0_3_line_54 | NAYY 4x150 SE | 53 | 55 | 0.024913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3603-5_0_3_line_55 | NAYY 4x150 SE | 53 | 56 | 0.039341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3603-5_0_3_line_56 | NAYY 4x150 SE | 54 | 57 | 0.019229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3603-5_0_3_line_57 | NAYY 4x150 SE | 55 | 58 | 0.0020508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3603-5_0_3_line_58 | NAYY 4x150 SE | 56 | 59 | 0.03462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3603-5_0_3_line_59 | NAYY 4x150 SE | 57 | 60 | 0.0070865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3603-5_0_3_trafo_57 | 0.25 MVA 20/0.4 kV | 61 | 48 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2733263.6766 | 1163876.5243 | 2733258.0378 | 1163865.1707
1 | 2733273.1813 | 1163893.3512 | 2733265.5994 | 1163880.3958 | 2733263.6766 | 1163876.5243
2 | 2733253.9736 | 1163856.9876 | 2733258.0378 | 1163865.1707
3 | 2733273.1813 | 1163893.3512 | 2733278.0112 | 1163903.5992 | 2733283.5721 | 1163903.3445 | 2733299.2503 | 1163904.682 | 2733308.4776 | 1163901.84 | 2733320.0153 | 1163893.9789 | 2733336.9123 | 1163881.8335 | 2733345.4842 | 1163877.7984
4 | 2733253.9736 | 1163856.9876 | 2733247.062 | 1163843.0642
5 | 2733253.9736 | 1163856.9876 | 2733238.6543 | 1163868.8863
6 | 2733329.7097 | 1163855.243 | 2733345.4842 | 1163877.7984
7 | 2733345.4842 | 1163877.7984 | 2733353.5765 | 1163880.1796 | 2733360.3278 | 1163889.1249 | 2733374.9492 | 1163933.582 | 2733381.9989 | 1163956.3964
8 | 2733244.9396 | 1163838.7886 | 2733247.062 | 1163843.0642
9 | 2733230.1809 | 1163875.3629 | 2733234.279 | 1163872.2846 | 2733238.6543 | 1163868.8863
10 | 2733329.7097 | 1163855.243 | 2733324.566 | 1163848.7797 | 2733322.225 | 1163845.1585 | 2733320.9365 | 1163842.1054 | 2733320.5253 | 1163838.1934 | 2733321.1549 | 1163833.9932 | 2733323.311 | 1163829.3709 | 2733329.6637 | 1163822.7847
11 | 2733329.7097 | 1163855.243 | 2733329.5648 | 1163851.7594 | 2733330.5156 | 1163847.9332 | 2733333.6268 | 1163844.4663 | 2733335.8162 | 1163843.0611
12 | 2733381.9989 | 1163956.3964 | 2733389.0679 | 1163979.2735 | 2733389.9332 | 1163982.3202
13 | 2733244.9396 | 1163838.7886 | 2733240.3094 | 1163829.4612
14 | 2733230.1809 | 1163875.3629 | 2733224.4297 | 1163879.683 | 2733212.4282 | 1163889.6307
15 | 2733348.2793 | 1163835.0621 | 2733335.8162 | 1163843.0611
16 | 2733394.7725 | 1163994.9783 | 2733392.1949 | 1163990.2843 | 2733389.9332 | 1163982.3202
17 | 2733204.4758 | 1163896.2221 | 2733212.4282 | 1163889.6307
18 | 2733204.4758 | 1163896.2221 | 2733116.9834 | 1163914.44
19 | 2733116.9834 | 1163914.44 | 2733107.4093 | 1163919.4539 | 2733103.7578 | 1163921.7192 | 2733101.955 | 1163924.2367 | 2733100.5137 | 1163927.0402 | 2733099.4969 | 1163931.7768 | 2733099.1279 | 1163935.9828 | 2733098.7429 | 1163940.9112 | 2733099.4727 | 1163945.3195 | 2733100.9344 | 1163949.555 | 2733102.3359 | 1163952.6995 | 2733104.9617 | 1163958.3396 | 2733107.3438 | 1163962.8734 | 2733109.7102 | 1163967.7739 | 2733111.0055 | 1163971.5609 | 2733112.7764 | 1163975.1538
20 | 2733112.7764 | 1163975.1538 | 2733075.9224 | 1164013.304
21 | 2733240.3094 | 1163829.4612 | 2733232.9539 | 1163814.6436
22 | 2733232.358 | 1163813.443 | 2733232.9539 | 1163814.6436
23 | 2733232.358 | 1163813.443 | 2733217.6519 | 1163826.3045
24 | 2733232.358 | 1163813.443 | 2733228.924 | 1163806.9288
25 | 2733228.924 | 1163806.9288 | 2733251.2805 | 1163785.286 | 2733255.0679 | 1163786.5709 | 2733257.8762 | 1163785.3656 | 2733263.5362 | 1163780.8396
26 | 2733351.8564 | 1163805.086 | 2733346.9533 | 1163810.9149 | 2733345.0647 | 1163815.5653 | 2733344.8482 | 1163821.8652 | 2733345.474 | 1163827.1607 | 2733348.2793 | 1163835.0621
27 | 2733512.4006 | 1164052.6514 | 2733517.7362 | 1164061.7082
28 | 2733495.5399 | 1164027.361 | 2733502.3336 | 1164037.1413 | 2733509.5813 | 1164047.8657 | 2733512.4006 | 1164052.6514
29 | 2733517.7362 | 1164061.7082 | 2733519.0398 | 1164063.921 | 2733524.8851 | 1164074.3029 | 2733530.7243 | 1164085.3074 | 2733531.9311 | 1164087.9268
30 | 2733495.5399 | 1164027.361 | 2733477.2366 | 1164029.6129
31 | 2733495.5399 | 1164027.361 | 2733490.8766 | 1164019.6406 | 2733490.3632 | 1164014.8145 | 2733490.3238 | 1164009.6876 | 2733490.9118 | 1164004.2634 | 2733490.3941 | 1163999.2815 | 2733490.0463 | 1163998.2773
32 | 2733461.6551 | 1164021.8419 | 2733464.0002 | 1164031.2414 | 2733477.2366 | 1164029.6129
33 | 2733445.1604 | 1163937.6763 | 2733446.6537 | 1163940.8229 | 2733448.1257 | 1163944.5805 | 2733451.4325 | 1163950.247 | 2733455.3597 | 1163955.9273 | 2733458.8259 | 1163960.9746 | 2733462.3032 | 1163965.8665 | 2733465.3373 | 1163969.67 | 2733470.3624 | 1163974.9077 | 2733476.9429 | 1163980.4912 | 2733483.5233 | 1163986.0748 | 2733487.4636 | 1163990.8213 | 2733490.0463 | 1163998.2773
34 | 2733461.6551 | 1164021.8419 | 2733457.4921 | 1164005.1555 | 2733454.952 | 1164005.7078
35 | 2733428.318 | 1164011.542 | 2733429.1889 | 1164011.3096 | 2733454.952 | 1164005.7078
36 | 2733458.7775 | 1164084.581 | 2733468.2802 | 1164100.71 | 2733479.3184 | 1164111.339
37 | 2733454.8713 | 1164077.9511 | 2733458.7775 | 1164084.581
38 | 2733498.6196 | 1164129.8868 | 2733494.521 | 1164125.978 | 2733479.3184 | 1164111.339
39 | 2733454.8713 | 1164077.9511 | 2733453.2023 | 1164080.9941 | 2733451.0282 | 1164087.4617
40 | 2733454.8713 | 1164077.9511 | 2733451.1129 | 1164071.5741 | 2733444.5551 | 1164062.3103
41 | 2733498.6196 | 1164129.8868 | 2733500.3948 | 1164131.5798
42 | 2733451.0282 | 1164087.4617 | 2733451.0476 | 1164093.8336 | 2733451.4009 | 1164098.9674 | 2733452.968 | 1164105.6849 | 2733455.5241 | 1164115.2389
43 | 2733444.5551 | 1164062.3103 | 2733436.0347 | 1164050.2741
44 | 2733455.5241 | 1164115.2389 | 2733456.2719 | 1164118.0341 | 2733458.4313 | 1164123.5557
45 | 2733410.6644 | 1164017.0472 | 2733422.6593 | 1164031.3796 | 2733436.0347 | 1164050.2741
46 | 2733410.6644 | 1164017.0472 | 2733413.724 | 1164014.8691 | 2733413.7714 | 1164012.7352 | 2733417.4215 | 1164012.2603 | 2733420.186 | 1164013.7116 | 2733428.318 | 1164011.542
47 | 2733410.6644 | 1164017.0472 | 2733402.327 | 1164007.0771 | 2733394.7725 | 1163994.9783
48 | 2733394.7725 | 1163994.9783 | 2733393.5348 | 1163997.9197 | 2733392.5905 | 1164000.9737
49 | 2733387.9935 | 1164016.277 | 2733391.7352 | 1164003.7396 | 2733392.5905 | 1164000.9737
50 | 2733387.9935 | 1164016.277 | 2733387.9935 | 1164016.277 | 2733384.2722 | 1164032.7288 | 2733383.7265 | 1164043.1578
51 | 2733393.8656 | 1164112.4168 | 2733392.0266 | 1164102.4302 | 2733388.756 | 1164079.9638
52 | 2733398.9532 | 1164140.045 | 2733393.8656 | 1164112.4168
53 | 2733387.1949 | 1164069.2403 | 2733388.756 | 1164079.9638
54 | 2733398.9532 | 1164140.045 | 2733406.0767 | 1164141.1817 | 2733412.3735 | 1164150.9064 | 2733414.8503 | 1164156.4963
55 | 2733398.9532 | 1164140.045 | 2733391.2086 | 1164148.5906 | 2733375.6633 | 1164149.5798 | 2733365.1728 | 1164143.2904
56 | 2733387.1949 | 1164069.2403 | 2733384.7268 | 1164052.2867 | 2733384.4984 | 1164050.2021
57 | 2733414.8503 | 1164156.4963 | 2733415.681 | 1164158.3713
58 | 2733365.1728 | 1164143.2904 | 2733361.9695 | 1164141.37 | 2733345.0591 | 1164115.5261
59 | 2733383.7265 | 1164043.1578 | 2733384.4984 | 1164050.2021

## bus_geodata
| x | y | coords
0 | 2733263.6766 | 1163876.5243
1 | 2733258.0378 | 1163865.1707
2 | 2733273.1813 | 1163893.3512
3 | 2733253.9736 | 1163856.9876
4 | 2733345.4842 | 1163877.7984
5 | 2733247.062 | 1163843.0642
6 | 2733238.6543 | 1163868.8863
7 | 2733329.7097 | 1163855.243
8 | 2733381.9989 | 1163956.3964
9 | 2733244.9396 | 1163838.7886
10 | 2733230.1809 | 1163875.3629
11 | 2733329.6637 | 1163822.7847
12 | 2733335.8162 | 1163843.0611
13 | 2733389.9332 | 1163982.3202
14 | 2733212.4282 | 1163889.6307
15 | 2733204.4758 | 1163896.2221
16 | 2733116.9834 | 1163914.44
17 | 2733112.7764 | 1163975.1538
18 | 2733075.9224 | 1164013.304
19 | 2733240.3094 | 1163829.4612
20 | 2733232.9539 | 1163814.6436
21 | 2733232.358 | 1163813.443
22 | 2733217.6519 | 1163826.3045
23 | 2733228.924 | 1163806.9288
24 | 2733263.5362 | 1163780.8396
25 | 2733348.2793 | 1163835.0621
26 | 2733351.8564 | 1163805.086
27 | 2733512.4006 | 1164052.6514
28 | 2733517.7362 | 1164061.7082
29 | 2733495.5399 | 1164027.361
30 | 2733531.9311 | 1164087.9268
31 | 2733477.2366 | 1164029.6129
32 | 2733490.0463 | 1163998.2773
33 | 2733461.6551 | 1164021.8419
34 | 2733445.1604 | 1163937.6763
35 | 2733454.952 | 1164005.7078
36 | 2733458.7775 | 1164084.581
37 | 2733479.3184 | 1164111.339
38 | 2733454.8713 | 1164077.9511
39 | 2733498.6196 | 1164129.8868
40 | 2733451.0282 | 1164087.4617
41 | 2733444.5551 | 1164062.3103
42 | 2733500.3948 | 1164131.5798
43 | 2733455.5241 | 1164115.2389
44 | 2733436.0347 | 1164050.2741
45 | 2733458.4313 | 1164123.5557
46 | 2733410.6644 | 1164017.0472
47 | 2733394.7725 | 1163994.9783
48 | 2733392.5905 | 1164000.9737
49 | 2733387.9935 | 1164016.277
50 | 2733428.318 | 1164011.542
51 | 2733393.8656 | 1164112.4168
52 | 2733388.756 | 1164079.9638
53 | 2733398.9532 | 1164140.045
54 | 2733387.1949 | 1164069.2403
55 | 2733414.8503 | 1164156.4963
56 | 2733365.1728 | 1164143.2904
57 | 2733384.4984 | 1164050.2021
58 | 2733415.681 | 1164158.3713
59 | 2733345.0591 | 1164115.5261
60 | 2733383.7265 | 1164043.1578
61 | 2733394.7725 | 1163994.9783

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1