## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3603-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3603-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3603-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3603-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3603-7_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3603-7_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_3603-7_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3603-7_0_3_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_3603-7_0_3_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_3603-7_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3603-7_0_3_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_3603-7_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3603-7_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3603-7_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_3603-7_0_3_node_69 | 0.4 | n |  | TRUE
15 | bus_LV_3603-7_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3603-7_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3603-7_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3603-7_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3603-7_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_3603-7_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3603-7_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_3603-7_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3603-7_0_3_node_76 | 0.4 | n |  | TRUE
24 | bus_LV_3603-7_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_3603-7_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_3603-7_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_3603-7_0_3_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_3603-7_0_3_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_3603-7_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_3603-7_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_3603-7_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_3603-7_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_3603-7_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_3603-7_0_3_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_3603-7_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_3603-7_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3603-7_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_3603-7_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_3603-7_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_3603-7_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_3603-7_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_3603-7_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_3603-7_0_3_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_3603-7_0_3_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_3603-7_0_3_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_3603-7_0_3_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_3603-7_0_3_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_3603-7_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_3603-7_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_3603-7_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_3603-7_0_3_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_3603-7_0_3_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_3603-7_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_3603-7_0_3_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_3603-7_0_3_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_3603-7_0_3_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_3603-7_0_3_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_3603-7_0_3_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_3603-7_0_3_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_3603-7_0_3_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_3603-7_0_3_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_3603-7_0_3_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_3603-7_0_3_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_3603-7_0_3_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_3603-7_0_3_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_3603-7_0_3_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_3603-7_0_3_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_3603-7_0_3_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_3603-7_0_3_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_3603-7_0_3_node_67 | 0.4 | n |  | TRUE
71 | bus_MV_162_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3603-7_0_3_load_0 | 0 | 0.0042377 | 0.0010621 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3603-7_0_3_load_1 | 1 | 0.0025728 | 0.00064479 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3603-7_0_3_load_2 | 2 | 0.003502 | 0.00087767 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3603-7_0_3_load_4 | 4 | 0.0010309 | 0.00025837 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3603-7_0_3_load_5 | 6 | 0.002602 | 0.00065213 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3603-7_0_3_load_73 | 7 | 0.0014681 | 0.00036794 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3603-7_0_3_load_75 | 8 | 0.0020752 | 0.00052011 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3603-7_0_3_load_6 | 9 | 0.0026402 | 0.0006617 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3603-7_0_3_load_7 | 11 | 0.002056 | 0.00051528 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3603-7_0_3_load_9 | 12 | 0.0061499 | 0.0015413 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3603-7_0_3_load_10 | 13 | 0.0025722 | 0.00064465 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3603-7_0_3_load_69 | 14 | 0.0045598 | 0.0011428 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3603-7_0_3_load_11 | 15 | 0.002402 | 0.00060199 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3603-7_0_3_load_14 | 18 | 0.0018298 | 0.0004586 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3603-7_0_3_load_15 | 19 | 0.0007064 | 0.00017704 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3603-7_0_3_load_23 | 21 | 0.0093071 | 0.0023326 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3603-7_0_3_load_18 | 22 | 0.0030044 | 0.00075296 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3603-7_0_3_load_76 | 23 | 0.0030389 | 0.00076162 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3603-7_0_3_load_21 | 24 | 0.0022857 | 0.00057286 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3603-7_0_3_load_17 | 25 | 0.00079409 | 0.00019902 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3603-7_0_3_load_19 | 26 | 0.0030989 | 0.00077665 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3603-7_0_3_load_58 | 27 | 0.0045476 | 0.0011397 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3603-7_0_3_load_57 | 28 | 0.003625 | 0.0009085 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3603-7_0_3_load_20 | 29 | 0.0053784 | 0.001348 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3603-7_0_3_load_24 | 31 | 0.0029729 | 0.00074509 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3603-7_0_3_load_25 | 32 | 0.0019042 | 0.00047724 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3603-7_0_3_load_72 | 34 | 0.0021564 | 0.00054046 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3603-7_0_3_load_26 | 36 | 0.0044812 | 0.0011231 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3603-7_0_3_load_27 | 37 | 0.0052012 | 0.0013036 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3603-7_0_3_load_34 | 38 | 0.012728 | 0.0031899 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3603-7_0_3_load_30 | 39 | 0.0061489 | 0.0015411 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3603-7_0_3_load_32 | 41 | 0.0039201 | 0.00098248 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3603-7_0_3_load_33 | 42 | 0.0030752 | 0.00077071 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3603-7_0_3_load_48 | 43 | 0.0044153 | 0.0011066 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3603-7_0_3_load_49 | 45 | 0.011792 | 0.0029554 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3603-7_0_3_load_52 | 46 | 0.0043419 | 0.0010882 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3603-7_0_3_load_46 | 47 | 0.0012101 | 0.00030327 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3603-7_0_3_load_35 | 48 | 0.0064466 | 0.0016157 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3603-7_0_3_load_36 | 49 | 0.0043099 | 0.0010802 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3603-7_0_3_load_62 | 51 | 0.0014305 | 0.00035853 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3603-7_0_3_load_42 | 53 | 0.0054811 | 0.0013737 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3603-7_0_3_load_56 | 54 | 0.00040688 | 0.00010197 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3603-7_0_3_load_59 | 55 | 0.0039357 | 0.00098638 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3603-7_0_3_load_53 | 56 | 0.00059832 | 0.00014995 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3603-7_0_3_load_43 | 57 | 0.0035206 | 0.00088234 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3603-7_0_3_load_38 | 59 | 0.0034978 | 0.00087664 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3603-7_0_3_load_39 | 60 | 0.0049634 | 0.0012439 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3603-7_0_3_load_40 | 61 | 0.0014643 | 0.00036698 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3603-7_0_3_load_41 | 62 | 0.0041071 | 0.0010293 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3603-7_0_3_load_47 | 64 | 0.0067634 | 0.0016951 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3603-7_0_3_load_74 | 65 | 0.0030725 | 0.00077004 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3603-7_0_3_load_68 | 66 | 0.0031075 | 0.00077881 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3603-7_0_3_load_64 | 67 | 0.0081444 | 0.0020412 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3603-7_0_3_load_65 | 68 | 0.0027852 | 0.00069805 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3603-7_0_3_load_66 | 69 | 0.0021905 | 0.00054899 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3603-7_0_3_load_67 | 70 | 0.002504 | 0.00062756 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3603-7_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.026671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3603-7_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0035867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3603-7_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.012551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3603-7_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3603-7_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.057022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3603-7_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0084354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3603-7_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.01023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3603-7_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.029542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3603-7_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.011207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3603-7_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.011624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3603-7_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.018666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3603-7_0_3_line_11 | NAYY 4x150 SE | 10 | 64 | 0.035292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3603-7_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.017061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3603-7_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.029952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3603-7_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.027486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3603-7_0_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.015611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3603-7_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.043459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3603-7_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3603-7_0_3_line_18 | NAYY 4x150 SE | 16 | 19 | 0.0067039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3603-7_0_3_line_19 | NAYY 4x150 SE | 17 | 20 | 0.018568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3603-7_0_3_line_20 | NAYY 4x150 SE | 18 | 21 | 0.0071695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3603-7_0_3_line_21 | NAYY 4x150 SE | 19 | 22 | 0.010072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3603-7_0_3_line_22 | NAYY 4x150 SE | 20 | 23 | 0.007265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3603-7_0_3_line_23 | NAYY 4x150 SE | 21 | 24 | 0.010235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3603-7_0_3_line_24 | NAYY 4x150 SE | 22 | 25 | 0.0075371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3603-7_0_3_line_25 | NAYY 4x150 SE | 24 | 29 | 0.0066289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3603-7_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.010704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3603-7_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.051826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3603-7_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.037676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3603-7_0_3_line_29 | NAYY 4x150 SE | 28 | 48 | 0.031428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3603-7_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.0053149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3603-7_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.022701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3603-7_0_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.023218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3603-7_0_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.0039298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3603-7_0_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.0044501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3603-7_0_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.030419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3603-7_0_3_line_36 | NAYY 4x150 SE | 33 | 36 | 0.0089373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3603-7_0_3_line_37 | NAYY 4x150 SE | 35 | 38 | 0.02649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3603-7_0_3_line_38 | NAYY 4x150 SE | 35 | 39 | 0.01326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3603-7_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.011371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3603-7_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.028459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_3603-7_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0085484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3603-7_0_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.011802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3603-7_0_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.014082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3603-7_0_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.015815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3603-7_0_3_line_45 | NAYY 4x150 SE | 43 | 45 | 0.011061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3603-7_0_3_line_46 | NAYY 4x150 SE | 44 | 46 | 0.039787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3603-7_0_3_line_47 | NAYY 4x150 SE | 44 | 47 | 0.016386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3603-7_0_3_line_48 | NAYY 4x150 SE | 46 | 65 | 0.0091684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3603-7_0_3_line_49 | NAYY 4x150 SE | 47 | 63 | 0.012553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3603-7_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.074359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3603-7_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.058082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3603-7_0_3_line_52 | NAYY 4x150 SE | 50 | 53 | 0.0026901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3603-7_0_3_line_53 | NAYY 4x150 SE | 50 | 54 | 0.041421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3603-7_0_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.070928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3603-7_0_3_line_55 | NAYY 4x150 SE | 52 | 55 | 0.077203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3603-7_0_3_line_56 | NAYY 4x150 SE | 53 | 57 | 0.02667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3603-7_0_3_line_57 | NAYY 4x150 SE | 54 | 58 | 0.029239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3603-7_0_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.060872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3603-7_0_3_line_59 | NAYY 4x150 SE | 56 | 58 | 0.057479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3603-7_0_3_line_60 | NAYY 4x150 SE | 59 | 60 | 0.0066151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3603-7_0_3_line_61 | NAYY 4x150 SE | 59 | 61 | 0.0050495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3603-7_0_3_line_62 | NAYY 4x150 SE | 60 | 62 | 0.012612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3603-7_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.018434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3603-7_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.0085509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3603-7_0_3_line_65 | NAYY 4x150 SE | 65 | 66 | 0.008863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3603-7_0_3_line_66 | NAYY 4x150 SE | 66 | 69 | 0.022621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3603-7_0_3_line_67 | NAYY 4x150 SE | 67 | 68 | 0.0047911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3603-7_0_3_line_68 | NAYY 4x150 SE | 67 | 69 | 0.015428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3603-7_0_3_line_69 | NAYY 4x150 SE | 68 | 70 | 0.010079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3603-7_0_3_trafo_30 | 0.25 MVA 20/0.4 kV | 71 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2733312.6284 | 1163899.0119 | 2733320.0153 | 1163893.9789 | 2733334.4142 | 1163883.6291
1 | 2733312.6284 | 1163899.0119 | 2733309.6643 | 1163901.0314
2 | 2733345.4842 | 1163877.7984 | 2733336.9123 | 1163881.8335 | 2733334.4142 | 1163883.6291
3 | 2733299.7785 | 1163904.5193 | 2733308.4776 | 1163901.84 | 2733309.6643 | 1163901.0314
4 | 2733348.2793 | 1163835.0621 | 2733333.6268 | 1163844.4663 | 2733330.5156 | 1163847.9332 | 2733329.5648 | 1163851.7594 | 2733329.7097 | 1163855.243 | 2733345.4842 | 1163877.7984
5 | 2733345.4842 | 1163877.7984 | 2733353.5765 | 1163880.1796
6 | 2733289.6078 | 1163903.8594 | 2733299.2503 | 1163904.682 | 2733299.7785 | 1163904.5193
7 | 2733348.2793 | 1163835.0621 | 2733355.5984 | 1163830.51 | 2733359.83 | 1163830.426 | 2733362.6702 | 1163831.9234 | 2733371.5464 | 1163842.139
8 | 2733353.5765 | 1163880.1796 | 2733353.5765 | 1163880.1796 | 2733360.3278 | 1163889.1249
9 | 2733278.0112 | 1163903.5992 | 2733283.5721 | 1163903.3445 | 2733289.6078 | 1163903.8594
10 | 2733360.3278 | 1163889.1249 | 2733360.3278 | 1163889.1249 | 2733366.1593 | 1163906.8561
11 | 2733278.0112 | 1163903.5992 | 2733279.8588 | 1163924.2777 | 2733281.468 | 1163938.7196
12 | 2733366.1593 | 1163906.8561 | 2733371.4896 | 1163923.0628
13 | 2733371.4896 | 1163923.0628 | 2733374.9492 | 1163933.582 | 2733380.5227 | 1163951.6193
14 | 2733388.6373 | 1163977.88 | 2733380.5227 | 1163951.6193
15 | 2733318.0833 | 1164144.7214 | 2733324.9568 | 1164158.7382
16 | 2733342.6519 | 1164198.3948 | 2733338.1008 | 1164186.3071 | 2733330.9773 | 1164171.0156 | 2733324.9568 | 1164158.7382
17 | 2733318.0833 | 1164144.7214 | 2733314.1979 | 1164134.0496 | 2733313.0755 | 1164129.2354
18 | 2733318.0833 | 1164144.7214 | 2733312.5639 | 1164148.5266
19 | 2733342.6519 | 1164198.3948 | 2733338.3598 | 1164202.9474 | 2733330.566 | 1164206.1214 | 2733326.8088 | 1164207.2833
20 | 2733311.4617 | 1164122.2503 | 2733311.5113 | 1164122.5259 | 2733313.0755 | 1164129.2354
21 | 2733304.2719 | 1164154.2433 | 2733312.5639 | 1164148.5266
22 | 2733324.4713 | 1164200.4042 | 2733326.8088 | 1164207.2833
23 | 2733311.4617 | 1164122.2503 | 2733309.6495 | 1164112.1765
24 | 2733304.2719 | 1164154.2433 | 2733298.0666 | 1164158.5214
25 | 2733309.6495 | 1164112.1765 | 2733308.4758 | 1164105.6523
26 | 2733289.2543 | 1164164.5969 | 2733298.0666 | 1164158.5214
27 | 2733289.2543 | 1164164.5969 | 2733237.6826 | 1164169.726
28 | 2733223.0891 | 1164134.9926 | 2733230.4677 | 1164152.9965 | 2733237.6826 | 1164169.726
29 | 2733242.3773 | 1164110.1799 | 2733223.0891 | 1164134.9926
30 | 2733307.5348 | 1164100.4214 | 2733308.4758 | 1164105.6523
31 | 2733307.5348 | 1164100.4214 | 2733302.7103 | 1164078.239
32 | 2733307.5348 | 1164100.4214 | 2733323.818 | 1164096.5685 | 2733330.1032 | 1164098.1653
33 | 2733301.8751 | 1164074.3989 | 2733302.7103 | 1164078.239
34 | 2733330.1032 | 1164098.1653 | 2733334.4163 | 1164099.2611
35 | 2733296.64 | 1164044.4385 | 2733301.8751 | 1164074.3989
36 | 2733301.8751 | 1164074.3989 | 2733293.221 | 1164076.6309 | 2733293.221 | 1164076.6309
37 | 2733296.64 | 1164044.4385 | 2733271.7038 | 1164053.5702
38 | 2733296.64 | 1164044.4385 | 2733294.6904 | 1164031.3222
39 | 2733293.221 | 1164076.6309 | 2733296.6234 | 1164087.4809
40 | 2733290.5063 | 1164003.172 | 2733294.6904 | 1164031.3222
41 | 2733290.5063 | 1164003.172 | 2733282.4504 | 1164006.0319
42 | 2733290.5063 | 1164003.172 | 2733288.495 | 1163991.5423
43 | 2733282.4504 | 1164006.0319 | 2733269.1801 | 1164010.7429
44 | 2733285.8 | 1163975.9587 | 2733288.495 | 1163991.5423
45 | 2733258.7567 | 1164014.4432 | 2733269.1801 | 1164010.7429
46 | 2733285.8 | 1163975.9587 | 2733305.8961 | 1163966.386 | 2733312.3462 | 1163963.349 | 2733317.3049 | 1163960.5346 | 2733322.0018 | 1163960.5388
47 | 2733285.8 | 1163975.9587 | 2733283.8833 | 1163959.685
48 | 2733327.3078 | 1163967.7587 | 2733325.131 | 1163963.1657 | 2733322.0018 | 1163960.5388 | 2733322.0018 | 1163960.5388
49 | 2733282.4149 | 1163947.2179 | 2733283.8833 | 1163959.685
50 | 2733242.3773 | 1164110.1799 | 2733213.4303 | 1164041.6861
51 | 2733200.393 | 1163985.4285 | 2733201.9223 | 1164004.9212 | 2733213.0059 | 1164040.6821 | 2733213.4303 | 1164041.6861
52 | 2733200.393 | 1163985.4285 | 2733201.0387 | 1163982.817
53 | 2733200.393 | 1163985.4285 | 2733167.5883 | 1164010.7187
54 | 2733112.0643 | 1164116.7471 | 2733117.2878 | 1164119.6093 | 2733119.8653 | 1164121.5456 | 2733121.8221 | 1164123.835 | 2733123.7736 | 1164126.7026 | 2733130.2093 | 1164139.8659 | 2733133.3011 | 1164144.8714 | 2733137.7009 | 1164151.0178 | 2733153.4051 | 1164173.1935
55 | 2733112.0643 | 1164116.7471 | 2733105.6943 | 1164096.4689 | 2733102.7794 | 1164085.5518 | 2733100.4006 | 1164076.0255 | 2733098.2872 | 1164069.7407 | 2733094.9927 | 1164061.4283 | 2733091.8103 | 1164055.6647 | 2733088.9386 | 1164051.7872 | 2733083.4242 | 1164046.2023
56 | 2733201.0387 | 1163982.817 | 2733202.8676 | 1163975.4204 | 2733208.4289 | 1163962.7009 | 2733211.4972 | 1163958.5418
57 | 2733154.6232 | 1163984.5252 | 2733162.6809 | 1163999.8705 | 2733167.5883 | 1164010.7187
58 | 2733126.1017 | 1164002.7966 | 2733083.4242 | 1164046.2023
59 | 2733154.6232 | 1163984.5252 | 2733154.4082 | 1163988.3455 | 2733153.9562 | 1163996.2969 | 2733153.1379 | 1164000.0259 | 2733151.7001 | 1164003.0185 | 2733149.8093 | 1164005.3562 | 2733147.9247 | 1164007.416 | 2733146.1498 | 1164009.0223 | 2733143.074 | 1164011.2447 | 2733140.0908 | 1164013.0911 | 2733136.7372 | 1164015.3963 | 2733134.1453 | 1164016.5287 | 2733132.4235 | 1164015.3897 | 2733130.7538 | 1164012.2504 | 2733129.2604 | 1164009.1039 | 2733127.9385 | 1164006.5172 | 2733126.1017 | 1164002.7966
60 | 2733250.9898 | 1163967.9736 | 2733256.5096 | 1163964.3279
61 | 2733246.7764 | 1163970.7565 | 2733250.9898 | 1163967.9736
62 | 2733267.0332 | 1163957.3773 | 2733256.5096 | 1163964.3279
63 | 2733282.4149 | 1163947.2179 | 2733267.0332 | 1163957.3773
64 | 2733282.4149 | 1163947.2179 | 2733281.468 | 1163938.7196
65 | 2733329.9705 | 1163976.199 | 2733327.81 | 1163968.8181 | 2733327.3078 | 1163967.7587
66 | 2733335.3203 | 1163998.1042 | 2733334.7685 | 1163992.59 | 2733329.9705 | 1163976.199
67 | 2733336.8563 | 1164013.4551 | 2733337.3334 | 1164018.2224
68 | 2733336.8563 | 1164013.4551 | 2733335.3203 | 1163998.1042
69 | 2733338.3369 | 1164028.2511 | 2733337.3334 | 1164018.2224

## bus_geodata
| x | y | coords
0 | 2733312.6284 | 1163899.0119
1 | 2733334.4142 | 1163883.6291
2 | 2733309.6643 | 1163901.0314
3 | 2733345.4842 | 1163877.7984
4 | 2733299.7785 | 1163904.5193
5 | 2733348.2793 | 1163835.0621
6 | 2733353.5765 | 1163880.1796
7 | 2733289.6078 | 1163903.8594
8 | 2733371.5464 | 1163842.139
9 | 2733360.3278 | 1163889.1249
10 | 2733278.0112 | 1163903.5992
11 | 2733366.1593 | 1163906.8561
12 | 2733371.4896 | 1163923.0628
13 | 2733380.5227 | 1163951.6193
14 | 2733388.6373 | 1163977.88
15 | 2733324.9568 | 1164158.7382
16 | 2733318.0833 | 1164144.7214
17 | 2733342.6519 | 1164198.3948
18 | 2733313.0755 | 1164129.2354
19 | 2733312.5639 | 1164148.5266
20 | 2733326.8088 | 1164207.2833
21 | 2733311.4617 | 1164122.2503
22 | 2733304.2719 | 1164154.2433
23 | 2733324.4713 | 1164200.4042
24 | 2733309.6495 | 1164112.1765
25 | 2733298.0666 | 1164158.5214
26 | 2733289.2543 | 1164164.5969
27 | 2733237.6826 | 1164169.726
28 | 2733223.0891 | 1164134.9926
29 | 2733308.4758 | 1164105.6523
30 | 2733307.5348 | 1164100.4214
31 | 2733302.7103 | 1164078.239
32 | 2733330.1032 | 1164098.1653
33 | 2733301.8751 | 1164074.3989
34 | 2733334.4163 | 1164099.2611
35 | 2733296.64 | 1164044.4385
36 | 2733293.221 | 1164076.6309
37 | 2733296.6234 | 1164087.4809
38 | 2733271.7038 | 1164053.5702
39 | 2733294.6904 | 1164031.3222
40 | 2733290.5063 | 1164003.172
41 | 2733282.4504 | 1164006.0319
42 | 2733288.495 | 1163991.5423
43 | 2733269.1801 | 1164010.7429
44 | 2733285.8 | 1163975.9587
45 | 2733258.7567 | 1164014.4432
46 | 2733322.0018 | 1163960.5388
47 | 2733283.8833 | 1163959.685
48 | 2733242.3773 | 1164110.1799
49 | 2733213.4303 | 1164041.6861
50 | 2733200.393 | 1163985.4285
51 | 2733153.4051 | 1164173.1935
52 | 2733112.0643 | 1164116.7471
53 | 2733201.0387 | 1163982.817
54 | 2733167.5883 | 1164010.7187
55 | 2733083.4242 | 1164046.2023
56 | 2733126.1017 | 1164002.7966
57 | 2733211.4972 | 1163958.5418
58 | 2733154.6232 | 1163984.5252
59 | 2733250.9898 | 1163967.9736
60 | 2733256.5096 | 1163964.3279
61 | 2733246.7764 | 1163970.7565
62 | 2733267.0332 | 1163957.3773
63 | 2733282.4149 | 1163947.2179
64 | 2733281.468 | 1163938.7196
65 | 2733327.3078 | 1163967.7587
66 | 2733329.9705 | 1163976.199
67 | 2733336.8563 | 1164013.4551
68 | 2733337.3334 | 1164018.2224
69 | 2733335.3203 | 1163998.1042
70 | 2733338.3369 | 1164028.2511
71 | 2733296.64 | 1164044.4385

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1