## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3618-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3618-17_0_3_node_45 | 0.4 | n |  | TRUE
2 | bus_LV_3618-17_0_3_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_3618-17_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3618-17_0_3_node_55 | 0.4 | n |  | TRUE
5 | bus_LV_3618-17_0_3_node_56 | 0.4 | n |  | TRUE
6 | bus_LV_3618-17_0_3_node_63 | 0.4 | n |  | TRUE
7 | bus_LV_3618-17_0_3_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_3618-17_0_3_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_3618-17_0_3_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_3618-17_0_3_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_3618-17_0_3_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_3618-17_0_3_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_3618-17_0_3_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_3618-17_0_3_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_3618-17_0_3_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_3618-17_0_3_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_3618-17_0_3_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_3618-17_0_3_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_3618-17_0_3_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_3618-17_0_3_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_3618-17_0_3_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_3618-17_0_3_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_3618-17_0_3_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_3618-17_0_3_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_3618-17_0_3_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_3618-17_0_3_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_3618-17_0_3_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_3618-17_0_3_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_3618-17_0_3_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_3618-17_0_3_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_3618-17_0_3_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_3618-17_0_3_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_3618-17_0_3_node_82 | 0.4 | n |  | TRUE
34 | bus_LV_3618-17_0_3_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_3618-17_0_3_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_3618-17_0_3_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_3618-17_0_3_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_3618-17_0_3_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_3618-17_0_3_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_3618-17_0_3_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_3618-17_0_3_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_3618-17_0_3_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_3618-17_0_3_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_3618-17_0_3_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_3618-17_0_3_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_3618-17_0_3_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_3618-17_0_3_node_70 | 0.4 | n |  | TRUE
48 | bus_LV_3618-17_0_3_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_3618-17_0_3_node_73 | 0.4 | n |  | TRUE
50 | bus_LV_3618-17_0_3_node_72 | 0.4 | n |  | TRUE
51 | bus_LV_3618-17_0_3_node_76 | 0.4 | n |  | TRUE
52 | bus_LV_3618-17_0_3_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_3618-17_0_3_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_3618-17_0_3_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_3618-17_0_3_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_3618-17_0_3_node_80 | 0.4 | n |  | TRUE
57 | bus_LV_3618-17_0_3_node_84 | 0.4 | n |  | TRUE
58 | bus_LV_3618-17_0_3_node_83 | 0.4 | n |  | TRUE
59 | bus_MV_0_node_2 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3618-17_0_3_load_0 | 0 | 0.0003275 | 8.208e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3618-17_0_3_load_45 | 1 | 0.0004827 | 0.00012098 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3618-17_0_3_load_55 | 4 | 0.0010613 | 0.00026598 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3618-17_0_3_load_56 | 5 | 0.0024535 | 0.00061489 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3618-17_0_3_load_27 | 7 | 0.003493 | 0.00087543 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3618-17_0_3_load_28 | 8 | 0.0009428 | 0.00023629 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3618-17_0_3_load_29 | 9 | 0.0013394 | 0.00033568 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3618-17_0_3_load_31 | 11 | 0.0016535 | 0.00041441 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3618-17_0_3_load_32 | 12 | 0.0021211 | 0.00053161 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3618-17_0_3_load_33 | 13 | 0.0017822 | 0.00044665 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3618-17_0_3_load_53 | 14 | 0.00061768 | 0.00015481 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3618-17_0_3_load_35 | 16 | 0.00062094 | 0.00015562 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3618-17_0_3_load_36 | 17 | 0.0022872 | 0.00057323 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3618-17_0_3_load_37 | 18 | 0.00038264 | 9.5898e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3618-17_0_3_load_52 | 19 | 0.0026557 | 0.00066559 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3618-17_0_3_load_38 | 20 | 0.0006598 | 0.00016536 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3618-17_0_3_load_39 | 21 | 0.00032046 | 8.0315e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3618-17_0_3_load_42 | 22 | 0.00021253 | 5.3265e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3618-17_0_3_load_44 | 23 | 0.00028822 | 7.2235e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3618-17_0_3_load_49 | 25 | 0.00044676 | 0.00011197 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3618-17_0_3_load_50 | 26 | 0.0013113 | 0.00032864 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3618-17_0_3_load_46 | 27 | 0.00059309 | 0.00014864 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3618-17_0_3_load_48 | 29 | 0.00031522 | 7.9003e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3618-17_0_3_load_54 | 32 | 0.0009175 | 0.00022995 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3618-17_0_3_load_58 | 34 | 0.0039123 | 0.0009805 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3618-17_0_3_load_59 | 35 | 0.0035981 | 0.00090178 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3618-17_0_3_load_60 | 36 | 0.0010973 | 0.00027501 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3618-17_0_3_load_61 | 37 | 0.0010364 | 0.00025974 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3618-17_0_3_load_62 | 38 | 0.00088367 | 0.00022147 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3618-17_0_3_load_64 | 39 | 0.0012738 | 0.00031925 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3618-17_0_3_load_69 | 41 | 0.0012231 | 0.00030653 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3618-17_0_3_load_65 | 42 | 0.00153 | 0.00038347 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3618-17_0_3_load_66 | 43 | 0.002069 | 0.00051853 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3618-17_0_3_load_67 | 44 | 0.0011422 | 0.00028625 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3618-17_0_3_load_75 | 45 | 0.00099098 | 0.00024836 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3618-17_0_3_load_68 | 46 | 0.0017917 | 0.00044905 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3618-17_0_3_load_70 | 47 | 0.0011608 | 0.00029093 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3618-17_0_3_load_74 | 48 | 0.00095282 | 0.0002388 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3618-17_0_3_load_73 | 49 | 0.0014867 | 0.00037261 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3618-17_0_3_load_72 | 50 | 0.0016844 | 0.00042216 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3618-17_0_3_load_76 | 51 | 0.000684 | 0.00017143 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3618-17_0_3_load_81 | 52 | 0.0012932 | 0.0003241 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3618-17_0_3_load_77 | 53 | 0.00048549 | 0.00012167 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3618-17_0_3_load_78 | 54 | 0.00083528 | 0.00020934 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3618-17_0_3_load_79 | 55 | 0.00049742 | 0.00012466 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3618-17_0_3_load_80 | 56 | 0.0008627 | 0.00021621 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3618-17_0_3_load_84 | 57 | 0.001031 | 0.0002584 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3618-17_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.58566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3618-17_0_3_line_1 | NAYY 4x150 SE | 1 | 27 | 0.039073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3618-17_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3618-17_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.1578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3618-17_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.22208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3618-17_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.077606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_3618-17_0_3_line_6 | NAYY 4x150 SE | 5 | 31 | 0.066477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3618-17_0_3_line_7 | NAYY 4x150 SE | 6 | 40 | 0.022513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_3618-17_0_3_line_8 | NAYY 4x150 SE | 6 | 41 | 0.0091104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3618-17_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.014406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3618-17_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.0027522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3618-17_0_3_line_11 | NAYY 4x150 SE | 8 | 10 | 0.21779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3618-17_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.2372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3618-17_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.20456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3618-17_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.018961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3618-17_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.10087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3618-17_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.19397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3618-17_0_3_line_17 | NAYY 4x150 SE | 14 | 32 | 0.080706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3618-17_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.021331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3618-17_0_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.16437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3618-17_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.008699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3618-17_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.072361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3618-17_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.083018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3618-17_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.025875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3618-17_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.18247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3618-17_0_3_line_25 | NAYY 4x150 SE | 23 | 26 | 0.12775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3618-17_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.10182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3618-17_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.3263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3618-17_0_3_line_28 | NAYY 4x150 SE | 25 | 29 | 0.019336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3618-17_0_3_line_29 | NAYY 4x150 SE | 26 | 30 | 0.10414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3618-17_0_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.075111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3618-17_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.048339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3618-17_0_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.22199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3618-17_0_3_line_33 | NAYY 4x150 SE | 31 | 34 | 0.095512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3618-17_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.026795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3618-17_0_3_line_35 | NAYY 4x150 SE | 33 | 58 | 0.023429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3618-17_0_3_line_36 | NAYY 4x150 SE | 33 | 52 | 0.027316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3618-17_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.016097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3618-17_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.011807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3618-17_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.0020053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3618-17_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.022856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3618-17_0_3_line_41 | NAYY 4x150 SE | 39 | 42 | 0.0060585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3618-17_0_3_line_42 | NAYY 4x150 SE | 40 | 48 | 0.059393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_3618-17_0_3_line_43 | NAYY 4x150 SE | 40 | 49 | 0.027726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3618-17_0_3_line_44 | NAYY 4x150 SE | 41 | 46 | 0.014072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3618-17_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.050198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3618-17_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.027617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3618-17_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.00034243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3618-17_0_3_line_48 | NAYY 4x150 SE | 45 | 52 | 0.016118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3618-17_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.00092287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3618-17_0_3_line_50 | NAYY 4x150 SE | 48 | 51 | 0.010522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3618-17_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.0010389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3618-17_0_3_line_52 | NAYY 4x150 SE | 51 | 53 | 0.013226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3618-17_0_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.012217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3618-17_0_3_line_54 | NAYY 4x150 SE | 54 | 55 | 0.0017203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3618-17_0_3_line_55 | NAYY 4x150 SE | 55 | 56 | 0.017435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3618-17_0_3_line_56 | NAYY 4x150 SE | 56 | 57 | 0.03548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3618-17_0_3_line_57 | NAYY 4x150 SE | 57 | 58 | 0.017881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3618-17_0_3_trafo_2 | 0.25 MVA 20/0.4 kV | 59 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2734272.7351 | 1174826.0366 | 2733690.4891 | 1174889.1534
1 | 2734272.7351 | 1174826.0366 | 2734278.8961 | 1174864.6204
2 | 2734399.4254 | 1175666.9061 | 2734401.8556 | 1175658.4541 | 2734402.4775 | 1175653.9091 | 2734402.4805 | 1175650.362 | 2734402.1251 | 1175645.4059 | 2734401.4658 | 1175641.0434 | 2734399.9688 | 1175636.8623 | 2734381.0856 | 1175599.7336 | 2734378.8784 | 1175594.825 | 2734377.6472 | 1175590.7276 | 2734377.042 | 1175585.6547 | 2734378.378 | 1175533.2006 | 2734378.963 | 1175528.2545 | 2734379.943 | 1175524.4513 | 2734380.8808 | 1175522.1928
3 | 2734380.8808 | 1175522.1928 | 2734537.7751 | 1175505.2858
4 | 2734380.8808 | 1175522.1928 | 2734579.3351 | 1175422.5079
5 | 2734399.4254 | 1175666.9061 | 2734379.7677 | 1175718.6048 | 2734372.2994 | 1175739.6201
6 | 2734632.3285 | 1175383.1905 | 2734621.908 | 1175390.5289 | 2734588.5242 | 1175418.1788 | 2734586.0848 | 1175419.8698 | 2734583.3856 | 1175421.555 | 2734580.6401 | 1175422.572 | 2734579.3351 | 1175422.5079
7 | 2734372.2994 | 1175739.6201 | 2734364.7578 | 1175760.8339
8 | 2734372.2994 | 1175739.6201 | 2734377.3003 | 1175747.2352
9 | 2733996.8498 | 1175419.2766 | 2734009.6587 | 1175425.8694
10 | 2733994.4027 | 1175418.0171 | 2733996.8498 | 1175419.2766
11 | 2734178.8499 | 1175563.0029 | 2734009.6587 | 1175425.8694
12 | 2734178.8499 | 1175563.0029 | 2734167.2222 | 1175560.4188 | 2734159.7596 | 1175556.9382 | 2734154.0808 | 1175552.3412 | 2734151.7123 | 1175550.5313 | 2734149.0576 | 1175550.9167 | 2734147.3451 | 1175552.9466 | 2734147.6462 | 1175555.2106 | 2734150.7216 | 1175558.5819 | 2734152.509 | 1175562.4358 | 2734152.9185 | 1175565.6696 | 2734151.5803 | 1175568.742 | 2734148.1424 | 1175572.001 | 2734119.1552 | 1175584.4402 | 2734091.7725 | 1175593.1904 | 2734075.4155 | 1175612.6396 | 2734054.5707 | 1175698.394 | 2734052.2312 | 1175702.8448
13 | 2734178.8499 | 1175563.0029 | 2734183.62 | 1175566.5122 | 2734186.7816 | 1175569.7854 | 2734189.5862 | 1175573.6399 | 2734190.8937 | 1175577.75 | 2734191.0317 | 1175581.834 | 2734190.4792 | 1175585.3353 | 2734188.9906 | 1175589.3162 | 2734185.3183 | 1175596.5617 | 2734183.3156 | 1175601.643 | 2734182.4699 | 1175605.6048 | 2734181.2933 | 1175614.096 | 2734180.6547 | 1175625.8906 | 2734180.9799 | 1175636.3058 | 2734181.891 | 1175645.1439 | 2734183.0043 | 1175651.4402 | 2734184.8054 | 1175658.4413 | 2734188.0035 | 1175669.3099 | 2734192.1344 | 1175680.1882 | 2734196.8973 | 1175691.1919 | 2734206.1695 | 1175708.8014 | 2734209.255 | 1175716.4984 | 2734210.8313 | 1175722.9497 | 2734211.0006 | 1175729.7363 | 2734210.7428 | 1175738.8597 | 2734210.1922 | 1175750.1336 | 2734210.9876 | 1175755.2609
14 | 2734052.2312 | 1175702.8448 | 2734043.409 | 1175719.6281
15 | 2734210.9876 | 1175755.2609 | 2734211.1546 | 1175756.3376 | 2734213.1158 | 1175764.0428 | 2734216.7107 | 1175771.5289 | 2734222.6512 | 1175781.1579 | 2734231.5954 | 1175793.2559 | 2734239.8617 | 1175804.5494 | 2734243.0088 | 1175808.1225 | 2734245.566 | 1175810.3814 | 2734248.316 | 1175812.222 | 2734251.4056 | 1175813.9258 | 2734255.4378 | 1175815.8841 | 2734278.0492 | 1175822.8916
16 | 2733874.5784 | 1175761.9014 | 2733876.9239 | 1175755.838 | 2733896.4855 | 1175741.8084 | 2733918.5423 | 1175741.7227 | 2733981.6576 | 1175756.0201 | 2734014.7675 | 1175751.0223 | 2734037.0951 | 1175731.6398 | 2734043.409 | 1175719.6281
17 | 2734319.9541 | 1175879.058 | 2734319.5872 | 1175877.4883 | 2734319.4994 | 1175872.1935 | 2734320.0818 | 1175857.1174 | 2734320.1097 | 1175852.4589 | 2734319.3225 | 1175848.6829 | 2734316.7792 | 1175844.1003 | 2734312.8513 | 1175839.1976 | 2734306.2831 | 1175834.3803 | 2734286.416 | 1175825.4845 | 2734278.0492 | 1175822.8916
18 | 2733874.5784 | 1175761.9014 | 2733857.6114 | 1175748.9742
19 | 2733874.5784 | 1175761.9014 | 2733936.4631 | 1175826.1528 | 2733973.6194 | 1175875.5083 | 2733984.8069 | 1175882.8466
20 | 2733857.6114 | 1175748.9742 | 2733850.6919 | 1175743.7023
21 | 2733984.8069 | 1175882.8466 | 2733999.4703 | 1175892.4649 | 2734021.3993 | 1175906.2873 | 2734030.7781 | 1175924.2659 | 2734034.114 | 1175932.2196
22 | 2733850.6919 | 1175743.7023 | 2733845.1549 | 1175739.4837 | 2733811.2001 | 1175733.3441 | 2733775.5629 | 1175711.9774
23 | 2733775.5629 | 1175711.9774 | 2733763.7558 | 1175704.8983 | 2733754.633 | 1175696.9367
24 | 2734661.2839 | 1174941.7405 | 2734833.0239 | 1174880.1007
25 | 2734661.2839 | 1174941.7405 | 2734661.3204 | 1174942.1639 | 2734664.1049 | 1174963.9428 | 2734670.511 | 1174985.5473 | 2734671.1944 | 1174999.0506 | 2734667.1288 | 1175021.0426 | 2734661.5533 | 1175035.3394 | 2734654.1234 | 1175050.1394 | 2734656.3696 | 1175063.5332 | 2734656.7754 | 1175064.9404
26 | 2734653.4426 | 1174842.0117 | 2734659.2121 | 1174860.9776 | 2734663.2445 | 1174878.9594 | 2734658.0887 | 1174898.7476 | 2734659.4388 | 1174920.3719 | 2734661.2839 | 1174941.7405
27 | 2734653.4426 | 1174842.0117 | 2734333.1336 | 1174904.2264
28 | 2734334.4578 | 1174923.4248 | 2734334.0528 | 1174907.3592 | 2734333.1336 | 1174904.2264
29 | 2734677.6204 | 1175165.865 | 2734677.5694 | 1175145.3151 | 2734675.9733 | 1175123.0736 | 2734668.2734 | 1175104.2644 | 2734661.6275 | 1175081.765 | 2734656.7754 | 1175064.9404
30 | 2734290.7396 | 1174938.7913 | 2734278.8961 | 1174864.6204
31 | 2734290.7396 | 1174938.7913 | 2734306.8279 | 1174936.9166 | 2734328.9003 | 1174930.806 | 2734334.4578 | 1174923.4248
32 | 2734677.6204 | 1175165.865 | 2734632.3285 | 1175383.1905
33 | 2734632.3285 | 1175383.1905 | 2734672.6483 | 1175469.7754
34 | 2734329.3223 | 1175904.1041 | 2734327.5269 | 1175900.6168 | 2734325.2781 | 1175894.4952 | 2734320.6898 | 1175882.2055 | 2734319.9541 | 1175879.058
35 | 2734329.3223 | 1175904.1041 | 2734334.5977 | 1175914.3966 | 2734337.4276 | 1175917.1065 | 2734344.639 | 1175920.5149
36 | 2734329.3223 | 1175904.1041 | 2734340.1622 | 1175879.0305
37 | 2734672.6483 | 1175469.7754 | 2734679.4434 | 1175484.3678
38 | 2734347.193 | 1175751.0449 | 2734342.8877 | 1175762.0393
39 | 2734342.8877 | 1175762.0393 | 2734342.1565 | 1175763.9066
40 | 2734342.3816 | 1175786.2792 | 2734341.428 | 1175783.2618 | 2734340.4869 | 1175777.8255 | 2734340.2554 | 1175773.139 | 2734340.5471 | 1175769.3316 | 2734341.7546 | 1175764.9331 | 2734342.1565 | 1175763.9066
41 | 2734344.2073 | 1175792.0561 | 2734342.3816 | 1175786.2792
42 | 2734364.7578 | 1175760.8339 | 2734363.5827 | 1175764.1323 | 2734361.8784 | 1175772.278 | 2734361.5225 | 1175778.2635 | 2734362.0579 | 1175784.4023 | 2734363.1192 | 1175789.252 | 2734371.5454 | 1175818.51
43 | 2734364.7578 | 1175760.8339 | 2734380.9903 | 1175783.3114
44 | 2734385.0247 | 1175758.9973 | 2734377.3003 | 1175747.2352
45 | 2734344.2073 | 1175792.0561 | 2734347.0766 | 1175801.1351 | 2734358.6745 | 1175823.456 | 2734359.7905 | 1175826.55 | 2734359.9186 | 1175829.0214 | 2734359.4288 | 1175831.768 | 2734356.8713 | 1175838.2498
46 | 2734356.8713 | 1175838.2498 | 2734347.2431 | 1175862.6518 | 2734346.6939 | 1175863.922
47 | 2734346.558 | 1175864.2363 | 2734346.6939 | 1175863.922
48 | 2734340.1622 | 1175879.0305 | 2734346.558 | 1175864.2363
49 | 2734385.0247 | 1175758.9973 | 2734385.5312 | 1175759.7687
50 | 2734374.4572 | 1175828.6209 | 2734371.5454 | 1175818.51
51 | 2734381.5986 | 1175784.1537 | 2734380.9903 | 1175783.3114
52 | 2734374.4572 | 1175828.6209 | 2734374.8192 | 1175829.8779 | 2734375.5085 | 1175833.9297 | 2734375.5925 | 1175838.3683 | 2734375.2351 | 1175841.7181
53 | 2734371.9871 | 1175853.4461 | 2734374.1 | 1175847.6418 | 2734375.0504 | 1175843.4489 | 2734375.2351 | 1175841.7181
54 | 2734371.9871 | 1175853.4461 | 2734371.3987 | 1175855.0627
55 | 2734371.3987 | 1175855.0627 | 2734368.6076 | 1175862.7302 | 2734364.8829 | 1175871.2243
56 | 2734364.8829 | 1175871.2243 | 2734350.6342 | 1175903.7178
57 | 2734344.639 | 1175920.5149 | 2734346.9612 | 1175912.0939 | 2734350.6342 | 1175903.7178

## bus_geodata
| x | y | coords
0 | 2733690.4891 | 1174889.1534
1 | 2734272.7351 | 1174826.0366
2 | 2734380.8808 | 1175522.1928
3 | 2734399.4254 | 1175666.9061
4 | 2734537.7751 | 1175505.2858
5 | 2734579.3351 | 1175422.5079
6 | 2734372.2994 | 1175739.6201
7 | 2733996.8498 | 1175419.2766
8 | 2734009.6587 | 1175425.8694
9 | 2733994.4027 | 1175418.0171
10 | 2734178.8499 | 1175563.0029
11 | 2734052.2312 | 1175702.8448
12 | 2734210.9876 | 1175755.2609
13 | 2734043.409 | 1175719.6281
14 | 2734278.0492 | 1175822.8916
15 | 2733874.5784 | 1175761.9014
16 | 2733857.6114 | 1175748.9742
17 | 2733984.8069 | 1175882.8466
18 | 2733850.6919 | 1175743.7023
19 | 2734034.114 | 1175932.2196
20 | 2733775.5629 | 1175711.9774
21 | 2733754.633 | 1175696.9367
22 | 2734833.0239 | 1174880.1007
23 | 2734661.2839 | 1174941.7405
24 | 2734653.4426 | 1174842.0117
25 | 2734333.1336 | 1174904.2264
26 | 2734656.7754 | 1175064.9404
27 | 2734278.8961 | 1174864.6204
28 | 2734290.7396 | 1174938.7913
29 | 2734334.4578 | 1174923.4248
30 | 2734677.6204 | 1175165.865
31 | 2734632.3285 | 1175383.1905
32 | 2734319.9541 | 1175879.058
33 | 2734329.3223 | 1175904.1041
34 | 2734672.6483 | 1175469.7754
35 | 2734679.4434 | 1175484.3678
36 | 2734347.193 | 1175751.0449
37 | 2734342.8877 | 1175762.0393
38 | 2734342.1565 | 1175763.9066
39 | 2734342.3816 | 1175786.2792
40 | 2734364.7578 | 1175760.8339
41 | 2734377.3003 | 1175747.2352
42 | 2734344.2073 | 1175792.0561
43 | 2734356.8713 | 1175838.2498
44 | 2734346.6939 | 1175863.922
45 | 2734346.558 | 1175864.2363
46 | 2734385.0247 | 1175758.9973
47 | 2734385.5313 | 1175759.7687
48 | 2734371.5454 | 1175818.51
49 | 2734380.9903 | 1175783.3114
50 | 2734381.5986 | 1175784.1537
51 | 2734374.4572 | 1175828.6209
52 | 2734340.1622 | 1175879.0305
53 | 2734375.2351 | 1175841.7181
54 | 2734371.9871 | 1175853.4461
55 | 2734371.3987 | 1175855.0627
56 | 2734364.8829 | 1175871.2243
57 | 2734350.6342 | 1175903.7178
58 | 2734344.639 | 1175920.5149
59 | 2734399.4254 | 1175666.9061

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1