## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3618-18_1_3_node_29 | 0.4 | n |  | TRUE
1 | bus_LV_3618-18_1_3_node_30 | 0.4 | n |  | TRUE
2 | bus_LV_3618-18_1_3_node_35 | 0.4 | n |  | TRUE
3 | bus_LV_3618-18_1_3_node_72 | 0.4 | n |  | TRUE
4 | bus_LV_3618-18_1_3_node_73 | 0.4 | n |  | TRUE
5 | bus_LV_3618-18_1_3_node_69 | 0.4 | n |  | TRUE
6 | bus_LV_3618-18_1_3_node_70 | 0.4 | n |  | TRUE
7 | bus_LV_3618-18_1_3_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_3618-18_1_3_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_3618-18_1_3_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_3618-18_1_3_node_68 | 0.4 | n |  | TRUE
11 | bus_LV_3618-18_1_3_node_187 | 0.4 | n |  | TRUE
12 | bus_LV_3618-18_1_3_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_3618-18_1_3_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_3618-18_1_3_node_56 | 0.4 | n |  | TRUE
15 | bus_LV_3618-18_1_3_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_3618-18_1_3_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_3618-18_1_3_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_3618-18_1_3_node_71 | 0.4 | n |  | TRUE
19 | bus_LV_3618-18_1_3_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_3618-18_1_3_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_3618-18_1_3_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_3618-18_1_3_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_3618-18_1_3_node_119 | 0.4 | n |  | TRUE
24 | bus_LV_3618-18_1_3_node_120 | 0.4 | n |  | TRUE
25 | bus_LV_3618-18_1_3_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_3618-18_1_3_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_3618-18_1_3_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_3618-18_1_3_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_3618-18_1_3_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_3618-18_1_3_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_3618-18_1_3_node_195 | 0.4 | n |  | TRUE
32 | bus_LV_3618-18_1_3_node_194 | 0.4 | n |  | TRUE
33 | bus_LV_3618-18_1_3_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_3618-18_1_3_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_3618-18_1_3_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_3618-18_1_3_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_3618-18_1_3_node_184 | 0.4 | n |  | TRUE
38 | bus_LV_3618-18_1_3_node_183 | 0.4 | n |  | TRUE
39 | bus_LV_3618-18_1_3_node_188 | 0.4 | n |  | TRUE
40 | bus_LV_3618-18_1_3_node_116 | 0.4 | n |  | TRUE
41 | bus_LV_3618-18_1_3_node_161 | 0.4 | n |  | TRUE
42 | bus_LV_3618-18_1_3_node_159 | 0.4 | n |  | TRUE
43 | bus_LV_3618-18_1_3_node_117 | 0.4 | n |  | TRUE
44 | bus_LV_3618-18_1_3_node_118 | 0.4 | n |  | TRUE
45 | bus_LV_3618-18_1_3_node_134 | 0.4 | n |  | TRUE
46 | bus_LV_3618-18_1_3_node_135 | 0.4 | n |  | TRUE
47 | bus_LV_3618-18_1_3_node_121 | 0.4 | n |  | TRUE
48 | bus_LV_3618-18_1_3_node_122 | 0.4 | n |  | TRUE
49 | bus_LV_3618-18_1_3_node_123 | 0.4 | n |  | TRUE
50 | bus_LV_3618-18_1_3_node_124 | 0.4 | n |  | TRUE
51 | bus_LV_3618-18_1_3_node_128 | 0.4 | n |  | TRUE
52 | bus_LV_3618-18_1_3_node_125 | 0.4 | n |  | TRUE
53 | bus_LV_3618-18_1_3_node_126 | 0.4 | n |  | TRUE
54 | bus_LV_3618-18_1_3_node_127 | 0.4 | n |  | TRUE
55 | bus_LV_3618-18_1_3_node_129 | 0.4 | n |  | TRUE
56 | bus_LV_3618-18_1_3_node_130 | 0.4 | n |  | TRUE
57 | bus_LV_3618-18_1_3_node_131 | 0.4 | n |  | TRUE
58 | bus_LV_3618-18_1_3_node_132 | 0.4 | n |  | TRUE
59 | bus_LV_3618-18_1_3_node_133 | 0.4 | n |  | TRUE
60 | bus_LV_3618-18_1_3_node_136 | 0.4 | n |  | TRUE
61 | bus_LV_3618-18_1_3_node_144 | 0.4 | n |  | TRUE
62 | bus_LV_3618-18_1_3_node_145 | 0.4 | n |  | TRUE
63 | bus_LV_3618-18_1_3_node_137 | 0.4 | n |  | TRUE
64 | bus_LV_3618-18_1_3_node_138 | 0.4 | n |  | TRUE
65 | bus_LV_3618-18_1_3_node_139 | 0.4 | n |  | TRUE
66 | bus_LV_3618-18_1_3_node_140 | 0.4 | n |  | TRUE
67 | bus_LV_3618-18_1_3_node_141 | 0.4 | n |  | TRUE
68 | bus_LV_3618-18_1_3_node_142 | 0.4 | n |  | TRUE
69 | bus_LV_3618-18_1_3_node_143 | 0.4 | n |  | TRUE
70 | bus_LV_3618-18_1_3_node_148 | 0.4 | n |  | TRUE
71 | bus_LV_3618-18_1_3_node_149 | 0.4 | n |  | TRUE
72 | bus_LV_3618-18_1_3_node_146 | 0.4 | n |  | TRUE
73 | bus_LV_3618-18_1_3_node_147 | 0.4 | n |  | TRUE
74 | bus_LV_3618-18_1_3_node_153 | 0.4 | n |  | TRUE
75 | bus_LV_3618-18_1_3_node_154 | 0.4 | n |  | TRUE
76 | bus_LV_3618-18_1_3_node_150 | 0.4 | n |  | TRUE
77 | bus_LV_3618-18_1_3_node_151 | 0.4 | n |  | TRUE
78 | bus_LV_3618-18_1_3_node_152 | 0.4 | n |  | TRUE
79 | bus_LV_3618-18_1_3_node_156 | 0.4 | n |  | TRUE
80 | bus_LV_3618-18_1_3_node_157 | 0.4 | n |  | TRUE
81 | bus_LV_3618-18_1_3_node_155 | 0.4 | n |  | TRUE
82 | bus_LV_3618-18_1_3_node_158 | 0.4 | n |  | TRUE
83 | bus_LV_3618-18_1_3_node_164 | 0.4 | n |  | TRUE
84 | bus_LV_3618-18_1_3_node_176 | 0.4 | n |  | TRUE
85 | bus_LV_3618-18_1_3_node_175 | 0.4 | n |  | TRUE
86 | bus_LV_3618-18_1_3_node_165 | 0.4 | n |  | TRUE
87 | bus_LV_3618-18_1_3_node_160 | 0.4 | n |  | TRUE
88 | bus_LV_3618-18_1_3_node_162 | 0.4 | n |  | TRUE
89 | bus_LV_3618-18_1_3_node_163 | 0.4 | n |  | TRUE
90 | bus_LV_3618-18_1_3_node_170 | 0.4 | n |  | TRUE
91 | bus_LV_3618-18_1_3_node_171 | 0.4 | n |  | TRUE
92 | bus_LV_3618-18_1_3_node_172 | 0.4 | n |  | TRUE
93 | bus_LV_3618-18_1_3_node_166 | 0.4 | n |  | TRUE
94 | bus_LV_3618-18_1_3_node_167 | 0.4 | n |  | TRUE
95 | bus_LV_3618-18_1_3_node_168 | 0.4 | n |  | TRUE
96 | bus_LV_3618-18_1_3_node_169 | 0.4 | n |  | TRUE
97 | bus_LV_3618-18_1_3_node_173 | 0.4 | n |  | TRUE
98 | bus_LV_3618-18_1_3_node_177 | 0.4 | n |  | TRUE
99 | bus_LV_3618-18_1_3_node_174 | 0.4 | n |  | TRUE
100 | bus_LV_3618-18_1_3_node_178 | 0.4 | n |  | TRUE
101 | bus_LV_3618-18_1_3_node_179 | 0.4 | n |  | TRUE
102 | bus_LV_3618-18_1_3_node_180 | 0.4 | n |  | TRUE
103 | bus_LV_3618-18_1_3_node_181 | 0.4 | n |  | TRUE
104 | bus_LV_3618-18_1_3_node_182 | 0.4 | n |  | TRUE
105 | bus_LV_3618-18_1_3_node_185 | 0.4 | n |  | TRUE
106 | bus_LV_3618-18_1_3_node_186 | 0.4 | n |  | TRUE
107 | bus_LV_3618-18_1_3_node_189 | 0.4 | n |  | TRUE
108 | bus_LV_3618-18_1_3_node_190 | 0.4 | n |  | TRUE
109 | bus_LV_3618-18_1_3_node_191 | 0.4 | n |  | TRUE
110 | bus_LV_3618-18_1_3_node_192 | 0.4 | n |  | TRUE
111 | bus_LV_3618-18_1_3_node_193 | 0.4 | n |  | TRUE
112 | bus_MV_161_1_node_67 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3618-18_1_3_load_29 | 0 | 0.00050285 | 0.00012603 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3618-18_1_3_load_30 | 1 | 0.00043656 | 0.00010941 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3618-18_1_3_load_35 | 2 | 0.00043307 | 0.00010854 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3618-18_1_3_load_73 | 4 | 0.0001675 | 4.1979e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3618-18_1_3_load_69 | 5 | 0.00083467 | 0.00020919 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3618-18_1_3_load_31 | 7 | 0.00028297 | 7.0919e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3618-18_1_3_load_32 | 8 | 0.00037355 | 9.362e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3618-18_1_3_load_68 | 10 | 0.0013226 | 0.00033148 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3618-18_1_3_load_187 | 11 | 0.00040701 | 0.00010201 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3618-18_1_3_load_67 | 12 | 0.00015522 | 3.8902e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3618-18_1_3_load_55 | 13 | 0.00033519 | 8.4005e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3618-18_1_3_load_57 | 15 | 0.00026789 | 6.714e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3618-18_1_3_load_58 | 16 | 0.0003639 | 9.1202e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3618-18_1_3_load_59 | 17 | 0.00027415 | 6.8708e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3618-18_1_3_load_71 | 18 | 0.00070736 | 0.00017728 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3618-18_1_3_load_42 | 19 | 0.0014373 | 0.00036022 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3618-18_1_3_load_39 | 20 | 0.00082855 | 0.00020765 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3618-18_1_3_load_41 | 22 | 0.00085215 | 0.00021357 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3618-18_1_3_load_119 | 23 | 0.0018541 | 0.00046468 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3618-18_1_3_load_120 | 24 | 0.00068718 | 0.00017222 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3618-18_1_3_load_51 | 26 | 0.00029208 | 7.3201e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3618-18_1_3_load_53 | 28 | 0.00020858 | 5.2275e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3618-18_1_3_load_60 | 29 | 0.0018715 | 0.00046905 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3618-18_1_3_load_61 | 30 | 0.00043568 | 0.00010919 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3618-18_1_3_load_195 | 31 | 0.00021098 | 5.2878e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3618-18_1_3_load_194 | 32 | 0.00034728 | 8.7036e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3618-18_1_3_load_62 | 33 | 0.00052071 | 0.0001305 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3618-18_1_3_load_63 | 34 | 0.0011659 | 0.00029219 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3618-18_1_3_load_65 | 35 | 0.00093157 | 0.00023347 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3618-18_1_3_load_66 | 36 | 0.00096593 | 0.00024209 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3618-18_1_3_load_184 | 37 | 0.00034434 | 8.6299e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3618-18_1_3_load_188 | 39 | 0.00048926 | 0.00012262 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3618-18_1_3_load_116 | 40 | 0.00096312 | 0.00024138 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3618-18_1_3_load_161 | 41 | 0.001237 | 0.00031003 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3618-18_1_3_load_159 | 42 | 0.0013676 | 0.00034275 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3618-18_1_3_load_117 | 43 | 0.0012972 | 0.00032511 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3618-18_1_3_load_118 | 44 | 0.00058399 | 0.00014636 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3618-18_1_3_load_134 | 45 | 0.0009213 | 0.0002309 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3618-18_1_3_load_135 | 46 | 0.00048748 | 0.00012218 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3618-18_1_3_load_121 | 47 | 0.00073379 | 0.0001839 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3618-18_1_3_load_122 | 48 | 0.00067897 | 0.00017017 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3618-18_1_3_load_123 | 49 | 0.00081946 | 0.00020538 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3618-18_1_3_load_124 | 50 | 0.0011504 | 0.00028833 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3618-18_1_3_load_128 | 51 | 0.001225 | 0.00030702 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3618-18_1_3_load_125 | 52 | 0.00084812 | 0.00021256 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3618-18_1_3_load_127 | 54 | 0.00089678 | 0.00022476 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3618-18_1_3_load_129 | 55 | 0.0013046 | 0.00032697 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3618-18_1_3_load_130 | 56 | 0.0009781 | 0.00024513 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3618-18_1_3_load_131 | 57 | 0.00091623 | 0.00022963 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3618-18_1_3_load_132 | 58 | 0.00056727 | 0.00014217 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3618-18_1_3_load_133 | 59 | 0.0030217 | 0.00075731 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3618-18_1_3_load_136 | 60 | 0.00063586 | 0.00015936 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3618-18_1_3_load_144 | 61 | 0.0015485 | 0.0003881 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3618-18_1_3_load_145 | 62 | 0.0012667 | 0.00031747 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3618-18_1_3_load_137 | 63 | 0.00074609 | 0.00018699 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3618-18_1_3_load_138 | 64 | 0.0008214 | 0.00020586 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3618-18_1_3_load_139 | 65 | 0.0033071 | 0.00082885 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3618-18_1_3_load_140 | 66 | 0.0005588 | 0.00014005 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3618-18_1_3_load_142 | 68 | 0.00065704 | 0.00016467 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3618-18_1_3_load_143 | 69 | 0.00058977 | 0.00014781 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3618-18_1_3_load_148 | 70 | 0.00064585 | 0.00016187 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3618-18_1_3_load_149 | 71 | 0.00038933 | 9.7576e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3618-18_1_3_load_146 | 72 | 0.0009815 | 0.00024599 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3618-18_1_3_load_147 | 73 | 0.0023696 | 0.00059387 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3618-18_1_3_load_153 | 74 | 0.0015374 | 0.00038532 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3618-18_1_3_load_154 | 75 | 0.0020607 | 0.00051646 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3618-18_1_3_load_150 | 76 | 0.00063063 | 0.00015805 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3618-18_1_3_load_151 | 77 | 0.0012405 | 0.0003109 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3618-18_1_3_load_152 | 78 | 0.0018336 | 0.00045955 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3618-18_1_3_load_156 | 79 | 0.0015505 | 0.00038858 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3618-18_1_3_load_157 | 80 | 0.0020805 | 0.00052142 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3618-18_1_3_load_155 | 81 | 0.0016777 | 0.00042046 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3618-18_1_3_load_158 | 82 | 0.0008352 | 0.00020932 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3618-18_1_3_load_164 | 83 | 0.0010702 | 0.00026823 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3618-18_1_3_load_176 | 84 | 0.0032739 | 0.00082053 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3618-18_1_3_load_175 | 85 | 0.0011118 | 0.00027865 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3618-18_1_3_load_165 | 86 | 0.0028749 | 0.00072053 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3618-18_1_3_load_160 | 87 | 0.0011687 | 0.0002929 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3618-18_1_3_load_162 | 88 | 0.00091387 | 0.00022904 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3618-18_1_3_load_172 | 92 | 0.0015332 | 0.00038426 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3618-18_1_3_load_166 | 93 | 0.0019147 | 0.00047988 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3618-18_1_3_load_167 | 94 | 0.0012773 | 0.00032013 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3618-18_1_3_load_168 | 95 | 0.0013677 | 0.00034277 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3618-18_1_3_load_169 | 96 | 0.0017603 | 0.00044118 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3618-18_1_3_load_173 | 97 | 0.00083686 | 0.00020974 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3618-18_1_3_load_177 | 98 | 0.001097 | 0.00027494 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3618-18_1_3_load_174 | 99 | 0.0019157 | 0.00048011 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3618-18_1_3_load_178 | 100 | 0.0005224 | 0.00013093 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3618-18_1_3_load_179 | 101 | 0.00094319 | 0.00023639 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3618-18_1_3_load_180 | 102 | 0.0010116 | 0.00025353 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3618-18_1_3_load_181 | 103 | 0.00061669 | 0.00015456 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3618-18_1_3_load_182 | 104 | 0.0010767 | 0.00026984 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3618-18_1_3_load_185 | 105 | 0.00048426 | 0.00012137 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3618-18_1_3_load_186 | 106 | 0.00060672 | 0.00015206 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3618-18_1_3_load_189 | 107 | 0.00024938 | 6.25e-05 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3618-18_1_3_load_190 | 108 | 0.00052323 | 0.00013113 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3618-18_1_3_load_191 | 109 | 0.00029402 | 7.3688e-05 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3618-18_1_3_load_192 | 110 | 0.00051969 | 0.00013025 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3618-18_1_3_load_193 | 111 | 0.00032739 | 8.2052e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3618-18_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.14997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3618-18_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.15966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3618-18_1_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.067679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3618-18_1_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.089077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3618-18_1_3_line_4 | NAYY 4x150 SE | 3 | 7 | 0.20107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3618-18_1_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.31952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_3618-18_1_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.08972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_3618-18_1_3_line_7 | NAYY 4x150 SE | 6 | 40 | 0.16783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_3618-18_1_3_line_8 | NAYY 4x150 SE | 6 | 18 | 0.23599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3618-18_1_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.089492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3618-18_1_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.18478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3618-18_1_3_line_11 | NAYY 4x150 SE | 9 | 13 | 0.31474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3618-18_1_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.030344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3618-18_1_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.02158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3618-18_1_3_line_14 | NAYY 4x150 SE | 11 | 39 | 0.01056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3618-18_1_3_line_15 | NAYY 4x150 SE | 13 | 25 | 0.09686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3618-18_1_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.017665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3618-18_1_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.076681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3618-18_1_3_line_18 | NAYY 4x150 SE | 14 | 17 | 0.13357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3618-18_1_3_line_19 | NAYY 4x150 SE | 15 | 30 | 0.012997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3618-18_1_3_line_20 | NAYY 4x150 SE | 16 | 29 | 0.033954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3618-18_1_3_line_21 | NAYY 4x150 SE | 17 | 28 | 0.08578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3618-18_1_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.26068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3618-18_1_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.015347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3618-18_1_3_line_24 | NAYY 4x150 SE | 20 | 21 | 0.14355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3618-18_1_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.01418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3618-18_1_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.003221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3618-18_1_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.034826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3618-18_1_3_line_28 | NAYY 4x150 SE | 24 | 47 | 0.00085783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3618-18_1_3_line_29 | NAYY 4x150 SE | 25 | 28 | 0.124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3618-18_1_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.064219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3618-18_1_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.13463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3618-18_1_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.0051986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3618-18_1_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.0066407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3618-18_1_3_line_34 | NAYY 4x150 SE | 32 | 111 | 0.018837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3618-18_1_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.036442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3618-18_1_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.023233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3618-18_1_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.012921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3618-18_1_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.02207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3618-18_1_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.0066388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3618-18_1_3_line_40 | NAYY 4x150 SE | 38 | 105 | 0.016051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3618-18_1_3_line_41 | NAYY 4x150 SE | 38 | 104 | 0.0030398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3618-18_1_3_line_42 | NAYY 4x150 SE | 39 | 107 | 0.016609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3618-18_1_3_line_43 | NAYY 4x150 SE | 40 | 43 | 0.010227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_3618-18_1_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.00058835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3618-18_1_3_line_45 | NAYY 4x150 SE | 42 | 87 | 0.027947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3618-18_1_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0086625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_3618-18_1_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.038593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_3618-18_1_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.032021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_3618-18_1_3_line_49 | NAYY 4x150 SE | 46 | 60 | 0.010231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3618-18_1_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.0060058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3618-18_1_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.015009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3618-18_1_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.0071758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3618-18_1_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.0068876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3618-18_1_3_line_54 | NAYY 4x150 SE | 50 | 52 | 0.015931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3618-18_1_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.064649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3618-18_1_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.04186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3618-18_1_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.0057815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3618-18_1_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.034977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3618-18_1_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.0075527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3618-18_1_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.013143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3618-18_1_3_line_61 | NAYY 4x150 SE | 58 | 59 | 0.011417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3618-18_1_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.011794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3618-18_1_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0012741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3618-18_1_3_line_64 | NAYY 4x150 SE | 62 | 72 | 0.011462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3618-18_1_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.03168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3618-18_1_3_line_66 | NAYY 4x150 SE | 63 | 65 | 0.003601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3618-18_1_3_line_67 | NAYY 4x150 SE | 64 | 66 | 0.012628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3618-18_1_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.011491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3618-18_1_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.02495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3618-18_1_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.023385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3618-18_1_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.00043592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3618-18_1_3_line_72 | NAYY 4x150 SE | 70 | 71 | 0.00031665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3618-18_1_3_line_73 | NAYY 4x150 SE | 71 | 76 | 0.013754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3618-18_1_3_line_74 | NAYY 4x150 SE | 72 | 73 | 0.0025826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3618-18_1_3_line_75 | NAYY 4x150 SE | 73 | 74 | 0.02002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3618-18_1_3_line_76 | NAYY 4x150 SE | 74 | 75 | 0.0094496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3618-18_1_3_line_77 | NAYY 4x150 SE | 75 | 81 | 0.00080428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3618-18_1_3_line_78 | NAYY 4x150 SE | 76 | 77 | 0.001838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3618-18_1_3_line_79 | NAYY 4x150 SE | 77 | 78 | 0.0075689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3618-18_1_3_line_80 | NAYY 4x150 SE | 78 | 79 | 0.0076118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3618-18_1_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.0079578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3618-18_1_3_line_82 | NAYY 4x150 SE | 80 | 84 | 0.012244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3618-18_1_3_line_83 | NAYY 4x150 SE | 81 | 82 | 0.0088499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3618-18_1_3_line_84 | NAYY 4x150 SE | 82 | 83 | 0.001444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3618-18_1_3_line_85 | NAYY 4x150 SE | 83 | 86 | 0.0079453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3618-18_1_3_line_86 | NAYY 4x150 SE | 84 | 85 | 0.018266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3618-18_1_3_line_87 | NAYY 4x150 SE | 85 | 99 | 0.01196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3618-18_1_3_line_88 | NAYY 4x150 SE | 86 | 93 | 0.0011414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3618-18_1_3_line_89 | NAYY 4x150 SE | 87 | 88 | 0.011925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3618-18_1_3_line_90 | NAYY 4x150 SE | 88 | 89 | 0.054112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3618-18_1_3_line_91 | NAYY 4x150 SE | 89 | 90 | 0.091896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3618-18_1_3_line_92 | NAYY 4x150 SE | 90 | 91 | 0.091744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3618-18_1_3_line_93 | NAYY 4x150 SE | 90 | 92 | 0.067566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3618-18_1_3_line_94 | NAYY 4x150 SE | 91 | 97 | 0.02621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3618-18_1_3_line_95 | NAYY 4x150 SE | 91 | 96 | 0.0026699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3618-18_1_3_line_96 | NAYY 4x150 SE | 92 | 98 | 0.023976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3618-18_1_3_line_97 | NAYY 4x150 SE | 93 | 94 | 0.026348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3618-18_1_3_line_98 | NAYY 4x150 SE | 94 | 95 | 0.0025407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3618-18_1_3_line_99 | NAYY 4x150 SE | 95 | 96 | 0.017597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3618-18_1_3_line_100 | NAYY 4x150 SE | 97 | 99 | 0.0089381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3618-18_1_3_line_101 | NAYY 4x150 SE | 98 | 100 | 0.0020202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3618-18_1_3_line_102 | NAYY 4x150 SE | 100 | 101 | 0.016927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3618-18_1_3_line_103 | NAYY 4x150 SE | 101 | 102 | 0.00013952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3618-18_1_3_line_104 | NAYY 4x150 SE | 102 | 103 | 0.01402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3618-18_1_3_line_105 | NAYY 4x150 SE | 103 | 104 | 0.0080663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3618-18_1_3_line_106 | NAYY 4x150 SE | 105 | 106 | 0.011145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_3618-18_1_3_line_107 | NAYY 4x150 SE | 107 | 108 | 0.0023541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3618-18_1_3_line_108 | NAYY 4x150 SE | 108 | 109 | 0.0081075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3618-18_1_3_line_109 | NAYY 4x150 SE | 109 | 110 | 0.01508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_3618-18_1_3_line_110 | NAYY 4x150 SE | 110 | 111 | 5.7183e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3618-18_1_3_trafo_135 | 0.25 MVA 20/0.4 kV | 112 | 46 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2734047.917 | 1174343.7603 | 2734073.7512 | 1174385.7133 | 2734111.73 | 1174443.8165 | 2734131.1004 | 1174468.387
1 | 2734047.917 | 1174343.7603 | 2733995.0327 | 1174193.1131
2 | 2734131.1004 | 1174468.387 | 2734198.3453 | 1174476.0433
3 | 2734131.1004 | 1174468.387 | 2734159.3185 | 1174383.8973
4 | 2734198.3453 | 1174476.0433 | 2734226.8822 | 1174675.0827
5 | 2734373.3107 | 1174146.616 | 2734159.3185 | 1174383.8973
6 | 2734336.3773 | 1174066.2785 | 2734351.5451 | 1174102.1894 | 2734369.3636 | 1174125.9617 | 2734373.3107 | 1174146.616
7 | 2734448.6513 | 1173941.5268 | 2734336.3773 | 1174066.2785
8 | 2734336.3773 | 1174066.2785 | 2734163.9937 | 1173905.1146
9 | 2734226.8822 | 1174675.0827 | 2734246.8801 | 1174704.5561 | 2734260.6075 | 1174750.0863 | 2734261.604 | 1174756.3268
10 | 2734290.7396 | 1174938.7913 | 2734261.604 | 1174756.3268
11 | 2734570.7959 | 1174795.1671 | 2734290.7396 | 1174938.7913
12 | 2734566.9356 | 1174414.3203 | 2734581.5044 | 1174427.6971 | 2734587.2712 | 1174436.5496
13 | 2734556.3515 | 1174396.4541 | 2734556.3515 | 1174396.4541 | 2734559.4701 | 1174407.4656 | 2734566.9356 | 1174414.3203
14 | 2734587.2712 | 1174436.5496 | 2734590.2889 | 1174441.182 | 2734592.2616 | 1174445.8104
15 | 2734653.4426 | 1174842.0117 | 2734627.8172 | 1174817.6073 | 2734597.6932 | 1174803.1318 | 2734570.7959 | 1174795.1671
16 | 2734645.5824 | 1174534.2589 | 2734636.5379 | 1174519.0847
17 | 2734645.5824 | 1174534.2589 | 2734665.7443 | 1174526.7945 | 2734712.1587 | 1174556.6389
18 | 2734645.5824 | 1174534.2589 | 2734618.0406 | 1174664.9618
19 | 2734629.8837 | 1174507.9208 | 2734636.5379 | 1174519.0847
20 | 2734741.4239 | 1174573.598 | 2734734.464 | 1174570.9812 | 2734712.1587 | 1174556.6389
21 | 2734618.0406 | 1174664.9618 | 2734626.007 | 1174675.0704 | 2734682.2951 | 1174721.4118
22 | 2734214.3209 | 1173649.3423 | 2734163.9937 | 1173905.1146
23 | 2734205.0136 | 1173637.1399 | 2734214.3209 | 1173649.3423
24 | 2734205.0136 | 1173637.1399 | 2734200.3087 | 1173640.9042 | 2734175.0252 | 1173676.8215 | 2734165.3885 | 1173682.5327 | 2734156.419 | 1173679.9636 | 2734151.3902 | 1173674.9586 | 2734111.0376 | 1173622.7662
25 | 2734205.0136 | 1173637.1399 | 2734202.4569 | 1173633.7913 | 2734196.4123 | 1173625.8658
26 | 2734196.4123 | 1173625.8658 | 2734194.459 | 1173623.3047
27 | 2734194.459 | 1173623.3047 | 2734192.2676 | 1173620.4313 | 2734183.0219 | 1173608.3155 | 2734174.3542 | 1173594.9002
28 | 2734173.8887 | 1173594.1797 | 2734174.3542 | 1173594.9002
29 | 2734682.2951 | 1174721.4118 | 2734653.4426 | 1174842.0117
30 | 2734788.6982 | 1174797.4808 | 2734791.2797 | 1174810.2373 | 2734797.0984 | 1174839.9237 | 2734807.0191 | 1174856.9149 | 2734807.8708 | 1174857.8667
31 | 2734788.6982 | 1174797.4808 | 2734774.9027 | 1174796.0032 | 2734753.1902 | 1174769.0287 | 2734724.7841 | 1174756.3926 | 2734682.2951 | 1174721.4118
32 | 2734627.222 | 1174503.4552 | 2734629.8837 | 1174507.9208
33 | 2734623.7232 | 1174497.8119 | 2734625.8125 | 1174501.0905 | 2734627.222 | 1174503.4552
34 | 2734613.6 | 1174481.9267 | 2734623.7232 | 1174497.8119
35 | 2734768.752 | 1174299.7604 | 2734772.0862 | 1174309.6733 | 2734780.6759 | 1174329.0919 | 2734783.548 | 1174332.8745
36 | 2734761.3456 | 1174277.7399 | 2734768.752 | 1174299.7604
37 | 2734757.1729 | 1174265.5116 | 2734759.8538 | 1174273.3046 | 2734761.3456 | 1174277.7399
38 | 2734749.9935 | 1174244.6417 | 2734757.1729 | 1174265.5116
39 | 2734747.8339 | 1174238.3639 | 2734749.9935 | 1174244.6417
40 | 2734747.8339 | 1174238.3639 | 2734763.8819 | 1174238.0351
41 | 2734747.8339 | 1174238.3639 | 2734746.8298 | 1174235.4948
42 | 2734592.2616 | 1174445.8104 | 2734598.7739 | 1174461.0891
43 | 2734456.5026 | 1173948.0808 | 2734448.6513 | 1173941.5268
44 | 2734540.3208 | 1174073.4405 | 2734540.7855 | 1174073.8014
45 | 2734540.7855 | 1174073.8014 | 2734556.8615 | 1174086.2876 | 2734563.5501 | 1174089.8775
46 | 2734456.5026 | 1173948.0808 | 2734463.1527 | 1173953.6321
47 | 2734463.1527 | 1173953.6321 | 2734476.9777 | 1173965.1729 | 2734492.5611 | 1173978.6206
48 | 2734492.5611 | 1173978.6206 | 2734515.3027 | 1173998.2454 | 2734516.8889 | 1173999.4342
49 | 2734525.0753 | 1174005.5699 | 2734516.8889 | 1173999.4342
50 | 2734170.6294 | 1173589.1352 | 2734173.8887 | 1173594.1797
51 | 2734170.6294 | 1173589.1352 | 2734160.6893 | 1173592.6713 | 2734156.2311 | 1173592.6218
52 | 2734170.6294 | 1173589.1352 | 2734167.0394 | 1173582.922
53 | 2734156.2311 | 1173592.6218 | 2734149.3439 | 1173592.5453
54 | 2734167.0394 | 1173582.922 | 2734162.005 | 1173574.209 | 2734161.5707 | 1173568.3566
55 | 2734199.4601 | 1173517.437 | 2734189.0934 | 1173525.3334 | 2734165.2172 | 1173558.1688 | 2734161.4289 | 1173566.4459 | 2734161.5707 | 1173568.3566
56 | 2734199.4601 | 1173517.437 | 2734207.5656 | 1173519.9979 | 2734223.5192 | 1173535.9332 | 2734230.1492 | 1173544.4717
57 | 2734233.695 | 1173549.0382 | 2734230.1492 | 1173544.4717
58 | 2734233.695 | 1173549.0382 | 2734239.0453 | 1173555.9287 | 2734250.5957 | 1173579.5044
59 | 2734253.9186 | 1173586.2869 | 2734250.5957 | 1173579.5044
60 | 2734253.9186 | 1173586.2869 | 2734259.701 | 1173598.0895
61 | 2734264.7241 | 1173608.3423 | 2734259.701 | 1173598.0895
62 | 2734534.5126 | 1174012.6431 | 2734525.0753 | 1174005.5699
63 | 2734534.5126 | 1174012.6431 | 2734535.5321 | 1174013.4072
64 | 2734535.5321 | 1174013.4072 | 2734544.7039 | 1174020.2814
65 | 2734498.7813 | 1173908.4527 | 2734523.7158 | 1173927.9953
66 | 2734495.9471 | 1173906.2313 | 2734498.7813 | 1173908.4527
67 | 2734523.7158 | 1173927.9953 | 2734533.6546 | 1173935.7849
68 | 2734542.6987 | 1173942.8733 | 2734533.6546 | 1173935.7849
69 | 2734542.6987 | 1173942.8733 | 2734548.4178 | 1173967.1593
70 | 2734548.4178 | 1173967.1593 | 2734550.151 | 1173974.5197 | 2734560.4526 | 1173986.5296
71 | 2734560.7364 | 1173986.8604 | 2734560.4526 | 1173986.5296
72 | 2734560.9426 | 1173987.1008 | 2734560.7364 | 1173986.8604
73 | 2734560.9426 | 1173987.1008 | 2734567.0433 | 1173994.2132 | 2734568.6928 | 1173998.2743
74 | 2734544.7039 | 1174020.2814 | 2734546.7705 | 1174021.8303
75 | 2734546.7705 | 1174021.8303 | 2734558.0791 | 1174030.3061 | 2734560.9441 | 1174035.4496
76 | 2734560.9441 | 1174035.4496 | 2734565.5423 | 1174043.7051
77 | 2734565.5423 | 1174043.7051 | 2734565.9336 | 1174044.4077
78 | 2734569.3844 | 1173999.9771 | 2734568.6928 | 1173998.2743
79 | 2734569.3844 | 1173999.9771 | 2734572.2327 | 1174006.9897
80 | 2734575.0971 | 1174014.042 | 2734572.2327 | 1174006.9897
81 | 2734577.1654 | 1174021.7263 | 2734575.0971 | 1174014.042 | 2734575.0971 | 1174014.042
82 | 2734581.8614 | 1174032.9203 | 2734578.7194 | 1174027.5 | 2734577.1654 | 1174021.7263
83 | 2734565.9336 | 1174044.4077 | 2734570.24 | 1174052.1392
84 | 2734570.9427 | 1174053.4007 | 2734570.24 | 1174052.1392
85 | 2734570.9427 | 1174053.4007 | 2734574.8089 | 1174060.3419
86 | 2734581.8614 | 1174032.9203 | 2734585.8703 | 1174039.8363 | 2734592.4525 | 1174047.7226
87 | 2734600.1164 | 1174056.9048 | 2734592.4525 | 1174047.7226
88 | 2734575.3643 | 1174061.3391 | 2734574.8089 | 1174060.3419
89 | 2734563.5501 | 1174089.8775 | 2734574.0577 | 1174095.5172
90 | 2734615.2279 | 1174127.4939 | 2734607.5429 | 1174113.3999 | 2734602.9033 | 1174109.8265 | 2734577.9421 | 1174097.602 | 2734574.0577 | 1174095.5172
91 | 2734697.1864 | 1174127.388 | 2734694.3624 | 1174135.9644 | 2734685.028 | 1174142.8713 | 2734615.2279 | 1174127.4939
92 | 2734697.1864 | 1174127.388 | 2734677.3796 | 1174123.0625 | 2734655.1004 | 1174110.2975 | 2734627.6405 | 1174090.4555 | 2734616.4304 | 1174085.8451
93 | 2734697.1864 | 1174127.388 | 2734714.3113 | 1174132.2538 | 2734717.8995 | 1174138.0164 | 2734718.0411 | 1174157.9346 | 2734714.1588 | 1174170.0344 | 2734715.3258 | 1174180.3171
94 | 2734616.4304 | 1174085.8451 | 2734617.1571 | 1174077.3216 | 2734605.8437 | 1174063.7667
95 | 2734616.4304 | 1174085.8451 | 2734613.9618 | 1174084.8278
96 | 2734715.3258 | 1174180.3171 | 2734716.1831 | 1174187.871 | 2734724.022 | 1174202.2467 | 2734724.022 | 1174202.2467
97 | 2734575.3643 | 1174061.3391 | 2734578.4626 | 1174066.9017 | 2734595.0523 | 1174078.0385
98 | 2734595.0523 | 1174078.0385 | 2734595.9762 | 1174078.6588 | 2734597.3355 | 1174079.0963
99 | 2734613.9618 | 1174084.8278 | 2734609.7529 | 1174083.0933 | 2734597.3355 | 1174079.0963
100 | 2734600.1164 | 1174056.9048 | 2734605.8437 | 1174063.7667
101 | 2734725.4114 | 1174203.7132 | 2734724.022 | 1174202.2467
102 | 2734725.4114 | 1174203.7132 | 2734737.0527 | 1174216.0012
103 | 2734737.0527 | 1174216.0012 | 2734737.1487 | 1174216.1025
104 | 2734737.1487 | 1174216.1025 | 2734741.7385 | 1174220.9473 | 2734744.1652 | 1174227.8813
105 | 2734744.1652 | 1174227.8813 | 2734746.8298 | 1174235.4948
106 | 2734773.3616 | 1174243.8949 | 2734763.8819 | 1174238.0351 | 2734763.8819 | 1174238.0351
107 | 2734598.7739 | 1174461.0891 | 2734599.1176 | 1174461.8956 | 2734599.9894 | 1174463.0884
108 | 2734604.7736 | 1174469.6338 | 2734599.9894 | 1174463.0884
109 | 2734613.5693 | 1174481.8785 | 2734612.5202 | 1174480.2322 | 2734604.7736 | 1174469.6338
110 | 2734613.6 | 1174481.9267 | 2734613.5693 | 1174481.8785

## bus_geodata
| x | y | coords
0 | 2734047.917 | 1174343.7603
1 | 2734131.1004 | 1174468.387
2 | 2733995.0327 | 1174193.1131
3 | 2734198.3453 | 1174476.0433
4 | 2734159.3185 | 1174383.8973
5 | 2734373.3107 | 1174146.616
6 | 2734336.3773 | 1174066.2785
7 | 2734226.8822 | 1174675.0827
8 | 2734261.604 | 1174756.3268
9 | 2734290.7396 | 1174938.7913
10 | 2734566.9356 | 1174414.3203
11 | 2734587.2712 | 1174436.5496
12 | 2734556.3515 | 1174396.4541
13 | 2734570.7959 | 1174795.1671
14 | 2734645.5824 | 1174534.2589
15 | 2734636.5379 | 1174519.0847
16 | 2734712.1587 | 1174556.6389
17 | 2734618.0406 | 1174664.9618
18 | 2734163.9937 | 1173905.1146
19 | 2734214.3209 | 1173649.3423
20 | 2734111.0376 | 1173622.7662
21 | 2734205.0136 | 1173637.1399
22 | 2734196.4123 | 1173625.8658
23 | 2734194.459 | 1173623.3047
24 | 2734174.3542 | 1173594.9002
25 | 2734653.4426 | 1174842.0117
26 | 2734807.8708 | 1174857.8667
27 | 2734788.6982 | 1174797.4808
28 | 2734682.2951 | 1174721.4118
29 | 2734741.4239 | 1174573.598
30 | 2734629.8837 | 1174507.9208
31 | 2734627.222 | 1174503.4552
32 | 2734623.7232 | 1174497.8119
33 | 2734783.548 | 1174332.8745
34 | 2734768.752 | 1174299.7604
35 | 2734761.3456 | 1174277.7399
36 | 2734757.1729 | 1174265.5116
37 | 2734749.9935 | 1174244.6417
38 | 2734747.8339 | 1174238.3639
39 | 2734592.2616 | 1174445.8104
40 | 2734448.6513 | 1173941.5268
41 | 2734540.3208 | 1174073.4405
42 | 2734540.7855 | 1174073.8014
43 | 2734456.5026 | 1173948.0808
44 | 2734463.1527 | 1173953.6321
45 | 2734492.5611 | 1173978.6206
46 | 2734516.8889 | 1173999.4342
47 | 2734173.8887 | 1173594.1797
48 | 2734170.6294 | 1173589.1352
49 | 2734156.2311 | 1173592.6218
50 | 2734167.0394 | 1173582.922
51 | 2734149.3439 | 1173592.5453
52 | 2734161.5707 | 1173568.3566
53 | 2734199.4601 | 1173517.437
54 | 2734230.1492 | 1173544.4717
55 | 2734233.695 | 1173549.0382
56 | 2734250.5957 | 1173579.5044
57 | 2734253.9186 | 1173586.2869
58 | 2734259.701 | 1173598.0895
59 | 2734264.7241 | 1173608.3423
60 | 2734525.0753 | 1174005.5699
61 | 2734534.5126 | 1174012.6431
62 | 2734535.5321 | 1174013.4072
63 | 2734498.7813 | 1173908.4527
64 | 2734523.7158 | 1173927.9953
65 | 2734495.9471 | 1173906.2313
66 | 2734533.6546 | 1173935.7849
67 | 2734542.6987 | 1173942.8733
68 | 2734548.4178 | 1173967.1593
69 | 2734560.4526 | 1173986.5296
70 | 2734560.7364 | 1173986.8604
71 | 2734560.9426 | 1173987.1008
72 | 2734544.7039 | 1174020.2814
73 | 2734546.7705 | 1174021.8303
74 | 2734560.9441 | 1174035.4496
75 | 2734565.5423 | 1174043.7051
76 | 2734568.6928 | 1173998.2743
77 | 2734569.3844 | 1173999.9771
78 | 2734572.2327 | 1174006.9897
79 | 2734575.0971 | 1174014.042
80 | 2734577.1654 | 1174021.7263
81 | 2734565.9336 | 1174044.4077
82 | 2734570.24 | 1174052.1392
83 | 2734570.9427 | 1174053.4007
84 | 2734581.8614 | 1174032.9203
85 | 2734592.4525 | 1174047.7226
86 | 2734574.8089 | 1174060.3419
87 | 2734563.5501 | 1174089.8775
88 | 2734574.0577 | 1174095.5172
89 | 2734615.2279 | 1174127.4939
90 | 2734697.1864 | 1174127.388
91 | 2734616.4304 | 1174085.8451
92 | 2734715.3258 | 1174180.3171
93 | 2734575.3643 | 1174061.3391
94 | 2734595.0523 | 1174078.0385
95 | 2734597.3355 | 1174079.0963
96 | 2734613.9618 | 1174084.8278
97 | 2734605.8437 | 1174063.7667
98 | 2734724.022 | 1174202.2467
99 | 2734600.1164 | 1174056.9048
100 | 2734725.4114 | 1174203.7132
101 | 2734737.0527 | 1174216.0012
102 | 2734737.1487 | 1174216.1025
103 | 2734744.1652 | 1174227.8813
104 | 2734746.8298 | 1174235.4948
105 | 2734763.8819 | 1174238.0351
106 | 2734773.3616 | 1174243.8949
107 | 2734598.7739 | 1174461.0891
108 | 2734599.9894 | 1174463.0884
109 | 2734604.7736 | 1174469.6338
110 | 2734613.5693 | 1174481.8785
111 | 2734613.6 | 1174481.9267
112 | 2734616.4304 | 1174085.8451

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1