## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3618-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3618-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3618-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3618-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3618-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3618-1_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3618-1_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3618-1_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3618-1_0_2_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_3618-1_0_2_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_3618-1_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3618-1_0_2_node_46 | 0.4 | n |  | TRUE
12 | bus_LV_3618-1_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3618-1_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3618-1_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3618-1_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3618-1_0_2_node_153 | 0.4 | n |  | TRUE
17 | bus_LV_3618-1_0_2_node_151 | 0.4 | n |  | TRUE
18 | bus_LV_3618-1_0_2_node_152 | 0.4 | n |  | TRUE
19 | bus_LV_3618-1_0_2_node_158 | 0.4 | n |  | TRUE
20 | bus_LV_3618-1_0_2_node_154 | 0.4 | n |  | TRUE
21 | bus_LV_3618-1_0_2_node_155 | 0.4 | n |  | TRUE
22 | bus_LV_3618-1_0_2_node_156 | 0.4 | n |  | TRUE
23 | bus_LV_3618-1_0_2_node_157 | 0.4 | n |  | TRUE
24 | bus_LV_3618-1_0_2_node_159 | 0.4 | n |  | TRUE
25 | bus_LV_3618-1_0_2_node_160 | 0.4 | n |  | TRUE
26 | bus_LV_3618-1_0_2_node_161 | 0.4 | n |  | TRUE
27 | bus_LV_3618-1_0_2_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_3618-1_0_2_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_3618-1_0_2_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_3618-1_0_2_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_3618-1_0_2_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_3618-1_0_2_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_3618-1_0_2_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_3618-1_0_2_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_3618-1_0_2_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_3618-1_0_2_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_3618-1_0_2_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_3618-1_0_2_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_3618-1_0_2_node_174 | 0.4 | n |  | TRUE
40 | bus_LV_3618-1_0_2_node_162 | 0.4 | n |  | TRUE
41 | bus_LV_3618-1_0_2_node_168 | 0.4 | n |  | TRUE
42 | bus_LV_3618-1_0_2_node_169 | 0.4 | n |  | TRUE
43 | bus_LV_3618-1_0_2_node_170 | 0.4 | n |  | TRUE
44 | bus_LV_3618-1_0_2_node_171 | 0.4 | n |  | TRUE
45 | bus_LV_3618-1_0_2_node_172 | 0.4 | n |  | TRUE
46 | bus_LV_3618-1_0_2_node_173 | 0.4 | n |  | TRUE
47 | bus_LV_3618-1_0_2_node_163 | 0.4 | n |  | TRUE
48 | bus_LV_3618-1_0_2_node_164 | 0.4 | n |  | TRUE
49 | bus_LV_3618-1_0_2_node_165 | 0.4 | n |  | TRUE
50 | bus_LV_3618-1_0_2_node_177 | 0.4 | n |  | TRUE
51 | bus_LV_3618-1_0_2_node_175 | 0.4 | n |  | TRUE
52 | bus_LV_3618-1_0_2_node_167 | 0.4 | n |  | TRUE
53 | bus_LV_3618-1_0_2_node_176 | 0.4 | n |  | TRUE
54 | bus_LV_3618-1_0_2_node_166 | 0.4 | n |  | TRUE
55 | bus_MV_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3618-1_0_2_load_0 | 0 | 0.0010729 | 0.00026889 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3618-1_0_2_load_1 | 1 | 0.0024921 | 0.00062457 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3618-1_0_2_load_2 | 2 | 0.0014699 | 0.00036838 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3618-1_0_2_load_4 | 4 | 0.0028257 | 0.00070818 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3618-1_0_2_load_7 | 7 | 0.0022054 | 0.00055272 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3618-1_0_2_load_47 | 8 | 0.0013463 | 0.00033741 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3618-1_0_2_load_10 | 9 | 0.0021831 | 0.00054715 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3618-1_0_2_load_8 | 10 | 0.0027391 | 0.00068649 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3618-1_0_2_load_46 | 11 | 0.0035241 | 0.00088321 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3618-1_0_2_load_11 | 13 | 0.0032057 | 0.00080342 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3618-1_0_2_load_13 | 15 | 0.001556 | 0.00038996 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3618-1_0_2_load_153 | 16 | 0.0029861 | 0.00074838 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3618-1_0_2_load_151 | 17 | 0.0011328 | 0.0002839 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3618-1_0_2_load_152 | 18 | 0.0010266 | 0.00025729 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3618-1_0_2_load_158 | 19 | 0.00056899 | 0.0001426 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3618-1_0_2_load_154 | 20 | 0.002639 | 0.00066141 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3618-1_0_2_load_155 | 21 | 0.0018431 | 0.00046192 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3618-1_0_2_load_156 | 22 | 0.0009091 | 0.00022784 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3618-1_0_2_load_157 | 23 | 0.0029384 | 0.00073643 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3618-1_0_2_load_159 | 24 | 0.00052383 | 0.00013128 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3618-1_0_2_load_160 | 25 | 0.0011291 | 0.00028298 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3618-1_0_2_load_161 | 26 | 0.00088892 | 0.00022279 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3618-1_0_2_load_33 | 27 | 0.00081253 | 0.00020364 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3618-1_0_2_load_34 | 28 | 0.00065312 | 0.00016369 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3618-1_0_2_load_39 | 30 | 0.00069149 | 0.0001733 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3618-1_0_2_load_38 | 32 | 0.00078674 | 0.00019717 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3618-1_0_2_load_40 | 33 | 0.00053665 | 0.0001345 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3618-1_0_2_load_41 | 34 | 0.00051648 | 0.00012944 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3618-1_0_2_load_44 | 35 | 0.0006459 | 0.00016188 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3618-1_0_2_load_42 | 36 | 0.00075916 | 0.00019026 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3618-1_0_2_load_43 | 37 | 0.0006132 | 0.00015368 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3618-1_0_2_load_45 | 38 | 0.0018438 | 0.0004621 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3618-1_0_2_load_174 | 39 | 0.00067732 | 0.00016975 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3618-1_0_2_load_162 | 40 | 0.00093865 | 0.00023525 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3618-1_0_2_load_168 | 41 | 0.0007324 | 0.00018356 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3618-1_0_2_load_169 | 42 | 0.0017533 | 0.00043942 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3618-1_0_2_load_171 | 44 | 0.00055284 | 0.00013855 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3618-1_0_2_load_172 | 45 | 0.0011396 | 0.0002856 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3618-1_0_2_load_173 | 46 | 0.0045801 | 0.0011479 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3618-1_0_2_load_163 | 47 | 0.00080271 | 0.00020118 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3618-1_0_2_load_164 | 48 | 0.00058444 | 0.00014647 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3618-1_0_2_load_165 | 49 | 0.00090654 | 0.0002272 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3618-1_0_2_load_177 | 50 | 0.00070545 | 0.0001768 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3618-1_0_2_load_175 | 51 | 0.00068415 | 0.00017146 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3618-1_0_2_load_167 | 52 | 0.00071044 | 0.00017805 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3618-1_0_2_load_176 | 53 | 0.0007728 | 0.00019368 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3618-1_0_2_load_166 | 54 | 0.0013527 | 0.00033902 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3618-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0059272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3618-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.079488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3618-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.21531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3618-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.03187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3618-1_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.022668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3618-1_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.001425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3618-1_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0087867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3618-1_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0043977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3618-1_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.042311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3618-1_0_2_line_9 | NAYY 4x150 SE | 6 | 10 | 0.018387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3618-1_0_2_line_10 | NAYY 4x150 SE | 7 | 11 | 0.018342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3618-1_0_2_line_11 | NAYY 4x150 SE | 9 | 15 | 0.2635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3618-1_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.022886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3618-1_0_2_line_13 | NAYY 4x150 SE | 11 | 32 | 0.031506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3618-1_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.03184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3618-1_0_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.10744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3618-1_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.11327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3618-1_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.014799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3618-1_0_2_line_18 | NAYY 4x150 SE | 16 | 20 | 0.016106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3618-1_0_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.015909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3618-1_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.0029814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3618-1_0_2_line_21 | NAYY 4x150 SE | 19 | 24 | 0.0099365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3618-1_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.01171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3618-1_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.01109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3618-1_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.020551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3618-1_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.011619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3618-1_0_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0044738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3618-1_0_2_line_27 | NAYY 4x150 SE | 26 | 40 | 0.0082065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3618-1_0_2_line_28 | NAYY 4x150 SE | 27 | 28 | 0.017997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3618-1_0_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.29258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3618-1_0_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.2313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3618-1_0_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.023233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3618-1_0_2_line_32 | NAYY 4x150 SE | 30 | 33 | 0.045856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3618-1_0_2_line_33 | NAYY 4x150 SE | 31 | 32 | 0.058871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3618-1_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.046638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3618-1_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.011187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3618-1_0_2_line_36 | NAYY 4x150 SE | 36 | 37 | 0.0091281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3618-1_0_2_line_37 | NAYY 4x150 SE | 37 | 38 | 0.00097369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3618-1_0_2_line_38 | NAYY 4x150 SE | 38 | 39 | 0.015559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3618-1_0_2_line_39 | NAYY 4x150 SE | 39 | 45 | 0.007259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3618-1_0_2_line_40 | NAYY 4x150 SE | 40 | 41 | 0.0013948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3618-1_0_2_line_41 | NAYY 4x150 SE | 41 | 42 | 0.01109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3618-1_0_2_line_42 | NAYY 4x150 SE | 42 | 43 | 0.011242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3618-1_0_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.010805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3618-1_0_2_line_44 | NAYY 4x150 SE | 43 | 45 | 0.010946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3618-1_0_2_line_45 | NAYY 4x150 SE | 44 | 46 | 0.0082773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3618-1_0_2_line_46 | NAYY 4x150 SE | 46 | 50 | 0.0069899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3618-1_0_2_line_47 | NAYY 4x150 SE | 47 | 48 | 0.0095749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3618-1_0_2_line_48 | NAYY 4x150 SE | 47 | 49 | 0.01061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3618-1_0_2_line_49 | NAYY 4x150 SE | 48 | 54 | 0.0073003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3618-1_0_2_line_50 | NAYY 4x150 SE | 50 | 53 | 0.0030736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3618-1_0_2_line_51 | NAYY 4x150 SE | 51 | 52 | 0.0096433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3618-1_0_2_line_52 | NAYY 4x150 SE | 51 | 53 | 0.0027373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3618-1_0_2_line_53 | NAYY 4x150 SE | 52 | 54 | 0.0056519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3618-1_0_2_trafo_13 | 0.25 MVA 20/0.4 kV | 55 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2727125.0726 | 1168926.8263 | 2727121.678 | 1168921.9674
1 | 2727125.0726 | 1168926.8263 | 2727128.9119 | 1168932.3219 | 2727134.3966 | 1168943.0124 | 2727137.4238 | 1168950.4485 | 2727138.9493 | 1168958.3086 | 2727138.6427 | 1168965.5518 | 2727137.2532 | 1168974.0508 | 2727134.6574 | 1168981.668 | 2727130.5394 | 1168989.5866 | 2727125.7825 | 1168996.224 | 2727123.2026 | 1168998.9227
2 | 2727128.5114 | 1168717.3251 | 2727124.839 | 1168734.9268 | 2727112.4713 | 1168781.7321 | 2727096.2045 | 1168844.5666 | 2727095.2027 | 1168853.5519 | 2727095.4347 | 1168863.931 | 2727096.7323 | 1168873.8767 | 2727098.3351 | 1168880.6155 | 2727101.8648 | 1168889.2742 | 2727107.3107 | 1168899.9971 | 2727117.8182 | 1168916.4424 | 2727121.678 | 1168921.9674
3 | 2727100.1121 | 1169020.8764 | 2727118.8226 | 1169003.5042 | 2727123.2026 | 1168998.9227
4 | 2727108.3948 | 1168711.0283 | 2727110.3853 | 1168715.0066 | 2727128.5114 | 1168717.3251
5 | 2727128.5114 | 1168717.3251 | 2727128.8012 | 1168715.9302
6 | 2727100.1121 | 1169020.8764 | 2727100.1121 | 1169020.8764 | 2727094.1183 | 1169027.3014
7 | 2727108.3948 | 1168711.0283 | 2727108.2348 | 1168706.6335
8 | 2727128.8012 | 1168715.9302 | 2727170.3195 | 1168724.0813
9 | 2727128.8012 | 1168715.9302 | 2727130.4152 | 1168697.9181 | 2727130.4411 | 1168697.6168
10 | 2727094.1183 | 1169027.3014 | 2727090.2656 | 1169031.4313 | 2727085.3399 | 1169037.7316 | 2727082.9021 | 1169041.7466
11 | 2727170.3195 | 1168724.0813 | 2727180.4781 | 1168726.0757 | 2727185.175 | 1168728.0655 | 2727188.3359 | 1168730.2784 | 2727191.6972 | 1168733.8744 | 2727193.8935 | 1168737.5347 | 2727195.2608 | 1168742.3782 | 2727195.4945 | 1168746.1637 | 2727194.6477 | 1168750.3599 | 2727191.4274 | 1168758.1751 | 2727179.6803 | 1168776.384 | 2727173.1971 | 1168792.2249 | 2727171.5891 | 1168805.6116 | 2727174.7063 | 1168823.9797 | 2727182.3751 | 1168840.3539 | 2727194.7957 | 1168857.9184 | 2727201.0416 | 1168871.705 | 2727205.3975 | 1168886.5301 | 2727209.5955 | 1168908.8018 | 2727218.8101 | 1168929.1671 | 2727228.7008 | 1168941.1074 | 2727236.2494 | 1168950.2244
12 | 2727131.7475 | 1168674.774 | 2727131.5206 | 1168681.8743 | 2727131.1875 | 1168688.9279 | 2727130.4411 | 1168697.6168
13 | 2727071.1921 | 1169070.8482 | 2727073.6434 | 1169062.2685 | 2727076.9819 | 1169052.8324 | 2727081.3739 | 1169044.2635 | 2727082.9021 | 1169041.7466
14 | 2727155.8248 | 1168688.9049 | 2727156.275 | 1168682.8322 | 2727131.7475 | 1168674.774
15 | 2727131.7475 | 1168674.774 | 2727131.5739 | 1168661.6387 | 2727131.1995 | 1168652.5686 | 2727131.0135 | 1168647.9725 | 2727129.7419 | 1168624.5065 | 2727128.6695 | 1168616.5781 | 2727127.6415 | 1168611.2525 | 2727126.0828 | 1168604.9594 | 2727124.327 | 1168599.2959 | 2727154.8726 | 1168592.5263
16 | 2727154.8726 | 1168592.5263 | 2727157.2185 | 1168594.9111 | 2727181.6739 | 1168623.3714 | 2727189.7117 | 1168632.0923 | 2727196.4161 | 1168638.7057 | 2727203.0335 | 1168644.0052 | 2727212.2682 | 1168650.7945 | 2727219.7584 | 1168655.3675 | 2727230.7392 | 1168661.0486 | 2727234.0355 | 1168663.0198 | 2727237.1512 | 1168665.1985 | 2727238.8829 | 1168666.8676
17 | 2727236.2494 | 1168950.2244 | 2727239.599 | 1168954.27 | 2727243.6953 | 1168962.8936
18 | 2727238.8829 | 1168666.8676 | 2727239.5221 | 1168667.4837 | 2727241.7606 | 1168670.2331 | 2727244.5579 | 1168674.0729 | 2727248.3663 | 1168679.8529
19 | 2727243.6953 | 1168962.8936 | 2727244.1501 | 1168963.851 | 2727247.7925 | 1168971.5115 | 2727249.4748 | 1168977.6519
20 | 2727250.2625 | 1168980.5274 | 2727249.4748 | 1168977.6519
21 | 2727252.888 | 1168990.1108 | 2727250.2625 | 1168980.5274
22 | 2727254.8094 | 1168689.6314 | 2727248.3663 | 1168679.8529
23 | 2727254.8094 | 1168689.6314 | 2727260.9111 | 1168698.8917
24 | 2727260.9111 | 1168698.8917 | 2727261.7216 | 1168700.1219 | 2727264.0251 | 1168702.6947 | 2727266.5728 | 1168704.5834 | 2727269.2024 | 1168705.4953 | 2727271.5594 | 1168705.5453 | 2727273.926 | 1168705.1396 | 2727276.2423 | 1168704.2213 | 2727278.3799 | 1168703.087
25 | 2727252.888 | 1168990.1108 | 2727253.1361 | 1168991.0165 | 2727258.1273 | 1169000.4579
26 | 2727258.1273 | 1169000.4579 | 2727260.2181 | 1169004.413
27 | 2727264.0535 | 1169011.6681 | 2727260.2181 | 1169004.413
28 | 2727252.1583 | 1169344.035 | 2727259.1728 | 1169351.9382 | 2727262.4197 | 1169356.2212 | 2727263.0881 | 1169358.1644
29 | 2727053.3774 | 1169150.9816 | 2727052.5529 | 1169158.4696 | 2727052.4588 | 1169164.3607 | 2727052.8218 | 1169171.8071 | 2727053.9955 | 1169178.926 | 2727055.753 | 1169185.5902 | 2727058.4535 | 1169193.6309 | 2727061.5234 | 1169200.5007 | 2727067.3941 | 1169209.9428 | 2727078.6513 | 1169223.5019 | 2727090.8684 | 1169235.4689 | 2727098.215 | 1169241.7289 | 2727106.0377 | 1169247.1983 | 2727117.4138 | 1169253.6882 | 2727171.8331 | 1169280.8707 | 2727187.0275 | 1169289.5987 | 2727202.6523 | 1169300.0481 | 2727224.0809 | 1169317.3033 | 2727248.5113 | 1169339.9259 | 2727252.1583 | 1169344.035
30 | 2727263.0881 | 1169358.1644 | 2727464.3883 | 1169244.2533
31 | 2727053.3774 | 1169150.9816 | 2727057.9474 | 1169128.2063
32 | 2727464.3883 | 1169244.2533 | 2727495.9513 | 1169255.4448 | 2727505.9167 | 1169262.7698
33 | 2727057.9474 | 1169128.2063 | 2727070.5677 | 1169073.0335 | 2727071.1921 | 1169070.8482
34 | 2727542.5182 | 1169291.6298 | 2727524.9407 | 1169276.7533 | 2727505.9167 | 1169262.7698
35 | 2727551.0577 | 1169298.8571 | 2727542.5182 | 1169291.6298
36 | 2727290.0455 | 1169049.4402 | 2727286.6956 | 1169057.9313 | 2727286.6956 | 1169057.9313
37 | 2727290.0455 | 1169049.4402 | 2727290.4028 | 1169048.5344
38 | 2727288.0119 | 1169034.3633 | 2727292.4074 | 1169043.453 | 2727290.4028 | 1169048.5344
39 | 2727284.8518 | 1169027.8282 | 2727288.0119 | 1169034.3633
40 | 2727264.0535 | 1169011.6681 | 2727264.7054 | 1169012.9012
41 | 2727269.8884 | 1169022.7054 | 2727264.7054 | 1169012.9012
42 | 2727280.0864 | 1169017.9736 | 2727269.8884 | 1169022.7054
43 | 2727280.0864 | 1169017.9736 | 2727289.8883 | 1169013.428
44 | 2727280.0864 | 1169017.9736 | 2727284.8518 | 1169027.8282
45 | 2727289.8883 | 1169013.428 | 2727297.3974 | 1169009.9457
46 | 2727295.856 | 1169003.1279 | 2727297.3974 | 1169009.9457 | 2727297.3974 | 1169009.9457
47 | 2727274.8155 | 1168972.9969 | 2727281.8846 | 1168979.455
48 | 2727274.8155 | 1168972.9969 | 2727270.1296 | 1168968.716 | 2727268.6092 | 1168964.7336
49 | 2727281.8846 | 1168979.455 | 2727286.1037 | 1168983.3094 | 2727287.1066 | 1168984.5375
50 | 2727295.1783 | 1169000.1299 | 2727295.856 | 1169003.1279
51 | 2727290.6814 | 1168988.9153 | 2727293.3939 | 1168992.237 | 2727294.5747 | 1168997.46
52 | 2727294.5747 | 1168997.46 | 2727295.1783 | 1169000.1299
53 | 2727290.6814 | 1168988.9153 | 2727287.1066 | 1168984.5375

## bus_geodata
| x | y | coords
0 | 2727125.0726 | 1168926.8263
1 | 2727121.678 | 1168921.9674
2 | 2727123.2026 | 1168998.9227
3 | 2727128.5114 | 1168717.3251
4 | 2727100.1121 | 1169020.8764
5 | 2727108.3948 | 1168711.0283
6 | 2727128.8012 | 1168715.9302
7 | 2727094.1183 | 1169027.3014
8 | 2727108.2348 | 1168706.6335
9 | 2727170.3195 | 1168724.0813
10 | 2727130.4411 | 1168697.6168
11 | 2727082.9021 | 1169041.7466
12 | 2727131.7475 | 1168674.774
13 | 2727155.8248 | 1168688.9049
14 | 2727154.8726 | 1168592.5263
15 | 2727236.2494 | 1168950.2244
16 | 2727238.8829 | 1168666.8676
17 | 2727243.6953 | 1168962.8936
18 | 2727249.4748 | 1168977.6519
19 | 2727250.2625 | 1168980.5274
20 | 2727248.3663 | 1168679.8529
21 | 2727254.8094 | 1168689.6314
22 | 2727260.9111 | 1168698.8917
23 | 2727278.3799 | 1168703.087
24 | 2727252.888 | 1168990.1108
25 | 2727258.1273 | 1169000.4579
26 | 2727260.2181 | 1169004.413
27 | 2727252.1583 | 1169344.035
28 | 2727263.0881 | 1169358.1644
29 | 2727053.3774 | 1169150.9816
30 | 2727464.3883 | 1169244.2533
31 | 2727057.9474 | 1169128.2063
32 | 2727071.1921 | 1169070.8482
33 | 2727505.9167 | 1169262.7698
34 | 2727542.5182 | 1169291.6298
35 | 2727551.0577 | 1169298.8571
36 | 2727286.6956 | 1169057.9313
37 | 2727290.0454 | 1169049.4402
38 | 2727290.4028 | 1169048.5344
39 | 2727288.0119 | 1169034.3633
40 | 2727264.0535 | 1169011.6681
41 | 2727264.7054 | 1169012.9012
42 | 2727269.8884 | 1169022.7054
43 | 2727280.0864 | 1169017.9736
44 | 2727289.8883 | 1169013.428
45 | 2727284.8518 | 1169027.8282
46 | 2727297.3974 | 1169009.9457
47 | 2727274.8155 | 1168972.9969
48 | 2727281.8846 | 1168979.455
49 | 2727268.6092 | 1168964.7336
50 | 2727295.856 | 1169003.1279
51 | 2727294.5747 | 1168997.46
52 | 2727290.6814 | 1168988.9153
53 | 2727295.1783 | 1169000.1299
54 | 2727287.1066 | 1168984.5375
55 | 2727236.2494 | 1168950.2244

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1