## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3618-1_1_2_node_14 | 0.4 | n |  | TRUE
1 | bus_LV_3618-1_1_2_node_15 | 0.4 | n |  | TRUE
2 | bus_LV_3618-1_1_2_node_16 | 0.4 | n |  | TRUE
3 | bus_LV_3618-1_1_2_node_17 | 0.4 | n |  | TRUE
4 | bus_LV_3618-1_1_2_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_3618-1_1_2_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_3618-1_1_2_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_3618-1_1_2_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_3618-1_1_2_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_3618-1_1_2_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_3618-1_1_2_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_3618-1_1_2_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_3618-1_1_2_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_3618-1_1_2_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_3618-1_1_2_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_3618-1_1_2_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_3618-1_1_2_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_3618-1_1_2_node_68 | 0.4 | n |  | TRUE
18 | bus_LV_3618-1_1_2_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_3618-1_1_2_node_77 | 0.4 | n |  | TRUE
20 | bus_LV_3618-1_1_2_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_3618-1_1_2_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_3618-1_1_2_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_3618-1_1_2_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_3618-1_1_2_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_3618-1_1_2_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_3618-1_1_2_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_3618-1_1_2_node_62 | 0.4 | n |  | TRUE
28 | bus_LV_3618-1_1_2_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_3618-1_1_2_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_3618-1_1_2_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_3618-1_1_2_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_3618-1_1_2_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_3618-1_1_2_node_67 | 0.4 | n |  | TRUE
34 | bus_LV_3618-1_1_2_node_70 | 0.4 | n |  | TRUE
35 | bus_LV_3618-1_1_2_node_83 | 0.4 | n |  | TRUE
36 | bus_LV_3618-1_1_2_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_3618-1_1_2_node_78 | 0.4 | n |  | TRUE
38 | bus_LV_3618-1_1_2_node_75 | 0.4 | n |  | TRUE
39 | bus_LV_3618-1_1_2_node_76 | 0.4 | n |  | TRUE
40 | bus_LV_3618-1_1_2_node_79 | 0.4 | n |  | TRUE
41 | bus_LV_3618-1_1_2_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_3618-1_1_2_node_86 | 0.4 | n |  | TRUE
43 | bus_LV_3618-1_1_2_node_84 | 0.4 | n |  | TRUE
44 | bus_LV_3618-1_1_2_node_85 | 0.4 | n |  | TRUE
45 | bus_MV_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3618-1_1_2_load_14 | 0 | 0.0012094 | 0.00030311 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3618-1_1_2_load_15 | 1 | 0.00065905 | 0.00016517 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3618-1_1_2_load_17 | 3 | 0.0015052 | 0.00037724 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3618-1_1_2_load_18 | 4 | 0.0023033 | 0.00057726 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3618-1_1_2_load_19 | 5 | 0.00066586 | 0.00016688 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3618-1_1_2_load_20 | 6 | 0.0017324 | 0.00043419 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3618-1_1_2_load_21 | 7 | 0.0017862 | 0.00044765 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3618-1_1_2_load_32 | 8 | 0.0028136 | 0.00070516 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3618-1_1_2_load_23 | 9 | 0.0023429 | 0.00058719 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3618-1_1_2_load_25 | 10 | 0.0023991 | 0.00060128 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3618-1_1_2_load_26 | 11 | 0.0010592 | 0.00026546 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3618-1_1_2_load_27 | 12 | 0.00094829 | 0.00023766 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3618-1_1_2_load_29 | 14 | 0.0027448 | 0.00068791 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3618-1_1_2_load_69 | 16 | 0.00039355 | 9.8633e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3618-1_1_2_load_68 | 17 | 0.00028376 | 7.1117e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3618-1_1_2_load_31 | 18 | 0.00079006 | 0.00019801 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3618-1_1_2_load_77 | 19 | 0.00039215 | 9.8282e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3618-1_1_2_load_48 | 20 | 0.0007316 | 0.00018336 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3618-1_1_2_load_49 | 21 | 0.00029145 | 7.3045e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3618-1_1_2_load_50 | 22 | 0.00033925 | 8.5025e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3618-1_1_2_load_52 | 23 | 0.0003819 | 9.5712e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3618-1_1_2_load_54 | 25 | 0.00037498 | 9.3978e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3618-1_1_2_load_55 | 26 | 0.00037693 | 9.4466e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3618-1_1_2_load_62 | 27 | 0.00042233 | 0.00010584 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3618-1_1_2_load_56 | 28 | 0.00041647 | 0.00010438 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3618-1_1_2_load_63 | 29 | 0.00033107 | 8.2975e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3618-1_1_2_load_64 | 30 | 0.00037524 | 9.4045e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3618-1_1_2_load_65 | 31 | 0.00065443 | 0.00016402 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3618-1_1_2_load_67 | 33 | 0.0008364 | 0.00020962 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3618-1_1_2_load_70 | 34 | 0.00059307 | 0.00014864 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3618-1_1_2_load_83 | 35 | 0.00076283 | 0.00019118 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3618-1_1_2_load_71 | 36 | 0.00053393 | 0.00013382 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3618-1_1_2_load_75 | 38 | 0.0011859 | 0.0002972 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3618-1_1_2_load_76 | 39 | 0.00066522 | 0.00016672 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3618-1_1_2_load_79 | 40 | 0.00051454 | 0.00012895 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3618-1_1_2_load_81 | 41 | 0.0012771 | 0.00032007 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3618-1_1_2_load_86 | 42 | 0.00055111 | 0.00013812 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3618-1_1_2_load_84 | 43 | 0.00030876 | 7.7381e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3618-1_1_2_load_85 | 44 | 0.0008016 | 0.0002009 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3618-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3618-1_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.020895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3618-1_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3618-1_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.078616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3618-1_1_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.086184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3618-1_1_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0096394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3618-1_1_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.036919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3618-1_1_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.022527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3618-1_1_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.049223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3618-1_1_2_line_9 | NAYY 4x150 SE | 8 | 14 | 0.0026828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3618-1_1_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.16871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3618-1_1_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.022288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3618-1_1_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.25731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3618-1_1_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.014486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3618-1_1_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.099593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3618-1_1_2_line_15 | NAYY 4x150 SE | 15 | 16 | 0.021959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3618-1_1_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.10056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3618-1_1_2_line_17 | NAYY 4x150 SE | 16 | 34 | 0.0052565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3618-1_1_2_line_18 | NAYY 4x150 SE | 17 | 32 | 0.28034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3618-1_1_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.020489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3618-1_1_2_line_20 | NAYY 4x150 SE | 19 | 38 | 0.039829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3618-1_1_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.028024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3618-1_1_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.22683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3618-1_1_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.18989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3618-1_1_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.092775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3618-1_1_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.0093271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3618-1_1_2_line_26 | NAYY 4x150 SE | 24 | 26 | 0.02024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3618-1_1_2_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0094043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3618-1_1_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.082884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3618-1_1_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.0066658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3618-1_1_2_line_30 | NAYY 4x150 SE | 29 | 30 | 0.006227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3618-1_1_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.028383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3618-1_1_2_line_32 | NAYY 4x150 SE | 31 | 32 | 0.21474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3618-1_1_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.16453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3618-1_1_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.023113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3618-1_1_2_line_35 | NAYY 4x150 SE | 35 | 43 | 0.0041309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3618-1_1_2_line_36 | NAYY 4x150 SE | 36 | 37 | 0.15739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3618-1_1_2_line_37 | NAYY 4x150 SE | 37 | 40 | 0.061154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3618-1_1_2_line_38 | NAYY 4x150 SE | 37 | 39 | 0.0080971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3618-1_1_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.01986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3618-1_1_2_line_40 | NAYY 4x150 SE | 40 | 41 | 0.0048701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3618-1_1_2_line_41 | NAYY 4x150 SE | 41 | 42 | 0.012586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3618-1_1_2_line_42 | NAYY 4x150 SE | 42 | 44 | 0.0059031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3618-1_1_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.0018132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3618-1_1_2_trafo_26 | 0.25 MVA 20/0.4 kV | 45 | 11 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2727653.2235 | 1170116.8875 | 2727640.7021 | 1170107.7605
1 | 2727623.7208 | 1170095.5879 | 2727629.7776 | 1170099.7974 | 2727640.7021 | 1170107.7605
2 | 2727670.822 | 1170125.462 | 2727669.2745 | 1170125.2886 | 2727659.2863 | 1170121.3067 | 2727653.2235 | 1170116.8875
3 | 2727623.7208 | 1170095.5879 | 2727622.4348 | 1170097.3952 | 2727621.501 | 1170100.6333 | 2727623.3766 | 1170104.576 | 2727634.9966 | 1170111.3722 | 2727639.8263 | 1170116.056 | 2727653.5595 | 1170133.972 | 2727669.6532 | 1170154.2623
4 | 2727623.7208 | 1170095.5879 | 2727592.7902 | 1170074.7045 | 2727582.2861 | 1170071.2233 | 2727565.4718 | 1170068.6088 | 2727545.7155 | 1170062.1623
5 | 2727670.822 | 1170125.462 | 2727680.4015 | 1170126.5352
6 | 2727669.6532 | 1170154.2623 | 2727679.0455 | 1170166.1036 | 2727690.7915 | 1170174.8819 | 2727696.9375 | 1170178.5186
7 | 2727702.6603 | 1170129.8478 | 2727694.1448 | 1170128.0748 | 2727680.4015 | 1170126.5352
8 | 2727696.9375 | 1170178.5186 | 2727715.3126 | 1170189.3915 | 2727722.1902 | 1170194.586 | 2727723.9699 | 1170196.5586 | 2727724.145 | 1170199.8425 | 2727717.8353 | 1170211.5599
9 | 2727702.6603 | 1170129.8478 | 2727705.2868 | 1170130.3947
10 | 2727736.982 | 1170147.5085 | 2727743.5376 | 1170154.2997 | 2727752.5401 | 1170170.7809 | 2727758.3988 | 1170200.4714 | 2727768.1393 | 1170226.5086 | 2727782.8524 | 1170243.6674 | 2727808.6801 | 1170268.3236 | 2727825.4173 | 1170285.6881
11 | 2727718.9147 | 1170134.8297 | 2727731.5926 | 1170141.9256 | 2727736.982 | 1170147.5085
12 | 2728008.4256 | 1170462.8518 | 2727976.339 | 1170427.7759 | 2727963.2239 | 1170417.2 | 2727923.3911 | 1170395.7692 | 2727904.3474 | 1170379.2961 | 2727842.5131 | 1170303.4247 | 2727825.4173 | 1170285.6881
13 | 2727718.9147 | 1170134.8297 | 2727714.3693 | 1170132.2857 | 2727705.2868 | 1170130.3947
14 | 2728008.4256 | 1170462.8518 | 2728010.3036 | 1170460.9238 | 2728019.0794 | 1170461.0665 | 2728025.792 | 1170463.567 | 2728054.2871 | 1170484.7231 | 2728077.2226 | 1170499.9121 | 2728083.1839 | 1170502.1075 | 2728087.3019 | 1170501.0167 | 2728089.1778 | 1170497.7543 | 2728089.7017 | 1170494.0072
15 | 2728089.7017 | 1170494.0072 | 2728096.4962 | 1170492.3065 | 2728103.5213 | 1170491.6336 | 2728110.0204 | 1170492.6619 | 2728111.2626 | 1170493.1006
16 | 2728089.7017 | 1170494.0072 | 2728088.4575 | 1170489.5441 | 2728079.8277 | 1170481.4876 | 2728056.9173 | 1170460.0947 | 2728027.6314 | 1170416.8056 | 2728027.2772 | 1170416.4315
17 | 2728111.2626 | 1170493.1006 | 2728116.2191 | 1170494.8512
18 | 2727864.7037 | 1170193.0393 | 2727863.7918 | 1170197.045 | 2727865.2087 | 1170200.9557 | 2727889.0194 | 1170224.7132 | 2727900.2027 | 1170240.8408 | 2727928.0267 | 1170297.8636 | 2727942.0094 | 1170323.0464 | 2727955.3388 | 1170340.4541 | 2728027.2772 | 1170416.4315
19 | 2728124.0917 | 1170527.6958 | 2728114.0871 | 1170521.5807 | 2728105.6073 | 1170519.3678
20 | 2728152.13 | 1170555.4581 | 2728144.0767 | 1170544.0479 | 2728127.2632 | 1170529.6343 | 2728124.0917 | 1170527.6958
21 | 2728062.6926 | 1170116.2125 | 2728080.7443 | 1170137.6478
22 | 2728080.7443 | 1170137.6478 | 2728083.2891 | 1170140.6696 | 2728096.5081 | 1170149.6247 | 2728102.9328 | 1170162.7601 | 2728102.0111 | 1170176.8952 | 2728102.7117 | 1170181.3689 | 2728164.3663 | 1170244.7747 | 2728192.2364 | 1170266.1961 | 2728220.741 | 1170304.4768 | 2728222.2918 | 1170306.1498
23 | 2728222.2918 | 1170306.1498 | 2728240.971 | 1170326.3023 | 2728259.7159 | 1170339.5344 | 2728274.2105 | 1170356.4562 | 2728276.5497 | 1170365.9019 | 2728274.0622 | 1170371.9866 | 2728268.0333 | 1170374.026 | 2728263.5181 | 1170371.8502 | 2728256.1466 | 1170362.2191 | 2728227.2844 | 1170347.5033 | 2728197.8733 | 1170341.6379 | 2728182.8956 | 1170341.158
24 | 2728091.7189 | 1170333.5004 | 2728099.4865 | 1170331.0421 | 2728112.3611 | 1170333.5185 | 2728138.3765 | 1170340.7009 | 2728164.5557 | 1170340.5705 | 2728182.8956 | 1170341.158
25 | 2728091.7189 | 1170333.5004 | 2728089.1595 | 1170331.133 | 2728084.4515 | 1170327.6765
26 | 2728091.7189 | 1170333.5004 | 2728097.7691 | 1170341.5798 | 2728105.5224 | 1170348.1241
27 | 2728084.4515 | 1170327.6765 | 2728077.9913 | 1170322.9334 | 2728076.7517 | 1170322.3048
28 | 2728176.0156 | 1170391.6517 | 2728107.919 | 1170350.1469 | 2728105.5224 | 1170348.1241
29 | 2728076.7517 | 1170322.3048 | 2728070.8066 | 1170319.2901
30 | 2728065.2528 | 1170316.4738 | 2728070.8066 | 1170319.2901
31 | 2728065.2528 | 1170316.4738 | 2728063.1124 | 1170315.3884 | 2728042.0707 | 1170308.9796 | 2728038.7906 | 1170306.7136
32 | 2727864.7037 | 1170193.0393 | 2727868.3724 | 1170190.7713 | 2727872.8841 | 1170190.6116 | 2727876.6055 | 1170193.4151 | 2727891.9815 | 1170208.9093 | 2727904.934 | 1170218.8812 | 2727935.8767 | 1170229.4145 | 2727983.3773 | 1170253.1215 | 2728013.423 | 1170285.6075 | 2728031.458 | 1170301.648 | 2728038.7906 | 1170306.7136
33 | 2727864.7037 | 1170193.0393 | 2727859.8293 | 1170181.1269 | 2727852.9541 | 1170146.3553 | 2727855.7881 | 1170112.8469 | 2727849.8599 | 1170083.5662 | 2727848.914 | 1170069.7582 | 2727845.8448 | 1170055.7383 | 2727837.5063 | 1170047.6105 | 2727825.1739 | 1170043.9146
34 | 2728116.2191 | 1170494.8512 | 2728116.2191 | 1170494.8512 | 2728120.7599 | 1170497.6168 | 2728124.6638 | 1170501.5362 | 2728128.5762 | 1170504.6998 | 2728132.3948 | 1170505.8042 | 2728135.6526 | 1170505.8455
35 | 2728135.6526 | 1170505.8455 | 2728139.7831 | 1170505.8979
36 | 2728165.6532 | 1170579.8454 | 2728195.534 | 1170734.3724
37 | 2728165.6532 | 1170579.8454 | 2728167.5116 | 1170578.8399 | 2728169.421 | 1170576.1565 | 2728169.0212 | 1170572.3007 | 2728159.5497 | 1170545.2456 | 2728158.4401 | 1170536.6379 | 2728157.8535 | 1170527.9079 | 2728156.0568 | 1170522.7992 | 2728155.9147 | 1170522.4662
38 | 2728165.6532 | 1170579.8454 | 2728162.0654 | 1170572.5866
39 | 2728152.13 | 1170555.4581 | 2728157.0327 | 1170562.4044 | 2728162.0654 | 1170572.5866
40 | 2728155.9147 | 1170522.4662 | 2728154.0032 | 1170517.987
41 | 2728154.0032 | 1170517.987 | 2728153.5859 | 1170517.009 | 2728151.6784 | 1170512.7874 | 2728147.3894 | 1170507.9035 | 2728147.052 | 1170507.7076
42 | 2728141.5952 | 1170505.9584 | 2728144.2067 | 1170506.0564 | 2728147.052 | 1170507.7076
43 | 2728141.5952 | 1170505.9584 | 2728140.0846 | 1170505.9017 | 2728139.7831 | 1170505.8979

## bus_geodata
| x | y | coords
0 | 2727640.7021 | 1170107.7605
1 | 2727653.2235 | 1170116.8875
2 | 2727623.7208 | 1170095.5879
3 | 2727670.822 | 1170125.462
4 | 2727669.6532 | 1170154.2623
5 | 2727545.7155 | 1170062.1623
6 | 2727680.4015 | 1170126.5352
7 | 2727696.9375 | 1170178.5186
8 | 2727702.6603 | 1170129.8478
9 | 2727717.8353 | 1170211.5599
10 | 2727736.982 | 1170147.5085
11 | 2727825.4173 | 1170285.6881
12 | 2727718.9147 | 1170134.8297
13 | 2728008.4256 | 1170462.8518
14 | 2727705.2868 | 1170130.3947
15 | 2728089.7017 | 1170494.0072
16 | 2728111.2626 | 1170493.1006
17 | 2728027.2772 | 1170416.4315
18 | 2728105.6073 | 1170519.3678
19 | 2728124.0917 | 1170527.6958
20 | 2728062.6926 | 1170116.2125
21 | 2728080.7443 | 1170137.6478
22 | 2728222.2918 | 1170306.1498
23 | 2728182.8956 | 1170341.158
24 | 2728091.7189 | 1170333.5004
25 | 2728084.4515 | 1170327.6765
26 | 2728105.5224 | 1170348.1241
27 | 2728076.7517 | 1170322.3048
28 | 2728176.0156 | 1170391.6517
29 | 2728070.8066 | 1170319.2901
30 | 2728065.2528 | 1170316.4738
31 | 2728038.7906 | 1170306.7136
32 | 2727864.7037 | 1170193.0393
33 | 2727825.1739 | 1170043.9146
34 | 2728116.2191 | 1170494.8512
35 | 2728135.6526 | 1170505.8455
36 | 2728195.534 | 1170734.3724
37 | 2728165.6532 | 1170579.8454
38 | 2728152.13 | 1170555.4581
39 | 2728162.0654 | 1170572.5866
40 | 2728155.9147 | 1170522.4662
41 | 2728154.0032 | 1170517.987
42 | 2728147.052 | 1170507.7076
43 | 2728139.7831 | 1170505.8979
44 | 2728141.5952 | 1170505.9584
45 | 2727825.4173 | 1170285.6881

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1