## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3618-23_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3618-23_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3618-23_0_2_node_35 | 0.4 | n |  | TRUE
3 | bus_LV_3618-23_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3618-23_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3618-23_0_2_node_179 | 0.4 | n |  | TRUE
6 | bus_LV_3618-23_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3618-23_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3618-23_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3618-23_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3618-23_0_2_node_142 | 0.4 | n |  | TRUE
11 | bus_LV_3618-23_0_2_node_138 | 0.4 | n |  | TRUE
12 | bus_LV_3618-23_0_2_node_129 | 0.4 | n |  | TRUE
13 | bus_LV_3618-23_0_2_node_130 | 0.4 | n |  | TRUE
14 | bus_LV_3618-23_0_2_node_131 | 0.4 | n |  | TRUE
15 | bus_LV_3618-23_0_2_node_132 | 0.4 | n |  | TRUE
16 | bus_LV_3618-23_0_2_node_133 | 0.4 | n |  | TRUE
17 | bus_LV_3618-23_0_2_node_134 | 0.4 | n |  | TRUE
18 | bus_LV_3618-23_0_2_node_135 | 0.4 | n |  | TRUE
19 | bus_LV_3618-23_0_2_node_136 | 0.4 | n |  | TRUE
20 | bus_LV_3618-23_0_2_node_152 | 0.4 | n |  | TRUE
21 | bus_LV_3618-23_0_2_node_137 | 0.4 | n |  | TRUE
22 | bus_LV_3618-23_0_2_node_139 | 0.4 | n |  | TRUE
23 | bus_LV_3618-23_0_2_node_140 | 0.4 | n |  | TRUE
24 | bus_LV_3618-23_0_2_node_141 | 0.4 | n |  | TRUE
25 | bus_LV_3618-23_0_2_node_143 | 0.4 | n |  | TRUE
26 | bus_LV_3618-23_0_2_node_144 | 0.4 | n |  | TRUE
27 | bus_LV_3618-23_0_2_node_145 | 0.4 | n |  | TRUE
28 | bus_LV_3618-23_0_2_node_147 | 0.4 | n |  | TRUE
29 | bus_LV_3618-23_0_2_node_146 | 0.4 | n |  | TRUE
30 | bus_LV_3618-23_0_2_node_153 | 0.4 | n |  | TRUE
31 | bus_LV_3618-23_0_2_node_149 | 0.4 | n |  | TRUE
32 | bus_LV_3618-23_0_2_node_148 | 0.4 | n |  | TRUE
33 | bus_LV_3618-23_0_2_node_150 | 0.4 | n |  | TRUE
34 | bus_LV_3618-23_0_2_node_151 | 0.4 | n |  | TRUE
35 | bus_LV_3618-23_0_2_node_162 | 0.4 | n |  | TRUE
36 | bus_LV_3618-23_0_2_node_154 | 0.4 | n |  | TRUE
37 | bus_LV_3618-23_0_2_node_155 | 0.4 | n |  | TRUE
38 | bus_LV_3618-23_0_2_node_166 | 0.4 | n |  | TRUE
39 | bus_LV_3618-23_0_2_node_164 | 0.4 | n |  | TRUE
40 | bus_LV_3618-23_0_2_node_163 | 0.4 | n |  | TRUE
41 | bus_LV_3618-23_0_2_node_160 | 0.4 | n |  | TRUE
42 | bus_LV_3618-23_0_2_node_157 | 0.4 | n |  | TRUE
43 | bus_LV_3618-23_0_2_node_156 | 0.4 | n |  | TRUE
44 | bus_LV_3618-23_0_2_node_159 | 0.4 | n |  | TRUE
45 | bus_LV_3618-23_0_2_node_161 | 0.4 | n |  | TRUE
46 | bus_LV_3618-23_0_2_node_180 | 0.4 | n |  | TRUE
47 | bus_LV_3618-23_0_2_node_169 | 0.4 | n |  | TRUE
48 | bus_LV_3618-23_0_2_node_174 | 0.4 | n |  | TRUE
49 | bus_LV_3618-23_0_2_node_165 | 0.4 | n |  | TRUE
50 | bus_LV_3618-23_0_2_node_167 | 0.4 | n |  | TRUE
51 | bus_LV_3618-23_0_2_node_168 | 0.4 | n |  | TRUE
52 | bus_LV_3618-23_0_2_node_185 | 0.4 | n |  | TRUE
53 | bus_LV_3618-23_0_2_node_170 | 0.4 | n |  | TRUE
54 | bus_LV_3618-23_0_2_node_171 | 0.4 | n |  | TRUE
55 | bus_LV_3618-23_0_2_node_172 | 0.4 | n |  | TRUE
56 | bus_LV_3618-23_0_2_node_173 | 0.4 | n |  | TRUE
57 | bus_LV_3618-23_0_2_node_176 | 0.4 | n |  | TRUE
58 | bus_LV_3618-23_0_2_node_175 | 0.4 | n |  | TRUE
59 | bus_LV_3618-23_0_2_node_183 | 0.4 | n |  | TRUE
60 | bus_LV_3618-23_0_2_node_177 | 0.4 | n |  | TRUE
61 | bus_LV_3618-23_0_2_node_178 | 0.4 | n |  | TRUE
62 | bus_LV_3618-23_0_2_node_181 | 0.4 | n |  | TRUE
63 | bus_LV_3618-23_0_2_node_182 | 0.4 | n |  | TRUE
64 | bus_LV_3618-23_0_2_node_184 | 0.4 | n |  | TRUE
65 | bus_LV_3618-23_0_2_node_186 | 0.4 | n |  | TRUE
66 | bus_MV_161_1_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3618-23_0_2_load_0 | 0 | 0.001231 | 0.00030851 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3618-23_0_2_load_1 | 1 | 0.0025357 | 0.00063552 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3618-23_0_2_load_35 | 2 | 0.0002029 | 5.0852e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3618-23_0_2_load_2 | 3 | 0.00061454 | 0.00015402 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3618-23_0_2_load_179 | 5 | 0.001034 | 0.00025915 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3618-23_0_2_load_4 | 6 | 0.00046079 | 0.00011548 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3618-23_0_2_load_6 | 8 | 0.001556 | 0.00038996 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3618-23_0_2_load_142 | 10 | 0.0018488 | 0.00046335 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3618-23_0_2_load_138 | 11 | 0.002849 | 0.00071402 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3618-23_0_2_load_129 | 12 | 0.001291 | 0.00032356 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3618-23_0_2_load_130 | 13 | 0.00040991 | 0.00010273 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3618-23_0_2_load_131 | 14 | 0.0010255 | 0.00025702 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3618-23_0_2_load_132 | 15 | 0.0010272 | 0.00025744 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3618-23_0_2_load_133 | 16 | 0.0011365 | 0.00028483 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3618-23_0_2_load_134 | 17 | 0.00085073 | 0.00021321 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3618-23_0_2_load_135 | 18 | 0.00092804 | 0.00023259 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3618-23_0_2_load_136 | 19 | 0.0010378 | 0.00026011 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3618-23_0_2_load_137 | 21 | 0.00096407 | 0.00024162 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3618-23_0_2_load_140 | 23 | 0.0038576 | 0.0009668 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3618-23_0_2_load_141 | 24 | 0.00047255 | 0.00011843 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3618-23_0_2_load_143 | 25 | 0.00044404 | 0.00011129 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3618-23_0_2_load_144 | 26 | 0.00084655 | 0.00021217 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3618-23_0_2_load_147 | 28 | 0.00088606 | 0.00022207 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3618-23_0_2_load_146 | 29 | 0.0013757 | 0.00034479 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3618-23_0_2_load_148 | 32 | 0.0006313 | 0.00015822 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3618-23_0_2_load_150 | 33 | 0.001851 | 0.00046389 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3618-23_0_2_load_162 | 35 | 0.0028758 | 0.00072074 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3618-23_0_2_load_154 | 36 | 0.0019981 | 0.00050076 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3618-23_0_2_load_166 | 38 | 0.0022285 | 0.0005585 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3618-23_0_2_load_163 | 40 | 0.0027274 | 0.00068356 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3618-23_0_2_load_160 | 41 | 0.0019898 | 0.00049869 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3618-23_0_2_load_156 | 43 | 0.00059997 | 0.00015037 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3618-23_0_2_load_159 | 44 | 0.00071883 | 0.00018016 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3618-23_0_2_load_161 | 45 | 0.01148 | 0.0028771 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3618-23_0_2_load_180 | 46 | 0.0020227 | 0.00050692 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3618-23_0_2_load_169 | 47 | 0.0016086 | 0.00040315 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3618-23_0_2_load_174 | 48 | 0.0023414 | 0.00058681 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3618-23_0_2_load_165 | 49 | 0.0016595 | 0.00041591 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3618-23_0_2_load_167 | 50 | 0.0013634 | 0.0003417 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3618-23_0_2_load_168 | 51 | 0.001653 | 0.00041429 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3618-23_0_2_load_185 | 52 | 0.0019028 | 0.0004769 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3618-23_0_2_load_170 | 53 | 0.0014352 | 0.00035968 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3618-23_0_2_load_171 | 54 | 0.0017292 | 0.00043338 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3618-23_0_2_load_172 | 55 | 0.0012727 | 0.00031897 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3618-23_0_2_load_173 | 56 | 0.0010325 | 0.00025876 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3618-23_0_2_load_176 | 57 | 0.0012106 | 0.00030341 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3618-23_0_2_load_175 | 58 | 0.0021096 | 0.00052873 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3618-23_0_2_load_183 | 59 | 0.0023761 | 0.00059552 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3618-23_0_2_load_177 | 60 | 0.00089653 | 0.00022469 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3618-23_0_2_load_178 | 61 | 0.0017259 | 0.00043254 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3618-23_0_2_load_181 | 62 | 0.0011856 | 0.00029715 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3618-23_0_2_load_182 | 63 | 0.0023476 | 0.00058837 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3618-23_0_2_load_184 | 64 | 0.0020701 | 0.00051882 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3618-23_0_2_load_186 | 65 | 0.0019813 | 0.00049656 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3618-23_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.18654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3618-23_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.41944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3618-23_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3618-23_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.027225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3618-23_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.22072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3618-23_0_2_line_5 | NAYY 4x150 SE | 5 | 61 | 0.019777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3618-23_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.25728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3618-23_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.075745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3618-23_0_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.012051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3618-23_0_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.018174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3618-23_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0084101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3618-23_0_2_line_11 | NAYY 4x150 SE | 11 | 21 | 0.033638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3618-23_0_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.019817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3618-23_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 6.6578e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3618-23_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0052944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3618-23_0_2_line_15 | NAYY 4x150 SE | 15 | 16 | 0.0088794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3618-23_0_2_line_16 | NAYY 4x150 SE | 16 | 17 | 0.025395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3618-23_0_2_line_17 | NAYY 4x150 SE | 17 | 18 | 0.023953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3618-23_0_2_line_18 | NAYY 4x150 SE | 18 | 19 | 0.014059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3618-23_0_2_line_19 | NAYY 4x150 SE | 19 | 20 | 0.01741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3618-23_0_2_line_20 | NAYY 4x150 SE | 20 | 36 | 0.010325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3618-23_0_2_line_21 | NAYY 4x150 SE | 20 | 37 | 0.026021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3618-23_0_2_line_22 | NAYY 4x150 SE | 20 | 34 | 0.017465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3618-23_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.0057712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3618-23_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.052362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3618-23_0_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.033993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3618-23_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.017671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3618-23_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.015698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3618-23_0_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.0037257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3618-23_0_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.011414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3618-23_0_2_line_30 | NAYY 4x150 SE | 28 | 31 | 0.009261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3618-23_0_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.010102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3618-23_0_2_line_32 | NAYY 4x150 SE | 30 | 38 | 0.014206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3618-23_0_2_line_33 | NAYY 4x150 SE | 30 | 39 | 0.021248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3618-23_0_2_line_34 | NAYY 4x150 SE | 31 | 33 | 0.010034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3618-23_0_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.032198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3618-23_0_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.021952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3618-23_0_2_line_37 | NAYY 4x150 SE | 34 | 35 | 0.0053513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3618-23_0_2_line_38 | NAYY 4x150 SE | 35 | 39 | 0.0063945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3618-23_0_2_line_39 | NAYY 4x150 SE | 36 | 40 | 0.017448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3618-23_0_2_line_40 | NAYY 4x150 SE | 37 | 41 | 0.042177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3618-23_0_2_line_41 | NAYY 4x150 SE | 37 | 42 | 0.020111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3618-23_0_2_line_42 | NAYY 4x150 SE | 38 | 51 | 0.020617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3618-23_0_2_line_43 | NAYY 4x150 SE | 39 | 49 | 0.017239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3618-23_0_2_line_44 | NAYY 4x150 SE | 40 | 48 | 0.015766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3618-23_0_2_line_45 | NAYY 4x150 SE | 41 | 46 | 0.019994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3618-23_0_2_line_46 | NAYY 4x150 SE | 42 | 44 | 0.027093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3618-23_0_2_line_47 | NAYY 4x150 SE | 42 | 43 | 0.0077116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3618-23_0_2_line_48 | NAYY 4x150 SE | 44 | 45 | 0.010419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3618-23_0_2_line_49 | NAYY 4x150 SE | 45 | 47 | 0.013738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3618-23_0_2_line_50 | NAYY 4x150 SE | 46 | 62 | 0.01869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3618-23_0_2_line_51 | NAYY 4x150 SE | 47 | 53 | 0.0054407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3618-23_0_2_line_52 | NAYY 4x150 SE | 48 | 58 | 0.019904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3618-23_0_2_line_53 | NAYY 4x150 SE | 49 | 50 | 0.012724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3618-23_0_2_line_54 | NAYY 4x150 SE | 50 | 52 | 0.013706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3618-23_0_2_line_55 | NAYY 4x150 SE | 52 | 65 | 0.019382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3618-23_0_2_line_56 | NAYY 4x150 SE | 53 | 54 | 0.015154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3618-23_0_2_line_57 | NAYY 4x150 SE | 54 | 55 | 0.00092703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3618-23_0_2_line_58 | NAYY 4x150 SE | 55 | 56 | 0.011519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3618-23_0_2_line_59 | NAYY 4x150 SE | 56 | 57 | 0.003044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3618-23_0_2_line_60 | NAYY 4x150 SE | 57 | 60 | 0.0071606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3618-23_0_2_line_61 | NAYY 4x150 SE | 58 | 59 | 0.018902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3618-23_0_2_line_62 | NAYY 4x150 SE | 59 | 64 | 0.00096136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3618-23_0_2_line_63 | NAYY 4x150 SE | 60 | 61 | 0.012084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3618-23_0_2_line_64 | NAYY 4x150 SE | 62 | 63 | 0.00076182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3618-23_0_2_trafo_154 | 0.25 MVA 20/0.4 kV | 66 | 36 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2733253.9474 | 1172481.8764 | 2733145.6313 | 1172330.007
1 | 2733145.6313 | 1172330.007 | 2732726.2156 | 1172334.1225
2 | 2733253.9474 | 1172481.8764 | 2733264.6519 | 1172495.5038
3 | 2733287.705 | 1172509.2041 | 2733277.92 | 1172505.7065 | 2733266.2791 | 1172497.5753 | 2733264.6519 | 1172495.5038
4 | 2733480.4421 | 1172616.7624 | 2733287.705 | 1172509.2041
5 | 2733483.8474 | 1172636.2444 | 2733480.4421 | 1172616.7624
6 | 2733683.5738 | 1172874.9455 | 2733797.1466 | 1173105.7993
7 | 2733683.5738 | 1172874.9455 | 2733684.2544 | 1172867.4106 | 2733677.9486 | 1172850.6465 | 2733667.0737 | 1172827.765 | 2733657.8878 | 1172804.584
8 | 2733653.4481 | 1172793.3804 | 2733657.8878 | 1172804.584
9 | 2733653.4481 | 1172793.3804 | 2733670.3487 | 1172786.6986
10 | 2733653.4481 | 1172793.3804 | 2733649.3928 | 1172786.0126
11 | 2733626.8708 | 1172761.2242 | 2733631.0968 | 1172764.9838 | 2733644.2622 | 1172778.4759 | 2733648.3301 | 1172784.0817 | 2733649.3928 | 1172786.0126
12 | 2733579.5053 | 1172796.3386 | 2733577.1087 | 1172790.8351 | 2733571.5958 | 1172778.1686
13 | 2733579.5319 | 1172796.3996 | 2733579.5053 | 1172796.3386
14 | 2733571.5958 | 1172778.1686 | 2733569.483 | 1172773.314
15 | 2733565.9395 | 1172765.1723 | 2733569.483 | 1172773.314
16 | 2733565.9395 | 1172765.1723 | 2733555.8049 | 1172741.8869
17 | 2733555.8049 | 1172741.8869 | 2733553.6419 | 1172736.9172 | 2733546.9568 | 1172719.6316
18 | 2733546.9568 | 1172719.6316 | 2733541.8854 | 1172706.5187
19 | 2733535.6056 | 1172690.2811 | 2733541.8854 | 1172706.5187
20 | 2733535.6056 | 1172690.2811 | 2733534.9417 | 1172688.1425 | 2733534.5466 | 1172685.9543 | 2733533.0592 | 1172680.2838
21 | 2733535.6056 | 1172690.2811 | 2733531.9286 | 1172695.292 | 2733524.8988 | 1172704.8428 | 2733521.1842 | 1172711.8877
22 | 2733548.9859 | 1172679.0148 | 2733535.6056 | 1172690.2811
23 | 2733622.559 | 1172757.3881 | 2733626.8708 | 1172761.2242
24 | 2733622.559 | 1172757.3881 | 2733645.3003 | 1172737.3682 | 2733655.941 | 1172731.9677 | 2733662.2947 | 1172732.5096 | 2733664.6212 | 1172735.5748
25 | 2733622.559 | 1172757.3881 | 2733617.6872 | 1172752.4872 | 2733602.8521 | 1172729.8288
26 | 2733602.8521 | 1172729.8288 | 2733598.715 | 1172723.51 | 2733593.3371 | 1172714.9392
27 | 2733593.3371 | 1172714.9392 | 2733584.9937 | 1172701.6422
28 | 2733583.0135 | 1172698.4863 | 2733584.9937 | 1172701.6422
29 | 2733583.0135 | 1172698.4863 | 2733572.5504 | 1172703.0477
30 | 2733564.0611 | 1172706.7486 | 2733572.5504 | 1172703.0477
31 | 2733568.0708 | 1172655.5218 | 2733569.9688 | 1172665.4443
32 | 2733568.0708 | 1172655.5218 | 2733566.4905 | 1172647.803 | 2733565.5551 | 1172641.5457
33 | 2733550.9118 | 1172668.1161 | 2733568.0708 | 1172655.5218
34 | 2733564.0611 | 1172706.7486 | 2733560.3336 | 1172697.4328
35 | 2733564.0611 | 1172706.7486 | 2733575.0817 | 1172737.0022
36 | 2733548.9859 | 1172679.0148 | 2733556.2768 | 1172687.2942 | 2733560.3336 | 1172697.4328
37 | 2733548.9859 | 1172679.0148 | 2733551.7807 | 1172674.4513
38 | 2733550.9118 | 1172668.1161 | 2733551.7807 | 1172674.4513
39 | 2733533.0592 | 1172680.2838 | 2733530.3573 | 1172669.9826 | 2733529.2623 | 1172663.2729
40 | 2733521.1842 | 1172711.8877 | 2733520.1823 | 1172710.4977 | 2733517.2885 | 1172704.3843 | 2733511.134 | 1172671.251
41 | 2733515.3484 | 1172731.05 | 2733518.4143 | 1172718.0862 | 2733521.1842 | 1172711.8877
42 | 2733565.5551 | 1172641.5457 | 2733562.5069 | 1172621.1552
43 | 2733550.9118 | 1172668.1161 | 2733547.4932 | 1172651.2191
44 | 2733529.2623 | 1172663.2729 | 2733526.7231 | 1172647.7128
45 | 2733507.4827 | 1172651.5935 | 2733511.134 | 1172671.251
46 | 2733515.3484 | 1172731.05 | 2733510.1189 | 1172730.1886 | 2733504.0051 | 1172727.8064 | 2733499.4882 | 1172722.7689 | 2733498.1674 | 1172718.1694 | 2733497.5338 | 1172714.5446
47 | 2733515.3484 | 1172731.05 | 2733516.2772 | 1172738.7055
48 | 2733497.5338 | 1172714.5446 | 2733495.7399 | 1172704.2812
49 | 2733495.7399 | 1172704.2812 | 2733493.3743 | 1172690.748
50 | 2733507.4827 | 1172651.5935 | 2733504.0695 | 1172633.2179
51 | 2733493.3743 | 1172690.748 | 2733492.4375 | 1172685.3885
52 | 2733526.7231 | 1172647.7128 | 2733523.5175 | 1172628.0688
53 | 2733547.4932 | 1172651.2191 | 2733544.9701 | 1172638.7481
54 | 2733544.9701 | 1172638.7481 | 2733542.3922 | 1172626.0063 | 2733542.2675 | 1172625.3116
55 | 2733542.2675 | 1172625.3116 | 2733538.8441 | 1172606.2343
56 | 2733492.4375 | 1172685.3885 | 2733489.8282 | 1172670.4606
57 | 2733489.6686 | 1172669.5474 | 2733489.8282 | 1172670.4606
58 | 2733489.6686 | 1172669.5474 | 2733487.6852 | 1172658.2004
59 | 2733487.6852 | 1172658.2004 | 2733487.1611 | 1172655.2019
60 | 2733485.9281 | 1172648.1482 | 2733487.1611 | 1172655.2019
61 | 2733523.5175 | 1172628.0688 | 2733520.4732 | 1172609.4138
62 | 2733520.3184 | 1172608.465 | 2733520.4732 | 1172609.4138
63 | 2733485.9281 | 1172648.1482 | 2733483.8474 | 1172636.2444
64 | 2733503.9303 | 1172632.4689 | 2733504.0695 | 1172633.2179

## bus_geodata
| x | y | coords
0 | 2733145.6313 | 1172330.007
1 | 2733253.9474 | 1172481.8764
2 | 2732726.2156 | 1172334.1225
3 | 2733264.6519 | 1172495.5038
4 | 2733287.705 | 1172509.2041
5 | 2733480.4421 | 1172616.7624
6 | 2733797.1466 | 1173105.7993
7 | 2733683.5738 | 1172874.9455
8 | 2733657.8878 | 1172804.584
9 | 2733653.4481 | 1172793.3804
10 | 2733670.3487 | 1172786.6986
11 | 2733649.3928 | 1172786.0126
12 | 2733579.5053 | 1172796.3386
13 | 2733571.5958 | 1172778.1686
14 | 2733579.5319 | 1172796.3996
15 | 2733569.483 | 1172773.314
16 | 2733565.9395 | 1172765.1723
17 | 2733555.8049 | 1172741.8869
18 | 2733546.9568 | 1172719.6316
19 | 2733541.8854 | 1172706.5187
20 | 2733535.6056 | 1172690.2811
21 | 2733626.8708 | 1172761.2242
22 | 2733622.559 | 1172757.3881
23 | 2733664.6212 | 1172735.5748
24 | 2733602.8521 | 1172729.8288
25 | 2733593.3371 | 1172714.9392
26 | 2733584.9937 | 1172701.6422
27 | 2733583.0135 | 1172698.4863
28 | 2733572.5504 | 1172703.0477
29 | 2733569.9688 | 1172665.4443
30 | 2733568.0708 | 1172655.5218
31 | 2733564.0611 | 1172706.7486
32 | 2733575.0817 | 1172737.0022
33 | 2733560.3336 | 1172697.4328
34 | 2733548.9859 | 1172679.0148
35 | 2733551.7807 | 1172674.4513
36 | 2733533.0592 | 1172680.2838
37 | 2733521.1842 | 1172711.8877
38 | 2733565.5551 | 1172641.5457
39 | 2733550.9118 | 1172668.1161
40 | 2733529.2623 | 1172663.2729
41 | 2733511.134 | 1172671.251
42 | 2733515.3484 | 1172731.05
43 | 2733516.2772 | 1172738.7055
44 | 2733497.5338 | 1172714.5446
45 | 2733495.7399 | 1172704.2812
46 | 2733507.4827 | 1172651.5935
47 | 2733493.3743 | 1172690.748
48 | 2733526.7231 | 1172647.7128
49 | 2733547.4932 | 1172651.2191
50 | 2733544.9701 | 1172638.7481
51 | 2733562.5069 | 1172621.1552
52 | 2733542.2675 | 1172625.3116
53 | 2733492.4375 | 1172685.3885
54 | 2733489.8282 | 1172670.4606
55 | 2733489.6686 | 1172669.5474
56 | 2733487.6852 | 1172658.2004
57 | 2733487.1611 | 1172655.2019
58 | 2733523.5175 | 1172628.0688
59 | 2733520.4732 | 1172609.4138
60 | 2733485.9281 | 1172648.1482
61 | 2733483.8474 | 1172636.2444
62 | 2733504.0695 | 1172633.2179
63 | 2733503.9303 | 1172632.4689
64 | 2733520.3184 | 1172608.465
65 | 2733538.8441 | 1172606.2343
66 | 2733535.6056 | 1172690.2811

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1