## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3618-8_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3618-8_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3618-8_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3618-8_0_2_node_28 | 0.4 | n |  | TRUE
4 | bus_LV_3618-8_0_2_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_3618-8_0_2_node_86 | 0.4 | n |  | TRUE
6 | bus_LV_3618-8_0_2_node_84 | 0.4 | n |  | TRUE
7 | bus_LV_3618-8_0_2_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_3618-8_0_2_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_3618-8_0_2_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_3618-8_0_2_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_3618-8_0_2_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_3618-8_0_2_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_3618-8_0_2_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_3618-8_0_2_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_3618-8_0_2_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_3618-8_0_2_node_107 | 0.4 | n |  | TRUE
17 | bus_LV_3618-8_0_2_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_3618-8_0_2_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_3618-8_0_2_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_3618-8_0_2_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_3618-8_0_2_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_3618-8_0_2_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_3618-8_0_2_node_96 | 0.4 | n |  | TRUE
24 | bus_LV_3618-8_0_2_node_106 | 0.4 | n |  | TRUE
25 | bus_LV_3618-8_0_2_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_3618-8_0_2_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_3618-8_0_2_node_83 | 0.4 | n |  | TRUE
28 | bus_LV_3618-8_0_2_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_3618-8_0_2_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_3618-8_0_2_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_3618-8_0_2_node_108 | 0.4 | n |  | TRUE
32 | bus_LV_3618-8_0_2_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_3618-8_0_2_node_103 | 0.4 | n |  | TRUE
34 | bus_LV_3618-8_0_2_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_3618-8_0_2_node_95 | 0.4 | n |  | TRUE
36 | bus_LV_3618-8_0_2_node_104 | 0.4 | n |  | TRUE
37 | bus_LV_3618-8_0_2_node_102 | 0.4 | n |  | TRUE
38 | bus_LV_3618-8_0_2_node_97 | 0.4 | n |  | TRUE
39 | bus_LV_3618-8_0_2_node_94 | 0.4 | n |  | TRUE
40 | bus_LV_3618-8_0_2_node_105 | 0.4 | n |  | TRUE
41 | bus_LV_3618-8_0_2_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_3618-8_0_2_node_77 | 0.4 | n |  | TRUE
43 | bus_LV_3618-8_0_2_node_78 | 0.4 | n |  | TRUE
44 | bus_LV_3618-8_0_2_node_79 | 0.4 | n |  | TRUE
45 | bus_LV_3618-8_0_2_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_3618-8_0_2_node_81 | 0.4 | n |  | TRUE
47 | bus_LV_3618-8_0_2_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_3618-8_0_2_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_3618-8_0_2_node_88 | 0.4 | n |  | TRUE
50 | bus_LV_3618-8_0_2_node_89 | 0.4 | n |  | TRUE
51 | bus_LV_3618-8_0_2_node_90 | 0.4 | n |  | TRUE
52 | bus_LV_3618-8_0_2_node_91 | 0.4 | n |  | TRUE
53 | bus_LV_3618-8_0_2_node_92 | 0.4 | n |  | TRUE
54 | bus_LV_3618-8_0_2_node_93 | 0.4 | n |  | TRUE
55 | bus_LV_3618-8_0_2_node_98 | 0.4 | n |  | TRUE
56 | bus_LV_3618-8_0_2_node_99 | 0.4 | n |  | TRUE
57 | bus_LV_3618-8_0_2_node_100 | 0.4 | n |  | TRUE
58 | bus_LV_3618-8_0_2_node_101 | 0.4 | n |  | TRUE
59 | bus_MV_161_1_node_234 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3618-8_0_2_load_0 | 0 | 0.0013208 | 0.00033101 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3618-8_0_2_load_1 | 1 | 0.0020791 | 0.00052107 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3618-8_0_2_load_86 | 5 | 0.0011418 | 0.00028616 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3618-8_0_2_load_84 | 6 | 0.001379 | 0.00034561 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3618-8_0_2_load_15 | 7 | 0.0016831 | 0.00042183 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3618-8_0_2_load_12 | 8 | 0.002352 | 0.00058948 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3618-8_0_2_load_27 | 10 | 0.0157 | 0.0039349 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3618-8_0_2_load_25 | 11 | 0.00094284 | 0.0002363 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3618-8_0_2_load_19 | 15 | 0.0072757 | 0.0018235 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3618-8_0_2_load_107 | 16 | 0.0045575 | 0.0011422 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3618-8_0_2_load_18 | 18 | 0.010161 | 0.0025466 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3618-8_0_2_load_22 | 20 | 0.0019028 | 0.00047688 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3618-8_0_2_load_20 | 21 | 0.0016202 | 0.00040607 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3618-8_0_2_load_21 | 22 | 0.0015277 | 0.00038287 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3618-8_0_2_load_96 | 23 | 0.0016517 | 0.00041395 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3618-8_0_2_load_33 | 25 | 0.0079221 | 0.0019855 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3618-8_0_2_load_35 | 26 | 0.0011682 | 0.00029278 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3618-8_0_2_load_83 | 27 | 0.0023621 | 0.00059199 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3618-8_0_2_load_29 | 28 | 0.0015292 | 0.00038325 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3618-8_0_2_load_31 | 30 | 0.00056317 | 0.00014114 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3618-8_0_2_load_108 | 31 | 0.00034145 | 8.5575e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3618-8_0_2_load_34 | 32 | 0.0032419 | 0.00081249 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3618-8_0_2_load_103 | 33 | 0.0005604 | 0.00014045 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3618-8_0_2_load_104 | 36 | 0.0031987 | 0.00080166 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3618-8_0_2_load_102 | 37 | 0.00057815 | 0.0001449 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3618-8_0_2_load_97 | 38 | 0.0013685 | 0.00034298 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3618-8_0_2_load_94 | 39 | 0.001373 | 0.00034411 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3618-8_0_2_load_105 | 40 | 0.0034256 | 0.00085853 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3618-8_0_2_load_76 | 41 | 0.00083431 | 0.0002091 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3618-8_0_2_load_77 | 42 | 0.00073522 | 0.00018426 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3618-8_0_2_load_78 | 43 | 0.0005437 | 0.00013626 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3618-8_0_2_load_79 | 44 | 0.0014161 | 0.00035491 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3618-8_0_2_load_80 | 45 | 0.0017617 | 0.00044153 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3618-8_0_2_load_81 | 46 | 0.0021959 | 0.00055034 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3618-8_0_2_load_87 | 48 | 0.0017044 | 0.00042716 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3618-8_0_2_load_88 | 49 | 0.00093223 | 0.00023364 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3618-8_0_2_load_89 | 50 | 0.0030671 | 0.00076869 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3618-8_0_2_load_90 | 51 | 0.00090471 | 0.00022674 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3618-8_0_2_load_91 | 52 | 0.0015139 | 0.00037942 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3618-8_0_2_load_92 | 53 | 0.0016561 | 0.00041506 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3618-8_0_2_load_93 | 54 | 0.0016419 | 0.00041151 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3618-8_0_2_load_98 | 55 | 0.0018496 | 0.00046355 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3618-8_0_2_load_99 | 56 | 0.0010275 | 0.00025751 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3618-8_0_2_load_100 | 57 | 0.00068945 | 0.00017279 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3618-8_0_2_load_101 | 58 | 0.00050705 | 0.00012708 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3618-8_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.054048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3618-8_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.15392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3618-8_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.039127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3618-8_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.024896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3618-8_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.022592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3618-8_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.072599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3618-8_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.12884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3618-8_0_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.10945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3618-8_0_2_line_8 | NAYY 4x150 SE | 5 | 27 | 0.082088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3618-8_0_2_line_9 | NAYY 4x150 SE | 7 | 11 | 0.019742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3618-8_0_2_line_10 | NAYY 4x150 SE | 8 | 12 | 0.069142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3618-8_0_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.086824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3618-8_0_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.15262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3618-8_0_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.058242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3618-8_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.046636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3618-8_0_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.054957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3618-8_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.075387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3618-8_0_2_line_17 | NAYY 4x150 SE | 14 | 17 | 0.063632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3618-8_0_2_line_18 | NAYY 4x150 SE | 15 | 18 | 0.010244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3618-8_0_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.15292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3618-8_0_2_line_20 | NAYY 4x150 SE | 17 | 20 | 0.011959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3618-8_0_2_line_21 | NAYY 4x150 SE | 18 | 21 | 0.052045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3618-8_0_2_line_22 | NAYY 4x150 SE | 19 | 25 | 0.044934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3618-8_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.12254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3618-8_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.0017281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3618-8_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.022584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3618-8_0_2_line_26 | NAYY 4x150 SE | 24 | 40 | 0.027167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3618-8_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.01835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3618-8_0_2_line_28 | NAYY 4x150 SE | 26 | 32 | 0.10534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3618-8_0_2_line_29 | NAYY 4x150 SE | 27 | 47 | 0.067717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3618-8_0_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.064723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3618-8_0_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.017616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3618-8_0_2_line_32 | NAYY 4x150 SE | 30 | 33 | 0.0019925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3618-8_0_2_line_33 | NAYY 4x150 SE | 31 | 32 | 0.38697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3618-8_0_2_line_34 | NAYY 4x150 SE | 33 | 37 | 0.0112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3618-8_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.021115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3618-8_0_2_line_36 | NAYY 4x150 SE | 34 | 36 | 0.028746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3618-8_0_2_line_37 | NAYY 4x150 SE | 35 | 38 | 0.019892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3618-8_0_2_line_38 | NAYY 4x150 SE | 35 | 39 | 0.0064129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3618-8_0_2_line_39 | NAYY 4x150 SE | 36 | 40 | 0.017273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3618-8_0_2_line_40 | NAYY 4x150 SE | 37 | 58 | 0.024757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3618-8_0_2_line_41 | NAYY 4x150 SE | 38 | 55 | 0.01503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3618-8_0_2_line_42 | NAYY 4x150 SE | 39 | 54 | 0.016297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3618-8_0_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.007513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3618-8_0_2_line_44 | NAYY 4x150 SE | 41 | 43 | 0.010146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3618-8_0_2_line_45 | NAYY 4x150 SE | 42 | 44 | 0.035535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3618-8_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.019692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3618-8_0_2_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0067703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3618-8_0_2_line_48 | NAYY 4x150 SE | 46 | 47 | 0.015446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3618-8_0_2_line_49 | NAYY 4x150 SE | 48 | 49 | 0.0096455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3618-8_0_2_line_50 | NAYY 4x150 SE | 48 | 50 | 0.016408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3618-8_0_2_line_51 | NAYY 4x150 SE | 49 | 51 | 0.015201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3618-8_0_2_line_52 | NAYY 4x150 SE | 51 | 52 | 0.0013002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3618-8_0_2_line_53 | NAYY 4x150 SE | 52 | 53 | 0.013027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3618-8_0_2_line_54 | NAYY 4x150 SE | 53 | 54 | 0.0085446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3618-8_0_2_line_55 | NAYY 4x150 SE | 55 | 56 | 0.01358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3618-8_0_2_line_56 | NAYY 4x150 SE | 56 | 57 | 0.0055624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3618-8_0_2_line_57 | NAYY 4x150 SE | 57 | 58 | 0.016536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3618-8_0_2_trafo_16 | 0.25 MVA 20/0.4 kV | 59 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2733538.5769 | 1176428.3027 | 2733525.3417 | 1176420.8485 | 2733487.9872 | 1176410.1437
1 | 2733339.3869 | 1176387.8774 | 2733359.2888 | 1176399.3061 | 2733434.6824 | 1176394.8678 | 2733487.9872 | 1176410.1437
2 | 2733346.3019 | 1176424.2028 | 2733338.3148 | 1176411.6715 | 2733336.5202 | 1176399.5336 | 2733339.3869 | 1176387.8774
3 | 2733345.3229 | 1176363.7023 | 2733339.3869 | 1176387.8774
4 | 2733346.3019 | 1176424.2028 | 2733363.3066 | 1176439.0761
5 | 2733346.3019 | 1176424.2028 | 2733328.4982 | 1176441.8649 | 2733324.8475 | 1176459.8973 | 2733324.8878 | 1176471.1511 | 2733337.1308 | 1176484.1662
6 | 2733345.3229 | 1176363.7023 | 2733331.5281 | 1176358.5697 | 2733306.8909 | 1176350.6608 | 2733268.5755 | 1176339.5902 | 2733259.4416 | 1176335.2953 | 2733252.0099 | 1176328.3806 | 2733245.2622 | 1176318.212 | 2733237.8577 | 1176310.0748 | 2733233.656 | 1176307.5292
7 | 2733345.3229 | 1176363.7023 | 2733357.2955 | 1176324.5946 | 2733359.3348 | 1176309.5731 | 2733357.6937 | 1176295.0034 | 2733349.1916 | 1176257.2204
8 | 2733363.3066 | 1176439.0761 | 2733425.0947 | 1176493.1195
9 | 2733215.4757 | 1176300.0879 | 2733228.7508 | 1176304.5573 | 2733233.656 | 1176307.5292
10 | 2733334.0125 | 1176189.7649 | 2733349.1916 | 1176257.2204
11 | 2733066.765 | 1176287.3611 | 2733082.3631 | 1176201.9652
12 | 2733066.765 | 1176287.3611 | 2733070.5691 | 1176290.9815 | 2733076.0041 | 1176292.7812 | 2733082.9608 | 1176293.5471 | 2733093.6633 | 1176291.95 | 2733107.6628 | 1176289.6032 | 2733123.9216 | 1176287.0954 | 2733141.3835 | 1176285.8485 | 2733153.0647 | 1176286.3192 | 2733171.8653 | 1176289.183 | 2733211.8483 | 1176298.8667 | 2733215.4757 | 1176300.0879
13 | 2733334.0125 | 1176189.7649 | 2733384.1369 | 1176219.668
14 | 2733334.0125 | 1176189.7649 | 2733332.085 | 1176181.1934 | 2733321.1049 | 1176163.9698 | 2733308.9578 | 1176151.4239
15 | 2733384.1369 | 1176219.668 | 2733429.3115 | 1176250.9648
16 | 2733360.3686 | 1176097.3812 | 2733326.796 | 1176140.1562 | 2733308.9578 | 1176151.4239
17 | 2733308.9578 | 1176151.4239 | 2733293.3422 | 1176135.2982 | 2733261.6217 | 1176108.8738
18 | 2733437.7322 | 1176256.7986 | 2733437.7322 | 1176256.7986 | 2733429.3115 | 1176250.9648
19 | 2733368.1276 | 1175999.1689 | 2733356.0107 | 1176008.2953 | 2733261.6217 | 1176108.8738
20 | 2733261.6217 | 1176108.8738 | 2733252.6573 | 1176116.7899
21 | 2733469.9493 | 1176248.0924 | 2733469.2536 | 1176245.0353 | 2733466.9052 | 1176236.143 | 2733464.4332 | 1176234.8649 | 2733461.7496 | 1176236.9067 | 2733459.8041 | 1176240.1436 | 2733454.0654 | 1176251.3022 | 2733437.7322 | 1176256.7986
22 | 2733368.1276 | 1175999.1689 | 2733362.5747 | 1175986.5026 | 2733357.9742 | 1175974.3357 | 2733354.1496 | 1175965.0993 | 2733350.0755 | 1175958.0991
23 | 2733469.9493 | 1176248.0924 | 2733470.4795 | 1176250.4221 | 2733475.1061 | 1176267.2377 | 2733472.7077 | 1176272.9553 | 2733469.6443 | 1176277.6351 | 2733470.584 | 1176285.2284 | 2733475.2596 | 1176289.5356 | 2733483.884 | 1176288.8937 | 2733503.2383 | 1176285.088 | 2733521.269 | 1176282.3427 | 2733546.3572 | 1176283.046 | 2733551.2919 | 1176284.6731
24 | 2733551.2919 | 1176284.6731 | 2733552.9331 | 1176285.2142
25 | 2733574.6073 | 1176291.4701 | 2733566.0327 | 1176289.5333 | 2733552.9331 | 1176285.2142
26 | 2733574.6073 | 1176291.4701 | 2733559.162 | 1176269.1206
27 | 2733338.0488 | 1175944.6373 | 2733345.9738 | 1175951.0515 | 2733350.0755 | 1175958.0991
28 | 2733338.0488 | 1175944.6373 | 2733332.3902 | 1175839.4492
29 | 2733442.274 | 1176551.9324 | 2733446.9146 | 1176531.6981 | 2733446.6944 | 1176518.5723 | 2733438.9848 | 1176505.2686 | 2733425.0947 | 1176493.1195
30 | 2733555.3835 | 1176130.1321 | 2733548.3326 | 1176103.3773 | 2733537.5245 | 1176077.4172 | 2733533.1649 | 1176069.6179
31 | 2733555.3835 | 1176130.1321 | 2733544.0167 | 1176134.0709 | 2733541.3068 | 1176137.6355 | 2733541.4697 | 1176138.7319
32 | 2733541.4697 | 1176138.7319 | 2733541.7626 | 1176140.7027
33 | 2733332.3902 | 1175839.4492 | 2733674.5247 | 1175658.653
34 | 2733546.6595 | 1176150.7227 | 2733545.7873 | 1176148.9882 | 2733541.8987 | 1176141.6183 | 2733541.7626 | 1176140.7027
35 | 2733510.4264 | 1176232.8754 | 2733520.2953 | 1176251.5535
36 | 2733520.2953 | 1176251.5535 | 2733525.96 | 1176262.2654 | 2733542.2454 | 1176265.6278
37 | 2733510.4264 | 1176232.8754 | 2733515.3374 | 1176232.4511 | 2733522.4076 | 1176223.3126 | 2733523.2504 | 1176220.0104
38 | 2733510.4264 | 1176232.8754 | 2733504.0369 | 1176233.4226 | 2733504.0369 | 1176233.4226
39 | 2733542.2454 | 1176265.6278 | 2733559.162 | 1176269.1206
40 | 2733543.5206 | 1176173.7001 | 2733545.1755 | 1176170.2795 | 2733548.5319 | 1176162.4038 | 2733549.4119 | 1176156.1965 | 2733546.6595 | 1176150.7227
41 | 2733523.2504 | 1176220.0104 | 2733525.633 | 1176210.6749 | 2733527.9828 | 1176205.8179
42 | 2733495.2632 | 1176220.5679 | 2733496.5792 | 1176226.6516 | 2733504.0369 | 1176233.4226
43 | 2733371.3906 | 1176505.4956 | 2733377.9217 | 1176509.2091
44 | 2733362.4869 | 1176500.631 | 2733370.3592 | 1176504.9092 | 2733371.3906 | 1176505.4956
45 | 2733377.9217 | 1176509.2091 | 2733394.2123 | 1176518.4719 | 2733408.8069 | 1176526.7831
46 | 2733408.8069 | 1176526.7831 | 2733413.0285 | 1176529.1871 | 2733424.6636 | 1176538.3894
47 | 2733424.6636 | 1176538.3894 | 2733429.6646 | 1176542.3447 | 2733429.9783 | 1176542.5833
48 | 2733442.274 | 1176551.9324 | 2733429.9783 | 1176542.5833
49 | 2733485.174 | 1176173.9279 | 2733487.2133 | 1176183.3553
50 | 2733490.3804 | 1176163.6775 | 2733483.2397 | 1176164.9863 | 2733485.174 | 1176173.9279
51 | 2733490.4274 | 1176198.2131 | 2733487.2133 | 1176183.3553
52 | 2733490.7023 | 1176199.4839 | 2733490.4274 | 1176198.2131
53 | 2733490.7023 | 1176199.4839 | 2733493.4566 | 1176212.2164
54 | 2733495.2632 | 1176220.5679 | 2733493.4566 | 1176212.2164
55 | 2733527.9828 | 1176205.8179 | 2733533.8969 | 1176193.5929
56 | 2733533.8969 | 1176193.5929 | 2733536.3193 | 1176188.5857
57 | 2733536.3193 | 1176188.5857 | 2733543.5206 | 1176173.7001

## bus_geodata
| x | y | coords
0 | 2733538.5769 | 1176428.3027
1 | 2733487.9872 | 1176410.1437
2 | 2733339.3869 | 1176387.8774
3 | 2733346.3019 | 1176424.2028
4 | 2733345.3229 | 1176363.7023
5 | 2733363.3066 | 1176439.0761
6 | 2733337.1308 | 1176484.1662
7 | 2733233.656 | 1176307.5292
8 | 2733349.1916 | 1176257.2204
9 | 2733066.765 | 1176287.3611
10 | 2733082.3631 | 1176201.9652
11 | 2733215.4757 | 1176300.0879
12 | 2733334.0125 | 1176189.7649
13 | 2733384.1369 | 1176219.668
14 | 2733308.9578 | 1176151.4239
15 | 2733429.3115 | 1176250.9648
16 | 2733360.3686 | 1176097.3812
17 | 2733261.6217 | 1176108.8738
18 | 2733437.7322 | 1176256.7986
19 | 2733368.1276 | 1175999.1689
20 | 2733252.6573 | 1176116.7899
21 | 2733469.9493 | 1176248.0924
22 | 2733551.2919 | 1176284.6731
23 | 2733552.9331 | 1176285.2142
24 | 2733574.6073 | 1176291.4701
25 | 2733350.0755 | 1175958.0991
26 | 2733338.0488 | 1175944.6373
27 | 2733425.0947 | 1176493.1195
28 | 2733533.1649 | 1176069.6179
29 | 2733555.3835 | 1176130.1321
30 | 2733541.4697 | 1176138.7319
31 | 2733674.5247 | 1175658.653
32 | 2733332.3902 | 1175839.4492
33 | 2733541.7626 | 1176140.7027
34 | 2733520.2953 | 1176251.5535
35 | 2733510.4264 | 1176232.8754
36 | 2733542.2454 | 1176265.6278
37 | 2733546.6595 | 1176150.7227
38 | 2733523.2504 | 1176220.0104
39 | 2733504.0369 | 1176233.4226
40 | 2733559.162 | 1176269.1206
41 | 2733371.3906 | 1176505.4956
42 | 2733377.9217 | 1176509.2091
43 | 2733362.4869 | 1176500.631
44 | 2733408.8069 | 1176526.7831
45 | 2733424.6636 | 1176538.3894
46 | 2733429.9783 | 1176542.5833
47 | 2733442.274 | 1176551.9324
48 | 2733485.174 | 1176173.928
49 | 2733487.2133 | 1176183.3553
50 | 2733490.3804 | 1176163.6775
51 | 2733490.4274 | 1176198.2131
52 | 2733490.7023 | 1176199.4839
53 | 2733493.4566 | 1176212.2164
54 | 2733495.2632 | 1176220.5679
55 | 2733527.9828 | 1176205.8179
56 | 2733533.8969 | 1176193.5929
57 | 2733536.3193 | 1176188.5857
58 | 2733543.5206 | 1176173.7001
59 | 2733393.3828 | 1176245.0592

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1