## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3619-19_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3619-19_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3619-19_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3619-19_0_6_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_3619-19_0_6_node_44 | 0.4 | n |  | TRUE
5 | bus_LV_3619-19_0_6_node_63 | 0.4 | n |  | TRUE
6 | bus_LV_3619-19_0_6_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_3619-19_0_6_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_3619-19_0_6_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_3619-19_0_6_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_3619-19_0_6_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_3619-19_0_6_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_3619-19_0_6_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_3619-19_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_3619-19_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3619-19_0_6_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_3619-19_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3619-19_0_6_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_3619-19_0_6_node_64 | 0.4 | n |  | TRUE
19 | bus_LV_3619-19_0_6_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_3619-19_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_3619-19_0_6_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_3619-19_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_3619-19_0_6_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_3619-19_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3619-19_0_6_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3619-19_0_6_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_3619-19_0_6_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_3619-19_0_6_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_3619-19_0_6_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_3619-19_0_6_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_3619-19_0_6_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_3619-19_0_6_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_3619-19_0_6_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_3619-19_0_6_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_3619-19_0_6_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_3619-19_0_6_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3619-19_0_6_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_3619-19_0_6_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_3619-19_0_6_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_3619-19_0_6_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_3619-19_0_6_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_3619-19_0_6_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_3619-19_0_6_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_3619-19_0_6_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_3619-19_0_6_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_3619-19_0_6_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_3619-19_0_6_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_3619-19_0_6_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_3619-19_0_6_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_3619-19_0_6_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_3619-19_0_6_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_3619-19_0_6_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_3619-19_0_6_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_3619-19_0_6_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_3619-19_0_6_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_3619-19_0_6_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_3619-19_0_6_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_3619-19_0_6_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_3619-19_0_6_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_3619-19_0_6_node_58 | 0.4 | n |  | TRUE
61 | bus_MV_161_0_node_116 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3619-19_0_6_load_0 | 0 | 0.0098383 | 0.0024657 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3619-19_0_6_load_63 | 5 | 0.0041883 | 0.0010497 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3619-19_0_6_load_46 | 7 | 0.0023837 | 0.00059742 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3619-19_0_6_load_3 | 9 | 0.0023716 | 0.00059437 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3619-19_0_6_load_7 | 13 | 7.8013e-05 | 1.9552e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3619-19_0_6_load_8 | 14 | 0.00068866 | 0.0001726 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3619-19_0_6_load_15 | 17 | 0.0016956 | 0.00042495 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3619-19_0_6_load_64 | 18 | 0.00071655 | 0.00017958 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3619-19_0_6_load_65 | 19 | 0.0018239 | 0.00045711 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3619-19_0_6_load_12 | 20 | 0.0023406 | 0.0005866 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3619-19_0_6_load_9 | 21 | 0.00135 | 0.00033833 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3619-19_0_6_load_16 | 22 | 0.0071736 | 0.0017979 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3619-19_0_6_load_10 | 23 | 0.00058437 | 0.00014646 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3619-19_0_6_load_18 | 24 | 0.0014159 | 0.00035486 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3619-19_0_6_load_19 | 25 | 0.00076623 | 0.00019203 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3619-19_0_6_load_24 | 26 | 0.00028226 | 7.0742e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3619-19_0_6_load_20 | 27 | 0.001445 | 0.00036216 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3619-19_0_6_load_21 | 28 | 0.0077202 | 0.0019349 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3619-19_0_6_load_22 | 29 | 0.0017756 | 0.00044501 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3619-19_0_6_load_23 | 31 | 0.001927 | 0.00048296 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3619-19_0_6_load_60 | 32 | 0.0043446 | 0.0010888 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3619-19_0_6_load_54 | 34 | 0.00097761 | 0.00024501 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3619-19_0_6_load_53 | 35 | 0.010156 | 0.0025452 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3619-19_0_6_load_62 | 38 | 0.0090094 | 0.002258 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3619-19_0_6_load_28 | 39 | 0.0081112 | 0.0020329 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3619-19_0_6_load_29 | 40 | 0.0047653 | 0.0011943 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3619-19_0_6_load_31 | 42 | 0.0055427 | 0.0013891 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3619-19_0_6_load_32 | 43 | 0.0013944 | 0.00034946 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3619-19_0_6_load_35 | 45 | 0.0047256 | 0.0011843 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3619-19_0_6_load_45 | 46 | 0.0014576 | 0.00036531 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3619-19_0_6_load_39 | 47 | 0.0013055 | 0.00032718 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3619-19_0_6_load_37 | 48 | 0.001725 | 0.00043234 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3619-19_0_6_load_42 | 49 | 0.011608 | 0.0029092 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3619-19_0_6_load_41 | 51 | 0.0087171 | 0.0021847 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3619-19_0_6_load_47 | 52 | 0.0022234 | 0.00055724 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3619-19_0_6_load_48 | 53 | 0.0086958 | 0.0021794 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3619-19_0_6_load_49 | 54 | 0.0091596 | 0.0022956 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3619-19_0_6_load_50 | 55 | 0.011134 | 0.0027903 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3619-19_0_6_load_51 | 56 | 0.0088283 | 0.0022126 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3619-19_0_6_load_52 | 57 | 0.0093021 | 0.0023313 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3619-19_0_6_load_55 | 58 | 0.0044698 | 0.0011202 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3619-19_0_6_load_56 | 59 | 0.0038069 | 0.00095411 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3619-19_0_6_load_58 | 60 | 0.021468 | 0.0053805 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3619-19_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.2676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3619-19_0_6_line_1 | NAYY 4x150 SE | 1 | 2 | 0.071233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3619-19_0_6_line_2 | NAYY 4x150 SE | 2 | 3 | 0.093652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_3619-19_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.16431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_3619-19_0_6_line_4 | NAYY 4x150 SE | 2 | 5 | 0.078348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3619-19_0_6_line_5 | NAYY 4x150 SE | 3 | 6 | 0.085363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_3619-19_0_6_line_6 | NAYY 4x150 SE | 4 | 7 | 0.29744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_3619-19_0_6_line_7 | NAYY 4x150 SE | 4 | 8 | 0.016296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3619-19_0_6_line_8 | NAYY 4x150 SE | 6 | 18 | 0.038794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3619-19_0_6_line_9 | NAYY 4x150 SE | 7 | 52 | 0.016341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_3619-19_0_6_line_10 | NAYY 4x150 SE | 8 | 49 | 0.040083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3619-19_0_6_line_11 | NAYY 4x150 SE | 8 | 44 | 0.019661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3619-19_0_6_line_12 | NAYY 4x150 SE | 9 | 10 | 0.21744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3619-19_0_6_line_13 | NAYY 4x150 SE | 9 | 11 | 0.17379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_3619-19_0_6_line_14 | NAYY 4x150 SE | 10 | 12 | 0.11048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3619-19_0_6_line_15 | NAYY 4x150 SE | 11 | 13 | 0.066787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3619-19_0_6_line_16 | NAYY 4x150 SE | 11 | 14 | 0.24473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_3619-19_0_6_line_17 | NAYY 4x150 SE | 12 | 15 | 0.12583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3619-19_0_6_line_18 | NAYY 4x150 SE | 12 | 16 | 0.030767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3619-19_0_6_line_19 | NAYY 4x150 SE | 12 | 17 | 0.018167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3619-19_0_6_line_20 | NAYY 4x150 SE | 14 | 18 | 0.011453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_3619-19_0_6_line_21 | NAYY 4x150 SE | 15 | 19 | 0.21805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3619-19_0_6_line_22 | NAYY 4x150 SE | 16 | 20 | 0.0043169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3619-19_0_6_line_23 | NAYY 4x150 SE | 16 | 21 | 0.040571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3619-19_0_6_line_24 | NAYY 4x150 SE | 17 | 22 | 0.051977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3619-19_0_6_line_25 | NAYY 4x150 SE | 21 | 23 | 0.097843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3619-19_0_6_line_26 | NAYY 4x150 SE | 24 | 25 | 0.067808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3619-19_0_6_line_27 | NAYY 4x150 SE | 24 | 26 | 0.323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3619-19_0_6_line_28 | NAYY 4x150 SE | 25 | 27 | 0.050414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3619-19_0_6_line_29 | NAYY 4x150 SE | 25 | 28 | 0.16674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3619-19_0_6_line_30 | NAYY 4x150 SE | 27 | 29 | 0.021297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_3619-19_0_6_line_31 | NAYY 4x150 SE | 28 | 30 | 0.038111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3619-19_0_6_line_32 | NAYY 4x150 SE | 29 | 31 | 0.018728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_3619-19_0_6_line_33 | NAYY 4x150 SE | 30 | 32 | 0.041613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3619-19_0_6_line_34 | NAYY 4x150 SE | 30 | 33 | 0.009812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3619-19_0_6_line_35 | NAYY 4x150 SE | 31 | 34 | 0.00055613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_3619-19_0_6_line_36 | NAYY 4x150 SE | 32 | 36 | 0.010034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3619-19_0_6_line_37 | NAYY 4x150 SE | 33 | 58 | 0.016024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3619-19_0_6_line_38 | NAYY 4x150 SE | 34 | 35 | 0.089129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_3619-19_0_6_line_39 | NAYY 4x150 SE | 35 | 57 | 0.0013658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_3619-19_0_6_line_40 | NAYY 4x150 SE | 36 | 37 | 0.050356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3619-19_0_6_line_41 | NAYY 4x150 SE | 37 | 38 | 0.027714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3619-19_0_6_line_42 | NAYY 4x150 SE | 39 | 40 | 0.017097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3619-19_0_6_line_43 | NAYY 4x150 SE | 39 | 41 | 0.041355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3619-19_0_6_line_44 | NAYY 4x150 SE | 40 | 42 | 0.052088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3619-19_0_6_line_45 | NAYY 4x150 SE | 41 | 43 | 0.032451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3619-19_0_6_line_46 | NAYY 4x150 SE | 42 | 44 | 0.033536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3619-19_0_6_line_47 | NAYY 4x150 SE | 44 | 45 | 0.07356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3619-19_0_6_line_48 | NAYY 4x150 SE | 45 | 48 | 0.034815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3619-19_0_6_line_49 | NAYY 4x150 SE | 46 | 47 | 0.03276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3619-19_0_6_line_50 | NAYY 4x150 SE | 47 | 50 | 0.042741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3619-19_0_6_line_51 | NAYY 4x150 SE | 48 | 50 | 0.0083402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3619-19_0_6_line_52 | NAYY 4x150 SE | 49 | 51 | 0.026806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3619-19_0_6_line_53 | NAYY 4x150 SE | 52 | 53 | 0.022402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_3619-19_0_6_line_54 | NAYY 4x150 SE | 53 | 54 | 0.013686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_3619-19_0_6_line_55 | NAYY 4x150 SE | 54 | 55 | 0.017603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_3619-19_0_6_line_56 | NAYY 4x150 SE | 55 | 56 | 0.00010466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_3619-19_0_6_line_57 | NAYY 4x150 SE | 56 | 57 | 0.030678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_3619-19_0_6_line_58 | NAYY 4x150 SE | 58 | 59 | 0.020704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3619-19_0_6_line_59 | NAYY 4x150 SE | 59 | 60 | 0.013127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3619-19_0_6_trafo_46 | 0.25 MVA 20/0.4 kV | 61 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2734636.7449 | 1181460.9502 | 2734640.583 | 1181460.8252 | 2734642.842 | 1181457.1954 | 2734647.9962 | 1181436.9291 | 2734652.1478 | 1181401.1062 | 2734657.5685 | 1181368.9812 | 2734685.7107 | 1181295.0905 | 2734692.8169 | 1181277.0475 | 2734711.5125 | 1181250.5585 | 2734718.129 | 1181239.6878 | 2734726.0736 | 1181214.5936
1 | 2734588.269 | 1181510.5773 | 2734591.6129 | 1181508.9845 | 2734597.1854 | 1181505.7961 | 2734601.8768 | 1181502.3766 | 2734617.1437 | 1181490.0433 | 2734625.4766 | 1181481.991 | 2734630.0618 | 1181476.5009 | 2734632.3667 | 1181472.5274 | 2734634.376 | 1181468.4472 | 2734636.0312 | 1181464.1478 | 2734636.7449 | 1181460.9502
2 | 2734588.269 | 1181510.5773 | 2734541.3871 | 1181494.3683 | 2734511.8722 | 1181461.4254
3 | 2734588.269 | 1181510.5773 | 2734595.6409 | 1181512.9891 | 2734607.8824 | 1181513.2308 | 2734630.0635 | 1181507.3577 | 2734646.2845 | 1181514.1049 | 2734687.0245 | 1181538.0828 | 2734685.7568 | 1181578.4962 | 2734686.7962 | 1181583.2342 | 2734688.3381 | 1181586.6937 | 2734693.6755 | 1181592.2623
4 | 2734588.269 | 1181510.5773 | 2734584.0834 | 1181512.2291 | 2734579.783 | 1181513.5446 | 2734575.1544 | 1181514.5081 | 2734566.7482 | 1181515.2867 | 2734551.5846 | 1181515.5466 | 2734510.5731 | 1181514.9663
5 | 2734511.8722 | 1181461.4254 | 2734495.9788 | 1181472.0658 | 2734466.3689 | 1181459.3363 | 2734436.352 | 1181442.9507
6 | 2734693.6755 | 1181592.2623 | 2734707.131 | 1181554.1356 | 2734759.7672 | 1181401.4467 | 2734795.7607 | 1181312.9907
7 | 2734693.6755 | 1181592.2623 | 2734689.6939 | 1181600.468 | 2734688.422 | 1181602.3298 | 2734686.6123 | 1181603.6457 | 2734684.0852 | 1181604.5896
8 | 2734436.352 | 1181442.9507 | 2734429.6881 | 1181421.9186 | 2734421.3848 | 1181409.9344 | 2734420.0371 | 1181408.2575
9 | 2734795.7607 | 1181312.9907 | 2734799.2498 | 1181304.416 | 2734801.4351 | 1181297.6784
10 | 2734684.0852 | 1181604.5896 | 2734685.1239 | 1181608.6827 | 2734685.1071 | 1181611.1286 | 2734684.6129 | 1181613.0635 | 2734670.1036 | 1181640.9294
11 | 2734684.0852 | 1181604.5896 | 2734682.269 | 1181604.8379 | 2734680.7873 | 1181604.8157 | 2734675.7456 | 1181603.7683 | 2734665.2556 | 1181599.7073
12 | 2734511.6767 | 1181057.3692 | 2734502.6705 | 1181070.2103 | 2734491.9104 | 1181079.1535 | 2734467.5679 | 1181095.8202 | 2734438.5315 | 1181127.2485 | 2734374.5654 | 1181170.1582 | 2734367.1023 | 1181175.1948 | 2734364.5019 | 1181185.5332 | 2734360.9789 | 1181194.4277 | 2734353.7601 | 1181200.1574
13 | 2734216.266 | 1181304.7368 | 2734275.3725 | 1181270.2452 | 2734297.3643 | 1181251.3679 | 2734321.8901 | 1181225.4532 | 2734353.7601 | 1181200.1574
14 | 2734612.5654 | 1181078.0159 | 2734576.4041 | 1181052.0955 | 2734555.1986 | 1181048.1388 | 2734517.9062 | 1181054.5402 | 2734511.6767 | 1181057.3692
15 | 2734216.266 | 1181304.7368 | 2734202.7261 | 1181283.651 | 2734179.326 | 1181249.1011
16 | 2734216.266 | 1181304.7368 | 2734234.6404 | 1181332.7139 | 2734238.3461 | 1181336.8 | 2734242.7007 | 1181339.1993 | 2734246.8452 | 1181339.7258 | 2734253.7673 | 1181338.7023 | 2734264.4391 | 1181336.3839 | 2734319.506 | 1181329.7457 | 2734342.3415 | 1181332.1814 | 2734354.5956 | 1181335.6253 | 2734363.464 | 1181339.4603 | 2734368.7848 | 1181343.4048 | 2734377.0808 | 1181352.998 | 2734403.5762 | 1181387.7739 | 2734412.8631 | 1181399.3302
17 | 2734612.5654 | 1181078.0159 | 2734643.4269 | 1181007.5886 | 2734649.0017 | 1180998.1956 | 2734658.1333 | 1180989.9944 | 2734669.6731 | 1181013.0044
18 | 2734638.2756 | 1181095.0284 | 2734612.5654 | 1181078.0159
19 | 2734612.5654 | 1181078.0159 | 2734603.8178 | 1181091.919 | 2734602.8081 | 1181093.3377
20 | 2734412.8631 | 1181399.3302 | 2734420.0371 | 1181408.2575
21 | 2734669.6731 | 1181013.0044 | 2734673.6392 | 1181000.0615 | 2734673.6208 | 1180983.2038 | 2734677.018 | 1180972.1161 | 2734791.6903 | 1180838.2911
22 | 2734638.2756 | 1181095.0284 | 2734642.0317 | 1181097.1562
23 | 2734638.2756 | 1181095.0284 | 2734636.4384 | 1181135.558
24 | 2734576.8027 | 1181138.0921 | 2734587.8966 | 1181114.2897 | 2734602.8081 | 1181093.3377
25 | 2734636.4384 | 1181135.558 | 2734635.927 | 1181146.8373 | 2734633.3875 | 1181155.4646 | 2734624.9737 | 1181179.3383 | 2734620.4099 | 1181195.7705 | 2734606.658 | 1181228.1645
26 | 2734876.3691 | 1181042.5064 | 2734885.0598 | 1181014.8698 | 2734898.4137 | 1180978.4008
27 | 2734898.4137 | 1180978.4008 | 2735168.2616 | 1180800.8867
28 | 2734876.3691 | 1181042.5064 | 2734862.3711 | 1181090.9377
29 | 2734876.3691 | 1181042.5064 | 2734904.5378 | 1181055.5056 | 2734922.6014 | 1181067.6658 | 2734938.1447 | 1181085.2068 | 2734948.3952 | 1181105.0192 | 2734953.3629 | 1181126.6698 | 2734956.7061 | 1181172.5364
30 | 2734862.3711 | 1181090.9377 | 2734856.4576 | 1181111.3973
31 | 2734955.2326 | 1181210.5424 | 2734955.7358 | 1181205.5055 | 2734957.3668 | 1181181.6018 | 2734956.7061 | 1181172.5364
32 | 2734856.4576 | 1181111.3973 | 2734851.2576 | 1181129.3885
33 | 2734955.2326 | 1181210.5424 | 2734951.2269 | 1181250.6606 | 2734951.1829 | 1181251.955
34 | 2734955.2326 | 1181210.5424 | 2734945.7571 | 1181207.8938
35 | 2734851.2576 | 1181129.3885 | 2734851.1032 | 1181129.9228
36 | 2734950.842 | 1181261.9828 | 2734951.1829 | 1181251.955
37 | 2734945.7571 | 1181207.8938 | 2734930.3267 | 1181203.5719
38 | 2734826.3557 | 1181215.5469 | 2734834.335 | 1181187.9384 | 2734851.1032 | 1181129.9228
39 | 2734826.3557 | 1181215.5469 | 2734825.9765 | 1181216.8591
40 | 2734950.842 | 1181261.9828 | 2734946.5279 | 1181284.9254 | 2734939.1353 | 1181310.901
41 | 2734939.1353 | 1181310.901 | 2734930.5617 | 1181307.5611 | 2734934.2373 | 1181289.4166
42 | 2734566.2503 | 1181612.9757 | 2734583.3466 | 1181613.1637
43 | 2734524.9193 | 1181611.8993 | 2734538.4323 | 1181612.6698 | 2734566.2503 | 1181612.9757
44 | 2734583.3466 | 1181613.1637 | 2734618.9063 | 1181613.5547 | 2734626.9718 | 1181611.9568 | 2734631.92 | 1181609.3437 | 2734633.9927 | 1181607.6006
45 | 2734524.9193 | 1181611.8993 | 2734523.591 | 1181604.7084 | 2734523.313 | 1181600.0764 | 2734524.3423 | 1181591.3262 | 2734526.0305 | 1181579.7664
46 | 2734665.2556 | 1181599.7073 | 2734660.9929 | 1181602.4136 | 2734657.7349 | 1181603.2411 | 2734646.7351 | 1181602.8271 | 2734641.3035 | 1181603.1498 | 2734637.5735 | 1181604.5893 | 2734633.9927 | 1181607.6006
47 | 2734665.2556 | 1181599.7073 | 2734631.1914 | 1181583.9747 | 2734598.2881 | 1181569.2745
48 | 2734598.2881 | 1181569.2745 | 2734566.5017 | 1181555.0733
49 | 2734488.253 | 1181535.6659 | 2734519.3262 | 1181546.0412
50 | 2734558.8869 | 1181551.6713 | 2734557.0649 | 1181554.5548 | 2734554.7523 | 1181555.4703 | 2734551.2441 | 1181555.536 | 2734539.9421 | 1181552.9248 | 2734519.3262 | 1181546.0412
51 | 2734558.8869 | 1181551.6713 | 2734566.5017 | 1181555.0733
52 | 2734657.7239 | 1181664.7053 | 2734670.1036 | 1181640.9294
53 | 2734801.4351 | 1181297.6784 | 2734808.3462 | 1181276.3695
54 | 2734812.5421 | 1181263.3427 | 2734812.3036 | 1181264.1677 | 2734808.3462 | 1181276.3695
55 | 2734812.5421 | 1181263.3427 | 2734817.4296 | 1181246.4318
56 | 2734817.4586 | 1181246.3312 | 2734817.4296 | 1181246.4318
57 | 2734817.4586 | 1181246.3312 | 2734825.9765 | 1181216.8591
58 | 2734930.3267 | 1181203.5719 | 2734927.1933 | 1181202.6943 | 2734910.2826 | 1181198.3882
59 | 2734901.8298 | 1181207.6606 | 2734905.0215 | 1181201.3054 | 2734910.2826 | 1181198.3882

## bus_geodata
| x | y | coords
0 | 2734726.0736 | 1181214.5936
1 | 2734636.7449 | 1181460.9502
2 | 2734588.269 | 1181510.5773
3 | 2734511.8722 | 1181461.4254
4 | 2734693.6755 | 1181592.2623
5 | 2734510.5731 | 1181514.9663
6 | 2734436.352 | 1181442.9507
7 | 2734795.7607 | 1181312.9907
8 | 2734684.0852 | 1181604.5896
9 | 2734353.7601 | 1181200.1574
10 | 2734511.6767 | 1181057.3692
11 | 2734216.266 | 1181304.7368
12 | 2734612.5654 | 1181078.0159
13 | 2734179.326 | 1181249.1011
14 | 2734412.8631 | 1181399.3302
15 | 2734669.6731 | 1181013.0044
16 | 2734638.2756 | 1181095.0284
17 | 2734602.8081 | 1181093.3377
18 | 2734420.0371 | 1181408.2575
19 | 2734791.6903 | 1180838.2911
20 | 2734642.0317 | 1181097.1562
21 | 2734636.4384 | 1181135.558
22 | 2734576.8027 | 1181138.0921
23 | 2734606.658 | 1181228.1645
24 | 2734898.4137 | 1180978.4008
25 | 2734876.3691 | 1181042.5064
26 | 2735168.2616 | 1180800.8867
27 | 2734862.3711 | 1181090.9377
28 | 2734956.7061 | 1181172.5364
29 | 2734856.4576 | 1181111.3973
30 | 2734955.2326 | 1181210.5424
31 | 2734851.2576 | 1181129.3885
32 | 2734951.1829 | 1181251.955
33 | 2734945.757 | 1181207.8938
34 | 2734851.1032 | 1181129.9228
35 | 2734826.3557 | 1181215.5469
36 | 2734950.842 | 1181261.9828
37 | 2734939.1353 | 1181310.901
38 | 2734934.2373 | 1181289.4166
39 | 2734566.2503 | 1181612.9757
40 | 2734583.3466 | 1181613.1637
41 | 2734524.9193 | 1181611.8993
42 | 2734633.9927 | 1181607.6006
43 | 2734526.0305 | 1181579.7664
44 | 2734665.2556 | 1181599.7073
45 | 2734598.2881 | 1181569.2745
46 | 2734488.253 | 1181535.6659
47 | 2734519.3262 | 1181546.0412
48 | 2734566.5017 | 1181555.0733
49 | 2734670.1036 | 1181640.9294
50 | 2734558.8869 | 1181551.6713
51 | 2734657.7239 | 1181664.7053
52 | 2734801.4351 | 1181297.6784
53 | 2734808.3462 | 1181276.3695
54 | 2734812.5421 | 1181263.3427
55 | 2734817.4296 | 1181246.4318
56 | 2734817.4586 | 1181246.3312
57 | 2734825.9765 | 1181216.8591
58 | 2734930.3267 | 1181203.5719
59 | 2734910.2826 | 1181198.3882
60 | 2734901.8298 | 1181207.6606
61 | 2734701.8227 | 1181569.1769

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1