## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3619-21_1_3_node_174 | 0.4 | n |  | TRUE
1 | bus_LV_3619-21_1_3_node_176 | 0.4 | n |  | TRUE
2 | bus_LV_3619-21_1_3_node_173 | 0.4 | n |  | TRUE
3 | bus_LV_3619-21_1_3_node_127 | 0.4 | n |  | TRUE
4 | bus_LV_3619-21_1_3_node_121 | 0.4 | n |  | TRUE
5 | bus_LV_3619-21_1_3_node_122 | 0.4 | n |  | TRUE
6 | bus_LV_3619-21_1_3_node_124 | 0.4 | n |  | TRUE
7 | bus_LV_3619-21_1_3_node_119 | 0.4 | n |  | TRUE
8 | bus_LV_3619-21_1_3_node_154 | 0.4 | n |  | TRUE
9 | bus_LV_3619-21_1_3_node_153 | 0.4 | n |  | TRUE
10 | bus_LV_3619-21_1_3_node_156 | 0.4 | n |  | TRUE
11 | bus_LV_3619-21_1_3_node_123 | 0.4 | n |  | TRUE
12 | bus_LV_3619-21_1_3_node_125 | 0.4 | n |  | TRUE
13 | bus_LV_3619-21_1_3_node_126 | 0.4 | n |  | TRUE
14 | bus_LV_3619-21_1_3_node_128 | 0.4 | n |  | TRUE
15 | bus_LV_3619-21_1_3_node_129 | 0.4 | n |  | TRUE
16 | bus_LV_3619-21_1_3_node_134 | 0.4 | n |  | TRUE
17 | bus_LV_3619-21_1_3_node_143 | 0.4 | n |  | TRUE
18 | bus_LV_3619-21_1_3_node_145 | 0.4 | n |  | TRUE
19 | bus_LV_3619-21_1_3_node_141 | 0.4 | n |  | TRUE
20 | bus_LV_3619-21_1_3_node_146 | 0.4 | n |  | TRUE
21 | bus_LV_3619-21_1_3_node_147 | 0.4 | n |  | TRUE
22 | bus_LV_3619-21_1_3_node_148 | 0.4 | n |  | TRUE
23 | bus_LV_3619-21_1_3_node_149 | 0.4 | n |  | TRUE
24 | bus_LV_3619-21_1_3_node_155 | 0.4 | n |  | TRUE
25 | bus_LV_3619-21_1_3_node_144 | 0.4 | n |  | TRUE
26 | bus_LV_3619-21_1_3_node_150 | 0.4 | n |  | TRUE
27 | bus_LV_3619-21_1_3_node_151 | 0.4 | n |  | TRUE
28 | bus_LV_3619-21_1_3_node_152 | 0.4 | n |  | TRUE
29 | bus_LV_3619-21_1_3_node_133 | 0.4 | n |  | TRUE
30 | bus_LV_3619-21_1_3_node_188 | 0.4 | n |  | TRUE
31 | bus_LV_3619-21_1_3_node_178 | 0.4 | n |  | TRUE
32 | bus_LV_3619-21_1_3_node_130 | 0.4 | n |  | TRUE
33 | bus_LV_3619-21_1_3_node_131 | 0.4 | n |  | TRUE
34 | bus_LV_3619-21_1_3_node_132 | 0.4 | n |  | TRUE
35 | bus_LV_3619-21_1_3_node_168 | 0.4 | n |  | TRUE
36 | bus_LV_3619-21_1_3_node_163 | 0.4 | n |  | TRUE
37 | bus_LV_3619-21_1_3_node_160 | 0.4 | n |  | TRUE
38 | bus_LV_3619-21_1_3_node_165 | 0.4 | n |  | TRUE
39 | bus_LV_3619-21_1_3_node_161 | 0.4 | n |  | TRUE
40 | bus_LV_3619-21_1_3_node_261 | 0.4 | n |  | TRUE
41 | bus_LV_3619-21_1_3_node_180 | 0.4 | n |  | TRUE
42 | bus_LV_3619-21_1_3_node_181 | 0.4 | n |  | TRUE
43 | bus_LV_3619-21_1_3_node_177 | 0.4 | n |  | TRUE
44 | bus_LV_3619-21_1_3_node_135 | 0.4 | n |  | TRUE
45 | bus_LV_3619-21_1_3_node_136 | 0.4 | n |  | TRUE
46 | bus_LV_3619-21_1_3_node_139 | 0.4 | n |  | TRUE
47 | bus_LV_3619-21_1_3_node_137 | 0.4 | n |  | TRUE
48 | bus_LV_3619-21_1_3_node_140 | 0.4 | n |  | TRUE
49 | bus_LV_3619-21_1_3_node_138 | 0.4 | n |  | TRUE
50 | bus_LV_3619-21_1_3_node_157 | 0.4 | n |  | TRUE
51 | bus_LV_3619-21_1_3_node_142 | 0.4 | n |  | TRUE
52 | bus_LV_3619-21_1_3_node_158 | 0.4 | n |  | TRUE
53 | bus_LV_3619-21_1_3_node_159 | 0.4 | n |  | TRUE
54 | bus_LV_3619-21_1_3_node_162 | 0.4 | n |  | TRUE
55 | bus_LV_3619-21_1_3_node_164 | 0.4 | n |  | TRUE
56 | bus_LV_3619-21_1_3_node_166 | 0.4 | n |  | TRUE
57 | bus_LV_3619-21_1_3_node_167 | 0.4 | n |  | TRUE
58 | bus_LV_3619-21_1_3_node_190 | 0.4 | n |  | TRUE
59 | bus_LV_3619-21_1_3_node_191 | 0.4 | n |  | TRUE
60 | bus_LV_3619-21_1_3_node_169 | 0.4 | n |  | TRUE
61 | bus_LV_3619-21_1_3_node_205 | 0.4 | n |  | TRUE
62 | bus_LV_3619-21_1_3_node_204 | 0.4 | n |  | TRUE
63 | bus_LV_3619-21_1_3_node_171 | 0.4 | n |  | TRUE
64 | bus_LV_3619-21_1_3_node_172 | 0.4 | n |  | TRUE
65 | bus_LV_3619-21_1_3_node_186 | 0.4 | n |  | TRUE
66 | bus_LV_3619-21_1_3_node_253 | 0.4 | n |  | TRUE
67 | bus_LV_3619-21_1_3_node_184 | 0.4 | n |  | TRUE
68 | bus_LV_3619-21_1_3_node_179 | 0.4 | n |  | TRUE
69 | bus_LV_3619-21_1_3_node_175 | 0.4 | n |  | TRUE
70 | bus_LV_3619-21_1_3_node_183 | 0.4 | n |  | TRUE
71 | bus_LV_3619-21_1_3_node_182 | 0.4 | n |  | TRUE
72 | bus_LV_3619-21_1_3_node_187 | 0.4 | n |  | TRUE
73 | bus_LV_3619-21_1_3_node_189 | 0.4 | n |  | TRUE
74 | bus_LV_3619-21_1_3_node_185 | 0.4 | n |  | TRUE
75 | bus_LV_3619-21_1_3_node_256 | 0.4 | n |  | TRUE
76 | bus_LV_3619-21_1_3_node_254 | 0.4 | n |  | TRUE
77 | bus_LV_3619-21_1_3_node_252 | 0.4 | n |  | TRUE
78 | bus_LV_3619-21_1_3_node_260 | 0.4 | n |  | TRUE
79 | bus_LV_3619-21_1_3_node_192 | 0.4 | n |  | TRUE
80 | bus_LV_3619-21_1_3_node_193 | 0.4 | n |  | TRUE
81 | bus_LV_3619-21_1_3_node_194 | 0.4 | n |  | TRUE
82 | bus_LV_3619-21_1_3_node_197 | 0.4 | n |  | TRUE
83 | bus_LV_3619-21_1_3_node_195 | 0.4 | n |  | TRUE
84 | bus_LV_3619-21_1_3_node_198 | 0.4 | n |  | TRUE
85 | bus_LV_3619-21_1_3_node_196 | 0.4 | n |  | TRUE
86 | bus_LV_3619-21_1_3_node_199 | 0.4 | n |  | TRUE
87 | bus_LV_3619-21_1_3_node_200 | 0.4 | n |  | TRUE
88 | bus_LV_3619-21_1_3_node_201 | 0.4 | n |  | TRUE
89 | bus_LV_3619-21_1_3_node_202 | 0.4 | n |  | TRUE
90 | bus_LV_3619-21_1_3_node_203 | 0.4 | n |  | TRUE
91 | bus_LV_3619-21_1_3_node_206 | 0.4 | n |  | TRUE
92 | bus_LV_3619-21_1_3_node_207 | 0.4 | n |  | TRUE
93 | bus_LV_3619-21_1_3_node_208 | 0.4 | n |  | TRUE
94 | bus_LV_3619-21_1_3_node_209 | 0.4 | n |  | TRUE
95 | bus_LV_3619-21_1_3_node_210 | 0.4 | n |  | TRUE
96 | bus_LV_3619-21_1_3_node_211 | 0.4 | n |  | TRUE
97 | bus_LV_3619-21_1_3_node_212 | 0.4 | n |  | TRUE
98 | bus_LV_3619-21_1_3_node_213 | 0.4 | n |  | TRUE
99 | bus_LV_3619-21_1_3_node_214 | 0.4 | n |  | TRUE
100 | bus_LV_3619-21_1_3_node_215 | 0.4 | n |  | TRUE
101 | bus_LV_3619-21_1_3_node_216 | 0.4 | n |  | TRUE
102 | bus_LV_3619-21_1_3_node_217 | 0.4 | n |  | TRUE
103 | bus_LV_3619-21_1_3_node_221 | 0.4 | n |  | TRUE
104 | bus_LV_3619-21_1_3_node_218 | 0.4 | n |  | TRUE
105 | bus_LV_3619-21_1_3_node_227 | 0.4 | n |  | TRUE
106 | bus_LV_3619-21_1_3_node_219 | 0.4 | n |  | TRUE
107 | bus_LV_3619-21_1_3_node_220 | 0.4 | n |  | TRUE
108 | bus_LV_3619-21_1_3_node_232 | 0.4 | n |  | TRUE
109 | bus_LV_3619-21_1_3_node_233 | 0.4 | n |  | TRUE
110 | bus_LV_3619-21_1_3_node_228 | 0.4 | n |  | TRUE
111 | bus_LV_3619-21_1_3_node_222 | 0.4 | n |  | TRUE
112 | bus_LV_3619-21_1_3_node_223 | 0.4 | n |  | TRUE
113 | bus_LV_3619-21_1_3_node_224 | 0.4 | n |  | TRUE
114 | bus_LV_3619-21_1_3_node_225 | 0.4 | n |  | TRUE
115 | bus_LV_3619-21_1_3_node_226 | 0.4 | n |  | TRUE
116 | bus_LV_3619-21_1_3_node_239 | 0.4 | n |  | TRUE
117 | bus_LV_3619-21_1_3_node_237 | 0.4 | n |  | TRUE
118 | bus_LV_3619-21_1_3_node_229 | 0.4 | n |  | TRUE
119 | bus_LV_3619-21_1_3_node_230 | 0.4 | n |  | TRUE
120 | bus_LV_3619-21_1_3_node_231 | 0.4 | n |  | TRUE
121 | bus_LV_3619-21_1_3_node_234 | 0.4 | n |  | TRUE
122 | bus_LV_3619-21_1_3_node_238 | 0.4 | n |  | TRUE
123 | bus_LV_3619-21_1_3_node_235 | 0.4 | n |  | TRUE
124 | bus_LV_3619-21_1_3_node_236 | 0.4 | n |  | TRUE
125 | bus_LV_3619-21_1_3_node_240 | 0.4 | n |  | TRUE
126 | bus_LV_3619-21_1_3_node_242 | 0.4 | n |  | TRUE
127 | bus_LV_3619-21_1_3_node_241 | 0.4 | n |  | TRUE
128 | bus_LV_3619-21_1_3_node_243 | 0.4 | n |  | TRUE
129 | bus_LV_3619-21_1_3_node_244 | 0.4 | n |  | TRUE
130 | bus_LV_3619-21_1_3_node_245 | 0.4 | n |  | TRUE
131 | bus_LV_3619-21_1_3_node_246 | 0.4 | n |  | TRUE
132 | bus_LV_3619-21_1_3_node_247 | 0.4 | n |  | TRUE
133 | bus_LV_3619-21_1_3_node_248 | 0.4 | n |  | TRUE
134 | bus_LV_3619-21_1_3_node_255 | 0.4 | n |  | TRUE
135 | bus_LV_3619-21_1_3_node_257 | 0.4 | n |  | TRUE
136 | bus_LV_3619-21_1_3_node_249 | 0.4 | n |  | TRUE
137 | bus_LV_3619-21_1_3_node_250 | 0.4 | n |  | TRUE
138 | bus_LV_3619-21_1_3_node_251 | 0.4 | n |  | TRUE
139 | bus_LV_3619-21_1_3_node_258 | 0.4 | n |  | TRUE
140 | bus_LV_3619-21_1_3_node_259 | 0.4 | n |  | TRUE
141 | bus_MV_161_1_node_129 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3619-21_1_3_load_174 | 0 | 0.0024379 | 0.000611 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3619-21_1_3_load_176 | 1 | 0.0021585 | 0.00054098 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3619-21_1_3_load_173 | 2 | 0.0001774 | 4.4462e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3619-21_1_3_load_127 | 3 | 0.0002631 | 6.5939e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3619-21_1_3_load_121 | 4 | 0.00037407 | 9.3752e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3619-21_1_3_load_122 | 5 | 0.00047602 | 0.0001193 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3619-21_1_3_load_119 | 7 | 0.00016935 | 4.2442e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3619-21_1_3_load_154 | 8 | 0.00011845 | 2.9685e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3619-21_1_3_load_153 | 9 | 0.00013978 | 3.5033e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3619-21_1_3_load_156 | 10 | 0.00032012 | 8.0231e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3619-21_1_3_load_126 | 13 | 0.00010513 | 2.6347e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3619-21_1_3_load_129 | 15 | 0.00017977 | 4.5055e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3619-21_1_3_load_134 | 16 | 0.00027331 | 6.8499e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3619-21_1_3_load_143 | 17 | 0.00012666 | 3.1744e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3619-21_1_3_load_145 | 18 | 0.00013129 | 3.2904e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3619-21_1_3_load_146 | 20 | 0.0001143 | 2.8647e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3619-21_1_3_load_147 | 21 | 0.00014286 | 3.5805e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3619-21_1_3_load_148 | 22 | 0.00011106 | 2.7833e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3619-21_1_3_load_149 | 23 | 0.00014458 | 3.6235e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3619-21_1_3_load_155 | 24 | 0.0007477 | 0.00018739 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3619-21_1_3_load_150 | 26 | 0.00023957 | 6.0043e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3619-21_1_3_load_151 | 27 | 0.00012735 | 3.1918e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3619-21_1_3_load_152 | 28 | 0.00013256 | 3.3222e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3619-21_1_3_load_133 | 29 | 0.00017703 | 4.4368e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3619-21_1_3_load_188 | 30 | 0.00016953 | 4.2489e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3619-21_1_3_load_130 | 32 | 0.00024101 | 6.0402e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3619-21_1_3_load_131 | 33 | 0.00014527 | 3.6409e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3619-21_1_3_load_160 | 37 | 0.00013461 | 3.3736e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3619-21_1_3_load_165 | 38 | 0.0014653 | 0.00036724 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3619-21_1_3_load_161 | 39 | 0.00067198 | 0.00016841 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3619-21_1_3_load_261 | 40 | 0.00018026 | 4.5176e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3619-21_1_3_load_180 | 41 | 0.00018664 | 4.6775e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3619-21_1_3_load_181 | 42 | 0.00022588 | 5.661e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3619-21_1_3_load_135 | 44 | 0.00018788 | 4.7087e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3619-21_1_3_load_136 | 45 | 0.00044973 | 0.00011271 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3619-21_1_3_load_139 | 46 | 0.0001271 | 3.1853e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3619-21_1_3_load_140 | 48 | 0.00013908 | 3.4857e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3619-21_1_3_load_138 | 49 | 0.0003175 | 7.9572e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3619-21_1_3_load_157 | 50 | 0.00035583 | 8.918e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3619-21_1_3_load_142 | 51 | 0.00014365 | 3.6001e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3619-21_1_3_load_158 | 52 | 0.00050056 | 0.00012545 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3619-21_1_3_load_159 | 53 | 0.0001619 | 4.0576e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3619-21_1_3_load_162 | 54 | 0.00055966 | 0.00014026 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3619-21_1_3_load_164 | 55 | 0.0008351 | 0.00020929 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3619-21_1_3_load_166 | 56 | 0.001565 | 0.00039223 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3619-21_1_3_load_167 | 57 | 0.0041387 | 0.0010373 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3619-21_1_3_load_190 | 58 | 0.0016409 | 0.00041124 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3619-21_1_3_load_191 | 59 | 0.0007798 | 0.00019544 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3619-21_1_3_load_169 | 60 | 0.00073958 | 0.00018536 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3619-21_1_3_load_205 | 61 | 0.00082546 | 0.00020688 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3619-21_1_3_load_204 | 62 | 0.00093933 | 0.00023542 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3619-21_1_3_load_171 | 63 | 0.00087571 | 0.00021947 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3619-21_1_3_load_172 | 64 | 0.00082135 | 0.00020585 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3619-21_1_3_load_186 | 65 | 0.0013539 | 0.00033931 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3619-21_1_3_load_253 | 66 | 0.0013607 | 0.00034103 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3619-21_1_3_load_179 | 68 | 0.00013261 | 3.3235e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3619-21_1_3_load_175 | 69 | 0.0011823 | 0.00029631 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3619-21_1_3_load_183 | 70 | 0.0026122 | 0.00065467 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3619-21_1_3_load_182 | 71 | 0.00072296 | 0.00018119 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3619-21_1_3_load_187 | 72 | 0.00028629 | 7.1751e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3619-21_1_3_load_189 | 73 | 0.00025335 | 6.3496e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3619-21_1_3_load_185 | 74 | 0.0010793 | 0.0002705 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3619-21_1_3_load_256 | 75 | 0.0008701 | 0.00021807 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3619-21_1_3_load_254 | 76 | 0.0014673 | 0.00036773 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3619-21_1_3_load_252 | 77 | 0.004614 | 0.0011564 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3619-21_1_3_load_260 | 78 | 0.0001807 | 4.5288e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3619-21_1_3_load_193 | 80 | 0.00079893 | 0.00020023 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3619-21_1_3_load_194 | 81 | 0.0010913 | 0.00027351 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3619-21_1_3_load_197 | 82 | 0.0010612 | 0.00026597 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3619-21_1_3_load_195 | 83 | 0.00098188 | 0.00024608 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3619-21_1_3_load_198 | 84 | 0.00029625 | 7.4247e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3619-21_1_3_load_196 | 85 | 0.0032746 | 0.00082069 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3619-21_1_3_load_199 | 86 | 0.00089295 | 0.0002238 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3619-21_1_3_load_200 | 87 | 0.0023202 | 0.00058149 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3619-21_1_3_load_202 | 89 | 0.0011958 | 0.00029969 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3619-21_1_3_load_203 | 90 | 0.0023575 | 0.00059084 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3619-21_1_3_load_206 | 91 | 0.0024068 | 0.0006032 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3619-21_1_3_load_207 | 92 | 0.00052999 | 0.00013283 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3619-21_1_3_load_208 | 93 | 0.0030088 | 0.00075408 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3619-21_1_3_load_209 | 94 | 0.0015564 | 0.00039007 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3619-21_1_3_load_210 | 95 | 0.0017581 | 0.00044061 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3619-21_1_3_load_211 | 96 | 0.0015548 | 0.00038967 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3619-21_1_3_load_212 | 97 | 0.00046188 | 0.00011576 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3619-21_1_3_load_213 | 98 | 0.00048855 | 0.00012244 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3619-21_1_3_load_214 | 99 | 0.0023529 | 0.00058969 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3619-21_1_3_load_216 | 101 | 0.00053883 | 0.00013504 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3619-21_1_3_load_217 | 102 | 0.00043025 | 0.00010783 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3619-21_1_3_load_221 | 103 | 0.00042577 | 0.00010671 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3619-21_1_3_load_218 | 104 | 0.000616 | 0.00015438 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3619-21_1_3_load_227 | 105 | 0.00082227 | 0.00020608 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3619-21_1_3_load_219 | 106 | 0.0011328 | 0.0002839 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3619-21_1_3_load_220 | 107 | 0.00075164 | 0.00018838 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3619-21_1_3_load_232 | 108 | 0.0026342 | 0.0006602 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3619-21_1_3_load_233 | 109 | 0.0015928 | 0.0003992 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3619-21_1_3_load_228 | 110 | 0.000875 | 0.0002193 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3619-21_1_3_load_222 | 111 | 0.0017413 | 0.0004364 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3619-21_1_3_load_223 | 112 | 0.0014299 | 0.00035837 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3619-21_1_3_load_224 | 113 | 0.0014178 | 0.00035535 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3619-21_1_3_load_225 | 114 | 0.0011148 | 0.0002794 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3619-21_1_3_load_226 | 115 | 0.0010708 | 0.00026837 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3619-21_1_3_load_239 | 116 | 0.0019425 | 0.00048684 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3619-21_1_3_load_237 | 117 | 0.0019288 | 0.00048341 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3619-21_1_3_load_229 | 118 | 0.0023861 | 0.00059802 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3619-21_1_3_load_230 | 119 | 0.0016869 | 0.00042277 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_3619-21_1_3_load_231 | 120 | 0.0015887 | 0.00039816 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_3619-21_1_3_load_238 | 122 | 0.001523 | 0.00038169 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_3619-21_1_3_load_235 | 123 | 0.0030849 | 0.00077316 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_3619-21_1_3_load_236 | 124 | 0.00097706 | 0.00024487 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_3619-21_1_3_load_240 | 125 | 0.00074709 | 0.00018724 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_3619-21_1_3_load_242 | 126 | 0.0012855 | 0.00032218 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_3619-21_1_3_load_241 | 127 | 0.00095957 | 0.00024049 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_3619-21_1_3_load_243 | 128 | 0.0012552 | 0.00031457 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_3619-21_1_3_load_244 | 129 | 0.002102 | 0.00052681 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_3619-21_1_3_load_245 | 130 | 0.0011193 | 0.00028051 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_3619-21_1_3_load_247 | 132 | 0.00064081 | 0.0001606 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_3619-21_1_3_load_248 | 133 | 0.0016292 | 0.00040831 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_3619-21_1_3_load_255 | 134 | 0.0011952 | 0.00029955 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_3619-21_1_3_load_257 | 135 | 0.0015849 | 0.0003972 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_3619-21_1_3_load_249 | 136 | 0.001319 | 0.00033057 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_3619-21_1_3_load_250 | 137 | 0.0012144 | 0.00030435 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_3619-21_1_3_load_251 | 138 | 0.0018062 | 0.00045269 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_3619-21_1_3_load_258 | 139 | 0.00018139 | 4.546e-05 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_3619-21_1_3_load_259 | 140 | 0.00016872 | 4.2286e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 123 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3619-21_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0030607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3619-21_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.076468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3619-21_1_3_line_2 | NAYY 4x150 SE | 1 | 64 | 0.011201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3619-21_1_3_line_3 | NAYY 4x150 SE | 2 | 43 | 0.17935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3619-21_1_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.26013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3619-21_1_3_line_5 | NAYY 4x150 SE | 3 | 5 | 0.33292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3619-21_1_3_line_6 | NAYY 4x150 SE | 3 | 6 | 0.092785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3619-21_1_3_line_7 | NAYY 4x150 SE | 4 | 7 | 0.054489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3619-21_1_3_line_8 | NAYY 4x150 SE | 6 | 13 | 0.056478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3619-21_1_3_line_9 | NAYY 4x150 SE | 6 | 11 | 0.00204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3619-21_1_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.19262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3619-21_1_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.11701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3619-21_1_3_line_12 | NAYY 4x150 SE | 9 | 28 | 0.038993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3619-21_1_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.2115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3619-21_1_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.019628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3619-21_1_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.022614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3619-21_1_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.12845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3619-21_1_3_line_17 | NAYY 4x150 SE | 16 | 31 | 0.09054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3619-21_1_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.0053717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3619-21_1_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.13116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3619-21_1_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.00045335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3619-21_1_3_line_21 | NAYY 4x150 SE | 19 | 25 | 0.12927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3619-21_1_3_line_22 | NAYY 4x150 SE | 19 | 46 | 0.12175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3619-21_1_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.00032715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3619-21_1_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.017514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3619-21_1_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.11848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3619-21_1_3_line_26 | NAYY 4x150 SE | 22 | 25 | 0.19272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3619-21_1_3_line_27 | NAYY 4x150 SE | 23 | 26 | 0.0077198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3619-21_1_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.0085284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3619-21_1_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0035385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3619-21_1_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.0063092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3619-21_1_3_line_31 | NAYY 4x150 SE | 30 | 40 | 0.011482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3619-21_1_3_line_32 | NAYY 4x150 SE | 31 | 41 | 0.040607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3619-21_1_3_line_33 | NAYY 4x150 SE | 31 | 42 | 0.044476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3619-21_1_3_line_34 | NAYY 4x150 SE | 31 | 43 | 0.057984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3619-21_1_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.095935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3619-21_1_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.03917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3619-21_1_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.12387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3619-21_1_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.21656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3619-21_1_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.10844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3619-21_1_3_line_40 | NAYY 4x150 SE | 36 | 38 | 0.1305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3619-21_1_3_line_41 | NAYY 4x150 SE | 36 | 39 | 0.13236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3619-21_1_3_line_42 | NAYY 4x150 SE | 37 | 53 | 0.045057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3619-21_1_3_line_43 | NAYY 4x150 SE | 38 | 57 | 0.050386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3619-21_1_3_line_44 | NAYY 4x150 SE | 39 | 54 | 0.00035165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3619-21_1_3_line_45 | NAYY 4x150 SE | 40 | 78 | 0.0089625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3619-21_1_3_line_46 | NAYY 4x150 SE | 42 | 72 | 0.027753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3619-21_1_3_line_47 | NAYY 4x150 SE | 43 | 68 | 0.028182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3619-21_1_3_line_48 | NAYY 4x150 SE | 44 | 45 | 0.026605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3619-21_1_3_line_49 | NAYY 4x150 SE | 44 | 46 | 0.18393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3619-21_1_3_line_50 | NAYY 4x150 SE | 44 | 47 | 0.28573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3619-21_1_3_line_51 | NAYY 4x150 SE | 46 | 48 | 0.018524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3619-21_1_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.19157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3619-21_1_3_line_53 | NAYY 4x150 SE | 48 | 51 | 0.015905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3619-21_1_3_line_54 | NAYY 4x150 SE | 49 | 50 | 0.13784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3619-21_1_3_line_55 | NAYY 4x150 SE | 50 | 52 | 0.046899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3619-21_1_3_line_56 | NAYY 4x150 SE | 52 | 53 | 0.11881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3619-21_1_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.024338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3619-21_1_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.0019276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3619-21_1_3_line_59 | NAYY 4x150 SE | 56 | 58 | 0.028643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3619-21_1_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.036299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3619-21_1_3_line_61 | NAYY 4x150 SE | 59 | 79 | 0.0085224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3619-21_1_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.34453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3619-21_1_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.022093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3619-21_1_3_line_64 | NAYY 4x150 SE | 62 | 90 | 0.019016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3619-21_1_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.011519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3619-21_1_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.012352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3619-21_1_3_line_67 | NAYY 4x150 SE | 65 | 67 | 0.04215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3619-21_1_3_line_68 | NAYY 4x150 SE | 66 | 77 | 0.031768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3619-21_1_3_line_69 | NAYY 4x150 SE | 67 | 74 | 0.016189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3619-21_1_3_line_70 | NAYY 4x150 SE | 67 | 70 | 0.016716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3619-21_1_3_line_71 | NAYY 4x150 SE | 68 | 71 | 0.012525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3619-21_1_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.10478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3619-21_1_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.067683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3619-21_1_3_line_74 | NAYY 4x150 SE | 72 | 73 | 0.09328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3619-21_1_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.015455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3619-21_1_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.017729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3619-21_1_3_line_77 | NAYY 4x150 SE | 76 | 132 | 0.0083906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3619-21_1_3_line_78 | NAYY 4x150 SE | 77 | 137 | 0.036631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3619-21_1_3_line_79 | NAYY 4x150 SE | 78 | 140 | 0.0064248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3619-21_1_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.0034109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3619-21_1_3_line_81 | NAYY 4x150 SE | 79 | 81 | 0.01906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3619-21_1_3_line_82 | NAYY 4x150 SE | 80 | 82 | 0.011689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3619-21_1_3_line_83 | NAYY 4x150 SE | 81 | 83 | 0.0316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3619-21_1_3_line_84 | NAYY 4x150 SE | 82 | 84 | 0.0068858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3619-21_1_3_line_85 | NAYY 4x150 SE | 83 | 85 | 0.02154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3619-21_1_3_line_86 | NAYY 4x150 SE | 84 | 86 | 0.0035969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3619-21_1_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.0051075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3619-21_1_3_line_88 | NAYY 4x150 SE | 87 | 88 | 0.0087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3619-21_1_3_line_89 | NAYY 4x150 SE | 88 | 89 | 0.014911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3619-21_1_3_line_90 | NAYY 4x150 SE | 88 | 90 | 0.021653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3619-21_1_3_line_91 | NAYY 4x150 SE | 89 | 91 | 0.00031371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3619-21_1_3_line_92 | NAYY 4x150 SE | 91 | 92 | 0.0017381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3619-21_1_3_line_93 | NAYY 4x150 SE | 92 | 93 | 0.0010322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3619-21_1_3_line_94 | NAYY 4x150 SE | 93 | 94 | 0.0068594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3619-21_1_3_line_95 | NAYY 4x150 SE | 94 | 95 | 0.011146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3619-21_1_3_line_96 | NAYY 4x150 SE | 95 | 96 | 0.012458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3619-21_1_3_line_97 | NAYY 4x150 SE | 96 | 97 | 0.0020503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3619-21_1_3_line_98 | NAYY 4x150 SE | 97 | 98 | 0.010646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3619-21_1_3_line_99 | NAYY 4x150 SE | 98 | 99 | 0.0016041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3619-21_1_3_line_100 | NAYY 4x150 SE | 99 | 100 | 0.0083358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3619-21_1_3_line_101 | NAYY 4x150 SE | 100 | 101 | 0.0053471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3619-21_1_3_line_102 | NAYY 4x150 SE | 100 | 102 | 0.013097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
103 | LV_3619-21_1_3_line_103 | NAYY 4x150 SE | 101 | 103 | 0.0097647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3619-21_1_3_line_104 | NAYY 4x150 SE | 102 | 104 | 0.011845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
105 | LV_3619-21_1_3_line_105 | NAYY 4x150 SE | 103 | 105 | 0.00096383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3619-21_1_3_line_106 | NAYY 4x150 SE | 104 | 106 | 0.0099668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
107 | LV_3619-21_1_3_line_107 | NAYY 4x150 SE | 105 | 110 | 0.0094048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3619-21_1_3_line_108 | NAYY 4x150 SE | 106 | 107 | 0.0051547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
109 | LV_3619-21_1_3_line_109 | NAYY 4x150 SE | 107 | 108 | 0.017004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
110 | LV_3619-21_1_3_line_110 | NAYY 4x150 SE | 108 | 109 | 0.014008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
111 | LV_3619-21_1_3_line_111 | NAYY 4x150 SE | 109 | 123 | 0.00082694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
112 | LV_3619-21_1_3_line_112 | NAYY 4x150 SE | 110 | 118 | 0.019787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_3619-21_1_3_line_113 | NAYY 4x150 SE | 111 | 112 | 0.031552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_3619-21_1_3_line_114 | NAYY 4x150 SE | 111 | 113 | 0.024792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_3619-21_1_3_line_115 | NAYY 4x150 SE | 112 | 114 | 0.0047553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_3619-21_1_3_line_116 | NAYY 4x150 SE | 114 | 115 | 0.0072302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_3619-21_1_3_line_117 | NAYY 4x150 SE | 115 | 116 | 0.0015469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_3619-21_1_3_line_118 | NAYY 4x150 SE | 116 | 117 | 0.010831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_3619-21_1_3_line_119 | NAYY 4x150 SE | 117 | 121 | 0.018749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_3619-21_1_3_line_120 | NAYY 4x150 SE | 118 | 119 | 0.0068456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_3619-21_1_3_line_121 | NAYY 4x150 SE | 119 | 120 | 0.020231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_3619-21_1_3_line_122 | NAYY 4x150 SE | 120 | 121 | 0.0037777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_3619-21_1_3_line_123 | NAYY 4x150 SE | 121 | 122 | 0.0055847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_3619-21_1_3_line_124 | NAYY 4x150 SE | 122 | 125 | 0.00044168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_3619-21_1_3_line_125 | NAYY 4x150 SE | 123 | 124 | 0.13787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_3619-21_1_3_line_126 | NAYY 4x150 SE | 125 | 126 | 0.0072891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_3619-21_1_3_line_127 | NAYY 4x150 SE | 126 | 127 | 0.0025494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_3619-21_1_3_line_128 | NAYY 4x150 SE | 127 | 128 | 0.00073793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_3619-21_1_3_line_129 | NAYY 4x150 SE | 128 | 129 | 0.018421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_3619-21_1_3_line_130 | NAYY 4x150 SE | 129 | 130 | 0.0090007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_3619-21_1_3_line_131 | NAYY 4x150 SE | 130 | 131 | 0.020657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_3619-21_1_3_line_132 | NAYY 4x150 SE | 131 | 132 | 0.0038891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_3619-21_1_3_line_133 | NAYY 4x150 SE | 131 | 133 | 0.025017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_3619-21_1_3_line_134 | NAYY 4x150 SE | 133 | 134 | 0.032702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_3619-21_1_3_line_135 | NAYY 4x150 SE | 134 | 135 | 0.038809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_3619-21_1_3_line_136 | NAYY 4x150 SE | 135 | 139 | 0.072143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_3619-21_1_3_line_137 | NAYY 4x150 SE | 136 | 137 | 0.017193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_3619-21_1_3_line_138 | NAYY 4x150 SE | 136 | 138 | 0.0058378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_3619-21_1_3_line_139 | NAYY 4x150 SE | 139 | 140 | 0.020854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3619-21_1_3_trafo_235 | 0.25 MVA 20/0.4 kV | 141 | 123 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2736086.8169 | 1177560.6723 | 2736083.7563 | 1177560.6491
1 | 2736122.4251 | 1177502.3033 | 2736124.088 | 1177510.6501 | 2736109.5033 | 1177542.5324 | 2736098.3404 | 1177560.7597 | 2736086.8169 | 1177560.6723
2 | 2736083.7563 | 1177560.6491 | 2736076.2803 | 1177560.5924 | 2736072.5943 | 1177560.0588
3 | 2736113.5819 | 1177323.1688 | 2736122.4251 | 1177502.3033
4 | 2736650.8529 | 1177302.6911 | 2736839.8737 | 1177481.4034
5 | 2736650.8529 | 1177302.6911 | 2736963.6241 | 1177416.7421
6 | 2736596.2771 | 1177308.1282 | 2736609.2202 | 1177315.5397 | 2736619.5039 | 1177323.2353 | 2736626.857 | 1177329.0183 | 2736631.5153 | 1177331.2705 | 2736637.928 | 1177333.3626 | 2736642.4411 | 1177333.2654 | 2736646.0653 | 1177331.9135 | 2736646.7371 | 1177329.2713 | 2736645.5861 | 1177325.7646 | 2736641.657 | 1177322.7172 | 2736640.2003 | 1177319.2036 | 2736641.2435 | 1177314.0234 | 2736644.5296 | 1177309.3947 | 2736650.8529 | 1177302.6911
7 | 2736839.8737 | 1177481.4034 | 2736844.0477 | 1177489.5357 | 2736852.0137 | 1177499.9364 | 2736867.8779 | 1177505.6138 | 2736883.0002 | 1177508.5146
8 | 2736596.2771 | 1177308.1282 | 2736597.2042 | 1177304.0129 | 2736593.6344 | 1177298.6163 | 2736584.7291 | 1177293.5097 | 2736573.703 | 1177291.2125 | 2736562.7031 | 1177288.1041 | 2736556.2677 | 1177282.6424 | 2736553.8345 | 1177278.9894
9 | 2736595.8341 | 1177310.1197 | 2736596.2771 | 1177308.1282
10 | 2737012.163 | 1176787.9144 | 2737017.6491 | 1176789.7182 | 2737031.3899 | 1176791.033 | 2737049.1885 | 1176791.4399 | 2737061.2937 | 1176790.7158 | 2737077.4647 | 1176788.7393 | 2737083.8078 | 1176790.5523 | 2737096.0808 | 1176797.5381 | 2737105.4273 | 1176800.0869 | 2737132.2664 | 1176801.7126 | 2737145.0212 | 1176802.338 | 2737163.7215 | 1176807.1136 | 2737195.4742 | 1176814.2117 | 2737200.1882 | 1176815.6265
11 | 2737012.163 | 1176787.9144 | 2737104.6902 | 1176716.2949
12 | 2736974.4918 | 1176785.2623 | 2736980.7375 | 1176787.8629 | 2736990.191 | 1176785.7326 | 2737002.3114 | 1176784.6752 | 2737012.163 | 1176787.9144
13 | 2736595.8341 | 1177310.1197 | 2736591.6377 | 1177314.1049 | 2736580.1601 | 1177313.8434 | 2736556.9784 | 1177305.1424 | 2736540.7083 | 1177299.4566 | 2736496.2017 | 1177272.6901 | 2736481.5389 | 1177268.2642 | 2736396.2685 | 1177261.531
14 | 2736396.2685 | 1177261.531 | 2736386.9652 | 1177260.7967 | 2736376.8742 | 1177263.1024
15 | 2736396.2685 | 1177261.531 | 2736415.6993 | 1177273.0999
16 | 2736376.8742 | 1177263.1024 | 2736285.9557 | 1177283.8522 | 2736274.3667 | 1177288.4925 | 2736258.4045 | 1177304.6452
17 | 2736170.689 | 1177312.2564 | 2736197.2221 | 1177308.4114 | 2736209.1047 | 1177308.6813 | 2736223.3999 | 1177311.4525 | 2736234.0411 | 1177312.5171 | 2736243.8945 | 1177311.9182 | 2736254.216 | 1177308.8836 | 2736258.4045 | 1177304.6452
18 | 2736846.6576 | 1176841.6585 | 2736850.4424 | 1176845.4704
19 | 2736759.285 | 1176752.8398 | 2736777.0282 | 1176795.8994 | 2736785.0385 | 1176806.0787 | 2736838.5775 | 1176833.5205 | 2736846.6576 | 1176841.6585
20 | 2736850.7618 | 1176845.7922 | 2736850.4424 | 1176845.4704
21 | 2736759.285 | 1176752.8398 | 2736756.3343 | 1176745.4336 | 2736750.0714 | 1176717.3027 | 2736752.8131 | 1176684.9294 | 2736750.0902 | 1176667.5318 | 2736752.8785 | 1176657.2542 | 2736764.5994 | 1176672.0437 | 2736771.9089 | 1176675.0793 | 2736776.8399 | 1176674.7804
22 | 2736759.285 | 1176752.8398 | 2736736.5749 | 1176771.6477 | 2736722.2487 | 1176774.2121 | 2736710.9582 | 1176771.0635 | 2736684.3723 | 1176744.2373 | 2736679.1478 | 1176729.2402 | 2736680.1938 | 1176716.9512
23 | 2736850.9923 | 1176846.0243 | 2736850.7618 | 1176845.7922
24 | 2736940.4219 | 1176770.4282 | 2736944.162 | 1176771.293 | 2736956.8922 | 1176776.2883
25 | 2736940.4219 | 1176770.4282 | 2736979.5254 | 1176658.5903
26 | 2736776.8399 | 1176674.7804 | 2736787.2277 | 1176684.9917 | 2736844.2551 | 1176732.8397 | 2736855.8331 | 1176740.4763 | 2736870.1625 | 1176745.8184 | 2736926.4476 | 1176767.1967 | 2736940.4219 | 1176770.4282
27 | 2736963.8612 | 1176779.5699 | 2736960.4704 | 1176777.6924 | 2736956.8922 | 1176776.2883
28 | 2736963.8612 | 1176779.5699 | 2736971.3222 | 1176783.7012
29 | 2736974.4918 | 1176785.2623 | 2736973.0801 | 1176784.6745 | 2736971.3222 | 1176783.7012
30 | 2736209.5838 | 1177237.9873 | 2736203.2965 | 1177237.4637
31 | 2736191.8443 | 1177236.6902 | 2736194.8208 | 1177236.7578 | 2736203.2965 | 1177237.4637
32 | 2736170.689 | 1177312.2564 | 2736162.2433 | 1177307.7724 | 2736155.3855 | 1177302.7129 | 2736133.5797 | 1177296.6913
33 | 2736170.689 | 1177312.2564 | 2736211.9644 | 1177328.8231
34 | 2736113.5819 | 1177323.1688 | 2736125.9856 | 1177320.6928 | 2736165.5342 | 1177313.0067 | 2736170.689 | 1177312.2564
35 | 2736218.0897 | 1177097.7717 | 2736272.8118 | 1177122.4639 | 2736305.9041 | 1177136.3806
36 | 2736195.1229 | 1177075.7197 | 2736192.5322 | 1177081.3874 | 2736193.2198 | 1177087.1296 | 2736200.5089 | 1177091.3872 | 2736215.5665 | 1177096.6331 | 2736218.0897 | 1177097.7717
37 | 2736195.1229 | 1177075.7197 | 2736200.8619 | 1177075.8501 | 2736227.3602 | 1177083.0016 | 2736260.0585 | 1177087.8256 | 2736287.8707 | 1177091.3267 | 2736310.431 | 1177091.4282 | 2736316.668 | 1177087.478
38 | 2736195.1229 | 1177075.7197 | 2736141.5858 | 1177052.8872 | 2736066.9326 | 1177008.4042 | 2736016.0781 | 1176957.6013
39 | 2736316.668 | 1177087.478 | 2736318.0098 | 1177082.6047 | 2736314.8522 | 1177077.2178 | 2736305.0172 | 1177076.9942 | 2736281.6391 | 1177076.8741 | 2736268.9866 | 1177074.129 | 2736260.0807 | 1177069.0229 | 2736234.6856 | 1177037.2045
40 | 2736016.0781 | 1176957.6013 | 2736015.7268 | 1176948.82 | 2736000.5692 | 1176925.7144 | 2735983.5122 | 1176913.5296 | 2735979.1151 | 1176901.0871 | 2735980.0197 | 1176885.4735 | 2735977.3306 | 1176870.8793 | 2735982.9918 | 1176851.5262 | 2735992.1293 | 1176849.9188
41 | 2736016.0781 | 1176957.6013 | 2735989.5616 | 1176938.0743 | 2735938.9854 | 1176911.6969 | 2735908.2764 | 1176882.479 | 2735908.2764 | 1176882.479
42 | 2736234.6856 | 1177037.2045 | 2736218.2041 | 1177016.5542 | 2736207.9403 | 1177000.9991
43 | 2735992.1293 | 1176849.9188 | 2735999.5657 | 1176848.6107 | 2736018.4257 | 1176878.3943 | 2736016.845 | 1176885.8108
44 | 2735908.1959 | 1176882.8213 | 2735908.2764 | 1176882.479
45 | 2736191.8443 | 1177236.6902 | 2736182.8842 | 1177236.4866
46 | 2736237.8006 | 1177338.955 | 2736226.8375 | 1177334.7928 | 2736211.9644 | 1177328.8231
47 | 2736113.5819 | 1177323.1688 | 2736113.7861 | 1177314.1777 | 2736099.3086 | 1177301.5841
48 | 2736483.358 | 1176753.435 | 2736487.6203 | 1176742.2012 | 2736496.7941 | 1176730.8568
49 | 2736680.1938 | 1176716.9512 | 2736496.7941 | 1176730.8568
50 | 2736271.3437 | 1176555.3206 | 2736496.7941 | 1176730.8568
51 | 2736680.1938 | 1176716.9512 | 2736681.7649 | 1176698.4935
52 | 2736271.3437 | 1176555.3206 | 2736261.6991 | 1176564.5086 | 2736251.6311 | 1176574.4986 | 2736235.3423 | 1176605.2077 | 2736199.2565 | 1176659.174 | 2736178.0187 | 1176690.994 | 2736167.6172 | 1176714.9643
53 | 2736677.5108 | 1176683.657 | 2736682.1868 | 1176693.5377 | 2736681.7649 | 1176698.4935
54 | 2736167.6172 | 1176714.9643 | 2736166.7712 | 1176716.914 | 2736157.4066 | 1176749.8154 | 2736154.0767 | 1176770.1887 | 2736147.5951 | 1176802.7442 | 2736140.5292 | 1176824.6672 | 2736140.1396 | 1176841.827 | 2736142.1789 | 1176849.0112
55 | 2736142.1789 | 1176849.0112 | 2736143.1768 | 1176852.5263 | 2736160.2194 | 1176892.2709
56 | 2736160.2194 | 1176892.2709 | 2736178.2348 | 1176934.2842 | 2736194.5517 | 1176974.3184 | 2736206.7032 | 1176999.1242 | 2736207.9403 | 1177000.9991
57 | 2735906.9029 | 1176906.8459 | 2735905.8394 | 1176892.8428 | 2735908.1959 | 1176882.8213
58 | 2735907.0489 | 1176908.7679 | 2735906.9029 | 1176906.8459
59 | 2735907.0489 | 1176908.7679 | 2735909.218 | 1176937.3289
60 | 2735909.218 | 1176937.3289 | 2735909.867 | 1176945.8744 | 2735902.3143 | 1176972.5549
61 | 2735899.993 | 1176980.755 | 2735902.3143 | 1176972.5549
62 | 2735839.3911 | 1176970.2097 | 2735495.4019 | 1176950.8851
63 | 2735853.8816 | 1176986.8863 | 2735839.3911 | 1176970.2097
64 | 2735866.3539 | 1177001.2402 | 2735853.8816 | 1176986.8863
65 | 2736072.5943 | 1177560.0588 | 2736061.1939 | 1177558.4084
66 | 2735986.7201 | 1177232.2969 | 2735976.4485 | 1177225.4358
67 | 2736023.6806 | 1177241.223 | 2736008.0245 | 1177246.5276 | 2735986.7201 | 1177232.2969
68 | 2735951.8349 | 1177205.9014 | 2735956.3286 | 1177211.9963 | 2735976.4485 | 1177225.4358
69 | 2736023.6806 | 1177241.223 | 2736013.9589 | 1177230.9614 | 2736013.4299 | 1177228.9769
70 | 2736023.6806 | 1177241.223 | 2736033.2677 | 1177251.348 | 2736035.4901 | 1177253.0059
71 | 2736089.4178 | 1177293.9002 | 2736099.3086 | 1177301.5841
72 | 2736035.4901 | 1177253.0059 | 2735983.9561 | 1177344.234
73 | 2736089.4178 | 1177293.9002 | 2736067.8742 | 1177277.1636 | 2736035.4901 | 1177253.0059
74 | 2736327.4909 | 1177363.6567 | 2736281.3543 | 1177354.4237 | 2736257.7413 | 1177346.5257 | 2736237.8006 | 1177338.955
75 | 2736009.449 | 1177214.043 | 2736013.4299 | 1177228.9769
76 | 2736002.1728 | 1177198.155 | 2736007.1596 | 1177205.4545 | 2736009.449 | 1177214.043
77 | 2735997.4397 | 1177191.2268 | 2736002.1728 | 1177198.155
78 | 2735925.0899 | 1177182.972 | 2735926.7274 | 1177184.2377 | 2735939.1943 | 1177188.757 | 2735951.8349 | 1177205.9014
79 | 2736176.461 | 1177236.3407 | 2736182.8842 | 1177236.4866
80 | 2735899.993 | 1176980.755 | 2735898.4234 | 1176983.7834
81 | 2735899.993 | 1176980.755 | 2735883.5358 | 1176971.1395
82 | 2735898.4234 | 1176983.7834 | 2735893.0446 | 1176994.1611
83 | 2735862.7013 | 1176949.0283 | 2735870.2544 | 1176963.3794 | 2735883.5358 | 1176971.1395
84 | 2735893.0446 | 1176994.1611 | 2735889.876 | 1177000.2745
85 | 2735852.669 | 1176929.9669 | 2735862.7013 | 1176949.0283
86 | 2735888.2208 | 1177003.4679 | 2735889.876 | 1177000.2745
87 | 2735888.2208 | 1177003.4679 | 2735885.8706 | 1177008.0025
88 | 2735881.8671 | 1177015.7266 | 2735885.8706 | 1177008.0025
89 | 2735881.8671 | 1177015.7266 | 2735887.0731 | 1177023.1836 | 2735890.0006 | 1177028.2102
90 | 2735881.8671 | 1177015.7266 | 2735877.4337 | 1177013.9916 | 2735866.3539 | 1177001.2402
91 | 2735890.0006 | 1177028.2102 | 2735890.1585 | 1177028.4813
92 | 2735890.1585 | 1177028.4813 | 2735891.0332 | 1177029.9832
93 | 2735891.5527 | 1177030.8752 | 2735891.0332 | 1177029.9832
94 | 2735891.5527 | 1177030.8752 | 2735895.0047 | 1177036.8026
95 | 2735895.0047 | 1177036.8026 | 2735897.862 | 1177041.7087 | 2735899.8627 | 1177046.798
96 | 2735899.8627 | 1177046.798 | 2735904.4208 | 1177058.3923
97 | 2735905.1709 | 1177060.3004 | 2735904.4208 | 1177058.3923
98 | 2735905.1709 | 1177060.3004 | 2735905.25 | 1177060.5014 | 2735907.5174 | 1177070.6817
99 | 2735907.5174 | 1177070.6817 | 2735907.8661 | 1177072.2474
100 | 2735910.9013 | 1177080.011 | 2735907.8661 | 1177072.2474 | 2735907.8661 | 1177072.2474
101 | 2735910.9013 | 1177080.011 | 2735912.8488 | 1177084.9908
102 | 2735910.9013 | 1177080.011 | 2735923.8715 | 1177078.1923
103 | 2735912.8488 | 1177084.9908 | 2735914.6087 | 1177089.4911 | 2735917.0292 | 1177093.7889
104 | 2735923.8715 | 1177078.1923 | 2735923.8715 | 1177078.1923 | 2735933.5706 | 1177084.9926
105 | 2735917.5022 | 1177094.6287 | 2735917.0292 | 1177093.7889
106 | 2735933.5706 | 1177084.9926 | 2735941.7314 | 1177090.7143
107 | 2735922.1174 | 1177102.8233 | 2735917.5022 | 1177094.6287
108 | 2735941.7314 | 1177090.7143 | 2735945.952 | 1177093.6735
109 | 2735959.8747 | 1177103.4351 | 2735945.952 | 1177093.6735
110 | 2735959.8747 | 1177103.4351 | 2735971.3442 | 1177111.4766
111 | 2735972.0213 | 1177111.9513 | 2735971.3442 | 1177111.4766
112 | 2735922.1174 | 1177102.8233 | 2735928.3235 | 1177113.8425 | 2735934.1082 | 1177118.028
113 | 2735883.9149 | 1177107.7157 | 2735887.2449 | 1177113.0892 | 2735910.1596 | 1177123.6489
114 | 2735870.8555 | 1177086.6423 | 2735883.9149 | 1177107.7157
115 | 2735914.45 | 1177125.6974 | 2735913.1304 | 1177125.0179 | 2735910.1596 | 1177123.6489
116 | 2735920.8781 | 1177129.0072 | 2735914.45 | 1177125.6974
117 | 2735920.8781 | 1177129.0072 | 2735922.2533 | 1177129.7153
118 | 2735922.2533 | 1177129.7153 | 2735931.8829 | 1177134.6736
119 | 2735948.5522 | 1177143.2566 | 2735931.8829 | 1177134.6736
120 | 2735934.1082 | 1177118.028 | 2735939.6543 | 1177122.0409
121 | 2735947.6341 | 1177139.5922 | 2735944.03 | 1177125.2071 | 2735939.6543 | 1177122.0409
122 | 2735948.5522 | 1177143.2566 | 2735947.6341 | 1177139.5922
123 | 2735948.5522 | 1177143.2566 | 2735952.5838 | 1177147.1212
124 | 2735952.9027 | 1177147.4268 | 2735952.5838 | 1177147.1212
125 | 2736094.198 | 1177161.2947 | 2736038.841 | 1177131.0828 | 2736018.8818 | 1177119.7995 | 2735991.7415 | 1177125.7777 | 2735972.0213 | 1177111.9513
126 | 2735958.1647 | 1177152.4709 | 2735952.9027 | 1177147.4268
127 | 2735960.0052 | 1177154.2351 | 2735958.1647 | 1177152.4709
128 | 2735960.5379 | 1177154.7457 | 2735960.0052 | 1177154.2351
129 | 2735973.8359 | 1177167.4927 | 2735960.5379 | 1177154.7457
130 | 2735973.8359 | 1177167.4927 | 2735980.3335 | 1177173.7211
131 | 2735995.2458 | 1177188.0156 | 2735980.3335 | 1177173.7211
132 | 2735995.2458 | 1177188.0156 | 2735997.4397 | 1177191.2268
133 | 2735995.2458 | 1177188.0156 | 2736005.7372 | 1177191.9898 | 2736017.4213 | 1177192.2549 | 2736019.4531 | 1177192.8291
134 | 2736019.4531 | 1177192.8291 | 2736050.9228 | 1177201.7228
135 | 2736050.9228 | 1177201.7228 | 2736074.0637 | 1177208.2626 | 2736087.3193 | 1177214.7591
136 | 2736087.3193 | 1177214.7591 | 2736093.7386 | 1177217.9051 | 2736108.9466 | 1177225.6116 | 2736131.9832 | 1177231.65 | 2736146.4539 | 1177235.459 | 2736155.6149 | 1177235.7789
137 | 2735911.4868 | 1177172.4574 | 2735925.0899 | 1177182.972
138 | 2735906.868 | 1177168.8872 | 2735911.4868 | 1177172.4574
139 | 2736155.6149 | 1177235.7789 | 2736162.8482 | 1177236.0315 | 2736176.461 | 1177236.3407

## bus_geodata
| x | y | coords
0 | 2736086.8169 | 1177560.6723
1 | 2736083.7563 | 1177560.6491
2 | 2736122.4251 | 1177502.3033
3 | 2736650.8529 | 1177302.6911
4 | 2736839.8737 | 1177481.4034
5 | 2736963.6241 | 1177416.7421
6 | 2736596.2771 | 1177308.1282
7 | 2736883.0002 | 1177508.5146
8 | 2737200.1882 | 1176815.6265
9 | 2737012.163 | 1176787.9144
10 | 2737104.6902 | 1176716.2949
11 | 2736595.8341 | 1177310.1197
12 | 2736396.2685 | 1177261.531
13 | 2736553.8345 | 1177278.9894
14 | 2736376.8742 | 1177263.1024
15 | 2736415.6993 | 1177273.0999
16 | 2736258.4045 | 1177304.6452
17 | 2736846.6576 | 1176841.6585
18 | 2736850.4424 | 1176845.4704
19 | 2736759.285 | 1176752.8398
20 | 2736850.7618 | 1176845.7922
21 | 2736850.9923 | 1176846.0243
22 | 2736940.4219 | 1176770.4282
23 | 2736956.8922 | 1176776.2883
24 | 2736979.5254 | 1176658.5903
25 | 2736776.8399 | 1176674.7804
26 | 2736963.8612 | 1176779.5699
27 | 2736971.3222 | 1176783.7012
28 | 2736974.4918 | 1176785.2623
29 | 2736209.5838 | 1177237.9873
30 | 2736203.2965 | 1177237.4637
31 | 2736170.689 | 1177312.2564
32 | 2736305.9041 | 1177136.3806
33 | 2736218.0897 | 1177097.7717
34 | 2736195.1229 | 1177075.7197
35 | 2736316.668 | 1177087.478
36 | 2736016.0781 | 1176957.6013
37 | 2736234.6856 | 1177037.2045
38 | 2735992.1293 | 1176849.9188
39 | 2735908.2764 | 1176882.479
40 | 2736191.8443 | 1177236.6902
41 | 2736133.5797 | 1177296.6913
42 | 2736211.9644 | 1177328.8231
43 | 2736113.5819 | 1177323.1688
44 | 2736496.7941 | 1176730.8568
45 | 2736483.358 | 1176753.435
46 | 2736680.1938 | 1176716.9512
47 | 2736271.3437 | 1176555.3206
48 | 2736681.7649 | 1176698.4935
49 | 2736167.6172 | 1176714.9643
50 | 2736142.1789 | 1176849.0112
51 | 2736677.5108 | 1176683.657
52 | 2736160.2194 | 1176892.2709
53 | 2736207.9403 | 1177000.9991
54 | 2735908.1959 | 1176882.8213
55 | 2735906.9029 | 1176906.8459
56 | 2735907.0489 | 1176908.7679
57 | 2736016.845 | 1176885.8108
58 | 2735909.218 | 1176937.3289
59 | 2735902.3143 | 1176972.5549
60 | 2735495.4019 | 1176950.8851
61 | 2735839.3911 | 1176970.2097
62 | 2735853.8816 | 1176986.8863
63 | 2736061.1939 | 1177558.4084
64 | 2736072.5943 | 1177560.0588
65 | 2735986.7201 | 1177232.2969
66 | 2735976.4485 | 1177225.4358
67 | 2736023.6806 | 1177241.223
68 | 2736099.3086 | 1177301.5841
69 | 2735983.9561 | 1177344.234
70 | 2736035.4901 | 1177253.0059
71 | 2736089.4178 | 1177293.9002
72 | 2736237.8006 | 1177338.955
73 | 2736327.4909 | 1177363.6567
74 | 2736013.4299 | 1177228.9769
75 | 2736009.449 | 1177214.043
76 | 2736002.1728 | 1177198.155
77 | 2735951.8349 | 1177205.9014
78 | 2736182.8842 | 1177236.4866
79 | 2735899.993 | 1176980.755
80 | 2735898.4234 | 1176983.7834
81 | 2735883.5358 | 1176971.1395
82 | 2735893.0446 | 1176994.1611
83 | 2735862.7013 | 1176949.0283
84 | 2735889.876 | 1177000.2745
85 | 2735852.669 | 1176929.9669
86 | 2735888.2208 | 1177003.4679
87 | 2735885.8706 | 1177008.0025
88 | 2735881.8671 | 1177015.7266
89 | 2735890.0006 | 1177028.2102
90 | 2735866.3539 | 1177001.2402
91 | 2735890.1585 | 1177028.4813
92 | 2735891.0332 | 1177029.9832
93 | 2735891.5527 | 1177030.8752
94 | 2735895.0047 | 1177036.8026
95 | 2735899.8627 | 1177046.798
96 | 2735904.4208 | 1177058.3923
97 | 2735905.1709 | 1177060.3004
98 | 2735907.5174 | 1177070.6817
99 | 2735907.8661 | 1177072.2474
100 | 2735910.9013 | 1177080.011
101 | 2735912.8488 | 1177084.9908
102 | 2735923.8715 | 1177078.1923
103 | 2735917.0292 | 1177093.7889
104 | 2735933.5706 | 1177084.9926
105 | 2735917.5022 | 1177094.6287
106 | 2735941.7314 | 1177090.7143
107 | 2735945.952 | 1177093.6735
108 | 2735959.8747 | 1177103.4351
109 | 2735971.3442 | 1177111.4766
110 | 2735922.1174 | 1177102.8233
111 | 2735883.9149 | 1177107.7157
112 | 2735910.1596 | 1177123.6489
113 | 2735870.8555 | 1177086.6423
114 | 2735914.45 | 1177125.6974
115 | 2735920.8781 | 1177129.0072
116 | 2735922.2533 | 1177129.7153
117 | 2735931.8829 | 1177134.6736
118 | 2735934.1082 | 1177118.028
119 | 2735939.6543 | 1177122.0409
120 | 2735947.6341 | 1177139.5922
121 | 2735948.5522 | 1177143.2566
122 | 2735952.5838 | 1177147.1212
123 | 2735972.0213 | 1177111.9513
124 | 2736094.198 | 1177161.2947
125 | 2735952.9027 | 1177147.4268
126 | 2735958.1647 | 1177152.4709
127 | 2735960.0052 | 1177154.2351
128 | 2735960.5379 | 1177154.7457
129 | 2735973.8359 | 1177167.4927
130 | 2735980.3335 | 1177173.7211
131 | 2735995.2458 | 1177188.0156
132 | 2735997.4397 | 1177191.2268
133 | 2736019.4531 | 1177192.8291
134 | 2736050.9228 | 1177201.7228
135 | 2736087.3193 | 1177214.7591
136 | 2735911.4868 | 1177172.4574
137 | 2735925.0899 | 1177182.972
138 | 2735906.868 | 1177168.8872
139 | 2736155.6149 | 1177235.7789
140 | 2736176.461 | 1177236.3407
141 | 2735910.9013 | 1177080.011

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1