## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3619-24_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3619-24_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3619-24_0_3_node_12 | 0.4 | n |  | TRUE
3 | bus_LV_3619-24_0_3_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_3619-24_0_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_3619-24_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_3619-24_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_3619-24_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_3619-24_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_3619-24_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3619-24_0_3_node_2 | 0.4 | n |  | TRUE
11 | bus_LV_3619-24_0_3_node_3 | 0.4 | n |  | TRUE
12 | bus_LV_3619-24_0_3_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_3619-24_0_3_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_3619-24_0_3_node_56 | 0.4 | n |  | TRUE
15 | bus_LV_3619-24_0_3_node_54 | 0.4 | n |  | TRUE
16 | bus_LV_3619-24_0_3_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_3619-24_0_3_node_58 | 0.4 | n |  | TRUE
18 | bus_LV_3619-24_0_3_node_158 | 0.4 | n |  | TRUE
19 | bus_LV_3619-24_0_3_node_83 | 0.4 | n |  | TRUE
20 | bus_LV_3619-24_0_3_node_157 | 0.4 | n |  | TRUE
21 | bus_LV_3619-24_0_3_node_155 | 0.4 | n |  | TRUE
22 | bus_LV_3619-24_0_3_node_81 | 0.4 | n |  | TRUE
23 | bus_LV_3619-24_0_3_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_3619-24_0_3_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_3619-24_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_3619-24_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_3619-24_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_3619-24_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_3619-24_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_3619-24_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_3619-24_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_3619-24_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_3619-24_0_3_node_74 | 0.4 | n |  | TRUE
34 | bus_LV_3619-24_0_3_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_3619-24_0_3_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_3619-24_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3619-24_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_3619-24_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_3619-24_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_3619-24_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_3619-24_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_3619-24_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_3619-24_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_3619-24_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_3619-24_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_3619-24_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_3619-24_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_3619-24_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_3619-24_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_3619-24_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_3619-24_0_3_node_100 | 0.4 | n |  | TRUE
52 | bus_LV_3619-24_0_3_node_99 | 0.4 | n |  | TRUE
53 | bus_LV_3619-24_0_3_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_3619-24_0_3_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_3619-24_0_3_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_3619-24_0_3_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_3619-24_0_3_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_3619-24_0_3_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_3619-24_0_3_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_3619-24_0_3_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_3619-24_0_3_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_3619-24_0_3_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_3619-24_0_3_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_3619-24_0_3_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_3619-24_0_3_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_3619-24_0_3_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_3619-24_0_3_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_3619-24_0_3_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_3619-24_0_3_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_3619-24_0_3_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_3619-24_0_3_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_3619-24_0_3_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_3619-24_0_3_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_3619-24_0_3_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_3619-24_0_3_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_3619-24_0_3_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_3619-24_0_3_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_3619-24_0_3_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_3619-24_0_3_node_136 | 0.4 | n |  | TRUE
80 | bus_LV_3619-24_0_3_node_134 | 0.4 | n |  | TRUE
81 | bus_LV_3619-24_0_3_node_164 | 0.4 | n |  | TRUE
82 | bus_LV_3619-24_0_3_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_3619-24_0_3_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_3619-24_0_3_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_3619-24_0_3_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_3619-24_0_3_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_3619-24_0_3_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_3619-24_0_3_node_92 | 0.4 | n |  | TRUE
89 | bus_LV_3619-24_0_3_node_93 | 0.4 | n |  | TRUE
90 | bus_LV_3619-24_0_3_node_94 | 0.4 | n |  | TRUE
91 | bus_LV_3619-24_0_3_node_95 | 0.4 | n |  | TRUE
92 | bus_LV_3619-24_0_3_node_96 | 0.4 | n |  | TRUE
93 | bus_LV_3619-24_0_3_node_97 | 0.4 | n |  | TRUE
94 | bus_LV_3619-24_0_3_node_98 | 0.4 | n |  | TRUE
95 | bus_LV_3619-24_0_3_node_101 | 0.4 | n |  | TRUE
96 | bus_LV_3619-24_0_3_node_102 | 0.4 | n |  | TRUE
97 | bus_LV_3619-24_0_3_node_103 | 0.4 | n |  | TRUE
98 | bus_LV_3619-24_0_3_node_104 | 0.4 | n |  | TRUE
99 | bus_LV_3619-24_0_3_node_105 | 0.4 | n |  | TRUE
100 | bus_LV_3619-24_0_3_node_113 | 0.4 | n |  | TRUE
101 | bus_LV_3619-24_0_3_node_106 | 0.4 | n |  | TRUE
102 | bus_LV_3619-24_0_3_node_107 | 0.4 | n |  | TRUE
103 | bus_LV_3619-24_0_3_node_109 | 0.4 | n |  | TRUE
104 | bus_LV_3619-24_0_3_node_108 | 0.4 | n |  | TRUE
105 | bus_LV_3619-24_0_3_node_110 | 0.4 | n |  | TRUE
106 | bus_LV_3619-24_0_3_node_111 | 0.4 | n |  | TRUE
107 | bus_LV_3619-24_0_3_node_112 | 0.4 | n |  | TRUE
108 | bus_LV_3619-24_0_3_node_123 | 0.4 | n |  | TRUE
109 | bus_LV_3619-24_0_3_node_115 | 0.4 | n |  | TRUE
110 | bus_LV_3619-24_0_3_node_144 | 0.4 | n |  | TRUE
111 | bus_LV_3619-24_0_3_node_150 | 0.4 | n |  | TRUE
112 | bus_LV_3619-24_0_3_node_124 | 0.4 | n |  | TRUE
113 | bus_LV_3619-24_0_3_node_114 | 0.4 | n |  | TRUE
114 | bus_LV_3619-24_0_3_node_145 | 0.4 | n |  | TRUE
115 | bus_LV_3619-24_0_3_node_149 | 0.4 | n |  | TRUE
116 | bus_LV_3619-24_0_3_node_116 | 0.4 | n |  | TRUE
117 | bus_LV_3619-24_0_3_node_117 | 0.4 | n |  | TRUE
118 | bus_LV_3619-24_0_3_node_118 | 0.4 | n |  | TRUE
119 | bus_LV_3619-24_0_3_node_119 | 0.4 | n |  | TRUE
120 | bus_LV_3619-24_0_3_node_120 | 0.4 | n |  | TRUE
121 | bus_LV_3619-24_0_3_node_121 | 0.4 | n |  | TRUE
122 | bus_LV_3619-24_0_3_node_122 | 0.4 | n |  | TRUE
123 | bus_LV_3619-24_0_3_node_131 | 0.4 | n |  | TRUE
124 | bus_LV_3619-24_0_3_node_130 | 0.4 | n |  | TRUE
125 | bus_LV_3619-24_0_3_node_125 | 0.4 | n |  | TRUE
126 | bus_LV_3619-24_0_3_node_126 | 0.4 | n |  | TRUE
127 | bus_LV_3619-24_0_3_node_127 | 0.4 | n |  | TRUE
128 | bus_LV_3619-24_0_3_node_128 | 0.4 | n |  | TRUE
129 | bus_LV_3619-24_0_3_node_129 | 0.4 | n |  | TRUE
130 | bus_LV_3619-24_0_3_node_135 | 0.4 | n |  | TRUE
131 | bus_LV_3619-24_0_3_node_132 | 0.4 | n |  | TRUE
132 | bus_LV_3619-24_0_3_node_138 | 0.4 | n |  | TRUE
133 | bus_LV_3619-24_0_3_node_137 | 0.4 | n |  | TRUE
134 | bus_LV_3619-24_0_3_node_133 | 0.4 | n |  | TRUE
135 | bus_LV_3619-24_0_3_node_139 | 0.4 | n |  | TRUE
136 | bus_LV_3619-24_0_3_node_140 | 0.4 | n |  | TRUE
137 | bus_LV_3619-24_0_3_node_141 | 0.4 | n |  | TRUE
138 | bus_LV_3619-24_0_3_node_142 | 0.4 | n |  | TRUE
139 | bus_LV_3619-24_0_3_node_146 | 0.4 | n |  | TRUE
140 | bus_LV_3619-24_0_3_node_147 | 0.4 | n |  | TRUE
141 | bus_LV_3619-24_0_3_node_148 | 0.4 | n |  | TRUE
142 | bus_LV_3619-24_0_3_node_165 | 0.4 | n |  | TRUE
143 | bus_LV_3619-24_0_3_node_166 | 0.4 | n |  | TRUE
144 | bus_LV_3619-24_0_3_node_167 | 0.4 | n |  | TRUE
145 | bus_MV_161_0_node_131 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3619-24_0_3_load_0 | 0 | 0.0017588 | 0.00044079 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3619-24_0_3_load_12 | 2 | 0.00032659 | 8.1851e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3619-24_0_3_load_7 | 3 | 0.00065648 | 0.00016453 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3619-24_0_3_load_9 | 4 | 0.00033827 | 8.4779e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3619-24_0_3_load_6 | 5 | 0.00043884 | 0.00010998 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3619-24_0_3_load_13 | 6 | 0.00020338 | 5.0972e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3619-24_0_3_load_11 | 7 | 0.00026089 | 6.5385e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3619-24_0_3_load_4 | 8 | 0.00092304 | 0.00023134 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3619-24_0_3_load_5 | 9 | 0.0005978 | 0.00014982 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3619-24_0_3_load_2 | 10 | 0.00061546 | 0.00015425 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3619-24_0_3_load_56 | 14 | 0.00033935 | 8.5048e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3619-24_0_3_load_54 | 15 | 0.00029091 | 7.2909e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3619-24_0_3_load_58 | 17 | 0.0003024 | 7.5789e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3619-24_0_3_load_157 | 20 | 0.0021076 | 0.00052822 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3619-24_0_3_load_155 | 21 | 0.0010276 | 0.00025755 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3619-24_0_3_load_8 | 23 | 0.00077337 | 0.00019383 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3619-24_0_3_load_10 | 24 | 0.0038674 | 0.00096926 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3619-24_0_3_load_14 | 25 | 0.00033292 | 8.3439e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3619-24_0_3_load_15 | 26 | 0.00022057 | 5.5279e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3619-24_0_3_load_16 | 27 | 0.00023253 | 5.8276e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3619-24_0_3_load_17 | 28 | 0.00019883 | 4.9831e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3619-24_0_3_load_22 | 29 | 0.00027606 | 6.9188e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3619-24_0_3_load_23 | 30 | 0.00025019 | 6.2703e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3619-24_0_3_load_24 | 31 | 0.00061264 | 0.00015354 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3619-24_0_3_load_25 | 32 | 0.00024398 | 6.1148e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3619-24_0_3_load_74 | 33 | 0.00056524 | 0.00014166 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3619-24_0_3_load_34 | 34 | 0.00049294 | 0.00012354 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3619-24_0_3_load_66 | 35 | 0.00027041 | 6.7771e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3619-24_0_3_load_26 | 36 | 0.00024557 | 6.1546e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3619-24_0_3_load_27 | 37 | 0.00044834 | 0.00011236 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3619-24_0_3_load_29 | 39 | 0.00091922 | 0.00023038 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3619-24_0_3_load_30 | 40 | 0.0036365 | 0.00091139 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3619-24_0_3_load_31 | 41 | 0.00029259 | 7.3329e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3619-24_0_3_load_32 | 42 | 0.00039839 | 9.9846e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3619-24_0_3_load_33 | 43 | 0.0031486 | 0.00078912 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3619-24_0_3_load_39 | 44 | 0.0014852 | 0.00037223 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3619-24_0_3_load_40 | 45 | 0.002075 | 0.00052005 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3619-24_0_3_load_36 | 47 | 0.00090471 | 0.00022674 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3619-24_0_3_load_38 | 49 | 0.0034577 | 0.00086658 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3619-24_0_3_load_41 | 50 | 0.0014965 | 0.00037506 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3619-24_0_3_load_100 | 51 | 0.0032146 | 0.00080565 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3619-24_0_3_load_99 | 52 | 0.0013116 | 0.00032872 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3619-24_0_3_load_50 | 53 | 0.0012644 | 0.00031689 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3619-24_0_3_load_51 | 54 | 0.00050321 | 0.00012612 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3619-24_0_3_load_52 | 55 | 0.00042966 | 0.00010768 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3619-24_0_3_load_53 | 56 | 0.00013194 | 3.3068e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3619-24_0_3_load_64 | 57 | 0.00087027 | 0.00021811 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3619-24_0_3_load_59 | 58 | 0.00098583 | 0.00024707 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3619-24_0_3_load_62 | 60 | 0.0003913 | 9.807e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3619-24_0_3_load_63 | 61 | 0.00042671 | 0.00010694 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3619-24_0_3_load_65 | 62 | 0.0003513 | 8.8045e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3619-24_0_3_load_67 | 63 | 0.0016028 | 0.0004017 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3619-24_0_3_load_68 | 64 | 0.00025482 | 6.3864e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3619-24_0_3_load_69 | 65 | 0.00039166 | 9.8159e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3619-24_0_3_load_70 | 66 | 0.0012889 | 0.00032303 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3619-24_0_3_load_71 | 67 | 0.0017258 | 0.00043252 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3619-24_0_3_load_72 | 68 | 0.001289 | 0.00032306 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3619-24_0_3_load_73 | 69 | 0.00074429 | 0.00018654 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3619-24_0_3_load_76 | 71 | 0.00080212 | 0.00020103 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3619-24_0_3_load_78 | 73 | 0.0021963 | 0.00055046 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3619-24_0_3_load_79 | 74 | 0.007955 | 0.0019937 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3619-24_0_3_load_84 | 75 | 0.0039462 | 0.00098901 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3619-24_0_3_load_80 | 76 | 0.0013249 | 0.00033206 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3619-24_0_3_load_85 | 77 | 0.0035724 | 0.00089532 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3619-24_0_3_load_82 | 78 | 0.0005793 | 0.00014519 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3619-24_0_3_load_136 | 79 | 0.0022334 | 0.00055974 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3619-24_0_3_load_134 | 80 | 0.00088466 | 0.00022172 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3619-24_0_3_load_164 | 81 | 0.00080194 | 0.00020099 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3619-24_0_3_load_86 | 82 | 0.0034558 | 0.00086611 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3619-24_0_3_load_87 | 83 | 0.0013875 | 0.00034774 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3619-24_0_3_load_88 | 84 | 0.00311 | 0.00077945 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3619-24_0_3_load_89 | 85 | 0.0028097 | 0.00070418 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3619-24_0_3_load_90 | 86 | 0.0027653 | 0.00069304 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3619-24_0_3_load_92 | 88 | 0.0026015 | 0.00065199 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3619-24_0_3_load_93 | 89 | 0.0022309 | 0.00055912 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3619-24_0_3_load_94 | 90 | 0.0023981 | 0.00060103 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3619-24_0_3_load_95 | 91 | 0.002972 | 0.00074485 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3619-24_0_3_load_96 | 92 | 0.0024504 | 0.00061413 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3619-24_0_3_load_97 | 93 | 0.0029249 | 0.00073305 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3619-24_0_3_load_101 | 95 | 0.0042951 | 0.0010764 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3619-24_0_3_load_102 | 96 | 0.0020202 | 0.00050631 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3619-24_0_3_load_103 | 97 | 0.0037592 | 0.00094214 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3619-24_0_3_load_104 | 98 | 0.0027839 | 0.00069771 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3619-24_0_3_load_105 | 99 | 0.0058118 | 0.0014566 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3619-24_0_3_load_113 | 100 | 0.0043565 | 0.0010918 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3619-24_0_3_load_106 | 101 | 0.0012112 | 0.00030357 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3619-24_0_3_load_107 | 102 | 0.0083904 | 0.0021028 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3619-24_0_3_load_109 | 103 | 0.0028921 | 0.00072484 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3619-24_0_3_load_111 | 106 | 0.00087423 | 0.0002191 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3619-24_0_3_load_112 | 107 | 0.0043169 | 0.0010819 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3619-24_0_3_load_123 | 108 | 0.00073396 | 0.00018395 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3619-24_0_3_load_115 | 109 | 0.0012657 | 0.00031722 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3619-24_0_3_load_144 | 110 | 0.00061479 | 0.00015408 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3619-24_0_3_load_150 | 111 | 0.0020556 | 0.00051517 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3619-24_0_3_load_114 | 113 | 0.0023795 | 0.00059635 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3619-24_0_3_load_145 | 114 | 0.00035266 | 8.8384e-05 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3619-24_0_3_load_149 | 115 | 0.0022807 | 0.00057159 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3619-24_0_3_load_116 | 116 | 0.0033999 | 0.00085209 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3619-24_0_3_load_117 | 117 | 0.0011319 | 0.00028368 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3619-24_0_3_load_118 | 118 | 0.00060841 | 0.00015248 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3619-24_0_3_load_119 | 119 | 0.00060911 | 0.00015266 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3619-24_0_3_load_120 | 120 | 0.0018613 | 0.00046648 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3619-24_0_3_load_121 | 121 | 0.0074099 | 0.0018571 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3619-24_0_3_load_122 | 122 | 0.0012047 | 0.00030192 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_3619-24_0_3_load_131 | 123 | 0.0011502 | 0.00028826 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_3619-24_0_3_load_130 | 124 | 0.0016315 | 0.00040889 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_3619-24_0_3_load_126 | 126 | 0.00071989 | 0.00018042 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_3619-24_0_3_load_127 | 127 | 0.0014484 | 0.00036299 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_3619-24_0_3_load_128 | 128 | 0.00069362 | 0.00017384 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_3619-24_0_3_load_129 | 129 | 0.00040035 | 0.00010034 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_3619-24_0_3_load_135 | 130 | 0.00068266 | 0.00017109 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_3619-24_0_3_load_138 | 132 | 0.00080581 | 0.00020195 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_3619-24_0_3_load_137 | 133 | 0.0012795 | 0.00032067 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_3619-24_0_3_load_133 | 134 | 0.0016902 | 0.00042359 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_3619-24_0_3_load_139 | 135 | 0.00076038 | 0.00019057 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_3619-24_0_3_load_140 | 136 | 0.00079001 | 0.00019799 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_3619-24_0_3_load_142 | 138 | 0.00082966 | 0.00020793 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_3619-24_0_3_load_146 | 139 | 0.0010829 | 0.0002714 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_3619-24_0_3_load_147 | 140 | 0.0029268 | 0.00073352 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_3619-24_0_3_load_148 | 141 | 0.0028277 | 0.00070869 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_3619-24_0_3_load_165 | 142 | 0.0012281 | 0.0003078 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_3619-24_0_3_load_166 | 143 | 0.0011854 | 0.00029708 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_3619-24_0_3_load_167 | 144 | 0.0010828 | 0.00027137 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 82 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3619-24_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.13379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3619-24_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.13639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3619-24_0_3_line_2 | NAYY 4x150 SE | 2 | 6 | 0.018384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3619-24_0_3_line_3 | NAYY 4x150 SE | 2 | 7 | 0.011479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3619-24_0_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.093494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3619-24_0_3_line_5 | NAYY 4x150 SE | 3 | 5 | 0.032861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3619-24_0_3_line_6 | NAYY 4x150 SE | 5 | 23 | 0.029402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3619-24_0_3_line_7 | NAYY 4x150 SE | 6 | 25 | 0.013801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3619-24_0_3_line_8 | NAYY 4x150 SE | 7 | 24 | 0.028487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3619-24_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.022901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3619-24_0_3_line_10 | NAYY 4x150 SE | 9 | 18 | 0.036185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3619-24_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.01874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3619-24_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.014004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3619-24_0_3_line_13 | NAYY 4x150 SE | 12 | 16 | 0.049987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3619-24_0_3_line_14 | NAYY 4x150 SE | 12 | 17 | 0.025007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3619-24_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.026233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3619-24_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.0074301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3619-24_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.02083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3619-24_0_3_line_18 | NAYY 4x150 SE | 14 | 56 | 0.011308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3619-24_0_3_line_19 | NAYY 4x150 SE | 15 | 28 | 0.013101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3619-24_0_3_line_20 | NAYY 4x150 SE | 16 | 57 | 0.057187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3619-24_0_3_line_21 | NAYY 4x150 SE | 17 | 58 | 0.0012183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3619-24_0_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.18184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3619-24_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.038854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3619-24_0_3_line_24 | NAYY 4x150 SE | 19 | 21 | 0.037023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3619-24_0_3_line_25 | NAYY 4x150 SE | 19 | 22 | 0.081341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3619-24_0_3_line_26 | NAYY 4x150 SE | 20 | 81 | 0.022496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3619-24_0_3_line_27 | NAYY 4x150 SE | 22 | 78 | 0.018851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3619-24_0_3_line_28 | NAYY 4x150 SE | 22 | 76 | 0.009669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3619-24_0_3_line_29 | NAYY 4x150 SE | 23 | 24 | 0.042253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3619-24_0_3_line_30 | NAYY 4x150 SE | 25 | 26 | 0.013039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3619-24_0_3_line_31 | NAYY 4x150 SE | 26 | 27 | 0.0051577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3619-24_0_3_line_32 | NAYY 4x150 SE | 27 | 28 | 0.0052104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3619-24_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.11273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3619-24_0_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.092085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3619-24_0_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.093107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3619-24_0_3_line_36 | NAYY 4x150 SE | 32 | 36 | 0.06152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3619-24_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.15499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_3619-24_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.029524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3619-24_0_3_line_39 | NAYY 4x150 SE | 34 | 41 | 0.033528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_3619-24_0_3_line_40 | NAYY 4x150 SE | 35 | 61 | 0.019731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3619-24_0_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.06467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3619-24_0_3_line_42 | NAYY 4x150 SE | 37 | 38 | 0.026233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3619-24_0_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.016799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3619-24_0_3_line_44 | NAYY 4x150 SE | 38 | 40 | 0.034878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_3619-24_0_3_line_45 | NAYY 4x150 SE | 38 | 41 | 0.096757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_3619-24_0_3_line_46 | NAYY 4x150 SE | 39 | 42 | 0.01709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3619-24_0_3_line_47 | NAYY 4x150 SE | 40 | 43 | 0.072898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_3619-24_0_3_line_48 | NAYY 4x150 SE | 42 | 46 | 0.16158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3619-24_0_3_line_49 | NAYY 4x150 SE | 43 | 44 | 0.17937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_3619-24_0_3_line_50 | NAYY 4x150 SE | 44 | 45 | 0.060651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_3619-24_0_3_line_51 | NAYY 4x150 SE | 45 | 50 | 0.0041826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_3619-24_0_3_line_52 | NAYY 4x150 SE | 45 | 48 | 0.17155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3619-24_0_3_line_53 | NAYY 4x150 SE | 46 | 47 | 0.13233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3619-24_0_3_line_54 | NAYY 4x150 SE | 48 | 49 | 0.045397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3619-24_0_3_line_55 | NAYY 4x150 SE | 50 | 51 | 0.001961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_3619-24_0_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.0424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_3619-24_0_3_line_57 | NAYY 4x150 SE | 52 | 91 | 0.0098462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_3619-24_0_3_line_58 | NAYY 4x150 SE | 53 | 54 | 0.027776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3619-24_0_3_line_59 | NAYY 4x150 SE | 54 | 55 | 0.017666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3619-24_0_3_line_60 | NAYY 4x150 SE | 55 | 56 | 0.002914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3619-24_0_3_line_61 | NAYY 4x150 SE | 57 | 63 | 0.017168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3619-24_0_3_line_62 | NAYY 4x150 SE | 58 | 59 | 0.066947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3619-24_0_3_line_63 | NAYY 4x150 SE | 59 | 60 | 0.015905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3619-24_0_3_line_64 | NAYY 4x150 SE | 59 | 61 | 0.002967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3619-24_0_3_line_65 | NAYY 4x150 SE | 60 | 62 | 0.024442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3619-24_0_3_line_66 | NAYY 4x150 SE | 62 | 64 | 0.0081231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3619-24_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.019036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3619-24_0_3_line_68 | NAYY 4x150 SE | 65 | 66 | 0.010385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3619-24_0_3_line_69 | NAYY 4x150 SE | 66 | 67 | 0.020749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3619-24_0_3_line_70 | NAYY 4x150 SE | 67 | 68 | 0.01752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3619-24_0_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.019539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3619-24_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.017088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3619-24_0_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.088086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3619-24_0_3_line_74 | NAYY 4x150 SE | 72 | 73 | 0.021567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3619-24_0_3_line_75 | NAYY 4x150 SE | 72 | 74 | 0.044955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3619-24_0_3_line_76 | NAYY 4x150 SE | 73 | 75 | 0.028178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3619-24_0_3_line_77 | NAYY 4x150 SE | 74 | 76 | 0.036142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3619-24_0_3_line_78 | NAYY 4x150 SE | 75 | 77 | 0.0087427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3619-24_0_3_line_79 | NAYY 4x150 SE | 77 | 82 | 0.0052408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3619-24_0_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.001389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3619-24_0_3_line_81 | NAYY 4x150 SE | 80 | 134 | 0.019247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3619-24_0_3_line_82 | NAYY 4x150 SE | 81 | 142 | 0.0030248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3619-24_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.012516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
84 | LV_3619-24_0_3_line_84 | NAYY 4x150 SE | 83 | 84 | 0.0029958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
85 | LV_3619-24_0_3_line_85 | NAYY 4x150 SE | 84 | 85 | 0.0045241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
86 | LV_3619-24_0_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.016399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_3619-24_0_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.011177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
88 | LV_3619-24_0_3_line_88 | NAYY 4x150 SE | 87 | 88 | 0.015143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3619-24_0_3_line_89 | NAYY 4x150 SE | 87 | 89 | 0.02644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
90 | LV_3619-24_0_3_line_90 | NAYY 4x150 SE | 88 | 90 | 0.0035898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3619-24_0_3_line_91 | NAYY 4x150 SE | 89 | 91 | 0.0035424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_3619-24_0_3_line_92 | NAYY 4x150 SE | 90 | 92 | 0.0336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3619-24_0_3_line_93 | NAYY 4x150 SE | 92 | 93 | 0.0047579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3619-24_0_3_line_94 | NAYY 4x150 SE | 93 | 94 | 0.01069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3619-24_0_3_line_95 | NAYY 4x150 SE | 94 | 95 | 0.010692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3619-24_0_3_line_96 | NAYY 4x150 SE | 94 | 96 | 0.0082639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3619-24_0_3_line_97 | NAYY 4x150 SE | 95 | 97 | 0.0022251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3619-24_0_3_line_98 | NAYY 4x150 SE | 96 | 98 | 0.0011933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3619-24_0_3_line_99 | NAYY 4x150 SE | 97 | 99 | 0.015261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3619-24_0_3_line_100 | NAYY 4x150 SE | 98 | 100 | 0.007662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3619-24_0_3_line_101 | NAYY 4x150 SE | 99 | 101 | 0.0051342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3619-24_0_3_line_102 | NAYY 4x150 SE | 101 | 102 | 0.0037358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3619-24_0_3_line_103 | NAYY 4x150 SE | 102 | 103 | 0.0027598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3619-24_0_3_line_104 | NAYY 4x150 SE | 103 | 107 | 0.0051628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3619-24_0_3_line_105 | NAYY 4x150 SE | 104 | 105 | 0.012153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3619-24_0_3_line_106 | NAYY 4x150 SE | 104 | 106 | 0.021591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_3619-24_0_3_line_107 | NAYY 4x150 SE | 105 | 108 | 0.014661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3619-24_0_3_line_108 | NAYY 4x150 SE | 105 | 109 | 0.0030367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3619-24_0_3_line_109 | NAYY 4x150 SE | 106 | 110 | 0.0022372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_3619-24_0_3_line_110 | NAYY 4x150 SE | 107 | 111 | 0.027292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_3619-24_0_3_line_111 | NAYY 4x150 SE | 108 | 112 | 0.016643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_3619-24_0_3_line_112 | NAYY 4x150 SE | 109 | 113 | 0.0067197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_3619-24_0_3_line_113 | NAYY 4x150 SE | 110 | 114 | 0.0019326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_3619-24_0_3_line_114 | NAYY 4x150 SE | 111 | 115 | 0.00059361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_3619-24_0_3_line_115 | NAYY 4x150 SE | 112 | 125 | 0.014771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_3619-24_0_3_line_116 | NAYY 4x150 SE | 112 | 126 | 0.0082532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_3619-24_0_3_line_117 | NAYY 4x150 SE | 114 | 139 | 0.0044627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_3619-24_0_3_line_118 | NAYY 4x150 SE | 115 | 141 | 0.011602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_3619-24_0_3_line_119 | NAYY 4x150 SE | 116 | 117 | 0.000854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_3619-24_0_3_line_120 | NAYY 4x150 SE | 116 | 118 | 0.010352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_3619-24_0_3_line_121 | NAYY 4x150 SE | 117 | 119 | 0.017507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_3619-24_0_3_line_122 | NAYY 4x150 SE | 118 | 120 | 0.0031907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_3619-24_0_3_line_123 | NAYY 4x150 SE | 119 | 121 | 0.0087391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_3619-24_0_3_line_124 | NAYY 4x150 SE | 120 | 122 | 0.0038132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_3619-24_0_3_line_125 | NAYY 4x150 SE | 122 | 123 | 0.0031662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_3619-24_0_3_line_126 | NAYY 4x150 SE | 123 | 124 | 0.01716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_3619-24_0_3_line_127 | NAYY 4x150 SE | 124 | 131 | 0.015232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_3619-24_0_3_line_128 | NAYY 4x150 SE | 125 | 127 | 0.025389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_3619-24_0_3_line_129 | NAYY 4x150 SE | 125 | 128 | 0.0045112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_3619-24_0_3_line_130 | NAYY 4x150 SE | 126 | 129 | 0.018379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_3619-24_0_3_line_131 | NAYY 4x150 SE | 127 | 130 | 0.0061796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_3619-24_0_3_line_132 | NAYY 4x150 SE | 128 | 131 | 0.014519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_3619-24_0_3_line_133 | NAYY 4x150 SE | 129 | 132 | 0.0074119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_3619-24_0_3_line_134 | NAYY 4x150 SE | 130 | 133 | 0.037154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_3619-24_0_3_line_135 | NAYY 4x150 SE | 131 | 134 | 0.026681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_3619-24_0_3_line_136 | NAYY 4x150 SE | 132 | 135 | 0.012275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_3619-24_0_3_line_137 | NAYY 4x150 SE | 135 | 136 | 0.016036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_3619-24_0_3_line_138 | NAYY 4x150 SE | 136 | 137 | 0.012586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_3619-24_0_3_line_139 | NAYY 4x150 SE | 137 | 138 | 0.024964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_3619-24_0_3_line_140 | NAYY 4x150 SE | 139 | 140 | 0.00031476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_3619-24_0_3_line_141 | NAYY 4x150 SE | 140 | 141 | 0.0023359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_3619-24_0_3_line_142 | NAYY 4x150 SE | 142 | 143 | 0.014614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_3619-24_0_3_line_143 | NAYY 4x150 SE | 143 | 144 | 0.0076859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3619-24_0_3_trafo_86 | 0.25 MVA 20/0.4 kV | 145 | 82 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2735994.3112 | 1180471.3669 | 2735994.0339 | 1180463.7214 | 2735993.5272 | 1180459.7847 | 2735985.54 | 1180439.3324 | 2735983.5691 | 1180431.5595 | 2735981.0271 | 1180422.0168 | 2735975.8899 | 1180407.6337 | 2735974.918 | 1180403.3195 | 2735974.5778 | 1180398.1078 | 2735974.59 | 1180392.1813 | 2735977.5496 | 1180348.3037 | 2735976.4842 | 1180340.8837
1 | 2735871.4957 | 1180530.6891 | 2735994.3112 | 1180471.3669
2 | 2735871.4957 | 1180530.6891 | 2735877.0813 | 1180540.2286 | 2735879.8135 | 1180547.03
3 | 2735871.4957 | 1180530.6891 | 2735865.6955 | 1180520.7832
4 | 2735791.2361 | 1180308.7938 | 2735792.539 | 1180312.5727 | 2735795.4498 | 1180331.4864 | 2735803.7109 | 1180371.5819 | 2735813.1981 | 1180399.4329
5 | 2735823.7939 | 1180430.5383 | 2735813.1981 | 1180399.4329
6 | 2735823.7939 | 1180430.5383 | 2735833.2744 | 1180458.3694
7 | 2735879.8135 | 1180547.03 | 2735880.9582 | 1180549.8794 | 2735882.8755 | 1180556.9838 | 2735883.3436 | 1180560.3229
8 | 2735849.9046 | 1180497.0863 | 2735862.9937 | 1180516.1687 | 2735865.6955 | 1180520.7832
9 | 2736199.3974 | 1180544.8727 | 2736177.9032 | 1180536.9701
10 | 2736233.3593 | 1180557.3592 | 2736199.3974 | 1180544.8727
11 | 2735915.1812 | 1180617.6958 | 2735933.7723 | 1180615.3376
12 | 2735915.1812 | 1180617.6958 | 2735915.2597 | 1180620.6331 | 2735916.0646 | 1180624.8991 | 2735918.6749 | 1180631.0963
13 | 2735918.6749 | 1180631.0963 | 2735923.7723 | 1180637.1276 | 2735927.7436 | 1180640.2534 | 2735932.0081 | 1180642.2404 | 2735962.5704 | 1180653.1306
14 | 2735918.6749 | 1180631.0963 | 2735909.7105 | 1180639.2327 | 2735900.9405 | 1180648.6935
15 | 2735900.7101 | 1180614.5987 | 2735904.7693 | 1180620.2506 | 2735906.7506 | 1180622.1748 | 2735908.8414 | 1180623.3119 | 2735911.6043 | 1180624.1307 | 2735916.0646 | 1180624.8991 | 2735918.6749 | 1180631.0963
16 | 2735900.7101 | 1180614.5987 | 2735893.5034 | 1180612.7906
17 | 2735900.7101 | 1180614.5987 | 2735892.5476 | 1180595.4342
18 | 2735882.5357 | 1180610.0389 | 2735882.5357 | 1180610.0389 | 2735893.5034 | 1180612.7906
19 | 2735887.6857 | 1180583.2802 | 2735888.5872 | 1180586.1356 | 2735892.5476 | 1180595.4342
20 | 2735962.5704 | 1180653.1306 | 2735943.2682 | 1180658.5415 | 2735939.2884 | 1180660.842 | 2735937.1185 | 1180663.5281 | 2735935.9302 | 1180667.0706 | 2735936.2455 | 1180670.3469 | 2735937.2436 | 1180673.5053 | 2735939.9376 | 1180677.3582 | 2735943.547 | 1180680.9428 | 2735950.4477 | 1180685.625 | 2735950.9223 | 1180686.0293
21 | 2735900.9405 | 1180648.6935 | 2735900.1123 | 1180649.587
22 | 2736184.8347 | 1180732.6022 | 2736233.3593 | 1180557.3592
23 | 2736184.8347 | 1180732.6022 | 2736186.3846 | 1180740.3878 | 2736188.8942 | 1180749.6519 | 2736196.5115 | 1180768.8508 | 2736196.8192 | 1180769.4382
24 | 2736184.8347 | 1180732.6022 | 2736214.2433 | 1180755.0937
25 | 2736163.9347 | 1180751.4976 | 2736158.5033 | 1180740.6771 | 2736153.0518 | 1180731.7464 | 2736149.2368 | 1180726.1222 | 2736145.2968 | 1180720.6174 | 2736156.4532 | 1180716.5676 | 2736159.3555 | 1180716.2888 | 2736161.7262 | 1180716.8765 | 2736164.0911 | 1180718.0533 | 2736184.8347 | 1180732.6022
26 | 2736209.3627 | 1180788.0323 | 2736203.8445 | 1180781.06 | 2736199.8656 | 1180775.2541 | 2736196.8192 | 1180769.4382
27 | 2736163.9347 | 1180751.4976 | 2736171.83 | 1180768.6154
28 | 2736163.9347 | 1180751.4976 | 2736155.482 | 1180756.1923
29 | 2735849.9046 | 1180497.0863 | 2735847.6378 | 1180493.7815 | 2735837.4137 | 1180470.521 | 2735833.2744 | 1180458.3694
30 | 2735885.2644 | 1180573.2173 | 2735884.8223 | 1180570.8719 | 2735883.3436 | 1180560.3229
31 | 2735885.2644 | 1180573.2173 | 2735886.2198 | 1180578.2857
32 | 2735887.6857 | 1180583.2802 | 2735886.3843 | 1180579.1581 | 2735886.2198 | 1180578.2857
33 | 2735519.4888 | 1180745.8101 | 2735564.475 | 1180799.2284 | 2735599.5631 | 1180823.8973
34 | 2735474.1053 | 1180666.0731 | 2735508.7632 | 1180733.0741 | 2735519.4888 | 1180745.8101
35 | 2735599.5631 | 1180823.8973 | 2735605.9024 | 1180828.3541 | 2735619.3838 | 1180843.0814 | 2735664.4997 | 1180890.4162
36 | 2735664.4997 | 1180890.4162 | 2735706.9443 | 1180934.9483
37 | 2735821.7308 | 1180738.6151 | 2735847.9702 | 1180891.3712
38 | 2735821.7308 | 1180738.6151 | 2735839.6333 | 1180715.1388
39 | 2735847.9702 | 1180891.3712 | 2735844.3054 | 1180891.4879 | 2735837.8917 | 1180892.6324 | 2735833.9549 | 1180894.0554 | 2735830.1846 | 1180896.2272 | 2735826.4777 | 1180898.634 | 2735823.2225 | 1180901.6736 | 2735820.1079 | 1180905.9286 | 2735819.7858 | 1180906.5072
40 | 2735839.6333 | 1180715.1388 | 2735851.598 | 1180699.449
41 | 2735706.9443 | 1180934.9483 | 2735728.5829 | 1180957.6511 | 2735755.4844 | 1180977.2885
42 | 2735776.6731 | 1180992.7557 | 2735755.4844 | 1180977.2885
43 | 2735776.6731 | 1180992.7557 | 2735766.7474 | 1181006.3082
44 | 2735776.6731 | 1180992.7557 | 2735803.6587 | 1181014.8523
45 | 2735776.6731 | 1180992.7557 | 2735787.3635 | 1180977.5417 | 2735791.8546 | 1180969.5262 | 2735796.8726 | 1180959.1652 | 2735816.6112 | 1180912.2097 | 2735819.7858 | 1180906.5072
46 | 2735756.6496 | 1181020.0957 | 2735766.7474 | 1181006.3082
47 | 2735803.6587 | 1181014.8523 | 2735854.0058 | 1181056.0781 | 2735859.8664 | 1181061.2638
48 | 2735756.6496 | 1181020.0957 | 2735650.0741 | 1181141.5483
49 | 2736008.9345 | 1180961.5002 | 2735859.8664 | 1181061.2638
50 | 2736008.9345 | 1180961.5002 | 2736019.5352 | 1180967.4966 | 2736024.8374 | 1180970.8861 | 2736029.4469 | 1180974.4935 | 2736044.147 | 1180987.3146 | 2736046.8097 | 1180988.4981 | 2736049.7957 | 1180988.566 | 2736052.6 | 1180987.8846 | 2736055.1215 | 1180986.5408 | 2736056.8862 | 1180984.5349 | 2736057.613 | 1180982.1384
51 | 2736057.0706 | 1180978.0369 | 2736057.5453 | 1180979.4015 | 2736057.613 | 1180982.1384 | 2736057.613 | 1180982.1384
52 | 2736057.613 | 1180982.1384 | 2736018.9154 | 1181149.2662
53 | 2735650.0741 | 1181141.5483 | 2735643.7102 | 1181145.2293 | 2735636.2266 | 1181145.3824 | 2735631.9147 | 1181145.1624 | 2735629.8 | 1181136.9861 | 2735624.4888 | 1181129.6048 | 2735602.5815 | 1181108.4153 | 2735587.1654 | 1181094.1224 | 2735577.2554 | 1181091.7631 | 2735575.2228 | 1181097.5105 | 2735572.3145 | 1181103.8051 | 2735568.5326 | 1181109.535 | 2735561.5591 | 1181109.4328 | 2735554.8431 | 1181107.1876
54 | 2736018.9154 | 1181149.2662 | 2736021.0686 | 1181152.6954 | 2736028.1192 | 1181170.6024 | 2736030.1842 | 1181173.5404 | 2736033.2855 | 1181175.2566 | 2736037.7627 | 1181175.9364 | 2736041.3271 | 1181175.428 | 2736047.431 | 1181172.3444
55 | 2736056.4263 | 1180976.1847 | 2736057.0706 | 1180978.0369
56 | 2736042.2094 | 1180939.0559 | 2736042.2094 | 1180939.0559 | 2736040.354 | 1180943.0391 | 2736039.6446 | 1180946.0141 | 2736039.8183 | 1180949.1316 | 2736040.8366 | 1180952.0681 | 2736056.4263 | 1180976.1847 | 2736056.4263 | 1180976.1847
57 | 2736049.5307 | 1180932.5093 | 2736045.2776 | 1180935.8453 | 2736042.2094 | 1180939.0559
58 | 2735838.3276 | 1180593.1366 | 2735865.4437 | 1180599.1541
59 | 2735865.4437 | 1180599.1541 | 2735867.5658 | 1180599.6251 | 2735870.222 | 1180600.7639 | 2735872.6842 | 1180602.7101 | 2735878.0693 | 1180607.5135 | 2735879.8728 | 1180608.8554 | 2735879.8728 | 1180608.8554
60 | 2735882.5357 | 1180610.0389 | 2735879.8728 | 1180608.8554
61 | 2735951.0648 | 1180702.5409 | 2735952.6423 | 1180691.6127 | 2735952.5446 | 1180689.1864 | 2735951.9094 | 1180686.8702 | 2735950.9223 | 1180686.0293
62 | 2735853.3972 | 1180697.0897 | 2735865.9248 | 1180680.7499 | 2735874.1315 | 1180671.9847 | 2735892.7097 | 1180657.0499 | 2735898.6662 | 1180651.147 | 2735900.1123 | 1180649.587
63 | 2735853.3972 | 1180697.0897 | 2735861.5942 | 1180710.7201
64 | 2735853.3972 | 1180697.0897 | 2735851.598 | 1180699.449
65 | 2735875.1237 | 1180730.9838 | 2735874.7044 | 1180730.6203 | 2735870.6645 | 1180725.8029 | 2735861.5942 | 1180710.7201
66 | 2735875.1237 | 1180730.9838 | 2735879.448 | 1180734.731 | 2735881.4744 | 1180736.0191
67 | 2735881.4744 | 1180736.0191 | 2735886.3779 | 1180739.1358 | 2735893.9281 | 1180743.1434 | 2735898.3166 | 1180744.7622
68 | 2735908.429 | 1180746.8651 | 2735906.9036 | 1180746.8069 | 2735901.0586 | 1180745.7737 | 2735898.3166 | 1180744.7622
69 | 2735928.4243 | 1180743.0013 | 2735926.8317 | 1180743.7674 | 2735921.7066 | 1180746.0308 | 2735917.8511 | 1180746.8996 | 2735912.6676 | 1180747.0266 | 2735908.429 | 1180746.8651
70 | 2735928.4243 | 1180743.0013 | 2735944.2127 | 1180735.4066
71 | 2735944.2127 | 1180735.4066 | 2735948.5092 | 1180733.3398 | 2735950.2666 | 1180732.668 | 2735952.0925 | 1180732.3425 | 2735953.7427 | 1180732.3577 | 2735956.4603 | 1180732.8086 | 2735962.9852 | 1180733.9863
72 | 2735977.9328 | 1180741.1797 | 2735974.1344 | 1180737.513 | 2735972.0695 | 1180736.2429 | 2735970.0466 | 1180735.4854 | 2735967.3121 | 1180734.7673 | 2735962.9852 | 1180733.9863
73 | 2735977.9328 | 1180741.1797 | 2735997.6569 | 1180742.0833 | 2735999.1586 | 1180741.9061 | 2736000.774 | 1180741.4313 | 2736012.5309 | 1180735.4934 | 2736017.8518 | 1180733.6905 | 2736022.5808 | 1180732.7193 | 2736047.5107 | 1180729.1488 | 2736052.9292 | 1180727.7596 | 2736059.9637 | 1180727.2188 | 2736063.6583 | 1180727.3027
74 | 2736091.8201 | 1180803.8893 | 2736090.2534 | 1180808.613 | 2736089.2749 | 1180813.0052 | 2736087.8119 | 1180825.0068
75 | 2736091.8201 | 1180803.8893 | 2736093.3904 | 1180800.6892 | 2736095.9239 | 1180796.4657 | 2736098.417 | 1180793.0085 | 2736101.6567 | 1180789.3126 | 2736104.6613 | 1180786.2117 | 2736108.8485 | 1180782.8486 | 2736114.5229 | 1180778.9411 | 2736123.886 | 1180773.7408
76 | 2736087.8119 | 1180825.0068 | 2736086.5985 | 1180834.9613 | 2736085.4498 | 1180841.4624 | 2736084.0079 | 1180846.0777 | 2736081.6969 | 1180852.3796
77 | 2736155.482 | 1180756.1923 | 2736123.886 | 1180773.7408
78 | 2736078.3562 | 1180860.4571 | 2736081.1406 | 1180853.8964 | 2736081.6969 | 1180852.3796
79 | 2736078.3562 | 1180860.4571 | 2736076.3087 | 1180865.2814
80 | 2736191.7343 | 1180812.8359 | 2736191.2206 | 1180811.5453
81 | 2736191.7343 | 1180812.8359 | 2736193.2331 | 1180816.6018 | 2736194.4391 | 1180820.3543 | 2736195.0435 | 1180823.6817 | 2736195.8861 | 1180831.5073
82 | 2736209.3627 | 1180788.0323 | 2736211.2399 | 1180790.4042
83 | 2736071.419 | 1180876.8025 | 2736076.3087 | 1180865.2814
84 | 2736070.2486 | 1180879.5602 | 2736071.419 | 1180876.8025
85 | 2736070.2486 | 1180879.5602 | 2736068.4811 | 1180883.7248
86 | 2736066.3312 | 1180899.6782 | 2736065.9736 | 1180896.9518 | 2736065.8124 | 1180892.9451 | 2736066.3428 | 1180889.7769 | 2736067.4731 | 1180886.0997 | 2736068.4811 | 1180883.7248
87 | 2736068.8276 | 1180910.5714 | 2736066.3774 | 1180900.03 | 2736066.3312 | 1180899.6782
88 | 2736068.8276 | 1180910.5714 | 2736071.4635 | 1180910.2421 | 2736073.8491 | 1180910.8412 | 2736076.9961 | 1180912.2359 | 2736081.3575 | 1180914.9925 | 2736082.5214 | 1180915.8147
89 | 2736068.8276 | 1180910.5714 | 2736066.7179 | 1180911.2797 | 2736064.7198 | 1180912.4574 | 2736062.2947 | 1180914.6041 | 2736056.2732 | 1180924.7196 | 2736054.2165 | 1180928.1422 | 2736052.3179 | 1180930.323
90 | 2736085.4534 | 1180917.8859 | 2736082.5214 | 1180915.8147
91 | 2736049.5307 | 1180932.5093 | 2736052.3179 | 1180930.323
92 | 2736085.4534 | 1180917.8859 | 2736112.8965 | 1180937.2721
93 | 2736112.8965 | 1180937.2721 | 2736116.7826 | 1180940.0173
94 | 2736126.8369 | 1180943.2021 | 2736125.1031 | 1180943.1738 | 2736123.0184 | 1180942.7817 | 2736120.5021 | 1180941.8795 | 2736116.943 | 1180940.1307 | 2736116.7826 | 1180940.0173
95 | 2736126.8369 | 1180943.2021 | 2736128.1082 | 1180947.7789 | 2736129.1964 | 1180949.9942 | 2736131.7046 | 1180952.397
96 | 2736126.8369 | 1180943.2021 | 2736128.3323 | 1180942.6245 | 2736130.0109 | 1180941.3839 | 2736133.3289 | 1180938.2362
97 | 2736131.7046 | 1180952.397 | 2736133.3114 | 1180953.9362
98 | 2736133.3289 | 1180938.2362 | 2736133.8687 | 1180937.7242 | 2736134.202 | 1180937.423
99 | 2736133.3114 | 1180953.9362 | 2736144.3319 | 1180964.4934
100 | 2736139.8869 | 1180932.2859 | 2736134.202 | 1180937.423
101 | 2736144.3319 | 1180964.4934 | 2736148.5994 | 1180967.348
102 | 2736152.2067 | 1180968.3196 | 2736148.5994 | 1180967.348
103 | 2736152.2067 | 1180968.3196 | 2736154.9055 | 1180967.7426
104 | 2736159.625 | 1180965.6927 | 2736155.6388 | 1180967.5859 | 2736154.9055 | 1180967.7426
105 | 2736193.2872 | 1180925.1417 | 2736192.8297 | 1180912.9998
106 | 2736193.2872 | 1180925.1417 | 2736199.1236 | 1180936.9611 | 2736200.6712 | 1180940.4768 | 2736202.004 | 1180944.8459
107 | 2736192.8297 | 1180912.9998 | 2736195.615 | 1180912.1513 | 2736198.5705 | 1180910.873 | 2736200.6824 | 1180909.3977 | 2736203.3704 | 1180907.1125 | 2736204.7707 | 1180905.1331
108 | 2736192.8297 | 1180912.9998 | 2736189.8247 | 1180913.4371
109 | 2736202.6568 | 1180946.9857 | 2736202.004 | 1180944.8459
110 | 2736184.5168 | 1180954.8252 | 2736182.6584 | 1180955.746 | 2736175.5622 | 1180959.6878 | 2736169.8386 | 1180962.0708 | 2736164.7997 | 1180963.235 | 2736159.625 | 1180965.6927
111 | 2736210.2547 | 1180889.6444 | 2736209.6286 | 1180893.3219 | 2736208.8062 | 1180896.8948 | 2736207.8363 | 1180899.8973 | 2736206.5678 | 1180902.5928 | 2736204.7707 | 1180905.1331
112 | 2736183.175 | 1180914.4046 | 2736189.8247 | 1180913.4371
113 | 2736202.6568 | 1180946.9857 | 2736202.9324 | 1180947.8894 | 2736202.7727 | 1180948.8643
114 | 2736185.0487 | 1180954.5616 | 2736184.5168 | 1180954.8252
115 | 2736208.3554 | 1180875.0456 | 2736209.2234 | 1180878.8794 | 2736209.8852 | 1180882.7085 | 2736210.2241 | 1180886.2856 | 2736210.2547 | 1180889.6444
116 | 2736210.2547 | 1180889.6444 | 2736217.65 | 1180893.3084
117 | 2736202.7727 | 1180948.8643 | 2736202.7727 | 1180948.8643 | 2736201.7564 | 1180949.5417 | 2736198.6145 | 1180950.338
118 | 2736196.045 | 1180950.9891 | 2736189.4756 | 1180952.654 | 2736186.6924 | 1180953.7472 | 2736185.0487 | 1180954.5616
119 | 2736148.6148 | 1180870.6473 | 2736149.4322 | 1180870.4001
120 | 2736149.4322 | 1180870.4001 | 2736156.844 | 1180868.1593 | 2736159.3416 | 1180867.4041
121 | 2736131.8566 | 1180875.7139 | 2736148.6148 | 1180870.6473
122 | 2736162.3958 | 1180866.4807 | 2736159.3416 | 1180867.4041
123 | 2736123.4914 | 1180878.243 | 2736131.8566 | 1180875.7139
124 | 2736162.3958 | 1180866.4807 | 2736166.0458 | 1180865.3772 | 2736166.0458 | 1180865.3772
125 | 2736169.1354 | 1180864.6851 | 2736166.0458 | 1180865.3772
126 | 2736185.8805 | 1180860.9337 | 2736169.1354 | 1180864.6851
127 | 2736200.7443 | 1180857.6038 | 2736185.8805 | 1180860.9337
128 | 2736208.3554 | 1180875.0456 | 2736227.9964 | 1180858.9567
129 | 2736208.3554 | 1180875.0456 | 2736206.5512 | 1180870.911
130 | 2736217.65 | 1180893.3084 | 2736234.1182 | 1180901.4675
131 | 2736232.9191 | 1180855.2536 | 2736231.76 | 1180855.8738 | 2736227.9964 | 1180858.9567
132 | 2736200.7443 | 1180857.6038 | 2736206.5512 | 1180870.911
133 | 2736234.1182 | 1180901.4675 | 2736236.836 | 1180902.814 | 2736240.849 | 1180904.566
134 | 2736268.9639 | 1180856.4435 | 2736264.0845 | 1180857.0759 | 2736261.128 | 1180857.0531 | 2736256.8043 | 1180856.3321 | 2736249.2067 | 1180854.0911 | 2736246.2736 | 1180853.0347 | 2736243.2185 | 1180852.6428 | 2736240.1673 | 1180852.7513 | 2736237.3504 | 1180853.3099 | 2736234.7303 | 1180854.2845 | 2736232.9191 | 1180855.2536
135 | 2736200.7443 | 1180857.6038 | 2736198.585 | 1180851.7503 | 2736197.5293 | 1180846.7669 | 2736195.8861 | 1180831.5073
136 | 2736240.849 | 1180904.566 | 2736252.0983 | 1180909.4774
137 | 2736267.1659 | 1180914.9067 | 2736257.4981 | 1180911.8349 | 2736252.0983 | 1180909.4774
138 | 2736279.2722 | 1180918.3236 | 2736273.2543 | 1180916.8412 | 2736267.1659 | 1180914.9067
139 | 2736279.2722 | 1180918.3236 | 2736283.8436 | 1180914.8693 | 2736281.5601 | 1180906.0884 | 2736275.7211 | 1180897.7493
140 | 2736198.6145 | 1180950.338 | 2736198.3093 | 1180950.4153
141 | 2736196.045 | 1180950.9891 | 2736198.3093 | 1180950.4153
142 | 2736220.3091 | 1180801.8633 | 2736211.2399 | 1180790.4042
143 | 2736220.3091 | 1180801.8633 | 2736225.079 | 1180807.8901

## bus_geodata
| x | y | coords
0 | 2735976.4842 | 1180340.8837
1 | 2735994.3112 | 1180471.3669
2 | 2735871.4957 | 1180530.6891
3 | 2735813.1981 | 1180399.4329
4 | 2735791.2361 | 1180308.7938
5 | 2735823.7939 | 1180430.5383
6 | 2735879.8135 | 1180547.03
7 | 2735865.6955 | 1180520.7832
8 | 2736177.9032 | 1180536.9701
9 | 2736199.3974 | 1180544.8727
10 | 2735933.7723 | 1180615.3376
11 | 2735915.1812 | 1180617.6958
12 | 2735918.6749 | 1180631.0963
13 | 2735900.7101 | 1180614.5987
14 | 2735893.5034 | 1180612.7906
15 | 2735892.5476 | 1180595.4342
16 | 2735962.5704 | 1180653.1306
17 | 2735900.9405 | 1180648.6935
18 | 2736233.3593 | 1180557.3592
19 | 2736184.8347 | 1180732.6022
20 | 2736196.8192 | 1180769.4382
21 | 2736214.2433 | 1180755.0937
22 | 2736163.9347 | 1180751.4976
23 | 2735833.2744 | 1180458.3694
24 | 2735849.9046 | 1180497.0863
25 | 2735883.3436 | 1180560.3229
26 | 2735885.2644 | 1180573.2173
27 | 2735886.2198 | 1180578.2857
28 | 2735887.6857 | 1180583.2802
29 | 2735519.4888 | 1180745.8101
30 | 2735599.5631 | 1180823.8973
31 | 2735474.1053 | 1180666.0731
32 | 2735664.4997 | 1180890.4162
33 | 2735821.7308 | 1180738.6151
34 | 2735847.9702 | 1180891.3712
35 | 2735839.6333 | 1180715.1388
36 | 2735706.9443 | 1180934.9483
37 | 2735755.4844 | 1180977.2885
38 | 2735776.6731 | 1180992.7557
39 | 2735766.7474 | 1181006.3082
40 | 2735803.6587 | 1181014.8523
41 | 2735819.7858 | 1180906.5072
42 | 2735756.6496 | 1181020.0957
43 | 2735859.8664 | 1181061.2638
44 | 2736008.9345 | 1180961.5002
45 | 2736057.613 | 1180982.1384
46 | 2735650.0741 | 1181141.5483
47 | 2735554.8431 | 1181107.1876
48 | 2736018.9154 | 1181149.2662
49 | 2736047.431 | 1181172.3444
50 | 2736057.0706 | 1180978.0369
51 | 2736056.4263 | 1180976.1847
52 | 2736042.2094 | 1180939.0559
53 | 2735838.3276 | 1180593.1366
54 | 2735865.4437 | 1180599.1541
55 | 2735879.8728 | 1180608.8554
56 | 2735882.5357 | 1180610.0389
57 | 2735950.9223 | 1180686.0293
58 | 2735900.1123 | 1180649.587
59 | 2735853.3972 | 1180697.0897
60 | 2735861.5942 | 1180710.7201
61 | 2735851.598 | 1180699.449
62 | 2735875.1237 | 1180730.9838
63 | 2735951.0648 | 1180702.5409
64 | 2735881.4744 | 1180736.0191
65 | 2735898.3166 | 1180744.7622
66 | 2735908.429 | 1180746.8651
67 | 2735928.4243 | 1180743.0013
68 | 2735944.2127 | 1180735.4066
69 | 2735962.9852 | 1180733.9863
70 | 2735977.9328 | 1180741.1797
71 | 2736063.6583 | 1180727.3027
72 | 2736091.8201 | 1180803.8893
73 | 2736087.8119 | 1180825.0068
74 | 2736123.886 | 1180773.7408
75 | 2736081.6969 | 1180852.3796
76 | 2736155.482 | 1180756.1923
77 | 2736078.3562 | 1180860.4571
78 | 2736171.83 | 1180768.6154
79 | 2736191.2206 | 1180811.5453
80 | 2736191.7343 | 1180812.8359
81 | 2736209.3627 | 1180788.0323
82 | 2736076.3087 | 1180865.2814
83 | 2736071.419 | 1180876.8025
84 | 2736070.2486 | 1180879.5602
85 | 2736068.4811 | 1180883.7248
86 | 2736066.3312 | 1180899.6782
87 | 2736068.8276 | 1180910.5714
88 | 2736082.5214 | 1180915.8147
89 | 2736052.3179 | 1180930.323
90 | 2736085.4534 | 1180917.8859
91 | 2736049.5307 | 1180932.5093
92 | 2736112.8965 | 1180937.2721
93 | 2736116.7826 | 1180940.0173
94 | 2736126.8369 | 1180943.2021
95 | 2736131.7046 | 1180952.397
96 | 2736133.3289 | 1180938.2362
97 | 2736133.3114 | 1180953.9362
98 | 2736134.202 | 1180937.423
99 | 2736144.3319 | 1180964.4934
100 | 2736139.8869 | 1180932.2859
101 | 2736148.5994 | 1180967.348
102 | 2736152.2067 | 1180968.3196
103 | 2736154.9055 | 1180967.7426
104 | 2736193.2872 | 1180925.1417
105 | 2736192.8297 | 1180912.9998
106 | 2736202.004 | 1180944.8459
107 | 2736159.625 | 1180965.6927
108 | 2736204.7707 | 1180905.1331
109 | 2736189.8247 | 1180913.4371
110 | 2736202.6568 | 1180946.9857
111 | 2736184.5168 | 1180954.8252
112 | 2736210.2547 | 1180889.6444
113 | 2736183.175 | 1180914.4046
114 | 2736202.7727 | 1180948.8643
115 | 2736185.0487 | 1180954.5616
116 | 2736149.4322 | 1180870.4001
117 | 2736148.6148 | 1180870.6473
118 | 2736159.3416 | 1180867.4041
119 | 2736131.8566 | 1180875.7139
120 | 2736162.3958 | 1180866.4807
121 | 2736123.4914 | 1180878.243
122 | 2736166.0458 | 1180865.3772
123 | 2736169.1354 | 1180864.6851
124 | 2736185.8805 | 1180860.9337
125 | 2736208.3554 | 1180875.0456
126 | 2736217.65 | 1180893.3084
127 | 2736227.9964 | 1180858.9567
128 | 2736206.5512 | 1180870.911
129 | 2736234.1182 | 1180901.4675
130 | 2736232.9191 | 1180855.2536
131 | 2736200.7443 | 1180857.6038
132 | 2736240.849 | 1180904.566
133 | 2736268.9639 | 1180856.4435
134 | 2736195.8861 | 1180831.5073
135 | 2736252.0983 | 1180909.4774
136 | 2736267.1659 | 1180914.9067
137 | 2736279.2722 | 1180918.3236
138 | 2736275.7211 | 1180897.7493
139 | 2736198.6145 | 1180950.338
140 | 2736198.3093 | 1180950.4153
141 | 2736196.045 | 1180950.9891
142 | 2736211.2399 | 1180790.4042
143 | 2736220.3091 | 1180801.8633
144 | 2736225.079 | 1180807.8901
145 | 2736068.8276 | 1180910.5714

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1