## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3619-29_1_4_node_2 | 0.4 | n |  | TRUE
1 | bus_LV_3619-29_1_4_node_88 | 0.4 | n |  | TRUE
2 | bus_LV_3619-29_1_4_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_3619-29_1_4_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_3619-29_1_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_3619-29_1_4_node_85 | 0.4 | n |  | TRUE
6 | bus_LV_3619-29_1_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_3619-29_1_4_node_79 | 0.4 | n |  | TRUE
8 | bus_LV_3619-29_1_4_node_83 | 0.4 | n |  | TRUE
9 | bus_LV_3619-29_1_4_node_84 | 0.4 | n |  | TRUE
10 | bus_LV_3619-29_1_4_node_76 | 0.4 | n |  | TRUE
11 | bus_LV_3619-29_1_4_node_77 | 0.4 | n |  | TRUE
12 | bus_LV_3619-29_1_4_node_75 | 0.4 | n |  | TRUE
13 | bus_LV_3619-29_1_4_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_3619-29_1_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_3619-29_1_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_3619-29_1_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_3619-29_1_4_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_3619-29_1_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_3619-29_1_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_3619-29_1_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_3619-29_1_4_node_101 | 0.4 | n |  | TRUE
22 | bus_LV_3619-29_1_4_node_96 | 0.4 | n |  | TRUE
23 | bus_LV_3619-29_1_4_node_100 | 0.4 | n |  | TRUE
24 | bus_LV_3619-29_1_4_node_108 | 0.4 | n |  | TRUE
25 | bus_LV_3619-29_1_4_node_109 | 0.4 | n |  | TRUE
26 | bus_LV_3619-29_1_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_3619-29_1_4_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_3619-29_1_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_3619-29_1_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_3619-29_1_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_3619-29_1_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_3619-29_1_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_3619-29_1_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_3619-29_1_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_3619-29_1_4_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_3619-29_1_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_3619-29_1_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_3619-29_1_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_3619-29_1_4_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_3619-29_1_4_node_78 | 0.4 | n |  | TRUE
41 | bus_LV_3619-29_1_4_node_80 | 0.4 | n |  | TRUE
42 | bus_LV_3619-29_1_4_node_81 | 0.4 | n |  | TRUE
43 | bus_LV_3619-29_1_4_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_3619-29_1_4_node_98 | 0.4 | n |  | TRUE
45 | bus_LV_3619-29_1_4_node_99 | 0.4 | n |  | TRUE
46 | bus_LV_3619-29_1_4_node_86 | 0.4 | n |  | TRUE
47 | bus_LV_3619-29_1_4_node_87 | 0.4 | n |  | TRUE
48 | bus_LV_3619-29_1_4_node_94 | 0.4 | n |  | TRUE
49 | bus_LV_3619-29_1_4_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_3619-29_1_4_node_89 | 0.4 | n |  | TRUE
51 | bus_LV_3619-29_1_4_node_90 | 0.4 | n |  | TRUE
52 | bus_LV_3619-29_1_4_node_92 | 0.4 | n |  | TRUE
53 | bus_LV_3619-29_1_4_node_97 | 0.4 | n |  | TRUE
54 | bus_LV_3619-29_1_4_node_93 | 0.4 | n |  | TRUE
55 | bus_LV_3619-29_1_4_node_102 | 0.4 | n |  | TRUE
56 | bus_LV_3619-29_1_4_node_105 | 0.4 | n |  | TRUE
57 | bus_LV_3619-29_1_4_node_119 | 0.4 | n |  | TRUE
58 | bus_LV_3619-29_1_4_node_103 | 0.4 | n |  | TRUE
59 | bus_LV_3619-29_1_4_node_104 | 0.4 | n |  | TRUE
60 | bus_LV_3619-29_1_4_node_106 | 0.4 | n |  | TRUE
61 | bus_LV_3619-29_1_4_node_112 | 0.4 | n |  | TRUE
62 | bus_LV_3619-29_1_4_node_116 | 0.4 | n |  | TRUE
63 | bus_LV_3619-29_1_4_node_113 | 0.4 | n |  | TRUE
64 | bus_LV_3619-29_1_4_node_107 | 0.4 | n |  | TRUE
65 | bus_LV_3619-29_1_4_node_117 | 0.4 | n |  | TRUE
66 | bus_LV_3619-29_1_4_node_110 | 0.4 | n |  | TRUE
67 | bus_LV_3619-29_1_4_node_111 | 0.4 | n |  | TRUE
68 | bus_LV_3619-29_1_4_node_115 | 0.4 | n |  | TRUE
69 | bus_LV_3619-29_1_4_node_114 | 0.4 | n |  | TRUE
70 | bus_LV_3619-29_1_4_node_118 | 0.4 | n |  | TRUE
71 | bus_MV_161_0_node_145 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3619-29_1_4_load_2 | 0 | 0.0015075 | 0.00037782 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3619-29_1_4_load_88 | 1 | 0.001753 | 0.00043935 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3619-29_1_4_load_9 | 4 | 0.0015483 | 0.00038804 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3619-29_1_4_load_85 | 5 | 0.001724 | 0.00043208 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3619-29_1_4_load_11 | 6 | 0.0028785 | 0.00072143 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3619-29_1_4_load_79 | 7 | 0.0038349 | 0.00096112 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3619-29_1_4_load_83 | 8 | 0.0011957 | 0.00029967 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3619-29_1_4_load_84 | 9 | 0.0013836 | 0.00034677 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3619-29_1_4_load_77 | 11 | 0.0051222 | 0.0012837 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3619-29_1_4_load_75 | 12 | 0.0034971 | 0.00087647 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3619-29_1_4_load_38 | 13 | 0.0043784 | 0.0010973 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3619-29_1_4_load_15 | 14 | 0.00061526 | 0.0001542 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3619-29_1_4_load_16 | 15 | 0.0057931 | 0.0014519 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3619-29_1_4_load_19 | 16 | 0.00038947 | 9.761e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3619-29_1_4_load_21 | 17 | 0.00052004 | 0.00013034 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3619-29_1_4_load_20 | 18 | 0.00043909 | 0.00011005 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3619-29_1_4_load_22 | 19 | 0.0017518 | 0.00043905 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3619-29_1_4_load_17 | 20 | 0.0010401 | 0.00026068 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3619-29_1_4_load_101 | 21 | 0.0060621 | 0.0015193 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3619-29_1_4_load_100 | 23 | 0.0034729 | 0.00087039 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3619-29_1_4_load_108 | 24 | 0.0029528 | 0.00074005 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3619-29_1_4_load_109 | 25 | 0.0033144 | 0.00083067 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3619-29_1_4_load_23 | 26 | 0.00025652 | 6.4291e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3619-29_1_4_load_26 | 29 | 0.0017976 | 0.00045052 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3619-29_1_4_load_29 | 31 | 0.0048602 | 0.0012181 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3619-29_1_4_load_30 | 32 | 0.0034693 | 0.00086948 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3619-29_1_4_load_32 | 33 | 0.0021043 | 0.00052739 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3619-29_1_4_load_35 | 34 | 0.002121 | 0.00053157 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3619-29_1_4_load_39 | 35 | 0.0042993 | 0.0010775 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3619-29_1_4_load_34 | 36 | 0.0014601 | 0.00036593 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3619-29_1_4_load_33 | 37 | 0.0028037 | 0.00070267 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3619-29_1_4_load_36 | 38 | 0.0032997 | 0.00082699 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3619-29_1_4_load_37 | 39 | 0.0043079 | 0.0010797 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3619-29_1_4_load_78 | 40 | 0.0028501 | 0.0007143 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3619-29_1_4_load_81 | 42 | 0.0032935 | 0.00082543 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3619-29_1_4_load_82 | 43 | 0.0051936 | 0.0013017 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3619-29_1_4_load_98 | 44 | 0.0016003 | 0.00040108 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3619-29_1_4_load_99 | 45 | 0.0045469 | 0.0011396 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3619-29_1_4_load_86 | 46 | 0.0017843 | 0.00044719 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3619-29_1_4_load_87 | 47 | 0.0034226 | 0.00085777 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3619-29_1_4_load_94 | 48 | 0.0019282 | 0.00048324 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3619-29_1_4_load_95 | 49 | 0.0030943 | 0.0007755 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3619-29_1_4_load_89 | 50 | 0.0029175 | 0.00073119 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3619-29_1_4_load_90 | 51 | 0.0020542 | 0.00051484 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3619-29_1_4_load_97 | 53 | 0.0038366 | 0.00096155 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3619-29_1_4_load_93 | 54 | 0.0079796 | 0.0019999 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3619-29_1_4_load_105 | 56 | 0.004646 | 0.0011644 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3619-29_1_4_load_119 | 57 | 0.0030568 | 0.00076611 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3619-29_1_4_load_103 | 58 | 0.0019723 | 0.0004943 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3619-29_1_4_load_104 | 59 | 0.00078161 | 0.00019589 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3619-29_1_4_load_106 | 60 | 0.0026006 | 0.00065178 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3619-29_1_4_load_116 | 62 | 0.0010594 | 0.0002655 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3619-29_1_4_load_113 | 63 | 0.0015438 | 0.00038692 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3619-29_1_4_load_107 | 64 | 0.0052502 | 0.0013158 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3619-29_1_4_load_115 | 68 | 0.00093336 | 0.00023392 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3619-29_1_4_load_114 | 69 | 0.0004688 | 0.00011749 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3619-29_1_4_load_118 | 70 | 0.00074306 | 0.00018623 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3619-29_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3619-29_1_4_line_1 | NAYY 4x150 SE | 1 | 5 | 0.004352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3619-29_1_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.073133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_3619-29_1_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0093501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_3619-29_1_4_line_4 | NAYY 4x150 SE | 3 | 6 | 0.015788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_3619-29_1_4_line_5 | NAYY 4x150 SE | 4 | 7 | 0.022912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_3619-29_1_4_line_6 | NAYY 4x150 SE | 4 | 8 | 0.057484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3619-29_1_4_line_7 | NAYY 4x150 SE | 5 | 9 | 0.024506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3619-29_1_4_line_8 | NAYY 4x150 SE | 6 | 10 | 0.014545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3619-29_1_4_line_9 | NAYY 4x150 SE | 7 | 11 | 0.03478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_3619-29_1_4_line_10 | NAYY 4x150 SE | 8 | 9 | 0.0043177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3619-29_1_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.066489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3619-29_1_4_line_12 | NAYY 4x150 SE | 10 | 13 | 0.046926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3619-29_1_4_line_13 | NAYY 4x150 SE | 11 | 40 | 0.022327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_3619-29_1_4_line_14 | NAYY 4x150 SE | 12 | 32 | 0.027237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_3619-29_1_4_line_15 | NAYY 4x150 SE | 13 | 39 | 0.05945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3619-29_1_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.05622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3619-29_1_4_line_17 | NAYY 4x150 SE | 15 | 16 | 0.081714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3619-29_1_4_line_18 | NAYY 4x150 SE | 16 | 18 | 0.025482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3619-29_1_4_line_19 | NAYY 4x150 SE | 16 | 19 | 0.15191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3619-29_1_4_line_20 | NAYY 4x150 SE | 17 | 18 | 0.0013827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3619-29_1_4_line_21 | NAYY 4x150 SE | 19 | 26 | 0.03445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3619-29_1_4_line_22 | NAYY 4x150 SE | 20 | 21 | 0.089557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3619-29_1_4_line_23 | NAYY 4x150 SE | 21 | 22 | 0.006852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_3619-29_1_4_line_24 | NAYY 4x150 SE | 21 | 23 | 0.010817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_3619-29_1_4_line_25 | NAYY 4x150 SE | 22 | 56 | 0.0084764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3619-29_1_4_line_26 | NAYY 4x150 SE | 22 | 52 | 0.054023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_3619-29_1_4_line_27 | NAYY 4x150 SE | 23 | 45 | 0.025153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_3619-29_1_4_line_28 | NAYY 4x150 SE | 24 | 25 | 0.024896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3619-29_1_4_line_29 | NAYY 4x150 SE | 25 | 66 | 0.038972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3619-29_1_4_line_30 | NAYY 4x150 SE | 26 | 27 | 0.024322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3619-29_1_4_line_31 | NAYY 4x150 SE | 27 | 28 | 0.071911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3619-29_1_4_line_32 | NAYY 4x150 SE | 28 | 33 | 0.044172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3619-29_1_4_line_33 | NAYY 4x150 SE | 28 | 29 | 0.039938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3619-29_1_4_line_34 | NAYY 4x150 SE | 29 | 30 | 0.067322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_3619-29_1_4_line_35 | NAYY 4x150 SE | 30 | 31 | 0.019026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3619-29_1_4_line_36 | NAYY 4x150 SE | 30 | 32 | 0.035639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_3619-29_1_4_line_37 | NAYY 4x150 SE | 31 | 34 | 0.01147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3619-29_1_4_line_38 | NAYY 4x150 SE | 33 | 35 | 0.0049722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3619-29_1_4_line_39 | NAYY 4x150 SE | 34 | 36 | 0.011322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3619-29_1_4_line_40 | NAYY 4x150 SE | 36 | 37 | 0.026065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3619-29_1_4_line_41 | NAYY 4x150 SE | 38 | 39 | 0.028322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3619-29_1_4_line_42 | NAYY 4x150 SE | 40 | 41 | 0.072764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_3619-29_1_4_line_43 | NAYY 4x150 SE | 41 | 42 | 0.10865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_3619-29_1_4_line_44 | NAYY 4x150 SE | 41 | 43 | 0.067842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3619-29_1_4_line_45 | NAYY 4x150 SE | 42 | 44 | 0.0094755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_3619-29_1_4_line_46 | NAYY 4x150 SE | 44 | 45 | 0.028943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_3619-29_1_4_line_47 | NAYY 4x150 SE | 46 | 47 | 0.011328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3619-29_1_4_line_48 | NAYY 4x150 SE | 47 | 48 | 0.014892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3619-29_1_4_line_49 | NAYY 4x150 SE | 48 | 49 | 0.016901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3619-29_1_4_line_50 | NAYY 4x150 SE | 49 | 57 | 0.016901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_3619-29_1_4_line_51 | NAYY 4x150 SE | 50 | 51 | 0.051341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3619-29_1_4_line_52 | NAYY 4x150 SE | 51 | 52 | 0.050889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3619-29_1_4_line_53 | NAYY 4x150 SE | 52 | 53 | 0.0041044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_3619-29_1_4_line_54 | NAYY 4x150 SE | 53 | 57 | 0.022099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_3619-29_1_4_line_55 | NAYY 4x150 SE | 54 | 55 | 0.022429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3619-29_1_4_line_56 | NAYY 4x150 SE | 55 | 58 | 0.036718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3619-29_1_4_line_57 | NAYY 4x150 SE | 55 | 59 | 0.059924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3619-29_1_4_line_58 | NAYY 4x150 SE | 56 | 60 | 0.048321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3619-29_1_4_line_59 | NAYY 4x150 SE | 58 | 61 | 0.0084049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3619-29_1_4_line_60 | NAYY 4x150 SE | 59 | 62 | 0.0089696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3619-29_1_4_line_61 | NAYY 4x150 SE | 60 | 64 | 0.028349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3619-29_1_4_line_62 | NAYY 4x150 SE | 61 | 63 | 0.0047253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3619-29_1_4_line_63 | NAYY 4x150 SE | 61 | 64 | 0.013757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3619-29_1_4_line_64 | NAYY 4x150 SE | 62 | 65 | 0.0081981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3619-29_1_4_line_65 | NAYY 4x150 SE | 63 | 69 | 0.010022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3619-29_1_4_line_66 | NAYY 4x150 SE | 65 | 70 | 0.006307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3619-29_1_4_line_67 | NAYY 4x150 SE | 66 | 67 | 0.046378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3619-29_1_4_line_68 | NAYY 4x150 SE | 67 | 68 | 0.0085968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3619-29_1_4_line_69 | NAYY 4x150 SE | 68 | 69 | 0.0037434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3619-29_1_4_trafo_95 | 0.25 MVA 20/0.4 kV | 71 | 49 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2733630.167 | 1182778.7841 | 2733623.1771 | 1182776.9161 | 2733608.8564 | 1182774.1255
1 | 2733630.167 | 1182778.7841 | 2733634.3714 | 1182779.9076
2 | 2733751.5737 | 1182720.3258 | 2733712.1868 | 1182724.2278 | 2733692.9543 | 1182724.8659 | 2733689.7417 | 1182725.4058 | 2733685.2872 | 1182727.5191 | 2733680.2002 | 1182731.2752
3 | 2733680.2002 | 1182731.2752 | 2733688.22 | 1182736.0822
4 | 2733751.5737 | 1182720.3258 | 2733767.3505 | 1182719.7348
5 | 2733707.8723 | 1182747.8617 | 2733688.22 | 1182736.0822
6 | 2733688.22 | 1182736.0822 | 2733662.2183 | 1182787.3493
7 | 2733658.047 | 1182786.2346 | 2733634.3714 | 1182779.9076
8 | 2733781.8855 | 1182719.1903 | 2733767.3505 | 1182719.7348
9 | 2733740.6799 | 1182757.9648 | 2733736.8625 | 1182757.9372 | 2733731.1085 | 1182757.3528 | 2733723.9464 | 1182755.1803 | 2733716.1226 | 1182752.1923 | 2733708.7374 | 1182748.3803 | 2733707.8723 | 1182747.8617
10 | 2733662.2183 | 1182787.3493 | 2733658.047 | 1182786.2346
11 | 2733781.8855 | 1182719.1903 | 2733806.3301 | 1182715.3552 | 2733835.955 | 1182710.4351 | 2733847.4169 | 1182708.0153
12 | 2733781.8855 | 1182719.1903 | 2733784.1305 | 1182720.9306 | 2733786.4901 | 1182721.9841 | 2733788.6989 | 1182722.6116 | 2733794.8061 | 1182722.7703 | 2733809.5333 | 1182721.7316 | 2733814.0949 | 1182722.0114 | 2733818.6484 | 1182722.9916 | 2733822.8213 | 1182724.5971 | 2733825.7729 | 1182726.1642 | 2733826.8818 | 1182726.8266
13 | 2733740.6799 | 1182757.9648 | 2733742.7583 | 1182757.9799 | 2733756.0738 | 1182758.2439 | 2733762.9628 | 1182759.0026
14 | 2733873.6399 | 1182700.7314 | 2733861.6434 | 1182704.6154 | 2733848.9099 | 1182707.7001 | 2733847.4169 | 1182708.0153
15 | 2733826.8818 | 1182726.8266 | 2733833.7781 | 1182730.9465 | 2733840.7687 | 1182733.6158 | 2733850.363 | 1182735.9874 | 2733883.5902 | 1182743.4316
16 | 2734341.2929 | 1182867.732 | 2734332.8715 | 1182866.2586 | 2734286.9221 | 1182853.5661
17 | 2734278.1226 | 1182772.3276 | 2734286.9221 | 1182853.5661
18 | 2734278.1226 | 1182772.3276 | 2734283.5909 | 1182771.1375 | 2734303.4746 | 1182771.417
19 | 2734141.7829 | 1182705.3405 | 2734278.1226 | 1182772.3276
20 | 2734304.8571 | 1182771.4364 | 2734303.4746 | 1182771.417
21 | 2734141.7829 | 1182705.3405 | 2734124.7898 | 1182704.9093 | 2734107.3599 | 1182705.7733
22 | 2733983.1934 | 1182861.4586 | 2734072.7507 | 1182861.399
23 | 2733981.0753 | 1182867.9747 | 2733983.183 | 1182861.5058 | 2733983.1934 | 1182861.4586
24 | 2733982.8186 | 1182850.9437 | 2733982.853 | 1182850.9904 | 2733983.9928 | 1182854.3296 | 2733984.1101 | 1182857.2789 | 2733983.1934 | 1182861.4586
25 | 2733981.0753 | 1182867.9747 | 2733978.61 | 1182873.0123 | 2733976.9603 | 1182875.3583
26 | 2733936.6246 | 1182840.1268 | 2733947.0863 | 1182844.008 | 2733961.0353 | 1182848.7233 | 2733965.8365 | 1182850.9212 | 2733968.5505 | 1182852.8611 | 2733970.8449 | 1182855.8035 | 2733981.0753 | 1182867.9747
27 | 2733963.6913 | 1182835.023 | 2733969.4847 | 1182838.4154 | 2733976.3244 | 1182843.3832 | 2733980.3696 | 1182847.6213 | 2733982.8186 | 1182850.9437
28 | 2733980.1634 | 1182907.3732 | 2733976.4597 | 1182912.1162 | 2733971.8107 | 1182919.5068 | 2733967.6259 | 1182928.7513
29 | 2733951.554 | 1182964.2548 | 2733967.6259 | 1182928.7513
30 | 2734083.0679 | 1182706.9774 | 2734107.3599 | 1182705.7733
31 | 2734010.9513 | 1182707.743 | 2734083.0679 | 1182706.9774
32 | 2734010.9513 | 1182707.743 | 2734053.1802 | 1182720.7015
33 | 2734010.9513 | 1182707.743 | 2733976.0858 | 1182696.6329 | 2733972.8883 | 1182695.6486
34 | 2733907.0779 | 1182688.518 | 2733918.9357 | 1182686.3369 | 2733925.6546 | 1182685.7866 | 2733935.0628 | 1182685.8969 | 2733943.2499 | 1182687.3253 | 2733953.145 | 1182689.5704 | 2733972.8883 | 1182695.6486
35 | 2733907.0779 | 1182688.518 | 2733920.9376 | 1182701.5531
36 | 2733907.0779 | 1182688.518 | 2733901.9619 | 1182689.8047 | 2733890.0326 | 1182694.4974 | 2733877.3856 | 1182699.5187 | 2733873.6399 | 1182700.7314
37 | 2733930.7353 | 1182707.2346 | 2733927.1965 | 1182705.9919 | 2733923.125 | 1182703.6103 | 2733920.9376 | 1182701.5531
38 | 2734057.9336 | 1182722.1601 | 2734053.1802 | 1182720.7015
39 | 2733930.7353 | 1182707.2346 | 2733934.8057 | 1182708.664 | 2733941.636 | 1182710.23
40 | 2733964.4958 | 1182721.575 | 2733963.2272 | 1182720.3302 | 2733957.5805 | 1182715.6338 | 2733953.5587 | 1182713.42 | 2733948.348 | 1182711.769 | 2733941.636 | 1182710.23
41 | 2733911.3934 | 1182748.684 | 2733908.8158 | 1182748.4691 | 2733899.2105 | 1182746.9311 | 2733883.5902 | 1182743.4316
42 | 2733833.0995 | 1182777.7225 | 2733820.7238 | 1182775.0552 | 2733772.7913 | 1182760.085 | 2733762.9628 | 1182759.0026
43 | 2733833.0995 | 1182777.7225 | 2733854.4833 | 1182782.3257 | 2733874.0434 | 1182788.5562 | 2733881.3522 | 1182789.6313 | 2733892.1708 | 1182790.1956 | 2733900.9696 | 1182791.2486 | 2733907.5442 | 1182793.3859 | 2733918.5861 | 1182797.9695 | 2733924.5953 | 1182802.5072 | 2733932.798 | 1182810.0629 | 2733933.8984 | 1182811.2476
44 | 2733765.9313 | 1182774.1426 | 2733781.3497 | 1182773.9532 | 2733793.7885 | 1182775.1651 | 2733811.1254 | 1182779.0217 | 2733817.8137 | 1182779.8384 | 2733824.6466 | 1182779.991 | 2733827.7429 | 1182779.5265 | 2733833.0995 | 1182777.7225
45 | 2733933.8984 | 1182811.2476 | 2733940.3471 | 1182818.1902
46 | 2733940.3471 | 1182818.1902 | 2733942.0692 | 1182820.0443 | 2733949.0038 | 1182826.2373 | 2733957.0067 | 1182831.1087 | 2733963.6913 | 1182835.023
47 | 2733855.9063 | 1182810.2453 | 2733861.3586 | 1182812.3687 | 2733866.6503 | 1182813.7799
48 | 2733866.6503 | 1182813.7799 | 2733881.0396 | 1182817.6171
49 | 2733881.0396 | 1182817.6171 | 2733884.0694 | 1182818.425 | 2733896.9289 | 1182823.3354
50 | 2733896.9289 | 1182823.3354 | 2733902.1023 | 1182825.3109 | 2733912.5447 | 1182829.7924
51 | 2733838.0266 | 1182835.1317 | 2733839.0777 | 1182832.5309 | 2733841.3627 | 1182832.1372 | 2733860.2607 | 1182839.2758 | 2733869.6116 | 1182841.2528 | 2733878.866 | 1182841.7376 | 2733886.0271 | 1182841.0815
52 | 2733936.6246 | 1182840.1268 | 2733930.6859 | 1182840.2942 | 2733923.1662 | 1182839.0919 | 2733916.9376 | 1182838.2188 | 2733906.5734 | 1182839.1991 | 2733886.0271 | 1182841.0815
53 | 2733936.6246 | 1182840.1268 | 2733932.8529 | 1182838.5081
54 | 2733912.5447 | 1182829.7924 | 2733932.8529 | 1182838.5081
55 | 2733921.5101 | 1182892.3176 | 2733924.4896 | 1182880.6753 | 2733917.2505 | 1182878.2006 | 2733914.5355 | 1182877.6959
56 | 2733921.5101 | 1182892.3176 | 2733918.5602 | 1182901.2696 | 2733915.8621 | 1182910.9167 | 2733911.7153 | 1182927.6871
57 | 2733921.5101 | 1182892.3176 | 2733909.2831 | 1182899.0718 | 2733894.6089 | 1182914.1554 | 2733880.4057 | 1182921.4993 | 2733872.2682 | 1182925.1581
58 | 2733976.9603 | 1182875.3583 | 2733974.7995 | 1182878.4313 | 2733969.6164 | 1182884.4311 | 2733963.6404 | 1182890.024 | 2733956.6131 | 1182895.4933 | 2733939.7237 | 1182905.3317
59 | 2733911.9076 | 1182935.7583 | 2733910.8474 | 1182933.2994 | 2733910.7815 | 1182931.4632 | 2733911.7153 | 1182927.6871
60 | 2733872.2682 | 1182925.1581 | 2733864.0875 | 1182928.8363
61 | 2733918.9783 | 1182923.957 | 2733921.1114 | 1182920.3967 | 2733925.15 | 1182915.3609 | 2733929.7913 | 1182911.3838 | 2733937.8073 | 1182906.4481 | 2733939.7237 | 1182905.3317
62 | 2733911.9076 | 1182935.7583 | 2733909.944 | 1182940.0562
63 | 2733911.9076 | 1182935.7583 | 2733918.9783 | 1182923.957
64 | 2733856.6105 | 1182932.1982 | 2733864.0875 | 1182928.8363
65 | 2733906.5596 | 1182949.4826 | 2733909.2573 | 1182941.5591 | 2733909.944 | 1182940.0562
66 | 2733856.6105 | 1182932.1982 | 2733850.9779 | 1182935.0358
67 | 2733951.554 | 1182964.2548 | 2733905.1093 | 1182961.7373
68 | 2733905.1093 | 1182961.7373 | 2733906.1196 | 1182953.2001
69 | 2733906.5596 | 1182949.4826 | 2733906.1196 | 1182953.2001

## bus_geodata
| x | y | coords
0 | 2733608.8564 | 1182774.1255
1 | 2733630.167 | 1182778.7841
2 | 2733680.2002 | 1182731.2752
3 | 2733751.5737 | 1182720.3258
4 | 2733688.22 | 1182736.0822
5 | 2733634.3714 | 1182779.9076
6 | 2733767.3505 | 1182719.7348
7 | 2733707.8723 | 1182747.8617
8 | 2733662.2183 | 1182787.3493
9 | 2733658.047 | 1182786.2346
10 | 2733781.8855 | 1182719.1903
11 | 2733740.6799 | 1182757.9648
12 | 2733847.4169 | 1182708.0153
13 | 2733826.8818 | 1182726.8266
14 | 2734341.2929 | 1182867.732
15 | 2734286.9221 | 1182853.5661
16 | 2734278.1226 | 1182772.3276
17 | 2734304.8571 | 1182771.4364
18 | 2734303.4746 | 1182771.417
19 | 2734141.7829 | 1182705.3405
20 | 2734072.7507 | 1182861.399
21 | 2733983.1934 | 1182861.4586
22 | 2733981.0753 | 1182867.9747
23 | 2733982.8186 | 1182850.9437
24 | 2733980.1634 | 1182907.3732
25 | 2733967.6259 | 1182928.7513
26 | 2734107.3599 | 1182705.7733
27 | 2734083.0679 | 1182706.9774
28 | 2734010.9513 | 1182707.743
29 | 2733972.8883 | 1182695.6486
30 | 2733907.0779 | 1182688.518
31 | 2733920.9376 | 1182701.5531
32 | 2733873.6399 | 1182700.7314
33 | 2734053.1802 | 1182720.7015
34 | 2733930.7353 | 1182707.2346
35 | 2734057.9336 | 1182722.1601
36 | 2733941.636 | 1182710.23
37 | 2733964.4958 | 1182721.575
38 | 2733911.3934 | 1182748.684
39 | 2733883.5902 | 1182743.4316
40 | 2733762.9628 | 1182759.0026
41 | 2733833.0995 | 1182777.7225
42 | 2733933.8984 | 1182811.2476
43 | 2733765.9313 | 1182774.1426
44 | 2733940.3471 | 1182818.1902
45 | 2733963.6912 | 1182835.023
46 | 2733855.9063 | 1182810.2453
47 | 2733866.6503 | 1182813.7799
48 | 2733881.0396 | 1182817.6171
49 | 2733896.9289 | 1182823.3354
50 | 2733838.0266 | 1182835.1317
51 | 2733886.0271 | 1182841.0815
52 | 2733936.6246 | 1182840.1268
53 | 2733932.8529 | 1182838.5081
54 | 2733914.5355 | 1182877.6959
55 | 2733921.5101 | 1182892.3176
56 | 2733976.9603 | 1182875.3583
57 | 2733912.5447 | 1182829.7924
58 | 2733911.7153 | 1182927.6871
59 | 2733872.2682 | 1182925.1581
60 | 2733939.7237 | 1182905.3317
61 | 2733911.9076 | 1182935.7583
62 | 2733864.0875 | 1182928.8363
63 | 2733909.944 | 1182940.0562
64 | 2733918.9783 | 1182923.957
65 | 2733856.6105 | 1182932.1982
66 | 2733951.554 | 1182964.2548
67 | 2733905.1093 | 1182961.7373
68 | 2733906.1196 | 1182953.2001
69 | 2733906.5596 | 1182949.4826
70 | 2733850.9779 | 1182935.0358
71 | 2733936.6246 | 1182840.1268

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1