## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3619-39_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3619-39_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3619-39_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3619-39_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3619-39_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3619-39_0_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_3619-39_0_3_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_3619-39_0_3_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_3619-39_0_3_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_3619-39_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3619-39_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3619-39_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3619-39_0_3_node_83 | 0.4 | n |  | TRUE
13 | bus_LV_3619-39_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_3619-39_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3619-39_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3619-39_0_3_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_3619-39_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3619-39_0_3_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_3619-39_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_3619-39_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3619-39_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_3619-39_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_3619-39_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_3619-39_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_3619-39_0_3_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_3619-39_0_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_3619-39_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_3619-39_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_3619-39_0_3_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_3619-39_0_3_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_3619-39_0_3_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_3619-39_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_3619-39_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_3619-39_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_3619-39_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_3619-39_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_3619-39_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_3619-39_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_3619-39_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_3619-39_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_3619-39_0_3_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_3619-39_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_3619-39_0_3_node_78 | 0.4 | n |  | TRUE
44 | bus_LV_3619-39_0_3_node_79 | 0.4 | n |  | TRUE
45 | bus_LV_3619-39_0_3_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_3619-39_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_3619-39_0_3_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_3619-39_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_3619-39_0_3_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_3619-39_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_3619-39_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_3619-39_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_3619-39_0_3_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_3619-39_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_3619-39_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_3619-39_0_3_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_3619-39_0_3_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_3619-39_0_3_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_3619-39_0_3_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_3619-39_0_3_node_75 | 0.4 | n |  | TRUE
61 | bus_LV_3619-39_0_3_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_3619-39_0_3_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_3619-39_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_3619-39_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_3619-39_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_3619-39_0_3_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_3619-39_0_3_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_3619-39_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_3619-39_0_3_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_3619-39_0_3_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_3619-39_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_3619-39_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_3619-39_0_3_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_3619-39_0_3_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_3619-39_0_3_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_3619-39_0_3_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_3619-39_0_3_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_3619-39_0_3_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_3619-39_0_3_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_3619-39_0_3_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_3619-39_0_3_node_72 | 0.4 | n |  | TRUE
82 | bus_MV_161_0_node_135 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3619-39_0_3_load_0 | 0 | 0.0014095 | 0.00035325 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3619-39_0_3_load_1 | 1 | 0.0036759 | 0.00092127 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3619-39_0_3_load_2 | 2 | 0.001764 | 0.0004421 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3619-39_0_3_load_3 | 3 | 0.00069657 | 0.00017458 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3619-39_0_3_load_5 | 4 | 0.0033869 | 0.00084884 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3619-39_0_3_load_21 | 5 | 0.0023749 | 0.0005952 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3619-39_0_3_load_49 | 8 | 0.0037221 | 0.00093283 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3619-39_0_3_load_6 | 9 | 0.0020087 | 0.00050342 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3619-39_0_3_load_7 | 10 | 0.0018706 | 0.00046882 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3619-39_0_3_load_8 | 11 | 0.0020584 | 0.00051587 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3619-39_0_3_load_83 | 12 | 0.0027023 | 0.00067725 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3619-39_0_3_load_10 | 13 | 0.0018038 | 0.00045207 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3619-39_0_3_load_12 | 14 | 0.0021751 | 0.00054514 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3619-39_0_3_load_11 | 15 | 0.0015417 | 0.00038639 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3619-39_0_3_load_25 | 16 | 0.0016077 | 0.00040292 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3619-39_0_3_load_13 | 17 | 0.0017245 | 0.0004322 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3619-39_0_3_load_24 | 18 | 0.0019648 | 0.00049242 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3619-39_0_3_load_14 | 19 | 0.001716 | 0.00043007 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3619-39_0_3_load_15 | 20 | 0.0013412 | 0.00033613 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3619-39_0_3_load_16 | 21 | 0.0016481 | 0.00041306 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3619-39_0_3_load_19 | 24 | 0.0027686 | 0.00069387 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3619-39_0_3_load_39 | 25 | 0.0053336 | 0.0013367 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3619-39_0_3_load_30 | 26 | 0.0021437 | 0.00053727 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3619-39_0_3_load_18 | 27 | 0.002996 | 0.00075086 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3619-39_0_3_load_22 | 28 | 0.0051579 | 0.0012927 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3619-39_0_3_load_50 | 29 | 0.0035742 | 0.00089578 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3619-39_0_3_load_51 | 30 | 0.0062423 | 0.0015645 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3619-39_0_3_load_59 | 31 | 0.0034773 | 0.00087149 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3619-39_0_3_load_26 | 33 | 0.0016775 | 0.00042042 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3619-39_0_3_load_27 | 34 | 0.0022131 | 0.00055465 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3619-39_0_3_load_29 | 35 | 0.0027892 | 0.00069903 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3619-39_0_3_load_36 | 36 | 0.0024874 | 0.00062341 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3619-39_0_3_load_35 | 37 | 0.002346 | 0.00058797 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3619-39_0_3_load_31 | 38 | 0.002813 | 0.00070501 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3619-39_0_3_load_32 | 39 | 0.0035043 | 0.00087826 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3619-39_0_3_load_33 | 40 | 0.005807 | 0.0014554 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3619-39_0_3_load_77 | 41 | 0.0059156 | 0.0014826 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3619-39_0_3_load_34 | 42 | 0.0026381 | 0.00066118 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3619-39_0_3_load_78 | 43 | 0.0036908 | 0.000925 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3619-39_0_3_load_79 | 44 | 0.0048372 | 0.0012123 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3619-39_0_3_load_80 | 45 | 0.0058146 | 0.0014573 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3619-39_0_3_load_40 | 46 | 0.003654 | 0.00091579 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3619-39_0_3_load_81 | 47 | 0.0039406 | 0.00098761 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3619-39_0_3_load_82 | 49 | 0.0057052 | 0.0014299 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3619-39_0_3_load_37 | 50 | 0.0014179 | 0.00035536 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3619-39_0_3_load_41 | 51 | 0.0038527 | 0.00096557 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3619-39_0_3_load_42 | 52 | 0.0022964 | 0.00057554 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3619-39_0_3_load_60 | 53 | 0.0040342 | 0.0010111 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3619-39_0_3_load_43 | 54 | 0.0040454 | 0.0010139 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3619-39_0_3_load_46 | 55 | 0.0023977 | 0.00060093 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3619-39_0_3_load_44 | 56 | 0.0073362 | 0.0018386 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3619-39_0_3_load_45 | 57 | 0.003407 | 0.00085389 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3619-39_0_3_load_47 | 58 | 0.002074 | 0.00051979 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3619-39_0_3_load_76 | 59 | 0.0021797 | 0.00054629 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3619-39_0_3_load_75 | 60 | 0.0020981 | 0.00052583 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3619-39_0_3_load_57 | 61 | 0.001643 | 0.00041178 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3619-39_0_3_load_58 | 62 | 0.00189 | 0.00047369 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3619-39_0_3_load_53 | 64 | 0.0021807 | 0.00054653 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3619-39_0_3_load_54 | 65 | 0.0052826 | 0.0013239 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3619-39_0_3_load_55 | 66 | 0.0030743 | 0.0007705 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3619-39_0_3_load_66 | 67 | 0.0021197 | 0.00053126 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3619-39_0_3_load_56 | 68 | 0.0023229 | 0.00058216 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3619-39_0_3_load_64 | 69 | 0.002201 | 0.00055163 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3619-39_0_3_load_61 | 70 | 0.0025211 | 0.00063185 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3619-39_0_3_load_67 | 73 | 0.0020334 | 0.00050963 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3619-39_0_3_load_71 | 74 | 0.0043877 | 0.0010997 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3619-39_0_3_load_70 | 75 | 0.0030892 | 0.00077422 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3619-39_0_3_load_65 | 76 | 0.0024639 | 0.00061751 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3619-39_0_3_load_63 | 77 | 0.0036388 | 0.00091197 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3619-39_0_3_load_69 | 79 | 0.0031064 | 0.00077853 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3619-39_0_3_load_73 | 80 | 0.0045571 | 0.0011421 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3619-39_0_3_load_72 | 81 | 0.0024314 | 0.00060937 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3619-39_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0079865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3619-39_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0028268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3619-39_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.01086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3619-39_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.031862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3619-39_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.02688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3619-39_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.014651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3619-39_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.008251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3619-39_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0021605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3619-39_0_3_line_8 | NAYY 4x150 SE | 7 | 28 | 0.016397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3619-39_0_3_line_9 | NAYY 4x150 SE | 7 | 27 | 0.0027504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3619-39_0_3_line_10 | NAYY 4x150 SE | 8 | 61 | 0.014086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3619-39_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.0047266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3619-39_0_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.008454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3619-39_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.069756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3619-39_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.0032785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3619-39_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.011281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3619-39_0_3_line_16 | NAYY 4x150 SE | 14 | 17 | 0.010517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3619-39_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.011325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3619-39_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0025669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3619-39_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0011182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3619-39_0_3_line_20 | NAYY 4x150 SE | 18 | 33 | 0.0071306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3619-39_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.009636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3619-39_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0035361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3619-39_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.013195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3619-39_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.019977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3619-39_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.0054425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3619-39_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.013653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3619-39_0_3_line_27 | NAYY 4x150 SE | 23 | 26 | 0.013612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3619-39_0_3_line_28 | NAYY 4x150 SE | 24 | 27 | 0.005976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3619-39_0_3_line_29 | NAYY 4x150 SE | 25 | 31 | 0.00025467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3619-39_0_3_line_30 | NAYY 4x150 SE | 26 | 32 | 0.0023266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3619-39_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.0025816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3619-39_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.0098235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3619-39_0_3_line_33 | NAYY 4x150 SE | 31 | 53 | 0.012906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3619-39_0_3_line_34 | NAYY 4x150 SE | 32 | 35 | 0.0095271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3619-39_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.0091859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3619-39_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.0099707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3619-39_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.0081993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3619-39_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.010802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3619-39_0_3_line_39 | NAYY 4x150 SE | 37 | 50 | 0.0014251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3619-39_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.014111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3619-39_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.01276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3619-39_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.11221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3619-39_0_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.013385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3619-39_0_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.017097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3619-39_0_3_line_45 | NAYY 4x150 SE | 42 | 46 | 0.0024113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3619-39_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0089654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3619-39_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.020365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3619-39_0_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.014666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3619-39_0_3_line_49 | NAYY 4x150 SE | 46 | 48 | 0.0008394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3619-39_0_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.016143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3619-39_0_3_line_51 | NAYY 4x150 SE | 48 | 51 | 0.0076901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_3619-39_0_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.008595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3619-39_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.010312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_3619-39_0_3_line_54 | NAYY 4x150 SE | 52 | 54 | 0.0044334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_3619-39_0_3_line_55 | NAYY 4x150 SE | 53 | 70 | 0.0015729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3619-39_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.0049009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_3619-39_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.0023819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3619-39_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.0074059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3619-39_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.0066898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3619-39_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.0025019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3619-39_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.0029713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3619-39_0_3_line_62 | NAYY 4x150 SE | 60 | 78 | 0.011376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3619-39_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0037156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3619-39_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.0034159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3619-39_0_3_line_65 | NAYY 4x150 SE | 63 | 65 | 0.012451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3619-39_0_3_line_66 | NAYY 4x150 SE | 64 | 66 | 0.01295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3619-39_0_3_line_67 | NAYY 4x150 SE | 65 | 67 | 0.0083001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3619-39_0_3_line_68 | NAYY 4x150 SE | 66 | 68 | 0.013244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3619-39_0_3_line_69 | NAYY 4x150 SE | 67 | 69 | 0.0019397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3619-39_0_3_line_70 | NAYY 4x150 SE | 69 | 77 | 0.010554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3619-39_0_3_line_71 | NAYY 4x150 SE | 71 | 72 | 0.003773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3619-39_0_3_line_72 | NAYY 4x150 SE | 71 | 73 | 0.0048095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3619-39_0_3_line_73 | NAYY 4x150 SE | 72 | 74 | 0.012034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3619-39_0_3_line_74 | NAYY 4x150 SE | 72 | 75 | 0.015563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3619-39_0_3_line_75 | NAYY 4x150 SE | 73 | 76 | 0.010764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3619-39_0_3_line_76 | NAYY 4x150 SE | 74 | 78 | 0.013074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3619-39_0_3_line_77 | NAYY 4x150 SE | 75 | 79 | 0.005948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3619-39_0_3_line_78 | NAYY 4x150 SE | 76 | 77 | 0.0023187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3619-39_0_3_line_79 | NAYY 4x150 SE | 78 | 80 | 0.0069138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3619-39_0_3_line_80 | NAYY 4x150 SE | 80 | 81 | 0.016313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3619-39_0_3_trafo_46 | 0.25 MVA 20/0.4 kV | 82 | 55 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2733905.3236 | 1182964.556 | 2733905.9289 | 1182972.5195
1 | 2733905.1093 | 1182961.7373 | 2733905.3236 | 1182964.556
2 | 2733905.9289 | 1182972.5195 | 2733906.1245 | 1182975.0924 | 2733906.5714 | 1182983.3596
3 | 2733905.1093 | 1182961.7373 | 2733936.9247 | 1182963.4618
4 | 2733907.7787 | 1183010.2116 | 2733907.3402 | 1182997.5811 | 2733906.5714 | 1182983.3596
5 | 2733951.554 | 1182964.2548 | 2733936.9247 | 1182963.4618
6 | 2733908.065 | 1183018.4576 | 2733907.7787 | 1183010.2116
7 | 2733951.554 | 1182964.2548 | 2733953.7145 | 1182964.2603
8 | 2733908.065 | 1183018.4576 | 2733924.4085 | 1183017.1353
9 | 2733908.065 | 1183018.4576 | 2733908.0836 | 1183021.2079
10 | 2733953.7145 | 1182964.2603 | 2733967.8005 | 1182964.2958
11 | 2733848.3786 | 1183039.9153 | 2733844.1304 | 1183041.9873
12 | 2733855.977 | 1183036.2094 | 2733848.3786 | 1183039.9153
13 | 2733844.1304 | 1183041.9873 | 2733815.6323 | 1182978.3183
14 | 2733855.977 | 1183036.2094 | 2733858.9237 | 1183034.7723
15 | 2733858.9237 | 1183034.7723 | 2733858.9237 | 1183034.7723 | 2733870.1938 | 1183034.281
16 | 2733880.7011 | 1183033.823 | 2733870.1938 | 1183034.281
17 | 2733859.9349 | 1183057.5344 | 2733871.0036 | 1183059.93
18 | 2733873.5124 | 1183060.473 | 2733871.0036 | 1183059.93
19 | 2733880.7011 | 1183033.823 | 2733881.8183 | 1183033.7743
20 | 2733873.5124 | 1183060.473 | 2733880.4816 | 1183061.9813
21 | 2733881.8183 | 1183033.7743 | 2733891.4451 | 1183033.3547
22 | 2733894.9779 | 1183033.2007 | 2733891.4451 | 1183033.3547
23 | 2733908.1607 | 1183032.6261 | 2733894.9779 | 1183033.2007
24 | 2733907.2182 | 1183052.5757 | 2733908.1607 | 1183032.6261
25 | 2733908.1607 | 1183032.6261 | 2733908.1239 | 1183027.1837
26 | 2733907.2182 | 1183052.5757 | 2733916.0749 | 1183054.7753 | 2733920.5975 | 1183054.9697
27 | 2733907.2182 | 1183052.5757 | 2733903.7691 | 1183057.8916 | 2733900.2642 | 1183064.267
28 | 2733908.1239 | 1183027.1837 | 2733908.0836 | 1183021.2079
29 | 2733920.5975 | 1183054.9697 | 2733920.852 | 1183054.9807
30 | 2733899.1433 | 1183066.3058 | 2733900.2642 | 1183064.267
31 | 2733924.4085 | 1183017.1353 | 2733926.9817 | 1183016.9271
32 | 2733936.7732 | 1183016.1349 | 2733926.9817 | 1183016.9271
33 | 2733933.7191 | 1183055.8897 | 2733928.4672 | 1183055.3081 | 2733920.852 | 1183054.9807
34 | 2733899.1433 | 1183066.3058 | 2733898.9304 | 1183075.8305
35 | 2733899.1433 | 1183066.3058 | 2733890.2006 | 1183064.2061
36 | 2733890.2006 | 1183064.2061 | 2733883.5976 | 1183062.6557 | 2733880.4816 | 1183061.9813
37 | 2733898.9304 | 1183075.8305 | 2733898.7471 | 1183084.0277
38 | 2733899.1512 | 1183094.8142 | 2733898.6784 | 1183087.1001 | 2733898.7471 | 1183084.0277
39 | 2733899.1512 | 1183094.8142 | 2733899.2384 | 1183096.2367
40 | 2733857.619 | 1183114.8121 | 2733868.9927 | 1183113.9574 | 2733871.5858 | 1183113.187
41 | 2733871.5858 | 1183113.187 | 2733883.8177 | 1183109.5531
42 | 2733871.5858 | 1183113.187 | 2733879.2822 | 1183225.1333
43 | 2733883.8177 | 1183109.5531 | 2733896.648 | 1183105.7413
44 | 2733879.2822 | 1183225.1333 | 2733895.1306 | 1183231.5457
45 | 2733896.648 | 1183105.7413 | 2733898.9595 | 1183105.0546
46 | 2733895.1306 | 1183231.5457 | 2733903.4416 | 1183234.9083
47 | 2733903.4416 | 1183234.9083 | 2733906.0584 | 1183235.9671 | 2733923.4052 | 1183238.5776
48 | 2733923.4052 | 1183238.5776 | 2733937.9077 | 1183240.7601
49 | 2733898.9595 | 1183105.0546 | 2733899.7641 | 1183104.8156
50 | 2733937.9077 | 1183240.7601 | 2733937.9077 | 1183240.7601 | 2733952.6583 | 1183247.3175
51 | 2733899.7641 | 1183104.8156 | 2733907.0712 | 1183102.4187
52 | 2733899.7641 | 1183104.8156 | 2733899.2384 | 1183096.2367
53 | 2733907.0712 | 1183102.4187 | 2733916.3302 | 1183099.3816 | 2733916.8823 | 1183099.2518
54 | 2733916.8823 | 1183099.2518 | 2733921.1982 | 1183098.2379
55 | 2733933.7191 | 1183055.8897 | 2733935.2825 | 1183056.0628
56 | 2733925.9857 | 1183097.2067 | 2733925.0604 | 1183097.3306 | 2733921.1982 | 1183098.2379
57 | 2733928.3466 | 1183096.8904 | 2733925.9857 | 1183097.2067
58 | 2733928.3466 | 1183096.8904 | 2733934.3071 | 1183096.0919 | 2733935.6957 | 1183095.9934
59 | 2733942.3687 | 1183095.52 | 2733935.6957 | 1183095.9934
60 | 2733942.3687 | 1183095.52 | 2733944.8644 | 1183095.3429
61 | 2733947.8283 | 1183095.1327 | 2733944.8644 | 1183095.3429
62 | 2733959.1928 | 1183095.0139 | 2733951.8259 | 1183094.8491 | 2733947.8283 | 1183095.1327
63 | 2733967.8005 | 1182964.2958 | 2733971.5161 | 1182964.3052
64 | 2733960.1246 | 1183015.4519 | 2733963.0669 | 1183013.7167
65 | 2733960.1246 | 1183015.4519 | 2733959.1124 | 1183027.8621
66 | 2733963.0669 | 1183013.7167 | 2733974.2211 | 1183007.1383
67 | 2733959.1124 | 1183027.8621 | 2733958.4377 | 1183036.1348
68 | 2733974.2211 | 1183007.1383 | 2733985.6285 | 1183000.4106
69 | 2733958.4377 | 1183036.1348 | 2733958.28 | 1183038.068
70 | 2733957.422 | 1183048.5872 | 2733958.28 | 1183038.068
71 | 2733955.9676 | 1183066.42 | 2733957.2092 | 1183069.9838
72 | 2733955.9676 | 1183066.42 | 2733956.3585 | 1183061.6264
73 | 2733957.2092 | 1183069.9838 | 2733958.1599 | 1183081.9804
74 | 2733957.2092 | 1183069.9838 | 2733972.354 | 1183073.5665
75 | 2733956.3585 | 1183061.6264 | 2733957.2335 | 1183050.8982
76 | 2733959.1928 | 1183095.0139 | 2733958.1599 | 1183081.9804
77 | 2733978.1423 | 1183074.9357 | 2733972.354 | 1183073.5665
78 | 2733957.422 | 1183048.5872 | 2733957.2335 | 1183050.8982
79 | 2733959.1928 | 1183095.0139 | 2733965.8399 | 1183096.9155
80 | 2733980.957 | 1183102.853 | 2733973.5292 | 1183099.1152 | 2733965.8399 | 1183096.9155

## bus_geodata
| x | y | coords
0 | 2733905.3236 | 1182964.556
1 | 2733905.9289 | 1182972.5195
2 | 2733905.1093 | 1182961.7373
3 | 2733906.5714 | 1182983.3596
4 | 2733936.9247 | 1182963.4618
5 | 2733907.7787 | 1183010.2116
6 | 2733951.554 | 1182964.2548
7 | 2733908.065 | 1183018.4576
8 | 2733953.7145 | 1182964.2603
9 | 2733848.3786 | 1183039.9153
10 | 2733844.1304 | 1183041.9873
11 | 2733855.977 | 1183036.2094
12 | 2733815.6323 | 1182978.3183
13 | 2733858.9237 | 1183034.7723
14 | 2733870.1938 | 1183034.281
15 | 2733859.9349 | 1183057.5344
16 | 2733871.0036 | 1183059.93
17 | 2733880.7011 | 1183033.823
18 | 2733873.5124 | 1183060.473
19 | 2733881.8183 | 1183033.7743
20 | 2733891.4451 | 1183033.3547
21 | 2733894.9779 | 1183033.2007
22 | 2733908.1607 | 1183032.626
23 | 2733907.2182 | 1183052.5757
24 | 2733908.1239 | 1183027.1837
25 | 2733920.5975 | 1183054.9697
26 | 2733900.2642 | 1183064.267
27 | 2733908.0836 | 1183021.2079
28 | 2733924.4085 | 1183017.1353
29 | 2733926.9817 | 1183016.9271
30 | 2733936.7732 | 1183016.1349
31 | 2733920.852 | 1183054.9807
32 | 2733899.1433 | 1183066.3058
33 | 2733880.4816 | 1183061.9813
34 | 2733890.2006 | 1183064.2061
35 | 2733898.9304 | 1183075.8305
36 | 2733898.7471 | 1183084.0277
37 | 2733899.1512 | 1183094.8142
38 | 2733857.619 | 1183114.8121
39 | 2733871.5858 | 1183113.187
40 | 2733883.8177 | 1183109.5531
41 | 2733879.2822 | 1183225.1333
42 | 2733896.648 | 1183105.7413
43 | 2733895.1306 | 1183231.5457
44 | 2733903.4416 | 1183234.9083
45 | 2733923.4052 | 1183238.5776
46 | 2733898.9595 | 1183105.0546
47 | 2733937.9077 | 1183240.7602
48 | 2733899.7641 | 1183104.8156
49 | 2733952.6583 | 1183247.3175
50 | 2733899.2384 | 1183096.2367
51 | 2733907.0712 | 1183102.4187
52 | 2733916.8823 | 1183099.2518
53 | 2733933.7191 | 1183055.8897
54 | 2733921.1982 | 1183098.2379
55 | 2733925.9857 | 1183097.2067
56 | 2733928.3466 | 1183096.8904
57 | 2733935.6957 | 1183095.9934
58 | 2733942.3687 | 1183095.52
59 | 2733944.8644 | 1183095.3429
60 | 2733947.8283 | 1183095.1327
61 | 2733967.8005 | 1182964.2958
62 | 2733971.5161 | 1182964.3052
63 | 2733960.1246 | 1183015.4519
64 | 2733963.0669 | 1183013.7167
65 | 2733959.1124 | 1183027.8621
66 | 2733974.2211 | 1183007.1383
67 | 2733958.4377 | 1183036.1348
68 | 2733985.6285 | 1183000.4106
69 | 2733958.28 | 1183038.068
70 | 2733935.2825 | 1183056.0628
71 | 2733955.9675 | 1183066.42
72 | 2733957.2092 | 1183069.9838
73 | 2733956.3585 | 1183061.6264
74 | 2733958.1599 | 1183081.9804
75 | 2733972.354 | 1183073.5665
76 | 2733957.2335 | 1183050.8982
77 | 2733957.422 | 1183048.5872
78 | 2733959.1928 | 1183095.0139
79 | 2733978.1423 | 1183074.9357
80 | 2733965.8399 | 1183096.9155
81 | 2733980.957 | 1183102.853
82 | 2733899.7641 | 1183104.8156

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1