## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3638-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3638-4_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3638-4_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3638-4_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3638-4_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3638-4_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3638-4_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3638-4_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3638-4_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3638-4_0_6_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_3638-4_0_6_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_3638-4_0_6_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_3638-4_0_6_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_3638-4_0_6_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_3638-4_0_6_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_3638-4_0_6_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_3638-4_0_6_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_3638-4_0_6_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_3638-4_0_6_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_3638-4_0_6_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_3638-4_0_6_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_3638-4_0_6_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_3638-4_0_6_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_3638-4_0_6_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_3638-4_0_6_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_3638-4_0_6_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_3638-4_0_6_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_3638-4_0_6_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_3638-4_0_6_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_3638-4_0_6_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_3638-4_0_6_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_3638-4_0_6_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_3638-4_0_6_node_105 | 0.4 | n |  | TRUE
33 | bus_LV_3638-4_0_6_node_106 | 0.4 | n |  | TRUE
34 | bus_LV_3638-4_0_6_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_3638-4_0_6_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_3638-4_0_6_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_3638-4_0_6_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_3638-4_0_6_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_3638-4_0_6_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_3638-4_0_6_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_3638-4_0_6_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_3638-4_0_6_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_3638-4_0_6_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_3638-4_0_6_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_3638-4_0_6_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_3638-4_0_6_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_3638-4_0_6_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_3638-4_0_6_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_3638-4_0_6_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_3638-4_0_6_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_3638-4_0_6_node_57 | 0.4 | n |  | TRUE
52 | bus_MV_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3638-4_0_6_load_0 | 0 | 0.0010901 | 0.00027322 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3638-4_0_6_load_2 | 2 | 0.0094124 | 0.002359 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3638-4_0_6_load_4 | 4 | 0.00025348 | 6.3528e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3638-4_0_6_load_5 | 5 | 0.0040077 | 0.0010044 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3638-4_0_6_load_6 | 6 | 0.00030017 | 7.523e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3638-4_0_6_load_7 | 7 | 0.00046635 | 0.00011688 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3638-4_0_6_load_8 | 8 | 0.00036783 | 9.2186e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3638-4_0_6_load_58 | 9 | 0.00051959 | 0.00013022 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3638-4_0_6_load_36 | 10 | 0.00035724 | 8.9534e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3638-4_0_6_load_11 | 11 | 0.00034104 | 8.5474e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3638-4_0_6_load_21 | 12 | 0.00021105 | 5.2894e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3638-4_0_6_load_22 | 13 | 0.00027628 | 6.9243e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3638-4_0_6_load_23 | 14 | 0.00040328 | 0.00010107 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3638-4_0_6_load_24 | 15 | 0.00025253 | 6.329e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3638-4_0_6_load_60 | 17 | 0.0010581 | 0.00026519 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3638-4_0_6_load_26 | 18 | 0.00048481 | 0.0001215 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3638-4_0_6_load_27 | 19 | 0.00039759 | 9.9645e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3638-4_0_6_load_29 | 21 | 0.00025975 | 6.5099e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3638-4_0_6_load_30 | 22 | 0.00061824 | 0.00015495 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3638-4_0_6_load_35 | 26 | 0.00023195 | 5.8133e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3638-4_0_6_load_53 | 27 | 0.00072576 | 0.00018189 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3638-4_0_6_load_52 | 28 | 0.00033589 | 8.4183e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3638-4_0_6_load_54 | 30 | 0.00024245 | 6.0763e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3638-4_0_6_load_43 | 31 | 0.00022879 | 5.7339e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3638-4_0_6_load_105 | 32 | 0.0010033 | 0.00025146 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3638-4_0_6_load_106 | 33 | 0.00071511 | 0.00017922 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3638-4_0_6_load_37 | 34 | 0.0025925 | 0.00064974 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3638-4_0_6_load_38 | 35 | 0.0055212 | 0.0013837 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3638-4_0_6_load_59 | 36 | 0.00059883 | 0.00015008 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3638-4_0_6_load_39 | 37 | 0.00029163 | 7.3089e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3638-4_0_6_load_42 | 40 | 0.01302 | 0.0032632 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3638-4_0_6_load_44 | 41 | 0.00028693 | 7.1911e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3638-4_0_6_load_45 | 42 | 0.00051394 | 0.00012881 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3638-4_0_6_load_46 | 43 | 0.00055635 | 0.00013943 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3638-4_0_6_load_47 | 44 | 0.0002107 | 5.2806e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3638-4_0_6_load_48 | 45 | 0.00058794 | 0.00014735 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3638-4_0_6_load_49 | 46 | 0.00024831 | 6.2233e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3638-4_0_6_load_50 | 47 | 0.00022602 | 5.6646e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3638-4_0_6_load_51 | 48 | 0.0003933 | 9.8571e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3638-4_0_6_load_55 | 49 | 0.00020724 | 5.1939e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3638-4_0_6_load_56 | 50 | 0.00025971 | 6.509e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3638-4_0_6_load_57 | 51 | 0.00059674 | 0.00014956 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3638-4_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.67429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_3638-4_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.58636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_3638-4_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.47736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_3638-4_0_6_line_3 | NAYY 4x150 SE | 1 | 4 | 0.44447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3638-4_0_6_line_4 | NAYY 4x150 SE | 2 | 5 | 0.040444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3638-4_0_6_line_5 | NAYY 4x150 SE | 3 | 6 | 0.4478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3638-4_0_6_line_6 | NAYY 4x150 SE | 3 | 7 | 0.010965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_3638-4_0_6_line_7 | NAYY 4x150 SE | 4 | 8 | 0.0077169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3638-4_0_6_line_8 | NAYY 4x150 SE | 6 | 9 | 0.01427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3638-4_0_6_line_9 | NAYY 4x150 SE | 7 | 10 | 0.014793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_3638-4_0_6_line_10 | NAYY 4x150 SE | 8 | 11 | 0.36228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3638-4_0_6_line_11 | NAYY 4x150 SE | 9 | 16 | 0.050854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3638-4_0_6_line_12 | NAYY 4x150 SE | 10 | 25 | 0.56103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_3638-4_0_6_line_13 | NAYY 4x150 SE | 12 | 13 | 0.0070879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3638-4_0_6_line_14 | NAYY 4x150 SE | 12 | 14 | 0.13055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3638-4_0_6_line_15 | NAYY 4x150 SE | 14 | 15 | 0.014167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3638-4_0_6_line_16 | NAYY 4x150 SE | 15 | 16 | 0.013076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3638-4_0_6_line_17 | NAYY 4x150 SE | 16 | 17 | 0.050682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3638-4_0_6_line_18 | NAYY 4x150 SE | 18 | 19 | 0.23117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_3638-4_0_6_line_19 | NAYY 4x150 SE | 18 | 20 | 0.31137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_3638-4_0_6_line_20 | NAYY 4x150 SE | 19 | 21 | 0.020453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_3638-4_0_6_line_21 | NAYY 4x150 SE | 20 | 22 | 0.11356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3638-4_0_6_line_22 | NAYY 4x150 SE | 20 | 23 | 0.25042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3638-4_0_6_line_23 | NAYY 4x150 SE | 20 | 24 | 0.55829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_3638-4_0_6_line_24 | NAYY 4x150 SE | 21 | 25 | 0.73515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_3638-4_0_6_line_25 | NAYY 4x150 SE | 22 | 26 | 0.050553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3638-4_0_6_line_26 | NAYY 4x150 SE | 23 | 27 | 0.080595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3638-4_0_6_line_27 | NAYY 4x150 SE | 23 | 28 | 0.037549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3638-4_0_6_line_28 | NAYY 4x150 SE | 24 | 32 | 0.080584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3638-4_0_6_line_29 | NAYY 4x150 SE | 24 | 33 | 0.051269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3638-4_0_6_line_30 | NAYY 4x150 SE | 24 | 29 | 0.32383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_3638-4_0_6_line_31 | NAYY 4x150 SE | 25 | 34 | 0.35737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3638-4_0_6_line_32 | NAYY 4x150 SE | 28 | 48 | 0.016579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3638-4_0_6_line_33 | NAYY 4x150 SE | 29 | 30 | 0.1598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3638-4_0_6_line_34 | NAYY 4x150 SE | 29 | 31 | 0.3066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_3638-4_0_6_line_35 | NAYY 4x150 SE | 30 | 49 | 0.016392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3638-4_0_6_line_36 | NAYY 4x150 SE | 31 | 39 | 0.1385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_3638-4_0_6_line_37 | NAYY 4x150 SE | 34 | 35 | 0.020779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3638-4_0_6_line_38 | NAYY 4x150 SE | 35 | 36 | 0.69269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3638-4_0_6_line_39 | NAYY 4x150 SE | 37 | 38 | 0.12331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_3638-4_0_6_line_40 | NAYY 4x150 SE | 37 | 39 | 0.096253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_3638-4_0_6_line_41 | NAYY 4x150 SE | 38 | 40 | 0.59208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3638-4_0_6_line_42 | NAYY 4x150 SE | 41 | 42 | 0.01657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3638-4_0_6_line_43 | NAYY 4x150 SE | 41 | 43 | 0.1948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3638-4_0_6_line_44 | NAYY 4x150 SE | 42 | 44 | 0.014209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3638-4_0_6_line_45 | NAYY 4x150 SE | 44 | 45 | 0.01535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3638-4_0_6_line_46 | NAYY 4x150 SE | 45 | 46 | 0.056169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3638-4_0_6_line_47 | NAYY 4x150 SE | 46 | 47 | 0.0073127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3638-4_0_6_line_48 | NAYY 4x150 SE | 47 | 48 | 0.097469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3638-4_0_6_line_49 | NAYY 4x150 SE | 49 | 50 | 0.0036216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3638-4_0_6_line_50 | NAYY 4x150 SE | 50 | 51 | 0.0023997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3638-4_0_6_trafo_27 | 0.25 MVA 20/0.4 kV | 52 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65
0 | 2756598.9562 | 1176535.4458 | 2756621.2758 | 1176539.4094 | 2756629.378 | 1176542.2122 | 2756678.0374 | 1176575.3995 | 2756687.7924 | 1176580.5029 | 2756696.8593 | 1176582.3857 | 2756713.6969 | 1176584.2382 | 2756720.5779 | 1176585.7747 | 2756725.6536 | 1176588.4985 | 2756731.5977 | 1176592.8129 | 2756747.806 | 1176605.2802 | 2756757.4176 | 1176609.7239 | 2756765.3886 | 1176611.6894 | 2756773.3076 | 1176610.9624 | 2756787.2807 | 1176608.5921 | 2756799.5215 | 1176609.0012 | 2756808.1533 | 1176607.9259 | 2756811.1232 | 1176607.8256 | 2756814.6927 | 1176608.7753 | 2756828.0766 | 1176614.0184 | 2756854.8846 | 1176622.3818 | 2756867.8598 | 1176624.5339 | 2756876.2647 | 1176624.5314 | 2756889.7529 | 1176622.8604 | 2756895.7403 | 1176623.4731 | 2756916.0262 | 1176628.2743 | 2756922.0094 | 1176626.7072 | 2756922.9442 | 1176622.8395 | 2756921.6444 | 1176618.4462 | 2756918.3414 | 1176612.8662 | 2756911.1681 | 1176606.4288 | 2756901.5921 | 1176600.629 | 2756886.3896 | 1176594.1594 | 2756879.3905 | 1176589.5391 | 2756874.2157 | 1176584.1771 | 2756867.1077 | 1176572.0254 | 2756857.2251 | 1176545.2 | 2756853.3571 | 1176538.7045 | 2756845.7683 | 1176531.1886 | 2756840.7718 | 1176527.7774 | 2756830.4981 | 1176523.205 | 2756822.6144 | 1176519.6515 | 2756814.3753 | 1176512.7303 | 2756806.4243 | 1176500.3454 | 2756802.8005 | 1176495.0351 | 2756798.9895 | 1176491.0321 | 2756795.6844 | 1176489.033 | 2756793.3337 | 1176485.046 | 2756792.3677 | 1176480.7504 | 2756793.4554 | 1176477.1758 | 2756798.085 | 1176471.2251 | 2756801.324 | 1176465.2269 | 2756802.0418 | 1176458.2509 | 2756800.6368 | 1176449.3956 | 2756798.3007 | 1176444.2635 | 2756793.5105 | 1176437.933 | 2756788.68 | 1176433.7255 | 2756777.3645 | 1176427.747 | 2756762.3428 | 1176418.4356 | 2756754.0882 | 1176409.757 | 2756750.2317 | 1176405.1524 | 2756747.3589 | 1176397.4375 | 2756746.7351 | 1176394.3853 | 2756744.8884 | 1176391.012 | 2756741.4318 | 1176388.9533
1 | 2756741.4318 | 1176388.9533 | 2756730.3661 | 1176384.8274 | 2756708.4833 | 1176374.9587 | 2756697.0693 | 1176367.7657 | 2756690.7646 | 1176360.8507 | 2756683.6418 | 1176346.6083 | 2756680.1611 | 1176337.2762 | 2756680.1209 | 1176330.0357 | 2756684.1131 | 1176314.5269 | 2756689.1216 | 1176274.1792 | 2756694.0175 | 1176216.1914 | 2756696.1256 | 1176207.2278 | 2756699.341 | 1176202.1297 | 2756707.5091 | 1176197.161 | 2756720.9349 | 1176189.1382 | 2756733.7421 | 1176179.9094 | 2756748.9678 | 1176173.8353 | 2756767.7947 | 1176171.9033 | 2756777.7404 | 1176175.5884 | 2756794.0606 | 1176183.2324 | 2756800.0726 | 1176184.0902 | 2756803.1226 | 1176183.8586 | 2756806.6453 | 1176182.5162 | 2756810.7769 | 1176179.5328 | 2756818.9649 | 1176167.9592 | 2756829.6055 | 1176156.7723 | 2756854.4847 | 1176131.3566 | 2756859.1204 | 1176128.1084 | 2756865.7191 | 1176126.7131 | 2756898.0075 | 1176125.6452 | 2756929.2123 | 1176122.4362 | 2756945.7103 | 1176117.1521 | 2756972.3149 | 1176110.2867 | 2756982.2721 | 1176105.6432 | 2757007.0147 | 1176091.612 | 2757018.7833 | 1176080.6986
2 | 2756598.9562 | 1176535.4458 | 2756596.5293 | 1176546.6697 | 2756594.3625 | 1176551.4505 | 2756589.5547 | 1176553.6936 | 2756584.5538 | 1176554.2524 | 2756573.264 | 1176552.8567 | 2756548.2702 | 1176552.3152 | 2756540.1307 | 1176552.4029 | 2756484.2773 | 1176567.7256 | 2756476.5177 | 1176568.7908 | 2756465.0348 | 1176567.468 | 2756438.9508 | 1176562.1056 | 2756426.488 | 1176560.2347 | 2756408.4635 | 1176563.7122 | 2756393.5661 | 1176569.273 | 2756368.5503 | 1176576.0267 | 2756362.9845 | 1176579.1843 | 2756355.7705 | 1176586.6026 | 2756351.097 | 1176593.0863 | 2756347.5855 | 1176599.8783 | 2756343.6429 | 1176608.5384 | 2756340.1235 | 1176613.8734 | 2756335.0755 | 1176618.5903 | 2756329.6624 | 1176621.1737 | 2756321.8012 | 1176622.3254 | 2756313.6353 | 1176621.9679 | 2756304.3702 | 1176619.7691 | 2756295.5218 | 1176615.9577 | 2756284.6362 | 1176609.035 | 2756273.6122 | 1176603.8991 | 2756260.1965 | 1176601.0362 | 2756246.5343 | 1176601.1694 | 2756237.2951 | 1176601.4957 | 2756227.0782 | 1176600.0174 | 2756178.1323 | 1176584.797 | 2756172.2452 | 1176583.8541 | 2756167.7652 | 1176584.3824
3 | 2756598.9562 | 1176535.4458 | 2756568.422 | 1176536.2052 | 2756503.7032 | 1176515.2547 | 2756444.9348 | 1176492.5141 | 2756399.3554 | 1176470.474 | 2756372.0478 | 1176479.1696 | 2756354.476 | 1176500.1738 | 2756340.1057 | 1176492.8488 | 2756327.0701 | 1176465.7196 | 2756311.6959 | 1176449.372 | 2756300.3725 | 1176419.6298 | 2756264.2519 | 1176420.5008 | 2756252.6497 | 1176408.7777 | 2756243.6683 | 1176387.5003
4 | 2757018.7833 | 1176080.6986 | 2757025.6865 | 1176074.2971 | 2757038.1408 | 1176062.8021 | 2757049.8341 | 1176054.9571
5 | 2756167.7652 | 1176584.3824 | 2756169.4295 | 1176587.4283 | 2756170.8513 | 1176589.5115 | 2756172.8764 | 1176590.743 | 2756180.4519 | 1176592.6307 | 2756207.4415 | 1176606.089 | 2756224.1939 | 1176612.9754 | 2756240.7034 | 1176615.9745 | 2756252.4643 | 1176617.482 | 2756265.6762 | 1176621.4182 | 2756275.0356 | 1176626.4551 | 2756299.3388 | 1176644.381 | 2756311.0867 | 1176650.4922 | 2756327.9578 | 1176655.4582 | 2756336.0475 | 1176657.2705 | 2756341.8365 | 1176656.3983 | 2756346.787 | 1176652.4907 | 2756353.7229 | 1176645.1764 | 2756363.6839 | 1176633.5929 | 2756368.1994 | 1176630.5302 | 2756372.4065 | 1176629.0274 | 2756378.9802 | 1176628.565 | 2756419.0558 | 1176628.1871 | 2756422.9666 | 1176628.9563 | 2756436.4585 | 1176633.8789 | 2756456.5431 | 1176637.0275 | 2756486.2241 | 1176638.7585 | 2756494.4183 | 1176640.9629 | 2756517.8156 | 1176648.1571 | 2756555.0844 | 1176666.2335 | 2756574.311 | 1176671.7732 | 2756577.0052 | 1176671.6879 | 2756578.3326 | 1176671.3143
6 | 2756167.7652 | 1176584.3824 | 2756161.7396 | 1176586.1159 | 2756157.2504 | 1176587.4895
7 | 2756240.6674 | 1176380.3909 | 2756243.6683 | 1176387.5003
8 | 2756578.3326 | 1176671.3143 | 2756579.717 | 1176670.9246 | 2756589.3826 | 1176666.8623 | 2756591.7051 | 1176666.5254
9 | 2756143.1052 | 1176591.8177 | 2756157.2504 | 1176587.4895
10 | 2756240.6674 | 1176380.3909 | 2756238.1641 | 1176374.4605 | 2756219.9422 | 1176341.4695 | 2756220.7319 | 1176334.9401 | 2756230.6666 | 1176347.2647 | 2756252.4709 | 1176384.2413 | 2756274.7531 | 1176395.242 | 2756301.8349 | 1176394.9248 | 2756333.4318 | 1176402.7101 | 2756350.8747 | 1176410.1152 | 2756369.7171 | 1176403.4451 | 2756392.7268 | 1176390.9453 | 2756416.9 | 1176371.9594 | 2756418.3172 | 1176364.8348 | 2756413.0022 | 1176356.3224 | 2756396.1474 | 1176371.5181 | 2756374.6619 | 1176376.3066 | 2756364.6126 | 1176373.3401
11 | 2756639.5997 | 1176681.3742 | 2756630.0351 | 1176677.7659 | 2756619.2157 | 1176673.302 | 2756608.4214 | 1176668.1715 | 2756601.9655 | 1176666.4682 | 2756594.5797 | 1176666.1084 | 2756591.7051 | 1176666.5254
12 | 2756084.4362 | 1176701.0123 | 2756081.4966 | 1176698.189 | 2756073.0761 | 1176692.632 | 2756057.8903 | 1176686.0871 | 2755962.5199 | 1176657.8058 | 2755948.6689 | 1176655.7996 | 2755923.677 | 1176656.6731 | 2755911.8549 | 1176655.754 | 2755851.1773 | 1176639.653 | 2755847.2797 | 1176632.4902 | 2755849.3239 | 1176627.1054 | 2755879.4939 | 1176619.7385 | 2755936.67 | 1176621.1031 | 2755945.6336 | 1176619.3123 | 2755959.8257 | 1176613.2094 | 2755973.0608 | 1176609.2056 | 2755988.7815 | 1176606.0783 | 2756007.5711 | 1176599.3389 | 2756034.3236 | 1176589.3039 | 2756041.5308 | 1176588.3015 | 2756048.2568 | 1176588.7435 | 2756081.1577 | 1176599.8753 | 2756092.4068 | 1176601.6583 | 2756105.2088 | 1176601.3689 | 2756125.0984 | 1176597.3274 | 2756143.1052 | 1176591.8177
13 | 2756800.6482 | 1176681.1066 | 2756797.1384 | 1176681.9895 | 2756793.7312 | 1176682.6403
14 | 2756665.8147 | 1176688.467 | 2756688.545 | 1176693.0398 | 2756697.0979 | 1176693.2189 | 2756706.3339 | 1176692.4261 | 2756727.2576 | 1176691.8387 | 2756739.3621 | 1176689.8532 | 2756744.3178 | 1176688.9709 | 2756748.4306 | 1176689.323 | 2756750.9241 | 1176690.478 | 2756758.4786 | 1176691.9878 | 2756762.6765 | 1176691.7195 | 2756768.2113 | 1176690.0404 | 2756778.1926 | 1176685.6086 | 2756793.7312 | 1176682.6403
15 | 2756651.926 | 1176685.6729 | 2756665.8147 | 1176688.467
16 | 2756639.5997 | 1176681.3742 | 2756649.9824 | 1176685.2819 | 2756651.926 | 1176685.6729
17 | 2756639.5997 | 1176681.3742 | 2756633.1617 | 1176681.3283 | 2756624.0922 | 1176679.8459 | 2756613.5576 | 1176677.0686 | 2756609.0399 | 1176677.2842 | 2756602.5299 | 1176680.2835 | 2756591.9199 | 1176686.8343
18 | 2756950.6723 | 1177023.4719 | 2756890.1955 | 1176997.522 | 2756879.8281 | 1176991.0121 | 2756869.3201 | 1176982.2744 | 2756852.5939 | 1176963.0542 | 2756843.5108 | 1176952.4633 | 2756840.4259 | 1176947.6119 | 2756830.568 | 1176940.0367 | 2756795.8547 | 1176925.8063 | 2756782.5147 | 1176921.543 | 2756763.2192 | 1176918.3806 | 2756752.6914 | 1176916.1221
19 | 2756700.0358 | 1177049.5187 | 2756710.5095 | 1177045.8224 | 2756757.9775 | 1177037.2441 | 2756787.7855 | 1177039.0133 | 2756845.2976 | 1177035.28 | 2756912.6931 | 1177034.0523 | 2756920.8645 | 1177035.9343 | 2756927.145 | 1177038.4785 | 2756939.0995 | 1177043.9513 | 2756947.6038 | 1177046.5538 | 2756956.5154 | 1177048.1994 | 2756962.8117 | 1177048.3865 | 2756966.3025 | 1177048.2444 | 2756969.8312 | 1177046.9467 | 2756972.1501 | 1177043.0819 | 2756972.8157 | 1177039.2738 | 2756972.4566 | 1177036.3397 | 2756970.4597 | 1177032.8735 | 2756967.035 | 1177030.493 | 2756950.6723 | 1177023.4719
20 | 2756732.6935 | 1176911.8319 | 2756752.6914 | 1176916.1221
21 | 2756700.0358 | 1177049.5187 | 2756663.2163 | 1177048.3006 | 2756656.2617 | 1177047.5517 | 2756652.5644 | 1177045.9427 | 2756648.0406 | 1177042.8886 | 2756641.0366 | 1177035.544 | 2756629.5969 | 1177024.7029 | 2756622.5482 | 1177019.3588 | 2756618.1028 | 1177015.9399 | 2756610.0127 | 1177006.5541 | 2756607.0001 | 1177003.3172 | 2756604.3799 | 1177001.7475 | 2756604.3799 | 1177001.7475
22 | 2756700.0358 | 1177049.5187 | 2756658.6132 | 1177064.672 | 2756647.4383 | 1177069.4509 | 2756640.0509 | 1177074.44 | 2756630.4708 | 1177083.7422 | 2756651.883 | 1177081.9664 | 2756658.5574 | 1177082.6079 | 2756661.613 | 1177083.8999 | 2756668.174 | 1177088.2971 | 2756700.9488 | 1177117.8558 | 2756726.3157 | 1177149.6675 | 2756763.4164 | 1177179.5842
23 | 2756178.6801 | 1177099.4891 | 2756187.8931 | 1177101.8977 | 2756202.2498 | 1177108.5214 | 2756213.6093 | 1177111.8978 | 2756236.2313 | 1177112.3984 | 2756244.1264 | 1177114.0276 | 2756271.3328 | 1177124.6451 | 2756281.5134 | 1177128.0687 | 2756289.6396 | 1177128.4585 | 2756292.6969 | 1177128.516 | 2756296.5973 | 1177129.0847 | 2756315.9991 | 1177119.3486 | 2756325.3409 | 1177117.1124 | 2756351.0748 | 1177112.935 | 2756390.0284 | 1177100.6287 | 2756397.0615 | 1177099.2442 | 2756400.2804 | 1177098.9723 | 2756404.3072 | 1177099.6779 | 2756410.1649 | 1177102.3106 | 2756420.1009 | 1177105.4389 | 2756428.3161 | 1177106.5207 | 2756434.4561 | 1177106.2472 | 2756441.0021 | 1177104.4831 | 2756453.4975 | 1177098.6151 | 2756496.2273 | 1177075.2431 | 2756504.011 | 1177072.6439 | 2756510.1996 | 1177072.2717 | 2756518.3938 | 1177073.8646 | 2756560.1653 | 1177093.6489 | 2756572.578 | 1177098.5659 | 2756578.9749 | 1177099.289 | 2756588.0383 | 1177098.3469 | 2756608.9413 | 1177094.4003 | 2756616.3111 | 1177092.4243 | 2756622.6276 | 1177089.787 | 2756630.4708 | 1177083.7422 | 2756640.0509 | 1177074.44 | 2756647.4383 | 1177069.4509 | 2756658.6132 | 1177064.672 | 2756700.0358 | 1177049.5187
24 | 2756084.4362 | 1176701.0123 | 2756102.8473 | 1176717.6164 | 2756114.8866 | 1176726.9263 | 2756126.9181 | 1176733.3114 | 2756146.9795 | 1176742.33 | 2756174.5284 | 1176752.7891 | 2756197.3815 | 1176763.5486 | 2756220.6324 | 1176775.4751 | 2756228.5057 | 1176781.1849 | 2756234.8304 | 1176788.5113 | 2756250.794 | 1176807.1538 | 2756258.4818 | 1176813.526 | 2756265.5011 | 1176816.7894 | 2756271.8183 | 1176817.9438 | 2756283.1679 | 1176818.4954 | 2756289.2152 | 1176820.3211 | 2756296.8582 | 1176825.1798 | 2756308.9518 | 1176835.3257 | 2756314.3235 | 1176837.5453 | 2756319.4188 | 1176837.756 | 2756323.1238 | 1176836.4403 | 2756327.4707 | 1176833.3843 | 2756333.8299 | 1176826.4775 | 2756341.8004 | 1176818.7787 | 2756345.8637 | 1176816.6272 | 2756353.6562 | 1176815.7517 | 2756366.6292 | 1176814.7556 | 2756392.7951 | 1176810.7787 | 2756438.5546 | 1176798.5613 | 2756445.9194 | 1176798.253 | 2756451.3126 | 1176799.6504 | 2756472.137 | 1176811.3477 | 2756506.3809 | 1176840.3876 | 2756534.453 | 1176862.6943 | 2756546.0611 | 1176869.1581 | 2756553.6697 | 1176872.1036 | 2756562.0771 | 1176873.1572 | 2756587.5683 | 1176875.9803 | 2756605.2978 | 1176875.2758 | 2756634.2141 | 1176874.6189 | 2756644.5366 | 1176876.1342 | 2756650.5838 | 1176877.9602 | 2756655.9075 | 1176882.0138 | 2756661.3831 | 1176889.9078 | 2756667.2111 | 1176893.9746 | 2756675.9015 | 1176896.7816 | 2756690.3661 | 1176899.5728 | 2756703.7715 | 1176901.3355 | 2756731.4016 | 1176911.5547 | 2756732.6935 | 1176911.8319
25 | 2756555.6218 | 1177012.8733 | 2756562.5172 | 1177010.3289 | 2756571.3422 | 1177008.2685 | 2756579.9348 | 1177006.9138 | 2756586.374 | 1177005.4362 | 2756597.2673 | 1177001.4838 | 2756600.8759 | 1177000.9331 | 2756604.3799 | 1177001.7475
26 | 2756763.4164 | 1177179.5842 | 2756753.4715 | 1177197.5729 | 2756705.1843 | 1177233.4418
27 | 2756763.4164 | 1177179.5842 | 2756777.2034 | 1177183.4033 | 2756800.3622 | 1177185.3839
28 | 2756178.6801 | 1177099.4891 | 2756166.5753 | 1177089.1987 | 2756162.5984 | 1177086.2816 | 2756157.1102 | 1177085.0155 | 2756148.6847 | 1177083.7841 | 2756144.1189 | 1177081.7524 | 2756131.1724 | 1177072.6523 | 2756108.9324 | 1177061.2974
29 | 2756128.8936 | 1177109.3572 | 2756142.6519 | 1177103.7216 | 2756153.6806 | 1177100.4281 | 2756165.8996 | 1177099.5788 | 2756178.6801 | 1177099.4891
30 | 2756178.6801 | 1177099.4891 | 2756187.8931 | 1177101.8977 | 2756202.2498 | 1177108.5214 | 2756213.6093 | 1177111.8978 | 2756236.2313 | 1177112.3984 | 2756244.1264 | 1177114.0276 | 2756271.3328 | 1177124.6451 | 2756281.5134 | 1177128.0687 | 2756289.6396 | 1177128.4585 | 2756292.6969 | 1177128.516 | 2756296.5973 | 1177129.0847 | 2756294.8536 | 1177129.9734 | 2756286.9179 | 1177132.2464 | 2756279.8224 | 1177133.0956 | 2756271.4436 | 1177132.4212 | 2756255.6232 | 1177129.1509 | 2756252.0222 | 1177129.1237 | 2756249.8799 | 1177130.6359 | 2756248.5208 | 1177132.9024 | 2756248.6931 | 1177135.3867 | 2756250.3835 | 1177137.1322 | 2756253.5445 | 1177138.7826 | 2756263.8708 | 1177140.4307 | 2756271.2746 | 1177142.4252 | 2756284.2201 | 1177148.6121 | 2756293.2104 | 1177151.3486 | 2756314.9671 | 1177154.5292 | 2756352.9946 | 1177159.5354 | 2756358.8105 | 1177161.1328 | 2756363.7271 | 1177163.7854 | 2756378.7908 | 1177172.6076 | 2756388.1119 | 1177177.021
31 | 2756084.4362 | 1176701.0123 | 2756079.5435 | 1176703.2981 | 2756074.5531 | 1176703.1682 | 2756067.1868 | 1176700.2964 | 2756056.221 | 1176697.3309 | 2756008.8662 | 1176692.3953 | 2755969.0728 | 1176690.7705 | 2755958.3198 | 1176691.3804 | 2755950.1136 | 1176693.4577 | 2755940.0459 | 1176698.3001 | 2755885.0654 | 1176741.0519 | 2755825.9343 | 1176797.2965 | 2755810.0208 | 1176807.5697 | 2755803.6999 | 1176810.6748 | 2755798.2556 | 1176812.1236 | 2755792.7199 | 1176812.38 | 2755780.1247 | 1176811.2076 | 2755771.487 | 1176809.5149
32 | 2756816.8806 | 1177186.7966 | 2756800.3622 | 1177185.3839
33 | 2756388.1119 | 1177177.021 | 2756410.5519 | 1177168.9547 | 2756417.3571 | 1177167.2195 | 2756424.779 | 1177167.6356 | 2756443.1113 | 1177173.3962 | 2756456.4269 | 1177177.1132 | 2756467.4352 | 1177178.4125 | 2756480.9359 | 1177179.4322 | 2756491.5078 | 1177180.1641 | 2756496.9484 | 1177178.8493 | 2756500.9679 | 1177176.0296 | 2756505.73 | 1177170.538 | 2756517.3104 | 1177158.7079 | 2756524.5632 | 1177152.7143 | 2756530.038 | 1177150.3885 | 2756533.5856 | 1177150.3996
34 | 2756388.1119 | 1177177.021 | 2756399.0172 | 1177179.6297 | 2756418.7191 | 1177182.1343 | 2756425.513 | 1177184.6357 | 2756432.2067 | 1177189.2252 | 2756448.0804 | 1177204.5076 | 2756457.6251 | 1177215.5881 | 2756468.7112 | 1177232.6471 | 2756477.8773 | 1177245.3413 | 2756485.8896 | 1177254.4802 | 2756494.4981 | 1177262.1668 | 2756504.229 | 1177269.3267 | 2756514.2214 | 1177275.259 | 2756526.9782 | 1177281.0412 | 2756532.3721 | 1177284.1512 | 2756536.6955 | 1177288.7234 | 2756554.2442 | 1177309.2431 | 2756565.336 | 1177319.0408 | 2756592.72 | 1177335.1024 | 2756599.1001 | 1177339.973 | 2756605.1883 | 1177347.5272 | 2756611.0169 | 1177359.4561 | 2756615.8335 | 1177367.0994
35 | 2756533.5856 | 1177150.3996 | 2756534.8781 | 1177150.4037 | 2756540.7071 | 1177151.7903 | 2756546.0393 | 1177154.6318 | 2756548.4619 | 1177156.511
36 | 2756734.0948 | 1177427.4276 | 2756721.8817 | 1177423.0938 | 2756713.489 | 1177420.3389 | 2756705.3336 | 1177419.325 | 2756693.1868 | 1177419.1854 | 2756685.381 | 1177418.5477 | 2756678.4429 | 1177416.5981 | 2756654.5648 | 1177405.6876 | 2756648.6255 | 1177402.3853 | 2756643.4774 | 1177398.0695 | 2756633.079 | 1177386.0322 | 2756622.2656 | 1177374.9517 | 2756615.8335 | 1177367.0994
37 | 2755750.8532 | 1176808.9268 | 2755755.8857 | 1176808.4426 | 2755765.1434 | 1176808.2717 | 2755771.487 | 1176809.5149
38 | 2755888.4245 | 1177001.8362 | 2755891.944 | 1176995.5891 | 2755899.6743 | 1176990.33 | 2755907.3544 | 1176987.0045 | 2755916.0659 | 1176984.5955 | 2755922.1244 | 1176982.4623 | 2755928.6105 | 1176977.7046 | 2755949.4738 | 1176962.9344 | 2755957.2088 | 1176957.4976 | 2755969.5778 | 1176950.6022 | 2755978.2417 | 1176943.2657 | 2755989.2638 | 1176927.0052 | 2755990.0429 | 1176924.6902 | 2755990.0446 | 1176922.5662 | 2755989.0655 | 1176921.1062 | 2755986.7424 | 1176920.4564 | 2755980.9934 | 1176920.0955 | 2755957.9619 | 1176916.2046 | 2755947.451 | 1176914.2854 | 2755940.6852 | 1176914.2095 | 2755937.392 | 1176913.8124 | 2755934.9157 | 1176912.5804 | 2755933.9075 | 1176910.4746 | 2755934.0342 | 1176907.6644 | 2755935.6004 | 1176904.7805 | 2755963.7468 | 1176863.7442 | 2755968.3595 | 1176853.9892 | 2755972.0419 | 1176834.4352 | 2755972.7121 | 1176824.5443 | 2755970.7943 | 1176821.2472 | 2755966.8549 | 1176818.6426 | 2755952.0366 | 1176813.264 | 2755943.6848 | 1176813.3025 | 2755930.936 | 1176815.3841 | 2755918.188 | 1176820.3792 | 2755911.7283 | 1176824.7039 | 2755906.5019 | 1176833.064 | 2755902.6139 | 1176841.1253 | 2755900.9886 | 1176842.7511 | 2755897.2847 | 1176843.7335 | 2755869.4544 | 1176847.3357 | 2755852.0585 | 1176851.3872 | 2755835.7118 | 1176853.62 | 2755814.9833 | 1176854.0821 | 2755806.1572 | 1176856.188 | 2755796.5631 | 1176860.4758 | 2755787.3782 | 1176868.444 | 2755774.1485 | 1176879.3319 | 2755765.6714 | 1176884.1937 | 2755758.6447 | 1176887.6809 | 2755751.8535 | 1176888.5831 | 2755741.6182 | 1176887.2385 | 2755727.7214 | 1176884.9537 | 2755719.8569 | 1176882.4252 | 2755701.091 | 1176869.1604 | 2755695.7589 | 1176864.229 | 2755693.1039 | 1176859.8675 | 2755692.1686 | 1176855.5396 | 2755692.6759 | 1176851.3159 | 2755694.2071 | 1176845.9511 | 2755706.7696 | 1176824.826 | 2755713.276 | 1176818.1115 | 2755719.6804 | 1176814.4413 | 2755727.2287 | 1176811.4791 | 2755738.7741 | 1176810.0887 | 2755750.8532 | 1176808.9268
39 | 2756930.0439 | 1177495.0071 | 2756932.2128 | 1177487.2239 | 2756926.1905 | 1177479.2152 | 2756897.1958 | 1177471.5837 | 2756867.8087 | 1177453.8113 | 2756848.9432 | 1177447.4349 | 2756828.0956 | 1177445.1852
40 | 2756734.0948 | 1177427.4276 | 2756764.8769 | 1177438.3633 | 2756828.0956 | 1177445.1852
41 | 2756930.0439 | 1177495.0071 | 2756929.3258 | 1177500.2372 | 2756929.8362 | 1177504.1094 | 2756931.5007 | 1177507.1221 | 2756934.2986 | 1177509.4862 | 2756939.374 | 1177511.0203 | 2756951.1153 | 1177512.3285 | 2756958.2558 | 1177514.7173 | 2756965.3745 | 1177518.2288 | 2756996.3465 | 1177535.8986 | 2757000.678 | 1177539.8486 | 2757003.126 | 1177544.183 | 2757005.0819 | 1177550.0837 | 2757008.5384 | 1177557.3692 | 2757011.1714 | 1177561.942 | 2757023.1481 | 1177571.7749 | 2757025.5688 | 1177575.1077 | 2757029.7568 | 1177583.6579 | 2757031.7501 | 1177586.6682 | 2757035.0429 | 1177589.112 | 2757040.1374 | 1177591.3695 | 2757045.4092 | 1177592.4083 | 2757052.1582 | 1177592.8076 | 2757071.7841 | 1177589.3963 | 2757122.0157 | 1177575.6 | 2757145.8792 | 1177565.1383 | 2757161.0746 | 1177564.1911 | 2757202.9325 | 1177574.352 | 2757232.7146 | 1177569.4283 | 2757258.2521 | 1177572.111 | 2757283.8749 | 1177559.0161 | 2757301.7524 | 1177558.1396 | 2757318.1239 | 1177550.8405 | 2757333.6127 | 1177551.247 | 2757360.5984 | 1177537.5098 | 2757396.6785 | 1177536.7778 | 2757422.2967 | 1177549.205 | 2757439.0674 | 1177552.3366 | 2757455.8607 | 1177562.7529
42 | 2757007.8611 | 1177261.5275 | 2756992.2595 | 1177255.9462
43 | 2757161.4855 | 1177214.8616 | 2757136.8545 | 1177227.1268 | 2757127.4846 | 1177247.6432 | 2757090.3612 | 1177291.0412 | 2757007.8611 | 1177261.5275
44 | 2756992.2595 | 1177255.9462 | 2756983.0952 | 1177252.6677 | 2756978.8548 | 1177251.2343
45 | 2756978.8548 | 1177251.2343 | 2756964.3136 | 1177246.3184
46 | 2756964.3136 | 1177246.3184 | 2756911.1033 | 1177228.3302
47 | 2756911.1033 | 1177228.3302 | 2756906.4334 | 1177226.7515 | 2756904.3851 | 1177225.5332
48 | 2756904.3851 | 1177225.5332 | 2756866.0292 | 1177202.7191 | 2756853.9564 | 1177193.5958 | 2756819.7245 | 1177187.0398 | 2756816.8806 | 1177186.7966
49 | 2756551.3235 | 1177158.7308 | 2756548.4619 | 1177156.511
50 | 2756553.2196 | 1177160.2016 | 2756551.3235 | 1177158.7308

## bus_geodata
| x | y | coords
0 | 2756741.4318 | 1176388.9533
1 | 2756598.9562 | 1176535.4458
2 | 2757018.7833 | 1176080.6986
3 | 2756167.7652 | 1176584.3824
4 | 2756243.6683 | 1176387.5003
5 | 2757049.8341 | 1176054.9571
6 | 2756578.3326 | 1176671.3143
7 | 2756157.2504 | 1176587.4895
8 | 2756240.6674 | 1176380.3909
9 | 2756591.7051 | 1176666.5254
10 | 2756143.1052 | 1176591.8177
11 | 2756364.6126 | 1176373.3401
12 | 2756793.7312 | 1176682.6403
13 | 2756800.6482 | 1176681.1066
14 | 2756665.8147 | 1176688.467
15 | 2756651.926 | 1176685.6729
16 | 2756639.5997 | 1176681.3742
17 | 2756591.9199 | 1176686.8343
18 | 2756950.6723 | 1177023.4719
19 | 2756752.6914 | 1176916.1221
20 | 2756700.0358 | 1177049.5187
21 | 2756732.6935 | 1176911.8319
22 | 2756604.3799 | 1177001.7475
23 | 2756763.4164 | 1177179.5842
24 | 2756178.6801 | 1177099.4891
25 | 2756084.4362 | 1176701.0123
26 | 2756555.6218 | 1177012.8733
27 | 2756705.1843 | 1177233.4418
28 | 2756800.3622 | 1177185.3839
29 | 2756388.1119 | 1177177.021
30 | 2756533.5856 | 1177150.3996
31 | 2756615.8335 | 1177367.0994
32 | 2756108.9324 | 1177061.2974
33 | 2756128.8936 | 1177109.3572
34 | 2755771.487 | 1176809.5149
35 | 2755750.8532 | 1176808.9268
36 | 2755888.4245 | 1177001.8362
37 | 2756828.0956 | 1177445.1852
38 | 2756930.0439 | 1177495.0071
39 | 2756734.0948 | 1177427.4276
40 | 2757455.8607 | 1177562.7529
41 | 2757007.8611 | 1177261.5275
42 | 2756992.2595 | 1177255.9462
43 | 2757161.4855 | 1177214.8616
44 | 2756978.8548 | 1177251.2343
45 | 2756964.3136 | 1177246.3184
46 | 2756911.1033 | 1177228.3302
47 | 2756904.3851 | 1177225.5332
48 | 2756816.8806 | 1177186.7966
49 | 2756548.4619 | 1177156.511
50 | 2756551.3235 | 1177158.7308
51 | 2756553.2196 | 1177160.2016
52 | 2756752.6914 | 1176916.1221

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1