## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3640-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3640-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3640-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3640-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3640-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3640-2_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3640-2_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3640-2_0_4_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_3640-2_0_4_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_3640-2_0_4_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_3640-2_0_4_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_3640-2_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3640-2_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3640-2_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3640-2_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3640-2_0_4_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_3640-2_0_4_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_3640-2_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3640-2_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3640-2_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_3640-2_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_3640-2_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3640-2_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3640-2_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3640-2_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_3640-2_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_3640-2_0_4_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_3640-2_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_3640-2_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_3640-2_0_4_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_3640-2_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_3640-2_0_4_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_3640-2_0_4_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_3640-2_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_3640-2_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_3640-2_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_3640-2_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_3640-2_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_3640-2_0_4_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_3640-2_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_3640-2_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_3640-2_0_4_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_3640-2_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_3640-2_0_4_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_3640-2_0_4_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_3640-2_0_4_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_3640-2_0_4_node_65 | 0.4 | n |  | TRUE
47 | bus_LV_3640-2_0_4_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_3640-2_0_4_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_3640-2_0_4_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_3640-2_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_3640-2_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_3640-2_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_3640-2_0_4_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_3640-2_0_4_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_3640-2_0_4_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_3640-2_0_4_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_3640-2_0_4_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_3640-2_0_4_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_3640-2_0_4_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_3640-2_0_4_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_3640-2_0_4_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_3640-2_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_3640-2_0_4_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_3640-2_0_4_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_3640-2_0_4_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_3640-2_0_4_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_3640-2_0_4_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_3640-2_0_4_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_3640-2_0_4_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_3640-2_0_4_node_70 | 0.4 | n |  | TRUE
71 | bus_MV_163_0_node_220 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3640-2_0_4_load_0 | 0 | 0.0053507 | 0.001341 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3640-2_0_4_load_1 | 1 | 0.0024161 | 0.00060553 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3640-2_0_4_load_3 | 3 | 0.0015046 | 0.00037708 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3640-2_0_4_load_4 | 4 | 0.0035805 | 0.00089736 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3640-2_0_4_load_5 | 5 | 0.0032838 | 0.00082301 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3640-2_0_4_load_6 | 6 | 0.00041525 | 0.00010407 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3640-2_0_4_load_38 | 8 | 0.00055626 | 0.00013941 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3640-2_0_4_load_44 | 9 | 0.0076549 | 0.0019185 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3640-2_0_4_load_7 | 11 | 0.0029997 | 0.0007518 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3640-2_0_4_load_8 | 12 | 0.0036437 | 0.00091321 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3640-2_0_4_load_9 | 13 | 0.00092054 | 0.00023071 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3640-2_0_4_load_10 | 14 | 0.001035 | 0.00025941 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3640-2_0_4_load_21 | 16 | 0.0014853 | 0.00037225 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3640-2_0_4_load_11 | 17 | 0.00045548 | 0.00011416 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3640-2_0_4_load_12 | 18 | 0.00062455 | 0.00015653 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3640-2_0_4_load_13 | 19 | 0.001456 | 0.00036492 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3640-2_0_4_load_14 | 20 | 0.00068679 | 0.00017212 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3640-2_0_4_load_17 | 21 | 0.0055666 | 0.0013951 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3640-2_0_4_load_18 | 22 | 0.00023425 | 5.8708e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3640-2_0_4_load_16 | 23 | 0.00058241 | 0.00014597 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3640-2_0_4_load_36 | 26 | 0.004001 | 0.0010027 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3640-2_0_4_load_23 | 27 | 0.0015558 | 0.00038992 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3640-2_0_4_load_24 | 28 | 0.00032747 | 8.2071e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3640-2_0_4_load_35 | 29 | 0.0053176 | 0.0013327 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3640-2_0_4_load_25 | 30 | 0.00025762 | 6.4567e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3640-2_0_4_load_37 | 31 | 0.00060155 | 0.00015076 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3640-2_0_4_load_34 | 32 | 0.0011095 | 0.00027807 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3640-2_0_4_load_26 | 33 | 0.00020285 | 5.084e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3640-2_0_4_load_27 | 34 | 0.0012602 | 0.00031584 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3640-2_0_4_load_28 | 35 | 0.00040035 | 0.00010034 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3640-2_0_4_load_29 | 36 | 0.00096783 | 0.00024256 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3640-2_0_4_load_30 | 37 | 0.0024997 | 0.00062647 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3640-2_0_4_load_39 | 38 | 0.0089492 | 0.0022429 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3640-2_0_4_load_32 | 39 | 0.00070918 | 0.00017774 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3640-2_0_4_load_33 | 40 | 0.0049682 | 0.0012451 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3640-2_0_4_load_41 | 41 | 0.0071013 | 0.0017797 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3640-2_0_4_load_72 | 43 | 0.0018111 | 0.00045391 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3640-2_0_4_load_71 | 44 | 0.0017901 | 0.00044864 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3640-2_0_4_load_45 | 45 | 0.010758 | 0.0026961 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3640-2_0_4_load_65 | 46 | 0.0044031 | 0.0011035 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3640-2_0_4_load_63 | 47 | 0.0047999 | 0.001203 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3640-2_0_4_load_46 | 48 | 0.0029127 | 0.00072999 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3640-2_0_4_load_47 | 49 | 0.0022468 | 0.0005631 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3640-2_0_4_load_48 | 50 | 0.0053827 | 0.001349 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3640-2_0_4_load_49 | 51 | 0.0030456 | 0.0007633 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3640-2_0_4_load_50 | 52 | 0.0029329 | 0.00073506 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3640-2_0_4_load_60 | 53 | 0.0030991 | 0.0007767 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3640-2_0_4_load_59 | 54 | 0.0065899 | 0.0016516 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3640-2_0_4_load_51 | 55 | 0.0034122 | 0.00085517 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3640-2_0_4_load_52 | 56 | 0.0043185 | 0.0010823 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3640-2_0_4_load_53 | 57 | 0.0038793 | 0.00097223 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3640-2_0_4_load_54 | 58 | 0.0031189 | 0.00078166 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3640-2_0_4_load_55 | 59 | 0.0030302 | 0.00075943 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3640-2_0_4_load_56 | 60 | 0.0059579 | 0.0014932 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3640-2_0_4_load_58 | 62 | 0.0024829 | 0.00062227 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3640-2_0_4_load_61 | 63 | 0.0049957 | 0.001252 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3640-2_0_4_load_62 | 64 | 0.0024301 | 0.00060904 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3640-2_0_4_load_64 | 65 | 0.0030774 | 0.00077127 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3640-2_0_4_load_66 | 66 | 0.0019816 | 0.00049663 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3640-2_0_4_load_67 | 67 | 0.0026017 | 0.00065205 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3640-2_0_4_load_68 | 68 | 0.003476 | 0.00087116 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3640-2_0_4_load_69 | 69 | 0.0049548 | 0.0012418 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3640-2_0_4_load_70 | 70 | 0.0021446 | 0.00053748 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3640-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3640-2_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.031359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3640-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0031827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3640-2_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.08483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3640-2_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.044095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3640-2_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.017886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3640-2_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.066237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_3640-2_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.024477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3640-2_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.024448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3640-2_0_4_line_9 | NAYY 4x150 SE | 8 | 10 | 0.015499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3640-2_0_4_line_10 | NAYY 4x150 SE | 9 | 45 | 0.036907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_3640-2_0_4_line_11 | NAYY 4x150 SE | 10 | 31 | 0.028401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3640-2_0_4_line_12 | NAYY 4x150 SE | 10 | 32 | 0.015317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3640-2_0_4_line_13 | NAYY 4x150 SE | 10 | 27 | 0.01812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3640-2_0_4_line_14 | NAYY 4x150 SE | 11 | 12 | 0.06323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3640-2_0_4_line_15 | NAYY 4x150 SE | 12 | 13 | 0.0099127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3640-2_0_4_line_16 | NAYY 4x150 SE | 13 | 14 | 0.03198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3640-2_0_4_line_17 | NAYY 4x150 SE | 14 | 15 | 0.052811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3640-2_0_4_line_18 | NAYY 4x150 SE | 15 | 16 | 0.028079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3640-2_0_4_line_19 | NAYY 4x150 SE | 16 | 26 | 0.013022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3640-2_0_4_line_20 | NAYY 4x150 SE | 17 | 18 | 0.019947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3640-2_0_4_line_21 | NAYY 4x150 SE | 18 | 19 | 0.049483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3640-2_0_4_line_22 | NAYY 4x150 SE | 19 | 20 | 0.029516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3640-2_0_4_line_23 | NAYY 4x150 SE | 20 | 21 | 0.017496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3640-2_0_4_line_24 | NAYY 4x150 SE | 21 | 22 | 0.010159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3640-2_0_4_line_25 | NAYY 4x150 SE | 22 | 24 | 0.02126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3640-2_0_4_line_26 | NAYY 4x150 SE | 23 | 24 | 0.046882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3640-2_0_4_line_27 | NAYY 4x150 SE | 24 | 25 | 0.03657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3640-2_0_4_line_28 | NAYY 4x150 SE | 25 | 27 | 0.049817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3640-2_0_4_line_29 | NAYY 4x150 SE | 25 | 28 | 0.016228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3640-2_0_4_line_30 | NAYY 4x150 SE | 26 | 29 | 0.040193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3640-2_0_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0047687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3640-2_0_4_line_32 | NAYY 4x150 SE | 29 | 40 | 0.025961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3640-2_0_4_line_33 | NAYY 4x150 SE | 30 | 33 | 0.018014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3640-2_0_4_line_34 | NAYY 4x150 SE | 31 | 38 | 0.034155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3640-2_0_4_line_35 | NAYY 4x150 SE | 32 | 39 | 0.018975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3640-2_0_4_line_36 | NAYY 4x150 SE | 33 | 34 | 0.0031793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3640-2_0_4_line_37 | NAYY 4x150 SE | 34 | 35 | 0.013545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3640-2_0_4_line_38 | NAYY 4x150 SE | 35 | 36 | 0.0073889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3640-2_0_4_line_39 | NAYY 4x150 SE | 36 | 37 | 0.0067896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3640-2_0_4_line_40 | NAYY 4x150 SE | 39 | 40 | 0.013906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3640-2_0_4_line_41 | NAYY 4x150 SE | 41 | 42 | 0.016725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3640-2_0_4_line_42 | NAYY 4x150 SE | 42 | 43 | 0.060273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3640-2_0_4_line_43 | NAYY 4x150 SE | 43 | 44 | 0.0083001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3640-2_0_4_line_44 | NAYY 4x150 SE | 44 | 70 | 0.039639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3640-2_0_4_line_45 | NAYY 4x150 SE | 45 | 46 | 7.5851e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3640-2_0_4_line_46 | NAYY 4x150 SE | 46 | 47 | 0.017889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3640-2_0_4_line_47 | NAYY 4x150 SE | 47 | 63 | 0.0011581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3640-2_0_4_line_48 | NAYY 4x150 SE | 48 | 49 | 0.00023874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3640-2_0_4_line_49 | NAYY 4x150 SE | 48 | 50 | 0.00023274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3640-2_0_4_line_50 | NAYY 4x150 SE | 50 | 51 | 0.019147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3640-2_0_4_line_51 | NAYY 4x150 SE | 51 | 52 | 0.00036018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3640-2_0_4_line_52 | NAYY 4x150 SE | 52 | 53 | 0.016292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3640-2_0_4_line_53 | NAYY 4x150 SE | 53 | 54 | 0.003891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3640-2_0_4_line_54 | NAYY 4x150 SE | 54 | 62 | 0.012733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3640-2_0_4_line_55 | NAYY 4x150 SE | 55 | 56 | 0.00034524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3640-2_0_4_line_56 | NAYY 4x150 SE | 55 | 57 | 0.0056782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3640-2_0_4_line_57 | NAYY 4x150 SE | 56 | 58 | 0.01554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3640-2_0_4_line_58 | NAYY 4x150 SE | 57 | 59 | 0.0077413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3640-2_0_4_line_59 | NAYY 4x150 SE | 58 | 60 | 0.0044737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3640-2_0_4_line_60 | NAYY 4x150 SE | 59 | 61 | 0.032495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3640-2_0_4_line_61 | NAYY 4x150 SE | 60 | 62 | 0.00058903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3640-2_0_4_line_62 | NAYY 4x150 SE | 61 | 63 | 0.011911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3640-2_0_4_line_63 | NAYY 4x150 SE | 61 | 64 | 0.042519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3640-2_0_4_line_64 | NAYY 4x150 SE | 64 | 65 | 0.0214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3640-2_0_4_line_65 | NAYY 4x150 SE | 65 | 66 | 0.018613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3640-2_0_4_line_66 | NAYY 4x150 SE | 66 | 67 | 0.0082517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3640-2_0_4_line_67 | NAYY 4x150 SE | 67 | 68 | 0.010057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3640-2_0_4_line_68 | NAYY 4x150 SE | 68 | 69 | 0.023707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3640-2_0_4_line_69 | NAYY 4x150 SE | 69 | 70 | 0.054385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3640-2_0_4_trafo_43 | 0.25 MVA 20/0.4 kV | 71 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2753943.875 | 1174075.9441 | 2753942.7325 | 1174072.5084 | 2753936.144 | 1174062.7202 | 2753934.2002 | 1174059.5612
1 | 2753960.0985 | 1174102.3563 | 2753956.7868 | 1174094.5649 | 2753950.7618 | 1174086.9707 | 2753945.332 | 1174080.326 | 2753943.875 | 1174075.9441
2 | 2753934.2002 | 1174059.5612 | 2753932.5322 | 1174056.8506
3 | 2753960.0985 | 1174102.3563 | 2753953.7488 | 1174104.4285 | 2753880.5242 | 1174131.7372
4 | 2753909.0097 | 1174022.5179 | 2753909.7745 | 1174028.3377 | 2753909.5193 | 1174033.5132 | 2753921.7045 | 1174043.445 | 2753928.9759 | 1174051.0711 | 2753932.5322 | 1174056.8506
5 | 2753880.5242 | 1174131.7372 | 2753863.7658 | 1174137.9871
6 | 2753881.5894 | 1173970.4782 | 2753883.586 | 1173977.3462 | 2753889.9244 | 1173984.9595 | 2753895.1204 | 1173988.4956 | 2753902.0861 | 1173995.8136 | 2753906.0115 | 1174000.5626 | 2753900.9469 | 1174003.8355 | 2753905.1143 | 1174011.0817 | 2753908.3727 | 1174017.6707 | 2753909.0097 | 1174022.5179
7 | 2753840.8315 | 1174146.5404 | 2753863.7658 | 1174137.9871
8 | 2753881.5894 | 1173970.4782 | 2753884.5309 | 1173964.9713 | 2753889.8106 | 1173953.019 | 2753891.7422 | 1173948.2576
9 | 2753826.3094 | 1174151.9563 | 2753840.8315 | 1174146.5404
10 | 2753907.3232 | 1173915.8918 | 2753903.0935 | 1173920.1767 | 2753897.5028 | 1173927.5506 | 2753895.7891 | 1173938.2822 | 2753891.7422 | 1173948.2576
11 | 2753826.3094 | 1174151.9563 | 2753810.4187 | 1174128.4165
12 | 2753826.3094 | 1174151.9563 | 2753811.9557 | 1174157.3016
13 | 2753826.3094 | 1174151.9563 | 2753828.4307 | 1174169.9519
14 | 2753714.1893 | 1174353.9975 | 2753710.5161 | 1174347.5522 | 2753694.207 | 1174327.4957 | 2753692.5101 | 1174297.583 | 2753692.5101 | 1174297.583
15 | 2753692.5101 | 1174297.583 | 2753690.8096 | 1174287.8172
16 | 2753685.3236 | 1174256.311 | 2753690.8096 | 1174287.8172
17 | 2753679.7795 | 1174203.8461 | 2753682.4933 | 1174240.0567 | 2753685.3236 | 1174256.311
18 | 2753679.7795 | 1174203.8461 | 2753690.0763 | 1174200.2956 | 2753706.268 | 1174194.532
19 | 2753718.54 | 1174190.1758 | 2753714.4976 | 1174191.6027 | 2753706.268 | 1174194.532
20 | 2753795.247 | 1174358.1536 | 2753812.048 | 1174347.4013
21 | 2753812.048 | 1174347.4013 | 2753834.7748 | 1174332.8566 | 2753830.4011 | 1174310.7852
22 | 2753830.4011 | 1174310.7852 | 2753824.6636 | 1174281.8321
23 | 2753816.3095 | 1174266.8286 | 2753816.3095 | 1174266.8286 | 2753823.7202 | 1174277.0715 | 2753824.6636 | 1174281.8321
24 | 2753816.3095 | 1174266.8286 | 2753823.6877 | 1174259.8453
25 | 2753844.3499 | 1174254.8373 | 2753823.6877 | 1174259.8453 | 2753823.6877 | 1174259.8453
26 | 2753844.3499 | 1174254.8373 | 2753852.6692 | 1174300.975
27 | 2753844.3499 | 1174254.8373 | 2753840.7939 | 1174235.0965 | 2753837.5983 | 1174218.9011
28 | 2753837.5983 | 1174218.9011 | 2753829.1809 | 1174176.3168 | 2753828.4307 | 1174169.9519
29 | 2753837.5983 | 1174218.9011 | 2753821.678 | 1174222.0445
30 | 2753756.4626 | 1174176.8578 | 2753749.2162 | 1174179.3483 | 2753718.54 | 1174190.1758
31 | 2753816.9997 | 1174222.9682 | 2753821.678 | 1174222.0445
32 | 2753781.0143 | 1174168.4196 | 2753756.4626 | 1174176.8578
33 | 2753816.9997 | 1174222.9682 | 2753799.3265 | 1174226.4577
34 | 2753786.707 | 1174105.3114 | 2753795.6775 | 1174119.0997 | 2753808.9075 | 1174126.1779 | 2753810.4187 | 1174128.4165
35 | 2753794.1656 | 1174163.8996 | 2753795.1031 | 1174163.5774 | 2753811.9557 | 1174157.3016
36 | 2753796.2074 | 1174227.0735 | 2753799.3265 | 1174226.4577
37 | 2753796.2074 | 1174227.0735 | 2753782.9186 | 1174229.6973
38 | 2753782.9186 | 1174229.6973 | 2753775.6696 | 1174231.1286
39 | 2753769.0087 | 1174232.4438 | 2753775.6696 | 1174231.1286
40 | 2753794.1656 | 1174163.8996 | 2753781.0143 | 1174168.4196
41 | 2753749.9962 | 1173675.8511 | 2753734.2538 | 1173679.5844 | 2753733.7292 | 1173679.4315
42 | 2753749.9962 | 1173675.8511 | 2753770.7557 | 1173702.9386 | 2753785.956 | 1173724.211
43 | 2753785.956 | 1173724.211 | 2753790.0852 | 1173729.9895 | 2753790.8055 | 1173730.9466
44 | 2753814.6443 | 1173762.6168 | 2753790.8055 | 1173730.9466
45 | 2753907.3232 | 1173915.8918 | 2753907.3765 | 1173915.8378
46 | 2753907.3765 | 1173915.8378 | 2753919.9433 | 1173903.1068
47 | 2753920.7569 | 1173902.2826 | 2753919.9433 | 1173903.1068
48 | 2754018.2987 | 1173979.9627 | 2754018.4674 | 1173980.1317
49 | 2754018.1343 | 1173979.7979 | 2754018.2987 | 1173979.9627
50 | 2754004.6097 | 1173966.2443 | 2754018.1343 | 1173979.7979
51 | 2754004.3553 | 1173965.9893 | 2754004.6097 | 1173966.2443
52 | 2753992.5372 | 1173954.7761 | 2754002.6245 | 1173964.2548 | 2754004.3553 | 1173965.9893
53 | 2753989.7016 | 1173952.1116 | 2753992.5372 | 1173954.7761
54 | 2753989.7016 | 1173952.1116 | 2753980.4224 | 1173943.3922
55 | 2753965.1564 | 1173929.0474 | 2753965.408 | 1173929.2838
56 | 2753965.1564 | 1173929.0474 | 2753961.0185 | 1173925.1591
57 | 2753965.408 | 1173929.2838 | 2753976.7329 | 1173939.9254
58 | 2753961.0185 | 1173925.1591 | 2753955.377 | 1173919.858
59 | 2753976.7329 | 1173939.9254 | 2753979.9931 | 1173942.9889
60 | 2753931.4698 | 1173897.8525 | 2753943.1655 | 1173908.3833 | 2753955.377 | 1173919.858
61 | 2753979.9931 | 1173942.9889 | 2753980.4224 | 1173943.3922
62 | 2753931.4698 | 1173897.8525 | 2753922.8884 | 1173900.1232 | 2753920.7569 | 1173902.2826
63 | 2753931.4698 | 1173897.8525 | 2753901.5096 | 1173867.6824
64 | 2753901.5096 | 1173867.6824 | 2753900.7495 | 1173866.9169 | 2753887.3767 | 1173851.616
65 | 2753887.3767 | 1173851.616 | 2753875.1282 | 1173837.6014
66 | 2753869.698 | 1173831.3883 | 2753875.1282 | 1173837.6014
67 | 2753869.698 | 1173831.3883 | 2753863.0795 | 1173823.8155
68 | 2753863.0795 | 1173823.8155 | 2753847.4784 | 1173805.965
69 | 2753847.4784 | 1173805.965 | 2753845.9993 | 1173804.2727 | 2753814.6443 | 1173762.6168

## bus_geodata
| x | y | coords
0 | 2753943.875 | 1174075.9441
1 | 2753934.2002 | 1174059.5612
2 | 2753960.0985 | 1174102.3563
3 | 2753932.5322 | 1174056.8506
4 | 2753880.5242 | 1174131.7372
5 | 2753909.0097 | 1174022.5179
6 | 2753863.7658 | 1174137.9871
7 | 2753881.5894 | 1173970.4782
8 | 2753840.8315 | 1174146.5404
9 | 2753891.7422 | 1173948.2576
10 | 2753826.3094 | 1174151.9563
11 | 2753714.1893 | 1174353.9975
12 | 2753692.5101 | 1174297.583
13 | 2753690.8096 | 1174287.8172
14 | 2753685.3236 | 1174256.311
15 | 2753679.7795 | 1174203.8461
16 | 2753706.268 | 1174194.532
17 | 2753795.247 | 1174358.1536
18 | 2753812.048 | 1174347.4013
19 | 2753830.4011 | 1174310.7852
20 | 2753824.6636 | 1174281.8321
21 | 2753816.3095 | 1174266.8286
22 | 2753823.6877 | 1174259.8453
23 | 2753852.6692 | 1174300.975
24 | 2753844.3499 | 1174254.8373
25 | 2753837.5983 | 1174218.9011
26 | 2753718.54 | 1174190.1758
27 | 2753828.4307 | 1174169.9519
28 | 2753821.678 | 1174222.0445
29 | 2753756.4626 | 1174176.8578
30 | 2753816.9997 | 1174222.9682
31 | 2753810.4187 | 1174128.4165
32 | 2753811.9557 | 1174157.3016
33 | 2753799.3265 | 1174226.4577
34 | 2753796.2074 | 1174227.0735
35 | 2753782.9186 | 1174229.6973
36 | 2753775.6696 | 1174231.1286
37 | 2753769.0087 | 1174232.4438
38 | 2753786.707 | 1174105.3114
39 | 2753794.1656 | 1174163.8996
40 | 2753781.0143 | 1174168.4196
41 | 2753733.7292 | 1173679.4315
42 | 2753749.9962 | 1173675.8511
43 | 2753785.956 | 1173724.211
44 | 2753790.8055 | 1173730.9466
45 | 2753907.3232 | 1173915.8918
46 | 2753907.3765 | 1173915.8378
47 | 2753919.9433 | 1173903.1068
48 | 2754018.2987 | 1173979.9627
49 | 2754018.4674 | 1173980.1317
50 | 2754018.1343 | 1173979.7979
51 | 2754004.6097 | 1173966.2443
52 | 2754004.3553 | 1173965.9893
53 | 2753992.5372 | 1173954.7761
54 | 2753989.7016 | 1173952.1116
55 | 2753965.1564 | 1173929.0474
56 | 2753965.408 | 1173929.2838
57 | 2753961.0185 | 1173925.1591
58 | 2753976.7329 | 1173939.9254
59 | 2753955.377 | 1173919.858
60 | 2753979.9931 | 1173942.9889
61 | 2753931.4698 | 1173897.8525
62 | 2753980.4224 | 1173943.3922
63 | 2753920.7569 | 1173902.2826
64 | 2753901.5096 | 1173867.6824
65 | 2753887.3767 | 1173851.616
66 | 2753875.1282 | 1173837.6014
67 | 2753869.698 | 1173831.3883
68 | 2753863.0795 | 1173823.8155
69 | 2753847.4784 | 1173805.965
70 | 2753814.6443 | 1173762.6168
71 | 2753873.6349 | 1173965.3145

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1