## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3661-14_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3661-14_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3661-14_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3661-14_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3661-14_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3661-14_0_2_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_3661-14_0_2_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_3661-14_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3661-14_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3661-14_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3661-14_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3661-14_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3661-14_0_2_node_42 | 0.4 | n |  | TRUE
13 | bus_LV_3661-14_0_2_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_3661-14_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3661-14_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3661-14_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3661-14_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3661-14_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3661-14_0_2_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_3661-14_0_2_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_3661-14_0_2_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_3661-14_0_2_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_3661-14_0_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_3661-14_0_2_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_3661-14_0_2_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_3661-14_0_2_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_3661-14_0_2_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_3661-14_0_2_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_3661-14_0_2_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_3661-14_0_2_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_3661-14_0_2_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_3661-14_0_2_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_3661-14_0_2_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_3661-14_0_2_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_3661-14_0_2_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_3661-14_0_2_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_3661-14_0_2_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_3661-14_0_2_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_3661-14_0_2_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_3661-14_0_2_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_3661-14_0_2_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_3661-14_0_2_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_3661-14_0_2_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_3661-14_0_2_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_3661-14_0_2_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_3661-14_0_2_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_3661-14_0_2_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_3661-14_0_2_node_45 | 0.4 | n |  | TRUE
49 | bus_MV_163_0_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3661-14_0_2_load_0 | 0 | 0.00079239 | 0.00019859 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3661-14_0_2_load_1 | 1 | 0.0022444 | 0.00056249 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3661-14_0_2_load_3 | 2 | 0.0065966 | 0.0016533 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3661-14_0_2_load_2 | 3 | 0.0012471 | 0.00031255 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3661-14_0_2_load_4 | 4 | 0.00027444 | 6.8782e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3661-14_0_2_load_37 | 5 | 0.00051986 | 0.00013029 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3661-14_0_2_load_36 | 6 | 0.0015324 | 0.00038405 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3661-14_0_2_load_5 | 7 | 0.010115 | 0.0025349 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3661-14_0_2_load_6 | 8 | 0.0074556 | 0.0018685 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3661-14_0_2_load_7 | 9 | 0.034919 | 0.0087515 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3661-14_0_2_load_8 | 10 | 0.0084686 | 0.0021224 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3661-14_0_2_load_9 | 11 | 0.001751 | 0.00043884 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3661-14_0_2_load_42 | 12 | 0.004403 | 0.0011035 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3661-14_0_2_load_43 | 13 | 0.004818 | 0.0012075 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3661-14_0_2_load_10 | 14 | 0.0039245 | 0.00098357 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3661-14_0_2_load_11 | 15 | 0.00098331 | 0.00024644 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3661-14_0_2_load_12 | 16 | 0.00052845 | 0.00013244 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3661-14_0_2_load_13 | 17 | 0.00030836 | 7.7283e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3661-14_0_2_load_14 | 18 | 0.0012308 | 0.00030846 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3661-14_0_2_load_46 | 21 | 0.00075563 | 0.00018938 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3661-14_0_2_load_48 | 22 | 0.0049872 | 0.0012499 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3661-14_0_2_load_21 | 24 | 0.001383 | 0.0003466 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3661-14_0_2_load_15 | 25 | 0.0007202 | 0.0001805 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3661-14_0_2_load_16 | 26 | 0.0025547 | 0.00064027 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3661-14_0_2_load_17 | 27 | 0.00082404 | 0.00020652 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3661-14_0_2_load_22 | 29 | 0.0011028 | 0.0002764 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3661-14_0_2_load_23 | 30 | 0.00040483 | 0.00010146 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3661-14_0_2_load_25 | 31 | 0.0011316 | 0.00028361 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3661-14_0_2_load_24 | 32 | 0.0015468 | 0.00038766 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3661-14_0_2_load_29 | 33 | 0.0024427 | 0.0006122 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3661-14_0_2_load_26 | 34 | 0.00047698 | 0.00011954 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3661-14_0_2_load_27 | 36 | 0.0010603 | 0.00026575 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3661-14_0_2_load_28 | 37 | 0.001141 | 0.00028596 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3661-14_0_2_load_33 | 40 | 0.0012121 | 0.00030377 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3661-14_0_2_load_34 | 41 | 0.00069361 | 0.00017384 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3661-14_0_2_load_35 | 42 | 0.0014553 | 0.00036472 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3661-14_0_2_load_49 | 43 | 0.0013122 | 0.00032888 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3661-14_0_2_load_38 | 44 | 0.0043259 | 0.0010842 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3661-14_0_2_load_39 | 45 | 0.0046565 | 0.001167 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3661-14_0_2_load_44 | 47 | 0.0048635 | 0.0012189 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3661-14_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00033471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3661-14_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.19762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3661-14_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 1.6468e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3661-14_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.002211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3661-14_0_2_line_4 | NAYY 4x150 SE | 4 | 7 | 0.05348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3661-14_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.026993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3661-14_0_2_line_6 | NAYY 4x150 SE | 6 | 42 | 0.031936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3661-14_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.014235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3661-14_0_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.051289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3661-14_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.012818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_3661-14_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.016313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_3661-14_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.016493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_3661-14_0_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.018317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_3661-14_0_2_line_13 | NAYY 4x150 SE | 13 | 47 | 0.033914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3661-14_0_2_line_14 | NAYY 4x150 SE | 14 | 15 | 0.082063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3661-14_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.10766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3661-14_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.009295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3661-14_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.037018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3661-14_0_2_line_18 | NAYY 4x150 SE | 16 | 19 | 0.12251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3661-14_0_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.029833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3661-14_0_2_line_20 | NAYY 4x150 SE | 19 | 21 | 0.085379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3661-14_0_2_line_21 | NAYY 4x150 SE | 20 | 23 | 0.004154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3661-14_0_2_line_22 | NAYY 4x150 SE | 20 | 24 | 0.013294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3661-14_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.057088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3661-14_0_2_line_24 | NAYY 4x150 SE | 23 | 30 | 0.015209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3661-14_0_2_line_25 | NAYY 4x150 SE | 24 | 31 | 0.005072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3661-14_0_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.052732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3661-14_0_2_line_27 | NAYY 4x150 SE | 25 | 27 | 0.063411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3661-14_0_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.033912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3661-14_0_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.0072634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3661-14_0_2_line_30 | NAYY 4x150 SE | 29 | 30 | 0.0016298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3661-14_0_2_line_31 | NAYY 4x150 SE | 31 | 34 | 0.014975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3661-14_0_2_line_32 | NAYY 4x150 SE | 32 | 33 | 0.033335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3661-14_0_2_line_33 | NAYY 4x150 SE | 33 | 35 | 0.015176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3661-14_0_2_line_34 | NAYY 4x150 SE | 34 | 36 | 0.040944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3661-14_0_2_line_35 | NAYY 4x150 SE | 35 | 39 | 0.030137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3661-14_0_2_line_36 | NAYY 4x150 SE | 35 | 38 | 0.043186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3661-14_0_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.016316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3661-14_0_2_line_38 | NAYY 4x150 SE | 37 | 38 | 0.053821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3661-14_0_2_line_39 | NAYY 4x150 SE | 39 | 40 | 0.0064234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3661-14_0_2_line_40 | NAYY 4x150 SE | 40 | 41 | 0.017167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3661-14_0_2_line_41 | NAYY 4x150 SE | 41 | 42 | 0.02208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3661-14_0_2_line_42 | NAYY 4x150 SE | 42 | 43 | 0.088621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3661-14_0_2_line_43 | NAYY 4x150 SE | 43 | 48 | 0.003477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3661-14_0_2_line_44 | NAYY 4x150 SE | 44 | 45 | 0.043573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3661-14_0_2_line_45 | NAYY 4x150 SE | 45 | 46 | 0.0056456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3661-14_0_2_line_46 | NAYY 4x150 SE | 46 | 47 | 0.016515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3661-14_0_2_line_47 | NAYY 4x150 SE | 46 | 48 | 0.045723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3661-14_0_2_trafo_9 | 0.25 MVA 20/0.4 kV | 49 | 11 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2750313.2272 | 1175855.7937 | 2750312.8927 | 1175855.807
1 | 2750500.1799 | 1175919.8365 | 2750313.2272 | 1175855.7937
2 | 2750312.8927 | 1175855.807 | 2750312.8763 | 1175855.8076
3 | 2750500.7288 | 1175921.9783 | 2750500.1799 | 1175919.8365
4 | 2750513.6602 | 1175973.8688 | 2750509.7151 | 1175957.0421 | 2750500.7288 | 1175921.9783
5 | 2750684.714 | 1175976.0828 | 2750683.9005 | 1175986.2374 | 2750684.3476 | 1175996.4458 | 2750687.4003 | 1176002.2831
6 | 2750699.0058 | 1176031.8593 | 2750698.8027 | 1176031.4263 | 2750696.7285 | 1176022.6671 | 2750693.2285 | 1176013.4272 | 2750687.4003 | 1176002.2831
7 | 2750517.1219 | 1175987.6752 | 2750514.8895 | 1175979.1122 | 2750513.6602 | 1175973.8688
8 | 2750517.1219 | 1175987.6752 | 2750529.3836 | 1175983.3347 | 2750538.5094 | 1175978.393 | 2750553.8572 | 1175959.8851 | 2750556.1487 | 1175956.7784
9 | 2750517.1219 | 1175987.6752 | 2750521.2256 | 1175999.8183
10 | 2750565.8316 | 1175943.6501 | 2750556.1487 | 1175956.7784
11 | 2750526.506 | 1176015.4432 | 2750521.2256 | 1175999.8183
12 | 2750526.506 | 1176015.4432 | 2750527.0104 | 1176016.936 | 2750529.555 | 1176023.116 | 2750535.0399 | 1176031.5473
13 | 2750555.9591 | 1176058.1225 | 2750549.857 | 1176051.8822 | 2750540.8363 | 1176040.4576 | 2750535.0399 | 1176031.5473
14 | 2750738.5127 | 1175804.5916 | 2750735.9644 | 1175787.1265 | 2750734.0525 | 1175770.387 | 2750732.1351 | 1175760.2528 | 2750731.8991 | 1175752.9075 | 2750734.2454 | 1175749.6304 | 2750739.0956 | 1175749.5856 | 2750745.5401 | 1175752.75 | 2750756.9178 | 1175760.6323
15 | 2750786.9307 | 1175892.892 | 2750787.9114 | 1175890.2382 | 2750788.3527 | 1175882.4206 | 2750787.3899 | 1175875.3907 | 2750784.5188 | 1175869.1245 | 2750779.034 | 1175862.7815 | 2750772.638 | 1175857.0828 | 2750761.3078 | 1175849.3029 | 2750751.9222 | 1175842.0501 | 2750748.2804 | 1175837.2324 | 2750744.5315 | 1175830.2881 | 2750741.9867 | 1175824.1192 | 2750740.1529 | 1175815.833 | 2750738.5127 | 1175804.5916
16 | 2750764.5991 | 1175765.8651 | 2750762.146 | 1175764.2544 | 2750756.9178 | 1175760.6323
17 | 2750786.9307 | 1175892.892 | 2750785.2852 | 1175897.3447 | 2750772.1151 | 1175923.5018 | 2750770.8926 | 1175926.2259
18 | 2750786.9307 | 1175892.892 | 2750896.1619 | 1175837.4271
19 | 2750762.2562 | 1175954.5462 | 2750764.9205 | 1175939.5342 | 2750770.8926 | 1175926.2259
20 | 2750896.1619 | 1175837.4271 | 2750914.0542 | 1175843.0817 | 2750930.5617 | 1175851.1812 | 2750945.3268 | 1175865.9091 | 2750963.5216 | 1175886.3586
21 | 2750758.2126 | 1175953.5438 | 2750762.2562 | 1175954.5462
22 | 2750762.2562 | 1175954.5462 | 2750766.7108 | 1175960.7965 | 2750769.2166 | 1175965.8253
23 | 2750998.7401 | 1175929.1491 | 2750990.5952 | 1175910.3065 | 2750985.9617 | 1175906.6091 | 2750978.9731 | 1175903.1972 | 2750970.1837 | 1175893.8462 | 2750963.5216 | 1175886.3586
24 | 2750758.2126 | 1175953.5438 | 2750746.5244 | 1175950.8813 | 2750744.4928 | 1175950.163 | 2750743.5041 | 1175949.7643
25 | 2750771.3667 | 1175970.4154 | 2750770.7734 | 1175968.9497 | 2750769.2166 | 1175965.8253
26 | 2750718.1128 | 1175864.7945 | 2750718.789 | 1175870.997 | 2750715.5327 | 1175885.2269 | 2750714.3011 | 1175898.0175 | 2750716.4685 | 1175907.6354 | 2750720.8753 | 1175915.6959
27 | 2750708.0611 | 1175802.7385 | 2750707.0079 | 1175813.2984 | 2750708.348 | 1175825.7089 | 2750717.7946 | 1175861.8757 | 2750718.1128 | 1175864.7945
28 | 2750735.3692 | 1175946.1861 | 2750732.8472 | 1175937.5935 | 2750720.8753 | 1175915.6959
29 | 2750735.3692 | 1175946.1861 | 2750738.6402 | 1175947.8029 | 2750741.9925 | 1175949.1548
30 | 2750741.9925 | 1175949.1548 | 2750743.5041 | 1175949.7643
31 | 2750771.3667 | 1175970.4154 | 2750775.0075 | 1175979.4091 | 2750776.2444 | 1175984.5342
32 | 2750746.6625 | 1176005.3014 | 2750745.2885 | 1176009.7762 | 2750744.5037 | 1176015.4389 | 2750745.1028 | 1176021.1142 | 2750745.852 | 1176025.6923 | 2750746.4917 | 1176029.7561 | 2750747.8024 | 1176038.1315
33 | 2750749.3533 | 1176053.1249 | 2750749.6134 | 1176047.6492 | 2750748.5673 | 1176043.0191 | 2750747.8024 | 1176038.1315
34 | 2750776.2444 | 1175984.5342 | 2750778.8308 | 1175995.2515 | 2750779.4002 | 1176006.0635 | 2750777.2155 | 1176016.6061 | 2750774.7315 | 1176024.5519
35 | 2750749.3533 | 1176053.1249 | 2750748.0336 | 1176052.9916 | 2750745.2591 | 1176054.4454 | 2750743.0937 | 1176055.7031 | 2750740.5053 | 1176057.6619 | 2750738.0264 | 1176059.2231 | 2750735.0903 | 1176061.0175 | 2750731.2598 | 1176063.7124 | 2750728.6217 | 1176065.8256 | 2750725.9201 | 1176068.0262 | 2750724.4908 | 1176069.5138
36 | 2750749.3533 | 1176053.1249 | 2750751.05 | 1176054.3908 | 2750752.635 | 1176057.9669 | 2750754.295 | 1176062.5123 | 2750755.6885 | 1176065.7944 | 2750757.7613 | 1176070.3502 | 2750759.2339 | 1176074.1348 | 2750760.8202 | 1176079.7904 | 2750762.1172 | 1176084.7826 | 2750762.9757 | 1176088.9631 | 2750763.5928 | 1176093.3155
37 | 2750774.7315 | 1176024.5519 | 2750770.7032 | 1176037.4373 | 2750770.0023 | 1176040.1644
38 | 2750763.5928 | 1176093.3155 | 2750763.9678 | 1176078.4016 | 2750764.3181 | 1176067.5126 | 2750765.0574 | 1176059.4024 | 2750770.0023 | 1176040.1644
39 | 2750724.4908 | 1176069.5138 | 2750720.4516 | 1176064.5193
40 | 2750720.4516 | 1176064.5193 | 2750714.0991 | 1176056.6645 | 2750710.0192 | 1176050.8963
41 | 2750710.0192 | 1176050.8963 | 2750703.8332 | 1176042.1503 | 2750699.0058 | 1176031.8593
42 | 2750699.0058 | 1176031.8593 | 2750612.095 | 1176049.1862
43 | 2750612.095 | 1176049.1862 | 2750609.0616 | 1176050.9003
44 | 2750562.9779 | 1176118.4335 | 2750562.8099 | 1176110.4661 | 2750563.3496 | 1176104.5082 | 2750564.1172 | 1176098.6115 | 2750565.1332 | 1176093.4772 | 2750566.4002 | 1176087.7933 | 2750567.583 | 1176082.4185 | 2750568.2573 | 1176078.7102 | 2750568.9437 | 1176075.4359
45 | 2750567.4282 | 1176070.0045 | 2750568.1766 | 1176072.1806 | 2750568.9437 | 1176075.4359
46 | 2750567.4282 | 1176070.0045 | 2750561.0268 | 1176063.3051 | 2750555.9591 | 1176058.1225
47 | 2750567.4282 | 1176070.0045 | 2750571.1243 | 1176068.3959 | 2750578.9277 | 1176064.9445 | 2750585.5318 | 1176061.4407 | 2750594.9443 | 1176057.2623 | 2750600.6788 | 1176054.8821 | 2750606.064 | 1176052.4041 | 2750609.0616 | 1176050.9003

## bus_geodata
| x | y | coords
0 | 2750313.2272 | 1175855.7937
1 | 2750312.8927 | 1175855.807
2 | 2750500.1799 | 1175919.8365
3 | 2750312.8763 | 1175855.8076
4 | 2750500.7288 | 1175921.9783
5 | 2750684.714 | 1175976.0828
6 | 2750687.4003 | 1176002.2831
7 | 2750513.6602 | 1175973.8688
8 | 2750517.1219 | 1175987.6752
9 | 2750556.1487 | 1175956.7784
10 | 2750521.2256 | 1175999.8183
11 | 2750565.8316 | 1175943.6501
12 | 2750526.506 | 1176015.4432
13 | 2750535.0399 | 1176031.5473
14 | 2750738.5127 | 1175804.5916
15 | 2750756.9178 | 1175760.6323
16 | 2750786.9307 | 1175892.892
17 | 2750764.5991 | 1175765.8651
18 | 2750770.8926 | 1175926.2259
19 | 2750896.1619 | 1175837.4271
20 | 2750762.2562 | 1175954.5462
21 | 2750963.5216 | 1175886.3586
22 | 2750998.7401 | 1175929.1491
23 | 2750758.2126 | 1175953.5438
24 | 2750769.2166 | 1175965.8253
25 | 2750718.1128 | 1175864.7945
26 | 2750720.8753 | 1175915.6959
27 | 2750708.0611 | 1175802.7385
28 | 2750735.3692 | 1175946.1861
29 | 2750741.9925 | 1175949.1548
30 | 2750743.5041 | 1175949.7643
31 | 2750771.3667 | 1175970.4154
32 | 2750746.6625 | 1176005.3014
33 | 2750747.8024 | 1176038.1315
34 | 2750776.2444 | 1175984.5342
35 | 2750749.3533 | 1176053.1249
36 | 2750774.7315 | 1176024.5519
37 | 2750770.0023 | 1176040.1644
38 | 2750763.5928 | 1176093.3155
39 | 2750724.4908 | 1176069.5138
40 | 2750720.4516 | 1176064.5193
41 | 2750710.0192 | 1176050.8963
42 | 2750699.0058 | 1176031.8593
43 | 2750612.095 | 1176049.1862
44 | 2750562.9779 | 1176118.4335
45 | 2750568.9437 | 1176075.4359
46 | 2750567.4282 | 1176070.0045
47 | 2750555.9591 | 1176058.1225
48 | 2750609.0616 | 1176050.9003
49 | 2750517.1219 | 1175987.6752

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1