## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3661-18_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3661-18_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3661-18_0_2_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_3661-18_0_2_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_3661-18_0_2_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_3661-18_0_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_3661-18_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_3661-18_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_3661-18_0_2_node_76 | 0.4 | n |  | TRUE
9 | bus_LV_3661-18_0_2_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_3661-18_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_3661-18_0_2_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_3661-18_0_2_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_3661-18_0_2_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_3661-18_0_2_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_3661-18_0_2_node_77 | 0.4 | n |  | TRUE
16 | bus_LV_3661-18_0_2_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_3661-18_0_2_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_3661-18_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3661-18_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_3661-18_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_3661-18_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_3661-18_0_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_3661-18_0_2_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_3661-18_0_2_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_3661-18_0_2_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_3661-18_0_2_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_3661-18_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_3661-18_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_3661-18_0_2_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_3661-18_0_2_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_3661-18_0_2_node_72 | 0.4 | n |  | TRUE
32 | bus_LV_3661-18_0_2_node_105 | 0.4 | n |  | TRUE
33 | bus_LV_3661-18_0_2_node_104 | 0.4 | n |  | TRUE
34 | bus_LV_3661-18_0_2_node_79 | 0.4 | n |  | TRUE
35 | bus_LV_3661-18_0_2_node_67 | 0.4 | n |  | TRUE
36 | bus_LV_3661-18_0_2_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_3661-18_0_2_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_3661-18_0_2_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_3661-18_0_2_node_175 | 0.4 | n |  | TRUE
40 | bus_LV_3661-18_0_2_node_84 | 0.4 | n |  | TRUE
41 | bus_LV_3661-18_0_2_node_82 | 0.4 | n |  | TRUE
42 | bus_LV_3661-18_0_2_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_3661-18_0_2_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_3661-18_0_2_node_83 | 0.4 | n |  | TRUE
45 | bus_LV_3661-18_0_2_node_85 | 0.4 | n |  | TRUE
46 | bus_LV_3661-18_0_2_node_86 | 0.4 | n |  | TRUE
47 | bus_LV_3661-18_0_2_node_87 | 0.4 | n |  | TRUE
48 | bus_LV_3661-18_0_2_node_88 | 0.4 | n |  | TRUE
49 | bus_LV_3661-18_0_2_node_89 | 0.4 | n |  | TRUE
50 | bus_LV_3661-18_0_2_node_90 | 0.4 | n |  | TRUE
51 | bus_LV_3661-18_0_2_node_95 | 0.4 | n |  | TRUE
52 | bus_LV_3661-18_0_2_node_91 | 0.4 | n |  | TRUE
53 | bus_LV_3661-18_0_2_node_94 | 0.4 | n |  | TRUE
54 | bus_LV_3661-18_0_2_node_100 | 0.4 | n |  | TRUE
55 | bus_LV_3661-18_0_2_node_96 | 0.4 | n |  | TRUE
56 | bus_LV_3661-18_0_2_node_97 | 0.4 | n |  | TRUE
57 | bus_LV_3661-18_0_2_node_98 | 0.4 | n |  | TRUE
58 | bus_LV_3661-18_0_2_node_99 | 0.4 | n |  | TRUE
59 | bus_LV_3661-18_0_2_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_3661-18_0_2_node_26 | 0.4 | n |  | TRUE
61 | bus_LV_3661-18_0_2_node_28 | 0.4 | n |  | TRUE
62 | bus_LV_3661-18_0_2_node_30 | 0.4 | n |  | TRUE
63 | bus_LV_3661-18_0_2_node_34 | 0.4 | n |  | TRUE
64 | bus_LV_3661-18_0_2_node_31 | 0.4 | n |  | TRUE
65 | bus_LV_3661-18_0_2_node_32 | 0.4 | n |  | TRUE
66 | bus_LV_3661-18_0_2_node_33 | 0.4 | n |  | TRUE
67 | bus_LV_3661-18_0_2_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_3661-18_0_2_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_3661-18_0_2_node_39 | 0.4 | n |  | TRUE
70 | bus_LV_3661-18_0_2_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_3661-18_0_2_node_41 | 0.4 | n |  | TRUE
72 | bus_LV_3661-18_0_2_node_42 | 0.4 | n |  | TRUE
73 | bus_LV_3661-18_0_2_node_44 | 0.4 | n |  | TRUE
74 | bus_LV_3661-18_0_2_node_45 | 0.4 | n |  | TRUE
75 | bus_LV_3661-18_0_2_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_3661-18_0_2_node_48 | 0.4 | n |  | TRUE
77 | bus_LV_3661-18_0_2_node_49 | 0.4 | n |  | TRUE
78 | bus_LV_3661-18_0_2_node_50 | 0.4 | n |  | TRUE
79 | bus_LV_3661-18_0_2_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_3661-18_0_2_node_55 | 0.4 | n |  | TRUE
81 | bus_LV_3661-18_0_2_node_51 | 0.4 | n |  | TRUE
82 | bus_LV_3661-18_0_2_node_52 | 0.4 | n |  | TRUE
83 | bus_LV_3661-18_0_2_node_54 | 0.4 | n |  | TRUE
84 | bus_LV_3661-18_0_2_node_56 | 0.4 | n |  | TRUE
85 | bus_LV_3661-18_0_2_node_57 | 0.4 | n |  | TRUE
86 | bus_LV_3661-18_0_2_node_58 | 0.4 | n |  | TRUE
87 | bus_LV_3661-18_0_2_node_59 | 0.4 | n |  | TRUE
88 | bus_LV_3661-18_0_2_node_60 | 0.4 | n |  | TRUE
89 | bus_LV_3661-18_0_2_node_61 | 0.4 | n |  | TRUE
90 | bus_LV_3661-18_0_2_node_176 | 0.4 | n |  | TRUE
91 | bus_LV_3661-18_0_2_node_62 | 0.4 | n |  | TRUE
92 | bus_LV_3661-18_0_2_node_161 | 0.4 | n |  | TRUE
93 | bus_LV_3661-18_0_2_node_63 | 0.4 | n |  | TRUE
94 | bus_LV_3661-18_0_2_node_65 | 0.4 | n |  | TRUE
95 | bus_LV_3661-18_0_2_node_70 | 0.4 | n |  | TRUE
96 | bus_LV_3661-18_0_2_node_71 | 0.4 | n |  | TRUE
97 | bus_LV_3661-18_0_2_node_121 | 0.4 | n |  | TRUE
98 | bus_LV_3661-18_0_2_node_122 | 0.4 | n |  | TRUE
99 | bus_LV_3661-18_0_2_node_93 | 0.4 | n |  | TRUE
100 | bus_MV_163_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3661-18_0_2_load_0 | 0 | 0.00081338 | 0.00020385 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3661-18_0_2_load_5 | 2 | 0.00032237 | 8.0795e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3661-18_0_2_load_6 | 3 | 0.00011763 | 2.9482e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3661-18_0_2_load_8 | 4 | 0.00026107 | 6.5431e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3661-18_0_2_load_7 | 6 | 0.00038653 | 9.6873e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3661-18_0_2_load_4 | 7 | 0.0009702 | 0.00024316 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3661-18_0_2_load_76 | 8 | 0.00048061 | 0.00012045 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3661-18_0_2_load_16 | 9 | 0.00087257 | 0.00021869 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3661-18_0_2_load_36 | 11 | 0.0002814 | 7.0526e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3661-18_0_2_load_37 | 12 | 0.00015215 | 3.8132e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3661-18_0_2_load_38 | 13 | 0.0053775 | 0.0013477 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3661-18_0_2_load_12 | 18 | 0.0012239 | 0.00030674 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3661-18_0_2_load_11 | 19 | 0.00010723 | 2.6873e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3661-18_0_2_load_14 | 21 | 0.0001894 | 4.7468e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3661-18_0_2_load_15 | 22 | 8.0548e-05 | 2.0187e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3661-18_0_2_load_18 | 23 | 0.0027731 | 0.000695 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3661-18_0_2_load_29 | 24 | 0.00027183 | 6.8127e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3661-18_0_2_load_17 | 25 | 0.0032381 | 0.00081154 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3661-18_0_2_load_27 | 26 | 0.00023821 | 5.9702e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3661-18_0_2_load_19 | 27 | 0.0024909 | 0.00062428 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3661-18_0_2_load_20 | 28 | 0.0018159 | 0.0004551 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3661-18_0_2_load_21 | 29 | 0.0026327 | 0.00065982 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3661-18_0_2_load_72 | 31 | 0.001291 | 0.00032355 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3661-18_0_2_load_105 | 32 | 0.00047355 | 0.00011868 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3661-18_0_2_load_104 | 33 | 0.00016019 | 4.0148e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3661-18_0_2_load_79 | 34 | 0.00046196 | 0.00011578 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3661-18_0_2_load_67 | 35 | 0.0024017 | 0.00060193 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3661-18_0_2_load_64 | 36 | 0.0010543 | 0.00026424 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3661-18_0_2_load_175 | 39 | 0.0017587 | 0.00044078 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3661-18_0_2_load_84 | 40 | 0.00039469 | 9.8918e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3661-18_0_2_load_80 | 42 | 0.0003196 | 8.0099e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3661-18_0_2_load_81 | 43 | 0.00015101 | 3.7846e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3661-18_0_2_load_83 | 44 | 0.00046116 | 0.00011558 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3661-18_0_2_load_85 | 45 | 0.00032732 | 8.2034e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3661-18_0_2_load_86 | 46 | 0.00030608 | 7.6711e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3661-18_0_2_load_87 | 47 | 0.00033219 | 8.3255e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3661-18_0_2_load_89 | 49 | 0.00022833 | 5.7224e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3661-18_0_2_load_95 | 51 | 0.00031347 | 7.8563e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3661-18_0_2_load_91 | 52 | 0.00026379 | 6.6113e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3661-18_0_2_load_94 | 53 | 0.0009971 | 0.0002499 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3661-18_0_2_load_100 | 54 | 0.00038777 | 9.7185e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3661-18_0_2_load_96 | 55 | 0.00024767 | 6.2071e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3661-18_0_2_load_97 | 56 | 0.00029314 | 7.3468e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3661-18_0_2_load_98 | 57 | 0.00052891 | 0.00013256 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3661-18_0_2_load_99 | 58 | 0.0002468 | 6.1853e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3661-18_0_2_load_74 | 59 | 0.0010791 | 0.00027044 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3661-18_0_2_load_26 | 60 | 0.00041352 | 0.00010364 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3661-18_0_2_load_28 | 61 | 0.00035702 | 8.9478e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3661-18_0_2_load_34 | 63 | 0.00024501 | 6.1406e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3661-18_0_2_load_31 | 64 | 0.00016291 | 4.083e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3661-18_0_2_load_32 | 65 | 0.00034829 | 8.729e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3661-18_0_2_load_33 | 66 | 0.002749 | 0.00068897 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3661-18_0_2_load_47 | 67 | 0.001331 | 0.00033358 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3661-18_0_2_load_43 | 68 | 0.0014497 | 0.00036334 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3661-18_0_2_load_39 | 69 | 0.0053567 | 0.0013425 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3661-18_0_2_load_40 | 70 | 0.001939 | 0.00048597 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3661-18_0_2_load_42 | 72 | 0.0021448 | 0.00053753 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3661-18_0_2_load_44 | 73 | 0.0025177 | 0.00063098 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3661-18_0_2_load_45 | 74 | 0.0029671 | 0.00074363 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3661-18_0_2_load_46 | 75 | 0.0033252 | 0.00083338 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3661-18_0_2_load_48 | 76 | 0.0017539 | 0.00043957 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3661-18_0_2_load_49 | 77 | 0.0026181 | 0.00065615 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3661-18_0_2_load_50 | 78 | 0.0028121 | 0.00070479 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3661-18_0_2_load_55 | 80 | 0.0011236 | 0.00028161 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3661-18_0_2_load_51 | 81 | 0.003059 | 0.00076665 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3661-18_0_2_load_52 | 82 | 0.0012836 | 0.0003217 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3661-18_0_2_load_54 | 83 | 0.0023985 | 0.00060113 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3661-18_0_2_load_56 | 84 | 0.0019598 | 0.00049116 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3661-18_0_2_load_57 | 85 | 0.0012472 | 0.00031257 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3661-18_0_2_load_58 | 86 | 0.0007852 | 0.00019679 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3661-18_0_2_load_61 | 89 | 0.0030666 | 0.00076857 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3661-18_0_2_load_176 | 90 | 0.00098727 | 0.00024743 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3661-18_0_2_load_62 | 91 | 0.00053914 | 0.00013512 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3661-18_0_2_load_161 | 92 | 0.000759 | 0.00019022 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3661-18_0_2_load_65 | 94 | 0.00045342 | 0.00011364 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3661-18_0_2_load_70 | 95 | 0.00063215 | 0.00015843 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3661-18_0_2_load_71 | 96 | 0.00084529 | 0.00021185 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3661-18_0_2_load_121 | 97 | 0.00065669 | 0.00016458 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3661-18_0_2_load_122 | 98 | 0.00077656 | 0.00019462 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3661-18_0_2_load_93 | 99 | 0.00043843 | 0.00010988 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 74 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3661-18_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0027028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3661-18_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.028917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3661-18_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0049365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3661-18_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.26652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3661-18_0_2_line_4 | NAYY 4x150 SE | 3 | 6 | 0.024402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3661-18_0_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.052863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3661-18_0_2_line_6 | NAYY 4x150 SE | 5 | 10 | 0.039184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3661-18_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.017471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3661-18_0_2_line_8 | NAYY 4x150 SE | 8 | 15 | 0.027138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3661-18_0_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.13676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3661-18_0_2_line_10 | NAYY 4x150 SE | 10 | 18 | 0.19673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3661-18_0_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.0058207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3661-18_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.0048523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3661-18_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.28175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3661-18_0_2_line_14 | NAYY 4x150 SE | 14 | 16 | 0.090153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3661-18_0_2_line_15 | NAYY 4x150 SE | 14 | 17 | 0.15714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3661-18_0_2_line_16 | NAYY 4x150 SE | 15 | 34 | 0.022331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3661-18_0_2_line_17 | NAYY 4x150 SE | 16 | 30 | 0.011229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3661-18_0_2_line_18 | NAYY 4x150 SE | 16 | 31 | 0.039315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3661-18_0_2_line_19 | NAYY 4x150 SE | 17 | 32 | 0.075484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3661-18_0_2_line_20 | NAYY 4x150 SE | 17 | 33 | 0.29011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3661-18_0_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.012906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3661-18_0_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.065312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3661-18_0_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.015248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3661-18_0_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.0058271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3661-18_0_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.02777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3661-18_0_2_line_26 | NAYY 4x150 SE | 22 | 24 | 0.0040772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3661-18_0_2_line_27 | NAYY 4x150 SE | 23 | 25 | 0.0015359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3661-18_0_2_line_28 | NAYY 4x150 SE | 24 | 26 | 0.011124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3661-18_0_2_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0064526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3661-18_0_2_line_30 | NAYY 4x150 SE | 26 | 60 | 0.0054486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3661-18_0_2_line_31 | NAYY 4x150 SE | 27 | 28 | 0.014344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3661-18_0_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.0062357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3661-18_0_2_line_33 | NAYY 4x150 SE | 30 | 35 | 0.031719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3661-18_0_2_line_34 | NAYY 4x150 SE | 30 | 36 | 0.095185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3661-18_0_2_line_35 | NAYY 4x150 SE | 31 | 37 | 0.059261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3661-18_0_2_line_36 | NAYY 4x150 SE | 33 | 44 | 0.13625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3661-18_0_2_line_37 | NAYY 4x150 SE | 34 | 41 | 0.016346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3661-18_0_2_line_38 | NAYY 4x150 SE | 35 | 95 | 0.0085995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3661-18_0_2_line_39 | NAYY 4x150 SE | 36 | 93 | 0.0018176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3661-18_0_2_line_40 | NAYY 4x150 SE | 37 | 59 | 0.12426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3661-18_0_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.037715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3661-18_0_2_line_42 | NAYY 4x150 SE | 38 | 40 | 0.013497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3661-18_0_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.010155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3661-18_0_2_line_44 | NAYY 4x150 SE | 41 | 42 | 0.0097121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3661-18_0_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.003729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3661-18_0_2_line_46 | NAYY 4x150 SE | 43 | 44 | 0.018264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3661-18_0_2_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0042731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3661-18_0_2_line_48 | NAYY 4x150 SE | 45 | 46 | 0.0097948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3661-18_0_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.019226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3661-18_0_2_line_50 | NAYY 4x150 SE | 47 | 48 | 0.012893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3661-18_0_2_line_51 | NAYY 4x150 SE | 48 | 49 | 0.0032507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3661-18_0_2_line_52 | NAYY 4x150 SE | 48 | 50 | 0.073911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3661-18_0_2_line_53 | NAYY 4x150 SE | 49 | 51 | 0.0026385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3661-18_0_2_line_54 | NAYY 4x150 SE | 50 | 99 | 0.015392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3661-18_0_2_line_55 | NAYY 4x150 SE | 50 | 52 | 0.061466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3661-18_0_2_line_56 | NAYY 4x150 SE | 51 | 55 | 0.01285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3661-18_0_2_line_57 | NAYY 4x150 SE | 53 | 54 | 0.014997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3661-18_0_2_line_58 | NAYY 4x150 SE | 54 | 58 | 0.0062845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3661-18_0_2_line_59 | NAYY 4x150 SE | 55 | 56 | 0.010424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3661-18_0_2_line_60 | NAYY 4x150 SE | 56 | 57 | 0.0038385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3661-18_0_2_line_61 | NAYY 4x150 SE | 57 | 58 | 0.010509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3661-18_0_2_line_62 | NAYY 4x150 SE | 60 | 61 | 0.0052274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3661-18_0_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.014549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3661-18_0_2_line_64 | NAYY 4x150 SE | 62 | 63 | 0.057291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3661-18_0_2_line_65 | NAYY 4x150 SE | 62 | 64 | 0.028278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3661-18_0_2_line_66 | NAYY 4x150 SE | 64 | 65 | 0.02405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3661-18_0_2_line_67 | NAYY 4x150 SE | 65 | 66 | 0.025149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3661-18_0_2_line_68 | NAYY 4x150 SE | 66 | 67 | 0.018084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3661-18_0_2_line_69 | NAYY 4x150 SE | 67 | 68 | 0.21951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3661-18_0_2_line_70 | NAYY 4x150 SE | 68 | 71 | 0.0068199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3661-18_0_2_line_71 | NAYY 4x150 SE | 69 | 70 | 0.034182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3661-18_0_2_line_72 | NAYY 4x150 SE | 70 | 71 | 0.003875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3661-18_0_2_line_73 | NAYY 4x150 SE | 71 | 72 | 0.0052954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3661-18_0_2_line_74 | NAYY 4x150 SE | 72 | 73 | 0.0057592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3661-18_0_2_line_75 | NAYY 4x150 SE | 73 | 74 | 0.01736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3661-18_0_2_line_76 | NAYY 4x150 SE | 74 | 75 | 0.0068354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3661-18_0_2_line_77 | NAYY 4x150 SE | 75 | 76 | 0.017162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3661-18_0_2_line_78 | NAYY 4x150 SE | 76 | 77 | 0.0017943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3661-18_0_2_line_79 | NAYY 4x150 SE | 77 | 78 | 0.029794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3661-18_0_2_line_80 | NAYY 4x150 SE | 78 | 79 | 0.021584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3661-18_0_2_line_81 | NAYY 4x150 SE | 79 | 80 | 0.0030106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3661-18_0_2_line_82 | NAYY 4x150 SE | 79 | 81 | 0.0089788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3661-18_0_2_line_83 | NAYY 4x150 SE | 80 | 84 | 0.014497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3661-18_0_2_line_84 | NAYY 4x150 SE | 81 | 82 | 0.015795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3661-18_0_2_line_85 | NAYY 4x150 SE | 82 | 83 | 0.0012305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3661-18_0_2_line_86 | NAYY 4x150 SE | 84 | 85 | 0.0036645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3661-18_0_2_line_87 | NAYY 4x150 SE | 85 | 86 | 0.008612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3661-18_0_2_line_88 | NAYY 4x150 SE | 86 | 87 | 0.017784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3661-18_0_2_line_89 | NAYY 4x150 SE | 87 | 88 | 0.025997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3661-18_0_2_line_90 | NAYY 4x150 SE | 87 | 89 | 0.0004297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3661-18_0_2_line_91 | NAYY 4x150 SE | 88 | 90 | 0.014904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3661-18_0_2_line_92 | NAYY 4x150 SE | 89 | 91 | 0.020353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3661-18_0_2_line_93 | NAYY 4x150 SE | 90 | 92 | 0.29024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3661-18_0_2_line_94 | NAYY 4x150 SE | 91 | 93 | 0.0070725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3661-18_0_2_line_95 | NAYY 4x150 SE | 92 | 98 | 0.038544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3661-18_0_2_line_96 | NAYY 4x150 SE | 93 | 94 | 0.057731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3661-18_0_2_line_97 | NAYY 4x150 SE | 95 | 96 | 0.01969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3661-18_0_2_line_98 | NAYY 4x150 SE | 97 | 98 | 0.096806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3661-18_0_2_trafo_45 | 0.25 MVA 20/0.4 kV | 100 | 74 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2751188.4642 | 1178052.6477 | 2751189.504 | 1178055.1424
1 | 2751188.4642 | 1178052.6477 | 2751188.0005 | 1178058.6075 | 2751186.8519 | 1178072.0118 | 2751184.4545 | 1178081.1894
2 | 2751188.4642 | 1178052.6477 | 2751186.5698 | 1178048.0891
3 | 2751353.7488 | 1178287.0372 | 2751184.4545 | 1178081.1894
4 | 2751186.5698 | 1178048.0891 | 2751186.3019 | 1178047.4444 | 2751185.7698 | 1178043.6835 | 2751186.1078 | 1178035.741 | 2751189.3502 | 1178027.5271 | 2751191.0874 | 1178024.9291
5 | 2751396.6912 | 1178314.9375 | 2751391.3118 | 1178315.4354 | 2751388.0963 | 1178312.285 | 2751383.9141 | 1178307.153 | 2751369.3495 | 1178295.9763 | 2751353.7488 | 1178287.0372
6 | 2751396.6912 | 1178314.9375 | 2751398.316 | 1178312.0539 | 2751398.6706 | 1178308.0039 | 2751396.9804 | 1178298.042 | 2751416.8756 | 1178306.7179
7 | 2751032.6513 | 1178865.1843 | 2751032.1169 | 1178880.4787 | 2751031.7339 | 1178882.6123
8 | 2751022.0979 | 1178907.6711 | 2751025.4114 | 1178902.0721 | 2751030.0182 | 1178892.1688 | 2751031.7339 | 1178882.6123
9 | 2751416.8756 | 1178306.7179 | 2751429.5652 | 1178314.3334 | 2751438.7596 | 1178327.7544 | 2751440.4948 | 1178348.3374 | 2751439.4861 | 1178371.9202 | 2751438.7415 | 1178397.4558 | 2751436.5364 | 1178419.674 | 2751432.2127 | 1178432.5532
10 | 2751416.8756 | 1178306.7179 | 2751435.1811 | 1178311.4395 | 2751443.5983 | 1178325.964 | 2751448.8196 | 1178339.8962 | 2751452.4308 | 1178357.335 | 2751455.185 | 1178375.4083 | 2751461.4315 | 1178388.6992 | 2751470.5507 | 1178402.0627 | 2751478.4535 | 1178410.0133 | 2751487.3874 | 1178410.7395 | 2751487.7128 | 1178404.5204 | 2751489.6437 | 1178394.9724 | 2751504.7172 | 1178386.6018 | 2751517.2515 | 1178385.2283 | 2751530.4577 | 1178385.7348
11 | 2751293.9081 | 1178701.365 | 2751290.1925 | 1178699.3447 | 2751289.2774 | 1178698.0428 | 2751289.2774 | 1178698.0428
12 | 2751298.171 | 1178703.6829 | 2751293.9081 | 1178701.365
13 | 2751458.5334 | 1178935.3433 | 2751298.171 | 1178703.6829
14 | 2751534.9339 | 1178898.6427 | 2751502.3079 | 1178911.0288 | 2751480.7675 | 1178910.9736 | 2751466.1056 | 1178921.2562 | 2751458.5334 | 1178935.3433
15 | 2751432.2217 | 1179060.5822 | 2751443.3642 | 1179043.7496 | 2751460.7068 | 1179036.5705 | 2751471.8671 | 1179035.9741 | 2751474.5328 | 1179030.6148 | 2751476.5875 | 1179021.0032 | 2751476.6021 | 1179008.3264 | 2751462.5249 | 1178990.345 | 2751457.6648 | 1178971.8292 | 2751459.0145 | 1178951.0906 | 2751458.5334 | 1178935.3433
16 | 2751022.0979 | 1178907.6711 | 2751019.242 | 1178915.7391 | 2751017.2556 | 1178929.3678
17 | 2751534.9339 | 1178898.6427 | 2751542.6475 | 1178890.4642
18 | 2751534.9339 | 1178898.6427 | 2751526.3344 | 1178911.3248 | 2751524.3068 | 1178919.5582 | 2751527.4234 | 1178930.8351 | 2751529.2231 | 1178934.1964
19 | 2751432.2217 | 1179060.5822 | 2751432.1852 | 1179084.412 | 2751433.38 | 1179102.4682 | 2751434.0016 | 1179112.6589 | 2751434.9593 | 1179119.8335 | 2751432.7035 | 1179130.7522 | 2751430.4567 | 1179135.1755
20 | 2751432.2217 | 1179060.5822 | 2751153.4886 | 1178980.1182
21 | 2751543.3543 | 1178386.2295 | 2751530.4577 | 1178385.7348
22 | 2751601.6542 | 1178361.2967 | 2751590.3881 | 1178363.0023 | 2751574.9718 | 1178370.1075 | 2751567.0481 | 1178378.403 | 2751549.5816 | 1178386.4683 | 2751543.3543 | 1178386.2295
23 | 2751601.6542 | 1178361.2967 | 2751599.1805 | 1178368.4179 | 2751598.1063 | 1178376.0518
24 | 2751601.6542 | 1178361.2967 | 2751606.1845 | 1178357.7972 | 2751606.2845 | 1178357.7744
25 | 2751598.1063 | 1178376.0518 | 2751595.9184 | 1178391.599 | 2751595.257 | 1178403.6505
26 | 2751610.2597 | 1178356.868 | 2751606.2845 | 1178357.7744
27 | 2751595.1728 | 1178405.1841 | 2751595.257 | 1178403.6505
28 | 2751621.0927 | 1178354.3396 | 2751613.4279 | 1178356.1456 | 2751610.2597 | 1178356.868
29 | 2751594.8192 | 1178411.627 | 2751595.1728 | 1178405.1841
30 | 2751626.396 | 1178353.09 | 2751621.0927 | 1178354.3396
31 | 2751594.8192 | 1178411.627 | 2751594.0331 | 1178425.949
32 | 2751593.6914 | 1178432.1754 | 2751594.0331 | 1178425.949
33 | 2751542.6475 | 1178890.4642 | 2751538.0031 | 1178904.5363 | 2751537.9805 | 1178909.3619 | 2751540.0842 | 1178914.4415 | 2751544.8152 | 1178919.0092 | 2751544.8152 | 1178919.0092
34 | 2751542.6475 | 1178890.4642 | 2751551.9863 | 1178878.7794 | 2751563.7125 | 1178866.0986 | 2751571.7808 | 1178860.2199 | 2751590.0429 | 1178843.0116 | 2751606.3743 | 1178820.4157
35 | 2751553.8569 | 1178987.9946 | 2751541.643 | 1178957.394 | 2751529.2231 | 1178934.1964
36 | 2751017.2771 | 1178977.029 | 2751153.4886 | 1178980.1182
37 | 2751014.8981 | 1178945.5432 | 2751017.2556 | 1178929.3678
38 | 2751544.8152 | 1178919.0092 | 2751548.4549 | 1178924.717 | 2751549.2923 | 1178926.3442
39 | 2751607.439 | 1178818.9426 | 2751606.3743 | 1178820.4157
40 | 2751553.8569 | 1178987.9946 | 2751554.2486 | 1178996.9897 | 2751557.9841 | 1179007.9709 | 2751572.9228 | 1179029.3549 | 2751575.4628 | 1179049.8249 | 2751579.867 | 1179072.1435 | 2751578.8241 | 1179077.4104 | 2751575.474 | 1179079.9056 | 2751570.5733 | 1179081.4496 | 2751563.6961 | 1179080.1414 | 2751555.7688 | 1179075.0147 | 2751552.7055 | 1179075.2374
41 | 2750998.9032 | 1178928.3708 | 2750997.2001 | 1178932.2533 | 2750990.4262 | 1178936.5419 | 2750985.0505 | 1178938.1301 | 2750979.7349 | 1178937.3289 | 2750975.9295 | 1178934.8422 | 2750974.434 | 1178933.2143 | 2750972.8908 | 1178925.5914
42 | 2750998.9032 | 1178928.3708 | 2751003.5703 | 1178931.5464 | 2751008.5098 | 1178937.6497
43 | 2751014.8981 | 1178945.5432 | 2751008.5098 | 1178937.6497
44 | 2751014.8981 | 1178945.5432 | 2751014.4081 | 1178948.9114 | 2751014.3971 | 1178954.5046 | 2751014.4878 | 1178955.214
45 | 2751014.4878 | 1178955.214 | 2751014.9607 | 1178958.9129
46 | 2751014.9607 | 1178958.9129 | 2751017.2771 | 1178977.029
47 | 2751016.7511 | 1178981.2696 | 2751017.2771 | 1178977.029 | 2751017.2771 | 1178977.029
48 | 2751016.7511 | 1178981.2696 | 2751015.5454 | 1178990.9898
49 | 2751015.5454 | 1178990.9898 | 2751014.802 | 1178996.983 | 2751011.499 | 1179009.7494
50 | 2751010.4138 | 1179022.4824 | 2751010.2541 | 1179014.5608 | 2751011.499 | 1179009.7494
51 | 2751010.4138 | 1179022.4824 | 2751008.6085 | 1179019.7791
52 | 2750994.3478 | 1179090.9676 | 2750997.9653 | 1179089.6799 | 2751000.2338 | 1179087.3239 | 2751002.2236 | 1179082.6813 | 2751001.5687 | 1179074.3913 | 2751000.2153 | 1179063.1814 | 2751006.899 | 1179038.1958 | 2751010.5083 | 1179026.9218 | 2751010.4138 | 1179022.4824
53 | 2751007.1432 | 1179017.5849 | 2751007.1432 | 1179017.5849 | 2751008.6085 | 1179019.7791
54 | 2750994.3478 | 1179090.9676 | 2750992.9156 | 1179106.2928
55 | 2750994.3478 | 1179090.9676 | 2750990.993 | 1179089.7155 | 2750988.3778 | 1179085.5017 | 2750987.7935 | 1179077.7473 | 2750986.6868 | 1179065.5427 | 2750979.6514 | 1179040.167 | 2750977.6733 | 1179033.9106
56 | 2751007.1432 | 1179017.5849 | 2751004.896 | 1179010.6004 | 2751002.3266 | 1179005.7233
57 | 2750983.7444 | 1178982.6579 | 2750979.3426 | 1178978.9978 | 2750973.3788 | 1178971.8974
58 | 2750983.7444 | 1178982.6579 | 2750988.5766 | 1178986.6759
59 | 2751002.3266 | 1179005.7233 | 2751000.4313 | 1179002.1255 | 2750999.0941 | 1179001.191 | 2750996.9112 | 1179000.7579 | 2750994.7489 | 1178999.5025 | 2750994.7489 | 1178999.5025
60 | 2750993.2252 | 1178995.9793 | 2750994.7489 | 1178999.5025
61 | 2750993.2252 | 1178995.9793 | 2750991.4911 | 1178991.9698 | 2750989.4655 | 1178987.4151 | 2750988.5766 | 1178986.6759
62 | 2751626.396 | 1178353.09 | 2751631.4841 | 1178351.8912
63 | 2751645.6727 | 1178348.6768 | 2751638.062 | 1178350.3413 | 2751631.4841 | 1178351.8912
64 | 2751645.6727 | 1178348.6768 | 2751646.6362 | 1178332.3543 | 2751619.0221 | 1178302.1292
65 | 2751645.6727 | 1178348.6768 | 2751653.2663 | 1178352.8277 | 2751661.1705 | 1178363.7365 | 2751664.2418 | 1178369.0674
66 | 2751664.2418 | 1178369.0674 | 2751668.3548 | 1178376.2063 | 2751672.0138 | 1178384.7836 | 2751673.4686 | 1178391.1045
67 | 2751674.6649 | 1178416.1353 | 2751674.8907 | 1178404.6283 | 2751674.3694 | 1178395.0183 | 2751673.4686 | 1178391.1045
68 | 2751674.3101 | 1178434.2162 | 2751674.6649 | 1178416.1353
69 | 2751674.3101 | 1178434.2162 | 2751674.2837 | 1178435.5607 | 2751675.2948 | 1178446.9623 | 2751678.4961 | 1178466.0701 | 2751680.7418 | 1178543.4797 | 2751678.0874 | 1178558.6473 | 2751664.5937 | 1178590.3878 | 2751652.8083 | 1178630.156 | 2751653.0743 | 1178642.9066 | 2751654.7446 | 1178648.4457
70 | 2751656.7136 | 1178654.9752 | 2751654.7446 | 1178648.4457
71 | 2751671.5147 | 1178620.1103 | 2751667.6126 | 1178628.4845 | 2751660.9062 | 1178640.6472 | 2751657.8018 | 1178651.2561
72 | 2751656.7136 | 1178654.9752 | 2751657.8018 | 1178651.2561
73 | 2751656.7136 | 1178654.9752 | 2751656.5576 | 1178660.2683
74 | 2751656.5576 | 1178660.2683 | 2751656.3879 | 1178666.025
75 | 2751657.0051 | 1178683.357 | 2751656.2269 | 1178671.4876 | 2751656.3879 | 1178666.025
76 | 2751657.0051 | 1178683.357 | 2751657.4523 | 1178690.1777
77 | 2751657.4523 | 1178690.1777 | 2751658.575 | 1178707.3027
78 | 2751658.6924 | 1178709.0932 | 2751658.575 | 1178707.3027
79 | 2751658.6924 | 1178709.0932 | 2751658.88 | 1178711.9548 | 2751659.3507 | 1178738.8772
80 | 2751651.5333 | 1178758.1849 | 2751656.2832 | 1178752.9451 | 2751659.4079 | 1178742.1486 | 2751659.3507 | 1178738.8772
81 | 2751651.5333 | 1178758.1849 | 2751649.5101 | 1178760.4143
82 | 2751651.5333 | 1178758.1849 | 2751654.2092 | 1178766.7557
83 | 2751639.7674 | 1178771.1498 | 2751649.5101 | 1178760.4143
84 | 2751654.2092 | 1178766.7557 | 2751655.6418 | 1178771.3441 | 2751657.889 | 1178774.6815 | 2751658.6167 | 1178781.6083
85 | 2751658.7453 | 1178782.8321 | 2751658.6167 | 1178781.6083
86 | 2751639.7674 | 1178771.1498 | 2751639.0141 | 1178771.9798 | 2751637.7753 | 1178774.2014
87 | 2751637.7753 | 1178774.2014 | 2751633.5812 | 1178781.7231
88 | 2751624.9202 | 1178797.2555 | 2751633.5812 | 1178781.7231
89 | 2751624.9202 | 1178797.2555 | 2751640.2561 | 1178801.1464 | 2751648.9007 | 1178806.6361
90 | 2751624.6506 | 1178797.59 | 2751624.9202 | 1178797.2555
91 | 2751648.9007 | 1178806.6361 | 2751663.5315 | 1178809.6863
92 | 2751624.6506 | 1178797.59 | 2751611.8775 | 1178813.4362
93 | 2751663.5315 | 1178809.6863 | 2751869.0095 | 1179014.6758
94 | 2751607.439 | 1178818.9426 | 2751611.8775 | 1178813.4362
95 | 2751864.3466 | 1179052.9371 | 2751869.0095 | 1179014.6758
96 | 2751607.439 | 1178818.9426 | 2751604.4873 | 1178829.5545 | 2751600.6239 | 1178856.568 | 2751596.0233 | 1178867.6943 | 2751592.1366 | 1178873.9778
97 | 2751560.8487 | 1178937.0181 | 2751558.9564 | 1178938.9941 | 2751556.5395 | 1178938.7439 | 2751553.8859 | 1178936.0636 | 2751550.6699 | 1178929.0209 | 2751549.2923 | 1178926.3442
98 | 2751845.8566 | 1179147.8935 | 2751861.8515 | 1179073.4111 | 2751864.3466 | 1179052.9371

## bus_geodata
| x | y | coords
0 | 2751189.504 | 1178055.1424
1 | 2751188.4642 | 1178052.6477
2 | 2751184.4545 | 1178081.1894
3 | 2751186.5698 | 1178048.0891
4 | 2751353.7488 | 1178287.0372
5 | 2751396.6912 | 1178314.9375
6 | 2751191.0874 | 1178024.9291
7 | 2751032.6513 | 1178865.1843
8 | 2751031.7339 | 1178882.6123
9 | 2751432.2127 | 1178432.5532
10 | 2751416.8756 | 1178306.7179
11 | 2751293.9081 | 1178701.365
12 | 2751289.2774 | 1178698.0428
13 | 2751298.171 | 1178703.6829
14 | 2751458.5334 | 1178935.3433
15 | 2751022.0979 | 1178907.6711
16 | 2751534.9339 | 1178898.6427
17 | 2751432.2217 | 1179060.5822
18 | 2751530.4577 | 1178385.7348
19 | 2751543.3543 | 1178386.2295
20 | 2751601.6542 | 1178361.2967
21 | 2751598.1063 | 1178376.0518
22 | 2751606.2845 | 1178357.7744
23 | 2751595.257 | 1178403.6505
24 | 2751610.2597 | 1178356.868
25 | 2751595.1728 | 1178405.1841
26 | 2751621.0927 | 1178354.3396
27 | 2751594.8192 | 1178411.627
28 | 2751594.0331 | 1178425.949
29 | 2751593.6914 | 1178432.1754
30 | 2751542.6475 | 1178890.4642
31 | 2751529.2231 | 1178934.1964
32 | 2751430.4567 | 1179135.1755
33 | 2751153.4886 | 1178980.1182
34 | 2751017.2556 | 1178929.3678
35 | 2751544.8152 | 1178919.0092
36 | 2751606.3743 | 1178820.4157
37 | 2751553.8569 | 1178987.9946
38 | 2750998.9032 | 1178928.3708
39 | 2750972.8908 | 1178925.5914
40 | 2751008.5098 | 1178937.6497
41 | 2751014.8981 | 1178945.5432
42 | 2751014.4878 | 1178955.214
43 | 2751014.9607 | 1178958.9129
44 | 2751017.2771 | 1178977.029
45 | 2751016.7511 | 1178981.2696
46 | 2751015.5454 | 1178990.9898
47 | 2751011.499 | 1179009.7494
48 | 2751010.4138 | 1179022.4824
49 | 2751008.6085 | 1179019.7791
50 | 2750994.3478 | 1179090.9676
51 | 2751007.1432 | 1179017.5849
52 | 2750977.6733 | 1179033.9106
53 | 2750973.3788 | 1178971.8974
54 | 2750983.7444 | 1178982.6579
55 | 2751002.3266 | 1179005.7233
56 | 2750994.7489 | 1178999.5025
57 | 2750993.2252 | 1178995.9793
58 | 2750988.5766 | 1178986.6759
59 | 2751552.7055 | 1179075.2374
60 | 2751626.396 | 1178353.09
61 | 2751631.4841 | 1178351.8912
62 | 2751645.6727 | 1178348.6768
63 | 2751619.0221 | 1178302.1292
64 | 2751664.2418 | 1178369.0674
65 | 2751673.4686 | 1178391.1045
66 | 2751674.6649 | 1178416.1353
67 | 2751674.3101 | 1178434.2162
68 | 2751654.7446 | 1178648.4457
69 | 2751671.5147 | 1178620.1103
70 | 2751657.8018 | 1178651.2561
71 | 2751656.7136 | 1178654.9752
72 | 2751656.5576 | 1178660.2683
73 | 2751656.3879 | 1178666.025
74 | 2751657.0051 | 1178683.357
75 | 2751657.4523 | 1178690.1777
76 | 2751658.575 | 1178707.3027
77 | 2751658.6924 | 1178709.0932
78 | 2751659.3507 | 1178738.8772
79 | 2751651.5333 | 1178758.1849
80 | 2751649.5101 | 1178760.4143
81 | 2751654.2092 | 1178766.7557
82 | 2751658.6167 | 1178781.6083
83 | 2751658.7453 | 1178782.8321
84 | 2751639.7674 | 1178771.1498
85 | 2751637.7753 | 1178774.2014
86 | 2751633.5812 | 1178781.7231
87 | 2751624.9202 | 1178797.2555
88 | 2751648.9007 | 1178806.6361
89 | 2751624.6506 | 1178797.59
90 | 2751663.5315 | 1178809.6863
91 | 2751611.8775 | 1178813.4362
92 | 2751869.0095 | 1179014.6758
93 | 2751607.439 | 1178818.9426
94 | 2751592.1366 | 1178873.9778
95 | 2751549.2923 | 1178926.3442
96 | 2751560.8487 | 1178937.0181
97 | 2751845.8566 | 1179147.8935
98 | 2751864.3466 | 1179052.9371
99 | 2750992.9156 | 1179106.2928
100 | 2751656.7136 | 1178654.9752

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1