## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3661-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3661-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3661-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3661-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3661-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3661-3_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_3661-3_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3661-3_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3661-3_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3661-3_0_4_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_3661-3_0_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_3661-3_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_3661-3_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_3661-3_0_4_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_3661-3_0_4_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_3661-3_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3661-3_0_4_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_3661-3_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_3661-3_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_3661-3_0_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_3661-3_0_4_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_3661-3_0_4_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_3661-3_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_3661-3_0_4_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_3661-3_0_4_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_3661-3_0_4_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_3661-3_0_4_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_3661-3_0_4_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_3661-3_0_4_node_11 | 0.4 | n |  | TRUE
29 | bus_LV_3661-3_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_3661-3_0_4_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_3661-3_0_4_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_3661-3_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_3661-3_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_3661-3_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_3661-3_0_4_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_3661-3_0_4_node_84 | 0.4 | n |  | TRUE
37 | bus_LV_3661-3_0_4_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_3661-3_0_4_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_3661-3_0_4_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_3661-3_0_4_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_3661-3_0_4_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_3661-3_0_4_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_3661-3_0_4_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_3661-3_0_4_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_3661-3_0_4_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_3661-3_0_4_node_79 | 0.4 | n |  | TRUE
47 | bus_LV_3661-3_0_4_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_3661-3_0_4_node_71 | 0.4 | n |  | TRUE
49 | bus_LV_3661-3_0_4_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_3661-3_0_4_node_82 | 0.4 | n |  | TRUE
51 | bus_LV_3661-3_0_4_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_3661-3_0_4_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_3661-3_0_4_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_3661-3_0_4_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_3661-3_0_4_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_3661-3_0_4_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_3661-3_0_4_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_3661-3_0_4_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_3661-3_0_4_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_3661-3_0_4_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_3661-3_0_4_node_29 | 0.4 | n |  | TRUE
62 | bus_LV_3661-3_0_4_node_30 | 0.4 | n |  | TRUE
63 | bus_LV_3661-3_0_4_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_3661-3_0_4_node_38 | 0.4 | n |  | TRUE
65 | bus_LV_3661-3_0_4_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_3661-3_0_4_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_3661-3_0_4_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_3661-3_0_4_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_3661-3_0_4_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_3661-3_0_4_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_3661-3_0_4_node_43 | 0.4 | n |  | TRUE
72 | bus_LV_3661-3_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_3661-3_0_4_node_44 | 0.4 | n |  | TRUE
74 | bus_LV_3661-3_0_4_node_45 | 0.4 | n |  | TRUE
75 | bus_LV_3661-3_0_4_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_3661-3_0_4_node_47 | 0.4 | n |  | TRUE
77 | bus_LV_3661-3_0_4_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_3661-3_0_4_node_48 | 0.4 | n |  | TRUE
79 | bus_LV_3661-3_0_4_node_56 | 0.4 | n |  | TRUE
80 | bus_LV_3661-3_0_4_node_49 | 0.4 | n |  | TRUE
81 | bus_LV_3661-3_0_4_node_55 | 0.4 | n |  | TRUE
82 | bus_LV_3661-3_0_4_node_54 | 0.4 | n |  | TRUE
83 | bus_LV_3661-3_0_4_node_53 | 0.4 | n |  | TRUE
84 | bus_LV_3661-3_0_4_node_52 | 0.4 | n |  | TRUE
85 | bus_MV_163_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3661-3_0_4_load_0 | 0 | 0.0017598 | 0.00044104 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3661-3_0_4_load_1 | 1 | 0.0023456 | 0.00058786 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3661-3_0_4_load_2 | 2 | 0.0034829 | 0.0008729 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3661-3_0_4_load_3 | 3 | 0.0022064 | 0.00055298 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3661-3_0_4_load_5 | 6 | 0.0064643 | 0.0016201 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3661-3_0_4_load_6 | 7 | 0.0099866 | 0.0025029 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3661-3_0_4_load_8 | 8 | 0.00049387 | 0.00012378 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3661-3_0_4_load_18 | 9 | 0.00034879 | 8.7414e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3661-3_0_4_load_15 | 10 | 0.00054763 | 0.00013725 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3661-3_0_4_load_17 | 13 | 0.00047503 | 0.00011905 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3661-3_0_4_load_21 | 14 | 0.00062029 | 0.00015546 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3661-3_0_4_load_22 | 16 | 0.00090711 | 0.00022734 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3661-3_0_4_load_20 | 18 | 0.00031302 | 7.8451e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3661-3_0_4_load_23 | 19 | 0.00038544 | 9.66e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3661-3_0_4_load_24 | 20 | 0.00093296 | 0.00023382 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3661-3_0_4_load_33 | 23 | 0.0027729 | 0.00069495 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3661-3_0_4_load_39 | 25 | 0.0024828 | 0.00062226 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3661-3_0_4_load_31 | 27 | 0.001734 | 0.00043459 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3661-3_0_4_load_11 | 28 | 0.00081792 | 0.00020499 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3661-3_0_4_load_14 | 29 | 0.018301 | 0.0045868 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3661-3_0_4_load_51 | 30 | 0.0025326 | 0.00063474 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3661-3_0_4_load_50 | 31 | 0.0013018 | 0.00032625 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3661-3_0_4_load_25 | 32 | 0.0023105 | 0.00057908 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3661-3_0_4_load_26 | 33 | 0.0035428 | 0.00088792 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3661-3_0_4_load_27 | 34 | 0.0023595 | 0.00059134 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3661-3_0_4_load_64 | 35 | 0.0061839 | 0.0015498 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3661-3_0_4_load_84 | 36 | 0.0043847 | 0.0010989 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3661-3_0_4_load_72 | 38 | 0.0032634 | 0.00081788 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3661-3_0_4_load_73 | 39 | 0.003109 | 0.00077919 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3661-3_0_4_load_74 | 40 | 0.0034225 | 0.00085777 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3661-3_0_4_load_75 | 41 | 0.0032579 | 0.00081651 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3661-3_0_4_load_76 | 42 | 0.003101 | 0.00077718 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3661-3_0_4_load_77 | 43 | 0.0035999 | 0.00090221 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3661-3_0_4_load_78 | 44 | 0.0032702 | 0.00081959 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3661-3_0_4_load_79 | 46 | 0.0061661 | 0.0015454 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3661-3_0_4_load_83 | 47 | 0.0035629 | 0.00089294 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3661-3_0_4_load_71 | 48 | 0.0043024 | 0.0010783 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3661-3_0_4_load_82 | 50 | 0.003075 | 0.00077067 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3661-3_0_4_load_28 | 51 | 0.0057893 | 0.0014509 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3661-3_0_4_load_37 | 53 | 0.0046436 | 0.0011638 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3661-3_0_4_load_65 | 54 | 0.0033657 | 0.00084353 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3661-3_0_4_load_63 | 55 | 0.0025224 | 0.00063218 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3661-3_0_4_load_66 | 56 | 0.0023742 | 0.00059503 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3661-3_0_4_load_67 | 57 | 0.003697 | 0.00092656 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3661-3_0_4_load_68 | 58 | 0.0062709 | 0.0015716 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3661-3_0_4_load_69 | 59 | 0.003463 | 0.00086792 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3661-3_0_4_load_29 | 61 | 0.0086085 | 0.0021575 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3661-3_0_4_load_35 | 63 | 0.0010798 | 0.00027063 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3661-3_0_4_load_38 | 64 | 0.0044016 | 0.0011031 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3661-3_0_4_load_40 | 65 | 0.00093444 | 0.00023419 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3661-3_0_4_load_41 | 66 | 0.0025532 | 0.00063989 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3661-3_0_4_load_60 | 68 | 0.0062178 | 0.0015583 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3661-3_0_4_load_42 | 69 | 0.0012893 | 0.00032312 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3661-3_0_4_load_59 | 70 | 0.0049498 | 0.0012405 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3661-3_0_4_load_43 | 71 | 0.0049094 | 0.0012304 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3661-3_0_4_load_58 | 72 | 0.0023063 | 0.000578 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3661-3_0_4_load_44 | 73 | 0.0011169 | 0.00027991 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3661-3_0_4_load_45 | 74 | 0.0042552 | 0.0010664 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3661-3_0_4_load_46 | 75 | 0.0019863 | 0.00049781 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3661-3_0_4_load_47 | 76 | 0.0014332 | 0.00035918 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3661-3_0_4_load_57 | 77 | 0.0036224 | 0.00090786 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3661-3_0_4_load_48 | 78 | 0.002401 | 0.00060174 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3661-3_0_4_load_56 | 79 | 0.0074042 | 0.0018557 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3661-3_0_4_load_49 | 80 | 0.0014248 | 0.00035709 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3661-3_0_4_load_55 | 81 | 0.001744 | 0.00043709 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3661-3_0_4_load_54 | 82 | 0.0013831 | 0.00034663 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3661-3_0_4_load_53 | 83 | 0.0022902 | 0.00057398 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3661-3_0_4_load_52 | 84 | 0.0015199 | 0.00038092 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3661-3_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_3661-3_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.024396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_3661-3_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_3661-3_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.02423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_3661-3_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.22274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_3661-3_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.026446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_3661-3_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.018833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3661-3_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.027424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_3661-3_0_4_line_8 | NAYY 4x150 SE | 6 | 21 | 0.016919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3661-3_0_4_line_9 | NAYY 4x150 SE | 7 | 22 | 0.092643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3661-3_0_4_line_10 | NAYY 4x150 SE | 8 | 9 | 0.15807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3661-3_0_4_line_11 | NAYY 4x150 SE | 9 | 16 | 0.32171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3661-3_0_4_line_12 | NAYY 4x150 SE | 9 | 11 | 0.061705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3661-3_0_4_line_13 | NAYY 4x150 SE | 10 | 11 | 0.036779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3661-3_0_4_line_14 | NAYY 4x150 SE | 11 | 12 | 0.11516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3661-3_0_4_line_15 | NAYY 4x150 SE | 12 | 29 | 0.071008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3661-3_0_4_line_16 | NAYY 4x150 SE | 13 | 14 | 0.16466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3661-3_0_4_line_17 | NAYY 4x150 SE | 13 | 15 | 0.15476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3661-3_0_4_line_18 | NAYY 4x150 SE | 14 | 17 | 0.033763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3661-3_0_4_line_19 | NAYY 4x150 SE | 15 | 29 | 0.12944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3661-3_0_4_line_20 | NAYY 4x150 SE | 15 | 28 | 0.10101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3661-3_0_4_line_21 | NAYY 4x150 SE | 17 | 18 | 0.033959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3661-3_0_4_line_22 | NAYY 4x150 SE | 18 | 19 | 0.2082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3661-3_0_4_line_23 | NAYY 4x150 SE | 19 | 20 | 0.018825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3661-3_0_4_line_24 | NAYY 4x150 SE | 21 | 23 | 0.038976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3661-3_0_4_line_25 | NAYY 4x150 SE | 21 | 24 | 0.004293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_3661-3_0_4_line_26 | NAYY 4x150 SE | 22 | 25 | 0.094172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3661-3_0_4_line_27 | NAYY 4x150 SE | 24 | 26 | 0.002419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_3661-3_0_4_line_28 | NAYY 4x150 SE | 24 | 27 | 0.0082712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3661-3_0_4_line_29 | NAYY 4x150 SE | 26 | 63 | 0.045136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3661-3_0_4_line_30 | NAYY 4x150 SE | 26 | 60 | 0.030553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_3661-3_0_4_line_31 | NAYY 4x150 SE | 27 | 62 | 0.035022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3661-3_0_4_line_32 | NAYY 4x150 SE | 30 | 31 | 0.044629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3661-3_0_4_line_33 | NAYY 4x150 SE | 31 | 84 | 0.020778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_3661-3_0_4_line_34 | NAYY 4x150 SE | 31 | 80 | 0.0028293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_3661-3_0_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.032887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3661-3_0_4_line_36 | NAYY 4x150 SE | 33 | 34 | 0.019769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3661-3_0_4_line_37 | NAYY 4x150 SE | 34 | 51 | 0.015734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3661-3_0_4_line_38 | NAYY 4x150 SE | 35 | 36 | 0.037412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3661-3_0_4_line_39 | NAYY 4x150 SE | 35 | 37 | 0.098479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3661-3_0_4_line_40 | NAYY 4x150 SE | 37 | 67 | 0.034154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3661-3_0_4_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0050258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3661-3_0_4_line_42 | NAYY 4x150 SE | 38 | 40 | 0.0075428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3661-3_0_4_line_43 | NAYY 4x150 SE | 39 | 41 | 0.011493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3661-3_0_4_line_44 | NAYY 4x150 SE | 41 | 42 | 0.0086973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3661-3_0_4_line_45 | NAYY 4x150 SE | 42 | 43 | 0.019571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3661-3_0_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.019761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3661-3_0_4_line_47 | NAYY 4x150 SE | 44 | 45 | 0.040831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3661-3_0_4_line_48 | NAYY 4x150 SE | 45 | 49 | 0.024309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3661-3_0_4_line_49 | NAYY 4x150 SE | 46 | 47 | 0.037479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3661-3_0_4_line_50 | NAYY 4x150 SE | 46 | 48 | 0.011089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3661-3_0_4_line_51 | NAYY 4x150 SE | 47 | 50 | 0.017221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3661-3_0_4_line_52 | NAYY 4x150 SE | 48 | 52 | 0.011357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3661-3_0_4_line_53 | NAYY 4x150 SE | 49 | 50 | 0.012685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3661-3_0_4_line_54 | NAYY 4x150 SE | 51 | 53 | 0.0015178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3661-3_0_4_line_55 | NAYY 4x150 SE | 52 | 54 | 0.0015487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3661-3_0_4_line_56 | NAYY 4x150 SE | 52 | 59 | 0.025586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3661-3_0_4_line_57 | NAYY 4x150 SE | 53 | 60 | 0.012786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3661-3_0_4_line_58 | NAYY 4x150 SE | 54 | 55 | 0.027584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_3661-3_0_4_line_59 | NAYY 4x150 SE | 55 | 67 | 0.019596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_3661-3_0_4_line_60 | NAYY 4x150 SE | 56 | 57 | 0.0024977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3661-3_0_4_line_61 | NAYY 4x150 SE | 56 | 58 | 0.01911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3661-3_0_4_line_62 | NAYY 4x150 SE | 57 | 59 | 0.020974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3661-3_0_4_line_63 | NAYY 4x150 SE | 60 | 64 | 0.027675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_3661-3_0_4_line_64 | NAYY 4x150 SE | 61 | 62 | 0.0042777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3661-3_0_4_line_65 | NAYY 4x150 SE | 64 | 65 | 0.0033666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_3661-3_0_4_line_66 | NAYY 4x150 SE | 65 | 66 | 0.012397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_3661-3_0_4_line_67 | NAYY 4x150 SE | 66 | 69 | 0.016561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_3661-3_0_4_line_68 | NAYY 4x150 SE | 67 | 68 | 0.011284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_3661-3_0_4_line_69 | NAYY 4x150 SE | 68 | 70 | 0.0086792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_3661-3_0_4_line_70 | NAYY 4x150 SE | 69 | 71 | 0.0058669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_3661-3_0_4_line_71 | NAYY 4x150 SE | 70 | 72 | 0.030756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_3661-3_0_4_line_72 | NAYY 4x150 SE | 71 | 73 | 0.018068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_3661-3_0_4_line_73 | NAYY 4x150 SE | 72 | 77 | 0.027447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_3661-3_0_4_line_74 | NAYY 4x150 SE | 73 | 74 | 0.0077556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_3661-3_0_4_line_75 | NAYY 4x150 SE | 74 | 75 | 0.021718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_3661-3_0_4_line_76 | NAYY 4x150 SE | 75 | 76 | 0.01025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
77 | LV_3661-3_0_4_line_77 | NAYY 4x150 SE | 76 | 78 | 0.017975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_3661-3_0_4_line_78 | NAYY 4x150 SE | 77 | 79 | 0.010074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_3661-3_0_4_line_79 | NAYY 4x150 SE | 78 | 80 | 0.017326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
80 | LV_3661-3_0_4_line_80 | NAYY 4x150 SE | 79 | 81 | 0.0081011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_3661-3_0_4_line_81 | NAYY 4x150 SE | 81 | 82 | 0.0076425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_3661-3_0_4_line_82 | NAYY 4x150 SE | 82 | 83 | 0.0062151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_3661-3_0_4_line_83 | NAYY 4x150 SE | 83 | 84 | 0.035857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3661-3_0_4_trafo_42 | 0.25 MVA 20/0.4 kV | 85 | 69 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2752000.7145 | 1176837.8727 | 2751997.0794 | 1176859.7199 | 2751995.7651 | 1176866.9744
1 | 2752000.7145 | 1176837.8727 | 2752004.7185 | 1176813.8074
2 | 2751995.7651 | 1176866.9744 | 2751992.3426 | 1176885.8652
3 | 2752008.8893 | 1176789.9394 | 2752006.417 | 1176803.5991 | 2752004.7185 | 1176813.8074
4 | 2751992.3426 | 1176885.8652 | 2751952.6337 | 1177105.0408
5 | 2752008.8893 | 1176789.9394 | 2752034.482 | 1176796.6038
6 | 2752008.8893 | 1176789.9394 | 2752012.1627 | 1176771.393
7 | 2751952.6337 | 1177105.0408 | 2751941.1538 | 1177102.4146 | 2751936.663 | 1177102.8012 | 2751933.8174 | 1177104.6529 | 2751931.757 | 1177107.2028 | 2751930.956 | 1177111.6528
8 | 2752050.8547 | 1176800.8673 | 2752034.482 | 1176796.6038
9 | 2752028.2749 | 1176680.1623 | 2752025.4904 | 1176695.8824 | 2752012.1627 | 1176771.393
10 | 2751792.9399 | 1177188.7007 | 2751930.956 | 1177111.6528
11 | 2751792.9399 | 1177188.7007 | 2751663.4476 | 1176894.2057
12 | 2751828.3084 | 1177235.6788 | 2751827.1825 | 1177227.5992 | 2751824.7467 | 1177220.2203 | 2751822.3205 | 1177213.9649 | 2751817.5805 | 1177208.1958 | 2751811.6562 | 1177201.785 | 2751802.3943 | 1177194.0109 | 2751792.9399 | 1177188.7007
13 | 2751828.3084 | 1177235.6788 | 2751822.5655 | 1177224.8245 | 2751817.0882 | 1177217.3686 | 2751811.8619 | 1177213.5888 | 2751806.5058 | 1177211.9186 | 2751803.5687 | 1177213.1564
14 | 2751828.3084 | 1177235.6788 | 2751898.7566 | 1177326.7815
15 | 2751898.7566 | 1177326.7815 | 2751902.2937 | 1177333.2431 | 2751903.531 | 1177339.6353 | 2751903.4004 | 1177347.5051 | 2751902.5209 | 1177355.356 | 2751899.2917 | 1177368.1292 | 2751885.4788 | 1177392.7109
16 | 2751714.608 | 1177353.9777 | 2751583.7123 | 1177254.0805
17 | 2751795.5926 | 1177485.8571 | 2751714.608 | 1177353.9777
18 | 2751604.5162 | 1177231.2048 | 2751601.5854 | 1177243.3852 | 2751590.8511 | 1177252.0989 | 2751583.7123 | 1177254.0805
19 | 2751795.5926 | 1177485.8571 | 2751885.4788 | 1177392.7109
20 | 2751795.5926 | 1177485.8571 | 2751785.6674 | 1177534.4905 | 2751762.4211 | 1177580.2991
21 | 2751604.5162 | 1177231.2048 | 2751601.4943 | 1177227.3363 | 2751581.2476 | 1177217.0051 | 2751577.8402 | 1177213.8609 | 2751577.4449 | 1177212.2249
22 | 2751577.4449 | 1177212.2249 | 2751369.5262 | 1177223.0999
23 | 2751356.1225 | 1177209.8823 | 2751369.5262 | 1177223.0999
24 | 2752042.7913 | 1176838.9944 | 2752050.8547 | 1176800.8673
25 | 2752054.9839 | 1176802.084 | 2752050.8547 | 1176800.8673
26 | 2752028.2749 | 1176680.1623 | 2752022.5985 | 1176681.4528 | 2752018.2895 | 1176687.6265 | 2752009.3193 | 1176703.6124 | 2751997.3312 | 1176721.6013 | 2751992.1173 | 1176729.0865 | 2751979.7839 | 1176744.1087 | 2751974.0558 | 1176747.7444 | 2751968.9099 | 1176749.7724
27 | 2752054.9839 | 1176802.084 | 2752057.2978 | 1176802.8099
28 | 2752054.9839 | 1176802.084 | 2752057.0334 | 1176794.0707
29 | 2752064.7338 | 1176847.3129 | 2752058.1998 | 1176810.3612 | 2752057.2978 | 1176802.8099
30 | 2752085.9117 | 1176813.7219 | 2752083.3792 | 1176812.5679 | 2752065.0439 | 1176805.8421 | 2752057.2978 | 1176802.8099
31 | 2752063.6468 | 1176759.9244 | 2752063.057 | 1176763.2788 | 2752063.4643 | 1176768.9272 | 2752057.0334 | 1176794.0707
32 | 2752145.8185 | 1176958.0572 | 2752156.6578 | 1176970.8786 | 2752161.1366 | 1176977.898 | 2752163.7106 | 1176984.9469 | 2752166.7007 | 1176996.5772
33 | 2752145.8185 | 1176958.0572 | 2752165.2718 | 1176950.7579
34 | 2752145.8185 | 1176958.0572 | 2752143.9919 | 1176955.8966
35 | 2752098.7947 | 1176733.8386 | 2752097.2816 | 1176748.3674 | 2752097.3739 | 1176766.6467
36 | 2752097.3739 | 1176766.6467 | 2752097.406 | 1176773.0019 | 2752097.7694 | 1176786.4111
37 | 2752092.5625 | 1176801.059 | 2752096.5343 | 1176793.4967 | 2752097.7694 | 1176786.4111 | 2752097.7694 | 1176786.4111
38 | 2752284.0213 | 1176699.7738 | 2752275.9026 | 1176736.2939
39 | 2752250.2616 | 1176831.2379 | 2752252.3261 | 1176827.3315 | 2752270.5351 | 1176760.4383 | 2752275.9026 | 1176736.2939
40 | 2752219.1673 | 1176822.5529 | 2752234.6382 | 1176830.9523 | 2752241.5398 | 1176833.5073 | 2752245.379 | 1176833.4936 | 2752248.1691 | 1176832.6304 | 2752250.2616 | 1176831.2379
41 | 2752147.3802 | 1176750.3756 | 2752149.2662 | 1176747.796 | 2752150.047 | 1176746.1407
42 | 2752142.9285 | 1176756.4647 | 2752147.3802 | 1176750.3756
43 | 2752150.047 | 1176746.1407 | 2752154.9499 | 1176735.746
44 | 2752154.9499 | 1176735.746 | 2752157.4452 | 1176730.4558 | 2752159.1935 | 1176728.2074
45 | 2752172.3907 | 1176713.8048 | 2752163.5165 | 1176722.6477 | 2752159.1935 | 1176728.2074
46 | 2752172.3907 | 1176713.8048 | 2752183.366 | 1176702.8682 | 2752186.1782 | 1176699.6588
47 | 2752213.0878 | 1176668.9497 | 2752186.1782 | 1176699.6588
48 | 2752213.0878 | 1176668.9497 | 2752221.573 | 1176686.8464 | 2752223.4882 | 1176690.9316
49 | 2752239.0575 | 1176754.2154 | 2752240.5601 | 1176748.9238 | 2752242.0101 | 1176736.9952 | 2752239.0708 | 1176724.1544 | 2752236.1877 | 1176718.0076
50 | 2752236.0283 | 1176764.883 | 2752239.0575 | 1176754.2154
51 | 2752228.875 | 1176702.4165 | 2752236.1877 | 1176718.0076
52 | 2752232.9261 | 1176775.8078 | 2752236.0283 | 1176764.883
53 | 2752223.4882 | 1176690.9316 | 2752228.875 | 1176702.4165
54 | 2752092.5625 | 1176801.059 | 2752091.8568 | 1176802.4027
55 | 2752232.9261 | 1176775.8078 | 2752232.5039 | 1176777.2979
56 | 2752232.9261 | 1176775.8078 | 2752229.6388 | 1176774.8681 | 2752226.7653 | 1176774.7951 | 2752208.5689 | 1176780.6717 | 2752208.4164 | 1176780.7491
57 | 2752085.9117 | 1176813.7219 | 2752091.8568 | 1176802.4027
58 | 2752224.7374 | 1176803.7651 | 2752230.7674 | 1176783.426 | 2752232.5039 | 1176777.2979
59 | 2752219.1673 | 1176822.5529 | 2752224.7374 | 1176803.7651
60 | 2752188.9557 | 1176793.2601 | 2752190.5967 | 1176791.3771
61 | 2752176.4004 | 1176807.6669 | 2752188.9557 | 1176793.2601
62 | 2752190.5967 | 1176791.3771 | 2752193.0593 | 1176788.5514 | 2752208.4164 | 1176780.7491
63 | 2752085.9117 | 1176813.7219 | 2752096.1545 | 1176819.6198 | 2752102.4166 | 1176829.2976 | 2752102.769 | 1176833.6118
64 | 2752063.6468 | 1176759.9244 | 2752063.7917 | 1176756.6253 | 2752063.3794 | 1176755.7412
65 | 2752102.769 | 1176833.6118 | 2752103.0432 | 1176836.9672
66 | 2752103.0432 | 1176836.9672 | 2752104.0526 | 1176849.3231
67 | 2752105.8896 | 1176865.7732 | 2752104.7681 | 1176858.081 | 2752104.0526 | 1176849.3231
68 | 2752219.1673 | 1176822.5529 | 2752216.0935 | 1176833.4098
69 | 2752213.0543 | 1176841.5169 | 2752215.1099 | 1176836.884 | 2752216.0935 | 1176833.4098
70 | 2752105.8896 | 1176865.7732 | 2752106.7361 | 1176871.5787
71 | 2752198.8828 | 1176868.7782 | 2752208.7426 | 1176851.2343 | 2752213.0543 | 1176841.5169
72 | 2752111.6272 | 1176888.9133 | 2752107.4451 | 1176876.4417 | 2752106.7361 | 1176871.5787
73 | 2752184.6565 | 1176892.2357 | 2752192.8452 | 1176879.521 | 2752198.8828 | 1176868.7782
74 | 2752111.6272 | 1176888.9133 | 2752114.0929 | 1176896.2665
75 | 2752114.0929 | 1176896.2665 | 2752120.9976 | 1176916.8576
76 | 2752120.9976 | 1176916.8576 | 2752122.6656 | 1176921.8317 | 2752125.1499 | 1176926.175
77 | 2752134.0744 | 1176941.7774 | 2752125.1499 | 1176926.175
78 | 2752179.2016 | 1176900.7054 | 2752184.6565 | 1176892.2357
79 | 2752134.0744 | 1176941.7774 | 2752138.2982 | 1176949.1618 | 2752143.9919 | 1176955.8966
80 | 2752179.2016 | 1176900.7054 | 2752176.3982 | 1176905.0583 | 2752174.6103 | 1176907.3714
81 | 2752169.9364 | 1176913.4182 | 2752174.6103 | 1176907.3714
82 | 2752169.9364 | 1176913.4182 | 2752166.7205 | 1176917.5787 | 2752166.0687 | 1176918.2788
83 | 2752165.2718 | 1176950.7579 | 2752159.0009 | 1176927.0685 | 2752160.5809 | 1176924.1729 | 2752166.0687 | 1176918.2788

## bus_geodata
| x | y | coords
0 | 2752000.7145 | 1176837.8727
1 | 2751995.7651 | 1176866.9744
2 | 2752004.7185 | 1176813.8074
3 | 2751992.3426 | 1176885.8652
4 | 2752008.8893 | 1176789.9394
5 | 2751952.6337 | 1177105.0408
6 | 2752034.482 | 1176796.6038
7 | 2752012.1627 | 1176771.393
8 | 2751930.956 | 1177111.6528
9 | 2751792.9399 | 1177188.7007
10 | 2751803.5687 | 1177213.1564
11 | 2751828.3084 | 1177235.6788
12 | 2751898.7566 | 1177326.7815
13 | 2751714.608 | 1177353.9777
14 | 2751583.7123 | 1177254.0805
15 | 2751795.5926 | 1177485.8571
16 | 2751663.4476 | 1176894.2057
17 | 2751604.5162 | 1177231.2048
18 | 2751577.4449 | 1177212.2249
19 | 2751369.5262 | 1177223.0999
20 | 2751356.1225 | 1177209.8823
21 | 2752050.8547 | 1176800.8673
22 | 2752028.2749 | 1176680.1623
23 | 2752042.7913 | 1176838.9944
24 | 2752054.9839 | 1176802.084
25 | 2751968.9099 | 1176749.7724
26 | 2752057.2978 | 1176802.8099
27 | 2752057.0334 | 1176794.0707
28 | 2751762.4211 | 1177580.2991
29 | 2751885.4788 | 1177392.7109
30 | 2752166.7007 | 1176996.5772
31 | 2752145.8185 | 1176958.0572
32 | 2752098.7947 | 1176733.8386
33 | 2752097.3739 | 1176766.6467
34 | 2752097.7694 | 1176786.4111
35 | 2752275.9026 | 1176736.2939
36 | 2752284.0213 | 1176699.7738
37 | 2752250.2616 | 1176831.2379
38 | 2752147.3802 | 1176750.3756
39 | 2752150.047 | 1176746.1407
40 | 2752142.9285 | 1176756.4647
41 | 2752154.9499 | 1176735.746
42 | 2752159.1935 | 1176728.2074
43 | 2752172.3907 | 1176713.8048
44 | 2752186.1782 | 1176699.6588
45 | 2752213.0878 | 1176668.9497
46 | 2752239.0575 | 1176754.2154
47 | 2752236.1877 | 1176718.0076
48 | 2752236.0283 | 1176764.883
49 | 2752223.4882 | 1176690.9316
50 | 2752228.875 | 1176702.4165
51 | 2752092.5625 | 1176801.059
52 | 2752232.9261 | 1176775.8078
53 | 2752091.8568 | 1176802.4027
54 | 2752232.5039 | 1176777.2979
55 | 2752224.7374 | 1176803.7651
56 | 2752188.9557 | 1176793.2601
57 | 2752190.5967 | 1176791.3771
58 | 2752176.4004 | 1176807.6669
59 | 2752208.4164 | 1176780.7491
60 | 2752085.9117 | 1176813.7219
61 | 2752063.3794 | 1176755.7412
62 | 2752063.6468 | 1176759.9244
63 | 2752064.7338 | 1176847.3129
64 | 2752102.769 | 1176833.6118
65 | 2752103.0432 | 1176836.9672
66 | 2752104.0526 | 1176849.3231
67 | 2752219.1673 | 1176822.5529
68 | 2752216.0935 | 1176833.4098
69 | 2752105.8896 | 1176865.7732
70 | 2752213.0543 | 1176841.5169
71 | 2752106.7361 | 1176871.5787
72 | 2752198.8828 | 1176868.7782
73 | 2752111.6272 | 1176888.9133
74 | 2752114.0929 | 1176896.2665
75 | 2752120.9976 | 1176916.8576
76 | 2752125.1499 | 1176926.175
77 | 2752184.6565 | 1176892.2357
78 | 2752134.0744 | 1176941.7774
79 | 2752179.2016 | 1176900.7054
80 | 2752143.9919 | 1176955.8966
81 | 2752174.6103 | 1176907.3714
82 | 2752169.9364 | 1176913.4182
83 | 2752166.0687 | 1176918.2788
84 | 2752165.2718 | 1176950.7579
85 | 2752085.9117 | 1176813.7219

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1