## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3669-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3669-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3669-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3669-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3669-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3669-1_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3669-1_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3669-1_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3669-1_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3669-1_0_2_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_3669-1_0_2_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_3669-1_0_2_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_3669-1_0_2_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_3669-1_0_2_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_3669-1_0_2_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_3669-1_0_2_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_3669-1_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3669-1_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3669-1_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3669-1_0_2_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_3669-1_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3669-1_0_2_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_3669-1_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_3669-1_0_2_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_3669-1_0_2_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_3669-1_0_2_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_3669-1_0_2_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_3669-1_0_2_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_3669-1_0_2_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_3669-1_0_2_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_3669-1_0_2_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_3669-1_0_2_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_3669-1_0_2_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_3669-1_0_2_node_154 | 0.4 | n |  | TRUE
34 | bus_LV_3669-1_0_2_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_3669-1_0_2_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_3669-1_0_2_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_3669-1_0_2_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_3669-1_0_2_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_3669-1_0_2_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_3669-1_0_2_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_3669-1_0_2_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_3669-1_0_2_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_3669-1_0_2_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_3669-1_0_2_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_3669-1_0_2_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_3669-1_0_2_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_3669-1_0_2_node_155 | 0.4 | n |  | TRUE
48 | bus_LV_3669-1_0_2_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_3669-1_0_2_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_3669-1_0_2_node_15 | 0.4 | n |  | TRUE
51 | bus_LV_3669-1_0_2_node_20 | 0.4 | n |  | TRUE
52 | bus_LV_3669-1_0_2_node_21 | 0.4 | n |  | TRUE
53 | bus_LV_3669-1_0_2_node_93 | 0.4 | n |  | TRUE
54 | bus_LV_3669-1_0_2_node_89 | 0.4 | n |  | TRUE
55 | bus_LV_3669-1_0_2_node_91 | 0.4 | n |  | TRUE
56 | bus_LV_3669-1_0_2_node_88 | 0.4 | n |  | TRUE
57 | bus_LV_3669-1_0_2_node_29 | 0.4 | n |  | TRUE
58 | bus_LV_3669-1_0_2_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_3669-1_0_2_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_3669-1_0_2_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_3669-1_0_2_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_3669-1_0_2_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_3669-1_0_2_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_3669-1_0_2_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_3669-1_0_2_node_156 | 0.4 | n |  | TRUE
66 | bus_LV_3669-1_0_2_node_86 | 0.4 | n |  | TRUE
67 | bus_LV_3669-1_0_2_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_3669-1_0_2_node_80 | 0.4 | n |  | TRUE
69 | bus_LV_3669-1_0_2_node_111 | 0.4 | n |  | TRUE
70 | bus_LV_3669-1_0_2_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_3669-1_0_2_node_108 | 0.4 | n |  | TRUE
72 | bus_LV_3669-1_0_2_node_106 | 0.4 | n |  | TRUE
73 | bus_LV_3669-1_0_2_node_83 | 0.4 | n |  | TRUE
74 | bus_LV_3669-1_0_2_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_3669-1_0_2_node_87 | 0.4 | n |  | TRUE
76 | bus_LV_3669-1_0_2_node_90 | 0.4 | n |  | TRUE
77 | bus_LV_3669-1_0_2_node_92 | 0.4 | n |  | TRUE
78 | bus_LV_3669-1_0_2_node_94 | 0.4 | n |  | TRUE
79 | bus_LV_3669-1_0_2_node_95 | 0.4 | n |  | TRUE
80 | bus_LV_3669-1_0_2_node_96 | 0.4 | n |  | TRUE
81 | bus_LV_3669-1_0_2_node_97 | 0.4 | n |  | TRUE
82 | bus_LV_3669-1_0_2_node_98 | 0.4 | n |  | TRUE
83 | bus_LV_3669-1_0_2_node_99 | 0.4 | n |  | TRUE
84 | bus_LV_3669-1_0_2_node_100 | 0.4 | n |  | TRUE
85 | bus_LV_3669-1_0_2_node_104 | 0.4 | n |  | TRUE
86 | bus_LV_3669-1_0_2_node_101 | 0.4 | n |  | TRUE
87 | bus_LV_3669-1_0_2_node_102 | 0.4 | n |  | TRUE
88 | bus_LV_3669-1_0_2_node_103 | 0.4 | n |  | TRUE
89 | bus_LV_3669-1_0_2_node_105 | 0.4 | n |  | TRUE
90 | bus_LV_3669-1_0_2_node_107 | 0.4 | n |  | TRUE
91 | bus_LV_3669-1_0_2_node_109 | 0.4 | n |  | TRUE
92 | bus_LV_3669-1_0_2_node_110 | 0.4 | n |  | TRUE
93 | bus_MV_163_0_node_173 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3669-1_0_2_load_0 | 0 | 0.0056054 | 0.0014048 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3669-1_0_2_load_1 | 1 | 0.0023235 | 0.00058233 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3669-1_0_2_load_3 | 3 | 0.0018663 | 0.00046773 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3669-1_0_2_load_4 | 4 | 0.0017199 | 0.00043105 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3669-1_0_2_load_6 | 6 | 0.0014831 | 0.00037169 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3669-1_0_2_load_8 | 8 | 0.0010713 | 0.0002685 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3669-1_0_2_load_12 | 10 | 0.0065751 | 0.0016479 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3669-1_0_2_load_13 | 11 | 0.0011292 | 0.000283 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3669-1_0_2_load_17 | 13 | 0.0016904 | 0.00042365 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3669-1_0_2_load_46 | 14 | 0.00040317 | 0.00010104 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3669-1_0_2_load_57 | 15 | 0.000985 | 0.00024686 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3669-1_0_2_load_10 | 17 | 0.0011856 | 0.00029714 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3669-1_0_2_load_11 | 18 | 0.0042928 | 0.0010759 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3669-1_0_2_load_22 | 19 | 0.00045937 | 0.00011513 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3669-1_0_2_load_16 | 20 | 0.0025338 | 0.00063503 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3669-1_0_2_load_23 | 21 | 0.0014912 | 0.00037374 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3669-1_0_2_load_14 | 22 | 0.0022812 | 0.00057173 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3669-1_0_2_load_32 | 23 | 0.00081467 | 0.00020418 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3669-1_0_2_load_33 | 24 | 0.0001439 | 3.6065e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3669-1_0_2_load_31 | 25 | 0.000519 | 0.00013007 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3669-1_0_2_load_34 | 27 | 0.0011281 | 0.00028273 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3669-1_0_2_load_35 | 28 | 0.00039487 | 9.8963e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3669-1_0_2_load_30 | 29 | 0.0011508 | 0.00028841 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3669-1_0_2_load_36 | 30 | 0.00014715 | 3.688e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3669-1_0_2_load_38 | 32 | 0.00024053 | 6.0282e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3669-1_0_2_load_154 | 33 | 0.00016978 | 4.2551e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3669-1_0_2_load_40 | 34 | 0.00035093 | 8.7952e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3669-1_0_2_load_43 | 35 | 0.00064126 | 0.00016071 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3669-1_0_2_load_41 | 36 | 0.00026124 | 6.5472e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3669-1_0_2_load_42 | 37 | 0.00040482 | 0.00010146 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3669-1_0_2_load_49 | 40 | 0.000201 | 5.0375e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3669-1_0_2_load_50 | 41 | 0.00067265 | 0.00016858 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3669-1_0_2_load_51 | 42 | 0.00014279 | 3.5787e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3669-1_0_2_load_53 | 44 | 0.00029659 | 7.4332e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3669-1_0_2_load_54 | 45 | 0.00015886 | 3.9813e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3669-1_0_2_load_155 | 47 | 0.00020682 | 5.1834e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3669-1_0_2_load_56 | 48 | 0.00022989 | 5.7617e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3669-1_0_2_load_58 | 49 | 0.0011726 | 0.00029388 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3669-1_0_2_load_15 | 50 | 0.0026496 | 0.00066406 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3669-1_0_2_load_20 | 51 | 0.0011161 | 0.00027973 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3669-1_0_2_load_21 | 52 | 0.0018657 | 0.0004676 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3669-1_0_2_load_93 | 53 | 0.0071826 | 0.0018001 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3669-1_0_2_load_89 | 54 | 0.0013279 | 0.00033279 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3669-1_0_2_load_91 | 55 | 0.0010905 | 0.00027332 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3669-1_0_2_load_88 | 56 | 0.0012521 | 0.00031382 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3669-1_0_2_load_29 | 57 | 0.00226 | 0.0005664 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3669-1_0_2_load_61 | 58 | 0.0015597 | 0.00039091 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3669-1_0_2_load_60 | 59 | 0.0010312 | 0.00025843 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3669-1_0_2_load_44 | 60 | 0.00045807 | 0.0001148 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3669-1_0_2_load_62 | 62 | 0.0025935 | 0.00065 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3669-1_0_2_load_59 | 63 | 0.0008553 | 0.00021436 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3669-1_0_2_load_63 | 64 | 0.00076772 | 0.00019241 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3669-1_0_2_load_156 | 65 | 0.00064075 | 0.00016059 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3669-1_0_2_load_86 | 66 | 0.0030016 | 0.00075226 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3669-1_0_2_load_84 | 67 | 0.0031806 | 0.00079714 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3669-1_0_2_load_80 | 68 | 0.0010002 | 0.00025067 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3669-1_0_2_load_111 | 69 | 0.004812 | 0.001206 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3669-1_0_2_load_108 | 71 | 0.0024973 | 0.00062589 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3669-1_0_2_load_106 | 72 | 0.0037334 | 0.00093569 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3669-1_0_2_load_83 | 73 | 0.0020583 | 0.00051586 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3669-1_0_2_load_85 | 74 | 0.001538 | 0.00038546 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3669-1_0_2_load_87 | 75 | 0.0078817 | 0.0019753 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3669-1_0_2_load_90 | 76 | 0.001013 | 0.00025389 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3669-1_0_2_load_92 | 77 | 0.0012613 | 0.00031612 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3669-1_0_2_load_94 | 78 | 0.0012685 | 0.00031791 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3669-1_0_2_load_96 | 80 | 0.001803 | 0.00045189 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3669-1_0_2_load_97 | 81 | 0.0024634 | 0.00061739 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3669-1_0_2_load_98 | 82 | 0.0013346 | 0.00033447 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3669-1_0_2_load_99 | 83 | 0.0023501 | 0.00058899 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3669-1_0_2_load_100 | 84 | 0.0010171 | 0.00025491 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3669-1_0_2_load_101 | 86 | 0.00088812 | 0.00022258 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3669-1_0_2_load_102 | 87 | 0.0023953 | 0.00060032 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3669-1_0_2_load_103 | 88 | 0.0037245 | 0.00093345 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3669-1_0_2_load_105 | 89 | 0.0041719 | 0.0010456 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3669-1_0_2_load_107 | 90 | 0.0025478 | 0.00063854 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3669-1_0_2_load_109 | 91 | 0.003888 | 0.00097442 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3669-1_0_2_load_110 | 92 | 0.0019952 | 0.00050004 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3669-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.025931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3669-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3669-1_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.035935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3669-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.024924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3669-1_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.028414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3669-1_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.030408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3669-1_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.037947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3669-1_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.038424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3669-1_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.021959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3669-1_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.045633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3669-1_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.043811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3669-1_0_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.040031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3669-1_0_2_line_12 | NAYY 4x150 SE | 9 | 13 | 0.0079493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3669-1_0_2_line_13 | NAYY 4x150 SE | 10 | 14 | 0.10328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3669-1_0_2_line_14 | NAYY 4x150 SE | 11 | 15 | 0.021884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3669-1_0_2_line_15 | NAYY 4x150 SE | 12 | 51 | 0.032607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3669-1_0_2_line_16 | NAYY 4x150 SE | 12 | 52 | 0.023371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3669-1_0_2_line_17 | NAYY 4x150 SE | 13 | 50 | 0.021472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3669-1_0_2_line_18 | NAYY 4x150 SE | 14 | 39 | 0.051501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3669-1_0_2_line_19 | NAYY 4x150 SE | 15 | 49 | 0.0026531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3669-1_0_2_line_20 | NAYY 4x150 SE | 16 | 17 | 0.06457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3669-1_0_2_line_21 | NAYY 4x150 SE | 16 | 18 | 0.035835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3669-1_0_2_line_22 | NAYY 4x150 SE | 17 | 19 | 0.23995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3669-1_0_2_line_23 | NAYY 4x150 SE | 18 | 20 | 0.044951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3669-1_0_2_line_24 | NAYY 4x150 SE | 19 | 21 | 0.052016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3669-1_0_2_line_25 | NAYY 4x150 SE | 20 | 22 | 0.0054724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3669-1_0_2_line_26 | NAYY 4x150 SE | 22 | 50 | 0.02475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3669-1_0_2_line_27 | NAYY 4x150 SE | 23 | 24 | 0.017515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3669-1_0_2_line_28 | NAYY 4x150 SE | 23 | 25 | 0.069713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3669-1_0_2_line_29 | NAYY 4x150 SE | 24 | 26 | 0.026077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3669-1_0_2_line_30 | NAYY 4x150 SE | 26 | 34 | 0.033079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3669-1_0_2_line_31 | NAYY 4x150 SE | 26 | 31 | 0.009028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3669-1_0_2_line_32 | NAYY 4x150 SE | 27 | 28 | 0.14882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3669-1_0_2_line_33 | NAYY 4x150 SE | 27 | 29 | 0.20039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3669-1_0_2_line_34 | NAYY 4x150 SE | 28 | 30 | 0.015579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3669-1_0_2_line_35 | NAYY 4x150 SE | 29 | 57 | 0.017654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3669-1_0_2_line_36 | NAYY 4x150 SE | 30 | 31 | 0.10039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3669-1_0_2_line_37 | NAYY 4x150 SE | 31 | 32 | 0.11599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3669-1_0_2_line_38 | NAYY 4x150 SE | 32 | 33 | 0.27301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3669-1_0_2_line_39 | NAYY 4x150 SE | 33 | 47 | 0.18239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3669-1_0_2_line_40 | NAYY 4x150 SE | 33 | 48 | 0.11846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3669-1_0_2_line_41 | NAYY 4x150 SE | 34 | 35 | 0.047497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3669-1_0_2_line_42 | NAYY 4x150 SE | 36 | 37 | 0.043895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3669-1_0_2_line_43 | NAYY 4x150 SE | 37 | 38 | 0.0099624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3669-1_0_2_line_44 | NAYY 4x150 SE | 38 | 41 | 0.018181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3669-1_0_2_line_45 | NAYY 4x150 SE | 38 | 39 | 0.023524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3669-1_0_2_line_46 | NAYY 4x150 SE | 39 | 40 | 0.02299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3669-1_0_2_line_47 | NAYY 4x150 SE | 40 | 42 | 0.015622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3669-1_0_2_line_48 | NAYY 4x150 SE | 41 | 43 | 0.0084769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3669-1_0_2_line_49 | NAYY 4x150 SE | 43 | 44 | 0.037898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3669-1_0_2_line_50 | NAYY 4x150 SE | 44 | 45 | 0.084426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3669-1_0_2_line_51 | NAYY 4x150 SE | 45 | 46 | 0.16929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3669-1_0_2_line_52 | NAYY 4x150 SE | 46 | 48 | 0.006019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3669-1_0_2_line_53 | NAYY 4x150 SE | 46 | 65 | 0.20341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3669-1_0_2_line_54 | NAYY 4x150 SE | 49 | 64 | 0.0035259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3669-1_0_2_line_55 | NAYY 4x150 SE | 51 | 53 | 0.019106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3669-1_0_2_line_56 | NAYY 4x150 SE | 52 | 54 | 0.034186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3669-1_0_2_line_57 | NAYY 4x150 SE | 53 | 55 | 0.063933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3669-1_0_2_line_58 | NAYY 4x150 SE | 54 | 56 | 0.039104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3669-1_0_2_line_59 | NAYY 4x150 SE | 55 | 76 | 0.0057991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3669-1_0_2_line_60 | NAYY 4x150 SE | 56 | 75 | 0.0094911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3669-1_0_2_line_61 | NAYY 4x150 SE | 58 | 59 | 0.0046671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3669-1_0_2_line_62 | NAYY 4x150 SE | 59 | 63 | 0.079012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3669-1_0_2_line_63 | NAYY 4x150 SE | 60 | 61 | 0.028136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3669-1_0_2_line_64 | NAYY 4x150 SE | 61 | 62 | 0.0085147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3669-1_0_2_line_65 | NAYY 4x150 SE | 61 | 63 | 0.016985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3669-1_0_2_line_66 | NAYY 4x150 SE | 62 | 64 | 0.0029829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3669-1_0_2_line_67 | NAYY 4x150 SE | 66 | 67 | 0.011241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3669-1_0_2_line_68 | NAYY 4x150 SE | 67 | 73 | 0.0035447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3669-1_0_2_line_69 | NAYY 4x150 SE | 68 | 69 | 0.094167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3669-1_0_2_line_70 | NAYY 4x150 SE | 69 | 70 | 0.051202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3669-1_0_2_line_71 | NAYY 4x150 SE | 70 | 71 | 0.11216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3669-1_0_2_line_72 | NAYY 4x150 SE | 71 | 72 | 0.032929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3669-1_0_2_line_73 | NAYY 4x150 SE | 72 | 85 | 0.1046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3669-1_0_2_line_74 | NAYY 4x150 SE | 73 | 74 | 0.03065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3669-1_0_2_line_75 | NAYY 4x150 SE | 74 | 75 | 0.0011059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3669-1_0_2_line_76 | NAYY 4x150 SE | 76 | 77 | 0.0051134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3669-1_0_2_line_77 | NAYY 4x150 SE | 77 | 78 | 0.015222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3669-1_0_2_line_78 | NAYY 4x150 SE | 78 | 79 | 0.057167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3669-1_0_2_line_79 | NAYY 4x150 SE | 79 | 80 | 0.021953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3669-1_0_2_line_80 | NAYY 4x150 SE | 79 | 81 | 0.011259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3669-1_0_2_line_81 | NAYY 4x150 SE | 80 | 82 | 0.022119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3669-1_0_2_line_82 | NAYY 4x150 SE | 81 | 83 | 0.01846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3669-1_0_2_line_83 | NAYY 4x150 SE | 82 | 84 | 0.027563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3669-1_0_2_line_84 | NAYY 4x150 SE | 83 | 85 | 0.0078526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3669-1_0_2_line_85 | NAYY 4x150 SE | 84 | 86 | 0.036191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3669-1_0_2_line_86 | NAYY 4x150 SE | 85 | 87 | 0.0064936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3669-1_0_2_line_87 | NAYY 4x150 SE | 87 | 88 | 0.026162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3669-1_0_2_line_88 | NAYY 4x150 SE | 88 | 89 | 0.024339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3669-1_0_2_line_89 | NAYY 4x150 SE | 89 | 90 | 0.017066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3669-1_0_2_line_90 | NAYY 4x150 SE | 90 | 91 | 0.0080286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3669-1_0_2_line_91 | NAYY 4x150 SE | 91 | 92 | 0.0039853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3669-1_0_2_trafo_6 | 0.25 MVA 20/0.4 kV | 93 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2748047.6473 | 1172392.2615 | 2748039.7176 | 1172392.818 | 2748021.7954 | 1172391.3563
1 | 2748059.7635 | 1172391.4111 | 2748047.6473 | 1172392.2615
2 | 2748059.7635 | 1172391.4111 | 2748062.6731 | 1172395.375 | 2748065.3446 | 1172404.0256 | 2748062.5347 | 1172410.5949 | 2748055.4437 | 1172414.2007 | 2748055.3057 | 1172421.0634
3 | 2748059.7635 | 1172391.4111 | 2748083.4461 | 1172383.6424
4 | 2748066.2665 | 1172445.7374 | 2748055.1069 | 1172430.9503 | 2748055.3057 | 1172421.0634
5 | 2748083.4461 | 1172383.6424 | 2748090.0292 | 1172381.4829 | 2748112.369 | 1172374.2571
6 | 2748029.3843 | 1172447.1958 | 2748034.3677 | 1172449.2981 | 2748052.9641 | 1172450.1796 | 2748066.2665 | 1172445.7374
7 | 2748066.2665 | 1172445.7374 | 2748068.9738 | 1172456.0346 | 2748087.6308 | 1172466.2474 | 2748092.2927 | 1172470.7881
8 | 2748133.935 | 1172370.1791 | 2748113.6342 | 1172373.8479 | 2748112.369 | 1172374.2571
9 | 2747992.3025 | 1172471.946 | 2747995.8928 | 1172465.6851 | 2748001.381 | 1172461.9062 | 2748019.2093 | 1172454.5286 | 2748029.3843 | 1172447.1958
10 | 2748092.2927 | 1172470.7881 | 2748095.8657 | 1172474.2681 | 2748110.3682 | 1172499.0124 | 2748113.2685 | 1172508.7314
11 | 2748133.935 | 1172370.1791 | 2748140.1535 | 1172368.4422 | 2748149.5525 | 1172365.2716 | 2748157.5273 | 1172358.107 | 2748163.6418 | 1172346.6376
12 | 2748133.935 | 1172370.1791 | 2748138.8076 | 1172376.4599
13 | 2747992.3025 | 1172471.946 | 2747901.6655 | 1172422.4415
14 | 2748119.2193 | 1172529.7839 | 2748117.9235 | 1172524.3302 | 2748113.2685 | 1172508.7314
15 | 2748163.6418 | 1172346.6376 | 2748179.9135 | 1172326.0893 | 2748183.2555 | 1172320.6354
16 | 2748163.6418 | 1172346.6376 | 2748154.7267 | 1172335.7866 | 2748147.2105 | 1172330.2634
17 | 2748159.0983 | 1172382.4576 | 2748158.0954 | 1172381.5844 | 2748150.0481 | 1172378.0496 | 2748138.8076 | 1172376.4599 | 2748138.8076 | 1172376.4599
18 | 2747876.7514 | 1172400.8753 | 2747877.8651 | 1172406.296 | 2747886.3482 | 1172409.5409 | 2747903.032 | 1172415.0674 | 2747908.9722 | 1172417.4712 | 2747910.8076 | 1172418.7619 | 2747910.1424 | 1172420.6025 | 2747906.4733 | 1172421.0569 | 2747901.6655 | 1172422.4415
19 | 2748119.2193 | 1172529.7839 | 2748119.8326 | 1172532.3651
20 | 2748181.2165 | 1172484.0151 | 2748203.4989 | 1172492.7387 | 2748211.7865 | 1172499.8601 | 2748217.3281 | 1172505.6905 | 2748221.4613 | 1172511.2303 | 2748225.0666 | 1172517.6912 | 2748227.7593 | 1172524.5409 | 2748227.7593 | 1172524.5409
21 | 2748181.2165 | 1172484.0151 | 2748183.7184 | 1172468.8535 | 2748179.7599 | 1172448.772
22 | 2748227.7593 | 1172524.5409 | 2748369.1 | 1172718.4485
23 | 2748179.9639 | 1172403.9865 | 2748179.8806 | 1172419.4413 | 2748178.4957 | 1172442.3589 | 2748179.7599 | 1172448.772
24 | 2748419.9325 | 1172726.1728 | 2748412.7196 | 1172725.127 | 2748404.7816 | 1172724.6193 | 2748389.9247 | 1172724.4853 | 2748381.3881 | 1172723.429 | 2748373.5011 | 1172720.8654 | 2748369.1 | 1172718.4485
25 | 2748176.9585 | 1172399.4132 | 2748179.9639 | 1172403.9865 | 2748179.9639 | 1172403.9865
26 | 2748176.9585 | 1172399.4132 | 2748174.8012 | 1172396.1305 | 2748159.0983 | 1172382.4576
27 | 2747596.3324 | 1172640.1618 | 2747581.1564 | 1172648.9064
28 | 2747581.1564 | 1172648.9064 | 2747565.9139 | 1172657.6893 | 2747559.8085 | 1172670.7164 | 2747558.672 | 1172683.3208 | 2747563.815 | 1172707.8664
29 | 2747611.8404 | 1172620.7331 | 2747608.1384 | 1172631.5507 | 2747599.7102 | 1172638.2156 | 2747596.3324 | 1172640.1618
30 | 2747611.8404 | 1172620.7331 | 2747630.0905 | 1172643.7558 | 2747633.3476 | 1172645.5115
31 | 2747611.8404 | 1172620.7331 | 2747607.6449 | 1172612.7346
32 | 2747494.9416 | 1172622.3357 | 2747356.2296 | 1172676.2587
33 | 2747356.2296 | 1172676.2587 | 2747408.9817 | 1172869.5819
34 | 2747494.9416 | 1172622.3357 | 2747502.2638 | 1172623.7648 | 2747509.3383 | 1172625.4733 | 2747510.1789 | 1172625.4954
35 | 2747408.9817 | 1172869.5819 | 2747426.3961 | 1172872.4814
36 | 2747607.6449 | 1172612.7346 | 2747595.5136 | 1172617.1955 | 2747549.4967 | 1172625.4711 | 2747537.1611 | 1172620.8198 | 2747515.9455 | 1172625.6469 | 2747510.1789 | 1172625.4954
37 | 2747607.6449 | 1172612.7346 | 2747517.0799 | 1172567.0611 | 2747505.3631 | 1172558.4125
38 | 2747505.3631 | 1172558.4125 | 2747437.2448 | 1172294.0385
39 | 2747437.2448 | 1172294.0385 | 2747450.1013 | 1172112.107
40 | 2747437.2448 | 1172294.0385 | 2747464.8747 | 1172296.9067 | 2747501.6 | 1172299.055 | 2747522.9924 | 1172312.9138 | 2747551.3537 | 1172311.2806
41 | 2747633.3476 | 1172645.5115 | 2747648.3133 | 1172653.5785 | 2747667.3164 | 1172677.4299
42 | 2747852.8871 | 1172410.2192 | 2747852.7881 | 1172413.7511 | 2747851.6286 | 1172417.6368 | 2747845.1117 | 1172424.3483 | 2747845.224 | 1172428.1764 | 2747849.0801 | 1172432.2413 | 2747857.8462 | 1172442.9435 | 2747854.8837 | 1172444.5385 | 2747854.5642 | 1172444.5176
43 | 2747853.1664 | 1172400.2607 | 2747852.8871 | 1172410.2192
44 | 2747853.1664 | 1172400.2607 | 2747835.7331 | 1172405.4218
45 | 2747853.1664 | 1172400.2607 | 2747876.7514 | 1172400.8753
46 | 2747876.7514 | 1172400.8753 | 2747899.7338 | 1172401.4804
47 | 2747899.7338 | 1172401.4804 | 2747909.9261 | 1172401.7487 | 2747915.344 | 1172402.0405
48 | 2747827.7255 | 1172408.1962 | 2747834.0258 | 1172405.9273 | 2747835.7331 | 1172405.4218
49 | 2747827.7255 | 1172408.1962 | 2747789.9156 | 1172405.6157
50 | 2747711.3423 | 1172381.2865 | 2747737.7831 | 1172399.0195 | 2747773.1637 | 1172404.4723 | 2747789.9156 | 1172405.6157
51 | 2747711.3423 | 1172381.2865 | 2747557.3627 | 1172310.9346
52 | 2747557.3627 | 1172310.9346 | 2747551.3537 | 1172311.2806
53 | 2747557.3627 | 1172310.9346 | 2747662.3426 | 1172136.709
54 | 2748119.8326 | 1172532.3651 | 2748120.6477 | 1172535.7955 | 2748120.6477 | 1172535.7955
55 | 2748183.2555 | 1172320.6354 | 2748193.238 | 1172304.3451
56 | 2748113.4896 | 1172325.6167 | 2748117.1032 | 1172325.7059 | 2748130.86 | 1172326.4236 | 2748147.2105 | 1172330.2634 | 2748147.2105 | 1172330.2634
57 | 2748142.4891 | 1172281.9081 | 2748152.1637 | 1172285.2495 | 2748165.4821 | 1172285.1335 | 2748186.6205 | 1172289.7033 | 2748192.411 | 1172292.593 | 2748194.4145 | 1172296.9904 | 2748193.238 | 1172304.3451 | 2748193.238 | 1172304.3451
58 | 2748075.5645 | 1172317.006 | 2748090.4356 | 1172321.6115 | 2748105.2566 | 1172325.4134 | 2748113.4896 | 1172325.6167
59 | 2748138.2556 | 1172277.9449 | 2748142.4891 | 1172281.9081 | 2748142.4891 | 1172281.9081
60 | 2748066.4982 | 1172314.1983 | 2748075.5645 | 1172317.006
61 | 2748029.5675 | 1172587.7021 | 2748033.6561 | 1172585.4515
62 | 2748101.163 | 1172544.8666 | 2748089.658 | 1172554.624 | 2748033.6561 | 1172585.4515
63 | 2748117.946 | 1172546.9712 | 2748108.3978 | 1172573.438
64 | 2748117.946 | 1172546.9712 | 2748119.9468 | 1172538.6949
65 | 2748117.946 | 1172546.9712 | 2748108.8642 | 1172545.0567 | 2748101.163 | 1172544.8666 | 2748101.163 | 1172544.8666
66 | 2748119.9468 | 1172538.6949 | 2748120.6477 | 1172535.7955
67 | 2748020.3519 | 1172309.5848 | 2748031.5892 | 1172309.8621
68 | 2748035.1329 | 1172309.9495 | 2748031.5892 | 1172309.8621
69 | 2748482.9362 | 1172354.9761 | 2748541.1906 | 1172428.9619
70 | 2748478.1675 | 1172308.6431 | 2748477.1093 | 1172316.7679 | 2748478.874 | 1172320.2922 | 2748481.8673 | 1172323.6467 | 2748485.6971 | 1172326.5993 | 2748487.8671 | 1172330.1336 | 2748487.7508 | 1172334.8345 | 2748483.088 | 1172348.8416 | 2748482.9362 | 1172354.9761
71 | 2748478.1675 | 1172308.6431 | 2748469.3343 | 1172297.9049 | 2748456.3594 | 1172292.1795 | 2748440.218 | 1172291.3353 | 2748407.4873 | 1172297.231 | 2748393.1886 | 1172293.975 | 2748377.9315 | 1172281.0658
72 | 2748347.7214 | 1172269.0268 | 2748353.3295 | 1172269.7039 | 2748374.6816 | 1172278.3161 | 2748377.9315 | 1172281.0658
73 | 2748243.4783 | 1172260.9392 | 2748282.4118 | 1172262.9244 | 2748318.0032 | 1172265.4388 | 2748347.7214 | 1172269.0268
74 | 2748035.1329 | 1172309.9495 | 2748042.5232 | 1172310.1319 | 2748062.3436 | 1172312.9117 | 2748065.4418 | 1172313.8712
75 | 2748066.4982 | 1172314.1983 | 2748065.4418 | 1172313.8712
76 | 2748138.2556 | 1172277.9449 | 2748138.2556 | 1172277.9449 | 2748137.4928 | 1172272.8887
77 | 2748137.4928 | 1172272.8887 | 2748137.4928 | 1172272.8887 | 2748138.9458 | 1172268.2764 | 2748144.655 | 1172266.0932 | 2748148.9286 | 1172266.1039
78 | 2748205.9717 | 1172263.1485 | 2748201.3504 | 1172263.4235 | 2748169.2031 | 1172266.1546 | 2748148.9286 | 1172266.1039
79 | 2748205.9717 | 1172263.1485 | 2748199.5708 | 1172250.8917 | 2748197.1239 | 1172243.1437
80 | 2748205.9717 | 1172263.1485 | 2748217.2108 | 1172262.4865
81 | 2748197.1239 | 1172243.1437 | 2748196.9021 | 1172242.4413 | 2748194.9188 | 1172231.339 | 2748191.4571 | 1172221.8459
82 | 2748217.2108 | 1172262.4865 | 2748235.6393 | 1172261.401
83 | 2748170.9017 | 1172204.3322 | 2748177.6417 | 1172207.9938 | 2748186.3133 | 1172214.1461 | 2748191.4571 | 1172221.8459 | 2748191.4571 | 1172221.8459
84 | 2748243.4783 | 1172260.9392 | 2748235.6393 | 1172261.401
85 | 2748136.4173 | 1172195.7223 | 2748150.4324 | 1172196.0684 | 2748163.06 | 1172200.0721 | 2748170.9017 | 1172204.3322
86 | 2748243.4783 | 1172260.9392 | 2748246.7528 | 1172266.5468 | 2748246.7528 | 1172266.5468
87 | 2748246.7528 | 1172266.5468 | 2748251.3447 | 1172268.0836 | 2748257.7613 | 1172268.2422 | 2748265.8559 | 1172272.3454 | 2748271.0051 | 1172275.0717
88 | 2748271.0051 | 1172275.0717 | 2748276.4085 | 1172277.9327 | 2748280.587 | 1172281.9502 | 2748281.8516 | 1172288.3755 | 2748284.2133 | 1172293.7604 | 2748284.2133 | 1172293.7604
89 | 2748284.2133 | 1172293.7604 | 2748289.867 | 1172295.6793 | 2748300.9408 | 1172294.9929
90 | 2748300.9408 | 1172294.9929 | 2748306.284 | 1172294.6617 | 2748308.8436 | 1172295.4396
91 | 2748312.6567 | 1172296.5985 | 2748308.8436 | 1172295.4396

## bus_geodata
| x | y | coords
0 | 2748047.6473 | 1172392.2615
1 | 2748021.7954 | 1172391.3563
2 | 2748059.7635 | 1172391.4111
3 | 2748055.3057 | 1172421.0634
4 | 2748083.4461 | 1172383.6424
5 | 2748066.2665 | 1172445.7374
6 | 2748112.369 | 1172374.2571
7 | 2748029.3843 | 1172447.1958
8 | 2748092.2927 | 1172470.7881
9 | 2748133.935 | 1172370.1791
10 | 2747992.3025 | 1172471.946
11 | 2748113.2685 | 1172508.7314
12 | 2748163.6418 | 1172346.6376
13 | 2748138.8076 | 1172376.4599
14 | 2747901.6655 | 1172422.4415
15 | 2748119.2193 | 1172529.7839
16 | 2748181.2165 | 1172484.0151
17 | 2748227.7593 | 1172524.5409
18 | 2748179.7599 | 1172448.772
19 | 2748369.1 | 1172718.4485
20 | 2748179.9639 | 1172403.9865
21 | 2748419.9325 | 1172726.1728
22 | 2748176.9585 | 1172399.4132
23 | 2747581.1564 | 1172648.9064
24 | 2747596.3324 | 1172640.1618
25 | 2747563.815 | 1172707.8664
26 | 2747611.8404 | 1172620.7331
27 | 2747356.2296 | 1172676.2587
28 | 2747494.9416 | 1172622.3357
29 | 2747408.9817 | 1172869.5819
30 | 2747510.1789 | 1172625.4954
31 | 2747607.6449 | 1172612.7346
32 | 2747505.3631 | 1172558.4125
33 | 2747437.2448 | 1172294.0385
34 | 2747633.3476 | 1172645.5115
35 | 2747667.3164 | 1172677.4299
36 | 2747854.5642 | 1172444.5176
37 | 2747852.8871 | 1172410.2192
38 | 2747853.1664 | 1172400.2607
39 | 2747876.7514 | 1172400.8753
40 | 2747899.7338 | 1172401.4804
41 | 2747835.7331 | 1172405.4218
42 | 2747915.344 | 1172402.0405
43 | 2747827.7255 | 1172408.1962
44 | 2747789.9156 | 1172405.6157
45 | 2747711.3423 | 1172381.2865
46 | 2747557.3627 | 1172310.9346
47 | 2747450.1013 | 1172112.107
48 | 2747551.3537 | 1172311.2806
49 | 2748119.8326 | 1172532.3651
50 | 2748159.0983 | 1172382.4576
51 | 2748183.2555 | 1172320.6354
52 | 2748147.2105 | 1172330.2634
53 | 2748193.238 | 1172304.3451
54 | 2748113.4896 | 1172325.6167
55 | 2748142.4891 | 1172281.9081
56 | 2748075.5645 | 1172317.006
57 | 2747426.3961 | 1172872.4814
58 | 2748029.5675 | 1172587.7021
59 | 2748033.6561 | 1172585.4515
60 | 2748108.3978 | 1172573.438
61 | 2748117.946 | 1172546.9712
62 | 2748119.9468 | 1172538.6949
63 | 2748101.163 | 1172544.8666
64 | 2748120.6477 | 1172535.7955
65 | 2747662.3426 | 1172136.709
66 | 2748020.3519 | 1172309.5848
67 | 2748031.5892 | 1172309.8621
68 | 2748541.1906 | 1172428.9619
69 | 2748482.9362 | 1172354.9761
70 | 2748478.1675 | 1172308.6431
71 | 2748377.9314 | 1172281.0658
72 | 2748347.7214 | 1172269.0268
73 | 2748035.1329 | 1172309.9495
74 | 2748065.4418 | 1172313.8712
75 | 2748066.4982 | 1172314.1983
76 | 2748138.2556 | 1172277.9449
77 | 2748137.4928 | 1172272.8887
78 | 2748148.9286 | 1172266.1039
79 | 2748205.9717 | 1172263.1485
80 | 2748197.1239 | 1172243.1437
81 | 2748217.2108 | 1172262.4865
82 | 2748191.4571 | 1172221.8459
83 | 2748235.6393 | 1172261.401
84 | 2748170.9017 | 1172204.3322
85 | 2748243.4783 | 1172260.9392
86 | 2748136.4173 | 1172195.7223
87 | 2748246.7528 | 1172266.5468
88 | 2748271.0051 | 1172275.0717
89 | 2748284.2133 | 1172293.7604
90 | 2748300.9408 | 1172294.9929
91 | 2748308.8436 | 1172295.4396
92 | 2748312.6567 | 1172296.5985
93 | 2748133.935 | 1172370.1791

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1