## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3673-11_1_4_node_88 | 0.4 | n |  | TRUE
1 | bus_LV_3673-11_1_4_node_89 | 0.4 | n |  | TRUE
2 | bus_LV_3673-11_1_4_node_84 | 0.4 | n |  | TRUE
3 | bus_LV_3673-11_1_4_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_3673-11_1_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_3673-11_1_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_3673-11_1_4_node_69 | 0.4 | n |  | TRUE
7 | bus_LV_3673-11_1_4_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_3673-11_1_4_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_3673-11_1_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_3673-11_1_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_3673-11_1_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_3673-11_1_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_3673-11_1_4_node_71 | 0.4 | n |  | TRUE
14 | bus_LV_3673-11_1_4_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_3673-11_1_4_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_3673-11_1_4_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_3673-11_1_4_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_3673-11_1_4_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_3673-11_1_4_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_3673-11_1_4_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_3673-11_1_4_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_3673-11_1_4_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_3673-11_1_4_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_3673-11_1_4_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_3673-11_1_4_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_3673-11_1_4_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_3673-11_1_4_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_3673-11_1_4_node_93 | 0.4 | n |  | TRUE
29 | bus_LV_3673-11_1_4_node_92 | 0.4 | n |  | TRUE
30 | bus_LV_3673-11_1_4_node_94 | 0.4 | n |  | TRUE
31 | bus_LV_3673-11_1_4_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_3673-11_1_4_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_3673-11_1_4_node_103 | 0.4 | n |  | TRUE
34 | bus_LV_3673-11_1_4_node_95 | 0.4 | n |  | TRUE
35 | bus_LV_3673-11_1_4_node_102 | 0.4 | n |  | TRUE
36 | bus_LV_3673-11_1_4_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_3673-11_1_4_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_3673-11_1_4_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_3673-11_1_4_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_3673-11_1_4_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_3673-11_1_4_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_3673-11_1_4_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_3673-11_1_4_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_3673-11_1_4_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_3673-11_1_4_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_3673-11_1_4_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_3673-11_1_4_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_3673-11_1_4_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_3673-11_1_4_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_3673-11_1_4_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_3673-11_1_4_node_91 | 0.4 | n |  | TRUE
52 | bus_LV_3673-11_1_4_node_90 | 0.4 | n |  | TRUE
53 | bus_LV_3673-11_1_4_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_3673-11_1_4_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_3673-11_1_4_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_3673-11_1_4_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_3673-11_1_4_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_3673-11_1_4_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_3673-11_1_4_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_3673-11_1_4_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_3673-11_1_4_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_3673-11_1_4_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_3673-11_1_4_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_3673-11_1_4_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_3673-11_1_4_node_86 | 0.4 | n |  | TRUE
66 | bus_LV_3673-11_1_4_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_3673-11_1_4_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_3673-11_1_4_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_3673-11_1_4_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_3673-11_1_4_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_3673-11_1_4_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_3673-11_1_4_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_3673-11_1_4_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_3673-11_1_4_node_83 | 0.4 | n |  | TRUE
75 | bus_LV_3673-11_1_4_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_3673-11_1_4_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_3673-11_1_4_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_3673-11_1_4_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_3673-11_1_4_node_96 | 0.4 | n |  | TRUE
80 | bus_LV_3673-11_1_4_node_97 | 0.4 | n |  | TRUE
81 | bus_LV_3673-11_1_4_node_98 | 0.4 | n |  | TRUE
82 | bus_LV_3673-11_1_4_node_99 | 0.4 | n |  | TRUE
83 | bus_LV_3673-11_1_4_node_100 | 0.4 | n |  | TRUE
84 | bus_MV_163_0_node_184 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3673-11_1_4_load_88 | 0 | 0.0063683 | 0.0015961 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3673-11_1_4_load_84 | 2 | 0.004453 | 0.001116 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3673-11_1_4_load_8 | 3 | 0.0011644 | 0.00029182 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3673-11_1_4_load_70 | 7 | 0.00072407 | 0.00018147 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3673-11_1_4_load_15 | 8 | 0.0090485 | 0.0022678 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3673-11_1_4_load_12 | 9 | 0.0029595 | 0.00074172 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3673-11_1_4_load_14 | 10 | 0.0016206 | 0.00040617 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3673-11_1_4_load_11 | 11 | 0.0029356 | 0.00073574 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3673-11_1_4_load_13 | 12 | 0.0028478 | 0.00071371 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3673-11_1_4_load_71 | 13 | 0.0016455 | 0.00041239 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3673-11_1_4_load_25 | 14 | 0.0013806 | 0.00034601 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3673-11_1_4_load_26 | 15 | 0.0036161 | 0.00090629 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3673-11_1_4_load_28 | 17 | 0.0038041 | 0.00095339 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3673-11_1_4_load_37 | 19 | 0.0025436 | 0.00063748 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3673-11_1_4_load_30 | 20 | 0.0039295 | 0.00098483 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3673-11_1_4_load_38 | 21 | 0.0046247 | 0.0011591 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3673-11_1_4_load_35 | 25 | 0.0016447 | 0.00041219 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3673-11_1_4_load_33 | 26 | 0.0032836 | 0.00082295 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3673-11_1_4_load_40 | 27 | 0.0014727 | 0.00036909 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3673-11_1_4_load_93 | 28 | 0.0039222 | 0.000983 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3673-11_1_4_load_92 | 29 | 0.0036454 | 0.00091361 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3673-11_1_4_load_94 | 30 | 0.0069225 | 0.0017349 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3673-11_1_4_load_103 | 33 | 0.0047342 | 0.0011865 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3673-11_1_4_load_95 | 34 | 0.0067739 | 0.0016977 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3673-11_1_4_load_102 | 35 | 0.0039197 | 0.00098236 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3673-11_1_4_load_43 | 38 | 0.0025027 | 0.00062724 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3673-11_1_4_load_41 | 39 | 0.0081983 | 0.0020547 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3673-11_1_4_load_42 | 40 | 0.0017094 | 0.00042842 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3673-11_1_4_load_44 | 41 | 0.005993 | 0.001502 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3673-11_1_4_load_46 | 44 | 0.00097726 | 0.00024492 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3673-11_1_4_load_51 | 45 | 0.0028606 | 0.00071694 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3673-11_1_4_load_56 | 46 | 0.0058865 | 0.0014753 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3673-11_1_4_load_57 | 47 | 0.0039873 | 0.0009993 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3673-11_1_4_load_52 | 48 | 0.0066195 | 0.001659 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3673-11_1_4_load_91 | 51 | 0.0019251 | 0.00048247 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3673-11_1_4_load_90 | 52 | 0.0033346 | 0.00083573 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3673-11_1_4_load_58 | 53 | 0.0018346 | 0.00045978 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3673-11_1_4_load_59 | 54 | 0.0041095 | 0.0010299 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3673-11_1_4_load_60 | 55 | 0.0090638 | 0.0022716 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3673-11_1_4_load_61 | 56 | 0.0063055 | 0.0015803 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3673-11_1_4_load_63 | 57 | 0.0030122 | 0.00075494 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3673-11_1_4_load_62 | 58 | 0.002857 | 0.00071604 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3673-11_1_4_load_65 | 60 | 0.0043946 | 0.0011014 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3673-11_1_4_load_66 | 61 | 0.0025363 | 0.00063565 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3673-11_1_4_load_67 | 62 | 0.001237 | 0.00031002 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3673-11_1_4_load_87 | 63 | 0.0032412 | 0.00081231 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3673-11_1_4_load_68 | 64 | 0.0015633 | 0.0003918 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3673-11_1_4_load_86 | 65 | 0.0055345 | 0.0013871 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3673-11_1_4_load_72 | 66 | 0.002796 | 0.00070075 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3673-11_1_4_load_73 | 67 | 0.0010758 | 0.00026962 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3673-11_1_4_load_74 | 68 | 0.00086207 | 0.00021606 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3673-11_1_4_load_75 | 69 | 0.00082757 | 0.00020741 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3673-11_1_4_load_76 | 70 | 0.001401 | 0.00035113 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3673-11_1_4_load_77 | 71 | 0.00088559 | 0.00022195 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3673-11_1_4_load_78 | 72 | 0.0016806 | 0.00042119 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3673-11_1_4_load_79 | 73 | 0.0019638 | 0.00049218 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3673-11_1_4_load_81 | 75 | 0.0025258 | 0.00063303 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3673-11_1_4_load_80 | 76 | 0.0048137 | 0.0012064 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3673-11_1_4_load_85 | 78 | 0.0034071 | 0.00085391 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3673-11_1_4_load_96 | 79 | 0.0010839 | 0.00027164 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3673-11_1_4_load_97 | 80 | 0.0021681 | 0.00054339 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3673-11_1_4_load_98 | 81 | 0.0025752 | 0.0006454 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3673-11_1_4_load_99 | 82 | 0.0048309 | 0.0012107 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3673-11_1_4_load_100 | 83 | 0.0016018 | 0.00040144 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3673-11_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3673-11_1_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.043626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3673-11_1_4_line_2 | NAYY 4x150 SE | 1 | 52 | 0.017583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3673-11_1_4_line_3 | NAYY 4x150 SE | 2 | 77 | 0.02034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3673-11_1_4_line_4 | NAYY 4x150 SE | 3 | 4 | 0.14806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3673-11_1_4_line_5 | NAYY 4x150 SE | 4 | 5 | 0.005705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3673-11_1_4_line_6 | NAYY 4x150 SE | 5 | 9 | 0.1241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3673-11_1_4_line_7 | NAYY 4x150 SE | 5 | 10 | 0.075841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3673-11_1_4_line_8 | NAYY 4x150 SE | 6 | 7 | 0.042411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3673-11_1_4_line_9 | NAYY 4x150 SE | 6 | 8 | 0.1337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3673-11_1_4_line_10 | NAYY 4x150 SE | 7 | 13 | 0.0029667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3673-11_1_4_line_11 | NAYY 4x150 SE | 8 | 10 | 0.0073255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3673-11_1_4_line_12 | NAYY 4x150 SE | 9 | 11 | 0.00868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3673-11_1_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.036196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3673-11_1_4_line_14 | NAYY 4x150 SE | 13 | 66 | 0.041345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3673-11_1_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.017356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3673-11_1_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.053937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3673-11_1_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.010452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3673-11_1_4_line_18 | NAYY 4x150 SE | 16 | 18 | 0.080332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3673-11_1_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.016381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3673-11_1_4_line_20 | NAYY 4x150 SE | 18 | 20 | 0.003395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3673-11_1_4_line_21 | NAYY 4x150 SE | 19 | 21 | 0.009585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3673-11_1_4_line_22 | NAYY 4x150 SE | 21 | 24 | 0.01448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3673-11_1_4_line_23 | NAYY 4x150 SE | 22 | 23 | 0.021756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3673-11_1_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.01046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3673-11_1_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.024689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3673-11_1_4_line_26 | NAYY 4x150 SE | 23 | 26 | 0.054789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3673-11_1_4_line_27 | NAYY 4x150 SE | 24 | 27 | 0.0024623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3673-11_1_4_line_28 | NAYY 4x150 SE | 25 | 30 | 6.3728e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3673-11_1_4_line_29 | NAYY 4x150 SE | 26 | 31 | 0.035424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3673-11_1_4_line_30 | NAYY 4x150 SE | 27 | 36 | 0.021124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3673-11_1_4_line_31 | NAYY 4x150 SE | 28 | 29 | 0.012077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3673-11_1_4_line_32 | NAYY 4x150 SE | 29 | 50 | 0.032053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3673-11_1_4_line_33 | NAYY 4x150 SE | 30 | 34 | 0.040318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3673-11_1_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.033508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3673-11_1_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.016912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3673-11_1_4_line_36 | NAYY 4x150 SE | 33 | 35 | 0.02468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3673-11_1_4_line_37 | NAYY 4x150 SE | 34 | 79 | 0.0020084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3673-11_1_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.014826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3673-11_1_4_line_39 | NAYY 4x150 SE | 36 | 38 | 0.016323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3673-11_1_4_line_40 | NAYY 4x150 SE | 37 | 45 | 0.013882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3673-11_1_4_line_41 | NAYY 4x150 SE | 38 | 39 | 0.010763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3673-11_1_4_line_42 | NAYY 4x150 SE | 39 | 40 | 0.0053614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3673-11_1_4_line_43 | NAYY 4x150 SE | 40 | 41 | 0.0053499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3673-11_1_4_line_44 | NAYY 4x150 SE | 41 | 42 | 0.023241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3673-11_1_4_line_45 | NAYY 4x150 SE | 42 | 43 | 0.067187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_3673-11_1_4_line_46 | NAYY 4x150 SE | 42 | 44 | 0.0047323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3673-11_1_4_line_47 | NAYY 4x150 SE | 43 | 46 | 0.10161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_3673-11_1_4_line_48 | NAYY 4x150 SE | 45 | 48 | 0.0085895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3673-11_1_4_line_49 | NAYY 4x150 SE | 46 | 47 | 0.016352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_3673-11_1_4_line_50 | NAYY 4x150 SE | 47 | 53 | 0.016224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_3673-11_1_4_line_51 | NAYY 4x150 SE | 48 | 49 | 0.067685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3673-11_1_4_line_52 | NAYY 4x150 SE | 49 | 50 | 0.00678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3673-11_1_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.030837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3673-11_1_4_line_54 | NAYY 4x150 SE | 53 | 54 | 0.0046226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_3673-11_1_4_line_55 | NAYY 4x150 SE | 54 | 55 | 0.0036877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_3673-11_1_4_line_56 | NAYY 4x150 SE | 55 | 56 | 0.015154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_3673-11_1_4_line_57 | NAYY 4x150 SE | 56 | 57 | 0.0088663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_3673-11_1_4_line_58 | NAYY 4x150 SE | 57 | 58 | 0.013021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_3673-11_1_4_line_59 | NAYY 4x150 SE | 58 | 59 | 0.018903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_3673-11_1_4_line_60 | NAYY 4x150 SE | 59 | 60 | 0.040061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3673-11_1_4_line_61 | NAYY 4x150 SE | 59 | 61 | 0.019779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3673-11_1_4_line_62 | NAYY 4x150 SE | 60 | 62 | 0.034702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3673-11_1_4_line_63 | NAYY 4x150 SE | 61 | 63 | 0.021482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3673-11_1_4_line_64 | NAYY 4x150 SE | 62 | 64 | 0.0079918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3673-11_1_4_line_65 | NAYY 4x150 SE | 63 | 65 | 0.014541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3673-11_1_4_line_66 | NAYY 4x150 SE | 65 | 74 | 0.028806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3673-11_1_4_line_67 | NAYY 4x150 SE | 66 | 67 | 0.0086217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3673-11_1_4_line_68 | NAYY 4x150 SE | 67 | 68 | 0.020552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3673-11_1_4_line_69 | NAYY 4x150 SE | 68 | 69 | 0.018119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3673-11_1_4_line_70 | NAYY 4x150 SE | 69 | 70 | 0.016169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3673-11_1_4_line_71 | NAYY 4x150 SE | 70 | 71 | 0.0023577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3673-11_1_4_line_72 | NAYY 4x150 SE | 71 | 72 | 0.027684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3673-11_1_4_line_73 | NAYY 4x150 SE | 72 | 73 | 0.0034492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3673-11_1_4_line_74 | NAYY 4x150 SE | 73 | 74 | 0.011239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3673-11_1_4_line_75 | NAYY 4x150 SE | 74 | 75 | 0.014171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3673-11_1_4_line_76 | NAYY 4x150 SE | 75 | 76 | 0.00092953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3673-11_1_4_line_77 | NAYY 4x150 SE | 76 | 77 | 0.016799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3673-11_1_4_line_78 | NAYY 4x150 SE | 77 | 78 | 0.00848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3673-11_1_4_line_79 | NAYY 4x150 SE | 79 | 80 | 0.0099422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3673-11_1_4_line_80 | NAYY 4x150 SE | 80 | 81 | 0.004463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3673-11_1_4_line_81 | NAYY 4x150 SE | 81 | 82 | 0.022202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3673-11_1_4_line_82 | NAYY 4x150 SE | 82 | 83 | 0.016031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3673-11_1_4_trafo_56 | 0.25 MVA 20/0.4 kV | 84 | 46 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2753354.0014 | 1178228.0741 | 2753343.5566 | 1178248.4919
1 | 2753319.0782 | 1178274.272 | 2753319.7229 | 1178274.5699 | 2753328.2725 | 1178278.3694 | 2753343.5566 | 1178248.4919
2 | 2753354.0014 | 1178228.0741 | 2753353.4577 | 1178222.4333 | 2753355.264 | 1178210.655
3 | 2753300.6138 | 1178265.7408 | 2753319.0782 | 1178274.272
4 | 2752975.6948 | 1178418.5617 | 2752971.1977 | 1178422.8283 | 2752967.5755 | 1178435.6466 | 2752964.925 | 1178453.5272 | 2752964.886 | 1178472.1305 | 2752964.8898 | 1178497.7408 | 2752965.4037 | 1178520.7396 | 2752967.1721 | 1178554.4905 | 2752967.9461 | 1178563.9076
5 | 2752975.6948 | 1178418.5617 | 2752980.4454 | 1178421.741
6 | 2752980.4454 | 1178421.741 | 2752981.5063 | 1178434.0895 | 2752980.5338 | 1178482.6717 | 2752980.9804 | 1178486.1415 | 2752984.5394 | 1178492.8712 | 2753027.8677 | 1178496.902 | 2753034.9418 | 1178501.5975
7 | 2752980.4454 | 1178421.741 | 2753043.7836 | 1178434.9677 | 2753054.9178 | 1178434.7221
8 | 2753194.187 | 1178456.1357 | 2753205.8424 | 1178455.6663 | 2753219.7444 | 1178446.2692 | 2753224.5554 | 1178440.1981 | 2753226.7157 | 1178434.3655
9 | 2753194.187 | 1178456.1357 | 2753062.2416 | 1178434.5606
10 | 2753226.7157 | 1178434.3655 | 2753227.7461 | 1178431.5834
11 | 2753062.2416 | 1178434.5606 | 2753054.9178 | 1178434.7221
12 | 2753034.9418 | 1178501.5975 | 2753034.9418 | 1178501.5975 | 2753040.3648 | 1178508.3748
13 | 2753046.1931 | 1178541.1952 | 2753039.6463 | 1178536.5132 | 2753040.3648 | 1178508.3748
14 | 2753242.1061 | 1178392.8123 | 2753227.7461 | 1178431.5834
15 | 2753260.4481 | 1177915.7031 | 2753268.0209 | 1177918.0523 | 2753276.0252 | 1177923.0324
16 | 2753212.2877 | 1177892.1627 | 2753217.9593 | 1177896.4111 | 2753245.3628 | 1177911.0232 | 2753260.4481 | 1177915.7031
17 | 2753276.0252 | 1177923.0324 | 2753284.8996 | 1177928.5539
18 | 2753266.2423 | 1177875.4826 | 2753255.4098 | 1177870.6352 | 2753234.3088 | 1177857.7188 | 2753221.409 | 1177864.3503 | 2753217.2783 | 1177873.9973 | 2753212.2877 | 1177892.1627
19 | 2753298.8087 | 1177937.2078 | 2753284.8996 | 1177928.5539
20 | 2753266.2423 | 1177875.4826 | 2753263.9998 | 1177872.9336
21 | 2753298.8087 | 1177937.2078 | 2753299.5774 | 1177937.6861 | 2753306.9774 | 1177942.2222
22 | 2753319.3225 | 1177949.7897 | 2753306.9774 | 1177942.2222
23 | 2753323.6112 | 1177940.2469 | 2753326.0518 | 1177934.8047 | 2753327.3406 | 1177931.9464 | 2753331.2404 | 1177923.2611 | 2753332.5292 | 1177920.4028
24 | 2753319.3225 | 1177949.7897 | 2753323.6112 | 1177940.2469
25 | 2753332.5292 | 1177920.4028 | 2753346.7871 | 1177920.4562 | 2753352.8011 | 1177916.9959 | 2753355.4421 | 1177914.7103
26 | 2753332.5292 | 1177920.4028 | 2753338.0642 | 1177886.6495 | 2753341.3968 | 1177866.3362
27 | 2753319.3225 | 1177949.7897 | 2753318.5539 | 1177952.1289
28 | 2753355.4421 | 1177914.7103 | 2753355.4903 | 1177914.6686
29 | 2753347.1316 | 1177831.3798 | 2753345.0934 | 1177843.8047 | 2753343.8615 | 1177851.3128 | 2753341.3968 | 1177866.3362
30 | 2753311.96 | 1177972.1979 | 2753318.5539 | 1177952.1289
31 | 2753388.719 | 1177986.8531 | 2753385.5936 | 1177985.1243 | 2753378.5225 | 1177980.3977
32 | 2753404.5889 | 1178006.7947 | 2753405.2132 | 1178004.809 | 2753407.0951 | 1177997.8958 | 2753406.8489 | 1177995.5654 | 2753405.036 | 1177993.5062 | 2753402.1339 | 1177991.8862 | 2753398.2226 | 1177990.8631 | 2753395.5137 | 1177990.0598 | 2753391.8961 | 1177988.6105 | 2753388.719 | 1177986.8531
33 | 2753355.4903 | 1177914.6686 | 2753362.0118 | 1177909.0247 | 2753371.4418 | 1177905.3294 | 2753386.1196 | 1177902.4245 | 2753392.7159 | 1177902.7081
34 | 2753347.1316 | 1177831.3798 | 2753380.606 | 1177834.338
35 | 2753380.606 | 1177834.338 | 2753377.4581 | 1177850.9545
36 | 2753372.8644 | 1177875.2034 | 2753377.4581 | 1177850.9545
37 | 2753394.7225 | 1177902.7944 | 2753392.7159 | 1177902.7081
38 | 2753311.96 | 1177972.1979 | 2753317.6111 | 1177985.9093
39 | 2753311.96 | 1177972.1979 | 2753300.3829 | 1177977.0394 | 2753297.1527 | 1177978.9924
40 | 2753317.6111 | 1177985.9093 | 2753331.3284 | 1177988.0446
41 | 2753287.9422 | 1177984.5611 | 2753287.9422 | 1177984.5611 | 2753297.1527 | 1177978.9924
42 | 2753287.9422 | 1177984.5611 | 2753284.3819 | 1177988.5696
43 | 2753284.3819 | 1177988.5696 | 2753280.8291 | 1177992.5695
44 | 2753264.2702 | 1178008.8208 | 2753274.3152 | 1177999.9034 | 2753280.8291 | 1177992.5695
45 | 2753305.4038 | 1178051.563 | 2753282.5552 | 1178047.2199 | 2753279.0005 | 1178046.0059 | 2753277.0967 | 1178044.2113 | 2753264.2702 | 1178008.8208
46 | 2753264.2702 | 1178008.8208 | 2753260.7328 | 1178011.9642
47 | 2753305.4038 | 1178051.563 | 2753293.7978 | 1178076.3759 | 2753283.0541 | 1178126.9656 | 2753278.4166 | 1178148.9818
48 | 2753331.3284 | 1177988.0446 | 2753338.1269 | 1177989.103 | 2753339.8055 | 1177989.4243
49 | 2753278.4166 | 1178148.9818 | 2753275.0461 | 1178164.9826
50 | 2753275.0461 | 1178164.9826 | 2753271.702 | 1178180.8583
51 | 2753401.7707 | 1178012.95 | 2753397.704 | 1178007.8417 | 2753376.3377 | 1177997.5535 | 2753357.6424 | 1177992.8383 | 2753339.8055 | 1177989.4243
52 | 2753401.7707 | 1178012.95 | 2753404.1979 | 1178008.0302 | 2753404.5889 | 1178006.7947
53 | 2753355.264 | 1178210.655 | 2753359.3489 | 1178184.0186 | 2753359.4 | 1178180.1299
54 | 2753270.553 | 1178185.3333 | 2753271.3675 | 1178182.4465 | 2753271.702 | 1178180.8583
55 | 2753270.553 | 1178185.3333 | 2753269.5518 | 1178188.8825
56 | 2753269.5518 | 1178188.8825 | 2753265.4373 | 1178203.4669
57 | 2753263.0299 | 1178212.0002 | 2753265.4373 | 1178203.4669
58 | 2753259.0817 | 1178224.3805 | 2753260.2696 | 1178221.7845 | 2753263.0299 | 1178212.0002
59 | 2753251.2162 | 1178241.5696 | 2753259.0817 | 1178224.3805
60 | 2753251.2162 | 1178241.5696 | 2753234.5418 | 1178277.9961
61 | 2753251.2162 | 1178241.5696 | 2753268.8473 | 1178250.5343
62 | 2753234.5418 | 1178277.9961 | 2753233.5959 | 1178280.0626 | 2753223.856 | 1178310.995
63 | 2753266.2883 | 1178267.8285 | 2753273.2088 | 1178252.752 | 2753268.8473 | 1178250.5343
64 | 2753221.4557 | 1178318.6179 | 2753221.4557 | 1178318.6179 | 2753223.856 | 1178310.995
65 | 2753266.2883 | 1178267.8285 | 2753260.2222 | 1178281.0437 | 2753260.2222 | 1178281.0437
66 | 2753285.9216 | 1178294.0556 | 2753260.2222 | 1178281.0437
67 | 2753242.1061 | 1178392.8123 | 2753245.1006 | 1178384.7274
68 | 2753245.1006 | 1178384.7274 | 2753245.9066 | 1178382.5512 | 2753252.0568 | 1178365.3887
69 | 2753252.0568 | 1178365.3887 | 2753253.7687 | 1178360.6116 | 2753259.1301 | 1178348.7199
70 | 2753259.1301 | 1178348.7199 | 2753265.776 | 1178333.9794
71 | 2753266.745 | 1178331.83 | 2753265.776 | 1178333.9794
72 | 2753266.745 | 1178331.83 | 2753269.5651 | 1178325.575 | 2753279.156 | 1178307.0932
73 | 2753279.156 | 1178307.0932 | 2753280.7447 | 1178304.0317
74 | 2753285.9216 | 1178294.0556 | 2753280.7447 | 1178304.0317
75 | 2753285.9216 | 1178294.0556 | 2753292.4485 | 1178281.477
76 | 2753292.8766 | 1178280.6519 | 2753292.4485 | 1178281.477
77 | 2753300.6138 | 1178265.7408 | 2753292.8766 | 1178280.6519
78 | 2753304.522 | 1178258.2122 | 2753300.6138 | 1178265.7408
79 | 2753394.7225 | 1177902.7944 | 2753404.6555 | 1177903.2214
80 | 2753404.6555 | 1177903.2214 | 2753404.6555 | 1177903.2214 | 2753408.7602 | 1177901.4693 | 2753408.7602 | 1177901.4693
81 | 2753408.7602 | 1177901.4693 | 2753411.3647 | 1177885.4448 | 2753411.992 | 1177879.5102
82 | 2753411.992 | 1177879.5102 | 2753413.6771 | 1177863.5682

## bus_geodata
| x | y | coords
0 | 2753343.5566 | 1178248.4919
1 | 2753354.0014 | 1178228.0741
2 | 2753319.0782 | 1178274.272
3 | 2752967.9461 | 1178563.9076
4 | 2752975.6948 | 1178418.5617
5 | 2752980.4454 | 1178421.741
6 | 2753194.187 | 1178456.1357
7 | 2753226.7157 | 1178434.3655
8 | 2753062.2416 | 1178434.5606
9 | 2753034.9418 | 1178501.5975
10 | 2753054.9178 | 1178434.7221
11 | 2753040.3648 | 1178508.3748
12 | 2753046.1931 | 1178541.1952
13 | 2753227.7461 | 1178431.5834
14 | 2753260.4481 | 1177915.7031
15 | 2753276.0252 | 1177923.0324
16 | 2753212.2877 | 1177892.1627
17 | 2753284.8996 | 1177928.5539
18 | 2753266.2423 | 1177875.4826
19 | 2753298.8087 | 1177937.2078
20 | 2753263.9998 | 1177872.9336
21 | 2753306.9774 | 1177942.2222
22 | 2753323.6112 | 1177940.2469
23 | 2753332.5292 | 1177920.4028
24 | 2753319.3225 | 1177949.7897
25 | 2753355.4421 | 1177914.7103
26 | 2753341.3968 | 1177866.3362
27 | 2753318.5539 | 1177952.1289
28 | 2753378.5225 | 1177980.3977
29 | 2753388.719 | 1177986.8531
30 | 2753355.4903 | 1177914.6686
31 | 2753347.1316 | 1177831.3798
32 | 2753380.606 | 1177834.338
33 | 2753377.4581 | 1177850.9545
34 | 2753392.7159 | 1177902.7081
35 | 2753372.8644 | 1177875.2034
36 | 2753311.96 | 1177972.1979
37 | 2753317.6111 | 1177985.9093
38 | 2753297.1527 | 1177978.9924
39 | 2753287.9422 | 1177984.5611
40 | 2753284.3819 | 1177988.5696
41 | 2753280.8291 | 1177992.5695
42 | 2753264.2702 | 1178008.8208
43 | 2753305.4038 | 1178051.563
44 | 2753260.7328 | 1178011.9642
45 | 2753331.3284 | 1177988.0446
46 | 2753278.4166 | 1178148.9818
47 | 2753275.0461 | 1178164.9826
48 | 2753339.8055 | 1177989.4243
49 | 2753401.7707 | 1178012.95
50 | 2753404.5889 | 1178006.7947
51 | 2753359.4 | 1178180.1299
52 | 2753355.264 | 1178210.655
53 | 2753271.702 | 1178180.8583
54 | 2753270.553 | 1178185.3333
55 | 2753269.5518 | 1178188.8825
56 | 2753265.4373 | 1178203.4669
57 | 2753263.0299 | 1178212.0002
58 | 2753259.0817 | 1178224.3805
59 | 2753251.2162 | 1178241.5696
60 | 2753234.5418 | 1178277.9961
61 | 2753268.8473 | 1178250.5343
62 | 2753223.856 | 1178310.995
63 | 2753266.2883 | 1178267.8285
64 | 2753221.4557 | 1178318.6179
65 | 2753260.2222 | 1178281.0437
66 | 2753242.1061 | 1178392.8123
67 | 2753245.1006 | 1178384.7274
68 | 2753252.0568 | 1178365.3887
69 | 2753259.1301 | 1178348.7199
70 | 2753265.776 | 1178333.9794
71 | 2753266.745 | 1178331.83
72 | 2753279.156 | 1178307.0932
73 | 2753280.7447 | 1178304.0317
74 | 2753285.9216 | 1178294.0556
75 | 2753292.4485 | 1178281.477
76 | 2753292.8766 | 1178280.6519
77 | 2753300.6138 | 1178265.7408
78 | 2753304.522 | 1178258.2122
79 | 2753394.7225 | 1177902.7944
80 | 2753404.6555 | 1177903.2214
81 | 2753408.7602 | 1177901.4693
82 | 2753411.992 | 1177879.5102
83 | 2753413.6771 | 1177863.5682
84 | 2753251.2162 | 1178241.5696

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1