## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3673-12_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3673-12_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3673-12_0_2_node_23 | 0.4 | n |  | TRUE
3 | bus_LV_3673-12_0_2_node_21 | 0.4 | n |  | TRUE
4 | bus_LV_3673-12_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3673-12_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3673-12_0_2_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_3673-12_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3673-12_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3673-12_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_3673-12_0_2_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_3673-12_0_2_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_3673-12_0_2_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_3673-12_0_2_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_3673-12_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3673-12_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3673-12_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_3673-12_0_2_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_3673-12_0_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_3673-12_0_2_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_3673-12_0_2_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_3673-12_0_2_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_3673-12_0_2_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_3673-12_0_2_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_3673-12_0_2_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_3673-12_0_2_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_3673-12_0_2_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_3673-12_0_2_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_3673-12_0_2_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_3673-12_0_2_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_3673-12_0_2_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_3673-12_0_2_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_3673-12_0_2_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_3673-12_0_2_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_3673-12_0_2_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_3673-12_0_2_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_3673-12_0_2_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_3673-12_0_2_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_3673-12_0_2_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_3673-12_0_2_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_3673-12_0_2_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_3673-12_0_2_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_3673-12_0_2_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_3673-12_0_2_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_3673-12_0_2_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_3673-12_0_2_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_3673-12_0_2_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_3673-12_0_2_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_3673-12_0_2_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_3673-12_0_2_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_3673-12_0_2_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_3673-12_0_2_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_3673-12_0_2_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_3673-12_0_2_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_3673-12_0_2_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_3673-12_0_2_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_3673-12_0_2_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_3673-12_0_2_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_3673-12_0_2_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_3673-12_0_2_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_3673-12_0_2_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_3673-12_0_2_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_3673-12_0_2_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_3673-12_0_2_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_3673-12_0_2_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_3673-12_0_2_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_3673-12_0_2_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_3673-12_0_2_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_3673-12_0_2_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_3673-12_0_2_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_3673-12_0_2_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_3673-12_0_2_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_3673-12_0_2_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_3673-12_0_2_node_76 | 0.4 | n |  | TRUE
74 | bus_MV_163_0_node_187 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3673-12_0_2_load_0 | 0 | 0.0015953 | 0.00039983 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3673-12_0_2_load_1 | 1 | 0.0023662 | 0.00059303 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3673-12_0_2_load_23 | 2 | 0.00051928 | 0.00013014 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3673-12_0_2_load_21 | 3 | 0.00081581 | 0.00020446 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3673-12_0_2_load_4 | 4 | 0.002098 | 0.00052581 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3673-12_0_2_load_5 | 5 | 0.0037265 | 0.00093396 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3673-12_0_2_load_9 | 6 | 0.00051648 | 0.00012944 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3673-12_0_2_load_7 | 7 | 0.00063443 | 0.000159 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3673-12_0_2_load_28 | 10 | 0.00084578 | 0.00021197 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3673-12_0_2_load_27 | 11 | 0.00023922 | 5.9955e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3673-12_0_2_load_10 | 14 | 0.0025074 | 0.00062841 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3673-12_0_2_load_11 | 15 | 0.0002972 | 7.4486e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3673-12_0_2_load_13 | 16 | 0.00052042 | 0.00013043 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3673-12_0_2_load_16 | 18 | 0.00052262 | 0.00013098 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3673-12_0_2_load_17 | 19 | 0.00068863 | 0.00017259 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3673-12_0_2_load_19 | 21 | 0.00053235 | 0.00013342 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3673-12_0_2_load_20 | 22 | 0.0005862 | 0.00014691 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3673-12_0_2_load_24 | 24 | 0.00048883 | 0.00012251 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3673-12_0_2_load_29 | 25 | 0.0027295 | 0.00068407 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3673-12_0_2_load_37 | 28 | 0.0052753 | 0.0013221 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3673-12_0_2_load_32 | 29 | 0.0028816 | 0.0007222 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3673-12_0_2_load_34 | 31 | 0.0043967 | 0.0011019 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3673-12_0_2_load_35 | 32 | 0.0024734 | 0.00061989 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3673-12_0_2_load_36 | 33 | 0.0019518 | 0.00048916 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3673-12_0_2_load_44 | 34 | 0.0016421 | 0.00041154 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3673-12_0_2_load_56 | 35 | 0.0046728 | 0.0011711 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3673-12_0_2_load_46 | 36 | 0.0026025 | 0.00065225 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3673-12_0_2_load_42 | 37 | 0.0029516 | 0.00073975 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3673-12_0_2_load_57 | 38 | 0.0036088 | 0.00090446 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3673-12_0_2_load_45 | 39 | 0.0027585 | 0.00069134 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3673-12_0_2_load_38 | 40 | 0.003468 | 0.00086916 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3673-12_0_2_load_39 | 41 | 0.0036999 | 0.00092728 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3673-12_0_2_load_40 | 42 | 0.0047732 | 0.0011963 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3673-12_0_2_load_41 | 43 | 0.0049193 | 0.0012329 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3673-12_0_2_load_43 | 44 | 0.0036354 | 0.00091113 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3673-12_0_2_load_48 | 46 | 0.0034555 | 0.00086604 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3673-12_0_2_load_49 | 47 | 0.0034198 | 0.00085709 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3673-12_0_2_load_50 | 48 | 0.0023512 | 0.00058928 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3673-12_0_2_load_54 | 49 | 0.0016005 | 0.00040112 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3673-12_0_2_load_51 | 50 | 0.002438 | 0.00061101 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3673-12_0_2_load_55 | 51 | 0.0072147 | 0.0018082 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3673-12_0_2_load_52 | 52 | 0.0080063 | 0.0020066 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3673-12_0_2_load_63 | 53 | 0.006652 | 0.0016671 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3673-12_0_2_load_64 | 54 | 0.006637 | 0.0016634 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3673-12_0_2_load_59 | 55 | 0.0025873 | 0.00064845 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3673-12_0_2_load_58 | 56 | 0.0025209 | 0.0006318 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3673-12_0_2_load_61 | 58 | 0.0030395 | 0.00076178 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3673-12_0_2_load_62 | 59 | 0.0026785 | 0.00067129 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3673-12_0_2_load_73 | 60 | 0.0025248 | 0.00063278 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3673-12_0_2_load_77 | 61 | 0.0013469 | 0.00033756 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3673-12_0_2_load_65 | 62 | 0.012647 | 0.0031697 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3673-12_0_2_load_66 | 63 | 0.0052987 | 0.001328 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3673-12_0_2_load_67 | 64 | 0.0054064 | 0.001355 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3673-12_0_2_load_69 | 66 | 0.0038385 | 0.00096203 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3673-12_0_2_load_70 | 67 | 0.0056776 | 0.0014229 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3673-12_0_2_load_71 | 68 | 0.0044403 | 0.0011128 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3673-12_0_2_load_80 | 69 | 0.0076694 | 0.0019221 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3673-12_0_2_load_72 | 70 | 0.0033773 | 0.00084642 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3673-12_0_2_load_75 | 71 | 0.0055668 | 0.0013952 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3673-12_0_2_load_76 | 73 | 0.0021845 | 0.0005475 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3673-12_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.065038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3673-12_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.27946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3673-12_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.072205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3673-12_0_2_line_3 | NAYY 4x150 SE | 3 | 23 | 0.01566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3673-12_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0089383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3673-12_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.073851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3673-12_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.0055523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3673-12_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.02845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3673-12_0_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.074751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3673-12_0_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.01271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3673-12_0_2_line_10 | NAYY 4x150 SE | 10 | 13 | 0.015213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3673-12_0_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.016708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3673-12_0_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.030094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3673-12_0_2_line_13 | NAYY 4x150 SE | 12 | 24 | 0.0034125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3673-12_0_2_line_14 | NAYY 4x150 SE | 13 | 25 | 0.017835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3673-12_0_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.047607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3673-12_0_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.017126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3673-12_0_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.027305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3673-12_0_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.011572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3673-12_0_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.0056503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3673-12_0_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.0019362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3673-12_0_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.020237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3673-12_0_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.044047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3673-12_0_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0083332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3673-12_0_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.042493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3673-12_0_2_line_25 | NAYY 4x150 SE | 25 | 26 | 0.010037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3673-12_0_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.005063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3673-12_0_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.026853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3673-12_0_2_line_28 | NAYY 4x150 SE | 27 | 29 | 0.014858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3673-12_0_2_line_29 | NAYY 4x150 SE | 29 | 30 | 0.017364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3673-12_0_2_line_30 | NAYY 4x150 SE | 30 | 31 | 0.013295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3673-12_0_2_line_31 | NAYY 4x150 SE | 30 | 32 | 0.010209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3673-12_0_2_line_32 | NAYY 4x150 SE | 30 | 33 | 0.0096281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3673-12_0_2_line_33 | NAYY 4x150 SE | 31 | 34 | 0.029241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3673-12_0_2_line_34 | NAYY 4x150 SE | 32 | 35 | 0.027895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3673-12_0_2_line_35 | NAYY 4x150 SE | 33 | 36 | 0.01388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3673-12_0_2_line_36 | NAYY 4x150 SE | 34 | 37 | 0.0035699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3673-12_0_2_line_37 | NAYY 4x150 SE | 35 | 38 | 0.015943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3673-12_0_2_line_38 | NAYY 4x150 SE | 36 | 39 | 0.0029499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3673-12_0_2_line_39 | NAYY 4x150 SE | 37 | 42 | 0.010178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3673-12_0_2_line_40 | NAYY 4x150 SE | 38 | 55 | 0.01795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3673-12_0_2_line_41 | NAYY 4x150 SE | 39 | 45 | 0.020075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3673-12_0_2_line_42 | NAYY 4x150 SE | 40 | 41 | 0.0028747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3673-12_0_2_line_43 | NAYY 4x150 SE | 40 | 42 | 0.013687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3673-12_0_2_line_44 | NAYY 4x150 SE | 41 | 43 | 0.0020308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3673-12_0_2_line_45 | NAYY 4x150 SE | 43 | 44 | 0.015546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3673-12_0_2_line_46 | NAYY 4x150 SE | 45 | 46 | 0.013545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3673-12_0_2_line_47 | NAYY 4x150 SE | 45 | 47 | 0.018077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3673-12_0_2_line_48 | NAYY 4x150 SE | 46 | 48 | 0.0011478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3673-12_0_2_line_49 | NAYY 4x150 SE | 47 | 49 | 0.012444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3673-12_0_2_line_50 | NAYY 4x150 SE | 48 | 50 | 0.0050322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3673-12_0_2_line_51 | NAYY 4x150 SE | 49 | 51 | 0.023078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3673-12_0_2_line_52 | NAYY 4x150 SE | 50 | 52 | 0.025868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3673-12_0_2_line_53 | NAYY 4x150 SE | 51 | 53 | 0.0022206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3673-12_0_2_line_54 | NAYY 4x150 SE | 53 | 54 | 0.020274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3673-12_0_2_line_55 | NAYY 4x150 SE | 54 | 62 | 0.0032855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3673-12_0_2_line_56 | NAYY 4x150 SE | 55 | 56 | 0.0019368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3673-12_0_2_line_57 | NAYY 4x150 SE | 56 | 57 | 0.0036123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3673-12_0_2_line_58 | NAYY 4x150 SE | 57 | 58 | 0.0096468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3673-12_0_2_line_59 | NAYY 4x150 SE | 57 | 59 | 0.018766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3673-12_0_2_line_60 | NAYY 4x150 SE | 58 | 60 | 0.009188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3673-12_0_2_line_61 | NAYY 4x150 SE | 59 | 61 | 0.0003419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3673-12_0_2_line_62 | NAYY 4x150 SE | 62 | 63 | 0.010663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3673-12_0_2_line_63 | NAYY 4x150 SE | 63 | 64 | 0.0084273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3673-12_0_2_line_64 | NAYY 4x150 SE | 64 | 65 | 0.0072555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3673-12_0_2_line_65 | NAYY 4x150 SE | 65 | 66 | 0.012432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3673-12_0_2_line_66 | NAYY 4x150 SE | 65 | 67 | 0.0069184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3673-12_0_2_line_67 | NAYY 4x150 SE | 66 | 68 | 0.01367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3673-12_0_2_line_68 | NAYY 4x150 SE | 67 | 69 | 0.012933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3673-12_0_2_line_69 | NAYY 4x150 SE | 68 | 70 | 0.010642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3673-12_0_2_line_70 | NAYY 4x150 SE | 70 | 71 | 0.0009456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3673-12_0_2_line_71 | NAYY 4x150 SE | 71 | 72 | 0.014601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3673-12_0_2_line_72 | NAYY 4x150 SE | 72 | 73 | 0.016813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3673-12_0_2_trafo_46 | 0.25 MVA 20/0.4 kV | 74 | 36 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2753677.5283 | 1178447.4165 | 2753682.2525 | 1178440.474 | 2753680.9791 | 1178429.6101 | 2753679.0829 | 1178418.8859 | 2753680.0448 | 1178411.7824 | 2753694.8994 | 1178401.6435 | 2753696.6388 | 1178400.298 | 2753701.8968 | 1178395.0061
1 | 2753968.5459 | 1178311.3525 | 2753701.8968 | 1178395.0061
2 | 2753968.5459 | 1178311.3525 | 2753985.3506 | 1178323.8388 | 2754008.911 | 1178340.5909 | 2754018.3379 | 1178346.8271 | 2754027.5582 | 1178352.931
3 | 2754040.8667 | 1178361.1731 | 2754038.2669 | 1178359.7051 | 2754032.7036 | 1178356.3372 | 2754027.5582 | 1178352.931
4 | 2753973.4071 | 1178176.5871 | 2753981.8846 | 1178179.4197
5 | 2754055.3181 | 1178171.5818 | 2753981.8846 | 1178179.4197
6 | 2754055.3181 | 1178171.5818 | 2754056.6039 | 1178176.9831
7 | 2754062.2629 | 1178204.8365 | 2754061.6424 | 1178199.8275 | 2754060.6118 | 1178193.8183 | 2754056.6039 | 1178176.9831
8 | 2754046.661 | 1178276.7292 | 2754051.5013 | 1178267.1788 | 2754054.2651 | 1178261.3783 | 2754056.6217 | 1178255.356 | 2754058.6521 | 1178248.3468 | 2754060.3164 | 1178240.7054 | 2754061.3812 | 1178233.7825 | 2754062.2186 | 1178225.2969 | 2754062.7905 | 1178217.0269 | 2754062.6973 | 1178210.5413 | 2754062.2629 | 1178204.8365
9 | 2754046.661 | 1178276.7292 | 2754057.793 | 1178282.8618
10 | 2754068.5384 | 1178292.9268 | 2754064.5953 | 1178286.6091 | 2754057.793 | 1178282.8618
11 | 2754054.0126 | 1178318.197 | 2754047.9042 | 1178316.4053 | 2754043.5083 | 1178314.9134 | 2754039.8629 | 1178313.0738 | 2754038.6132 | 1178312.0485
12 | 2754054.0126 | 1178318.197 | 2754055.0251 | 1178312.4182 | 2754056.5024 | 1178307.8857 | 2754058.6108 | 1178303.4917 | 2754061.3594 | 1178299.4701 | 2754064.7602 | 1178295.9545 | 2754068.5384 | 1178292.9268
13 | 2754054.0126 | 1178318.197 | 2754053.7414 | 1178321.5987
14 | 2754068.5384 | 1178292.9268 | 2754072.0404 | 1178290.8261 | 2754075.5075 | 1178289.4918 | 2754079.0423 | 1178288.7931 | 2754083.5988 | 1178288.4988 | 2754085.4637 | 1178288.5903
15 | 2754049.1498 | 1178492.6124 | 2754043.4273 | 1178478.3923 | 2754034.1233 | 1178447.75 | 2754034.0769 | 1178447.4996
16 | 2754030.9556 | 1178430.66 | 2754034.0769 | 1178447.4996
17 | 2754025.6639 | 1178403.8739 | 2754028.9601 | 1178419.8941 | 2754030.9556 | 1178430.66
18 | 2754025.6639 | 1178403.8739 | 2754024.259 | 1178397.5548 | 2754023.9961 | 1178393.2111 | 2754024.065 | 1178392.4671
19 | 2754024.9059 | 1178386.9041 | 2754024.4403 | 1178388.4185 | 2754024.065 | 1178392.4671
20 | 2754025.4748 | 1178385.0533 | 2754024.9059 | 1178386.9041
21 | 2754025.4748 | 1178385.0533 | 2754025.8421 | 1178383.8506 | 2754027.634 | 1178379.8711 | 2754030.2698 | 1178375.1793 | 2754032.8565 | 1178371.5094 | 2754035.7622 | 1178367.7598
22 | 2754068.3093 | 1178390.469 | 2754052.8639 | 1178392.9299 | 2754049.6962 | 1178392.437 | 2754025.4748 | 1178385.0533
23 | 2754040.8667 | 1178361.1731 | 2754035.7622 | 1178367.7598
24 | 2754040.8667 | 1178361.1731 | 2754045.1607 | 1178354.7335 | 2754047.2917 | 1178351.2409 | 2754049.2418 | 1178347.3544 | 2754050.7727 | 1178343.4127 | 2754051.788 | 1178339.9025 | 2754052.5923 | 1178335.9754 | 2754052.9068 | 1178332.0691 | 2754053.7414 | 1178321.5987
25 | 2754095.4337 | 1178289.6927 | 2754091.5107 | 1178289.1359 | 2754087.8901 | 1178288.7092 | 2754085.4637 | 1178288.5903
26 | 2754095.4337 | 1178289.6927 | 2754100.4614 | 1178290.4002
27 | 2754100.4614 | 1178290.4002 | 2754099.2832 | 1178317.2278
28 | 2754100.4614 | 1178290.4002 | 2754107.1193 | 1178291.3387 | 2754114.8756 | 1178292.6724 | 2754115.1349 | 1178292.7236
29 | 2754132.1042 | 1178296.396 | 2754127.6278 | 1178295.3579 | 2754122.3226 | 1178294.1428 | 2754115.1349 | 1178292.7236
30 | 2754132.1042 | 1178296.396 | 2754130.9492 | 1178301.4706 | 2754130.3713 | 1178306.104 | 2754130.1121 | 1178309.5154
31 | 2754132.1042 | 1178296.396 | 2754136.1682 | 1178287.0311
32 | 2754132.1042 | 1178296.396 | 2754140.6533 | 1178299.0067 | 2754141.31 | 1178299.2161
33 | 2754130.1121 | 1178309.5154 | 2754130.0593 | 1178310.2105 | 2754130.0225 | 1178315.8032 | 2754130.1889 | 1178324.7927 | 2754130.6712 | 1178336.6595 | 2754130.8302 | 1178338.7364
34 | 2754136.1682 | 1178287.0311 | 2754147.2284 | 1178261.5444 | 2754147.2711 | 1178261.4409
35 | 2754141.31 | 1178299.2161 | 2754150.8223 | 1178302.2485 | 2754154.4835 | 1178303.5795
36 | 2754131.1028 | 1178342.2958 | 2754130.8302 | 1178338.7364
37 | 2754147.2711 | 1178261.4409 | 2754151.1997 | 1178251.9051 | 2754153.0641 | 1178246.593 | 2754153.0641 | 1178246.593
38 | 2754157.2396 | 1178304.6298 | 2754156.0563 | 1178304.1513 | 2754154.4835 | 1178303.5795
39 | 2754131.1028 | 1178342.2958 | 2754131.4724 | 1178347.1221 | 2754131.369 | 1178349.9552 | 2754131.0529 | 1178352.438
40 | 2754156.8941 | 1178229.0623 | 2754154.6201 | 1178240.4946 | 2754153.0641 | 1178246.593
41 | 2754172.8694 | 1178316.5938 | 2754170.231 | 1178313.0564 | 2754167.2331 | 1178310.1213 | 2754164.0898 | 1178307.783 | 2754160.5206 | 1178305.9564 | 2754157.2396 | 1178304.6298
42 | 2754126.7993 | 1178365.4325 | 2754125.9 | 1178368.1629
43 | 2754126.7993 | 1178365.4325 | 2754127.2692 | 1178364.006 | 2754129.8401 | 1178356.7883 | 2754130.5599 | 1178354.6605 | 2754131.0529 | 1178352.438 | 2754131.0529 | 1178352.438
44 | 2754125.9 | 1178368.1629 | 2754125.2648 | 1178370.0918
45 | 2754119.9578 | 1178384.7024 | 2754124.2838 | 1178373.0702 | 2754125.2648 | 1178370.0918
46 | 2754172.8694 | 1178316.5938 | 2754176.9725 | 1178324.1166 | 2754179.8108 | 1178328.2041 | 2754179.8108 | 1178328.2041
47 | 2754172.8694 | 1178316.5938 | 2754179.4782 | 1178310.225 | 2754182.5769 | 1178307.4579 | 2754185.9781 | 1178304.8209 | 2754186.3439 | 1178304.5748
48 | 2754179.8108 | 1178328.2041 | 2754180.5899 | 1178329.047
49 | 2754186.3439 | 1178304.5748 | 2754189.4168 | 1178302.5074 | 2754194.0985 | 1178300.0256 | 2754197.1836 | 1178298.501
50 | 2754180.5899 | 1178329.047 | 2754182.9274 | 1178331.5759 | 2754184.0315 | 1178332.7179
51 | 2754197.1836 | 1178298.501 | 2754200.3012 | 1178296.9603 | 2754206.433 | 1178294.8717 | 2754210.2005 | 1178293.7454 | 2754212.384 | 1178292.6784 | 2754213.9031 | 1178291.283 | 2754215.098 | 1178289.4121 | 2754215.9715 | 1178287.0936
52 | 2754195.9189 | 1178355.187 | 2754193.9395 | 1178348.1061 | 2754192.5454 | 1178344.3449 | 2754190.8654 | 1178340.999 | 2754188.7646 | 1178337.9646 | 2754186.3233 | 1178335.0884 | 2754184.0315 | 1178332.7179
53 | 2754215.9715 | 1178287.0936 | 2754216.7543 | 1178285.0156
54 | 2754216.7543 | 1178285.0156 | 2754219.5292 | 1178277.6496 | 2754221.1571 | 1178274.3998 | 2754223.3969 | 1178271.1436 | 2754225.7949 | 1178267.9804 | 2754226.1975 | 1178267.2362
55 | 2754226.1975 | 1178267.2362 | 2754227.1835 | 1178265.4139 | 2754227.6036 | 1178264.2754
56 | 2754157.2719 | 1178227.1627 | 2754156.8941 | 1178229.0623
57 | 2754158.0507 | 1178223.6353 | 2754157.2719 | 1178227.1627
58 | 2754158.0507 | 1178223.6353 | 2754167.5597 | 1178225.26
59 | 2754158.0507 | 1178223.6353 | 2754160.6405 | 1178205.0492
60 | 2754176.426 | 1178225.2867 | 2754174.5584 | 1178226.2618 | 2754173.2214 | 1178226.2274 | 2754167.5597 | 1178225.26
61 | 2754160.6877 | 1178204.7106 | 2754160.6405 | 1178205.0492
62 | 2754227.6036 | 1178264.2754 | 2754228.2848 | 1178262.4286 | 2754229.1413 | 1178258.5585 | 2754229.566 | 1178254.5328 | 2754229.61 | 1178253.8519
63 | 2754230.1532 | 1178245.4422 | 2754229.61 | 1178253.8519
64 | 2754230.6208 | 1178238.2018 | 2754230.1532 | 1178245.4422
65 | 2754230.6208 | 1178238.2018 | 2754221.7439 | 1178229.4987
66 | 2754230.6208 | 1178238.2018 | 2754237.0125 | 1178235.554
67 | 2754221.7439 | 1178229.4987 | 2754220.5684 | 1178228.3462 | 2754218.5988 | 1178226.4496 | 2754216.902 | 1178224.6489 | 2754215.1147 | 1178222.5011 | 2754213.8692 | 1178220.6898 | 2754212.9553 | 1178219.1124
68 | 2754237.0125 | 1178235.554 | 2754242.2975 | 1178233.3646 | 2754248.8507 | 1178230.3529 | 2754248.8507 | 1178230.3529
69 | 2754205.4467 | 1178211.9107 | 2754206.9582 | 1178212.6499 | 2754208.3205 | 1178213.4856 | 2754209.5283 | 1178214.3841 | 2754210.6353 | 1178215.6358 | 2754211.5821 | 1178216.8723 | 2754212.4564 | 1178218.2515 | 2754212.9553 | 1178219.1124
70 | 2754204.5973 | 1178211.4953 | 2754205.4467 | 1178211.9107
71 | 2754195.5598 | 1178201.0249 | 2754197.321 | 1178205.3738 | 2754197.793 | 1178206.6426 | 2754198.3923 | 1178207.7145 | 2754199.1887 | 1178208.5578 | 2754200.1495 | 1178209.2498 | 2754201.4615 | 1178209.9619 | 2754204.5973 | 1178211.4953
72 | 2754195.5598 | 1178201.0249 | 2754194.4588 | 1178196.2704 | 2754193.7431 | 1178192.2932 | 2754193.3054 | 1178188.501 | 2754192.9078 | 1178184.4465

## bus_geodata
| x | y | coords
0 | 2753677.5283 | 1178447.4165
1 | 2753701.8968 | 1178395.0061
2 | 2753968.5459 | 1178311.3525
3 | 2754027.5582 | 1178352.931
4 | 2753981.8846 | 1178179.4197
5 | 2753973.4071 | 1178176.5871
6 | 2754055.3181 | 1178171.5818
7 | 2754056.6039 | 1178176.9831
8 | 2754062.2629 | 1178204.8365
9 | 2754046.661 | 1178276.7292
10 | 2754057.793 | 1178282.8618
11 | 2754038.6132 | 1178312.0485
12 | 2754054.0126 | 1178318.197
13 | 2754068.5384 | 1178292.9268
14 | 2754049.1498 | 1178492.6124
15 | 2754034.0769 | 1178447.4997
16 | 2754030.9556 | 1178430.66
17 | 2754025.6639 | 1178403.8739
18 | 2754024.065 | 1178392.4671
19 | 2754024.9059 | 1178386.9041
20 | 2754025.4748 | 1178385.0533
21 | 2754035.7622 | 1178367.7598
22 | 2754068.3093 | 1178390.469
23 | 2754040.8667 | 1178361.1731
24 | 2754053.7414 | 1178321.5987
25 | 2754085.4637 | 1178288.5903
26 | 2754095.4337 | 1178289.6927
27 | 2754100.4614 | 1178290.4002
28 | 2754099.2832 | 1178317.2278
29 | 2754115.1348 | 1178292.7236
30 | 2754132.1042 | 1178296.396
31 | 2754130.1121 | 1178309.5154
32 | 2754136.1682 | 1178287.0311
33 | 2754141.31 | 1178299.2161
34 | 2754130.8302 | 1178338.7364
35 | 2754147.2711 | 1178261.4409
36 | 2754154.4835 | 1178303.5795
37 | 2754131.1028 | 1178342.2958
38 | 2754153.0641 | 1178246.593
39 | 2754157.2396 | 1178304.6298
40 | 2754126.7993 | 1178365.4325
41 | 2754125.9 | 1178368.1629
42 | 2754131.0529 | 1178352.438
43 | 2754125.2648 | 1178370.0918
44 | 2754119.9578 | 1178384.7024
45 | 2754172.8694 | 1178316.5938
46 | 2754179.8108 | 1178328.2041
47 | 2754186.3439 | 1178304.5748
48 | 2754180.5899 | 1178329.047
49 | 2754197.1836 | 1178298.501
50 | 2754184.0315 | 1178332.7179
51 | 2754215.9714 | 1178287.0936
52 | 2754195.9189 | 1178355.187
53 | 2754216.7543 | 1178285.0156
54 | 2754226.1975 | 1178267.2362
55 | 2754156.8941 | 1178229.0623
56 | 2754157.2719 | 1178227.1627
57 | 2754158.0507 | 1178223.6353
58 | 2754167.5597 | 1178225.26
59 | 2754160.6405 | 1178205.0492
60 | 2754176.426 | 1178225.2867
61 | 2754160.6877 | 1178204.7106
62 | 2754227.6036 | 1178264.2754
63 | 2754229.61 | 1178253.8519
64 | 2754230.1532 | 1178245.4422
65 | 2754230.6208 | 1178238.2018
66 | 2754221.7439 | 1178229.4987
67 | 2754237.0125 | 1178235.554
68 | 2754212.9553 | 1178219.1124
69 | 2754248.8507 | 1178230.3529
70 | 2754205.4467 | 1178211.9107
71 | 2754204.5973 | 1178211.4953
72 | 2754195.5598 | 1178201.0249
73 | 2754192.9078 | 1178184.4465
74 | 2754172.8694 | 1178316.5938

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1