## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3681-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3681-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3681-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3681-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3681-2_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3681-2_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_3681-2_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3681-2_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_3681-2_0_4_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_3681-2_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3681-2_0_4_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_3681-2_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3681-2_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3681-2_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_3681-2_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3681-2_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3681-2_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_3681-2_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_3681-2_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_MV_165_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3681-2_0_4_load_0 | 0 | 0.0015904 | 0.00039858 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3681-2_0_4_load_1 | 1 | 0.0048119 | 0.001206 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3681-2_0_4_load_3 | 3 | 0.0022521 | 0.00056442 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3681-2_0_4_load_5 | 4 | 0.036313 | 0.0091008 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3681-2_0_4_load_6 | 5 | 0.0057448 | 0.0014398 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3681-2_0_4_load_9 | 7 | 0.013995 | 0.0035075 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3681-2_0_4_load_7 | 9 | 0.020412 | 0.0051157 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3681-2_0_4_load_8 | 11 | 0.030483 | 0.0076396 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3681-2_0_4_load_10 | 12 | 0.019914 | 0.004991 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3681-2_0_4_load_11 | 15 | 0.016833 | 0.0042187 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3681-2_0_4_load_16 | 16 | 0.0181 | 0.0045363 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3681-2_0_4_load_17 | 17 | 0.02206 | 0.0055287 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3681-2_0_4_load_18 | 18 | 0.01302 | 0.0032632 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3681-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.19424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3681-2_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.27524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3681-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.01051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3681-2_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.49405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_3681-2_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.012937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3681-2_0_4_line_5 | NAYY 4x150 SE | 4 | 8 | 0.068642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_3681-2_0_4_line_6 | NAYY 4x150 SE | 6 | 7 | 0.025042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_3681-2_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.10816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_3681-2_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.01407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3681-2_0_4_line_9 | NAYY 4x150 SE | 8 | 10 | 0.12964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_3681-2_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.00046181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_3681-2_0_4_line_11 | NAYY 4x150 SE | 10 | 18 | 0.025366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3681-2_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.038355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_3681-2_0_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.088731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_3681-2_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.67282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_3681-2_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.13828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3681-2_0_4_line_16 | NAYY 4x150 SE | 16 | 17 | 0.015671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3681-2_0_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.059011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3681-2_0_4_trafo_19 | 0.25 MVA 20/0.4 kV | 19 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57
0 | 2756665.1915 | 1150158.9898 | 2756665.0581 | 1150159.7255 | 2756662.3873 | 1150170.2647 | 2756659.0312 | 1150181.1642 | 2756643.6998 | 1150221.599 | 2756638.103 | 1150238.9122 | 2756612.8867 | 1150328.0524 | 2756607.935 | 1150344.4642
1 | 2756767.4253 | 1149929.6647 | 2756756.436 | 1149939.5759 | 2756740.8327 | 1149952.6364 | 2756689.8701 | 1149993.7784 | 2756681.7524 | 1150000.7953 | 2756675.137 | 1150008.2406 | 2756670.8918 | 1150014.9246 | 2756666.7188 | 1150023.8568 | 2756664.5326 | 1150032.0067 | 2756663.6757 | 1150036.5993 | 2756664.026 | 1150044.3926 | 2756668.9759 | 1150095.3521 | 2756670.0553 | 1150108.7801 | 2756669.8726 | 1150122.2976 | 2756669.0802 | 1150134.7428 | 2756667.5603 | 1150145.9236 | 2756665.1915 | 1150158.9898
2 | 2756607.935 | 1150344.4642 | 2756604.8991 | 1150354.5265
3 | 2756767.4253 | 1149929.6647 | 2756775.0874 | 1149928.9412 | 2756780.6357 | 1149925.3159 | 2756800.8679 | 1149912.9765 | 2756822.0508 | 1149895.6912 | 2756847.9678 | 1149869.7777 | 2756862.4519 | 1149864.3168 | 2756869.1523 | 1149848.0222 | 2756897.207 | 1149812.9014 | 2756911.931 | 1149789.0984 | 2756921.6329 | 1149776.1403 | 2756930.7986 | 1149774.322 | 2756950.8438 | 1149755.6285 | 2756965.6947 | 1149749.6659 | 2756965.6018 | 1149739.3773 | 2756973.8077 | 1149729.2938 | 2756978.1385 | 1149717.5747 | 2756994.699 | 1149700.8478 | 2757014.7056 | 1149683.3546 | 2757025.7934 | 1149680.897 | 2757041.6723 | 1149676.1735 | 2757045.4523 | 1149672.3244 | 2757049.6114 | 1149671.9102 | 2757057.5763 | 1149661.6537 | 2757066.0883 | 1149658.1059 | 2757067.3824 | 1149653.8473 | 2757073.9905 | 1149650.2499 | 2757075.6811 | 1149644.6337 | 2757074.7047 | 1149636.7129 | 2757080.4582 | 1149629.657 | 2757086.442 | 1149609.0626 | 2757086.0521 | 1149601.335 | 2757087.5173 | 1149594.1376
4 | 2756604.8991 | 1150354.5265 | 2756601.1622 | 1150366.9123
5 | 2757129.8971 | 1149544.0862 | 2757125.6362 | 1149552.8157 | 2757098.5176 | 1149583.4674 | 2757089.18 | 1149585.9705 | 2757087.5173 | 1149594.1376
6 | 2757164.8468 | 1149463.2975 | 2757169.224 | 1149453.6482 | 2757177.7095 | 1149441.9562
7 | 2757129.8971 | 1149544.0862 | 2757124.6272 | 1149541.4356 | 2757122.3769 | 1149537.5848 | 2757122.3259 | 1149532.7684 | 2757124.175 | 1149527.5568 | 2757128.1679 | 1149522.0341 | 2757142.358 | 1149509.0378 | 2757168.0083 | 1149484.92 | 2757171.3897 | 1149481.0495 | 2757172.8351 | 1149476.8837 | 2757172.5421 | 1149472.2167 | 2757170.2669 | 1149467.5535 | 2757164.8468 | 1149463.2975
8 | 2757177.7095 | 1149441.9562 | 2757178.3722 | 1149441.043 | 2757187.2578 | 1149431.6341
9 | 2757129.8971 | 1149544.0862 | 2757135.0701 | 1149544.566 | 2757158.8348 | 1149533.8212 | 2757179.9258 | 1149523.685 | 2757173.8892 | 1149538.3397 | 2757172.9679 | 1149545.0879 | 2757175.5528 | 1149551.1269 | 2757174.3379 | 1149557.0557 | 2757171.521 | 1149559.9068 | 2757166.3437 | 1149561.3619 | 2757161.6939 | 1149560.8513 | 2757157.2358 | 1149562.125 | 2757151.8669 | 1149570.6254 | 2757151.0832 | 1149581.5251
10 | 2757187.5749 | 1149431.2983 | 2757187.2578 | 1149431.6341
11 | 2757151.0832 | 1149581.5251 | 2757148.1558 | 1149592.4355 | 2757140.1588 | 1149604.0121
12 | 2757218.6981 | 1149409.2709 | 2757216.0887 | 1149410.2791 | 2757202.8075 | 1149418.4616 | 2757190.6814 | 1149428.0088 | 2757187.5749 | 1149431.2983
13 | 2757273.9377 | 1149342.8771 | 2757271.7082 | 1149347.6451 | 2757258.1635 | 1149367.6749 | 2757243.1665 | 1149393.0156 | 2757236.6312 | 1149399.9842 | 2757226.9536 | 1149406.0813 | 2757218.6981 | 1149409.2709
14 | 2757273.9377 | 1149342.8771 | 2757282.4817 | 1149336.3614 | 2757293.4692 | 1149331.2995 | 2757304.5541 | 1149328.0972 | 2757327.8615 | 1149321.3778 | 2757337.502 | 1149317.593 | 2757342.1627 | 1149314.4565 | 2757345.978 | 1149308.6847 | 2757353.2528 | 1149286.9455 | 2757356.544 | 1149267.1262 | 2757352.7426 | 1149257.0742 | 2757347.0031 | 1149243.2797 | 2757355.2098 | 1149244.684 | 2757364.8358 | 1149248.5162 | 2757376.2856 | 1149257.5226 | 2757390.2532 | 1149264.5487 | 2757406.5239 | 1149271.635 | 2757418.8231 | 1149281.9425 | 2757438.4986 | 1149301.3168 | 2757445.3636 | 1149309.3695 | 2757446.5653 | 1149316.0063 | 2757448.3627 | 1149318.9557 | 2757452.3106 | 1149316.3456 | 2757456.4927 | 1149309.7716 | 2757460.3344 | 1149303.8782 | 2757464.4213 | 1149295.656 | 2757465.4506 | 1149285.0853 | 2757465.6188 | 1149276.3046 | 2757457.7229 | 1149264.7777 | 2757449.6216 | 1149249.3533 | 2757450.5793 | 1149236.5233 | 2757451.8423 | 1149226.4146 | 2757455.0222 | 1149214.0986 | 2757457.0391 | 1149209.5364 | 2757460.4741 | 1149188.6423 | 2757461.6675 | 1149186.4828 | 2757463.1099 | 1149177.1572 | 2757467.2516 | 1149156.5595 | 2757464.7218 | 1149154.2915 | 2757456.0062 | 1149146.4907 | 2757450.7571 | 1149136.5676 | 2757451.8027 | 1149125.3746 | 2757455.5026 | 1149117.8539 | 2757462.5707 | 1149115.5033 | 2757475.2448 | 1149128.5229 | 2757487.1668 | 1149141.5118 | 2757515.1683 | 1149165.9637 | 2757520.699 | 1149155.4217 | 2757527.836 | 1149155.4305 | 2757539.3367 | 1149167.7746 | 2757542.4402 | 1149168.6676 | 2757547.1546 | 1149160.5508 | 2757549.4372 | 1149159.3428 | 2757552.4363 | 1149164.2252 | 2757557.662 | 1149167.9871 | 2757560.2144 | 1149170.8562 | 2757558.8164 | 1149174.0779 | 2757569.4868 | 1149191.1376
15 | 2757569.4868 | 1149191.1376 | 2757581.4869 | 1149200.2477 | 2757611.0392 | 1149246.1473 | 2757646.7083 | 1149304.7691
16 | 2757111.6384 | 1149654.2836 | 2757105.1969 | 1149661.3613 | 2757101.1373 | 1149665.9156
17 | 2757140.1588 | 1149604.0121 | 2757139.2141 | 1149605.3797 | 2757138.3516 | 1149609.5829 | 2757137.9664 | 1149614.9217 | 2757135.2091 | 1149622.5561 | 2757127.0188 | 1149635.2642 | 2757124.0596 | 1149638.8567 | 2757114.2524 | 1149651.4114 | 2757111.6384 | 1149654.2836

## bus_geodata
| x | y | coords
0 | 2756665.1915 | 1150158.9898
1 | 2756607.935 | 1150344.4642
2 | 2756767.4253 | 1149929.6647
3 | 2756604.8991 | 1150354.5265
4 | 2757087.5173 | 1149594.1376
5 | 2756601.1622 | 1150366.9123
6 | 2757164.8467 | 1149463.2975
7 | 2757177.7095 | 1149441.9562
8 | 2757129.8971 | 1149544.0862
9 | 2757187.2578 | 1149431.6341
10 | 2757151.0832 | 1149581.5251
11 | 2757187.5749 | 1149431.2983
12 | 2757218.6981 | 1149409.2709
13 | 2757273.9377 | 1149342.8771
14 | 2757569.4868 | 1149191.1376
15 | 2757646.7083 | 1149304.7691
16 | 2757111.6384 | 1149654.2836
17 | 2757101.1373 | 1149665.9156
18 | 2757140.1588 | 1149604.012
19 | 2757179.9258 | 1149523.685

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1