## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3681-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3681-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3681-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3681-3_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3681-3_0_2_node_110 | 0.4 | n |  | TRUE
5 | bus_LV_3681-3_0_2_node_109 | 0.4 | n |  | TRUE
6 | bus_LV_3681-3_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3681-3_0_2_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_3681-3_0_2_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_3681-3_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3681-3_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3681-3_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3681-3_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3681-3_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3681-3_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3681-3_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3681-3_0_2_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_3681-3_0_2_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_3681-3_0_2_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_3681-3_0_2_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_3681-3_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3681-3_0_2_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_3681-3_0_2_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_3681-3_0_2_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_3681-3_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3681-3_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3681-3_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_3681-3_0_2_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_3681-3_0_2_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_3681-3_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_3681-3_0_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_3681-3_0_2_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_3681-3_0_2_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_3681-3_0_2_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_3681-3_0_2_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_3681-3_0_2_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_3681-3_0_2_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_3681-3_0_2_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_3681-3_0_2_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_3681-3_0_2_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_3681-3_0_2_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_3681-3_0_2_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_3681-3_0_2_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_3681-3_0_2_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_3681-3_0_2_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_3681-3_0_2_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_3681-3_0_2_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_3681-3_0_2_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_3681-3_0_2_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_3681-3_0_2_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_3681-3_0_2_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_3681-3_0_2_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_3681-3_0_2_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_3681-3_0_2_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_3681-3_0_2_node_45 | 0.4 | n |  | TRUE
55 | bus_MV_164_0_node_2 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3681-3_0_2_load_0 | 0 | 0.0043008 | 0.0010779 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3681-3_0_2_load_1 | 1 | 0.0030189 | 0.00075662 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3681-3_0_2_load_3 | 3 | 0.0053749 | 0.0013471 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3681-3_0_2_load_109 | 5 | 0.00066193 | 0.0001659 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3681-3_0_2_load_4 | 6 | 0.0031432 | 0.00078776 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3681-3_0_2_load_14 | 7 | 0.0042055 | 0.001054 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3681-3_0_2_load_15 | 8 | 0.0018676 | 0.00046806 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3681-3_0_2_load_7 | 9 | 0.0062604 | 0.001569 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3681-3_0_2_load_8 | 10 | 0.0026952 | 0.00067549 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3681-3_0_2_load_9 | 11 | 0.0036767 | 0.00092147 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3681-3_0_2_load_10 | 12 | 0.0011641 | 0.00029176 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3681-3_0_2_load_11 | 13 | 0.0026098 | 0.00065408 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3681-3_0_2_load_12 | 14 | 0.0026168 | 0.00065584 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3681-3_0_2_load_13 | 15 | 0.0018015 | 0.0004515 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3681-3_0_2_load_17 | 16 | 0.0019352 | 0.00048501 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3681-3_0_2_load_54 | 17 | 0.0013308 | 0.00033354 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3681-3_0_2_load_48 | 18 | 0.0023687 | 0.00059365 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3681-3_0_2_load_55 | 19 | 0.0024136 | 0.00060492 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3681-3_0_2_load_16 | 20 | 0.001612 | 0.00040401 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3681-3_0_2_load_24 | 21 | 0.004064 | 0.0010185 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3681-3_0_2_load_21 | 22 | 0.001387 | 0.00034762 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3681-3_0_2_load_43 | 23 | 0.0014144 | 0.00035448 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3681-3_0_2_load_18 | 24 | 0.0013902 | 0.00034841 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3681-3_0_2_load_19 | 25 | 0.0028894 | 0.00072414 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3681-3_0_2_load_22 | 27 | 0.0018941 | 0.00047472 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3681-3_0_2_load_23 | 28 | 0.00425 | 0.0010652 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3681-3_0_2_load_25 | 29 | 0.0033958 | 0.00085107 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3681-3_0_2_load_26 | 30 | 0.002606 | 0.00065313 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3681-3_0_2_load_46 | 31 | 0.0042695 | 0.00107 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3681-3_0_2_load_47 | 32 | 0.0035566 | 0.00089137 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3681-3_0_2_load_27 | 33 | 0.0033238 | 0.00083304 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3681-3_0_2_load_28 | 34 | 0.0044463 | 0.0011143 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3681-3_0_2_load_29 | 35 | 0.0051223 | 0.0012838 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3681-3_0_2_load_31 | 37 | 0.0072303 | 0.0018121 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3681-3_0_2_load_32 | 38 | 0.0046995 | 0.0011778 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3681-3_0_2_load_33 | 39 | 0.0050587 | 0.0012678 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3681-3_0_2_load_51 | 41 | 0.0029014 | 0.00072716 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3681-3_0_2_load_49 | 42 | 0.0025232 | 0.00063237 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3681-3_0_2_load_34 | 43 | 0.00098767 | 0.00024753 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3681-3_0_2_load_37 | 45 | 0.0014564 | 0.00036502 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3681-3_0_2_load_38 | 46 | 0.0019328 | 0.0004844 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3681-3_0_2_load_40 | 47 | 0.0011566 | 0.00028988 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3681-3_0_2_load_53 | 51 | 0.0010579 | 0.00026513 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3681-3_0_2_load_44 | 52 | 0.0012879 | 0.00032278 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3681-3_0_2_load_52 | 53 | 0.0011616 | 0.00029113 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3681-3_0_2_load_45 | 54 | 0.0018474 | 0.00046301 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3681-3_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.15178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3681-3_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.1132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3681-3_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.04174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3681-3_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.35531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3681-3_0_2_line_4 | NAYY 4x150 SE | 3 | 6 | 0.0033128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3681-3_0_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.09212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3681-3_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.025678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3681-3_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0028571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3681-3_0_2_line_8 | NAYY 4x150 SE | 8 | 20 | 0.0047382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3681-3_0_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.01038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3681-3_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.014844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3681-3_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.018855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3681-3_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.019334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3681-3_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.00015624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3681-3_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0031586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3681-3_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.0037316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3681-3_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.0015919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3681-3_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.048242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3681-3_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.011243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3681-3_0_2_line_19 | NAYY 4x150 SE | 18 | 23 | 0.004592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3681-3_0_2_line_20 | NAYY 4x150 SE | 19 | 30 | 0.013655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3681-3_0_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.012734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3681-3_0_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.010155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3681-3_0_2_line_23 | NAYY 4x150 SE | 22 | 25 | 0.0058339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3681-3_0_2_line_24 | NAYY 4x150 SE | 23 | 49 | 0.13876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3681-3_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.0039649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3681-3_0_2_line_26 | NAYY 4x150 SE | 24 | 26 | 0.022903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3681-3_0_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.029219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3681-3_0_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.018423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3681-3_0_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.014408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3681-3_0_2_line_30 | NAYY 4x150 SE | 28 | 30 | 1.956e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3681-3_0_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.015099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3681-3_0_2_line_32 | NAYY 4x150 SE | 31 | 32 | 0.0039864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3681-3_0_2_line_33 | NAYY 4x150 SE | 32 | 38 | 0.024996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3681-3_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.053498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3681-3_0_2_line_35 | NAYY 4x150 SE | 33 | 35 | 0.01833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3681-3_0_2_line_36 | NAYY 4x150 SE | 34 | 36 | 0.0073082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3681-3_0_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.043059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3681-3_0_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.0072569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3681-3_0_2_line_39 | NAYY 4x150 SE | 36 | 39 | 0.013662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3681-3_0_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.0060529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3681-3_0_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.016961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3681-3_0_2_line_42 | NAYY 4x150 SE | 40 | 42 | 0.024941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3681-3_0_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.28756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3681-3_0_2_line_44 | NAYY 4x150 SE | 44 | 45 | 0.010565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3681-3_0_2_line_45 | NAYY 4x150 SE | 44 | 46 | 0.0024355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3681-3_0_2_line_46 | NAYY 4x150 SE | 45 | 47 | 0.026611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3681-3_0_2_line_47 | NAYY 4x150 SE | 46 | 48 | 0.18634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3681-3_0_2_line_48 | NAYY 4x150 SE | 47 | 50 | 0.068355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3681-3_0_2_line_49 | NAYY 4x150 SE | 48 | 51 | 0.20055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3681-3_0_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.13884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3681-3_0_2_line_51 | NAYY 4x150 SE | 50 | 52 | 0.063778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3681-3_0_2_line_52 | NAYY 4x150 SE | 51 | 53 | 0.020248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3681-3_0_2_line_53 | NAYY 4x150 SE | 52 | 54 | 0.13506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3681-3_0_2_trafo_55 | 0.25 MVA 20/0.4 kV | 55 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29
0 | 2759492.1195 | 1148787.8231 | 2759491.0288 | 1148791.6879 | 2759488.8949 | 1148794.5115 | 2759485.0671 | 1148798.925 | 2759468.3493 | 1148803.8202 | 2759457.3124 | 1148804.2508 | 2759448.9421 | 1148804.9522 | 2759407.0824 | 1148837.2275 | 2759377.8114 | 1148856.8921 | 2759368.1832 | 1148862.4533 | 2759366.2583 | 1148863.6648
1 | 2759558.2516 | 1148730.1377 | 2759556.8348 | 1148746.4916 | 2759551.0888 | 1148753.1229 | 2759539.3881 | 1148759.1738 | 2759526.0686 | 1148764.27 | 2759521.644 | 1148763.9415 | 2759520.066 | 1148761.4421 | 2759519.1519 | 1148756.7918 | 2759517.9563 | 1148755.2255 | 2759514.2883 | 1148753.894 | 2759509.6263 | 1148754.6935 | 2759504.8091 | 1148761.6496 | 2759499.011 | 1148770.537 | 2759496.3021 | 1148779.406 | 2759493.0723 | 1148784.447 | 2759492.1195 | 1148787.8231
2 | 2759366.2583 | 1148863.6648 | 2759330.9322 | 1148885.8976
3 | 2759558.2516 | 1148730.1377 | 2759320.931 | 1148465.7067
4 | 2759328.1285 | 1148887.6621 | 2759330.9322 | 1148885.8976
5 | 2759320.931 | 1148465.7067 | 2759310.8159 | 1148469.3202 | 2759293.6472 | 1148472.9361 | 2759239.8179 | 1148480.3979 | 2759230.5136 | 1148482.266
6 | 2759328.1285 | 1148887.6621 | 2759316.6861 | 1148894.8635 | 2759306.529 | 1148901.545 | 2759306.529 | 1148901.545
7 | 2759303.9015 | 1148902.6673 | 2759306.529 | 1148901.545
8 | 2759303.9015 | 1148902.6673 | 2759299.5441 | 1148904.5283
9 | 2759192.049 | 1148965.0501 | 2759183.0214 | 1148968.4601 | 2759182.3497 | 1148968.7457
10 | 2759192.049 | 1148965.0501 | 2759193.6145 | 1148964.4588 | 2759205.934 | 1148959.8003
11 | 2759165.8496 | 1148977.7361 | 2759168.2164 | 1148976.0088 | 2759175.7328 | 1148971.5591 | 2759182.3497 | 1148968.7457
12 | 2759205.934 | 1148959.8003 | 2759214.9717 | 1148956.3828 | 2759224.1002 | 1148953.1877
13 | 2759165.7234 | 1148977.8282 | 2759165.8496 | 1148977.7361
14 | 2759227.0814 | 1148952.1443 | 2759224.1002 | 1148953.1877
15 | 2759162.7092 | 1148980.028 | 2759165.7234 | 1148977.8282
16 | 2759228.5839 | 1148951.6184 | 2759227.0814 | 1148952.1443
17 | 2759162.7092 | 1148980.028 | 2759141.3063 | 1148995.648 | 2759130.6447 | 1149001.0821 | 2759121.3524 | 1149004.1282
18 | 2759228.5839 | 1148951.6184 | 2759235.266 | 1148949.2796 | 2759239.2296 | 1148948.0061
19 | 2759116.8498 | 1149005.0297 | 2759121.3524 | 1149004.1282 | 2759121.3524 | 1149004.1282
20 | 2759252.2301 | 1148943.8292 | 2759239.2296 | 1148948.0061
21 | 2759287.1175 | 1148907.267 | 2759299.1 | 1148904.718 | 2759299.5441 | 1148904.5283
22 | 2759277.2407 | 1148909.5446 | 2759277.8982 | 1148909.2282 | 2759287.1175 | 1148907.267
23 | 2759271.9838 | 1148912.0743 | 2759271.9838 | 1148912.0743 | 2759277.2407 | 1148909.5446
24 | 2759007.046 | 1149071.023 | 2759018.1371 | 1149050.1872 | 2759025.1665 | 1149038.5629 | 2759030.9167 | 1149031.4532 | 2759037.5933 | 1149024.468 | 2759044.0393 | 1149020.1011 | 2759049.7745 | 1149016.7607 | 2759057.2983 | 1149013.7679 | 2759062.1043 | 1149012.4492 | 2759071.4553 | 1149010.9614 | 2759112.1764 | 1149005.9653 | 2759116.8498 | 1149005.0297
25 | 2759271.9838 | 1148912.0743 | 2759269.8215 | 1148915.3977
26 | 2759269.7718 | 1148938.1932 | 2759268.96 | 1148919.5006 | 2759269.8215 | 1148915.3977
27 | 2759269.7718 | 1148938.1932 | 2759291.0064 | 1148932.4384 | 2759298.1224 | 1148931.2284
28 | 2759269.7718 | 1148938.1932 | 2759252.232 | 1148943.8286
29 | 2759298.1224 | 1148931.2284 | 2759301.1939 | 1148930.7061 | 2759312.4237 | 1148929.5195
30 | 2759252.2301 | 1148943.8292 | 2759252.232 | 1148943.8286
31 | 2759312.4237 | 1148929.5195 | 2759327.4391 | 1148927.9329
32 | 2759331.4035 | 1148927.514 | 2759327.4391 | 1148927.9329
33 | 2759331.4035 | 1148927.514 | 2759356.2614 | 1148924.8874
34 | 2759361.4134 | 1148931.0028 | 2759332.4322 | 1148960.0785 | 2759323.8601 | 1148969.1017
35 | 2759310.485 | 1148981.5923 | 2759317.9221 | 1148975.3522 | 2759323.8601 | 1148969.1017
36 | 2759363.4781 | 1148924.1248 | 2759362.0767 | 1148930.3374 | 2759361.4134 | 1148931.0028
37 | 2759273.0055 | 1149002.4322 | 2759289.2601 | 1148994.9777 | 2759291.3368 | 1148994.0207 | 2759305.806 | 1148985.5182 | 2759310.485 | 1148981.5923
38 | 2759363.4781 | 1148924.1248 | 2759356.2614 | 1148924.8874
39 | 2759363.4781 | 1148924.1248 | 2759371.1108 | 1148923.1258 | 2759376.6813 | 1148920.9937
40 | 2759382.3342 | 1148918.8301 | 2759376.6813 | 1148920.9937
41 | 2759382.3342 | 1148918.8301 | 2759391.8533 | 1148912.1651 | 2759395.7369 | 1148908.4996
42 | 2759382.3342 | 1148918.8301 | 2759388.3054 | 1148921.6792 | 2759406.188 | 1148917.6792
43 | 2758780.664 | 1149157.5051 | 2758779.8639 | 1149165.1236 | 2758776.3645 | 1149169.3461 | 2758771.5622 | 1149172.867 | 2758754.6352 | 1149183.4299 | 2758744.1574 | 1149191.8276 | 2758734.845 | 1149199.4442 | 2758729.5742 | 1149203.5421 | 2758722.7925 | 1149207.8338 | 2758705.2115 | 1149217.2787 | 2758684.4261 | 1149231.9992 | 2758678.5168 | 1149237.8819 | 2758674.7146 | 1149243.9758 | 2758673.021 | 1149251.1038 | 2758672.651 | 1149260.1905 | 2758672.6467 | 1149269.9763 | 2758672.4932 | 1149272.8858 | 2758670.6638 | 1149275.84 | 2758667.5289 | 1149278.7711 | 2758661.2745 | 1149283.755 | 2758655.5182 | 1149290.5425 | 2758653.2753 | 1149299.8578 | 2758659.9229 | 1149323.3968 | 2758666.1209 | 1149331.0441 | 2758676.2943 | 1149334.7706 | 2758687.4343 | 1149334.1745 | 2758693.6058 | 1149331.457 | 2758697.9952 | 1149329.3152 | 2758710.0205 | 1149323.4047 | 2758712.5553 | 1149322.4327
44 | 2758780.664 | 1149157.5051 | 2758790.9886 | 1149155.2637
45 | 2758780.664 | 1149157.5051 | 2758778.254 | 1149157.8562
46 | 2758790.9886 | 1149155.2637 | 2758791.4896 | 1149155.1549 | 2758797.8808 | 1149152.8547 | 2758804.4328 | 1149149.4134 | 2758809.6804 | 1149145.6152 | 2758814.1166 | 1149142.4885
47 | 2758610.6885 | 1149231.1021 | 2758611.5404 | 1149229.968 | 2758619.0086 | 1149222.0691 | 2758621.4887 | 1149219.788 | 2758634.8148 | 1149209.7081 | 2758650.4276 | 1149200.0221 | 2758672.1311 | 1149189.5291 | 2758703.2655 | 1149175.3815 | 2758721.6277 | 1149168.6594 | 2758733.166 | 1149165.2049 | 2758745.6344 | 1149162.6088 | 2758778.254 | 1149157.8562
48 | 2758876.1373 | 1149114.4183 | 2758849.4811 | 1149123.9126 | 2758831.7286 | 1149131.6845 | 2758818.9882 | 1149139.0549 | 2758814.1166 | 1149142.4885
49 | 2758610.6885 | 1149231.1021 | 2758605.0648 | 1149229.3527 | 2758602.2424 | 1149230.3348 | 2758593.1773 | 1149241.1163 | 2758574.8548 | 1149259.4717 | 2758562.5647 | 1149271.3582 | 2758551.1423 | 1149280.343 | 2758521.7717 | 1149293.7705 | 2758512.8772 | 1149297.7844 | 2758508.1006 | 1149297.1249 | 2758505.2455 | 1149294.392 | 2758505.258 | 1149288.9544 | 2758517.25 | 1149273.2123 | 2758524.4325 | 1149263.3152 | 2758528.5663 | 1149253.0821 | 2758530.0132 | 1149232.4286
50 | 2759007.046 | 1149071.023 | 2759004.6664 | 1149073.8515 | 2759001.4436 | 1149076.6132 | 2758997.5604 | 1149079.3575 | 2758992.7978 | 1149081.656 | 2758984.0785 | 1149084.8287 | 2758968.9398 | 1149089.0329 | 2758954.8243 | 1149092.8972 | 2758876.1373 | 1149114.4183
51 | 2758876.1373 | 1149114.4183 | 2758876.9479 | 1149108.1567 | 2758880.9077 | 1149100.7549 | 2758894.8812 | 1149084.7989 | 2758900.934 | 1149076.6961 | 2758910.1062 | 1149071.5003 | 2758913.7484 | 1149069.1499 | 2758913.2544 | 1149066.3234
52 | 2758531.9637 | 1149212.2762 | 2758530.2646 | 1149228.84 | 2758530.0132 | 1149232.4286
53 | 2758786.6206 | 1149070.8677 | 2758809.691 | 1149059.8441 | 2758837.8294 | 1149049.5103 | 2758855.9216 | 1149048.6752 | 2758873.2445 | 1149048.7541 | 2758889.327 | 1149052.748 | 2758913.2544 | 1149066.3234

## bus_geodata
| x | y | coords
0 | 2759492.1195 | 1148787.8231
1 | 2759366.2583 | 1148863.6648
2 | 2759558.2516 | 1148730.1377
3 | 2759330.9322 | 1148885.8976
4 | 2759320.931 | 1148465.7067
5 | 2759230.5136 | 1148482.266
6 | 2759328.1284 | 1148887.6621
7 | 2759306.529 | 1148901.545
8 | 2759303.9015 | 1148902.6673
9 | 2759192.049 | 1148965.0501
10 | 2759182.3497 | 1148968.7457
11 | 2759205.934 | 1148959.8003
12 | 2759165.8496 | 1148977.7361
13 | 2759224.1002 | 1148953.1877
14 | 2759165.7234 | 1148977.8282
15 | 2759227.0814 | 1148952.1443
16 | 2759162.7092 | 1148980.028
17 | 2759228.5839 | 1148951.6184
18 | 2759121.3524 | 1149004.1282
19 | 2759239.2296 | 1148948.0061
20 | 2759299.5441 | 1148904.5283
21 | 2759287.1175 | 1148907.267
22 | 2759277.2407 | 1148909.5446
23 | 2759116.8498 | 1149005.0297
24 | 2759269.8215 | 1148915.3977
25 | 2759271.9838 | 1148912.0743
26 | 2759269.7718 | 1148938.1932
27 | 2759298.1224 | 1148931.2284
28 | 2759252.232 | 1148943.8286
29 | 2759312.4237 | 1148929.5195
30 | 2759252.2301 | 1148943.8292
31 | 2759327.4391 | 1148927.9329
32 | 2759331.4035 | 1148927.514
33 | 2759323.8601 | 1148969.1017
34 | 2759361.4134 | 1148931.0028
35 | 2759310.485 | 1148981.5923
36 | 2759363.4781 | 1148924.1248
37 | 2759273.0055 | 1149002.4322
38 | 2759356.2614 | 1148924.8874
39 | 2759376.6813 | 1148920.9937
40 | 2759382.3342 | 1148918.8301
41 | 2759395.7369 | 1148908.4996
42 | 2759406.188 | 1148917.6792
43 | 2758712.5553 | 1149322.4327
44 | 2758780.664 | 1149157.5051
45 | 2758790.9886 | 1149155.2637
46 | 2758778.254 | 1149157.8562
47 | 2758814.1166 | 1149142.4885
48 | 2758610.6885 | 1149231.1021
49 | 2759007.046 | 1149071.023
50 | 2758876.1373 | 1149114.4183
51 | 2758530.0132 | 1149232.4286
52 | 2758913.2544 | 1149066.3234
53 | 2758531.9637 | 1149212.2762
54 | 2758786.6206 | 1149070.8677
55 | 2759269.7718 | 1148938.1932

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1