## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3714-10_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3714-10_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3714-10_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3714-10_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3714-10_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3714-10_0_2_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_3714-10_0_2_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_3714-10_0_2_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_3714-10_0_2_node_65 | 0.4 | n |  | TRUE
9 | bus_LV_3714-10_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3714-10_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3714-10_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3714-10_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3714-10_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3714-10_0_2_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_3714-10_0_2_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_3714-10_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3714-10_0_2_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_3714-10_0_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_3714-10_0_2_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_3714-10_0_2_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3714-10_0_2_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3714-10_0_2_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_3714-10_0_2_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_3714-10_0_2_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_3714-10_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_3714-10_0_2_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_3714-10_0_2_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_3714-10_0_2_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_3714-10_0_2_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_3714-10_0_2_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_3714-10_0_2_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_3714-10_0_2_node_89 | 0.4 | n |  | TRUE
33 | bus_LV_3714-10_0_2_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_3714-10_0_2_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_3714-10_0_2_node_74 | 0.4 | n |  | TRUE
36 | bus_LV_3714-10_0_2_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_3714-10_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_3714-10_0_2_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_3714-10_0_2_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_3714-10_0_2_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_3714-10_0_2_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_3714-10_0_2_node_79 | 0.4 | n |  | TRUE
43 | bus_LV_3714-10_0_2_node_80 | 0.4 | n |  | TRUE
44 | bus_LV_3714-10_0_2_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_3714-10_0_2_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_3714-10_0_2_node_73 | 0.4 | n |  | TRUE
47 | bus_LV_3714-10_0_2_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_3714-10_0_2_node_71 | 0.4 | n |  | TRUE
49 | bus_LV_3714-10_0_2_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_3714-10_0_2_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_3714-10_0_2_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_3714-10_0_2_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_3714-10_0_2_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_3714-10_0_2_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_3714-10_0_2_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_3714-10_0_2_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_3714-10_0_2_node_68 | 0.4 | n |  | TRUE
58 | bus_LV_3714-10_0_2_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_3714-10_0_2_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_3714-10_0_2_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_3714-10_0_2_node_83 | 0.4 | n |  | TRUE
62 | bus_LV_3714-10_0_2_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_3714-10_0_2_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_3714-10_0_2_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_3714-10_0_2_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_3714-10_0_2_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_3714-10_0_2_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_3714-10_0_2_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_3714-10_0_2_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_3714-10_0_2_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_3714-10_0_2_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_3714-10_0_2_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_3714-10_0_2_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_3714-10_0_2_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_3714-10_0_2_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_3714-10_0_2_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_3714-10_0_2_node_88 | 0.4 | n |  | TRUE
78 | bus_LV_3714-10_0_2_node_87 | 0.4 | n |  | TRUE
79 | bus_LV_3714-10_0_2_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_3714-10_0_2_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_3714-10_0_2_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_3714-10_0_2_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_3714-10_0_2_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_3714-10_0_2_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_3714-10_0_2_node_86 | 0.4 | n |  | TRUE
86 | bus_MV_166_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3714-10_0_2_load_0 | 0 | 0.0037337 | 0.00093575 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3714-10_0_2_load_1 | 1 | 0.0039462 | 0.00098901 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3714-10_0_2_load_4 | 4 | 0.0056944 | 0.0014272 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3714-10_0_2_load_37 | 5 | 0.0011957 | 0.00029967 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3714-10_0_2_load_64 | 6 | 0.004534 | 0.0011363 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3714-10_0_2_load_35 | 7 | 0.00088887 | 0.00022277 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3714-10_0_2_load_65 | 8 | 0.0062986 | 0.0015786 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3714-10_0_2_load_5 | 9 | 0.0011118 | 0.00027866 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3714-10_0_2_load_6 | 10 | 0.0033174 | 0.00083142 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3714-10_0_2_load_9 | 13 | 0.001112 | 0.0002787 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3714-10_0_2_load_14 | 14 | 0.0037711 | 0.00094512 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3714-10_0_2_load_23 | 17 | 0.0011236 | 0.00028161 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3714-10_0_2_load_20 | 18 | 0.00070238 | 0.00017603 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3714-10_0_2_load_21 | 19 | 0.0028206 | 0.00070691 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3714-10_0_2_load_11 | 20 | 0.0013395 | 0.0003357 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3714-10_0_2_load_42 | 22 | 0.0027283 | 0.00068379 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3714-10_0_2_load_43 | 23 | 0.0032596 | 0.00081693 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3714-10_0_2_load_15 | 24 | 0.00032659 | 8.185e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3714-10_0_2_load_19 | 28 | 0.0010911 | 0.00027345 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3714-10_0_2_load_32 | 29 | 0.0002469 | 6.1879e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3714-10_0_2_load_30 | 30 | 0.00038801 | 9.7243e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3714-10_0_2_load_28 | 31 | 0.00036886 | 9.2445e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3714-10_0_2_load_89 | 32 | 0.00044732 | 0.00011211 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3714-10_0_2_load_29 | 34 | 0.00033385 | 8.3672e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3714-10_0_2_load_74 | 35 | 0.00036132 | 9.0555e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3714-10_0_2_load_36 | 36 | 0.0012438 | 0.00031174 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3714-10_0_2_load_34 | 37 | 0.0015275 | 0.00038283 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3714-10_0_2_load_24 | 38 | 0.00036896 | 9.2471e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3714-10_0_2_load_25 | 39 | 0.00042566 | 0.00010668 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3714-10_0_2_load_61 | 40 | 0.00030537 | 7.6533e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3714-10_0_2_load_62 | 41 | 0.00036649 | 9.1852e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3714-10_0_2_load_79 | 42 | 0.00041336 | 0.0001036 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3714-10_0_2_load_80 | 43 | 0.00067572 | 0.00016935 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3714-10_0_2_load_39 | 44 | 0.00062503 | 0.00015665 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3714-10_0_2_load_38 | 45 | 0.0010309 | 0.00025837 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3714-10_0_2_load_71 | 48 | 0.0017322 | 0.00043414 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3714-10_0_2_load_33 | 49 | 0.00034088 | 8.5432e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3714-10_0_2_load_45 | 50 | 0.0026204 | 0.00065672 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3714-10_0_2_load_82 | 51 | 0.00044799 | 0.00011228 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3714-10_0_2_load_46 | 52 | 0.0015828 | 0.00039669 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3714-10_0_2_load_40 | 53 | 0.00063236 | 0.00015849 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3714-10_0_2_load_41 | 54 | 0.00055388 | 0.00013881 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3714-10_0_2_load_44 | 58 | 0.001446 | 0.00036239 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3714-10_0_2_load_49 | 59 | 0.0015605 | 0.0003911 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3714-10_0_2_load_47 | 60 | 0.00093925 | 0.0002354 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3714-10_0_2_load_83 | 61 | 0.00052397 | 0.00013132 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3714-10_0_2_load_48 | 62 | 0.0025522 | 0.00063965 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3714-10_0_2_load_67 | 64 | 0.003517 | 0.00088144 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3714-10_0_2_load_55 | 66 | 0.0077745 | 0.0019485 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3714-10_0_2_load_51 | 67 | 0.010306 | 0.002583 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3714-10_0_2_load_52 | 68 | 0.0010672 | 0.00026746 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3714-10_0_2_load_54 | 69 | 0.0053166 | 0.0013325 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3714-10_0_2_load_84 | 70 | 0.0017825 | 0.00044674 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3714-10_0_2_load_69 | 71 | 0.00083873 | 0.0002102 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3714-10_0_2_load_85 | 72 | 0.0064059 | 0.0016055 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3714-10_0_2_load_56 | 73 | 0.0013254 | 0.00033217 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3714-10_0_2_load_57 | 74 | 0.0013015 | 0.00032618 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3714-10_0_2_load_60 | 76 | 0.004643 | 0.0011636 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3714-10_0_2_load_88 | 77 | 0.0021312 | 0.00053413 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3714-10_0_2_load_87 | 78 | 0.0011503 | 0.0002883 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3714-10_0_2_load_75 | 79 | 0.0045431 | 0.0011386 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3714-10_0_2_load_76 | 80 | 0.0027623 | 0.00069229 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3714-10_0_2_load_66 | 81 | 0.0025647 | 0.00064277 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3714-10_0_2_load_78 | 82 | 0.0019208 | 0.00048139 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3714-10_0_2_load_72 | 84 | 0.0014404 | 0.00036101 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3714-10_0_2_load_86 | 85 | 0.0015603 | 0.00039105 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3714-10_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.009426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3714-10_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3714-10_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.007725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3714-10_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0062862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3714-10_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.012436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3714-10_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.018372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3714-10_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.015254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3714-10_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0066298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3714-10_0_2_line_8 | NAYY 4x150 SE | 7 | 37 | 0.0090073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3714-10_0_2_line_9 | NAYY 4x150 SE | 8 | 81 | 0.010561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3714-10_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.020122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3714-10_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.015224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3714-10_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.018122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3714-10_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.012907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3714-10_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.011666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3714-10_0_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0086823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3714-10_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.012728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3714-10_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.012642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3714-10_0_2_line_18 | NAYY 4x150 SE | 15 | 18 | 0.012556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3714-10_0_2_line_19 | NAYY 4x150 SE | 16 | 21 | 0.018935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3714-10_0_2_line_20 | NAYY 4x150 SE | 16 | 20 | 0.0090292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3714-10_0_2_line_21 | NAYY 4x150 SE | 17 | 36 | 0.011977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3714-10_0_2_line_22 | NAYY 4x150 SE | 18 | 19 | 0.015782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3714-10_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.0089407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3714-10_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.019853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3714-10_0_2_line_25 | NAYY 4x150 SE | 23 | 58 | 0.01464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3714-10_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.01263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3714-10_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.12504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3714-10_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.01824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3714-10_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.042295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3714-10_0_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.038657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3714-10_0_2_line_31 | NAYY 4x150 SE | 27 | 30 | 0.017327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3714-10_0_2_line_32 | NAYY 4x150 SE | 28 | 31 | 0.041335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3714-10_0_2_line_33 | NAYY 4x150 SE | 29 | 32 | 0.014063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3714-10_0_2_line_34 | NAYY 4x150 SE | 30 | 33 | 0.030781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3714-10_0_2_line_35 | NAYY 4x150 SE | 31 | 34 | 0.13256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3714-10_0_2_line_36 | NAYY 4x150 SE | 31 | 35 | 0.13232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3714-10_0_2_line_37 | NAYY 4x150 SE | 32 | 51 | 0.01064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3714-10_0_2_line_38 | NAYY 4x150 SE | 33 | 49 | 0.020253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3714-10_0_2_line_39 | NAYY 4x150 SE | 35 | 38 | 0.18687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3714-10_0_2_line_40 | NAYY 4x150 SE | 36 | 37 | 0.018972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3714-10_0_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.067881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3714-10_0_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.27259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3714-10_0_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.15233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3714-10_0_2_line_44 | NAYY 4x150 SE | 41 | 42 | 0.2854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3714-10_0_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.065987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3714-10_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.034667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3714-10_0_2_line_47 | NAYY 4x150 SE | 45 | 53 | 0.013073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3714-10_0_2_line_48 | NAYY 4x150 SE | 46 | 47 | 0.050697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3714-10_0_2_line_49 | NAYY 4x150 SE | 46 | 48 | 0.049941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3714-10_0_2_line_50 | NAYY 4x150 SE | 47 | 71 | 0.035295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3714-10_0_2_line_51 | NAYY 4x150 SE | 48 | 84 | 0.041305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3714-10_0_2_line_52 | NAYY 4x150 SE | 49 | 50 | 0.0042291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3714-10_0_2_line_53 | NAYY 4x150 SE | 50 | 52 | 0.038808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3714-10_0_2_line_54 | NAYY 4x150 SE | 51 | 56 | 0.023889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3714-10_0_2_line_55 | NAYY 4x150 SE | 52 | 61 | 0.0018116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3714-10_0_2_line_56 | NAYY 4x150 SE | 53 | 54 | 0.0015202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3714-10_0_2_line_57 | NAYY 4x150 SE | 54 | 55 | 0.020602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3714-10_0_2_line_58 | NAYY 4x150 SE | 55 | 56 | 0.008833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3714-10_0_2_line_59 | NAYY 4x150 SE | 55 | 57 | 0.048052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3714-10_0_2_line_60 | NAYY 4x150 SE | 57 | 71 | 0.018888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3714-10_0_2_line_61 | NAYY 4x150 SE | 57 | 69 | 0.034584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3714-10_0_2_line_62 | NAYY 4x150 SE | 58 | 59 | 0.026951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3714-10_0_2_line_63 | NAYY 4x150 SE | 59 | 60 | 0.014529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3714-10_0_2_line_64 | NAYY 4x150 SE | 60 | 62 | 0.017652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3714-10_0_2_line_65 | NAYY 4x150 SE | 62 | 63 | 0.009187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3714-10_0_2_line_66 | NAYY 4x150 SE | 63 | 64 | 0.034352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3714-10_0_2_line_67 | NAYY 4x150 SE | 65 | 66 | 0.011653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3714-10_0_2_line_68 | NAYY 4x150 SE | 65 | 67 | 0.013719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3714-10_0_2_line_69 | NAYY 4x150 SE | 66 | 70 | 0.0060851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3714-10_0_2_line_70 | NAYY 4x150 SE | 67 | 68 | 0.007697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3714-10_0_2_line_71 | NAYY 4x150 SE | 68 | 69 | 0.017527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3714-10_0_2_line_72 | NAYY 4x150 SE | 70 | 72 | 0.01597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3714-10_0_2_line_73 | NAYY 4x150 SE | 72 | 85 | 0.0031317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3714-10_0_2_line_74 | NAYY 4x150 SE | 73 | 74 | 0.031168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3714-10_0_2_line_75 | NAYY 4x150 SE | 73 | 75 | 0.00036982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3714-10_0_2_line_76 | NAYY 4x150 SE | 75 | 76 | 0.025445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3714-10_0_2_line_77 | NAYY 4x150 SE | 76 | 77 | 0.011006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3714-10_0_2_line_78 | NAYY 4x150 SE | 77 | 78 | 0.0022636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3714-10_0_2_line_79 | NAYY 4x150 SE | 78 | 83 | 0.015424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3714-10_0_2_line_80 | NAYY 4x150 SE | 79 | 80 | 0.012183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3714-10_0_2_line_81 | NAYY 4x150 SE | 80 | 83 | 0.0096708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3714-10_0_2_line_82 | NAYY 4x150 SE | 81 | 82 | 0.0048066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3714-10_0_2_line_83 | NAYY 4x150 SE | 82 | 83 | 0.015971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3714-10_0_2_line_84 | NAYY 4x150 SE | 83 | 85 | 0.014666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3714-10_0_2_trafo_84 | 0.25 MVA 20/0.4 kV | 86 | 70 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2735037.4528 | 1154840.942 | 2735035.1936 | 1154831.7908
1 | 2735029.2275 | 1154823.7893 | 2735032.2401 | 1154825.6472 | 2735033.9637 | 1154826.8089 | 2735035.1936 | 1154831.7908
2 | 2735022.2145 | 1154820.6631 | 2735024.2206 | 1154821.8868 | 2735026.9829 | 1154823.272 | 2735029.2275 | 1154823.7893
3 | 2735029.2275 | 1154823.7893 | 2735035.0182 | 1154821.3432
4 | 2735022.2145 | 1154820.6631 | 2735011.5869 | 1154822.6707 | 2735010.0174 | 1154822.2693
5 | 2735052.0222 | 1154814.4047 | 2735049.2238 | 1154815.3426 | 2735035.0182 | 1154821.3432
6 | 2734995.2396 | 1154818.4895 | 2735010.0174 | 1154822.2693
7 | 2735052.0222 | 1154814.4047 | 2735058.3083 | 1154812.2977
8 | 2734995.2396 | 1154818.4895 | 2734986.5132 | 1154816.2575
9 | 2735068.2083 | 1154808.6253 | 2735060.9769 | 1154811.4033 | 2735058.3083 | 1154812.2977
10 | 2734964.128 | 1154787.2063 | 2734983.5016 | 1154792.6424
11 | 2734949.4704 | 1154783.0935 | 2734964.128 | 1154787.2063
12 | 2735001.0469 | 1154797.1711 | 2734987.6315 | 1154793.8012 | 2734983.5016 | 1154792.6424
13 | 2734949.4704 | 1154783.0935 | 2734948.2238 | 1154793.8513 | 2734947.7643 | 1154795.8766
14 | 2735001.0469 | 1154797.1711 | 2735000.3545 | 1154785.526
15 | 2734944.6976 | 1154803.9464 | 2734946.6242 | 1154800.1646 | 2734947.5085 | 1154797.0043 | 2734947.7643 | 1154795.8766
16 | 2735001.3594 | 1154772.9825 | 2735000.3764 | 1154775.7514 | 2735000.1476 | 1154778.426 | 2735000.1889 | 1154782.7412 | 2735000.3545 | 1154785.526
17 | 2734944.6976 | 1154803.9464 | 2734956.8174 | 1154807.5422
18 | 2734944.6976 | 1154803.9464 | 2734943.0549 | 1154805.3329 | 2734940.2828 | 1154806.4382 | 2734935.3978 | 1154806.6289 | 2734932.8733 | 1154806.4163
19 | 2735011.5484 | 1154757.0102 | 2735002.4142 | 1154771.4606 | 2735001.3594 | 1154772.9825
20 | 2735001.3594 | 1154772.9825 | 2734992.3971 | 1154771.8852
21 | 2734956.8174 | 1154807.5422 | 2734968.3001 | 1154810.949
22 | 2734917.1888 | 1154804.8541 | 2734918.4854 | 1154805.2044 | 2734932.8733 | 1154806.4163
23 | 2735011.5484 | 1154757.0102 | 2735017.4681 | 1154757.2209 | 2735020.484 | 1154757.1326
24 | 2735020.484 | 1154757.1326 | 2735023.0585 | 1154757.0572 | 2735030.1886 | 1154756.3388 | 2735040.1565 | 1154754.6404
25 | 2735054.5884 | 1154752.1815 | 2735040.1565 | 1154754.6404
26 | 2735368.4177 | 1154799.0644 | 2735372.0404 | 1154802.793 | 2735376.6251 | 1154806.3988 | 2735378.2236 | 1154806.3629
27 | 2735495.1179 | 1154839.5996 | 2735482.7582 | 1154829.5696 | 2735468.8631 | 1154821.9513 | 2735456.2278 | 1154815.9849 | 2735443.8285 | 1154811.8029 | 2735431.7773 | 1154808.5183 | 2735421.0799 | 1154806.7987 | 2735405.3244 | 1154805.7992 | 2735385.0325 | 1154806.2099 | 2735378.2236 | 1154806.3629
28 | 2735350.2077 | 1154798.0098 | 2735354.745 | 1154798.2676 | 2735368.4177 | 1154799.0644
29 | 2735495.1179 | 1154839.5996 | 2735490.368 | 1154848.4437 | 2735489.4246 | 1154862.0548 | 2735494.6225 | 1154871.8234 | 2735499.9692 | 1154877.1497
30 | 2735350.2077 | 1154798.0098 | 2735347.4257 | 1154797.8472 | 2735320.8857 | 1154796.95 | 2735313.8913 | 1154796.4147 | 2735311.6072 | 1154796.1448
31 | 2735350.2077 | 1154798.0098 | 2735347.2819 | 1154811.7431 | 2735346.3634 | 1154814.8975
32 | 2735499.9692 | 1154877.1497 | 2735502.5709 | 1154879.7415 | 2735526.0576 | 1154901.3639 | 2735530.5964 | 1154904.8756
33 | 2735311.6072 | 1154796.1448 | 2735305.7553 | 1154795.4534 | 2735297.71 | 1154794.0265
34 | 2735332.9534 | 1154842.1547 | 2735337.4191 | 1154837.0624 | 2735340.8867 | 1154830.9692 | 2735343.9719 | 1154823.1105 | 2735346.3634 | 1154814.8975
35 | 2735655.3296 | 1154946.7874 | 2735625.4162 | 1154933.5581 | 2735615.4613 | 1154929.5532 | 2735607.0809 | 1154926.5066 | 2735600.0618 | 1154924.347 | 2735592.8905 | 1154922.473 | 2735578.1666 | 1154919.6393 | 2735553.7446 | 1154915.3641 | 2735548.0362 | 1154913.9568 | 2735542.9728 | 1154912.1859 | 2735538.2875 | 1154909.99 | 2735532.3782 | 1154906.2542 | 2735530.5964 | 1154904.8756
36 | 2735530.5964 | 1154904.8756 | 2735544.7564 | 1155036.4332
37 | 2735297.71 | 1154794.0265 | 2735295.7039 | 1154793.6707 | 2735287.3587 | 1154791.5818
38 | 2735332.9534 | 1154842.1547 | 2735338.9491 | 1154858.0902 | 2735339.6389 | 1154861.2428
39 | 2735544.7564 | 1155036.4332 | 2735705.2103 | 1155132.2181
40 | 2734968.3001 | 1154810.949 | 2734984.1865 | 1154815.6624 | 2734986.5132 | 1154816.2575
41 | 2735770.654 | 1155144.7323 | 2735770.654 | 1155144.7323 | 2735768.8704 | 1155143.1799 | 2735765.7003 | 1155142.1965 | 2735761.9006 | 1155141.9106 | 2735755.1683 | 1155142.3592 | 2735745.1506 | 1155143.5342 | 2735733.6697 | 1155140.8623 | 2735717.9142 | 1155135.4809 | 2735705.2103 | 1155132.2181
42 | 2735770.654 | 1155144.7323 | 2736011.0228 | 1155016.1794
43 | 2736011.0228 | 1155016.1794 | 2736145.3857 | 1155087.9535
44 | 2736145.3857 | 1155087.9535 | 2736218.8163 | 1155363.7502
45 | 2736283.9666 | 1155361.1007 | 2736273.234 | 1155362.0029 | 2736265.2005 | 1155361.9767 | 2736257.7221 | 1155361.4959 | 2736249.4095 | 1155360.2402 | 2736245.4229 | 1155360.7615 | 2736238.3225 | 1155363.5807 | 2736233.4889 | 1155364.2274 | 2736225.737 | 1155363.2846 | 2736218.8163 | 1155363.7502
46 | 2735266.4271 | 1154825.3115 | 2735268.111 | 1154832.4461 | 2735264.3776 | 1154847.9737 | 2735258.9645 | 1154857.9677
47 | 2735266.4271 | 1154825.3115 | 2735263.4242 | 1154812.5877
48 | 2735208.8633 | 1154845.9366 | 2735209.8073 | 1154864.7161 | 2735213.1236 | 1154896.4252
49 | 2735213.1236 | 1154896.4252 | 2735195.392 | 1154897.3166 | 2735181.1834 | 1154899.8884 | 2735177.8116 | 1154901.7251 | 2735174.5518 | 1154904.3873 | 2735171.01 | 1154909.0112 | 2735169.344 | 1154912.5089
50 | 2735208.8633 | 1154845.9366 | 2735210.4055 | 1154810.6752
51 | 2735169.344 | 1154912.5089 | 2735167.4099 | 1154916.5693 | 2735161.452 | 1154932.4139 | 2735161.0368 | 1154936.2074 | 2735161.874 | 1154939.2507 | 2735163.8919 | 1154940.975 | 2735173.3785 | 1154944.8645
52 | 2735339.6389 | 1154861.2428 | 2735340.543 | 1154865.3742
53 | 2735334.2982 | 1154902.7987 | 2735337.9069 | 1154894.8717 | 2735340.346 | 1154888.444 | 2735341.3691 | 1154881.851 | 2735341.5705 | 1154873.2381 | 2735340.8001 | 1154866.5491 | 2735340.543 | 1154865.3742
54 | 2735264.6688 | 1154784.1553 | 2735276.513 | 1154788.4579 | 2735286.3328 | 1154791.325 | 2735287.3587 | 1154791.5818
55 | 2735333.5476 | 1154904.4475 | 2735334.2982 | 1154902.7987
56 | 2735263.4242 | 1154812.5877 | 2735263.075 | 1154811.1081
57 | 2735259.1841 | 1154790.8815 | 2735262.1062 | 1154807.0035 | 2735263.075 | 1154811.1081
58 | 2735259.1841 | 1154790.8815 | 2735261.2443 | 1154789.36 | 2735263.3252 | 1154786.916 | 2735264.6688 | 1154784.1553
59 | 2735259.1841 | 1154790.8815 | 2735256.6844 | 1154791.8149 | 2735253.4566 | 1154792.3651 | 2735245.7968 | 1154792.7489 | 2735211.2308 | 1154791.8052
60 | 2735211.2308 | 1154791.8052 | 2735210.4055 | 1154810.6752
61 | 2735211.2308 | 1154791.8052 | 2735178.0615 | 1154790.8598 | 2735176.6627 | 1154790.9483
62 | 2735054.5884 | 1154752.1815 | 2735081.1567 | 1154747.6546
63 | 2735095.5086 | 1154745.4146 | 2735091.0241 | 1154745.9734 | 2735081.1567 | 1154747.6546
64 | 2735095.5086 | 1154745.4146 | 2735100.5514 | 1154744.7863 | 2735108.3992 | 1154744.2286 | 2735113.101 | 1154744.1767
65 | 2735122.2745 | 1154744.5513 | 2735116.0369 | 1154744.1443 | 2735113.101 | 1154744.1767
66 | 2735122.2745 | 1154744.5513 | 2735124.1211 | 1154744.6817 | 2735137.8628 | 1154746.1689 | 2735156.4015 | 1154748.4517
67 | 2735137.8051 | 1154793.5027 | 2735126.2245 | 1154794.8024
68 | 2735137.8051 | 1154793.5027 | 2735139.7977 | 1154793.2806 | 2735151.4888 | 1154792.5409
69 | 2735126.2245 | 1154794.8024 | 2735120.1773 | 1154795.4811
70 | 2735151.4888 | 1154792.5409 | 2735159.1705 | 1154792.055
71 | 2735176.6627 | 1154790.9483 | 2735159.1705 | 1154792.055
72 | 2735104.3066 | 1154797.2623 | 2735120.1773 | 1154795.4811
73 | 2735104.3066 | 1154797.2623 | 2735101.1944 | 1154797.6116
74 | 2735106.544 | 1154845.4287 | 2735079.011 | 1154849.0023 | 2735075.6601 | 1154849.6021
75 | 2735106.544 | 1154845.4287 | 2735106.9107 | 1154845.3811
76 | 2735106.9107 | 1154845.3811 | 2735101.5534 | 1154830.0385 | 2735100.9514 | 1154828.8241 | 2735100.0749 | 1154828.215 | 2735098.9276 | 1154828.0447 | 2735096.3719 | 1154828.0541 | 2735094.763 | 1154827.5954 | 2735093.6376 | 1154826.7918
77 | 2735089.6262 | 1154816.6759 | 2735090.6344 | 1154821.098 | 2735092.1139 | 1154824.5893 | 2735093.6376 | 1154826.7918
78 | 2735089.1901 | 1154814.4556 | 2735089.3909 | 1154815.6438 | 2735089.6262 | 1154816.6759
79 | 2735086.6203 | 1154799.2473 | 2735089.1901 | 1154814.4556
80 | 2735066.4991 | 1154791.2907 | 2735068.9442 | 1154791.5006 | 2735073.2399 | 1154792.6089 | 2735078.1403 | 1154794.6072
81 | 2735086.6203 | 1154799.2473 | 2735078.7227 | 1154794.8447 | 2735078.1403 | 1154794.6072
82 | 2735068.2083 | 1154808.6253 | 2735072.6952 | 1154806.9016
83 | 2735086.6203 | 1154799.2473 | 2735085.2615 | 1154800.2954 | 2735077.6584 | 1154804.995 | 2735072.6952 | 1154806.9016
84 | 2735086.6203 | 1154799.2473 | 2735101.1944 | 1154797.6116

## bus_geodata
| x | y | coords
0 | 2735035.1936 | 1154831.7908
1 | 2735037.4528 | 1154840.942
2 | 2735029.2275 | 1154823.7893
3 | 2735022.2145 | 1154820.6631
4 | 2735035.0182 | 1154821.3432
5 | 2735010.0174 | 1154822.2693
6 | 2735052.0222 | 1154814.4047
7 | 2734995.2396 | 1154818.4895
8 | 2735058.3083 | 1154812.2977
9 | 2734964.128 | 1154787.2063
10 | 2734983.5016 | 1154792.6424
11 | 2734949.4704 | 1154783.0935
12 | 2735001.0469 | 1154797.1711
13 | 2734947.7643 | 1154795.8766
14 | 2735000.3545 | 1154785.526
15 | 2734944.6976 | 1154803.9464
16 | 2735001.3594 | 1154772.9825
17 | 2734956.8174 | 1154807.5422
18 | 2734932.8733 | 1154806.4163
19 | 2734917.1888 | 1154804.8541
20 | 2734992.3971 | 1154771.8852
21 | 2735011.5484 | 1154757.0102
22 | 2735020.484 | 1154757.1326
23 | 2735040.1565 | 1154754.6404
24 | 2735378.2236 | 1154806.3629
25 | 2735368.4177 | 1154799.0644
26 | 2735495.1179 | 1154839.5996
27 | 2735350.2077 | 1154798.0098
28 | 2735499.9692 | 1154877.1497
29 | 2735311.6072 | 1154796.1448
30 | 2735346.3634 | 1154814.8975
31 | 2735530.5964 | 1154904.8756
32 | 2735297.71 | 1154794.0265
33 | 2735332.9534 | 1154842.1547
34 | 2735655.3296 | 1154946.7874
35 | 2735544.7564 | 1155036.4332
36 | 2734968.3001 | 1154810.949
37 | 2734986.5132 | 1154816.2575
38 | 2735705.2103 | 1155132.218
39 | 2735770.654 | 1155144.7323
40 | 2736011.0228 | 1155016.1794
41 | 2736145.3857 | 1155087.9535
42 | 2736218.8163 | 1155363.7502
43 | 2736283.9666 | 1155361.1007
44 | 2735258.9645 | 1154857.9677
45 | 2735266.4271 | 1154825.3115
46 | 2735213.1236 | 1154896.4252
47 | 2735208.8633 | 1154845.9366
48 | 2735169.344 | 1154912.5089
49 | 2735339.6389 | 1154861.2428
50 | 2735340.543 | 1154865.3742
51 | 2735287.3587 | 1154791.5818
52 | 2735334.2982 | 1154902.7987
53 | 2735263.4242 | 1154812.5877
54 | 2735263.075 | 1154811.1081
55 | 2735259.1841 | 1154790.8815
56 | 2735264.6688 | 1154784.1553
57 | 2735211.2308 | 1154791.8052
58 | 2735054.5884 | 1154752.1815
59 | 2735081.1567 | 1154747.6546
60 | 2735095.5086 | 1154745.4146
61 | 2735333.5476 | 1154904.4475
62 | 2735113.101 | 1154744.1767
63 | 2735122.2745 | 1154744.5513
64 | 2735156.4015 | 1154748.4517
65 | 2735137.8051 | 1154793.5027
66 | 2735126.2245 | 1154794.8024
67 | 2735151.4888 | 1154792.5409
68 | 2735159.1705 | 1154792.055
69 | 2735176.6627 | 1154790.9483
70 | 2735120.1773 | 1154795.4811
71 | 2735210.4055 | 1154810.6752
72 | 2735104.3066 | 1154797.2623
73 | 2735106.544 | 1154845.4287
74 | 2735075.6601 | 1154849.6021
75 | 2735106.9107 | 1154845.3811
76 | 2735093.6376 | 1154826.7918
77 | 2735089.6262 | 1154816.6759
78 | 2735089.1901 | 1154814.4556
79 | 2735066.4991 | 1154791.2907
80 | 2735078.1403 | 1154794.6072
81 | 2735068.2083 | 1154808.6253
82 | 2735072.6952 | 1154806.9016
83 | 2735086.6203 | 1154799.2473
84 | 2735173.3785 | 1154944.8645
85 | 2735101.1944 | 1154797.6116
86 | 2735137.8051 | 1154793.5027

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1