## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3715-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3715-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3715-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3715-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3715-2_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3715-2_0_2_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_3715-2_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_3715-2_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3715-2_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3715-2_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_3715-2_0_2_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_3715-2_0_2_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_3715-2_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3715-2_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_3715-2_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3715-2_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3715-2_0_2_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_3715-2_0_2_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_3715-2_0_2_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_3715-2_0_2_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_3715-2_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_3715-2_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_3715-2_0_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_3715-2_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3715-2_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_3715-2_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_3715-2_0_2_node_72 | 0.4 | n |  | TRUE
27 | bus_LV_3715-2_0_2_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_3715-2_0_2_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_3715-2_0_2_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_3715-2_0_2_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_3715-2_0_2_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_3715-2_0_2_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_3715-2_0_2_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_3715-2_0_2_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_3715-2_0_2_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_3715-2_0_2_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_3715-2_0_2_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_3715-2_0_2_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_3715-2_0_2_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_3715-2_0_2_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_3715-2_0_2_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_3715-2_0_2_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_3715-2_0_2_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_3715-2_0_2_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_3715-2_0_2_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_3715-2_0_2_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_3715-2_0_2_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_3715-2_0_2_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_3715-2_0_2_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_3715-2_0_2_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_3715-2_0_2_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_3715-2_0_2_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_3715-2_0_2_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_3715-2_0_2_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_3715-2_0_2_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_3715-2_0_2_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_3715-2_0_2_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_3715-2_0_2_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_3715-2_0_2_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_3715-2_0_2_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_3715-2_0_2_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_3715-2_0_2_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_3715-2_0_2_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_3715-2_0_2_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_3715-2_0_2_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_3715-2_0_2_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_3715-2_0_2_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_3715-2_0_2_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_3715-2_0_2_node_70 | 0.4 | n |  | TRUE
70 | bus_MV_163_0_node_207 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3715-2_0_2_load_0 | 0 | 0.0018392 | 0.00046094 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3715-2_0_2_load_1 | 1 | 0.0011329 | 0.00028393 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3715-2_0_2_load_2 | 2 | 0.00062951 | 0.00015777 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3715-2_0_2_load_3 | 3 | 0.00076607 | 0.00019199 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3715-2_0_2_load_4 | 4 | 0.00057724 | 0.00014467 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3715-2_0_2_load_38 | 5 | 0.0010509 | 0.00026337 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3715-2_0_2_load_7 | 6 | 0.0010261 | 0.00025717 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3715-2_0_2_load_5 | 7 | 0.00094563 | 0.000237 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3715-2_0_2_load_6 | 8 | 0.0021017 | 0.00052673 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3715-2_0_2_load_8 | 9 | 0.0031148 | 0.00078064 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3715-2_0_2_load_49 | 10 | 0.0024227 | 0.00060719 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3715-2_0_2_load_50 | 11 | 0.0027717 | 0.00069465 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3715-2_0_2_load_9 | 12 | 0.00054614 | 0.00013688 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3715-2_0_2_load_11 | 14 | 0.00052349 | 0.0001312 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3715-2_0_2_load_12 | 15 | 0.00078911 | 0.00019777 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3715-2_0_2_load_30 | 18 | 0.0011212 | 0.00028099 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3715-2_0_2_load_34 | 19 | 0.0011457 | 0.00028714 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3715-2_0_2_load_13 | 20 | 0.0041054 | 0.0010289 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3715-2_0_2_load_14 | 21 | 0.0020374 | 0.00051062 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3715-2_0_2_load_16 | 23 | 0.0025341 | 0.00063511 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3715-2_0_2_load_18 | 25 | 0.001067 | 0.00026741 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3715-2_0_2_load_72 | 26 | 0.0032117 | 0.00080493 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3715-2_0_2_load_26 | 27 | 0.001291 | 0.00032356 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3715-2_0_2_load_25 | 28 | 0.0010584 | 0.00026526 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3715-2_0_2_load_27 | 29 | 0.00073955 | 0.00018535 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3715-2_0_2_load_19 | 31 | 0.0021579 | 0.00054081 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3715-2_0_2_load_20 | 32 | 0.0034128 | 0.00085532 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3715-2_0_2_load_24 | 33 | 0.0021554 | 0.00054019 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3715-2_0_2_load_28 | 34 | 0.00078712 | 0.00019727 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3715-2_0_2_load_35 | 35 | 0.0026049 | 0.00065284 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3715-2_0_2_load_67 | 38 | 0.00090818 | 0.00022761 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3715-2_0_2_load_37 | 40 | 0.0010276 | 0.00025753 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3715-2_0_2_load_43 | 41 | 0.00098628 | 0.00024718 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3715-2_0_2_load_41 | 42 | 0.0012911 | 0.00032357 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3715-2_0_2_load_39 | 43 | 0.0031295 | 0.00078433 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3715-2_0_2_load_40 | 44 | 0.0015268 | 0.00038266 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3715-2_0_2_load_42 | 45 | 0.0026484 | 0.00066376 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3715-2_0_2_load_45 | 47 | 0.0049805 | 0.0012482 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3715-2_0_2_load_46 | 48 | 0.0014913 | 0.00037377 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3715-2_0_2_load_47 | 49 | 0.001456 | 0.0003649 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3715-2_0_2_load_61 | 52 | 0.0021628 | 0.00054205 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3715-2_0_2_load_59 | 53 | 0.0016281 | 0.00040803 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3715-2_0_2_load_51 | 54 | 0.0019219 | 0.00048167 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3715-2_0_2_load_52 | 55 | 0.0015191 | 0.00038073 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3715-2_0_2_load_56 | 57 | 0.0019054 | 0.00047754 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3715-2_0_2_load_53 | 58 | 0.0051655 | 0.0012946 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3715-2_0_2_load_55 | 59 | 0.0040517 | 0.0010154 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3715-2_0_2_load_57 | 60 | 0.0011294 | 0.00028306 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3715-2_0_2_load_62 | 61 | 0.0034487 | 0.00086431 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3715-2_0_2_load_63 | 62 | 0.0022344 | 0.00056 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3715-2_0_2_load_58 | 63 | 0.002647 | 0.00066339 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3715-2_0_2_load_64 | 64 | 0.0018823 | 0.00047176 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3715-2_0_2_load_66 | 65 | 0.0010401 | 0.00026067 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3715-2_0_2_load_71 | 66 | 0.00036586 | 9.1693e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3715-2_0_2_load_69 | 67 | 0.0011799 | 0.00029571 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3715-2_0_2_load_68 | 68 | 0.0029737 | 0.00074527 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3715-2_0_2_load_70 | 69 | 0.0034398 | 0.0008621 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3715-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0031133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3715-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0072852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3715-2_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0017381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3715-2_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0087511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3715-2_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0088688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3715-2_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0091855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3715-2_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.0063323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3715-2_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0054207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3715-2_0_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.01203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3715-2_0_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.016178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3715-2_0_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.003223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3715-2_0_2_line_11 | NAYY 4x150 SE | 11 | 58 | 0.019097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3715-2_0_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.15128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3715-2_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.017726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3715-2_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.22902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3715-2_0_2_line_15 | NAYY 4x150 SE | 15 | 16 | 0.42109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3715-2_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.42032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3715-2_0_2_line_17 | NAYY 4x150 SE | 16 | 19 | 0.17744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3715-2_0_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.15396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3715-2_0_2_line_19 | NAYY 4x150 SE | 19 | 37 | 0.28099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3715-2_0_2_line_20 | NAYY 4x150 SE | 20 | 21 | 0.075823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3715-2_0_2_line_21 | NAYY 4x150 SE | 20 | 22 | 0.023522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3715-2_0_2_line_22 | NAYY 4x150 SE | 21 | 23 | 0.0092716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3715-2_0_2_line_23 | NAYY 4x150 SE | 22 | 24 | 0.016924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3715-2_0_2_line_24 | NAYY 4x150 SE | 22 | 25 | 0.028264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3715-2_0_2_line_25 | NAYY 4x150 SE | 23 | 26 | 0.013047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3715-2_0_2_line_26 | NAYY 4x150 SE | 24 | 27 | 0.045928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3715-2_0_2_line_27 | NAYY 4x150 SE | 25 | 28 | 0.011378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3715-2_0_2_line_28 | NAYY 4x150 SE | 27 | 29 | 0.011724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3715-2_0_2_line_29 | NAYY 4x150 SE | 28 | 30 | 0.02073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3715-2_0_2_line_30 | NAYY 4x150 SE | 29 | 34 | 0.0073572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3715-2_0_2_line_31 | NAYY 4x150 SE | 30 | 33 | 0.019033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3715-2_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.043628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3715-2_0_2_line_33 | NAYY 4x150 SE | 31 | 32 | 0.032043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3715-2_0_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.019015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3715-2_0_2_line_35 | NAYY 4x150 SE | 35 | 36 | 0.0035974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3715-2_0_2_line_36 | NAYY 4x150 SE | 36 | 40 | 0.019005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3715-2_0_2_line_37 | NAYY 4x150 SE | 37 | 38 | 0.55328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3715-2_0_2_line_38 | NAYY 4x150 SE | 38 | 39 | 0.024793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3715-2_0_2_line_39 | NAYY 4x150 SE | 39 | 65 | 0.018772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3715-2_0_2_line_40 | NAYY 4x150 SE | 39 | 64 | 0.0326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3715-2_0_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.021716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3715-2_0_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.010033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3715-2_0_2_line_43 | NAYY 4x150 SE | 42 | 43 | 0.01405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3715-2_0_2_line_44 | NAYY 4x150 SE | 43 | 44 | 0.0045635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3715-2_0_2_line_45 | NAYY 4x150 SE | 44 | 45 | 0.020532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3715-2_0_2_line_46 | NAYY 4x150 SE | 45 | 46 | 0.0019812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3715-2_0_2_line_47 | NAYY 4x150 SE | 46 | 47 | 0.01727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3715-2_0_2_line_48 | NAYY 4x150 SE | 46 | 48 | 0.031077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3715-2_0_2_line_49 | NAYY 4x150 SE | 47 | 49 | 0.0050073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3715-2_0_2_line_50 | NAYY 4x150 SE | 48 | 50 | 0.019486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3715-2_0_2_line_51 | NAYY 4x150 SE | 49 | 51 | 0.024076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3715-2_0_2_line_52 | NAYY 4x150 SE | 50 | 52 | 0.010361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3715-2_0_2_line_53 | NAYY 4x150 SE | 50 | 53 | 0.0060877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3715-2_0_2_line_54 | NAYY 4x150 SE | 51 | 54 | 0.0083695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3715-2_0_2_line_55 | NAYY 4x150 SE | 51 | 55 | 0.022552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3715-2_0_2_line_56 | NAYY 4x150 SE | 54 | 56 | 0.017431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3715-2_0_2_line_57 | NAYY 4x150 SE | 55 | 57 | 0.023271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3715-2_0_2_line_58 | NAYY 4x150 SE | 56 | 59 | 0.016879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3715-2_0_2_line_59 | NAYY 4x150 SE | 56 | 58 | 0.006925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3715-2_0_2_line_60 | NAYY 4x150 SE | 57 | 60 | 0.015476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3715-2_0_2_line_61 | NAYY 4x150 SE | 59 | 61 | 0.0018621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3715-2_0_2_line_62 | NAYY 4x150 SE | 60 | 63 | 0.004085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3715-2_0_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0092423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3715-2_0_2_line_64 | NAYY 4x150 SE | 62 | 64 | 0.0088519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3715-2_0_2_line_65 | NAYY 4x150 SE | 65 | 66 | 0.012477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3715-2_0_2_line_66 | NAYY 4x150 SE | 66 | 67 | 0.011636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3715-2_0_2_line_67 | NAYY 4x150 SE | 67 | 68 | 0.0041264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3715-2_0_2_line_68 | NAYY 4x150 SE | 68 | 69 | 0.04893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3715-2_0_2_trafo_4 | 0.25 MVA 20/0.4 kV | 70 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30
0 | 2752164.0723 | 1168576.1062 | 2752160.9961 | 1168575.6273
1 | 2752164.0723 | 1168576.1062 | 2752171.2708 | 1168577.2268
2 | 2752160.9961 | 1168575.6273 | 2752159.2786 | 1168575.36
3 | 2752179.9975 | 1168577.8094 | 2752172.3735 | 1168577.3985 | 2752171.2708 | 1168577.2268
4 | 2752150.5154 | 1168573.9958 | 2752159.2786 | 1168575.36
5 | 2752179.9975 | 1168577.8094 | 2752183.6683 | 1168578.0073 | 2752189.1304 | 1168577.2869
6 | 2752195.4083 | 1168576.459 | 2752189.1304 | 1168577.2869
7 | 2752195.4083 | 1168576.459 | 2752195.4083 | 1168576.459 | 2752200.8277 | 1168576.5789
8 | 2752200.8277 | 1168576.5789 | 2752209.2149 | 1168576.7645 | 2752212.7149 | 1168577.7675
9 | 2752212.7149 | 1168577.7675 | 2752225.3926 | 1168581.4004 | 2752227.5918 | 1168583.4263
10 | 2752229.9623 | 1168585.6101 | 2752227.5918 | 1168583.4263
11 | 2752229.9623 | 1168585.6101 | 2752233.3244 | 1168588.7073 | 2752243.6525 | 1168592.1051 | 2752247.0796 | 1168593.3711
12 | 2752246.3181 | 1167745.9038 | 2752255.7362 | 1167732.9986 | 2752264.6225 | 1167722.037 | 2752269.2913 | 1167710.6794 | 2752269.7695 | 1167681.5566 | 2752253.4682 | 1167620.0823 | 2752250.2106 | 1167604.229
13 | 2752246.3181 | 1167745.9038 | 2752237.7013 | 1167741.1038 | 2752233.4655 | 1167734.48
14 | 2752246.3181 | 1167745.9038 | 2752242.8037 | 1167757.6466 | 2752241.9675 | 1167772.8044 | 2752244.9573 | 1167784.1673 | 2752250.4622 | 1167797.2174 | 2752257.4276 | 1167816.6987 | 2752260.5059 | 1167828.7977 | 2752266.6086 | 1167871.4204 | 2752284.9038 | 1167923.6934 | 2752293.81 | 1167936.6964 | 2752300.5973 | 1167945.0753 | 2752313.2519 | 1167956.1273 | 2752313.7156 | 1167956.6624
15 | 2752577.8537 | 1168269.0408 | 2752479.3368 | 1168182.3801 | 2752434.7126 | 1168142.2818 | 2752422.8419 | 1168134.4631 | 2752409.7696 | 1168125.1016 | 2752402.1224 | 1168118.3355 | 2752395.1466 | 1168106.5378 | 2752388.9066 | 1168087.7753 | 2752382.0755 | 1168075.7033 | 2752360.6087 | 1168056.421 | 2752353.1578 | 1168047.3469 | 2752348.0386 | 1168032.9942 | 2752346.3648 | 1168017.7727 | 2752342.4303 | 1167999.8917 | 2752338.4663 | 1167988.3039 | 2752333.8621 | 1167979.9137 | 2752313.7156 | 1167956.6624
16 | 2751904.2605 | 1168051.6295 | 2752313.7156 | 1167956.6624
17 | 2752418.2535 | 1168207.5064 | 2752463.7873 | 1168231.6703 | 2752523.9505 | 1168270.7959 | 2752571.1621 | 1168271.9955 | 2752577.8537 | 1168269.0408
18 | 2751904.2605 | 1168051.6295 | 2751896.1506 | 1168029.829 | 2751872.7913 | 1167992.3524 | 2751837.8378 | 1167947.8772 | 2751823.9246 | 1167921.333
19 | 2752186.3724 | 1168366.2139 | 2752418.2535 | 1168207.5064
20 | 2752034.358 | 1168505.6414 | 2752028.6386 | 1168491.9122 | 2752021.5503 | 1168478.4997 | 2752005.2213 | 1168455.6234 | 2751993.2189 | 1168442.6504
21 | 2752044.2853 | 1168526.9033 | 2752040.9755 | 1168521.5263 | 2752034.358 | 1168505.6414
22 | 2751986.9224 | 1168435.8447 | 2751993.2189 | 1168442.6504
23 | 2752058.482 | 1168517.8552 | 2752051.8578 | 1168520.8901 | 2752044.2853 | 1168526.9033
24 | 2752044.2853 | 1168526.9033 | 2752034.9726 | 1168536.6201 | 2752032.4736 | 1168541.5609 | 2752031.7321 | 1168547.8583 | 2752031.9947 | 1168550.7734
25 | 2751986.9224 | 1168435.8447 | 2751983.3296 | 1168431.9614 | 2751977.4486 | 1168426.9035
26 | 2752058.482 | 1168517.8552 | 2752074.416 | 1168557.2129 | 2752076.251 | 1168560.1542
27 | 2752033.0156 | 1168562.1053 | 2752031.9947 | 1168550.7734
28 | 2752083.0263 | 1168569.6344 | 2752080.9359 | 1168567.6642 | 2752076.251 | 1168560.1542
29 | 2752023.8735 | 1168579.9857 | 2752028.0342 | 1168575.0425 | 2752031.39 | 1168569.8343 | 2752033.2563 | 1168564.7774 | 2752033.0156 | 1168562.1053
30 | 2752083.0263 | 1168569.6344 | 2752086.5377 | 1168572.9437 | 2752088.8285 | 1168574.0227
31 | 2752023.8735 | 1168579.9857 | 2752026.9353 | 1168598.7706
32 | 2752023.8735 | 1168579.9857 | 2752014.8108 | 1168582.8588 | 2752005.8276 | 1168582.2866 | 2751998.551 | 1168578.4327 | 2751992.0796 | 1168569.9954 | 2751990.6663 | 1168563.9057
33 | 2751981.6318 | 1168533.2317 | 2751984.7494 | 1168540.7305 | 2751988.7517 | 1168555.6551 | 2751990.6663 | 1168563.9057
34 | 2752107.1523 | 1168578.5212 | 2752093.6736 | 1168576.3048 | 2752088.8285 | 1168574.0227
35 | 2752110.7021 | 1168579.1049 | 2752107.1523 | 1168578.5212
36 | 2752110.7021 | 1168579.1049 | 2752117.1222 | 1168588.653 | 2752122.8981 | 1168593.4358
37 | 2752186.3724 | 1168366.2139 | 2752183.5508 | 1168372.0917 | 2752182.9301 | 1168375.7345 | 2752184.243 | 1168379.8267 | 2752187.4259 | 1168382.654 | 2752203.4794 | 1168392.2129 | 2752211.1363 | 1168398.2896 | 2752217.5103 | 1168405.735 | 2752222.2167 | 1168418.5424 | 2752225.3769 | 1168427.0962 | 2752228.3748 | 1168430.8752 | 2752233.6181 | 1168433.9884 | 2752257.4011 | 1168440.7076 | 2752268.7414 | 1168446.4775 | 2752283.9341 | 1168457.9608 | 2752304.4513 | 1168473.2712 | 2752315.9494 | 1168483.382 | 2752340.752 | 1168510.2662 | 2752420.0553 | 1168582.6366 | 2752451.9697 | 1168606.2546 | 2752459.2706 | 1168614.2686 | 2752460.7094 | 1168631.7861 | 2752458.3423 | 1168650.8194 | 2752455.3086 | 1168656.6027 | 2752449.5261 | 1168659.058 | 2752444.285 | 1168657.3792 | 2752412.3943 | 1168630.4258 | 2752401.2725 | 1168619.9907 | 2752380.8318 | 1168612.5551 | 2752356.3188 | 1168609.2863 | 2752344.2044 | 1168608.7963
38 | 2752319.4319 | 1168607.7942 | 2752344.2044 | 1168608.7963
39 | 2752319.4319 | 1168607.7942 | 2752321.3835 | 1168624.1348 | 2752322.7433 | 1168626.0084
40 | 2752319.4319 | 1168607.7942 | 2752286.9065 | 1168610.0042
41 | 2752122.8981 | 1168593.4358 | 2752135.1451 | 1168603.5771 | 2752140.2183 | 1168606.4202
42 | 2752149.1948 | 1168610.8491 | 2752145.7231 | 1168609.5053 | 2752140.2183 | 1168606.4202
43 | 2752162.6854 | 1168614.625 | 2752154.2693 | 1168612.8133 | 2752149.1948 | 1168610.8491
44 | 2752162.6854 | 1168614.625 | 2752167.1467 | 1168615.5853
45 | 2752167.1467 | 1168615.5853 | 2752169.4936 | 1168616.0905 | 2752181.7008 | 1168617.2562 | 2752187.5639 | 1168616.9974
46 | 2752189.5432 | 1168616.9101 | 2752187.5639 | 1168616.9974
47 | 2752189.5432 | 1168616.9101 | 2752206.4504 | 1168613.3903
48 | 2752189.5432 | 1168616.9101 | 2752190.9708 | 1168625.8424 | 2752192.6287 | 1168634.1468 | 2752193.9277 | 1168647.6475
49 | 2752206.4504 | 1168613.3903 | 2752211.3527 | 1168612.3697
50 | 2752201.5959 | 1168664.6433 | 2752195.3631 | 1168657.6797 | 2752194.259 | 1168651.0908 | 2752193.9277 | 1168647.6475
51 | 2752235.1604 | 1168613.8411 | 2752216.2559 | 1168611.3489 | 2752211.3527 | 1168612.3697
52 | 2752201.5959 | 1168664.6433 | 2752207.6542 | 1168673.0481
53 | 2752201.5959 | 1168664.6433 | 2752206.9226 | 1168667.5905
54 | 2752235.1604 | 1168613.8411 | 2752241.1342 | 1168607.9791
55 | 2752235.1604 | 1168613.8411 | 2752228.0361 | 1168631.1636 | 2752225.8566 | 1168634.3034
56 | 2752253.5756 | 1168595.7707 | 2752241.1342 | 1168607.9791
57 | 2752227.5552 | 1168653.1471 | 2752219.8816 | 1168642.911 | 2752225.8566 | 1168634.3034
58 | 2752253.5756 | 1168595.7707 | 2752259.4214 | 1168597.7649 | 2752265.2673 | 1168600.9601 | 2752268.6857 | 1168603.1148
59 | 2752253.5756 | 1168595.7707 | 2752247.0796 | 1168593.3711
60 | 2752227.5552 | 1168653.1471 | 2752227.5552 | 1168653.1471 | 2752234.5599 | 1168665.3012 | 2752235.3099 | 1168666.5393
61 | 2752270.261 | 1168604.1077 | 2752268.6857 | 1168603.1148
62 | 2752237.4263 | 1168670.0333 | 2752235.3099 | 1168666.5393
63 | 2752270.261 | 1168604.1077 | 2752277.4547 | 1168608.642 | 2752278.1811 | 1168608.777
64 | 2752278.1811 | 1168608.777 | 2752285.3507 | 1168610.1099 | 2752286.9065 | 1168610.0042
65 | 2752331.5914 | 1168634.5997 | 2752330.4219 | 1168633.9943 | 2752325.5934 | 1168629.9352 | 2752322.7433 | 1168626.0084
66 | 2752342.1619 | 1168639.4355 | 2752336.2946 | 1168637.0345 | 2752331.5914 | 1168634.5997
67 | 2752345.981 | 1168640.9983 | 2752342.1619 | 1168639.4355
68 | 2752345.981 | 1168640.9983 | 2752362.108 | 1168647.5977 | 2752367.7592 | 1168651.8223 | 2752385.2688 | 1168668.8857

## bus_geodata
| x | y | coords
0 | 2752164.0723 | 1168576.1062
1 | 2752160.9961 | 1168575.6273
2 | 2752171.2708 | 1168577.2268
3 | 2752159.2786 | 1168575.36
4 | 2752179.9975 | 1168577.8094
5 | 2752150.5154 | 1168573.9958
6 | 2752189.1304 | 1168577.2869
7 | 2752195.4083 | 1168576.459
8 | 2752200.8277 | 1168576.5789
9 | 2752212.7149 | 1168577.7675
10 | 2752227.5918 | 1168583.4263
11 | 2752229.9623 | 1168585.6101
12 | 2752250.2106 | 1167604.229
13 | 2752246.3181 | 1167745.9038
14 | 2752233.4655 | 1167734.48
15 | 2752313.7156 | 1167956.6624
16 | 2752577.8537 | 1168269.0408
17 | 2751904.2605 | 1168051.6295
18 | 2751823.9246 | 1167921.333
19 | 2752418.2535 | 1168207.5064
20 | 2752034.358 | 1168505.6414
21 | 2751993.2189 | 1168442.6504
22 | 2752044.2853 | 1168526.9033
23 | 2751986.9224 | 1168435.8447
24 | 2752058.482 | 1168517.8552
25 | 2752031.9947 | 1168550.7734
26 | 2751977.4486 | 1168426.9035
27 | 2752076.251 | 1168560.1542
28 | 2752033.0156 | 1168562.1053
29 | 2752083.0263 | 1168569.6344
30 | 2752023.8735 | 1168579.9857
31 | 2751981.6318 | 1168533.2317
32 | 2751990.6663 | 1168563.9057
33 | 2752026.9353 | 1168598.7706
34 | 2752088.8285 | 1168574.0227
35 | 2752107.1523 | 1168578.5212
36 | 2752110.7021 | 1168579.1049
37 | 2752186.3724 | 1168366.2139
38 | 2752344.2044 | 1168608.7963
39 | 2752319.4319 | 1168607.7942
40 | 2752122.8981 | 1168593.4358
41 | 2752140.2183 | 1168606.4202
42 | 2752149.1948 | 1168610.8491
43 | 2752162.6854 | 1168614.625
44 | 2752167.1467 | 1168615.5853
45 | 2752187.5639 | 1168616.9974
46 | 2752189.5432 | 1168616.9101
47 | 2752206.4504 | 1168613.3903
48 | 2752193.9277 | 1168647.6475
49 | 2752211.3527 | 1168612.3697
50 | 2752201.5959 | 1168664.6433
51 | 2752235.1604 | 1168613.8411
52 | 2752207.6542 | 1168673.0481
53 | 2752206.9226 | 1168667.5905
54 | 2752241.1342 | 1168607.9791
55 | 2752225.8566 | 1168634.3034
56 | 2752253.5756 | 1168595.7707
57 | 2752227.5552 | 1168653.1471
58 | 2752247.0796 | 1168593.3711
59 | 2752268.6857 | 1168603.1148
60 | 2752235.3099 | 1168666.5393
61 | 2752270.261 | 1168604.1077
62 | 2752278.1811 | 1168608.777
63 | 2752237.4263 | 1168670.0333
64 | 2752286.9065 | 1168610.0042
65 | 2752322.7433 | 1168626.0084
66 | 2752331.5914 | 1168634.5997
67 | 2752342.1619 | 1168639.4355
68 | 2752345.981 | 1168640.9983
69 | 2752385.2688 | 1168668.8857
70 | 2752110.7021 | 1168579.1049

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1