## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3732-54_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3732-54_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3732-54_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3732-54_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_3732-54_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3732-54_0_3_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_3732-54_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3732-54_0_3_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_3732-54_0_3_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_3732-54_0_3_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_3732-54_0_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_3732-54_0_3_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_3732-54_0_3_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_3732-54_0_3_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_3732-54_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_3732-54_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3732-54_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3732-54_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_3732-54_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_3732-54_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3732-54_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3732-54_0_3_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_3732-54_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_3732-54_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_3732-54_0_3_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_3732-54_0_3_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_3732-54_0_3_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_3732-54_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_3732-54_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_3732-54_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_3732-54_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_3732-54_0_3_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_3732-54_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_3732-54_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_3732-54_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_3732-54_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_3732-54_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_3732-54_0_3_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_3732-54_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_3732-54_0_3_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_3732-54_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_3732-54_0_3_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_3732-54_0_3_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_3732-54_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_3732-54_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_3732-54_0_3_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_3732-54_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_3732-54_0_3_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_3732-54_0_3_node_47 | 0.4 | n |  | TRUE
49 | bus_MV_56_1_node_246 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3732-54_0_3_load_0 | 0 | 0.0028919 | 0.00072477 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3732-54_0_3_load_1 | 1 | 0.0024521 | 0.00061456 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3732-54_0_3_load_27 | 5 | 0.0056221 | 0.001409 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3732-54_0_3_load_3 | 7 | 0.0024405 | 0.00061165 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3732-54_0_3_load_14 | 8 | 0.0025854 | 0.00064797 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3732-54_0_3_load_16 | 9 | 0.0022185 | 0.000556 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3732-54_0_3_load_13 | 10 | 0.002877 | 0.00072105 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3732-54_0_3_load_19 | 11 | 0.0034023 | 0.00085268 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3732-54_0_3_load_20 | 12 | 0.0021957 | 0.0005503 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3732-54_0_3_load_28 | 13 | 0.0052569 | 0.0013175 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3732-54_0_3_load_7 | 14 | 0.027243 | 0.0068279 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3732-54_0_3_load_11 | 16 | 0.019533 | 0.0048955 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3732-54_0_3_load_9 | 17 | 0.0037512 | 0.00094015 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3732-54_0_3_load_15 | 20 | 0.011324 | 0.0028381 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3732-54_0_3_load_45 | 21 | 0.0058286 | 0.0014608 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3732-54_0_3_load_17 | 22 | 0.0079565 | 0.0019941 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3732-54_0_3_load_22 | 23 | 0.0076018 | 0.0019052 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3732-54_0_3_load_31 | 24 | 0.00542 | 0.0013584 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3732-54_0_3_load_26 | 26 | 0.003813 | 0.00095562 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3732-54_0_3_load_21 | 27 | 0.0026707 | 0.00066934 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3732-54_0_3_load_23 | 28 | 0.0020376 | 0.00051067 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3732-54_0_3_load_24 | 29 | 0.0049449 | 0.0012393 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3732-54_0_3_load_25 | 30 | 0.0069575 | 0.0017437 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3732-54_0_3_load_49 | 31 | 0.01129 | 0.0028296 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3732-54_0_3_load_29 | 32 | 0.0062045 | 0.001555 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3732-54_0_3_load_30 | 33 | 0.0062918 | 0.0015769 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3732-54_0_3_load_33 | 34 | 0.0037142 | 0.00093086 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3732-54_0_3_load_34 | 35 | 0.0062101 | 0.0015564 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3732-54_0_3_load_32 | 36 | 0.0069504 | 0.0017419 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3732-54_0_3_load_36 | 40 | 0.0068171 | 0.0017085 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3732-54_0_3_load_44 | 41 | 0.0037356 | 0.00093624 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3732-54_0_3_load_40 | 42 | 0.0047417 | 0.0011884 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3732-54_0_3_load_37 | 43 | 0.003621 | 0.00090752 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3732-54_0_3_load_38 | 44 | 0.003365 | 0.00084336 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3732-54_0_3_load_48 | 45 | 0.0048262 | 0.0012096 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3732-54_0_3_load_43 | 46 | 0.006712 | 0.0016822 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3732-54_0_3_load_46 | 47 | 0.0057063 | 0.0014301 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3732-54_0_3_load_47 | 48 | 0.010419 | 0.0026113 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3732-54_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3732-54_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.012211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3732-54_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.00411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3732-54_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3732-54_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.033369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3732-54_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.017055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3732-54_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.017921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3732-54_0_3_line_7 | NAYY 4x150 SE | 5 | 13 | 0.022431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3732-54_0_3_line_8 | NAYY 4x150 SE | 6 | 11 | 0.018326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3732-54_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.025426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3732-54_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.023748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3732-54_0_3_line_11 | NAYY 4x150 SE | 10 | 20 | 0.0085678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3732-54_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0059238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3732-54_0_3_line_13 | NAYY 4x150 SE | 12 | 27 | 0.02368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3732-54_0_3_line_14 | NAYY 4x150 SE | 13 | 31 | 0.05567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3732-54_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.023381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3732-54_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.066565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3732-54_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.011947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3732-54_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.017051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3732-54_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.020345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3732-54_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.009956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3732-54_0_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.029819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3732-54_0_3_line_22 | NAYY 4x150 SE | 21 | 24 | 0.053342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_3732-54_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.02998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_3732-54_0_3_line_24 | NAYY 4x150 SE | 23 | 26 | 0.0023841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_3732-54_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.030398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_3732-54_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0073572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_3732-54_0_3_line_27 | NAYY 4x150 SE | 25 | 37 | 0.015769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_3732-54_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.007413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3732-54_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.028711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3732-54_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.030052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3732-54_0_3_line_31 | NAYY 4x150 SE | 30 | 32 | 0.020961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_3732-54_0_3_line_32 | NAYY 4x150 SE | 32 | 33 | 0.0029122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_3732-54_0_3_line_33 | NAYY 4x150 SE | 33 | 36 | 0.013836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_3732-54_0_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.016579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_3732-54_0_3_line_35 | NAYY 4x150 SE | 34 | 36 | 0.030228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_3732-54_0_3_line_36 | NAYY 4x150 SE | 35 | 38 | 0.030443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_3732-54_0_3_line_37 | NAYY 4x150 SE | 37 | 46 | 0.017408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3732-54_0_3_line_38 | NAYY 4x150 SE | 37 | 42 | 0.0010843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_3732-54_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.013799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_3732-54_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.021051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3732-54_0_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.012172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3732-54_0_3_line_42 | NAYY 4x150 SE | 39 | 42 | 0.027067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_3732-54_0_3_line_43 | NAYY 4x150 SE | 40 | 43 | 0.00010543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3732-54_0_3_line_44 | NAYY 4x150 SE | 41 | 45 | 0.025027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3732-54_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.050663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3732-54_0_3_line_46 | NAYY 4x150 SE | 46 | 47 | 0.026573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3732-54_0_3_line_47 | NAYY 4x150 SE | 47 | 48 | 0.0011853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3732-54_0_3_trafo_17 | 0.25 MVA 20/0.4 kV | 49 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2740470.0177 | 1189055.5391 | 2740472.3079 | 1189061.1758 | 2740480.7473 | 1189072.2678
1 | 2740488.1414 | 1189081.986 | 2740480.7473 | 1189072.2678
2 | 2740488.1414 | 1189081.986 | 2740491.8392 | 1189080.1713
3 | 2740488.1414 | 1189081.986 | 2740480.7494 | 1189085.4709 | 2740473.1227 | 1189089.851
4 | 2740491.8392 | 1189080.1713 | 2740495.9921 | 1189083.994 | 2740498.7784 | 1189085.5718 | 2740501.3161 | 1189086.3653 | 2740505.5925 | 1189086.8771 | 2740523.142 | 1189087.3695
5 | 2740467.2603 | 1189105.8595 | 2740469.6521 | 1189098.5654 | 2740473.1227 | 1189089.851
6 | 2740473.1227 | 1189089.851 | 2740458.9194 | 1189078.9226
7 | 2740523.142 | 1189087.3695 | 2740545.5644 | 1189087.9985
8 | 2740467.2603 | 1189105.8595 | 2740485.4111 | 1189108.3893
9 | 2740475.826 | 1189160.0283 | 2740451.1594 | 1189153.8614
10 | 2740498.889 | 1189165.6853 | 2740496.2841 | 1189165.143 | 2740475.826 | 1189160.0283
11 | 2740506.9663 | 1189163.548 | 2740506.9663 | 1189163.548 | 2740503.0025 | 1189165.3231 | 2740501.3563 | 1189165.8849 | 2740499.7164 | 1189165.8575 | 2740498.889 | 1189165.6853
12 | 2740485.4111 | 1189108.3893 | 2740491.2782 | 1189109.207
13 | 2740491.2782 | 1189109.207 | 2740513.4123 | 1189112.2919 | 2740514.7387 | 1189112.4188
14 | 2740545.5644 | 1189087.9985 | 2740575.2566 | 1189040.9079
15 | 2740437.2836 | 1189264.3154 | 2740427.309 | 1189257.5538 | 2740417.3276 | 1189252.1911
16 | 2740489.9069 | 1189223.5509 | 2740437.2836 | 1189264.3154
17 | 2740489.9069 | 1189223.5509 | 2740497.4368 | 1189225.5625 | 2740501.2044 | 1189227.3104
18 | 2740515.9849 | 1189235.7058 | 2740508.5705 | 1189230.7278 | 2740501.2044 | 1189227.3104
19 | 2740535.7519 | 1189230.6657 | 2740528.7487 | 1189232.5473 | 2740515.9849 | 1189235.7058
20 | 2740535.7519 | 1189230.6657 | 2740531.8391 | 1189224.747 | 2740529.2744 | 1189223.4796
21 | 2740506.9663 | 1189163.548 | 2740508.679 | 1189163.0767 | 2740510.3599 | 1189162.9827 | 2740512.5072 | 1189163.1777 | 2740535.6528 | 1189170.2519
22 | 2740568.5128 | 1189187.3448 | 2740529.2744 | 1189223.4796
23 | 2740535.6528 | 1189170.2519 | 2740558.3433 | 1189177.1869 | 2740564.3311 | 1189178.9911
24 | 2740564.3311 | 1189178.9911 | 2740565.4278 | 1189179.3216 | 2740565.8724 | 1189180.4778
25 | 2740592.8302 | 1189205.5858 | 2740568.5128 | 1189187.3448
26 | 2740565.8724 | 1189180.4778 | 2740568.5128 | 1189187.3448
27 | 2740592.8302 | 1189205.5858 | 2740606.595 | 1189197.8251
28 | 2740522.118 | 1189113.1244 | 2740514.7387 | 1189112.4188
29 | 2740522.118 | 1189113.1244 | 2740550.6986 | 1189115.8574
30 | 2740550.6986 | 1189115.8574 | 2740559.5049 | 1189116.6995 | 2740562.4366 | 1189116.3124 | 2740563.6312 | 1189115.4843 | 2740564.4074 | 1189113.6232 | 2740566.3405 | 1189106.6965 | 2740567.3629 | 1189104.7522 | 2740568.9682 | 1189103.6557 | 2740570.7767 | 1189103.3313 | 2740572.3731 | 1189103.5291
31 | 2740572.3731 | 1189103.5291 | 2740572.7701 | 1189103.5783 | 2740592.7025 | 1189108.6244
32 | 2740592.7025 | 1189108.6244 | 2740595.5256 | 1189109.3392
33 | 2740608.9381 | 1189112.7347 | 2740595.5256 | 1189109.3392
34 | 2740610.8115 | 1189142.9048 | 2740613.7211 | 1189144.6168 | 2740616.6215 | 1189146.5309 | 2740618.4711 | 1189148.676 | 2740619.2235 | 1189150.4284 | 2740620.0567 | 1189155.3467
35 | 2740610.8115 | 1189142.9048 | 2740608.9381 | 1189112.7347
36 | 2740641.7831 | 1189174.9555 | 2740622.5612 | 1189161.9827 | 2740621.4263 | 1189160.5994 | 2740620.6307 | 1189158.7347 | 2740620.0567 | 1189155.3467
37 | 2740606.595 | 1189197.8251 | 2740621.1358 | 1189207.3959
38 | 2740606.595 | 1189197.8251 | 2740607.5121 | 1189197.2465
39 | 2740630.4044 | 1189182.8056 | 2740641.7831 | 1189174.9555
40 | 2740641.7831 | 1189174.9555 | 2740649.3034 | 1189169.261 | 2740653.1958 | 1189165.0046 | 2740656.8166 | 1189160.409
41 | 2740630.4044 | 1189182.8056 | 2740640.6768 | 1189189.335
42 | 2740630.4044 | 1189182.8056 | 2740607.5121 | 1189197.2465
43 | 2740656.8166 | 1189160.409 | 2740656.8818 | 1189160.3262
44 | 2740640.6768 | 1189189.335 | 2740651.5683 | 1189196.2579 | 2740662.3253 | 1189201.8463
45 | 2740656.8818 | 1189160.3262 | 2740657.5139 | 1189159.5239 | 2740662.986 | 1189150.7233 | 2740666.3041 | 1189144.6075 | 2740670.2649 | 1189134.5258 | 2740672.8787 | 1189126.2362 | 2740674.659 | 1189118.672 | 2740675.0149 | 1189113.6589
46 | 2740633.8305 | 1189226.7249 | 2740636.016 | 1189222.9248 | 2740635.0674 | 1189219.1329 | 2740626.2525 | 1189210.7636 | 2740621.1358 | 1189207.3959
47 | 2740633.2395 | 1189227.7523 | 2740633.8305 | 1189226.7249

## bus_geodata
| x | y | coords
0 | 2740470.0177 | 1189055.5391
1 | 2740480.7473 | 1189072.2678
2 | 2740488.1414 | 1189081.986
3 | 2740491.8392 | 1189080.1713
4 | 2740473.1227 | 1189089.851
5 | 2740523.142 | 1189087.3695
6 | 2740467.2603 | 1189105.8595
7 | 2740458.9194 | 1189078.9226
8 | 2740475.826 | 1189160.0283
9 | 2740451.1594 | 1189153.8614
10 | 2740498.889 | 1189165.6853
11 | 2740485.4111 | 1189108.3893
12 | 2740491.2782 | 1189109.207
13 | 2740545.5644 | 1189087.9985
14 | 2740417.3276 | 1189252.1911
15 | 2740437.2836 | 1189264.3154
16 | 2740489.9069 | 1189223.5509
17 | 2740501.2044 | 1189227.3104
18 | 2740515.9849 | 1189235.7058
19 | 2740535.7519 | 1189230.6657
20 | 2740506.9663 | 1189163.548
21 | 2740529.2744 | 1189223.4796
22 | 2740535.6528 | 1189170.2519
23 | 2740564.3311 | 1189178.9911
24 | 2740568.5128 | 1189187.3448
25 | 2740592.8302 | 1189205.5858
26 | 2740565.8724 | 1189180.4778
27 | 2740514.7387 | 1189112.4188
28 | 2740522.118 | 1189113.1244
29 | 2740550.6986 | 1189115.8574
30 | 2740572.3731 | 1189103.5291
31 | 2740575.2566 | 1189040.9079
32 | 2740592.7025 | 1189108.6244
33 | 2740595.5256 | 1189109.3392
34 | 2740610.8115 | 1189142.9048
35 | 2740620.0567 | 1189155.3467
36 | 2740608.9381 | 1189112.7347
37 | 2740606.595 | 1189197.8251
38 | 2740641.7831 | 1189174.9555
39 | 2740630.4044 | 1189182.8056
40 | 2740656.8166 | 1189160.409
41 | 2740640.6768 | 1189189.335
42 | 2740607.5121 | 1189197.2465
43 | 2740656.8818 | 1189160.3262
44 | 2740675.0149 | 1189113.6589
45 | 2740662.3253 | 1189201.8463
46 | 2740621.1358 | 1189207.3959
47 | 2740633.8305 | 1189226.7249
48 | 2740633.2395 | 1189227.7523
49 | 2740535.6528 | 1189170.2519

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1