## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3732-5_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3732-5_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3732-5_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3732-5_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3732-5_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3732-5_0_6_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_3732-5_0_6_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_3732-5_0_6_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_3732-5_0_6_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_3732-5_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3732-5_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3732-5_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3732-5_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3732-5_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3732-5_0_6_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_3732-5_0_6_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_3732-5_0_6_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_3732-5_0_6_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_3732-5_0_6_node_78 | 0.4 | n |  | TRUE
19 | bus_LV_3732-5_0_6_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_3732-5_0_6_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_3732-5_0_6_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_3732-5_0_6_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_3732-5_0_6_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_3732-5_0_6_node_80 | 0.4 | n |  | TRUE
25 | bus_LV_3732-5_0_6_node_75 | 0.4 | n |  | TRUE
26 | bus_LV_3732-5_0_6_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_3732-5_0_6_node_10 | 0.4 | n |  | TRUE
28 | bus_LV_3732-5_0_6_node_11 | 0.4 | n |  | TRUE
29 | bus_LV_3732-5_0_6_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_3732-5_0_6_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_3732-5_0_6_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_3732-5_0_6_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_3732-5_0_6_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_3732-5_0_6_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_3732-5_0_6_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_3732-5_0_6_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_3732-5_0_6_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_3732-5_0_6_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_3732-5_0_6_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_3732-5_0_6_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_3732-5_0_6_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_3732-5_0_6_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_3732-5_0_6_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_3732-5_0_6_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_3732-5_0_6_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_3732-5_0_6_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_3732-5_0_6_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_3732-5_0_6_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_3732-5_0_6_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_3732-5_0_6_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_3732-5_0_6_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_3732-5_0_6_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_3732-5_0_6_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_3732-5_0_6_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_3732-5_0_6_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_3732-5_0_6_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_3732-5_0_6_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_3732-5_0_6_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_3732-5_0_6_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_3732-5_0_6_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_3732-5_0_6_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_3732-5_0_6_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_3732-5_0_6_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_3732-5_0_6_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_3732-5_0_6_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_3732-5_0_6_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_3732-5_0_6_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_3732-5_0_6_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_3732-5_0_6_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_3732-5_0_6_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_3732-5_0_6_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_3732-5_0_6_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_3732-5_0_6_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_3732-5_0_6_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_3732-5_0_6_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_3732-5_0_6_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_3732-5_0_6_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_3732-5_0_6_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_3732-5_0_6_node_79 | 0.4 | n |  | TRUE
80 | bus_MV_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3732-5_0_6_load_0 | 0 | 0.0009227 | 0.00023125 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3732-5_0_6_load_4 | 4 | 0.00029097 | 7.2925e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3732-5_0_6_load_17 | 5 | 0.00067888 | 0.00017014 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3732-5_0_6_load_15 | 6 | 0.00043788 | 0.00010974 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3732-5_0_6_load_19 | 7 | 0.00043274 | 0.00010846 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3732-5_0_6_load_5 | 9 | 0.0043782 | 0.0010973 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3732-5_0_6_load_6 | 10 | 0.00030499 | 7.6437e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3732-5_0_6_load_9 | 13 | 0.00035206 | 8.8235e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3732-5_0_6_load_28 | 15 | 0.00045312 | 0.00011356 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3732-5_0_6_load_32 | 16 | 0.0004743 | 0.00011887 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3732-5_0_6_load_40 | 17 | 0.0017963 | 0.00045019 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3732-5_0_6_load_38 | 19 | 0.00064919 | 0.0001627 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3732-5_0_6_load_33 | 20 | 0.00032387 | 8.117e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3732-5_0_6_load_34 | 21 | 0.0028397 | 0.00071169 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3732-5_0_6_load_37 | 23 | 0.00093096 | 0.00023332 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3732-5_0_6_load_80 | 24 | 0.00032579 | 8.1651e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3732-5_0_6_load_10 | 27 | 0.0024182 | 0.00060606 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3732-5_0_6_load_11 | 28 | 0.0094263 | 0.0023624 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3732-5_0_6_load_12 | 29 | 0.0015378 | 0.00038542 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3732-5_0_6_load_13 | 30 | 0.0023228 | 0.00058215 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3732-5_0_6_load_48 | 33 | 0.00065044 | 0.00016302 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3732-5_0_6_load_49 | 34 | 0.00067895 | 0.00017016 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3732-5_0_6_load_52 | 36 | 0.00085798 | 0.00021503 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3732-5_0_6_load_61 | 37 | 0.00059706 | 0.00014964 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3732-5_0_6_load_23 | 39 | 0.00071288 | 0.00017866 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3732-5_0_6_load_20 | 40 | 0.00034925 | 8.7531e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3732-5_0_6_load_22 | 41 | 0.00054973 | 0.00013778 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3732-5_0_6_load_21 | 42 | 0.00037755 | 9.4622e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3732-5_0_6_load_26 | 43 | 0.00039487 | 9.8963e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3732-5_0_6_load_29 | 44 | 0.0003911 | 9.8018e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3732-5_0_6_load_24 | 45 | 0.00037139 | 9.308e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3732-5_0_6_load_25 | 46 | 0.00030541 | 7.6542e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3732-5_0_6_load_30 | 47 | 0.00059526 | 0.00014919 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3732-5_0_6_load_31 | 48 | 0.00029646 | 7.4301e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3732-5_0_6_load_46 | 49 | 0.00071862 | 0.0001801 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3732-5_0_6_load_42 | 50 | 0.0024199 | 0.00060647 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3732-5_0_6_load_43 | 51 | 0.00084913 | 0.00021281 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3732-5_0_6_load_45 | 52 | 0.0015673 | 0.00039279 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3732-5_0_6_load_76 | 53 | 0.00050236 | 0.0001259 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3732-5_0_6_load_50 | 55 | 0.00099095 | 0.00024835 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3732-5_0_6_load_51 | 56 | 0.00047033 | 0.00011788 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3732-5_0_6_load_77 | 57 | 0.00098901 | 0.00024787 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3732-5_0_6_load_67 | 58 | 0.0008931 | 0.00022383 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3732-5_0_6_load_53 | 59 | 0.0006659 | 0.00016689 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3732-5_0_6_load_60 | 60 | 0.00046524 | 0.0001166 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3732-5_0_6_load_66 | 61 | 0.0010374 | 0.00025999 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3732-5_0_6_load_64 | 62 | 0.0010754 | 0.00026952 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3732-5_0_6_load_65 | 63 | 0.0012736 | 0.00031919 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3732-5_0_6_load_54 | 64 | 0.0011843 | 0.0002968 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3732-5_0_6_load_55 | 65 | 0.00092576 | 0.00023202 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3732-5_0_6_load_56 | 66 | 0.0015967 | 0.00040018 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3732-5_0_6_load_58 | 68 | 0.0010731 | 0.00026895 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3732-5_0_6_load_63 | 70 | 0.00060234 | 0.00015096 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3732-5_0_6_load_68 | 71 | 0.0013942 | 0.00034943 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3732-5_0_6_load_62 | 72 | 0.0010162 | 0.00025468 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3732-5_0_6_load_69 | 73 | 0.00084685 | 0.00021224 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3732-5_0_6_load_70 | 74 | 0.00051714 | 0.00012961 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3732-5_0_6_load_71 | 75 | 0.0012211 | 0.00030603 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3732-5_0_6_load_72 | 76 | 0.00063531 | 0.00015922 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3732-5_0_6_load_73 | 77 | 0.00074128 | 0.00018578 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3732-5_0_6_load_79 | 79 | 0.00075666 | 0.00018964 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3732-5_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3732-5_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.18669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3732-5_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.013411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3732-5_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.022696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3732-5_0_6_line_4 | NAYY 4x150 SE | 3 | 5 | 0.058999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3732-5_0_6_line_5 | NAYY 4x150 SE | 3 | 6 | 0.011225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3732-5_0_6_line_6 | NAYY 4x150 SE | 5 | 7 | 0.083219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3732-5_0_6_line_7 | NAYY 4x150 SE | 6 | 8 | 0.057746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3732-5_0_6_line_8 | NAYY 4x150 SE | 7 | 40 | 0.080536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3732-5_0_6_line_9 | NAYY 4x150 SE | 8 | 38 | 0.061257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3732-5_0_6_line_10 | NAYY 4x150 SE | 9 | 10 | 0.02327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_3732-5_0_6_line_11 | NAYY 4x150 SE | 9 | 11 | 0.14562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3732-5_0_6_line_12 | NAYY 4x150 SE | 10 | 12 | 0.52528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_3732-5_0_6_line_13 | NAYY 4x150 SE | 11 | 13 | 0.36825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_3732-5_0_6_line_14 | NAYY 4x150 SE | 11 | 14 | 0.45283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3732-5_0_6_line_15 | NAYY 4x150 SE | 12 | 18 | 1.0054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_3732-5_0_6_line_16 | NAYY 4x150 SE | 13 | 19 | 0.00092517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_3732-5_0_6_line_17 | NAYY 4x150 SE | 14 | 21 | 0.16004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3732-5_0_6_line_18 | NAYY 4x150 SE | 15 | 16 | 0.13622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3732-5_0_6_line_19 | NAYY 4x150 SE | 15 | 17 | 0.70446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_3732-5_0_6_line_20 | NAYY 4x150 SE | 16 | 48 | 0.012982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3732-5_0_6_line_21 | NAYY 4x150 SE | 17 | 26 | 0.09545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_3732-5_0_6_line_22 | NAYY 4x150 SE | 18 | 24 | 0.044481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3732-5_0_6_line_23 | NAYY 4x150 SE | 18 | 25 | 0.094714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_3732-5_0_6_line_24 | NAYY 4x150 SE | 19 | 26 | 0.076873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_3732-5_0_6_line_25 | NAYY 4x150 SE | 20 | 21 | 0.23209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3732-5_0_6_line_26 | NAYY 4x150 SE | 20 | 22 | 0.24925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3732-5_0_6_line_27 | NAYY 4x150 SE | 22 | 23 | 0.17678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3732-5_0_6_line_28 | NAYY 4x150 SE | 25 | 79 | 0.02082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3732-5_0_6_line_29 | NAYY 4x150 SE | 25 | 78 | 0.012854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3732-5_0_6_line_30 | NAYY 4x150 SE | 27 | 28 | 0.010329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3732-5_0_6_line_31 | NAYY 4x150 SE | 27 | 29 | 0.035786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3732-5_0_6_line_32 | NAYY 4x150 SE | 28 | 30 | 0.016364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3732-5_0_6_line_33 | NAYY 4x150 SE | 29 | 31 | 0.03224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3732-5_0_6_line_34 | NAYY 4x150 SE | 30 | 32 | 0.043528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3732-5_0_6_line_35 | NAYY 4x150 SE | 31 | 33 | 0.032827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3732-5_0_6_line_36 | NAYY 4x150 SE | 31 | 34 | 0.026135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3732-5_0_6_line_37 | NAYY 4x150 SE | 32 | 35 | 0.18737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3732-5_0_6_line_38 | NAYY 4x150 SE | 33 | 36 | 0.0098707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3732-5_0_6_line_39 | NAYY 4x150 SE | 34 | 37 | 0.008138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3732-5_0_6_line_40 | NAYY 4x150 SE | 35 | 49 | 0.18685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3732-5_0_6_line_41 | NAYY 4x150 SE | 35 | 50 | 0.016678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3732-5_0_6_line_42 | NAYY 4x150 SE | 36 | 59 | 0.013149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3732-5_0_6_line_43 | NAYY 4x150 SE | 37 | 60 | 0.016449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3732-5_0_6_line_44 | NAYY 4x150 SE | 38 | 39 | 0.032908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3732-5_0_6_line_45 | NAYY 4x150 SE | 39 | 41 | 0.033659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3732-5_0_6_line_46 | NAYY 4x150 SE | 40 | 42 | 0.14471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3732-5_0_6_line_47 | NAYY 4x150 SE | 41 | 45 | 0.15706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3732-5_0_6_line_48 | NAYY 4x150 SE | 42 | 43 | 0.065567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3732-5_0_6_line_49 | NAYY 4x150 SE | 43 | 44 | 0.0021811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3732-5_0_6_line_50 | NAYY 4x150 SE | 44 | 47 | 0.024326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3732-5_0_6_line_51 | NAYY 4x150 SE | 45 | 46 | 0.069073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3732-5_0_6_line_52 | NAYY 4x150 SE | 47 | 48 | 0.089071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3732-5_0_6_line_53 | NAYY 4x150 SE | 49 | 53 | 0.29994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3732-5_0_6_line_54 | NAYY 4x150 SE | 50 | 51 | 0.026746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3732-5_0_6_line_55 | NAYY 4x150 SE | 51 | 52 | 0.025233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3732-5_0_6_line_56 | NAYY 4x150 SE | 53 | 57 | 0.087475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3732-5_0_6_line_57 | NAYY 4x150 SE | 54 | 55 | 0.12379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3732-5_0_6_line_58 | NAYY 4x150 SE | 54 | 56 | 0.3124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3732-5_0_6_line_59 | NAYY 4x150 SE | 55 | 58 | 0.021041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3732-5_0_6_line_60 | NAYY 4x150 SE | 58 | 61 | 0.016076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3732-5_0_6_line_61 | NAYY 4x150 SE | 59 | 62 | 0.0022009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3732-5_0_6_line_62 | NAYY 4x150 SE | 60 | 72 | 0.030511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3732-5_0_6_line_63 | NAYY 4x150 SE | 61 | 63 | 0.012615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3732-5_0_6_line_64 | NAYY 4x150 SE | 62 | 63 | 0.014831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3732-5_0_6_line_65 | NAYY 4x150 SE | 64 | 65 | 0.015872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3732-5_0_6_line_66 | NAYY 4x150 SE | 64 | 66 | 0.0043786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3732-5_0_6_line_67 | NAYY 4x150 SE | 65 | 67 | 0.073062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3732-5_0_6_line_68 | NAYY 4x150 SE | 67 | 68 | 0.013908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3732-5_0_6_line_69 | NAYY 4x150 SE | 67 | 69 | 0.020536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3732-5_0_6_line_70 | NAYY 4x150 SE | 68 | 70 | 0.010105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3732-5_0_6_line_71 | NAYY 4x150 SE | 69 | 71 | 0.01137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3732-5_0_6_line_72 | NAYY 4x150 SE | 70 | 72 | 0.026163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3732-5_0_6_line_73 | NAYY 4x150 SE | 71 | 73 | 0.016056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3732-5_0_6_line_74 | NAYY 4x150 SE | 73 | 74 | 0.095608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3732-5_0_6_line_75 | NAYY 4x150 SE | 74 | 75 | 0.012929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3732-5_0_6_line_76 | NAYY 4x150 SE | 75 | 76 | 0.010914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3732-5_0_6_line_77 | NAYY 4x150 SE | 76 | 77 | 0.015197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3732-5_0_6_line_78 | NAYY 4x150 SE | 77 | 78 | 0.012627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3732-5_0_6_trafo_78 | 0.25 MVA 20/0.4 kV | 80 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48
0 | 2743958.9973 | 1190957.4101 | 2743946.4587 | 1190945.4854
1 | 2743812.2121 | 1190815.7783 | 2743828.8775 | 1190833.0483 | 2743879.6675 | 1190881.964 | 2743946.4587 | 1190945.4854
2 | 2743958.9973 | 1190957.4101 | 2743954.3169 | 1190961.7011 | 2743949.4409 | 1190966.8324
3 | 2743812.2121 | 1190815.7783 | 2743800.0008 | 1190806.1661 | 2743794.0269 | 1190802.2278
4 | 2743949.4409 | 1190966.8324 | 2743940.1563 | 1190963.373 | 2743937.9286 | 1190962.4298 | 2743936.2797 | 1190960.8889 | 2743932.124 | 1190955.1065 | 2743930.4776 | 1190953.4656 | 2743928.9798 | 1190952.3064 | 2743926.7867 | 1190951.5086 | 2743896.6014 | 1190945.6868
5 | 2743949.4409 | 1190966.8324 | 2743943.3873 | 1190976.2855
6 | 2743896.6014 | 1190945.6868 | 2743891.4778 | 1190944.6986 | 2743841.2835 | 1190930.9923 | 2743817.8481 | 1190922.4445 | 2743816.8563 | 1190922.1939
7 | 2743913.918 | 1191025.6703 | 2743916.4455 | 1191018.592 | 2743922.6563 | 1191006.8096 | 2743933.9844 | 1190990.9691 | 2743943.3873 | 1190976.2855
8 | 2743816.8563 | 1190922.1939 | 2743794.8428 | 1190916.6315 | 2743766.0115 | 1190908.4991 | 2743754.8779 | 1190905.7851 | 2743738.5535 | 1190904.0667
9 | 2743871.3314 | 1191065.501 | 2743887.4356 | 1191061.3514 | 2743902.6922 | 1191039.8008 | 2743910.968 | 1191027.4786 | 2743913.918 | 1191025.6703
10 | 2742257.9442 | 1190858.5167 | 2742252.603 | 1190857.0232 | 2742238.3031 | 1190854.3035 | 2742235.5714 | 1190852.7004
11 | 2742286.4334 | 1190989.5559 | 2742288.4567 | 1190979.5404 | 2742290.0715 | 1190961.3642 | 2742290.409 | 1190942.3681 | 2742291.0447 | 1190905.3869 | 2742291.1093 | 1190899.4614 | 2742290.4055 | 1190893.7734 | 2742288.8299 | 1190888.4984 | 2742285.7207 | 1190882.9089 | 2742281.4719 | 1190876.803 | 2742274.9243 | 1190870.1643 | 2742266.2623 | 1190862.619 | 2742260.992 | 1190859.3689 | 2742257.9442 | 1190858.5167
12 | 2742359.0958 | 1190459.3245 | 2742326.2517 | 1190467.0609 | 2742311.232 | 1190472.1079 | 2742279.8439 | 1190499.139 | 2742277.1377 | 1190500.9762 | 2742269.7677 | 1190503.2361 | 2742265.5145 | 1190505.0031 | 2742251.9565 | 1190514.6776 | 2742245.4087 | 1190521.5053 | 2742241.7902 | 1190527.0571 | 2742234.9968 | 1190540.3619 | 2742218.4986 | 1190568.7816 | 2742209.5293 | 1190585.0482 | 2742209.4616 | 1190586.2921 | 2742209.9849 | 1190587.7056 | 2742211.2327 | 1190589.7703 | 2742211.3603 | 1190591.786 | 2742210.4179 | 1190594.1989 | 2742203.2676 | 1190601.3459 | 2742195.5603 | 1190616.5194 | 2742185.2003 | 1190634.4878 | 2742182.5374 | 1190642.531 | 2742181.6399 | 1190655.8981 | 2742183.4277 | 1190667.3387 | 2742185.3804 | 1190671.8442 | 2742183.1669 | 1190676.3842 | 2742182.0654 | 1190684.8537 | 2742178.5515 | 1190692.1094 | 2742179.1461 | 1190701.7535 | 2742176.4581 | 1190706.36 | 2742167.8503 | 1190711.9267 | 2742164.748 | 1190715.6671 | 2742164.7905 | 1190726.399 | 2742167.0917 | 1190745.1242 | 2742175.5174 | 1190760.0585 | 2742181.3136 | 1190766.2233 | 2742186.5611 | 1190767.2266 | 2742192.1214 | 1190774.0085 | 2742194.6133 | 1190780.5396 | 2742199.3719 | 1190787.992 | 2742207.4583 | 1190795.3678 | 2742209.189 | 1190798.3001 | 2742208.7745 | 1190803.8614 | 2742207.5715 | 1190818.1999 | 2742204.3478 | 1190824.4839 | 2742207.1494 | 1190836.916 | 2742216.3981 | 1190842.2511 | 2742227.2434 | 1190847.8133 | 2742235.5714 | 1190852.7004
13 | 2742286.4334 | 1190989.5559 | 2742303.0291 | 1190984.2573 | 2742314.4705 | 1190981.1046 | 2742341.1203 | 1190974.8554 | 2742364.2043 | 1190971.3127 | 2742401.1916 | 1190968.2344 | 2742422.0799 | 1190968.4872 | 2742426.2173 | 1190969.3307 | 2742431.025 | 1190970.8575 | 2742435.5544 | 1190972.8557 | 2742439.5638 | 1190973.6295 | 2742444.8022 | 1190973.4096 | 2742450.8236 | 1190972.3409 | 2742456.025 | 1190971.1081 | 2742459.2132 | 1190971.4509 | 2742461.5596 | 1190972.8635 | 2742462.8809 | 1190974.7186 | 2742463.7975 | 1190976.9089 | 2742464.083 | 1190980.2962 | 2742463.4034 | 1190985.1283 | 2742463.082 | 1190989.0127 | 2742463.3828 | 1190995.2804 | 2742466.8502 | 1191011.4426 | 2742469.2863 | 1191019.0178 | 2742472.0377 | 1191023.9206 | 2742476.1333 | 1191029.4002 | 2742482.8048 | 1191038.1883 | 2742490.4253 | 1191044.9196 | 2742503.3361 | 1191054.6904 | 2742523.7182 | 1191067.5304 | 2742532.9322 | 1191072.3759 | 2742549.9086 | 1191084.7123 | 2742553.3583 | 1191086.2401 | 2742556.3843 | 1191086.3456 | 2742559.6283 | 1191085.2998 | 2742565.7153 | 1191081.4751 | 2742570.2162 | 1191076.9898 | 2742573.1979 | 1191072.8686 | 2742573.892 | 1191066.7913 | 2742574.607 | 1191065.5963 | 2742574.607 | 1191065.5963
14 | 2742286.4334 | 1190989.5559 | 2742006.3379 | 1191345.3677
15 | 2743168.7773 | 1189863.3429 | 2742359.0958 | 1190459.3245
16 | 2742575.5279 | 1191065.685 | 2742574.607 | 1191065.5963
17 | 2742006.3379 | 1191345.3677 | 2741999.0462 | 1191349.1978 | 2741991.5577 | 1191351.6777 | 2741964.1426 | 1191357.154 | 2741948.7636 | 1191361.059 | 2741938.9119 | 1191363.4829 | 2741933.7565 | 1191365.6847 | 2741929.6925 | 1191367.8678 | 2741926.2781 | 1191370.956 | 2741915.2062 | 1191379.1556 | 2741907.3973 | 1191382.6066 | 2741898.7201 | 1191385.0361 | 2741886.9889 | 1191386.626 | 2741860.4055 | 1191388.8865 | 2741855.2043 | 1191389.8085
18 | 2743429.3383 | 1190992.2556 | 2743423.6823 | 1190998.3819 | 2743385.4147 | 1191041.4776 | 2743340.9223 | 1191085.8701 | 2743335.9 | 1191091.2992
19 | 2743335.9 | 1191091.2992 | 2742634.2983 | 1191027.9386
20 | 2743429.3383 | 1190992.2556 | 2743438.1446 | 1190982.7171
21 | 2742627.2191 | 1191121.5947 | 2742631.9787 | 1191096.6659 | 2742634.4499 | 1191079.0884 | 2742639.7027 | 1191060.3429 | 2742635.5098 | 1191034.6446 | 2742634.2983 | 1191027.9386
22 | 2743168.7773 | 1189863.3429 | 2743169.9319 | 1189866.4285 | 2743175.7524 | 1189870.938 | 2743190.6499 | 1189874.5972 | 2743197.7796 | 1189879.872 | 2743200.8712 | 1189889.0534
23 | 2743177.8557 | 1189778.9142 | 2743185.5501 | 1189784.1914 | 2743186.4508 | 1189784.8134 | 2743190.2651 | 1189788.3519 | 2743191.6855 | 1189792.4448 | 2743189.9023 | 1189806.0575 | 2743168.7773 | 1189863.3429
24 | 2742627.2191 | 1191121.5947 | 2742620.4044 | 1191110.5123 | 2742605.2928 | 1191091.3146 | 2742577.9938 | 1191069.1242 | 2742576.4872 | 1191067.3647 | 2742575.5279 | 1191065.685
25 | 2741627.3033 | 1191421.2033 | 2741640.368 | 1191418.0544 | 2741645.8074 | 1191415.4477 | 2741648.9499 | 1191414.8105 | 2741652.0903 | 1191414.2621 | 2741659.9044 | 1191416.0596 | 2741665.7164 | 1191416.075 | 2741683.4565 | 1191414.2378 | 2741721.0001 | 1191408.789 | 2741745.0366 | 1191403.9098 | 2741793.6234 | 1191394.3641 | 2741800.145 | 1191394.0517 | 2741805.6071 | 1191394.348 | 2741812.4601 | 1191395.8226 | 2741817.024 | 1191396.3645 | 2741823.172 | 1191396.0433 | 2741839.8909 | 1191394.4938 | 2741849.8648 | 1191391.739 | 2741855.2043 | 1191389.8085
26 | 2741381.7904 | 1191434.2984 | 2741393.2483 | 1191436.5153 | 2741399.1644 | 1191436.9665 | 2741409.4322 | 1191436.6088 | 2741422.1522 | 1191435.7753 | 2741444.2935 | 1191431.3505 | 2741460.5137 | 1191427.0082 | 2741468.4438 | 1191424.2267 | 2741477.4217 | 1191419.7131 | 2741482.4858 | 1191417.809 | 2741486.5221 | 1191417.115 | 2741493.433 | 1191416.4667 | 2741499.8267 | 1191416.7181 | 2741522.7607 | 1191419.0955 | 2741542.1818 | 1191421.9682 | 2741548.2661 | 1191422.4013 | 2741567.4009 | 1191421.8979 | 2741589.1945 | 1191421.2129 | 2741617.4634 | 1191422.4938 | 2741627.3033 | 1191421.2033
27 | 2741381.7904 | 1191434.2984 | 2741349.0205 | 1191427.241 | 2741345.3325 | 1191425.7861 | 2741341.9876 | 1191424.0168 | 2741329.9837 | 1191412.9467 | 2741302.6701 | 1191384.4679 | 2741278.7204 | 1191364.6979 | 2741273.3354 | 1191361.1346 | 2741269.1363 | 1191359.3563 | 2741264.5687 | 1191358.6479 | 2741260.0711 | 1191359.1755 | 2741232.043 | 1191366.0974
28 | 2743166.0914 | 1189794.4899 | 2743175.1851 | 1189787.8464 | 2743177.5401 | 1189783.8106 | 2743177.8557 | 1189778.9142
29 | 2743171.0516 | 1189767.9983 | 2743177.8557 | 1189778.9142
30 | 2742862.8374 | 1189530.5456 | 2742866.947 | 1189529.7869 | 2742873.0348 | 1189528.9121
31 | 2742907.553 | 1189534.6043 | 2742897.3977 | 1189530.1806 | 2742890.8266 | 1189528.3222 | 2742884.1866 | 1189527.7522 | 2742876.7014 | 1189528.3852 | 2742873.0348 | 1189528.9121
32 | 2742862.8374 | 1189530.5456 | 2742852.7607 | 1189532.4061 | 2742846.6535 | 1189532.7514
33 | 2742936.5997 | 1189548.4866 | 2742931.2483 | 1189545.4008 | 2742920.1291 | 1189539.7308 | 2742908.8763 | 1189535.1808 | 2742907.553 | 1189534.6043
34 | 2742806.7158 | 1189521.3765 | 2742809.5173 | 1189524.5237 | 2742812.8509 | 1189527.1164 | 2742816.5893 | 1189529.0516 | 2742824.2175 | 1189532.3362 | 2742828.1838 | 1189533.3538 | 2742841.2846 | 1189533.055 | 2742846.6535 | 1189532.7514
35 | 2742936.5997 | 1189548.4866 | 2742964.0771 | 1189543.9834 | 2742969.0599 | 1189544.057
36 | 2742936.5997 | 1189548.4866 | 2742944.5075 | 1189555.7145 | 2742951.408 | 1189562.3068 | 2742955.6638 | 1189566.3615
37 | 2742881.2503 | 1189480.7332 | 2742870.5466 | 1189483.5356 | 2742866.0296 | 1189484.8066 | 2742863.9527 | 1189484.8682 | 2742862.2186 | 1189483.9928 | 2742858.5056 | 1189477.4768 | 2742856.0626 | 1189472.7369 | 2742852.358 | 1189468.7453 | 2742847.3967 | 1189464.657 | 2742804.3752 | 1189436.586 | 2742793.1467 | 1189455.9448 | 2742791.3216 | 1189470.3907 | 2742792.8516 | 1189492.923 | 2742794.8307 | 1189501.7551 | 2742806.7158 | 1189521.3765
38 | 2742969.0599 | 1189544.057 | 2742978.9295 | 1189544.2028
39 | 2742955.6638 | 1189566.3615 | 2742957.0107 | 1189567.6448 | 2742960.9433 | 1189572.538
40 | 2742881.2503 | 1189480.7332 | 2742897.7867 | 1189470.1305 | 2742982.8847 | 1189437.7138 | 2743012.7434 | 1189425.5505 | 2743028.8253 | 1189423.4441 | 2743041.6269 | 1189419.3911 | 2743055.8724 | 1189419.7889
41 | 2742881.2503 | 1189480.7332 | 2742897.8522 | 1189479.1382
42 | 2742978.9295 | 1189544.2028 | 2742992.077 | 1189544.3969
43 | 2742970.0189 | 1189586.2069 | 2742964.8652 | 1189577.418 | 2742960.9433 | 1189572.538
44 | 2743871.3314 | 1191065.501 | 2743865.5816 | 1191054.6318 | 2743851.5109 | 1191039.5704 | 2743851.5109 | 1191039.5704
45 | 2743821.1328 | 1191025.0747 | 2743851.5109 | 1191039.5704
46 | 2743598.9128 | 1190913.6701 | 2743619.5575 | 1190905.9703 | 2743647.1157 | 1190894.7002 | 2743654.0183 | 1190892.5308 | 2743658.79 | 1190891.7336 | 2743663.2083 | 1190891.9954 | 2743670.4233 | 1190892.7024 | 2743695.539 | 1190898.3209 | 2743715.8648 | 1190901.6783 | 2743738.5535 | 1190904.0667
47 | 2743679.1007 | 1190970.5063 | 2743689.5707 | 1190969.2461 | 2743738.8692 | 1190975.4681 | 2743758.9764 | 1190986.0039 | 2743777.7935 | 1191003.559 | 2743795.2634 | 1191012.7305 | 2743821.1328 | 1191025.0747
48 | 2743598.9128 | 1190913.6701 | 2743598.9128 | 1190913.6701 | 2743588.8172 | 1190916.6526 | 2743582.8175 | 1190918.0765 | 2743541.7101 | 1190924.6292 | 2743534.6505 | 1190926.2687
49 | 2743534.6505 | 1190926.2687 | 2743532.5259 | 1190926.7621
50 | 2743532.5259 | 1190926.7621 | 2743508.8309 | 1190932.265
51 | 2743679.1007 | 1190970.5063 | 2743610.5229 | 1190978.7603
52 | 2743508.8309 | 1190932.265 | 2743506.5142 | 1190932.803 | 2743493.2724 | 1190936.8778 | 2743485.1834 | 1190939.8529 | 2743479.7694 | 1190942.3029 | 2743474.6586 | 1190945.4719 | 2743467.1026 | 1190951.3511 | 2743438.1446 | 1190982.7171
53 | 2743055.8724 | 1189419.7889 | 2743094.2647 | 1189420.8611 | 2743101.4233 | 1189417.6185 | 2743108.158 | 1189414.5548 | 2743128.2575 | 1189410.0538 | 2743146.5158 | 1189404.0522 | 2743162.1039 | 1189405.0479 | 2743201.2135 | 1189389.6041 | 2743227.2074 | 1189377.6273 | 2743266.0554 | 1189366.748 | 2743271.1782 | 1189366.3146 | 2743279.161 | 1189365.6273 | 2743294.2306 | 1189356.7364 | 2743311.3328 | 1189346.771 | 2743323.4101 | 1189337.9307 | 2743337.2492 | 1189333.9032
54 | 2742897.8522 | 1189479.1382 | 2742924.4759 | 1189476.5802
55 | 2742924.4759 | 1189476.5802 | 2742944.5597 | 1189474.6506 | 2742949.5705 | 1189475.3304
56 | 2743388.0623 | 1189324.946 | 2743395.891 | 1189328.4585 | 2743398.4592 | 1189334.3248 | 2743398.2602 | 1189342.6267 | 2743390.4632 | 1189346.3874 | 2743376.1181 | 1189345.4209 | 2743352.6392 | 1189334.8947 | 2743337.2492 | 1189333.9032
57 | 2743177.5587 | 1189521.6112 | 2743168.797 | 1189522.3356 | 2743156.8247 | 1189523.3057 | 2743144.8173 | 1189523.8301 | 2743132.7367 | 1189524.8644 | 2743124.2099 | 1189526.295 | 2743118.1469 | 1189528.3962 | 2743109.427 | 1189531.5236 | 2743100.0547 | 1189535.1247 | 2743091.0146 | 1189539.8347 | 2743079.7682 | 1189545.8708 | 2743076.62 | 1189547.0187 | 2743074.1192 | 1189547.893 | 2743065.2753 | 1189548.5488 | 2743062.7187 | 1189548.888 | 2743058.6619 | 1189548.5001
58 | 2743177.5587 | 1189521.6112 | 2743183.9595 | 1189521.6532 | 2743190.5943 | 1189522.1234 | 2743196.6338 | 1189523.2354 | 2743202.7626 | 1189524.761 | 2743208.3615 | 1189527.0634 | 2743214.0178 | 1189530.1567 | 2743220.5783 | 1189535.0064 | 2743224.0492 | 1189537.5916 | 2743228.3993 | 1189540.1088 | 2743230.3442 | 1189540.778 | 2743234.1798 | 1189541.8373 | 2743240.1452 | 1189542.5361 | 2743249.3933 | 1189543.169 | 2743266.1494 | 1189544.1263 | 2743273.9808 | 1189544.0136 | 2743280.9284 | 1189544.4802 | 2743285.3708 | 1189545.0537 | 2743293.7054 | 1189547.1882 | 2743300.7329 | 1189548.7799 | 2743308.5542 | 1189549.7234 | 2743314.7914 | 1189549.2723 | 2743324.5289 | 1189548.5826 | 2743333.3981 | 1189547.8277 | 2743339.6385 | 1189547.8771 | 2743345.4416 | 1189548.9836 | 2743351.2046 | 1189552.0796 | 2743357.2505 | 1189556.1054 | 2743360.5577 | 1189558.8312 | 2743364.3932 | 1189561.1694 | 2743369.9606 | 1189565.7397 | 2743375.5695 | 1189568.5763 | 2743380.1874 | 1189570.4217 | 2743386.023 | 1189572.3964 | 2743394.1962 | 1189574.8942 | 2743404.5589 | 1189578.0449 | 2743415.1541 | 1189580.0892 | 2743428.6655 | 1189579.846 | 2743445.2488 | 1189579.7321 | 2743452.6174 | 1189579.5085 | 2743460.6104 | 1189583.4698 | 2743468.1819 | 1189587.8326 | 2743474.1748 | 1189589.6109
59 | 2743037.7167 | 1189546.4975 | 2743058.6619 | 1189548.5001
60 | 2743021.7137 | 1189544.9673 | 2743037.7167 | 1189546.4975
61 | 2742994.2777 | 1189544.4294 | 2742992.077 | 1189544.3969
62 | 2742970.0189 | 1189586.2069 | 2742972.6292 | 1189590.6585 | 2742980.3158 | 1189602.9853 | 2742986.7463 | 1189611.6919
63 | 2743009.1069 | 1189544.6484 | 2743020.0713 | 1189544.8103 | 2743021.7137 | 1189544.9673
64 | 2742994.2777 | 1189544.4294 | 2743009.1069 | 1189544.6484
65 | 2742937.851 | 1189614.6909 | 2742951.8998 | 1189622.0775
66 | 2742933.9755 | 1189612.6533 | 2742937.851 | 1189614.6909
67 | 2743017.7438 | 1189651.1068 | 2743007.4917 | 1189651.3065 | 2742951.8998 | 1189622.0775
68 | 2743017.7438 | 1189651.1068 | 2743012.2965 | 1189643.7374 | 2743009.477 | 1189639.9219
69 | 2743017.7438 | 1189651.1068 | 2743021.4406 | 1189657.011 | 2743025.6422 | 1189663.183 | 2743029.263 | 1189668.1179
70 | 2743003.4716 | 1189631.7948 | 2743003.4716 | 1189631.7948 | 2743009.477 | 1189639.9219
71 | 2743029.263 | 1189668.1179 | 2743032.247 | 1189671.6031 | 2743036.0918 | 1189675.4647 | 2743037.1319 | 1189676.2975
72 | 2743003.4716 | 1189631.7948 | 2742990.1311 | 1189616.2748 | 2742986.7463 | 1189611.6919
73 | 2743037.1319 | 1189676.2975 | 2743040.8159 | 1189679.2473 | 2743046.5469 | 1189683.3653 | 2743049.9257 | 1189685.3365 | 2743050.2486 | 1189685.513
74 | 2743050.2486 | 1189685.513 | 2743068.4611 | 1189695.4653 | 2743097.9441 | 1189712.0388 | 2743114.7554 | 1189721.5149 | 2743122.9422 | 1189725.992 | 2743128.4879 | 1189729.2383 | 2743133.2161 | 1189732.8936
75 | 2743133.2161 | 1189732.8936 | 2743134.069 | 1189733.553 | 2743142.5755 | 1189741.8048
76 | 2743142.5755 | 1189741.8048 | 2743143.7183 | 1189742.9134 | 2743150.2862 | 1189749.528
77 | 2743150.2862 | 1189749.528 | 2743151.8617 | 1189751.1147 | 2743159.7567 | 1189758.8542 | 2743161.2373 | 1189760.0529
78 | 2743171.0516 | 1189767.9983 | 2743161.2373 | 1189760.0529

## bus_geodata
| x | y | coords
0 | 2743946.4587 | 1190945.4854
1 | 2743958.9973 | 1190957.4101
2 | 2743812.2121 | 1190815.7783
3 | 2743949.4409 | 1190966.8324
4 | 2743794.0269 | 1190802.2278
5 | 2743896.6014 | 1190945.6868
6 | 2743943.3873 | 1190976.2855
7 | 2743816.8563 | 1190922.1939
8 | 2743913.918 | 1191025.6703
9 | 2742257.9442 | 1190858.5167
10 | 2742235.5714 | 1190852.7004
11 | 2742286.4334 | 1190989.5559
12 | 2742359.0958 | 1190459.3245
13 | 2742574.607 | 1191065.5963
14 | 2742006.3379 | 1191345.3677
15 | 2743335.9 | 1191091.2992
16 | 2743429.3383 | 1190992.2556
17 | 2742634.2983 | 1191027.9386
18 | 2743168.7773 | 1189863.3429
19 | 2742575.5279 | 1191065.685
20 | 2741627.3033 | 1191421.2033
21 | 2741855.2044 | 1191389.8085
22 | 2741381.7904 | 1191434.2984
23 | 2741232.043 | 1191366.0974
24 | 2743200.8712 | 1189889.0534
25 | 2743177.8557 | 1189778.9142
26 | 2742627.2191 | 1191121.5947
27 | 2742873.0348 | 1189528.9121
28 | 2742862.8374 | 1189530.5456
29 | 2742907.553 | 1189534.6043
30 | 2742846.6535 | 1189532.7514
31 | 2742936.5997 | 1189548.4866
32 | 2742806.7158 | 1189521.3765
33 | 2742969.0599 | 1189544.057
34 | 2742955.6638 | 1189566.3615
35 | 2742881.2503 | 1189480.7332
36 | 2742978.9295 | 1189544.2028
37 | 2742960.9433 | 1189572.538
38 | 2743871.3314 | 1191065.501
39 | 2743851.5109 | 1191039.5704
40 | 2743738.5535 | 1190904.0667
41 | 2743821.1328 | 1191025.0747
42 | 2743598.9128 | 1190913.6701
43 | 2743534.6505 | 1190926.2687
44 | 2743532.5259 | 1190926.7621
45 | 2743679.1007 | 1190970.5063
46 | 2743610.5229 | 1190978.7603
47 | 2743508.8309 | 1190932.265
48 | 2743438.1446 | 1190982.7171
49 | 2743055.8724 | 1189419.7889
50 | 2742897.8522 | 1189479.1382
51 | 2742924.4759 | 1189476.5802
52 | 2742949.5705 | 1189475.3304
53 | 2743337.2492 | 1189333.9032
54 | 2743177.5587 | 1189521.6112
55 | 2743058.6619 | 1189548.5001
56 | 2743474.1748 | 1189589.6109
57 | 2743388.0623 | 1189324.946
58 | 2743037.7167 | 1189546.4975
59 | 2742992.077 | 1189544.3969
60 | 2742970.0189 | 1189586.2069
61 | 2743021.7137 | 1189544.9673
62 | 2742994.2777 | 1189544.4294
63 | 2743009.1069 | 1189544.6484
64 | 2742937.851 | 1189614.6909
65 | 2742951.8998 | 1189622.0775
66 | 2742933.9755 | 1189612.6533
67 | 2743017.7438 | 1189651.1068
68 | 2743009.477 | 1189639.9219
69 | 2743029.263 | 1189668.1179
70 | 2743003.4716 | 1189631.7948
71 | 2743037.1319 | 1189676.2975
72 | 2742986.7463 | 1189611.6919
73 | 2743050.2486 | 1189685.513
74 | 2743133.2161 | 1189732.8936
75 | 2743142.5755 | 1189741.8048
76 | 2743150.2862 | 1189749.528
77 | 2743161.2373 | 1189760.0529
78 | 2743171.0516 | 1189767.9983
79 | 2743166.0914 | 1189794.4899
80 | 2743168.7773 | 1189863.3429

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1