## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3734-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3734-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3734-6_0_3_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_3734-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3734-6_0_3_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_3734-6_0_3_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_3734-6_0_3_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_3734-6_0_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_3734-6_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_3734-6_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3734-6_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3734-6_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3734-6_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3734-6_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3734-6_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3734-6_0_3_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_3734-6_0_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_3734-6_0_3_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_3734-6_0_3_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_3734-6_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_3734-6_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3734-6_0_3_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_3734-6_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_3734-6_0_3_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_3734-6_0_3_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_3734-6_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_3734-6_0_3_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_3734-6_0_3_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_3734-6_0_3_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_3734-6_0_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_3734-6_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_3734-6_0_3_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_3734-6_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_3734-6_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_3734-6_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_3734-6_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_3734-6_0_3_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_3734-6_0_3_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_3734-6_0_3_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_3734-6_0_3_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_3734-6_0_3_node_69 | 0.4 | n |  | TRUE
41 | bus_LV_3734-6_0_3_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_3734-6_0_3_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_3734-6_0_3_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_3734-6_0_3_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_3734-6_0_3_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_3734-6_0_3_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_3734-6_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_3734-6_0_3_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_3734-6_0_3_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_3734-6_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_3734-6_0_3_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_3734-6_0_3_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_3734-6_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_3734-6_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_3734-6_0_3_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_3734-6_0_3_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_3734-6_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_3734-6_0_3_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_3734-6_0_3_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_3734-6_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_3734-6_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_3734-6_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_3734-6_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_3734-6_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_3734-6_0_3_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_3734-6_0_3_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_3734-6_0_3_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_3734-6_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_3734-6_0_3_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_3734-6_0_3_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_3734-6_0_3_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_3734-6_0_3_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_3734-6_0_3_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_3734-6_0_3_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_3734-6_0_3_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_3734-6_0_3_node_77 | 0.4 | n |  | TRUE
77 | bus_MV_56_0_node_278 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3734-6_0_3_load_0 | 0 | 0.0020104 | 0.00050385 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3734-6_0_3_load_1 | 1 | 0.002665 | 0.00066792 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3734-6_0_3_load_13 | 2 | 0.0021988 | 0.00055107 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3734-6_0_3_load_3 | 3 | 0.0023145 | 0.00058007 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3734-6_0_3_load_11 | 4 | 0.0020155 | 0.00050513 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3734-6_0_3_load_17 | 5 | 0.003558 | 0.00089172 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3734-6_0_3_load_18 | 6 | 0.0035211 | 0.00088246 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3734-6_0_3_load_10 | 7 | 0.00094226 | 0.00023615 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3734-6_0_3_load_4 | 8 | 0.00068411 | 0.00017145 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3734-6_0_3_load_5 | 9 | 0.00066643 | 0.00016702 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3734-6_0_3_load_7 | 11 | 0.0019765 | 0.00049536 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3734-6_0_3_load_8 | 12 | 0.0015147 | 0.00037963 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3734-6_0_3_load_9 | 13 | 0.0035023 | 0.00087776 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3734-6_0_3_load_12 | 14 | 0.0042004 | 0.0010527 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3734-6_0_3_load_20 | 16 | 0.0031999 | 0.00080196 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3734-6_0_3_load_21 | 17 | 0.0017776 | 0.00044551 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3734-6_0_3_load_22 | 18 | 0.0015778 | 0.00039542 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3734-6_0_3_load_14 | 19 | 0.0030218 | 0.00075734 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3734-6_0_3_load_67 | 21 | 0.0063135 | 0.0015823 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3734-6_0_3_load_15 | 22 | 0.0036667 | 0.00091897 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3734-6_0_3_load_66 | 23 | 0.0039121 | 0.00098045 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3734-6_0_3_load_34 | 24 | 0.0011497 | 0.00028814 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3734-6_0_3_load_61 | 26 | 0.0042394 | 0.0010625 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3734-6_0_3_load_32 | 27 | 0.00071896 | 0.00018019 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3734-6_0_3_load_29 | 28 | 0.0059784 | 0.0014983 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3734-6_0_3_load_30 | 29 | 0.0019729 | 0.00049444 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3734-6_0_3_load_23 | 30 | 0.0041549 | 0.0010413 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3734-6_0_3_load_60 | 31 | 0.0024924 | 0.00062464 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3734-6_0_3_load_27 | 33 | 0.0036796 | 0.0009222 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3734-6_0_3_load_28 | 34 | 0.0066062 | 0.0016557 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3734-6_0_3_load_74 | 36 | 0.0024854 | 0.00062291 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3734-6_0_3_load_54 | 37 | 0.0037108 | 0.00093001 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3734-6_0_3_load_72 | 38 | 0.0043353 | 0.0010865 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3734-6_0_3_load_49 | 41 | 0.0018036 | 0.00045203 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3734-6_0_3_load_68 | 42 | 0.0035701 | 0.00089476 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3734-6_0_3_load_75 | 43 | 0.0032324 | 0.00081011 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3734-6_0_3_load_71 | 44 | 0.0028799 | 0.00072178 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3734-6_0_3_load_53 | 45 | 0.0050667 | 0.0012698 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3734-6_0_3_load_70 | 46 | 0.0012515 | 0.00031366 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3734-6_0_3_load_31 | 48 | 0.0018309 | 0.00045887 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3734-6_0_3_load_33 | 49 | 0.0015669 | 0.00039269 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3734-6_0_3_load_63 | 51 | 0.00098425 | 0.00024668 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3734-6_0_3_load_36 | 52 | 0.0017947 | 0.0004498 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3734-6_0_3_load_37 | 53 | 0.0015806 | 0.00039614 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3734-6_0_3_load_38 | 54 | 0.0036052 | 0.00090356 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3734-6_0_3_load_40 | 55 | 0.0031272 | 0.00078375 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3734-6_0_3_load_41 | 56 | 0.0027796 | 0.00069662 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3734-6_0_3_load_50 | 57 | 0.0036491 | 0.00091456 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3734-6_0_3_load_42 | 58 | 0.0022523 | 0.00056449 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3734-6_0_3_load_43 | 59 | 0.0022395 | 0.00056126 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3734-6_0_3_load_44 | 60 | 0.0044774 | 0.0011221 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3734-6_0_3_load_45 | 61 | 0.0008252 | 0.00020682 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3734-6_0_3_load_46 | 62 | 0.00078427 | 0.00019656 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3734-6_0_3_load_47 | 63 | 0.0011542 | 0.00028928 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3734-6_0_3_load_48 | 64 | 0.0027725 | 0.00069485 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3734-6_0_3_load_51 | 65 | 0.0064032 | 0.0016048 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3734-6_0_3_load_73 | 66 | 0.001184 | 0.00029674 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3734-6_0_3_load_62 | 67 | 0.0030204 | 0.00075699 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3734-6_0_3_load_59 | 68 | 0.0034765 | 0.0008713 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3734-6_0_3_load_55 | 69 | 0.0038577 | 0.00096683 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3734-6_0_3_load_56 | 70 | 0.0025965 | 0.00065075 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3734-6_0_3_load_57 | 71 | 0.0020139 | 0.00050474 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3734-6_0_3_load_58 | 72 | 0.0061436 | 0.0015397 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3734-6_0_3_load_64 | 73 | 0.0055232 | 0.0013842 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3734-6_0_3_load_65 | 74 | 0.001496 | 0.00037494 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3734-6_0_3_load_76 | 75 | 0.0032311 | 0.00080979 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3734-6_0_3_load_77 | 76 | 0.0030973 | 0.00077627 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3734-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.07565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3734-6_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3734-6_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.012058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3734-6_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0093197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3734-6_0_3_line_4 | NAYY 4x150 SE | 4 | 7 | 0.01551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3734-6_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.017338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3734-6_0_3_line_6 | NAYY 4x150 SE | 6 | 19 | 0.13502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3734-6_0_3_line_7 | NAYY 4x150 SE | 7 | 12 | 0.020652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3734-6_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.017864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3734-6_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.021764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3734-6_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.002005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3734-6_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.010484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3734-6_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.025386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3734-6_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.011571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3734-6_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.037192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3734-6_0_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.034058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3734-6_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.011026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3734-6_0_3_line_17 | NAYY 4x150 SE | 15 | 18 | 0.015805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3734-6_0_3_line_18 | NAYY 4x150 SE | 16 | 24 | 0.0046193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3734-6_0_3_line_19 | NAYY 4x150 SE | 17 | 25 | 0.024111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3734-6_0_3_line_20 | NAYY 4x150 SE | 18 | 26 | 0.004128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3734-6_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.10332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3734-6_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.025771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3734-6_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.027841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3734-6_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.033679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3734-6_0_3_line_25 | NAYY 4x150 SE | 23 | 72 | 0.030251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3734-6_0_3_line_26 | NAYY 4x150 SE | 24 | 27 | 0.0038661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3734-6_0_3_line_27 | NAYY 4x150 SE | 25 | 28 | 0.0286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_3734-6_0_3_line_28 | NAYY 4x150 SE | 25 | 29 | 0.010476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_3734-6_0_3_line_29 | NAYY 4x150 SE | 25 | 30 | 0.0093404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3734-6_0_3_line_30 | NAYY 4x150 SE | 26 | 31 | 0.017001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3734-6_0_3_line_31 | NAYY 4x150 SE | 27 | 48 | 0.00065945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3734-6_0_3_line_32 | NAYY 4x150 SE | 28 | 41 | 0.015669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3734-6_0_3_line_33 | NAYY 4x150 SE | 29 | 42 | 0.014162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_3734-6_0_3_line_34 | NAYY 4x150 SE | 31 | 57 | 0.014304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3734-6_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.010669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3734-6_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.024388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3734-6_0_3_line_37 | NAYY 4x150 SE | 33 | 39 | 0.0033531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3734-6_0_3_line_38 | NAYY 4x150 SE | 34 | 40 | 0.017465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3734-6_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.0038935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3734-6_0_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.013412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3734-6_0_3_line_41 | NAYY 4x150 SE | 35 | 38 | 0.014039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3734-6_0_3_line_42 | NAYY 4x150 SE | 36 | 43 | 0.0068684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3734-6_0_3_line_43 | NAYY 4x150 SE | 37 | 39 | 0.0063339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3734-6_0_3_line_44 | NAYY 4x150 SE | 38 | 44 | 0.0081176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3734-6_0_3_line_45 | NAYY 4x150 SE | 39 | 45 | 0.0092859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3734-6_0_3_line_46 | NAYY 4x150 SE | 40 | 46 | 0.0070434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3734-6_0_3_line_47 | NAYY 4x150 SE | 40 | 42 | 0.009431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_3734-6_0_3_line_48 | NAYY 4x150 SE | 41 | 47 | 0.035809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3734-6_0_3_line_49 | NAYY 4x150 SE | 43 | 75 | 0.0040863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3734-6_0_3_line_50 | NAYY 4x150 SE | 44 | 66 | 0.02328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3734-6_0_3_line_51 | NAYY 4x150 SE | 45 | 67 | 0.012432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3734-6_0_3_line_52 | NAYY 4x150 SE | 46 | 74 | 0.018461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3734-6_0_3_line_53 | NAYY 4x150 SE | 47 | 53 | 0.0081905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3734-6_0_3_line_54 | NAYY 4x150 SE | 48 | 49 | 0.03138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3734-6_0_3_line_55 | NAYY 4x150 SE | 49 | 50 | 0.024516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3734-6_0_3_line_56 | NAYY 4x150 SE | 50 | 51 | 0.028881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3734-6_0_3_line_57 | NAYY 4x150 SE | 52 | 53 | 0.013803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3734-6_0_3_line_58 | NAYY 4x150 SE | 52 | 54 | 0.0077863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3734-6_0_3_line_59 | NAYY 4x150 SE | 54 | 55 | 0.0046817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3734-6_0_3_line_60 | NAYY 4x150 SE | 55 | 56 | 0.0045579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3734-6_0_3_line_61 | NAYY 4x150 SE | 56 | 58 | 0.0065687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3734-6_0_3_line_62 | NAYY 4x150 SE | 58 | 59 | 0.0087379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3734-6_0_3_line_63 | NAYY 4x150 SE | 59 | 60 | 0.0054447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3734-6_0_3_line_64 | NAYY 4x150 SE | 61 | 62 | 0.00089798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3734-6_0_3_line_65 | NAYY 4x150 SE | 61 | 63 | 0.004394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3734-6_0_3_line_66 | NAYY 4x150 SE | 62 | 64 | 0.016955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3734-6_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.0013259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3734-6_0_3_line_68 | NAYY 4x150 SE | 65 | 66 | 0.01017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3734-6_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0089329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3734-6_0_3_line_70 | NAYY 4x150 SE | 68 | 71 | 0.016144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3734-6_0_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.0032928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3734-6_0_3_line_72 | NAYY 4x150 SE | 69 | 71 | 0.0011465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3734-6_0_3_line_73 | NAYY 4x150 SE | 70 | 72 | 0.0034722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3734-6_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.0029359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3734-6_0_3_line_75 | NAYY 4x150 SE | 75 | 76 | 0.033874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3734-6_0_3_trafo_29 | 0.25 MVA 20/0.4 kV | 77 | 28 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2746129.1856 | 1187759.3966 | 2746145.016 | 1187732.6952 | 2746156.4403 | 1187717.4616 | 2746167.5768 | 1187705.8906 | 2746175.5953 | 1187700.7811
1 | 2746129.1856 | 1187759.3966 | 2746128.8915 | 1187737.7592
2 | 2746185.5375 | 1187693.9596 | 2746175.8963 | 1187700.5893 | 2746175.5953 | 1187700.7811
3 | 2746185.5375 | 1187693.9596 | 2746193.2168 | 1187688.679
4 | 2746205.4651 | 1187679.1646 | 2746193.3869 | 1187688.562 | 2746193.2168 | 1187688.679
5 | 2745986.5842 | 1187915.92 | 2745992.8337 | 1187920.7143 | 2746000.9984 | 1187925.495 | 2746000.9984 | 1187925.495
6 | 2746132.526 | 1187955.9863 | 2746000.9984 | 1187925.495
7 | 2746214.7537 | 1187661.2164 | 2746213.3519 | 1187667.4211 | 2746207.3689 | 1187677.6834 | 2746205.4651 | 1187679.1646
8 | 2746220.2905 | 1187671.7829 | 2746220.2905 | 1187671.7829 | 2746218.2398 | 1187684.4876 | 2746215.3786 | 1187688.5819
9 | 2746215.4135 | 1187650.8357 | 2746219.6167 | 1187661.5581 | 2746220.2905 | 1187671.7829
10 | 2746214.2301 | 1187690.2254 | 2746215.3786 | 1187688.5819
11 | 2746215.4135 | 1187650.8357 | 2746215.6456 | 1187657.2688 | 2746214.7537 | 1187661.2164
12 | 2746215.4135 | 1187650.8357 | 2746221.4485 | 1187653.752 | 2746226.6306 | 1187663.7756 | 2746233.6701 | 1187666.056
13 | 2746208.9438 | 1187700.3847 | 2746210.5993 | 1187695.4211 | 2746214.2301 | 1187690.2254
14 | 2746261.8126 | 1187689.2999 | 2746259.168 | 1187685.0763 | 2746257.0717 | 1187683.0902 | 2746246.8899 | 1187676.514 | 2746243.2184 | 1187671.8316 | 2746236.1725 | 1187666.8667 | 2746233.6701 | 1187666.056
15 | 2746261.8126 | 1187689.2999 | 2746269.5765 | 1187681.4387 | 2746273.1733 | 1187677.6234 | 2746273.6099 | 1187669.1272 | 2746273.2254 | 1187659.8769
16 | 2746261.8126 | 1187689.2999 | 2746265.6456 | 1187699.6384
17 | 2746261.8126 | 1187689.2999 | 2746257.6536 | 1187693.6352 | 2746249.0974 | 1187698.4071
18 | 2746271.4937 | 1187655.5945 | 2746273.2254 | 1187659.8769
19 | 2746270.074 | 1187723.2293 | 2746267.6415 | 1187705.0217 | 2746265.6456 | 1187699.6384
20 | 2746249.0974 | 1187698.4071 | 2746246.4408 | 1187699.8887 | 2746245.4318 | 1187700.2906
21 | 2746179.2363 | 1187863.826 | 2746132.526 | 1187955.9863
22 | 2746179.2363 | 1187863.826 | 2746180.0969 | 1187861.0892 | 2746195.2619 | 1187853.3197 | 2746200.5632 | 1187850.8162
23 | 2746179.2363 | 1187863.826 | 2746176.7482 | 1187854.4465 | 2746169.1049 | 1187846.1309 | 2746162.8371 | 1187843.3867
24 | 2746200.5632 | 1187850.8162 | 2746207.9565 | 1187847.3247 | 2746219.9187 | 1187837.8757 | 2746225.0238 | 1187828.9773
25 | 2746234.668 | 1187800.4055 | 2746231.1533 | 1187809.7938 | 2746226.6632 | 1187826.1197 | 2746225.0238 | 1187828.9773
26 | 2746271.4937 | 1187655.5945 | 2746270.8501 | 1187654.003 | 2746269.9517 | 1187652.0504
27 | 2746270.074 | 1187723.2293 | 2746248.8003 | 1187731.0828 | 2746242.8775 | 1187730.9948
28 | 2746270.074 | 1187723.2293 | 2746280.356 | 1187721.2231
29 | 2746270.074 | 1187723.2293 | 2746273.9894 | 1187731.7094
30 | 2746229.9702 | 1187707.1705 | 2746231.9731 | 1187705.6513 | 2746245.4318 | 1187700.2906
31 | 2746269.9517 | 1187652.0504 | 2746269.6761 | 1187651.4513
32 | 2746227.2103 | 1187730.7619 | 2746242.8775 | 1187730.9948
33 | 2746294.4079 | 1187720.4331 | 2746285.9266 | 1187720.1362 | 2746280.356 | 1187721.2231
34 | 2746229.9702 | 1187707.1705 | 2746219.46 | 1187715.1424 | 2746218.6529 | 1187715.9085
35 | 2746284.3183 | 1187754.0801 | 2746276.0238 | 1187760.79
36 | 2746284.3183 | 1187754.0801 | 2746296.5395 | 1187746.2278 | 2746300.6154 | 1187741.8571 | 2746301.307 | 1187738.0342
37 | 2746273.4169 | 1187762.8988 | 2746276.0238 | 1187760.79
38 | 2746303.8331 | 1187720.763 | 2746302.8306 | 1187729.6124 | 2746301.307 | 1187738.0342
39 | 2746292.4743 | 1187767.0232 | 2746294.6899 | 1187770.2249
40 | 2746292.4743 | 1187767.0232 | 2746282.9278 | 1187766.3117 | 2746279.1742 | 1187765.5071
41 | 2746292.4743 | 1187767.0232 | 2746297.9929 | 1187765.7681 | 2746306.1458 | 1187763.8334
42 | 2746298.8873 | 1187775.6059 | 2746297.7971 | 1187774.715 | 2746294.6899 | 1187770.2249
43 | 2746273.4169 | 1187762.8988 | 2746278.653 | 1187765.3954 | 2746279.1742 | 1187765.5071
44 | 2746314.044 | 1187761.9591 | 2746306.1458 | 1187763.8334
45 | 2746273.4169 | 1187762.8988 | 2746266.0984 | 1187768.6143
46 | 2746303.8331 | 1187720.763 | 2746304.867 | 1187713.7959
47 | 2746303.8331 | 1187720.763 | 2746294.4079 | 1187720.4331
48 | 2746194.212 | 1187742.893 | 2746204.8343 | 1187736.1246 | 2746222.0799 | 1187730.6856 | 2746227.2103 | 1187730.7619
49 | 2746298.8873 | 1187775.6059 | 2746302.0516 | 1187778.1915
50 | 2746314.044 | 1187761.9591 | 2746329.6004 | 1187758.2675 | 2746335.5354 | 1187754.0313
51 | 2746256.3003 | 1187776.2664 | 2746266.0984 | 1187768.6143
52 | 2746304.867 | 1187713.7959 | 2746305.9624 | 1187706.4144 | 2746307.2073 | 1187695.4863
53 | 2746194.212 | 1187742.893 | 2746191.4745 | 1187750.6125
54 | 2746269.6761 | 1187651.4513 | 2746262.6383 | 1187636.1546 | 2746256.8608 | 1187622.8093
55 | 2746250.5342 | 1187599.2289 | 2746252.1475 | 1187608.7984 | 2746254.7413 | 1187617.9136 | 2746256.8608 | 1187622.8093
56 | 2746250.5342 | 1187599.2289 | 2746258.2098 | 1187603.7312 | 2746267.3444 | 1187610.0594 | 2746274.1424 | 1187615.7565
57 | 2746186.7567 | 1187763.5778 | 2746187.1786 | 1187762.7264 | 2746191.4745 | 1187750.6125
58 | 2746186.7567 | 1187763.5778 | 2746183.2993 | 1187770.5544
59 | 2746181.2205 | 1187774.7493 | 2746183.2993 | 1187770.5544
60 | 2746179.1966 | 1187778.8332 | 2746181.2205 | 1187774.7493
61 | 2746179.1966 | 1187778.8332 | 2746178.9895 | 1187779.2511 | 2746174.0884 | 1187782.8865
62 | 2746174.0884 | 1187782.8865 | 2746167.5235 | 1187787.7559 | 2746167.0426 | 1187788.051
63 | 2746162.4018 | 1187790.8984 | 2746167.0426 | 1187788.051
64 | 2746349.0742 | 1187731.199 | 2746349.9238 | 1187730.9085
65 | 2746354.196 | 1187731.9359 | 2746349.9238 | 1187730.9085 | 2746349.9238 | 1187730.9085
66 | 2746349.0742 | 1187731.199 | 2746343.5198 | 1187733.0982 | 2746339.8766 | 1187739.7479 | 2746338.5199 | 1187742.9768
67 | 2746338.5199 | 1187742.9768 | 2746338.0062 | 1187744.1992
68 | 2746335.5354 | 1187754.0313 | 2746335.5354 | 1187754.0313 | 2746336.5755 | 1187749.2639 | 2746337.1616 | 1187746.2091 | 2746338.0062 | 1187744.1992
69 | 2746256.3003 | 1187776.2664 | 2746249.26 | 1187781.7647
70 | 2746238.4458 | 1187793.5305 | 2746243.8014 | 1187786.0277 | 2746249.26 | 1187781.7647
71 | 2746237.7797 | 1187794.4637 | 2746235.9139 | 1187797.0775 | 2746235.8854 | 1187797.1537
72 | 2746237.7797 | 1187794.4637 | 2746238.4458 | 1187793.5305
73 | 2746235.8854 | 1187797.1537 | 2746234.668 | 1187800.4055
74 | 2746307.2073 | 1187695.4863 | 2746307.5396 | 1187692.5693
75 | 2746302.0516 | 1187778.1915 | 2746308.992 | 1187783.8626 | 2746317.3468 | 1187793.6636 | 2746326.977 | 1187800.8777

## bus_geodata
| x | y | coords
0 | 2746129.1856 | 1187759.3966
1 | 2746175.5953 | 1187700.7811
2 | 2746128.8915 | 1187737.7592
3 | 2746185.5375 | 1187693.9596
4 | 2746193.2168 | 1187688.679
5 | 2745986.5842 | 1187915.92
6 | 2746000.9984 | 1187925.495
7 | 2746205.4651 | 1187679.1646
8 | 2746220.2905 | 1187671.7829
9 | 2746215.3786 | 1187688.5819
10 | 2746215.4135 | 1187650.8357
11 | 2746214.2301 | 1187690.2254
12 | 2746214.7537 | 1187661.2164
13 | 2746233.6701 | 1187666.056
14 | 2746208.9438 | 1187700.3847
15 | 2746261.8126 | 1187689.2999
16 | 2746273.2254 | 1187659.8769
17 | 2746265.6456 | 1187699.6384
18 | 2746249.0974 | 1187698.4071
19 | 2746132.526 | 1187955.9863
20 | 2746179.2363 | 1187863.826
21 | 2746200.5632 | 1187850.8162
22 | 2746162.8371 | 1187843.3867
23 | 2746225.0238 | 1187828.9773
24 | 2746271.4937 | 1187655.5945
25 | 2746270.074 | 1187723.2293
26 | 2746245.4318 | 1187700.2906
27 | 2746269.9517 | 1187652.0504
28 | 2746242.8775 | 1187730.9948
29 | 2746280.356 | 1187721.2231
30 | 2746273.9894 | 1187731.7094
31 | 2746229.9702 | 1187707.1705
32 | 2746284.3183 | 1187754.0801
33 | 2746276.0238 | 1187760.79
34 | 2746301.307 | 1187738.0342
35 | 2746292.4743 | 1187767.0232
36 | 2746294.6899 | 1187770.2249
37 | 2746279.1742 | 1187765.5071
38 | 2746306.1458 | 1187763.8334
39 | 2746273.4169 | 1187762.8988
40 | 2746303.8331 | 1187720.763
41 | 2746227.2103 | 1187730.7619
42 | 2746294.4079 | 1187720.4331
43 | 2746298.8873 | 1187775.6059
44 | 2746314.044 | 1187761.9591
45 | 2746266.0984 | 1187768.6143
46 | 2746304.867 | 1187713.7959
47 | 2746194.212 | 1187742.893
48 | 2746269.6761 | 1187651.4513
49 | 2746256.8608 | 1187622.8093
50 | 2746250.5342 | 1187599.2289
51 | 2746274.1424 | 1187615.7565
52 | 2746186.7567 | 1187763.5778
53 | 2746191.4745 | 1187750.6125
54 | 2746183.2993 | 1187770.5544
55 | 2746181.2205 | 1187774.7493
56 | 2746179.1966 | 1187778.8332
57 | 2746218.6529 | 1187715.9085
58 | 2746174.0884 | 1187782.8865
59 | 2746167.0426 | 1187788.051
60 | 2746162.4018 | 1187790.8984
61 | 2746349.9238 | 1187730.9085
62 | 2746349.0742 | 1187731.199
63 | 2746354.196 | 1187731.9359
64 | 2746338.5199 | 1187742.9768
65 | 2746338.0062 | 1187744.1992
66 | 2746335.5354 | 1187754.0313
67 | 2746256.3003 | 1187776.2664
68 | 2746249.26 | 1187781.7647
69 | 2746237.7797 | 1187794.4637
70 | 2746235.8853 | 1187797.1537
71 | 2746238.4458 | 1187793.5305
72 | 2746234.668 | 1187800.4055
73 | 2746307.5396 | 1187692.5693
74 | 2746307.2073 | 1187695.4863
75 | 2746302.0516 | 1187778.1915
76 | 2746326.977 | 1187800.8777
77 | 2746270.074 | 1187723.2293

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1