## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3746-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3746-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3746-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3746-4_0_4_node_76 | 0.4 | n |  | TRUE
4 | bus_LV_3746-4_0_4_node_62 | 0.4 | n |  | TRUE
5 | bus_LV_3746-4_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_3746-4_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3746-4_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3746-4_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3746-4_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3746-4_0_4_node_85 | 0.4 | n |  | TRUE
11 | bus_LV_3746-4_0_4_node_86 | 0.4 | n |  | TRUE
12 | bus_LV_3746-4_0_4_node_84 | 0.4 | n |  | TRUE
13 | bus_LV_3746-4_0_4_node_88 | 0.4 | n |  | TRUE
14 | bus_LV_3746-4_0_4_node_87 | 0.4 | n |  | TRUE
15 | bus_LV_3746-4_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3746-4_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3746-4_0_4_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_3746-4_0_4_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_3746-4_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3746-4_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3746-4_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_3746-4_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_3746-4_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_3746-4_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_3746-4_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_3746-4_0_4_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_3746-4_0_4_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_3746-4_0_4_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_3746-4_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_3746-4_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_3746-4_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_3746-4_0_4_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_3746-4_0_4_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_3746-4_0_4_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_3746-4_0_4_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_3746-4_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3746-4_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_3746-4_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_3746-4_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_3746-4_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_3746-4_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_3746-4_0_4_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_3746-4_0_4_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_3746-4_0_4_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_3746-4_0_4_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_3746-4_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_3746-4_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_3746-4_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_3746-4_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_3746-4_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_3746-4_0_4_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_3746-4_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_3746-4_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_3746-4_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_3746-4_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_3746-4_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_3746-4_0_4_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_3746-4_0_4_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_3746-4_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_3746-4_0_4_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_3746-4_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_3746-4_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_3746-4_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_3746-4_0_4_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_3746-4_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_3746-4_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_3746-4_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_3746-4_0_4_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_3746-4_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_3746-4_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_3746-4_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_3746-4_0_4_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_3746-4_0_4_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_3746-4_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_3746-4_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_3746-4_0_4_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_3746-4_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_3746-4_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_3746-4_0_4_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_3746-4_0_4_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_3746-4_0_4_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_3746-4_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_3746-4_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_3746-4_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_3746-4_0_4_node_83 | 0.4 | n |  | TRUE
86 | bus_MV_167_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3746-4_0_4_load_0 | 0 | 0.0014514 | 0.00036374 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3746-4_0_4_load_1 | 1 | 0.00085377 | 0.00021397 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3746-4_0_4_load_76 | 3 | 0.001561 | 0.00039122 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3746-4_0_4_load_62 | 4 | 0.0034637 | 0.00086809 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3746-4_0_4_load_3 | 5 | 0.0044967 | 0.001127 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3746-4_0_4_load_4 | 6 | 0.0082751 | 0.0020739 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3746-4_0_4_load_5 | 7 | 0.0041766 | 0.0010467 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3746-4_0_4_load_6 | 8 | 0.0034688 | 0.00086937 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3746-4_0_4_load_7 | 9 | 0.0043951 | 0.0011015 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3746-4_0_4_load_85 | 10 | 0.0015473 | 0.0003878 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3746-4_0_4_load_84 | 12 | 0.0065913 | 0.0016519 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3746-4_0_4_load_88 | 13 | 0.0053363 | 0.0013374 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3746-4_0_4_load_87 | 14 | 0.0070305 | 0.001762 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3746-4_0_4_load_8 | 15 | 0.0030399 | 0.00076187 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3746-4_0_4_load_55 | 17 | 0.0012127 | 0.00030393 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3746-4_0_4_load_53 | 18 | 0.0012722 | 0.00031884 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3746-4_0_4_load_10 | 19 | 0.011411 | 0.0028598 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3746-4_0_4_load_16 | 25 | 0.0049626 | 0.0012437 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3746-4_0_4_load_45 | 26 | 0.0055074 | 0.0013803 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3746-4_0_4_load_43 | 27 | 0.012609 | 0.0031601 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3746-4_0_4_load_21 | 29 | 0.0040011 | 0.0010028 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3746-4_0_4_load_18 | 30 | 0.026463 | 0.0066322 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3746-4_0_4_load_27 | 31 | 0.004808 | 0.001205 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3746-4_0_4_load_44 | 32 | 0.0022203 | 0.00055645 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3746-4_0_4_load_46 | 33 | 0.0028724 | 0.0007199 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3746-4_0_4_load_41 | 34 | 0.0094461 | 0.0023674 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3746-4_0_4_load_17 | 35 | 0.0020892 | 0.00052361 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3746-4_0_4_load_26 | 36 | 0.0062987 | 0.0015786 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3746-4_0_4_load_19 | 37 | 0.00044383 | 0.00011123 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3746-4_0_4_load_20 | 38 | 0.0010943 | 0.00027425 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3746-4_0_4_load_29 | 39 | 0.00019833 | 4.9706e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3746-4_0_4_load_28 | 40 | 0.00063516 | 0.00015919 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3746-4_0_4_load_40 | 41 | 0.0010036 | 0.00025153 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3746-4_0_4_load_22 | 42 | 0.0025588 | 0.00064129 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3746-4_0_4_load_23 | 43 | 0.0029657 | 0.00074329 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3746-4_0_4_load_24 | 44 | 0.0035967 | 0.00090142 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3746-4_0_4_load_25 | 45 | 0.0047043 | 0.001179 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3746-4_0_4_load_30 | 46 | 0.00048712 | 0.00012208 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3746-4_0_4_load_31 | 47 | 0.0005454 | 0.00013669 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3746-4_0_4_load_35 | 49 | 0.00039887 | 9.9967e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3746-4_0_4_load_33 | 50 | 0.00022924 | 5.7454e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3746-4_0_4_load_32 | 51 | 0.00047038 | 0.00011789 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3746-4_0_4_load_36 | 53 | 0.00040661 | 0.00010191 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3746-4_0_4_load_37 | 54 | 0.0003083 | 7.7268e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3746-4_0_4_load_42 | 56 | 0.00051165 | 0.00012823 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3746-4_0_4_load_75 | 57 | 0.00026679 | 6.6863e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3746-4_0_4_load_65 | 58 | 0.00031249 | 7.8316e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3746-4_0_4_load_47 | 59 | 0.0032378 | 0.00081147 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3746-4_0_4_load_56 | 62 | 0.0027291 | 0.00068397 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3746-4_0_4_load_52 | 63 | 0.003317 | 0.00083133 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3746-4_0_4_load_51 | 64 | 0.0034617 | 0.00086759 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3746-4_0_4_load_63 | 65 | 0.0029118 | 0.00072977 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3746-4_0_4_load_61 | 66 | 0.0038057 | 0.0009538 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3746-4_0_4_load_57 | 67 | 0.0014771 | 0.00037018 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3746-4_0_4_load_58 | 68 | 0.0027071 | 0.00067847 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3746-4_0_4_load_59 | 69 | 0.00088225 | 0.00022111 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3746-4_0_4_load_60 | 70 | 0.0089801 | 0.0022506 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3746-4_0_4_load_68 | 71 | 0.00061662 | 0.00015454 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3746-4_0_4_load_67 | 73 | 0.0014901 | 0.00037346 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3746-4_0_4_load_70 | 74 | 0.0011707 | 0.00029339 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3746-4_0_4_load_71 | 75 | 0.00094473 | 0.00023677 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3746-4_0_4_load_72 | 76 | 0.00063989 | 0.00016037 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3746-4_0_4_load_73 | 77 | 0.0004208 | 0.00010546 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3746-4_0_4_load_74 | 78 | 0.00049875 | 0.000125 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3746-4_0_4_load_77 | 79 | 0.00123 | 0.00030826 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3746-4_0_4_load_78 | 81 | 0.001578 | 0.00039548 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3746-4_0_4_load_81 | 82 | 0.0002384 | 5.9749e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3746-4_0_4_load_79 | 83 | 0.0083112 | 0.002083 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3746-4_0_4_load_82 | 84 | 0.0060333 | 0.0015121 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3746-4_0_4_load_83 | 85 | 0.0029588 | 0.00074156 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3746-4_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3746-4_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.067272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3746-4_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.24814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3746-4_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.025974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3746-4_0_4_line_4 | NAYY 4x150 SE | 4 | 70 | 0.0015304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3746-4_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.022787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3746-4_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.000318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3746-4_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.015758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3746-4_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.025232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3746-4_0_4_line_9 | NAYY 4x150 SE | 8 | 10 | 0.015343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3746-4_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0042833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3746-4_0_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.0032625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3746-4_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.014252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3746-4_0_4_line_13 | NAYY 4x150 SE | 11 | 14 | 0.0073507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3746-4_0_4_line_14 | NAYY 4x150 SE | 12 | 85 | 0.016369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3746-4_0_4_line_15 | NAYY 4x150 SE | 14 | 23 | 0.10471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3746-4_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.033695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3746-4_0_4_line_17 | NAYY 4x150 SE | 16 | 17 | 0.068151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3746-4_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.010818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3746-4_0_4_line_19 | NAYY 4x150 SE | 18 | 64 | 0.015158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3746-4_0_4_line_20 | NAYY 4x150 SE | 19 | 20 | 0.029972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3746-4_0_4_line_21 | NAYY 4x150 SE | 19 | 21 | 0.038786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3746-4_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.069769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3746-4_0_4_line_23 | NAYY 4x150 SE | 20 | 23 | 0.1252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_3746-4_0_4_line_24 | NAYY 4x150 SE | 21 | 24 | 0.005698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3746-4_0_4_line_25 | NAYY 4x150 SE | 21 | 25 | 0.03645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3746-4_0_4_line_26 | NAYY 4x150 SE | 22 | 26 | 0.12082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3746-4_0_4_line_27 | NAYY 4x150 SE | 22 | 27 | 0.0053229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3746-4_0_4_line_28 | NAYY 4x150 SE | 23 | 28 | 0.032952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3746-4_0_4_line_29 | NAYY 4x150 SE | 24 | 29 | 0.016283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3746-4_0_4_line_30 | NAYY 4x150 SE | 24 | 30 | 0.025699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3746-4_0_4_line_31 | NAYY 4x150 SE | 25 | 31 | 0.053986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3746-4_0_4_line_32 | NAYY 4x150 SE | 27 | 32 | 0.066647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3746-4_0_4_line_33 | NAYY 4x150 SE | 28 | 33 | 0.053221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3746-4_0_4_line_34 | NAYY 4x150 SE | 29 | 34 | 0.0074012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3746-4_0_4_line_35 | NAYY 4x150 SE | 30 | 35 | 0.0096458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3746-4_0_4_line_36 | NAYY 4x150 SE | 31 | 36 | 0.004565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3746-4_0_4_line_37 | NAYY 4x150 SE | 33 | 59 | 0.022901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3746-4_0_4_line_38 | NAYY 4x150 SE | 34 | 41 | 0.02259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3746-4_0_4_line_39 | NAYY 4x150 SE | 35 | 37 | 0.024489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3746-4_0_4_line_40 | NAYY 4x150 SE | 36 | 45 | 0.015573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3746-4_0_4_line_41 | NAYY 4x150 SE | 37 | 38 | 0.0016246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3746-4_0_4_line_42 | NAYY 4x150 SE | 38 | 39 | 0.010419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3746-4_0_4_line_43 | NAYY 4x150 SE | 39 | 40 | 0.036968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3746-4_0_4_line_44 | NAYY 4x150 SE | 40 | 46 | 0.014397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3746-4_0_4_line_45 | NAYY 4x150 SE | 41 | 55 | 0.01332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3746-4_0_4_line_46 | NAYY 4x150 SE | 42 | 43 | 0.0064095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3746-4_0_4_line_47 | NAYY 4x150 SE | 43 | 44 | 0.031933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3746-4_0_4_line_48 | NAYY 4x150 SE | 44 | 45 | 0.043363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3746-4_0_4_line_49 | NAYY 4x150 SE | 46 | 47 | 0.0065082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3746-4_0_4_line_50 | NAYY 4x150 SE | 47 | 48 | 0.0044961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3746-4_0_4_line_51 | NAYY 4x150 SE | 48 | 49 | 0.038869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3746-4_0_4_line_52 | NAYY 4x150 SE | 48 | 50 | 0.01441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3746-4_0_4_line_53 | NAYY 4x150 SE | 49 | 52 | 0.013118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3746-4_0_4_line_54 | NAYY 4x150 SE | 50 | 51 | 0.012435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3746-4_0_4_line_55 | NAYY 4x150 SE | 52 | 53 | 0.036486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3746-4_0_4_line_56 | NAYY 4x150 SE | 54 | 55 | 0.04203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3746-4_0_4_line_57 | NAYY 4x150 SE | 55 | 56 | 0.058823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3746-4_0_4_line_58 | NAYY 4x150 SE | 56 | 57 | 0.0096594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3746-4_0_4_line_59 | NAYY 4x150 SE | 57 | 58 | 0.37104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3746-4_0_4_line_60 | NAYY 4x150 SE | 58 | 71 | 0.18355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3746-4_0_4_line_61 | NAYY 4x150 SE | 59 | 60 | 0.024768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3746-4_0_4_line_62 | NAYY 4x150 SE | 60 | 61 | 0.016612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3746-4_0_4_line_63 | NAYY 4x150 SE | 61 | 62 | 0.024234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3746-4_0_4_line_64 | NAYY 4x150 SE | 61 | 63 | 0.018001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3746-4_0_4_line_65 | NAYY 4x150 SE | 62 | 65 | 0.010188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3746-4_0_4_line_66 | NAYY 4x150 SE | 63 | 64 | 0.0058809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3746-4_0_4_line_67 | NAYY 4x150 SE | 65 | 66 | 0.023078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3746-4_0_4_line_68 | NAYY 4x150 SE | 66 | 69 | 0.01817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3746-4_0_4_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0079027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3746-4_0_4_line_70 | NAYY 4x150 SE | 67 | 69 | 0.010421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3746-4_0_4_line_71 | NAYY 4x150 SE | 68 | 70 | 0.015387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3746-4_0_4_line_72 | NAYY 4x150 SE | 71 | 72 | 0.0055288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3746-4_0_4_line_73 | NAYY 4x150 SE | 72 | 73 | 0.026795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3746-4_0_4_line_74 | NAYY 4x150 SE | 74 | 75 | 0.00073551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3746-4_0_4_line_75 | NAYY 4x150 SE | 74 | 76 | 0.023803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3746-4_0_4_line_76 | NAYY 4x150 SE | 75 | 77 | 0.021378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3746-4_0_4_line_77 | NAYY 4x150 SE | 76 | 78 | 0.011577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3746-4_0_4_line_78 | NAYY 4x150 SE | 77 | 79 | 0.016301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3746-4_0_4_line_79 | NAYY 4x150 SE | 78 | 80 | 0.032832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3746-4_0_4_line_80 | NAYY 4x150 SE | 79 | 81 | 0.020239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3746-4_0_4_line_81 | NAYY 4x150 SE | 80 | 82 | 0.033398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3746-4_0_4_line_82 | NAYY 4x150 SE | 81 | 83 | 0.01004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3746-4_0_4_line_83 | NAYY 4x150 SE | 83 | 84 | 0.015358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3746-4_0_4_line_84 | NAYY 4x150 SE | 84 | 85 | 0.003472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3746-4_0_4_trafo_14 | 0.25 MVA 20/0.4 kV | 86 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2802048.7072 | 1181603.6842 | 2802068.5815 | 1181616.665
1 | 2801987.8904 | 1181593.335 | 2801996.5333 | 1181587.0861 | 2802003.1797 | 1181584.9522 | 2802015.9747 | 1181587.7418 | 2802039.5664 | 1181597.714 | 2802048.7072 | 1181603.6842
2 | 2801880.2111 | 1181369.7723 | 2801987.8904 | 1181593.335
3 | 2801880.2111 | 1181369.7723 | 2801875.8939 | 1181344.1595
4 | 2801875.8939 | 1181344.1595 | 2801875.6395 | 1181342.6504
5 | 2801928.38 | 1181126.4282 | 2801937.8131 | 1181135.5905 | 2801944.2228 | 1181142.7859
6 | 2801928.1519 | 1181126.2067 | 2801928.38 | 1181126.4282
7 | 2801954.7045 | 1181154.5524 | 2801944.2228 | 1181142.7859
8 | 2801928.1519 | 1181126.2067 | 2801910.0523 | 1181108.6268
9 | 2801964.9101 | 1181166.009 | 2801954.7045 | 1181154.5524
10 | 2801906.9798 | 1181105.6424 | 2801910.0523 | 1181108.6268
11 | 2801967.0802 | 1181168.4451 | 2801964.9101 | 1181166.009
12 | 2801906.9798 | 1181105.6424 | 2801902.5993 | 1181097.92 | 2801899.7637 | 1181093.3554
13 | 2801906.9798 | 1181105.6424 | 2801901.4623 | 1181100.7855
14 | 2801967.0802 | 1181168.4451 | 2801977.9682 | 1181180.6678
15 | 2801806.8601 | 1181093.7263 | 2801821.0754 | 1181085.7072 | 2801827.476 | 1181082.9419 | 2801865.9935 | 1181077.7216 | 2801890.3328 | 1181090.9885 | 2801901.4623 | 1181100.7855
16 | 2801744.5031 | 1181231.5648 | 2801748.2054 | 1181258.5183 | 2801749.1567 | 1181264.937
17 | 2801812.5354 | 1181227.5356 | 2801744.5031 | 1181231.5648
18 | 2801812.5354 | 1181227.5356 | 2801814.4599 | 1181231.9191 | 2801818.5854 | 1181236.3182 | 2801818.5854 | 1181236.3182
19 | 2801833.6331 | 1181236.4302 | 2801822.8302 | 1181237.1731 | 2801818.5854 | 1181236.3182
20 | 2801729.3387 | 1180997.6151 | 2801727.1415 | 1180988.6204 | 2801724.782 | 1180968.0429
21 | 2801721.7658 | 1180929.3873 | 2801722.7655 | 1180948.7416 | 2801724.6948 | 1180967.2819 | 2801724.782 | 1180968.0429
22 | 2801729.3387 | 1180997.6151 | 2801659.8065 | 1180989.7904
23 | 2801729.3387 | 1180997.6151 | 2801732.9155 | 1181006.7341 | 2801737.0397 | 1181014.5812 | 2801752.6658 | 1181040.7238 | 2801761.9147 | 1181053.2706 | 2801785.5667 | 1181074.4669 | 2801800.3902 | 1181087.2016 | 2801806.8601 | 1181093.7263
24 | 2801721.7658 | 1180929.3873 | 2801721.5369 | 1180923.6957
25 | 2801721.7658 | 1180929.3873 | 2801699.9138 | 1180932.3666 | 2801685.7402 | 1180934.8846
26 | 2801659.8065 | 1180989.7904 | 2801630.0875 | 1180988.4564 | 2801587.5019 | 1180984.3759 | 2801539.2168 | 1180983.9297
27 | 2801659.8065 | 1180989.7904 | 2801654.9753 | 1180992.0248
28 | 2801806.8601 | 1181093.7263 | 2801813.2257 | 1181103.5733 | 2801821.4963 | 1181123.1393
29 | 2801721.5369 | 1180923.6957 | 2801737.0172 | 1180918.6463
30 | 2801721.5369 | 1180923.6957 | 2801718.4968 | 1180900.6799 | 2801718.039 | 1180898.2396
31 | 2801685.7402 | 1180934.8846 | 2801632.5868 | 1180944.3276
32 | 2801654.9753 | 1180992.0248 | 2801639.2489 | 1180999.2982 | 2801597.8172 | 1181013.4093 | 2801592.2796 | 1181013.7976
33 | 2801821.4963 | 1181123.1393 | 2801839.2673 | 1181173.3051
34 | 2801737.0172 | 1180918.6463 | 2801744.0536 | 1180916.3511
35 | 2801715.7814 | 1180888.8708 | 2801717.304 | 1180894.3218 | 2801718.039 | 1180898.2396
36 | 2801632.5868 | 1180944.3276 | 2801628.0921 | 1180945.1261
37 | 2801839.2673 | 1181173.3051 | 2801846.9143 | 1181194.8919
38 | 2801765.53 | 1180909.3459 | 2801744.0536 | 1180916.3511
39 | 2801704.6076 | 1180867.211 | 2801709.6491 | 1180875.2995 | 2801713.3169 | 1180881.7187 | 2801715.7484 | 1180888.7524 | 2801715.7814 | 1180888.8708
40 | 2801628.0921 | 1180945.1261 | 2801612.7588 | 1180947.8501
41 | 2801703.7482 | 1180865.8323 | 2801704.6076 | 1180867.211
42 | 2801703.7482 | 1180865.8323 | 2801698.2369 | 1180856.9899
43 | 2801698.2369 | 1180856.9899 | 2801689.3819 | 1180842.7831 | 2801679.0881 | 1180825.3705
44 | 2801671.7615 | 1180812.9774 | 2801679.0881 | 1180825.3705
45 | 2801778.1938 | 1180905.2152 | 2801765.53 | 1180909.3459
46 | 2801538.1966 | 1180955.6959 | 2801531.7956 | 1180955.3666
47 | 2801570.0833 | 1180955.3834 | 2801568.2028 | 1180955.5741 | 2801551.5008 | 1180956.3803 | 2801538.1966 | 1180955.6959
48 | 2801570.0833 | 1180955.3834 | 2801577.7541 | 1180954.6053 | 2801601.3775 | 1180949.8721 | 2801612.7588 | 1180947.8501
49 | 2801668.4496 | 1180807.375 | 2801671.7615 | 1180812.9774
50 | 2801666.1615 | 1180803.5046 | 2801668.4496 | 1180807.375
51 | 2801666.1615 | 1180803.5046 | 2801674.8139 | 1180787.0001 | 2801679.5135 | 1180778.6714 | 2801685.5913 | 1180769.9
52 | 2801666.1615 | 1180803.5046 | 2801658.5974 | 1180791.24
53 | 2801693.0626 | 1180759.1173 | 2801685.5913 | 1180769.9
54 | 2801652.0699 | 1180780.6561 | 2801658.5974 | 1180791.24
55 | 2801693.0626 | 1180759.1173 | 2801711.7703 | 1180790.4426
56 | 2801778.1938 | 1180905.2152 | 2801772.4752 | 1180869.3399 | 2801768.7184 | 1180865.0502
57 | 2801778.1938 | 1180905.2152 | 2801782.1456 | 1180904.3361 | 2801816.6881 | 1180896.8571 | 2801826.2523 | 1180895.0548 | 2801832.9074 | 1180887.9997
58 | 2801832.9074 | 1180887.9997 | 2801836.4012 | 1180884.296 | 2801837.8404 | 1180879.9607
59 | 2801837.8404 | 1180879.9607 | 2802149.9246 | 1180679.2803
60 | 2802135.7549 | 1180496.2783 | 2802149.9246 | 1180679.2803
61 | 2801854.2463 | 1181218.5105 | 2801852.4024 | 1181210.3841 | 2801846.9143 | 1181194.8919
62 | 2801857.4591 | 1181234.7916 | 2801856.7768 | 1181229.6298 | 2801854.2463 | 1181218.5105
63 | 2801857.4591 | 1181234.7916 | 2801861.487 | 1181258.6883
64 | 2801857.4591 | 1181234.7916 | 2801839.5001 | 1181236.0267
65 | 2801863.1805 | 1181268.735 | 2801861.487 | 1181258.6883
66 | 2801833.6331 | 1181236.4302 | 2801839.5001 | 1181236.0267
67 | 2801867.0163 | 1181291.4917 | 2801863.1805 | 1181268.735
68 | 2801867.0163 | 1181291.4917 | 2801870.0363 | 1181309.4086
69 | 2801871.7685 | 1181319.6849 | 2801873.082 | 1181327.4778
70 | 2801871.7685 | 1181319.6849 | 2801870.0363 | 1181309.4086
71 | 2801873.082 | 1181327.4778 | 2801875.6395 | 1181342.6504
72 | 2802140.0457 | 1180492.7916 | 2802135.7549 | 1180496.2783
73 | 2802140.0457 | 1180492.7916 | 2802161.0368 | 1180476.1387
74 | 2802035.6967 | 1181245.4727 | 2802036.1859 | 1181246.0219
75 | 2802036.1859 | 1181246.0219 | 2802048.3019 | 1181259.6231 | 2802053.3022 | 1181262.1182
76 | 2802035.6967 | 1181245.4727 | 2802021.4767 | 1181229.5097
77 | 2802063.6609 | 1181267.287 | 2802053.3022 | 1181262.1182
78 | 2802010.634 | 1181217.3378 | 2802021.4767 | 1181229.5097
79 | 2802096.2206 | 1181268.7253 | 2802077.5409 | 1181266.0819 | 2802063.8654 | 1181267.3891 | 2802063.6609 | 1181267.287
80 | 2802010.634 | 1181217.3378 | 2801997.1716 | 1181202.2252
81 | 2802096.2206 | 1181268.7253 | 2802092.0335 | 1181281.3422 | 2802079.5354 | 1181297.0899
82 | 2801997.1716 | 1181202.2252 | 2801990.4932 | 1181194.7282
83 | 2801980.2776 | 1181183.2603 | 2801990.4932 | 1181194.7282
84 | 2801980.2776 | 1181183.2603 | 2801977.9682 | 1181180.6678

## bus_geodata
| x | y | coords
0 | 2802048.7072 | 1181603.6842
1 | 2802068.5815 | 1181616.665
2 | 2801987.8904 | 1181593.335
3 | 2801880.2111 | 1181369.7723
4 | 2801875.8939 | 1181344.1595
5 | 2801928.38 | 1181126.4282
6 | 2801944.2228 | 1181142.7859
7 | 2801928.1519 | 1181126.2067
8 | 2801954.7045 | 1181154.5524
9 | 2801910.0523 | 1181108.6268
10 | 2801964.9101 | 1181166.009
11 | 2801906.9798 | 1181105.6424
12 | 2801967.0802 | 1181168.4451
13 | 2801899.7637 | 1181093.3554
14 | 2801901.4623 | 1181100.7855
15 | 2801749.1567 | 1181264.937
16 | 2801744.5031 | 1181231.5648
17 | 2801812.5354 | 1181227.5356
18 | 2801818.5854 | 1181236.3182
19 | 2801724.782 | 1180968.0429
20 | 2801729.3387 | 1180997.6151
21 | 2801721.7658 | 1180929.3873
22 | 2801659.8065 | 1180989.7904
23 | 2801806.8601 | 1181093.7263
24 | 2801721.5369 | 1180923.6957
25 | 2801685.7402 | 1180934.8846
26 | 2801539.2168 | 1180983.9297
27 | 2801654.9753 | 1180992.0248
28 | 2801821.4963 | 1181123.1393
29 | 2801737.0172 | 1180918.6463
30 | 2801718.039 | 1180898.2396
31 | 2801632.5868 | 1180944.3276
32 | 2801592.2796 | 1181013.7976
33 | 2801839.2673 | 1181173.3051
34 | 2801744.0536 | 1180916.3511
35 | 2801715.7814 | 1180888.8708
36 | 2801628.0921 | 1180945.1261
37 | 2801704.6076 | 1180867.211
38 | 2801703.7482 | 1180865.8323
39 | 2801698.2369 | 1180856.9899
40 | 2801679.0881 | 1180825.3705
41 | 2801765.53 | 1180909.3459
42 | 2801531.7956 | 1180955.3666
43 | 2801538.1966 | 1180955.6959
44 | 2801570.0833 | 1180955.3834
45 | 2801612.7588 | 1180947.8501
46 | 2801671.7615 | 1180812.9774
47 | 2801668.4496 | 1180807.375
48 | 2801666.1615 | 1180803.5046
49 | 2801685.5913 | 1180769.9
50 | 2801658.5974 | 1180791.24
51 | 2801652.0699 | 1180780.6561
52 | 2801693.0626 | 1180759.1173
53 | 2801711.7703 | 1180790.4426
54 | 2801768.7184 | 1180865.0502
55 | 2801778.1938 | 1180905.2152
56 | 2801832.9074 | 1180887.9997
57 | 2801837.8404 | 1180879.9607
58 | 2802149.9246 | 1180679.2803
59 | 2801846.9143 | 1181194.8919
60 | 2801854.2463 | 1181218.5105
61 | 2801857.4591 | 1181234.7916
62 | 2801861.487 | 1181258.6883
63 | 2801839.5001 | 1181236.0267
64 | 2801833.6331 | 1181236.4302
65 | 2801863.1805 | 1181268.735
66 | 2801867.0163 | 1181291.4917
67 | 2801871.7685 | 1181319.6849
68 | 2801873.082 | 1181327.4778
69 | 2801870.0363 | 1181309.4086
70 | 2801875.6395 | 1181342.6504
71 | 2802135.7549 | 1180496.2783
72 | 2802140.0457 | 1180492.7916
73 | 2802161.0368 | 1180476.1387
74 | 2802036.1859 | 1181246.0219
75 | 2802035.6967 | 1181245.4727
76 | 2802053.3022 | 1181262.1182
77 | 2802021.4767 | 1181229.5097
78 | 2802063.6609 | 1181267.287
79 | 2802010.634 | 1181217.3378
80 | 2802096.2206 | 1181268.7253
81 | 2801997.1716 | 1181202.2252
82 | 2802079.5354 | 1181297.0899
83 | 2801990.4932 | 1181194.7282
84 | 2801980.2776 | 1181183.2603
85 | 2801977.9682 | 1181180.6678
86 | 2801821.4963 | 1181123.1393

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1