## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3762-25_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3762-25_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3762-25_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3762-25_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3762-25_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3762-25_0_2_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_3762-25_0_2_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_3762-25_0_2_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_3762-25_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3762-25_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3762-25_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3762-25_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3762-25_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3762-25_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_3762-25_0_2_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_3762-25_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3762-25_0_2_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_3762-25_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3762-25_0_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3762-25_0_2_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_3762-25_0_2_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_3762-25_0_2_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_3762-25_0_2_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_3762-25_0_2_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_3762-25_0_2_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_3762-25_0_2_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_3762-25_0_2_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_3762-25_0_2_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_3762-25_0_2_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_3762-25_0_2_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_3762-25_0_2_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_3762-25_0_2_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_3762-25_0_2_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_3762-25_0_2_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_3762-25_0_2_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_3762-25_0_2_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_3762-25_0_2_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_3762-25_0_2_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_3762-25_0_2_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_3762-25_0_2_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_3762-25_0_2_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_3762-25_0_2_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_3762-25_0_2_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_3762-25_0_2_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_3762-25_0_2_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_3762-25_0_2_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_3762-25_0_2_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_3762-25_0_2_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_3762-25_0_2_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_3762-25_0_2_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_3762-25_0_2_node_50 | 0.4 | n |  | TRUE
51 | bus_MV_170_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3762-25_0_2_load_0 | 0 | 0.0022263 | 0.00055795 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3762-25_0_2_load_1 | 1 | 0.0035063 | 0.00087876 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3762-25_0_2_load_2 | 2 | 0.0026293 | 0.00065896 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3762-25_0_2_load_3 | 3 | 0.0027309 | 0.00068443 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3762-25_0_2_load_4 | 4 | 0.0018977 | 0.00047561 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3762-25_0_2_load_22 | 5 | 0.0014981 | 0.00037545 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3762-25_0_2_load_35 | 6 | 0.0045207 | 0.001133 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3762-25_0_2_load_23 | 7 | 0.001828 | 0.00045814 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3762-25_0_2_load_5 | 8 | 0.0020998 | 0.00052625 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3762-25_0_2_load_6 | 9 | 0.0034438 | 0.00086309 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3762-25_0_2_load_7 | 10 | 0.0017998 | 0.00045107 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3762-25_0_2_load_8 | 11 | 0.0051093 | 0.0012805 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3762-25_0_2_load_9 | 12 | 0.0041753 | 0.0010464 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3762-25_0_2_load_10 | 13 | 0.0019174 | 0.00048054 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3762-25_0_2_load_24 | 14 | 0.0012758 | 0.00031975 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3762-25_0_2_load_48 | 16 | 0.0011525 | 0.00028884 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3762-25_0_2_load_12 | 17 | 0.0066019 | 0.0016546 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3762-25_0_2_load_13 | 18 | 0.0054856 | 0.0013748 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3762-25_0_2_load_21 | 22 | 0.0048905 | 0.0012257 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3762-25_0_2_load_39 | 23 | 0.002905 | 0.00072806 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3762-25_0_2_load_37 | 24 | 0.0039671 | 0.00099424 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3762-25_0_2_load_14 | 25 | 0.0029678 | 0.00074381 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3762-25_0_2_load_15 | 26 | 0.002553 | 0.00063985 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3762-25_0_2_load_16 | 27 | 0.0023941 | 0.00060003 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3762-25_0_2_load_18 | 29 | 0.0024026 | 0.00060214 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3762-25_0_2_load_49 | 32 | 0.0019268 | 0.00048291 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3762-25_0_2_load_25 | 33 | 0.0031938 | 0.00080043 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3762-25_0_2_load_32 | 34 | 0.0040797 | 0.0010225 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3762-25_0_2_load_26 | 35 | 0.0068898 | 0.0017267 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3762-25_0_2_load_33 | 37 | 0.0063109 | 0.0015817 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3762-25_0_2_load_27 | 38 | 0.0012795 | 0.00032067 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3762-25_0_2_load_28 | 39 | 0.0034583 | 0.00086672 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3762-25_0_2_load_29 | 40 | 0.0021117 | 0.00052925 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3762-25_0_2_load_30 | 41 | 0.0025022 | 0.00062712 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3762-25_0_2_load_31 | 42 | 0.0021154 | 0.00053017 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3762-25_0_2_load_34 | 43 | 0.0035019 | 0.00087766 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3762-25_0_2_load_44 | 46 | 0.0016711 | 0.00041881 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3762-25_0_2_load_43 | 47 | 0.0018717 | 0.0004691 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3762-25_0_2_load_50 | 50 | 0.0049629 | 0.0012438 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3762-25_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3762-25_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.014486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3762-25_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0031158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3762-25_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0093079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3762-25_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.014393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3762-25_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0084184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3762-25_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.005148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3762-25_0_2_line_7 | NAYY 4x150 SE | 7 | 28 | 0.012491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3762-25_0_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.060499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3762-25_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 8.0939e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3762-25_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0048684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3762-25_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.0093427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3762-25_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.018204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3762-25_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.094316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3762-25_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.01015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3762-25_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.022918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3762-25_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.017076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3762-25_0_2_line_17 | NAYY 4x150 SE | 15 | 18 | 0.016261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3762-25_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.014305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3762-25_0_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.01613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3762-25_0_2_line_20 | NAYY 4x150 SE | 19 | 21 | 0.003053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3762-25_0_2_line_21 | NAYY 4x150 SE | 19 | 22 | 0.017098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3762-25_0_2_line_22 | NAYY 4x150 SE | 20 | 23 | 0.01061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3762-25_0_2_line_23 | NAYY 4x150 SE | 20 | 24 | 0.0093017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3762-25_0_2_line_24 | NAYY 4x150 SE | 21 | 33 | 0.015855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3762-25_0_2_line_25 | NAYY 4x150 SE | 22 | 34 | 0.017711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3762-25_0_2_line_26 | NAYY 4x150 SE | 23 | 36 | 0.0093719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3762-25_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.010041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3762-25_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.0068319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3762-25_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.017253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3762-25_0_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.13445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3762-25_0_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.09702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3762-25_0_2_line_32 | NAYY 4x150 SE | 30 | 31 | 0.053835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3762-25_0_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.032184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3762-25_0_2_line_34 | NAYY 4x150 SE | 31 | 41 | 0.012589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3762-25_0_2_line_35 | NAYY 4x150 SE | 32 | 44 | 0.060939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3762-25_0_2_line_36 | NAYY 4x150 SE | 34 | 37 | 0.00036445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3762-25_0_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.0039829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3762-25_0_2_line_38 | NAYY 4x150 SE | 37 | 43 | 0.016341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3762-25_0_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.00015537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3762-25_0_2_line_40 | NAYY 4x150 SE | 38 | 40 | 0.0059243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3762-25_0_2_line_41 | NAYY 4x150 SE | 39 | 41 | 0.0078503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3762-25_0_2_line_42 | NAYY 4x150 SE | 40 | 42 | 0.01219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3762-25_0_2_line_43 | NAYY 4x150 SE | 42 | 43 | 0.0079424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3762-25_0_2_line_44 | NAYY 4x150 SE | 44 | 45 | 0.13578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3762-25_0_2_line_45 | NAYY 4x150 SE | 45 | 46 | 0.053272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3762-25_0_2_line_46 | NAYY 4x150 SE | 46 | 47 | 0.026551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3762-25_0_2_line_47 | NAYY 4x150 SE | 47 | 48 | 0.18293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3762-25_0_2_line_48 | NAYY 4x150 SE | 48 | 49 | 0.11068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3762-25_0_2_line_49 | NAYY 4x150 SE | 49 | 50 | 0.024311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3762-25_0_2_trafo_30 | 0.25 MVA 20/0.4 kV | 51 | 41 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2821244.9206 | 1178000.839 | 2821235.8646 | 1177998.2396 | 2821229.2469 | 1177997.4614
1 | 2821244.9206 | 1178000.839 | 2821258.8446 | 1178004.8359
2 | 2821226.1525 | 1177997.0975 | 2821229.2469 | 1177997.4614
3 | 2821267.4472 | 1178008.3146 | 2821262.0596 | 1178005.7587 | 2821258.8446 | 1178004.8359
4 | 2821226.1525 | 1177997.0975 | 2821211.8576 | 1177995.4165
5 | 2821275.0531 | 1178011.9229 | 2821267.4472 | 1178008.3146
6 | 2821206.7427 | 1177994.835 | 2821208.0132 | 1177994.9645 | 2821211.8576 | 1177995.4165
7 | 2821194.3158 | 1177993.569 | 2821206.7427 | 1177994.835
8 | 2821452.8761 | 1177990.4413 | 2821442.8543 | 1177980.4869 | 2821422.2166 | 1177968.1329 | 2821406.8997 | 1177956.3093 | 2821405.6688 | 1177953.6046
9 | 2821452.8761 | 1177990.4413 | 2821452.9335 | 1177990.4984
10 | 2821405.6688 | 1177953.6046 | 2821403.6523 | 1177949.1734
11 | 2821459.562 | 1177997.0823 | 2821452.9335 | 1177990.4984
12 | 2821395.8362 | 1177932.7361 | 2821399.4904 | 1177940.0278 | 2821403.6523 | 1177949.1734
13 | 2821521.8825 | 1178067.7437 | 2821500.2513 | 1178045.3264 | 2821487.8118 | 1178029.1481 | 2821473.9615 | 1178014.0857 | 2821461.5705 | 1177999.0773 | 2821459.562 | 1177997.0823
14 | 2821391.2885 | 1177923.6614 | 2821395.8362 | 1177932.7361
15 | 2821521.8825 | 1178067.7437 | 2821537.7962 | 1178084.2357
16 | 2821391.2885 | 1177923.6614 | 2821386.2888 | 1177914.0211 | 2821384.0845 | 1177908.2091
17 | 2821391.2885 | 1177923.6614 | 2821405.7092 | 1177916.1465
18 | 2821380.5037 | 1177894.3623 | 2821381.2098 | 1177897.2028 | 2821383.9182 | 1177907.7707 | 2821384.0845 | 1177908.2091
19 | 2821420.0131 | 1177908.6925 | 2821405.7092 | 1177916.1465
20 | 2821380.5037 | 1177894.3623 | 2821383.2896 | 1177893.0969
21 | 2821380.5037 | 1177894.3623 | 2821365.3685 | 1177895.0158 | 2821363.4207 | 1177894.9714
22 | 2821420.0131 | 1177908.6925 | 2821415.8601 | 1177898.9286
23 | 2821420.0131 | 1177908.6925 | 2821428.697 | 1177905.3589
24 | 2821383.2896 | 1177893.0969 | 2821380.9141 | 1177877.4212
25 | 2821346.328 | 1177898.4457 | 2821356.6993 | 1177894.818 | 2821363.4207 | 1177894.9714
26 | 2821412.1919 | 1177890.3044 | 2821415.8601 | 1177898.9286
27 | 2821179.1521 | 1178001.7987 | 2821170.327 | 1178006.5882
28 | 2821164.3224 | 1178009.847 | 2821170.327 | 1178006.5882
29 | 2821194.3158 | 1177993.569 | 2821179.1521 | 1178001.7987
30 | 2821164.3224 | 1178009.847 | 2821117.5849 | 1178035.2125 | 2821102.8502 | 1178046.3827 | 2821082.8358 | 1178051.1398 | 2821051.7208 | 1178079.6636
31 | 2821194.3158 | 1177993.569 | 2821206.3035 | 1177985.5236 | 2821232.7137 | 1177983.0721 | 2821264.9765 | 1177982.7057 | 2821269.0697 | 1177982.5008 | 2821271.9754 | 1177981.0952 | 2821273.6822 | 1177977.1424 | 2821271.0709 | 1177972.8521 | 2821264.9487 | 1177968.7437
32 | 2821264.9487 | 1177968.7437 | 2821266.3105 | 1177966.8806 | 2821272.4967 | 1177955.1616 | 2821274.2447 | 1177943.668 | 2821288.5269 | 1177921.1459
33 | 2821264.9487 | 1177968.7437 | 2821256.763 | 1177962.9128 | 2821243.9578 | 1177954.3417 | 2821237.8752 | 1177951.4743
34 | 2821288.5269 | 1177921.1459 | 2821301.1156 | 1177921.0767
35 | 2821183.5801 | 1177924.7698 | 2821196.5879 | 1177928.0643 | 2821211.1171 | 1177937.3998 | 2821228.0073 | 1177946.8225 | 2821237.8752 | 1177951.4743
36 | 2821345.984 | 1177898.5661 | 2821346.328 | 1177898.4457
37 | 2821412.1919 | 1177890.3044 | 2821408.2274 | 1177890.6874
38 | 2821345.984 | 1177898.5661 | 2821339.8712 | 1177900.7042 | 2821331.1472 | 1177905.3096
39 | 2821308.4783 | 1177918.3531 | 2821308.624 | 1177918.2992
40 | 2821308.624 | 1177918.2992 | 2821310.4396 | 1177917.6276 | 2821313.7759 | 1177915.442
41 | 2821308.4783 | 1177918.3531 | 2821301.1156 | 1177921.0767
42 | 2821324.1235 | 1177909.0175 | 2821321.3384 | 1177910.4878 | 2821313.7759 | 1177915.442
43 | 2821331.1472 | 1177905.3096 | 2821324.1235 | 1177909.0175
44 | 2821047.9645 | 1177927.0309 | 2821056.1144 | 1177926.1634 | 2821122.6162 | 1177925.5907 | 2821135.4433 | 1177925.4855 | 2821168.6217 | 1177925.1968 | 2821176.2476 | 1177925.8787 | 2821183.5801 | 1177924.7698
45 | 2821047.9645 | 1177927.0309 | 2821022.701 | 1177929.7146 | 2820995.676 | 1177936.5114
46 | 2820969.9264 | 1177942.9874 | 2820995.676 | 1177936.5114
47 | 2820816.5116 | 1178034.5806 | 2820830.0947 | 1178015.6136 | 2820842.5776 | 1178002.8358 | 2820861.918 | 1177988.7532 | 2820892.2911 | 1177972.185 | 2820942.4621 | 1177949.8946 | 2820969.9264 | 1177942.9874
48 | 2820750.1969 | 1178123.1784 | 2820758.8685 | 1178111.873 | 2820786.0807 | 1178076.4101 | 2820793.2331 | 1178067.0957 | 2820816.5116 | 1178034.5806
49 | 2820750.1969 | 1178123.1784 | 2820735.2935 | 1178120.0486 | 2820728.4791 | 1178113.9575

## bus_geodata
| x | y | coords
0 | 2821244.9206 | 1178000.839
1 | 2821229.2469 | 1177997.4614
2 | 2821258.8446 | 1178004.8359
3 | 2821226.1525 | 1177997.0975
4 | 2821267.4472 | 1178008.3146
5 | 2821211.8576 | 1177995.4165
6 | 2821275.0531 | 1178011.9229
7 | 2821206.7427 | 1177994.835
8 | 2821452.8761 | 1177990.4413
9 | 2821405.6688 | 1177953.6046
10 | 2821452.9335 | 1177990.4984
11 | 2821403.6523 | 1177949.1734
12 | 2821459.562 | 1177997.0823
13 | 2821395.8362 | 1177932.7361
14 | 2821521.8825 | 1178067.7437
15 | 2821391.2885 | 1177923.6614
16 | 2821537.7962 | 1178084.2357
17 | 2821384.0845 | 1177908.2091
18 | 2821405.7092 | 1177916.1465
19 | 2821380.5037 | 1177894.3623
20 | 2821420.0131 | 1177908.6925
21 | 2821383.2896 | 1177893.0969
22 | 2821363.4207 | 1177894.9714
23 | 2821415.8601 | 1177898.9286
24 | 2821428.697 | 1177905.3589
25 | 2821170.327 | 1178006.5882
26 | 2821179.1521 | 1178001.7987
27 | 2821164.3224 | 1178009.847
28 | 2821194.3158 | 1177993.569
29 | 2821051.7208 | 1178079.6636
30 | 2821264.9487 | 1177968.7437
31 | 2821288.5269 | 1177921.1459
32 | 2821237.8752 | 1177951.4743
33 | 2821380.9141 | 1177877.4212
34 | 2821346.328 | 1177898.4457
35 | 2821408.2274 | 1177890.6874
36 | 2821412.1919 | 1177890.3044
37 | 2821345.984 | 1177898.5661
38 | 2821308.624 | 1177918.2992
39 | 2821308.4783 | 1177918.3531
40 | 2821313.7759 | 1177915.442
41 | 2821301.1156 | 1177921.0767
42 | 2821324.1235 | 1177909.0175
43 | 2821331.1472 | 1177905.3096
44 | 2821183.5801 | 1177924.7698
45 | 2821047.9645 | 1177927.0309
46 | 2820995.676 | 1177936.5114
47 | 2820969.9264 | 1177942.9874
48 | 2820816.5116 | 1178034.5806
49 | 2820750.1969 | 1178123.1784
50 | 2820728.4791 | 1178113.9575
51 | 2821288.5269 | 1177921.1459

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1