## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3762-26_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3762-26_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3762-26_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3762-26_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3762-26_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3762-26_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3762-26_0_2_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_3762-26_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3762-26_0_2_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_3762-26_0_2_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_3762-26_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3762-26_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3762-26_0_2_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_3762-26_0_2_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_3762-26_0_2_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_3762-26_0_2_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_3762-26_0_2_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_3762-26_0_2_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_3762-26_0_2_node_91 | 0.4 | n |  | TRUE
19 | bus_LV_3762-26_0_2_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_3762-26_0_2_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_3762-26_0_2_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_3762-26_0_2_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_3762-26_0_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_3762-26_0_2_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_3762-26_0_2_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_3762-26_0_2_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_3762-26_0_2_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_3762-26_0_2_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_3762-26_0_2_node_70 | 0.4 | n |  | TRUE
30 | bus_LV_3762-26_0_2_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_3762-26_0_2_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_3762-26_0_2_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_3762-26_0_2_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_3762-26_0_2_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_3762-26_0_2_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_3762-26_0_2_node_78 | 0.4 | n |  | TRUE
37 | bus_LV_3762-26_0_2_node_80 | 0.4 | n |  | TRUE
38 | bus_LV_3762-26_0_2_node_104 | 0.4 | n |  | TRUE
39 | bus_LV_3762-26_0_2_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_3762-26_0_2_node_72 | 0.4 | n |  | TRUE
41 | bus_LV_3762-26_0_2_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_3762-26_0_2_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_3762-26_0_2_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_3762-26_0_2_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_3762-26_0_2_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_3762-26_0_2_node_105 | 0.4 | n |  | TRUE
47 | bus_LV_3762-26_0_2_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_3762-26_0_2_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_3762-26_0_2_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_3762-26_0_2_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_3762-26_0_2_node_74 | 0.4 | n |  | TRUE
52 | bus_LV_3762-26_0_2_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_3762-26_0_2_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_3762-26_0_2_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_3762-26_0_2_node_73 | 0.4 | n |  | TRUE
56 | bus_LV_3762-26_0_2_node_82 | 0.4 | n |  | TRUE
57 | bus_LV_3762-26_0_2_node_81 | 0.4 | n |  | TRUE
58 | bus_MV_170_0_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3762-26_0_2_load_0 | 0 | 0.0054086 | 0.0013555 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3762-26_0_2_load_1 | 1 | 0.00074817 | 0.00018751 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3762-26_0_2_load_2 | 2 | 0.0015186 | 0.00038061 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3762-26_0_2_load_3 | 3 | 0.00051847 | 0.00012994 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3762-26_0_2_load_4 | 4 | 0.00039454 | 9.8881e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3762-26_0_2_load_5 | 5 | 0.0045857 | 0.0011493 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3762-26_0_2_load_6 | 7 | 0.00041111 | 0.00010303 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3762-26_0_2_load_19 | 9 | 0.010449 | 0.0026188 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3762-26_0_2_load_7 | 10 | 0.0019096 | 0.00047858 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3762-26_0_2_load_48 | 14 | 0.00050678 | 0.00012701 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3762-26_0_2_load_46 | 15 | 0.00081092 | 0.00020324 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3762-26_0_2_load_45 | 16 | 0.0010346 | 0.0002593 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3762-26_0_2_load_91 | 18 | 0.00096821 | 0.00024266 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3762-26_0_2_load_57 | 21 | 0.0037711 | 0.00094512 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3762-26_0_2_load_20 | 23 | 0.0097078 | 0.002433 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3762-26_0_2_load_24 | 25 | 0.012892 | 0.0032311 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3762-26_0_2_load_47 | 27 | 0.011617 | 0.0029114 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3762-26_0_2_load_44 | 28 | 0.00044366 | 0.00011119 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3762-26_0_2_load_70 | 29 | 0.007389 | 0.0018519 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3762-26_0_2_load_51 | 31 | 0.00028118 | 7.047e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3762-26_0_2_load_71 | 34 | 0.0004116 | 0.00010316 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3762-26_0_2_load_78 | 36 | 0.001139 | 0.00028545 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3762-26_0_2_load_80 | 37 | 0.0006305 | 0.00015802 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3762-26_0_2_load_104 | 38 | 0.0015837 | 0.00039692 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3762-26_0_2_load_58 | 39 | 0.0029788 | 0.00074656 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3762-26_0_2_load_72 | 40 | 0.00050555 | 0.0001267 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3762-26_0_2_load_79 | 41 | 0.0030531 | 0.00076519 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3762-26_0_2_load_59 | 42 | 0.0016622 | 0.00041659 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3762-26_0_2_load_62 | 44 | 0.00075526 | 0.00018928 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3762-26_0_2_load_105 | 46 | 0.0008716 | 0.00021844 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3762-26_0_2_load_65 | 47 | 0.0029016 | 0.00072721 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3762-26_0_2_load_66 | 48 | 0.0073157 | 0.0018335 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3762-26_0_2_load_68 | 49 | 0.0061049 | 0.00153 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3762-26_0_2_load_69 | 50 | 0.025365 | 0.006357 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3762-26_0_2_load_77 | 54 | 0.0036917 | 0.00092523 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3762-26_0_2_load_73 | 55 | 0.013127 | 0.0032899 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3762-26_0_2_load_82 | 56 | 0.0047024 | 0.0011785 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3762-26_0_2_load_81 | 57 | 0.0040157 | 0.0010064 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3762-26_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3762-26_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.20265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3762-26_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3762-26_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3762-26_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.012091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3762-26_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.087532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3762-26_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.010396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3762-26_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.016499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3762-26_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0039095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3762-26_0_2_line_9 | NAYY 4x150 SE | 8 | 27 | 0.015781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3762-26_0_2_line_10 | NAYY 4x150 SE | 8 | 28 | 0.10619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3762-26_0_2_line_11 | NAYY 4x150 SE | 9 | 23 | 0.0077878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3762-26_0_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.068181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3762-26_0_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.16756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3762-26_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.042436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3762-26_0_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.10062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3762-26_0_2_line_16 | NAYY 4x150 SE | 13 | 20 | 0.12981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3762-26_0_2_line_17 | NAYY 4x150 SE | 13 | 21 | 0.019137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3762-26_0_2_line_18 | NAYY 4x150 SE | 14 | 22 | 0.11663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3762-26_0_2_line_19 | NAYY 4x150 SE | 15 | 16 | 0.041487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3762-26_0_2_line_20 | NAYY 4x150 SE | 16 | 28 | 0.017517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3762-26_0_2_line_21 | NAYY 4x150 SE | 17 | 18 | 0.15676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3762-26_0_2_line_22 | NAYY 4x150 SE | 17 | 19 | 0.3986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3762-26_0_2_line_23 | NAYY 4x150 SE | 19 | 42 | 0.031138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3762-26_0_2_line_24 | NAYY 4x150 SE | 19 | 33 | 0.13415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3762-26_0_2_line_25 | NAYY 4x150 SE | 20 | 37 | 0.010475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3762-26_0_2_line_26 | NAYY 4x150 SE | 20 | 32 | 0.53128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3762-26_0_2_line_27 | NAYY 4x150 SE | 20 | 35 | 0.045367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3762-26_0_2_line_28 | NAYY 4x150 SE | 21 | 39 | 0.038303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3762-26_0_2_line_29 | NAYY 4x150 SE | 22 | 31 | 0.054098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3762-26_0_2_line_30 | NAYY 4x150 SE | 23 | 24 | 0.019867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3762-26_0_2_line_31 | NAYY 4x150 SE | 24 | 25 | 0.012412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3762-26_0_2_line_32 | NAYY 4x150 SE | 24 | 26 | 0.019138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3762-26_0_2_line_33 | NAYY 4x150 SE | 26 | 29 | 0.017558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3762-26_0_2_line_34 | NAYY 4x150 SE | 29 | 30 | 0.002138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3762-26_0_2_line_35 | NAYY 4x150 SE | 30 | 50 | 0.015646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3762-26_0_2_line_36 | NAYY 4x150 SE | 30 | 47 | 0.013036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3762-26_0_2_line_37 | NAYY 4x150 SE | 32 | 33 | 0.10833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3762-26_0_2_line_38 | NAYY 4x150 SE | 32 | 34 | 0.039988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3762-26_0_2_line_39 | NAYY 4x150 SE | 33 | 38 | 0.097719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3762-26_0_2_line_40 | NAYY 4x150 SE | 34 | 40 | 0.017932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3762-26_0_2_line_41 | NAYY 4x150 SE | 35 | 36 | 0.012772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3762-26_0_2_line_42 | NAYY 4x150 SE | 37 | 41 | 0.033838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3762-26_0_2_line_43 | NAYY 4x150 SE | 41 | 57 | 0.010576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3762-26_0_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.020151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3762-26_0_2_line_45 | NAYY 4x150 SE | 43 | 44 | 0.069755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3762-26_0_2_line_46 | NAYY 4x150 SE | 43 | 45 | 0.027431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3762-26_0_2_line_47 | NAYY 4x150 SE | 45 | 46 | 0.042528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3762-26_0_2_line_48 | NAYY 4x150 SE | 47 | 48 | 0.00047782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3762-26_0_2_line_49 | NAYY 4x150 SE | 48 | 49 | 0.016212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3762-26_0_2_line_50 | NAYY 4x150 SE | 49 | 51 | 0.0013169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3762-26_0_2_line_51 | NAYY 4x150 SE | 50 | 52 | 0.017288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3762-26_0_2_line_52 | NAYY 4x150 SE | 51 | 53 | 0.00861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3762-26_0_2_line_53 | NAYY 4x150 SE | 52 | 54 | 0.014107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3762-26_0_2_line_54 | NAYY 4x150 SE | 52 | 55 | 0.0052863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3762-26_0_2_line_55 | NAYY 4x150 SE | 53 | 56 | 0.011737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3762-26_0_2_line_56 | NAYY 4x150 SE | 56 | 57 | 0.0068717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3762-26_0_2_trafo_25 | 0.25 MVA 20/0.4 kV | 58 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40
0 | 2815502.1902 | 1184757.2191 | 2815502.1902 | 1184757.2191 | 2815508.9573 | 1184764.3262 | 2815518.949 | 1184765.4384
1 | 2815502.1902 | 1184757.2191 | 2815502.2138 | 1184751.6803 | 2815504.6277 | 1184747.8849 | 2815516.7721 | 1184731.9253 | 2815529.2455 | 1184718.2914 | 2815535.8195 | 1184713.3554 | 2815555.9594 | 1184706.4717 | 2815562.7495 | 1184706.3602 | 2815571.7543 | 1184707.5633 | 2815580.2975 | 1184710.9745 | 2815586.6746 | 1184718.5126 | 2815599.4964 | 1184735.3154 | 2815626.4329 | 1184754.6623 | 2815635.8182 | 1184760.1507 | 2815651.0103 | 1184763.7571 | 2815659.8321 | 1184763.2536
2 | 2815518.949 | 1184765.4384 | 2815525.6491 | 1184766.1841 | 2815528.1952 | 1184759.9907 | 2815532.9639 | 1184759.5964
3 | 2815672.9453 | 1184761.635 | 2815668.8144 | 1184762.7409 | 2815659.8321 | 1184763.2536
4 | 2815532.9639 | 1184759.5964 | 2815545.0134 | 1184758.6
5 | 2815744.8522 | 1184802.8015 | 2815739.2582 | 1184797.7165 | 2815709.517 | 1184769.2687 | 2815701.9451 | 1184764.7799 | 2815692.1974 | 1184761.0804 | 2815681.3983 | 1184759.6235 | 2815675.5894 | 1184760.9271 | 2815672.9453 | 1184761.635
6 | 2815555.3743 | 1184757.7433 | 2815545.0134 | 1184758.6
7 | 2815744.8522 | 1184802.8015 | 2815739.4148 | 1184787.2211
8 | 2815744.8522 | 1184802.8015 | 2815747.1572 | 1184805.9593
9 | 2815754.5732 | 1184791.7609 | 2815739.4148 | 1184787.2211
10 | 2815739.4148 | 1184787.2211 | 2815713.789 | 1184751.235 | 2815697.0595 | 1184737.2723 | 2815666.3739 | 1184721.2384 | 2815662.7362 | 1184716.9863
11 | 2815747.1572 | 1184805.9593 | 2815751.7486 | 1184812.2496
12 | 2815759.8687 | 1184666.6623 | 2815729.1894 | 1184661.6856 | 2815695.259 | 1184646.6798
13 | 2815759.8687 | 1184666.6623 | 2815824.2049 | 1184677.1129 | 2815841.8828 | 1184684.4802 | 2815868.5865 | 1184699.2479 | 2815890.9169 | 1184704.536 | 2815921.1253 | 1184703.4896
14 | 2815899.9626 | 1184735.1195 | 2815898.7348 | 1184723.8177 | 2815903.8859 | 1184714.4813 | 2815921.1253 | 1184703.4896
15 | 2815921.1253 | 1184703.4896 | 2815956.1257 | 1184700.7363 | 2816021.5901 | 1184703.0981
16 | 2815916.4901 | 1184851.5052 | 2815927.1572 | 1184844.3256 | 2815932.8839 | 1184834.7097 | 2815933.2953 | 1184821.3979 | 2815899.9626 | 1184735.1195
17 | 2815899.9626 | 1184735.1195 | 2815882.4158 | 1184727.4822
18 | 2816134.726 | 1184729.5739 | 2816062.0482 | 1184707.8284 | 2816031.05 | 1184703.4394 | 2816021.5901 | 1184703.0981
19 | 2815624.1934 | 1184672.3165 | 2815628.1383 | 1184676.5444 | 2815651.3487 | 1184703.6753
20 | 2815662.7362 | 1184716.9863 | 2815651.3487 | 1184703.6753
21 | 2815625.4453 | 1185025.6513 | 2815519.6244 | 1185003.5863 | 2815487.4801 | 1184995.6214 | 2815476.5672 | 1184990.5454 | 2815473.7979 | 1184988.395
22 | 2815625.4453 | 1185025.6513 | 2815654.778 | 1185033.5936 | 2815689.1628 | 1185032.3851 | 2815712.3552 | 1185037.8928 | 2815739.7254 | 1185054.4861 | 2815759.1759 | 1185060.7713 | 2815790.2341 | 1185060.2666 | 2815950.1319 | 1185122.3866 | 2815982.1263 | 1185130.0261 | 2815985.0711 | 1185144.3488 | 2815990.0625 | 1185149.8128
23 | 2815990.0625 | 1185149.8128 | 2816003.3091 | 1185164.3181 | 2816009.252 | 1185174.1575
24 | 2815990.0625 | 1185149.8128 | 2815985.0711 | 1185144.3488 | 2815982.1263 | 1185130.0261 | 2816006.6794 | 1185130.8453 | 2816093.0634 | 1185116.5315
25 | 2815916.4901 | 1184851.5052 | 2815906.585 | 1184848.0982
26 | 2815916.4901 | 1184851.5052 | 2815924.9125 | 1184856.5589 | 2815915.9843 | 1184863.4119 | 2815909.0751 | 1184872.974 | 2815905.3887 | 1184884.2877 | 2815899.9734 | 1184897.9863 | 2815893.0134 | 1184909.1707 | 2815886.2005 | 1184916.278 | 2815877.6582 | 1184925.7813 | 2815869.2634 | 1184931.1964 | 2815868.8808 | 1184941.806 | 2815871.7134 | 1184954.1668 | 2815869.7561 | 1184963.0955 | 2815869.4032 | 1184972.883 | 2815871.5369 | 1184981.9481 | 2815873.6334 | 1184991.8351 | 2815879.0704 | 1185000.2073 | 2815887.0236 | 1185007.035 | 2815895.735 | 1185015.5142 | 2815903.1364 | 1185014.969 | 2815909.6255 | 1185016.8383 | 2815924.9217 | 1185024.7429 | 2815939.3936 | 1185032.6179 | 2815944.8304 | 1185040.9902 | 2815950.3262 | 1185047.7293 | 2815959.1255 | 1185053.7645 | 2815975.297 | 1185060.0656 | 2815992.2554 | 1185067.2183 | 2816006.845 | 1185071.8273 | 2816019.8306 | 1185075.5663 | 2816031.9628 | 1185080.0866 | 2816047.3468 | 1185085.5474 | 2816062.6935 | 1185091.8302 | 2816076.4664 | 1185096.4098 | 2816089.5109 | 1185098.5159 | 2816106.7049 | 1185099.1365 | 2816128.8726 | 1185098.3016 | 2816156.0653 | 1185094.3777 | 2816169.1687 | 1185094.8508 | 2816181.916 | 1185106.8801 | 2816200.409 | 1185110.4624
27 | 2815916.4901 | 1184851.5052 | 2815924.9125 | 1184856.5589 | 2815928.205 | 1184868.8807 | 2815930.3957 | 1184877.425 | 2815939.2841 | 1184888.2022
28 | 2815847.2952 | 1184712.1961 | 2815882.4158 | 1184727.4822
29 | 2816134.726 | 1184729.5739 | 2816188.082 | 1184738.5042
30 | 2815770.1392 | 1184819.7648 | 2815751.7486 | 1184812.2496
31 | 2815770.1392 | 1184819.7648 | 2815770.5174 | 1184832.1705
32 | 2815789.3295 | 1184820.145 | 2815770.1392 | 1184819.7648
33 | 2815789.3295 | 1184820.145 | 2815806.8131 | 1184821.7569
34 | 2815808.9421 | 1184821.9532 | 2815806.8131 | 1184821.7569
35 | 2815808.9421 | 1184821.9532 | 2815807.0069 | 1184837.4793
36 | 2815808.9421 | 1184821.9532 | 2815816.1668 | 1184822.7142 | 2815821.7834 | 1184824.0398
37 | 2816093.0634 | 1185116.5315 | 2816143.0903 | 1185109.6052 | 2816166.3584 | 1185106.8634 | 2816181.916 | 1185106.8801 | 2816200.409 | 1185110.4624
38 | 2816200.409 | 1185110.4624 | 2816199.3755 | 1185150.4371
39 | 2816093.0634 | 1185116.5315 | 2816101.4455 | 1185155.7125 | 2816111.2769 | 1185178.0262 | 2816121.8829 | 1185184.1713 | 2816142.8698 | 1185181.9589
40 | 2816199.3755 | 1185150.4371 | 2816199.1959 | 1185157.3842 | 2816194.8191 | 1185167.4567
41 | 2815939.2841 | 1184888.2022 | 2815928.5716 | 1184895.1577
42 | 2815876.0922 | 1184833.6569 | 2815877.1854 | 1184833.9913 | 2815897.8838 | 1184845.1053 | 2815906.585 | 1184848.0982
43 | 2815876.0922 | 1184833.6569 | 2815865.9788 | 1184830.5625
44 | 2816019.67 | 1185191.4059 | 2816009.252 | 1185174.1575
45 | 2816019.67 | 1185191.4059 | 2816028.5829 | 1185193.652 | 2816037.537 | 1185198.992 | 2816050.2642 | 1185192.9438 | 2816054.2366 | 1185186.2014 | 2816055.6821 | 1185166.8978 | 2816051.3747 | 1185159.1515
46 | 2816025.6175 | 1185217.3837 | 2816026.0054 | 1185204.5161 | 2816019.67 | 1185191.4059
47 | 2816025.6175 | 1185217.3837 | 2816041.0257 | 1185216.2378 | 2816066.0452 | 1185205.6052
48 | 2815821.7834 | 1184824.0398 | 2815822.2484 | 1184824.1496
49 | 2815822.2484 | 1184824.1496 | 2815838.0265 | 1184827.8736
50 | 2815839.3081 | 1184828.1761 | 2815838.0265 | 1184827.8736
51 | 2815823.5285 | 1184842.5689 | 2815807.0069 | 1184837.4793
52 | 2815839.3081 | 1184828.1761 | 2815847.7114 | 1184830.1587
53 | 2815823.5285 | 1184842.5689 | 2815816.6273 | 1184854.8791
54 | 2815823.5285 | 1184842.5689 | 2815828.7195 | 1184843.5681
55 | 2815847.7114 | 1184830.1587 | 2815859.378 | 1184828.8702
56 | 2815859.378 | 1184828.8702 | 2815860.1638 | 1184828.7834 | 2815865.9788 | 1184830.5625

## bus_geodata
| x | y | coords
0 | 2815502.1902 | 1184757.2191
1 | 2815518.949 | 1184765.4384
2 | 2815659.8321 | 1184763.2536
3 | 2815532.9639 | 1184759.5964
4 | 2815672.9453 | 1184761.635
5 | 2815545.0134 | 1184758.6
6 | 2815744.8522 | 1184802.8015
7 | 2815555.3743 | 1184757.7433
8 | 2815739.4148 | 1184787.2211
9 | 2815747.1572 | 1184805.9593
10 | 2815695.259 | 1184646.6798
11 | 2815759.8687 | 1184666.6623
12 | 2815921.1253 | 1184703.4896
13 | 2815899.9626 | 1184735.1195
14 | 2816021.5901 | 1184703.0981
15 | 2815624.1934 | 1184672.3165
16 | 2815651.3487 | 1184703.6753
17 | 2815625.4453 | 1185025.6513
18 | 2815473.7979 | 1184988.395
19 | 2815990.0625 | 1185149.8128
20 | 2815916.4901 | 1184851.5052
21 | 2815882.4158 | 1184727.4822
22 | 2816134.726 | 1184729.5739
23 | 2815751.7486 | 1184812.2496
24 | 2815770.1392 | 1184819.7648
25 | 2815770.5174 | 1184832.1705
26 | 2815789.3295 | 1184820.145
27 | 2815754.5732 | 1184791.7609
28 | 2815662.7362 | 1184716.9863
29 | 2815806.8131 | 1184821.7569
30 | 2815808.9421 | 1184821.9532
31 | 2816188.082 | 1184738.5042
32 | 2816200.409 | 1185110.4624
33 | 2816093.0634 | 1185116.5315
34 | 2816199.3755 | 1185150.4371
35 | 2815939.2841 | 1184888.2022
36 | 2815928.5716 | 1184895.1577
37 | 2815906.585 | 1184848.0982
38 | 2816142.8698 | 1185181.9589
39 | 2815847.2952 | 1184712.1961
40 | 2816194.8191 | 1185167.4567
41 | 2815876.0922 | 1184833.6569
42 | 2816009.252 | 1185174.1575
43 | 2816019.67 | 1185191.4059
44 | 2816051.3747 | 1185159.1515
45 | 2816025.6175 | 1185217.3837
46 | 2816066.0452 | 1185205.6052
47 | 2815821.7834 | 1184824.0398
48 | 2815822.2484 | 1184824.1496
49 | 2815838.0265 | 1184827.8736
50 | 2815807.0069 | 1184837.4793
51 | 2815839.3081 | 1184828.1761
52 | 2815823.5285 | 1184842.5689
53 | 2815847.7114 | 1184830.1587
54 | 2815816.6273 | 1184854.8791
55 | 2815828.7195 | 1184843.5681
56 | 2815859.378 | 1184828.8702
57 | 2815865.9788 | 1184830.5625
58 | 2815770.1392 | 1184819.7648

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1