## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3762-35_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3762-35_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3762-35_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3762-35_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3762-35_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3762-35_0_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_3762-35_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_3762-35_0_3_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_3762-35_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_3762-35_0_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_3762-35_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_3762-35_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_3762-35_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_3762-35_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_3762-35_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3762-35_0_3_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_3762-35_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3762-35_0_3_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_3762-35_0_3_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_3762-35_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3762-35_0_3_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_3762-35_0_3_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_3762-35_0_3_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_3762-35_0_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_3762-35_0_3_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_3762-35_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_3762-35_0_3_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_3762-35_0_3_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_3762-35_0_3_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_3762-35_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_3762-35_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_3762-35_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_3762-35_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_3762-35_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_3762-35_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3762-35_0_3_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_3762-35_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_3762-35_0_3_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_3762-35_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_3762-35_0_3_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_3762-35_0_3_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_3762-35_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_3762-35_0_3_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_3762-35_0_3_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_3762-35_0_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_3762-35_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_3762-35_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_3762-35_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_3762-35_0_3_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_3762-35_0_3_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_3762-35_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_3762-35_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_3762-35_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_3762-35_0_3_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_3762-35_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_3762-35_0_3_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_3762-35_0_3_node_96 | 0.4 | n |  | TRUE
57 | bus_LV_3762-35_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_3762-35_0_3_node_54 | 0.4 | n |  | TRUE
59 | bus_MV_170_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3762-35_0_3_load_0 | 0 | 0.0063431 | 0.0015897 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3762-35_0_3_load_1 | 1 | 0.0058711 | 0.0014714 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3762-35_0_3_load_2 | 2 | 0.0058621 | 0.0014692 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3762-35_0_3_load_3 | 3 | 0.0032989 | 0.00082678 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3762-35_0_3_load_11 | 5 | 0.0041502 | 0.0010401 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3762-35_0_3_load_15 | 6 | 0.0027466 | 0.00068837 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3762-35_0_3_load_17 | 7 | 0.0024251 | 0.00060778 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3762-35_0_3_load_10 | 8 | 0.0024969 | 0.00062579 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3762-35_0_3_load_18 | 10 | 0.004573 | 0.0011461 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3762-35_0_3_load_5 | 11 | 0.0026668 | 0.00066837 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3762-35_0_3_load_6 | 12 | 0.0021617 | 0.00054178 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3762-35_0_3_load_8 | 14 | 0.0020154 | 0.00050511 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3762-35_0_3_load_33 | 15 | 0.0028254 | 0.0007081 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3762-35_0_3_load_19 | 17 | 0.0064655 | 0.0016204 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3762-35_0_3_load_32 | 18 | 0.0021874 | 0.00054821 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3762-35_0_3_load_12 | 19 | 0.0057591 | 0.0014434 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3762-35_0_3_load_51 | 21 | 0.0028287 | 0.00070895 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3762-35_0_3_load_57 | 22 | 0.0021489 | 0.00053857 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3762-35_0_3_load_30 | 25 | 0.0033613 | 0.00084241 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3762-35_0_3_load_26 | 26 | 0.0029965 | 0.00075099 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3762-35_0_3_load_35 | 27 | 0.0058272 | 0.0014604 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3762-35_0_3_load_36 | 28 | 0.0056724 | 0.0014216 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3762-35_0_3_load_20 | 29 | 0.0021243 | 0.00053241 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3762-35_0_3_load_21 | 30 | 0.0026099 | 0.00065409 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3762-35_0_3_load_23 | 32 | 0.0044862 | 0.0011243 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3762-35_0_3_load_25 | 34 | 0.0015717 | 0.00039391 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3762-35_0_3_load_34 | 36 | 0.0080915 | 0.0020279 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3762-35_0_3_load_53 | 37 | 0.0051616 | 0.0012936 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3762-35_0_3_load_52 | 39 | 0.0026716 | 0.00066957 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3762-35_0_3_load_42 | 40 | 0.0022023 | 0.00055194 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3762-35_0_3_load_27 | 41 | 0.0027891 | 0.00069901 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3762-35_0_3_load_49 | 42 | 0.0019845 | 0.00049736 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3762-35_0_3_load_55 | 43 | 0.0018771 | 0.00047045 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3762-35_0_3_load_50 | 44 | 0.0019619 | 0.00049169 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3762-35_0_3_load_39 | 45 | 0.0048066 | 0.0012046 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3762-35_0_3_load_41 | 47 | 0.0027457 | 0.00068814 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3762-35_0_3_load_59 | 48 | 0.0024505 | 0.00061415 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3762-35_0_3_load_43 | 50 | 0.0034756 | 0.00087108 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3762-35_0_3_load_44 | 51 | 0.00082333 | 0.00020635 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3762-35_0_3_load_46 | 53 | 0.00079359 | 0.00019889 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3762-35_0_3_load_58 | 55 | 0.0015812 | 0.00039629 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3762-35_0_3_load_96 | 56 | 0.003802 | 0.00095287 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3762-35_0_3_load_48 | 57 | 0.0016941 | 0.00042458 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3762-35_0_3_load_54 | 58 | 0.0016174 | 0.00040536 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3762-35_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0012286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3762-35_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3762-35_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.012033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3762-35_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0028279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3762-35_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0057408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3762-35_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0044398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3762-35_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.013843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3762-35_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0065665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3762-35_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.033154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3762-35_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.02804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3762-35_0_3_line_10 | NAYY 4x150 SE | 8 | 13 | 0.0036343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3762-35_0_3_line_11 | NAYY 4x150 SE | 9 | 19 | 0.048753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3762-35_0_3_line_12 | NAYY 4x150 SE | 10 | 16 | 0.027443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3762-35_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0089433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3762-35_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.022933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3762-35_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0083594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3762-35_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.028599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3762-35_0_3_line_17 | NAYY 4x150 SE | 15 | 18 | 0.013022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3762-35_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.006756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3762-35_0_3_line_19 | NAYY 4x150 SE | 18 | 36 | 0.0082288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3762-35_0_3_line_20 | NAYY 4x150 SE | 20 | 21 | 0.01286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3762-35_0_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.01848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3762-35_0_3_line_22 | NAYY 4x150 SE | 21 | 42 | 0.0096112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3762-35_0_3_line_23 | NAYY 4x150 SE | 22 | 43 | 0.011636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3762-35_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.029539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3762-35_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.015396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3762-35_0_3_line_26 | NAYY 4x150 SE | 23 | 26 | 0.023954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3762-35_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.036877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3762-35_0_3_line_28 | NAYY 4x150 SE | 25 | 40 | 0.012434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3762-35_0_3_line_29 | NAYY 4x150 SE | 26 | 41 | 0.0060582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3762-35_0_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.01063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3762-35_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.026351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_3762-35_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.012708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_3762-35_0_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.0015225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3762-35_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.017912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_3762-35_0_3_line_35 | NAYY 4x150 SE | 31 | 34 | 0.030404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3762-35_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.014454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3762-35_0_3_line_37 | NAYY 4x150 SE | 33 | 36 | 0.0095415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3762-35_0_3_line_38 | NAYY 4x150 SE | 34 | 37 | 0.0091751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3762-35_0_3_line_39 | NAYY 4x150 SE | 35 | 38 | 0.013007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3762-35_0_3_line_40 | NAYY 4x150 SE | 35 | 39 | 0.0071058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3762-35_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.016143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3762-35_0_3_line_42 | NAYY 4x150 SE | 39 | 44 | 0.010739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3762-35_0_3_line_43 | NAYY 4x150 SE | 42 | 57 | 0.0014724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3762-35_0_3_line_44 | NAYY 4x150 SE | 43 | 58 | 0.013101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3762-35_0_3_line_45 | NAYY 4x150 SE | 44 | 57 | 0.011167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3762-35_0_3_line_46 | NAYY 4x150 SE | 45 | 46 | 0.029343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3762-35_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.0060677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3762-35_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.014173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3762-35_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.012036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3762-35_0_3_line_50 | NAYY 4x150 SE | 49 | 55 | 0.0018053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3762-35_0_3_line_51 | NAYY 4x150 SE | 49 | 58 | 0.0080418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3762-35_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.029456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3762-35_0_3_line_53 | NAYY 4x150 SE | 50 | 52 | 0.15552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3762-35_0_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.0014965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3762-35_0_3_line_55 | NAYY 4x150 SE | 52 | 54 | 1.3034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3762-35_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.036455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3762-35_0_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.024148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3762-35_0_3_trafo_21 | 0.25 MVA 20/0.4 kV | 59 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72 | x73 | y73 | x74 | y74 | x75 | y75 | x76 | y76 | x77 | y77 | x78 | y78 | x79 | y79 | x80 | y80 | x81 | y81 | x82 | y82 | x83 | y83 | x84 | y84 | x85 | y85 | x86 | y86 | x87 | y87 | x88 | y88 | x89 | y89 | x90 | y90 | x91 | y91 | x92 | y92 | x93 | y93 | x94 | y94 | x95 | y95 | x96 | y96 | x97 | y97 | x98 | y98 | x99 | y99 | x100 | y100 | x101 | y101 | x102 | y102 | x103 | y103 | x104 | y104 | x105 | y105 | x106 | y106 | x107 | y107 | x108 | y108 | x109 | y109 | x110 | y110 | x111 | y111 | x112 | y112 | x113 | y113 | x114 | y114 | x115 | y115 | x116 | y116 | x117 | y117 | x118 | y118 | x119 | y119 | x120 | y120 | x121 | y121 | x122 | y122 | x123 | y123 | x124 | y124 | x125 | y125 | x126 | y126 | x127 | y127 | x128 | y128 | x129 | y129 | x130 | y130 | x131 | y131 | x132 | y132 | x133 | y133
0 | 2814716.6976 | 1186492.8281 | 2814717.8625 | 1186493.2185
1 | 2814716.6976 | 1186492.8281 | 2814701.1331 | 1186487.6109
2 | 2814717.8625 | 1186493.2185 | 2814729.2716 | 1186497.0428
3 | 2814698.4519 | 1186486.7122 | 2814701.1331 | 1186487.6109
4 | 2814729.2716 | 1186497.0428 | 2814734.7147 | 1186498.8673
5 | 2814698.4519 | 1186486.7122 | 2814694.1734 | 1186485.5261
6 | 2814698.4519 | 1186486.7122 | 2814701.4672 | 1186485.0739 | 2814709.5444 | 1186478.5043
7 | 2814740.9407 | 1186500.9543 | 2814734.7147 | 1186498.8673
8 | 2814661.5085 | 1186480.27 | 2814671.0748 | 1186481.0803 | 2814681.6103 | 1186482.5595 | 2814689.5561 | 1186484.2461 | 2814694.1734 | 1186485.5261
9 | 2814709.5444 | 1186478.5043 | 2814709.903 | 1186478.2127 | 2814715.6639 | 1186475.427 | 2814721.534 | 1186473.8578 | 2814735.3414 | 1186467.7381
10 | 2814744.3866 | 1186502.1093 | 2814740.9407 | 1186500.9543
11 | 2814661.5085 | 1186480.27 | 2814660.6388 | 1186497.9148 | 2814660.5589 | 1186505.0424 | 2814661.3898 | 1186512.7588 | 2814663.5297 | 1186521.2564 | 2814666.2412 | 1186528.1789
12 | 2814760.1115 | 1186456.2644 | 2814755.0235 | 1186457.5391 | 2814747.0253 | 1186461.3569 | 2814739.3892 | 1186465.944 | 2814735.3414 | 1186467.7381
13 | 2814766.1021 | 1186509.4817 | 2814767.12 | 1186509.833 | 2814774.3737 | 1186512.877
14 | 2814744.3866 | 1186502.1093 | 2814756.2913 | 1186506.0961 | 2814766.1021 | 1186509.4817
15 | 2814781.9814 | 1186516.3396 | 2814775.7 | 1186513.4336 | 2814774.3737 | 1186512.877
16 | 2814807.4051 | 1186529.4233 | 2814801.7202 | 1186526.4257 | 2814786.9347 | 1186518.6312 | 2814781.9814 | 1186516.3396
17 | 2814819.0425 | 1186535.2625 | 2814812.3145 | 1186532.012 | 2814807.4051 | 1186529.4233
18 | 2814760.1115 | 1186456.2644 | 2814764.9564 | 1186451.5437
19 | 2814819.0425 | 1186535.2625 | 2814822.5122 | 1186536.9388 | 2814826.5492 | 1186538.626
20 | 2814902.4043 | 1186548.7172 | 2814895.9721 | 1186547.2181 | 2814889.7776 | 1186546.3462
21 | 2814902.4043 | 1186548.7172 | 2814908.8654 | 1186531.4035
22 | 2814880.2313 | 1186545.3006 | 2814883.7723 | 1186545.5008 | 2814889.7776 | 1186546.3462
23 | 2814908.8654 | 1186531.4035 | 2814912.9338 | 1186520.5016
24 | 2814849.0638 | 1186598.117 | 2814841.4262 | 1186604.6618 | 2814829.8167 | 1186620.3414
25 | 2814849.0638 | 1186598.117 | 2814849.8511 | 1186587.4662 | 2814849.0555 | 1186582.8175
26 | 2814849.0638 | 1186598.117 | 2814834.4623 | 1186597.7597 | 2814825.3913 | 1186595.4985 | 2814825.3913 | 1186595.4985
27 | 2814829.8167 | 1186620.3414 | 2814826.0267 | 1186623.131 | 2814814.8953 | 1186625.4902 | 2814803.7644 | 1186627.8383 | 2814796.9089 | 1186630.4733 | 2814795.0335 | 1186631.3544
28 | 2814849.0555 | 1186582.8175 | 2814846.9582 | 1186570.5619
29 | 2814825.3913 | 1186595.4985 | 2814821.1182 | 1186594.9335 | 2814819.4543 | 1186595.4689
30 | 2814795.0335 | 1186631.3544 | 2814791.1898 | 1186633.1603 | 2814786.0403 | 1186636.3683 | 2814785.7896 | 1186636.5605
31 | 2814831.871 | 1186519.1522 | 2814826.586 | 1186515.816 | 2814808.5769 | 1186506.8867
32 | 2814842.6173 | 1186525.9358 | 2814831.871 | 1186519.1522
33 | 2814807.2129 | 1186506.2104 | 2814808.5769 | 1186506.8867
34 | 2814835.3527 | 1186542.3054 | 2814838.2579 | 1186535.2236 | 2814842.6173 | 1186525.9358
35 | 2814842.6173 | 1186525.9358 | 2814847.8654 | 1186516.5799 | 2814853.3264 | 1186497.6761
36 | 2814835.3527 | 1186542.3054 | 2814841.6686 | 1186542.7879 | 2814849.804 | 1186543.4471
37 | 2814835.3527 | 1186542.3054 | 2814826.5492 | 1186538.626
38 | 2814851.9484 | 1186488.6051 | 2814853.3264 | 1186497.6761
39 | 2814849.804 | 1186543.4471 | 2814846.9866 | 1186547.8734 | 2814843.4758 | 1186554.7999
40 | 2814849.804 | 1186543.4471 | 2814856.8919 | 1186543.9509
41 | 2814843.4758 | 1186554.7999 | 2814846.8515 | 1186569.9384 | 2814846.9582 | 1186570.5619
42 | 2814856.8919 | 1186543.9509 | 2814858.971 | 1186544.0987 | 2814867.6122 | 1186544.5872
43 | 2814878.7612 | 1186545.2175 | 2814880.2313 | 1186545.3006
44 | 2814918.4553 | 1186508.6312 | 2814916.8425 | 1186511.7145 | 2814913.5791 | 1186518.7723 | 2814912.9338 | 1186520.5016
45 | 2814878.7612 | 1186545.2175 | 2814871.3755 | 1186544.7999 | 2814867.6122 | 1186544.5872
46 | 2814953.1212 | 1186510.7036 | 2814957.3748 | 1186509.8997 | 2814959.8998 | 1186509.5788 | 2814967.8527 | 1186509.1525 | 2814973.0034 | 1186508.4698 | 2814978.6338 | 1186507.1926 | 2814981.9947 | 1186506.096
47 | 2814953.1212 | 1186510.7036 | 2814947.3052 | 1186508.9744
48 | 2814933.7198 | 1186504.9354 | 2814947.3052 | 1186508.9744
49 | 2814922.1825 | 1186501.5054 | 2814933.7198 | 1186504.9354
50 | 2814922.1825 | 1186501.5054 | 2814923.0067 | 1186499.8991
51 | 2814922.1825 | 1186501.5054 | 2814918.4553 | 1186508.6312
52 | 2814944.2276 | 1186438.3614 | 2814945.0105 | 1186441.9221 | 2814945.7756 | 1186447.4225 | 2814945.8057 | 1186452.752 | 2814945.0773 | 1186457.9319 | 2814943.8508 | 1186462.9381 | 2814942.0584 | 1186467.1119
53 | 2814963.7129 | 1186369.3759 | 2814942.1924 | 1186363.6083 | 2814930.1395 | 1186359.7048 | 2814924.6505 | 1186358.5288 | 2814918.6211 | 1186358.1455 | 2814913.4842 | 1186358.4393 | 2814909.4246 | 1186359.5839 | 2814904.4101 | 1186362.641 | 2814901.3926 | 1186365.6139 | 2814899.3486 | 1186369.345 | 2814898.5178 | 1186374.3988 | 2814898.8563 | 1186379.439 | 2814901.2508 | 1186384.0301 | 2814908.1182 | 1186394.4774 | 2814937.5754 | 1186426.2261 | 2814943.4869 | 1186434.9928 | 2814944.2276 | 1186438.3614
54 | 2814942.0584 | 1186467.1119 | 2814942.0584 | 1186467.1119 | 2814941.3509 | 1186468.4306
55 | 2814963.7129 | 1186369.3759 | 2814995.9614 | 1186362.7585 | 2814999.6348 | 1186361.7336 | 2815003.1638 | 1186359.8358 | 2815006.4268 | 1186356.8383 | 2815018.0407 | 1186338.9344 | 2815020.402 | 1186337.0058 | 2815023.1365 | 1186335.9582 | 2815039.0116 | 1186332.3571 | 2815047.7087 | 1186329.299 | 2815055.4541 | 1186324.4491 | 2815064.0267 | 1186317.6267 | 2815072.301 | 1186307.2005 | 2815079.9345 | 1186297.174 | 2815086.778 | 1186288.9324 | 2815113.6539 | 1186262.3998 | 2815117.9475 | 1186255.813 | 2815121.1381 | 1186234.6364 | 2815122.5856 | 1186231.9853 | 2815131.2885 | 1186230.6851 | 2815141.4061 | 1186235.0868 | 2815160.1008 | 1186236.1593 | 2815162.9544 | 1186225.8498 | 2815148.4824 | 1186199.5442 | 2815116.9848 | 1186172.0594 | 2815130.8027 | 1186172.5672 | 2815146.7279 | 1186173.5401 | 2815156.3518 | 1186174.8872 | 2815166.382 | 1186177.6839 | 2815177.145 | 1186181.9864 | 2815186.0487 | 1186186.7895 | 2815193.9867 | 1186192.3143 | 2815200.7734 | 1186197.5641 | 2815204.2262 | 1186199.7016 | 2815208.5652 | 1186200.9923 | 2815212.1416 | 1186200.5424 | 2815215.121 | 1186198.4248 | 2815216.9444 | 1186195.0975 | 2815217.4436 | 1186191.4112 | 2815216.5338 | 1186188.0302 | 2815214.3193 | 1186185.0249 | 2815205.8641 | 1186178.1578 | 2815219.5089 | 1186174.3434 | 2815213.321 | 1186166.679 | 2815233.101 | 1186169.8709 | 2815247.5398 | 1186183.2828 | 2815264.357 | 1186171.9849 | 2815274.3608 | 1186162.3443 | 2815279.6058 | 1186152.2544 | 2815282.7319 | 1186139.8968 | 2815284.6934 | 1186124.6608 | 2815285.9463 | 1186113.1925 | 2815286.4979 | 1186105.9262 | 2815285.2871 | 1186096.8945 | 2815281.112 | 1186084.6748 | 2815277.9907 | 1186077.7769 | 2815273.5104 | 1186070.2183 | 2815269.1559 | 1186063.8323 | 2815267.6201 | 1186061.0739 | 2815266.6947 | 1186058.3375 | 2815265.1016 | 1186051.8617 | 2815263.7436 | 1186046.2842 | 2815261.0727 | 1186036.21 | 2815259.4113 | 1186029.9319 | 2815258.1367 | 1186025.6479 | 2815256.4 | 1186022.5263 | 2815260.2134 | 1186019.7378 | 2815268.2459 | 1186013.9308 | 2815268.8189 | 1186013.0837 | 2815269.1978 | 1186012.1073 | 2815269.1068 | 1186011.025 | 2815263.7346 | 1186006.5936 | 2815262.7007 | 1186005.3884 | 2815262.3342 | 1186004.3184 | 2815262.4726 | 1186003.2333 | 2815263.3114 | 1186002.4291 | 2815264.5322 | 1186002.2617 | 2815265.9374 | 1186002.4902 | 2815272.2288 | 1186004.0958 | 2815274.6795 | 1186004.996 | 2815278.8368 | 1186006.8809 | 2815280.6686 | 1186007.3583 | 2815282.3015 | 1186007.4171 | 2815283.6608 | 1186006.7985 | 2815284.4911 | 1186005.805 | 2815284.7439 | 1186004.5126 | 2815284.4669 | 1186002.8674 | 2815283.1453 | 1186001.1624 | 2815250.2465 | 1185978.6323 | 2815237.637 | 1185970.2141 | 2815231.4443 | 1185965.6531 | 2815227.7063 | 1185962.3038 | 2815224.4418 | 1185958.7492 | 2815221.6411 | 1185954.6216 | 2815215.9979 | 1185943.0611 | 2815209.0281 | 1185926.5361 | 2815196.8836 | 1185902.4166 | 2815188.2695 | 1185885.7213 | 2815181.9153 | 1185879.9086 | 2815176.9719 | 1185877.7842 | 2815177.6664 | 1185872.7033 | 2815173.2083 | 1185871.3194 | 2815169.1977 | 1185854.7229 | 2815164.2554 | 1185840.4512 | 2815155.3353 | 1185823.122 | 2815170.9681 | 1185831.6153 | 2815174.8235 | 1185825.1129 | 2815175.229 | 1185820.6334 | 2815173.4004 | 1185814.5385 | 2815167.6282 | 1185801.2492 | 2815167.9083 | 1185796.2201 | 2815174.9252 | 1185790.1873 | 2815149.3358 | 1185783.4163 | 2815161.246 | 1185771.1297 | 2815178.6269 | 1185760.3302 | 2815190.7664 | 1185753.5694 | 2815184.0573 | 1185739.3454 | 2815208.8794 | 1185734.3087 | 2815230.9552 | 1185734.6797 | 2815244.3118 | 1185734.8708 | 2815247.9074 | 1185734.5328 | 2815249.2277 | 1185733.3011 | 2815249.6157 | 1185731.0124 | 2815250.5882 | 1185728.1885 | 2815252.0481 | 1185726.0495 | 2815254.2715 | 1185724.1383 | 2815257.6186 | 1185722.2119 | 2815262.496 | 1185720.6519 | 2815266.4305 | 1185719.8145 | 2815278.2674 | 1185717.6483 | 2815255.1319 | 1185710.1976 | 2815249.6182 | 1185708.4197 | 2815248.441 | 1185708.2216 | 2815247.151 | 1185708.1863
56 | 2814923.0067 | 1186499.8991 | 2814928.3024 | 1186489.5778 | 2814940.1671 | 1186470.6371 | 2814941.3509 | 1186468.4306
57 | 2815247.151 | 1185708.1863 | 2815245.91 | 1185708.4866 | 2815244.9274 | 1185709.0408 | 2815237.6012 | 1185716.2304 | 2815236.8274 | 1185716.7143 | 2815235.876 | 1185717.0361 | 2815234.8098 | 1185717.1535 | 2815233.7161 | 1185716.9695 | 2815226.6464 | 1185714.6908

## bus_geodata
| x | y | coords
0 | 2814716.6976 | 1186492.8281
1 | 2814717.8625 | 1186493.2185
2 | 2814701.1331 | 1186487.6109
3 | 2814729.2716 | 1186497.0428
4 | 2814698.4519 | 1186486.7122
5 | 2814734.7147 | 1186498.8673
6 | 2814694.1734 | 1186485.5261
7 | 2814709.5444 | 1186478.5043
8 | 2814740.9407 | 1186500.9543
9 | 2814661.5085 | 1186480.27
10 | 2814735.3414 | 1186467.7381
11 | 2814766.1021 | 1186509.4817
12 | 2814774.3737 | 1186512.877
13 | 2814744.3866 | 1186502.1093
14 | 2814781.9814 | 1186516.3396
15 | 2814807.4051 | 1186529.4233
16 | 2814760.1115 | 1186456.2644
17 | 2814764.9564 | 1186451.5437
18 | 2814819.0425 | 1186535.2625
19 | 2814666.2412 | 1186528.1789
20 | 2814902.4043 | 1186548.7172
21 | 2814889.7776 | 1186546.3462
22 | 2814908.8654 | 1186531.4035
23 | 2814849.0638 | 1186598.117
24 | 2814829.8167 | 1186620.3414
25 | 2814849.0555 | 1186582.8175
26 | 2814825.3913 | 1186595.4985
27 | 2814795.0335 | 1186631.3544
28 | 2814785.7896 | 1186636.5605
29 | 2814831.871 | 1186519.1522
30 | 2814808.5769 | 1186506.8867
31 | 2814842.6173 | 1186525.9358
32 | 2814807.2129 | 1186506.2104
33 | 2814835.3527 | 1186542.3054
34 | 2814853.3264 | 1186497.6761
35 | 2814849.804 | 1186543.4471
36 | 2814826.5492 | 1186538.626
37 | 2814851.9484 | 1186488.6051
38 | 2814843.4758 | 1186554.7999
39 | 2814856.8919 | 1186543.9509
40 | 2814846.9582 | 1186570.5619
41 | 2814819.4543 | 1186595.4689
42 | 2814880.2313 | 1186545.3006
43 | 2814912.9338 | 1186520.5016
44 | 2814867.6122 | 1186544.5872
45 | 2814981.9947 | 1186506.096
46 | 2814953.1212 | 1186510.7036
47 | 2814947.3052 | 1186508.9744
48 | 2814933.7198 | 1186504.9354
49 | 2814922.1825 | 1186501.5054
50 | 2814944.2276 | 1186438.3614
51 | 2814942.0584 | 1186467.1119
52 | 2814963.7129 | 1186369.3759
53 | 2814941.3509 | 1186468.4306
54 | 2815247.151 | 1185708.1863
55 | 2814923.0067 | 1186499.8991
56 | 2815226.6464 | 1185714.6908
57 | 2814878.7612 | 1186545.2175
58 | 2814918.4553 | 1186508.6312
59 | 2814807.2129 | 1186506.2104

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1