## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3762-35_1_3_node_60 | 0.4 | n |  | TRUE
1 | bus_LV_3762-35_1_3_node_61 | 0.4 | n |  | TRUE
2 | bus_LV_3762-35_1_3_node_78 | 0.4 | n |  | TRUE
3 | bus_LV_3762-35_1_3_node_62 | 0.4 | n |  | TRUE
4 | bus_LV_3762-35_1_3_node_63 | 0.4 | n |  | TRUE
5 | bus_LV_3762-35_1_3_node_64 | 0.4 | n |  | TRUE
6 | bus_LV_3762-35_1_3_node_65 | 0.4 | n |  | TRUE
7 | bus_LV_3762-35_1_3_node_66 | 0.4 | n |  | TRUE
8 | bus_LV_3762-35_1_3_node_68 | 0.4 | n |  | TRUE
9 | bus_LV_3762-35_1_3_node_69 | 0.4 | n |  | TRUE
10 | bus_LV_3762-35_1_3_node_70 | 0.4 | n |  | TRUE
11 | bus_LV_3762-35_1_3_node_73 | 0.4 | n |  | TRUE
12 | bus_LV_3762-35_1_3_node_80 | 0.4 | n |  | TRUE
13 | bus_LV_3762-35_1_3_node_67 | 0.4 | n |  | TRUE
14 | bus_LV_3762-35_1_3_node_91 | 0.4 | n |  | TRUE
15 | bus_LV_3762-35_1_3_node_86 | 0.4 | n |  | TRUE
16 | bus_LV_3762-35_1_3_node_92 | 0.4 | n |  | TRUE
17 | bus_LV_3762-35_1_3_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_3762-35_1_3_node_94 | 0.4 | n |  | TRUE
19 | bus_LV_3762-35_1_3_node_95 | 0.4 | n |  | TRUE
20 | bus_LV_3762-35_1_3_node_74 | 0.4 | n |  | TRUE
21 | bus_LV_3762-35_1_3_node_75 | 0.4 | n |  | TRUE
22 | bus_LV_3762-35_1_3_node_79 | 0.4 | n |  | TRUE
23 | bus_LV_3762-35_1_3_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_3762-35_1_3_node_90 | 0.4 | n |  | TRUE
25 | bus_LV_3762-35_1_3_node_81 | 0.4 | n |  | TRUE
26 | bus_LV_3762-35_1_3_node_82 | 0.4 | n |  | TRUE
27 | bus_LV_3762-35_1_3_node_84 | 0.4 | n |  | TRUE
28 | bus_LV_3762-35_1_3_node_85 | 0.4 | n |  | TRUE
29 | bus_LV_3762-35_1_3_node_87 | 0.4 | n |  | TRUE
30 | bus_LV_3762-35_1_3_node_88 | 0.4 | n |  | TRUE
31 | bus_LV_3762-35_1_3_node_89 | 0.4 | n |  | TRUE
32 | bus_LV_3762-35_1_3_node_93 | 0.4 | n |  | TRUE
33 | bus_MV_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3762-35_1_3_load_60 | 0 | 0.00078641 | 0.00019709 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3762-35_1_3_load_62 | 3 | 0.013524 | 0.0033894 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3762-35_1_3_load_63 | 4 | 0.00086497 | 0.00021678 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3762-35_1_3_load_73 | 11 | 0.0030204 | 0.00075698 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3762-35_1_3_load_80 | 12 | 0.0014112 | 0.00035368 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3762-35_1_3_load_91 | 14 | 0.00066426 | 0.00016648 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3762-35_1_3_load_86 | 15 | 0.0013599 | 0.00034083 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3762-35_1_3_load_92 | 16 | 0.00024934 | 6.2491e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3762-35_1_3_load_94 | 18 | 0.00044847 | 0.0001124 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3762-35_1_3_load_95 | 19 | 0.00075117 | 0.00018826 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3762-35_1_3_load_79 | 22 | 0.0061294 | 0.0015362 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3762-35_1_3_load_77 | 23 | 0.018586 | 0.004658 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3762-35_1_3_load_90 | 24 | 0.0010495 | 0.00026303 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3762-35_1_3_load_81 | 25 | 0.0017343 | 0.00043466 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3762-35_1_3_load_85 | 28 | 0.00058857 | 0.00014751 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3762-35_1_3_load_87 | 29 | 0.0044011 | 0.001103 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3762-35_1_3_load_89 | 31 | 0.00094246 | 0.0002362 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3762-35_1_3_load_93 | 32 | 0.00058236 | 0.00014595 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3762-35_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.053795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3762-35_1_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.67543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3762-35_1_3_line_2 | NAYY 4x150 SE | 2 | 24 | 0.026881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3762-35_1_3_line_3 | NAYY 4x150 SE | 2 | 21 | 0.062058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3762-35_1_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.0022795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3762-35_1_3_line_5 | NAYY 4x150 SE | 3 | 5 | 0.03928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3762-35_1_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.054877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3762-35_1_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.053759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3762-35_1_3_line_8 | NAYY 4x150 SE | 5 | 8 | 0.39061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3762-35_1_3_line_9 | NAYY 4x150 SE | 5 | 9 | 0.94019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3762-35_1_3_line_10 | NAYY 4x150 SE | 6 | 10 | 0.051484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3762-35_1_3_line_11 | NAYY 4x150 SE | 6 | 11 | 0.08838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3762-35_1_3_line_12 | NAYY 4x150 SE | 7 | 12 | 0.015932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3762-35_1_3_line_13 | NAYY 4x150 SE | 8 | 15 | 0.014636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3762-35_1_3_line_14 | NAYY 4x150 SE | 9 | 16 | 0.017501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3762-35_1_3_line_15 | NAYY 4x150 SE | 10 | 17 | 0.061289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3762-35_1_3_line_16 | NAYY 4x150 SE | 10 | 18 | 0.0042886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3762-35_1_3_line_17 | NAYY 4x150 SE | 10 | 13 | 0.087845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3762-35_1_3_line_18 | NAYY 4x150 SE | 11 | 20 | 0.030443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3762-35_1_3_line_19 | NAYY 4x150 SE | 13 | 14 | 0.021254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3762-35_1_3_line_20 | NAYY 4x150 SE | 15 | 27 | 0.0098599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3762-35_1_3_line_21 | NAYY 4x150 SE | 16 | 32 | 0.020016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3762-35_1_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.014563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3762-35_1_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.067198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3762-35_1_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.47858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3762-35_1_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.097603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3762-35_1_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.099052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3762-35_1_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.049697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3762-35_1_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.0098964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3762-35_1_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.014271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3762-35_1_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.027379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3762-35_1_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.022129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3762-35_1_3_trafo_78 | 0.25 MVA 20/0.4 kV | 33 | 2 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72 | x73 | y73 | x74 | y74 | x75 | y75 | x76 | y76 | x77 | y77 | x78 | y78 | x79 | y79 | x80 | y80 | x81 | y81 | x82 | y82 | x83 | y83 | x84 | y84 | x85 | y85 | x86 | y86 | x87 | y87 | x88 | y88 | x89 | y89 | x90 | y90 | x91 | y91 | x92 | y92 | x93 | y93 | x94 | y94 | x95 | y95 | x96 | y96 | x97 | y97 | x98 | y98 | x99 | y99 | x100 | y100 | x101 | y101 | x102 | y102 | x103 | y103 | x104 | y104 | x105 | y105 | x106 | y106 | x107 | y107 | x108 | y108 | x109 | y109 | x110 | y110 | x111 | y111 | x112 | y112 | x113 | y113 | x114 | y114 | x115 | y115 | x116 | y116 | x117 | y117 | x118 | y118 | x119 | y119 | x120 | y120 | x121 | y121 | x122 | y122 | x123 | y123 | x124 | y124 | x125 | y125 | x126 | y126 | x127 | y127 | x128 | y128 | x129 | y129 | x130 | y130 | x131 | y131 | x132 | y132 | x133 | y133 | x134 | y134 | x135 | y135 | x136 | y136 | x137 | y137 | x138 | y138 | x139 | y139 | x140 | y140 | x141 | y141 | x142 | y142 | x143 | y143 | x144 | y144 | x145 | y145 | x146 | y146 | x147 | y147 | x148 | y148 | x149 | y149 | x150 | y150 | x151 | y151 | x152 | y152 | x153 | y153 | x154 | y154 | x155 | y155 | x156 | y156 | x157 | y157 | x158 | y158 | x159 | y159 | x160 | y160 | x161 | y161 | x162 | y162 | x163 | y163 | x164 | y164 | x165 | y165 | x166 | y166 | x167 | y167 | x168 | y168 | x169 | y169 | x170 | y170 | x171 | y171 | x172 | y172 | x173 | y173 | x174 | y174 | x175 | y175 | x176 | y176 | x177 | y177 | x178 | y178 | x179 | y179 | x180 | y180 | x181 | y181 | x182 | y182 | x183 | y183 | x184 | y184 | x185 | y185 | x186 | y186 | x187 | y187 | x188 | y188 | x189 | y189 | x190 | y190 | x191 | y191 | x192 | y192 | x193 | y193 | x194 | y194 | x195 | y195 | x196 | y196 | x197 | y197 | x198 | y198 | x199 | y199 | x200 | y200 | x201 | y201 | x202 | y202 | x203 | y203 | x204 | y204 | x205 | y205 | x206 | y206 | x207 | y207 | x208 | y208 | x209 | y209 | x210 | y210 | x211 | y211 | x212 | y212 | x213 | y213 | x214 | y214 | x215 | y215 | x216 | y216 | x217 | y217 | x218 | y218 | x219 | y219 | x220 | y220 | x221 | y221 | x222 | y222 | x223 | y223 | x224 | y224 | x225 | y225 | x226 | y226 | x227 | y227 | x228 | y228 | x229 | y229 | x230 | y230 | x231 | y231 | x232 | y232 | x233 | y233 | x234 | y234 | x235 | y235 | x236 | y236 | x237 | y237 | x238 | y238 | x239 | y239 | x240 | y240 | x241 | y241 | x242 | y242 | x243 | y243 | x244 | y244 | x245 | y245 | x246 | y246 | x247 | y247 | x248 | y248 | x249 | y249 | x250 | y250 | x251 | y251 | x252 | y252 | x253 | y253 | x254 | y254 | x255 | y255 | x256 | y256 | x257 | y257 | x258 | y258 | x259 | y259 | x260 | y260 | x261 | y261 | x262 | y262 | x263 | y263 | x264 | y264 | x265 | y265 | x266 | y266 | x267 | y267 | x268 | y268 | x269 | y269 | x270 | y270 | x271 | y271 | x272 | y272 | x273 | y273 | x274 | y274 | x275 | y275 | x276 | y276 | x277 | y277 | x278 | y278 | x279 | y279 | x280 | y280 | x281 | y281 | x282 | y282 | x283 | y283 | x284 | y284 | x285 | y285 | x286 | y286 | x287 | y287 | x288 | y288 | x289 | y289 | x290 | y290 | x291 | y291 | x292 | y292 | x293 | y293 | x294 | y294 | x295 | y295 | x296 | y296 | x297 | y297 | x298 | y298 | x299 | y299 | x300 | y300 | x301 | y301 | x302 | y302 | x303 | y303 | x304 | y304 | x305 | y305 | x306 | y306 | x307 | y307 | x308 | y308 | x309 | y309 | x310 | y310 | x311 | y311 | x312 | y312 | x313 | y313 | x314 | y314 | x315 | y315 | x316 | y316 | x317 | y317 | x318 | y318 | x319 | y319 | x320 | y320 | x321 | y321 | x322 | y322 | x323 | y323 | x324 | y324 | x325 | y325 | x326 | y326 | x327 | y327 | x328 | y328 | x329 | y329 | x330 | y330 | x331 | y331 | x332 | y332 | x333 | y333 | x334 | y334 | x335 | y335 | x336 | y336 | x337 | y337 | x338 | y338 | x339 | y339 | x340 | y340 | x341 | y341 | x342 | y342 | x343 | y343 | x344 | y344 | x345 | y345 | x346 | y346 | x347 | y347 | x348 | y348 | x349 | y349 | x350 | y350 | x351 | y351 | x352 | y352 | x353 | y353 | x354 | y354 | x355 | y355 | x356 | y356 | x357 | y357 | x358 | y358 | x359 | y359 | x360 | y360 | x361 | y361 | x362 | y362 | x363 | y363 | x364 | y364 | x365 | y365 | x366 | y366 | x367 | y367 | x368 | y368 | x369 | y369 | x370 | y370 | x371 | y371 | x372 | y372 | x373 | y373 | x374 | y374 | x375 | y375 | x376 | y376 | x377 | y377 | x378 | y378 | x379 | y379 | x380 | y380 | x381 | y381 | x382 | y382 | x383 | y383 | x384 | y384 | x385 | y385 | x386 | y386 | x387 | y387 | x388 | y388 | x389 | y389 | x390 | y390 | x391 | y391
0 | 2816493.5519 | 1185216.5896 | 2816476.1403 | 1185202.3441 | 2816450.4628 | 1185184.4484
1 | 2816667.0726 | 1185869.353 | 2816493.5519 | 1185216.5896
2 | 2816667.0726 | 1185869.353 | 2816666.6633 | 1185879.183 | 2816674.2388 | 1185879.5017 | 2816683.6911 | 1185879.8909
3 | 2816728.1872 | 1185865.8366 | 2816683.8345 | 1185864.1197 | 2816677.4584 | 1185864.8566 | 2816672.6905 | 1185866.1302 | 2816668.7277 | 1185868.1671 | 2816667.0726 | 1185869.353
4 | 2816567.1581 | 1185988.3677 | 2816569.3791 | 1185988.8809
5 | 2816528.4058 | 1185982.7064 | 2816531.2158 | 1185983.5978 | 2816534.2953 | 1185984.2209 | 2816538.2768 | 1185984.6208 | 2816551.0534 | 1185985.4168 | 2816555.4951 | 1185985.9779 | 2816560.4842 | 1185986.8259 | 2816567.1581 | 1185988.3677
6 | 2816621.9388 | 1186004.4898 | 2816597.4904 | 1185996.2298 | 2816590.2982 | 1185993.9783 | 2816583.5489 | 1185992.1545 | 2816569.3791 | 1185988.8809
7 | 2816528.4058 | 1185982.7064 | 2816524.9774 | 1185981.1696 | 2816522.3429 | 1185979.6504 | 2816519.5827 | 1185977.3814 | 2816513.9523 | 1185971.6602 | 2816505.8799 | 1185962.4801 | 2816497.5572 | 1185951.7669 | 2816496.2962 | 1185949.8747 | 2816495.2846 | 1185948.0583 | 2816494.679 | 1185946.4234 | 2816494.3767 | 1185944.6437 | 2816494.3936 | 1185942.909
8 | 2816179.8926 | 1185841.4597 | 2816207.5483 | 1185865.8747 | 2816210.8211 | 1185868.7628 | 2816221.2207 | 1185877.6261 | 2816231.7724 | 1185886.0833 | 2816241.9204 | 1185893.2356 | 2816252.2066 | 1185899.3138 | 2816261.8754 | 1185903.6567 | 2816272.7623 | 1185907.276 | 2816286.4174 | 1185910.8285 | 2816305.942 | 1185915.1827 | 2816321.9586 | 1185918.2978 | 2816336.3132 | 1185920.6743 | 2816349.4269 | 1185922.294 | 2816363.5824 | 1185923.4175 | 2816379.4053 | 1185924.0674 | 2816399.3816 | 1185924.5893 | 2816406.8684 | 1185925.038 | 2816415.1841 | 1185926.2285 | 2816421.8785 | 1185927.8833 | 2816428.7158 | 1185930.0216 | 2816435.2792 | 1185932.7619 | 2816442.2643 | 1185936.5185 | 2816449.4667 | 1185941.2397 | 2816456.1421 | 1185946.587 | 2816462.3324 | 1185952.0392 | 2816466.3697 | 1185956.1787 | 2816473.136 | 1185955.4223 | 2816474.8263 | 1185955.5835 | 2816476.2496 | 1185955.9465 | 2816477.6106 | 1185956.5519 | 2816479.1604 | 1185957.4311 | 2816491.369 | 1185968.4405 | 2816494.8994 | 1185971.3826 | 2816498.2925 | 1185973.897 | 2816502.2009 | 1185976.3188 | 2816507.6819 | 1185979.1979 | 2816514.1292 | 1185982.1899 | 2816516.3509 | 1185983.0823 | 2816518.4042 | 1185983.7684 | 2816520.6946 | 1185984.2406 | 2816522.401 | 1185984.3802 | 2816524.2006 | 1185984.2673 | 2816525.6729 | 1185983.909 | 2816527.0363 | 1185983.391 | 2816528.4058 | 1185982.7064
9 | 2816401.7716 | 1186233.1678 | 2816392.2793 | 1186227.9745 | 2816389.1719 | 1186226.0156 | 2816386.0572 | 1186224.0453 | 2816380.9703 | 1186220.4129 | 2816376.1291 | 1186216.1109 | 2816354.4462 | 1186192.4449 | 2816349.5299 | 1186188.7409 | 2816345.1024 | 1186186.7342 | 2816339.7946 | 1186186.0418 | 2816334.6105 | 1186185.9434 | 2816328.6465 | 1186186.9181 | 2816323.7828 | 1186188.5222 | 2816324.6707 | 1186186.3629 | 2816325.8458 | 1186184.9258 | 2816328.3288 | 1186183.0244 | 2816333.951 | 1186180.5133 | 2816337.8388 | 1186179.2744 | 2816340.6768 | 1186178.5427 | 2816342.3302 | 1186178.2465 | 2816344.102 | 1186178.0547 | 2816345.9533 | 1186177.9881 | 2816347.1826 | 1186178.0103 | 2816347.7195 | 1186177.9518 | 2816348.2476 | 1186177.7151 | 2816350.6977 | 1186175.6678 | 2816350.8379 | 1186175.3837 | 2816350.9017 | 1186175.0967 | 2816350.8804 | 1186174.8401 | 2816350.8126 | 1186174.6041 | 2816350.7058 | 1186174.3888 | 2816350.5885 | 1186174.2511 | 2816350.4021 | 1186174.122 | 2816350.0941 | 1186173.9774 | 2816344.5783 | 1186172.0649 | 2816342.2776 | 1186171.2476 | 2816339.3484 | 1186170.0627 | 2816334.6289 | 1186168.1011 | 2816334.3156 | 1186167.8896 | 2816334.1489 | 1186167.6388 | 2816334.059 | 1186167.3797 | 2816334.063 | 1186167.0573 | 2816334.1879 | 1186166.7725 | 2816336.4918 | 1186164.7534 | 2816336.5994 | 1186164.5237 | 2816336.6099 | 1186164.2348 | 2816336.5199 | 1186163.9757 | 2816336.3063 | 1186163.7566 | 2816336.0199 | 1186163.6462 | 2816335.7147 | 1186163.6351 | 2816330.0712 | 1186163.776 | 2816329.4644 | 1186163.6539 | 2816329.0218 | 1186163.4266 | 2816328.7515 | 1186163.0831 | 2816328.6724 | 1186162.7354 | 2816328.7588 | 1186162.2491 | 2816328.9857 | 1186161.8902 | 2816330.2426 | 1186160.5117 | 2816331.6972 | 1186159.1627 | 2816333.0875 | 1186158.323 | 2816334.5706 | 1186157.6647 | 2816336.2344 | 1186157.291 | 2816337.6584 | 1186157.2089 | 2816342.0105 | 1186157.2884 | 2816343.169 | 1186157.1523 | 2816344.565 | 1186156.7911 | 2816346.63 | 1186156.3096 | 2816347.7906 | 1186156.1179 | 2816349.6443 | 1186155.9847 | 2816353.2984 | 1186156.139 | 2816355.116 | 1186156.1602 | 2816356.8842 | 1186156.0684 | 2816360.8889 | 1186155.1897 | 2816362.588 | 1186154.8952 | 2816364.9558 | 1186154.7027 | 2816367.4947 | 1186154.6387 | 2816369.6187 | 1186154.6376 | 2816371.6262 | 1186154.4766 | 2816373.4788 | 1186154.1654 | 2816379.5962 | 1186152.9626 | 2816382.527 | 1186152.6236 | 2816402.8139 | 1186151.2991 | 2816407.5707 | 1186150.748 | 2816409.9851 | 1186150.535 | 2816412.032 | 1186150.5533 | 2816414.9359 | 1186150.7473 | 2816416.4327 | 1186150.7681 | 2816418.7462 | 1186150.5959 | 2816420.7417 | 1186150.5568 | 2816421.6253 | 1186150.6332 | 2816422.6818 | 1186150.7827 | 2816424.0501 | 1186151.1881 | 2816425.999 | 1186151.8037 | 2816426.766 | 1186151.9315 | 2816427.4319 | 1186151.9 | 2816428.1029 | 1186151.724 | 2816428.6097 | 1186151.442 | 2816428.9137 | 1186151.0636 | 2816429.084 | 1186150.5803 | 2816429.1158 | 1186149.914 | 2816428.9069 | 1186148.9276 | 2816428.5841 | 1186147.9259 | 2816428.2495 | 1186147.2463 | 2816427.7548 | 1186146.561 | 2816427.0404 | 1186146.0346 | 2816426.2067 | 1186145.6373 | 2816425.2629 | 1186145.3251 | 2816424.316 | 1186144.8904 | 2816423.708 | 1186144.379 | 2816423.349 | 1186143.743 | 2816423.1385 | 1186143.0124 | 2816423.2703 | 1186142.3274 | 2816423.6526 | 1186141.8963 | 2816424.3955 | 1186141.6339 | 2816425.2702 | 1186141.5321 | 2816426.5461 | 1186141.7451 | 2816427.5645 | 1186142.1045 | 2816428.4829 | 1186142.6939 | 2816431.7844 | 1186145.6277 | 2816432.4908 | 1186146.1649 | 2816433.157 | 1186146.545 | 2816433.9253 | 1186146.8508 | 2816434.9915 | 1186147.1564 | 2816435.7931 | 1186147.3856 | 2816436.6388 | 1186147.6609 | 2816437.4058 | 1186148.0001 | 2816438.1363 | 1186148.5049 | 2816438.803 | 1186149.0852 | 2816439.3238 | 1186149.4711 | 2816440.0326 | 1186149.7303 | 2816440.8378 | 1186149.8596 | 2816441.7145 | 1186149.7022 | 2816442.7735 | 1186149.1509 | 2816444.1233 | 1186148.1652 | 2816445.963 | 1186146.5186 | 2816449.6212 | 1186143.1802 | 2816454.0677 | 1186138.5354 | 2816454.7403 | 1186137.6809 | 2816455.2255 | 1186136.7307 | 2816455.2966 | 1186135.8211 | 2816454.9649 | 1186135.0637 | 2816454.4219 | 1186134.4434 | 2816453.4954 | 1186134.0762 | 2816452.5039 | 1186134.0292 | 2816451.4794 | 1186134.2591 | 2816448.0257 | 1186135.5359 | 2816446.4908 | 1186135.9365 | 2816444.9543 | 1186136.1701 | 2816443.4877 | 1186136.1616 | 2816442.1576 | 1186135.9689 | 2816440.8055 | 1186135.5418 | 2816439.5075 | 1186134.883 | 2816438.2827 | 1186134.1045 | 2816437.1502 | 1186133.0958 | 2816436.1559 | 1186132.0698 | 2816435.4077 | 1186130.9971 | 2816434.5636 | 1186129.6205 | 2816433.9652 | 1186128.6311 | 2816433.3785 | 1186127.9536 | 2816432.7452 | 1186127.2966 | 2816431.7999 | 1186126.6061 | 2816430.681 | 1186126.0651 | 2816429.708 | 1186125.507 | 2816428.9726 | 1186124.9242 | 2816428.4891 | 1186124.3506 | 2816428.263 | 1186123.6304 | 2816428.3116 | 1186122.9203 | 2816428.6132 | 1186122.3972 | 2816429.1747 | 1186122.0838 | 2816429.9923 | 1186122.08 | 2816430.8582 | 1186122.2225 | 2816433.0497 | 1186122.68 | 2816434.0384 | 1186122.8047 | 2816435.0163 | 1186122.8067 | 2816435.8688 | 1186122.4705 | 2816436.3572 | 1186121.8541 | 2816436.4857 | 1186121.0466 | 2816436.2805 | 1186120.3829 | 2816435.944 | 1186119.7589 | 2816435.3336 | 1186118.8914 | 2816434.9826 | 1186118.0333 | 2816434.9549 | 1186117.3204 | 2816435.1685 | 1186116.4827 | 2816435.6079 | 1186115.9535 | 2816436.2862 | 1186115.5775 | 2816437.0906 | 1186115.3063 | 2816438.0588 | 1186115.1522 | 2816439.1965 | 1186115.1711 | 2816445.5947 | 1186115.7139 | 2816447.1971 | 1186115.7718 | 2816448.6838 | 1186115.6476 | 2816450.2042 | 1186115.4356 | 2816451.411 | 1186115.0232 | 2816452.4138 | 1186114.5477 | 2816453.2122 | 1186114.0204 | 2816453.8427 | 1186113.487 | 2816454.3246 | 1186112.837 | 2816454.6532 | 1186112.2037 | 2816454.819 | 1186111.6312 | 2816455.0508 | 1186110.7163 | 2816455.1877 | 1186109.4642 | 2816455.0733 | 1186108.6147 | 2816454.4456 | 1186108.0135 | 2816453.5195 | 1186107.6352 | 2816452.6477 | 1186107.4479 | 2816451.6389 | 1186107.2446 | 2816450.2321 | 1186106.8489 | 2816448.8329 | 1186106.2421 | 2816447.1173 | 1186105.3012 | 2816445.9005 | 1186104.5119 | 2816444.8226 | 1186103.6831 | 2816443.548 | 1186102.5914 | 2816442.6725 | 1186101.87 | 2816441.8521 | 1186100.8948 | 2816441.0272 | 1186099.6191 | 2816440.3746 | 1186098.4386 | 2816439.3345 | 1186096.3542 | 2816438.8879 | 1186095.6038 | 2816437.7591 | 1186094.4951 | 2816437.0161 | 1186093.7007 | 2816435.3917 | 1186092.5629 | 2816433.3383 | 1186091.2427 | 2816432.3761 | 1186090.5961 | 2816431.6428 | 1186089.9578 | 2816430.9139 | 1186089.1972 | 2816430.3698 | 1186088.3989 | 2816429.7015 | 1186087.4403 | 2816429.059 | 1186086.6161 | 2816428.3955 | 1186085.947 | 2816427.5333 | 1186085.2817 | 2816424.6037 | 1186083.4738 | 2816422.011 | 1186082.2788 | 2816418.4509 | 1186080.1588 | 2816416.4979 | 1186078.809 | 2816413.8514 | 1186076.9891 | 2816412.5301 | 1186075.9179 | 2816410.4933 | 1186073.9309 | 2816408.772 | 1186072.0888 | 2816406.5809 | 1186069.5067 | 2816404.7312 | 1186066.9925 | 2816402.914 | 1186064.4239 | 2816402.4023 | 1186063.3597 | 2816401.4401 | 1186061.2336 | 2816401.0345 | 1186060.4069 | 2816400.5646 | 1186059.6669 | 2816400.0783 | 1186058.9596 | 2816399.659 | 1186058.2992 | 2816399.3317 | 1186057.6311 | 2816399.1297 | 1186056.8785 | 2816399.1044 | 1186056.0989 | 2816399.251 | 1186054.7915 | 2816399.3683 | 1186053.8725 | 2816399.4932 | 1186053.1651 | 2816399.6912 | 1186052.5493 | 2816399.9687 | 1186052.0587 | 2816400.4181 | 1186051.4631 | 2816400.9783 | 1186050.9717 | 2816401.9779 | 1186050.3738 | 2816402.2683 | 1186050.1618 | 2816402.5618 | 1186049.8609 | 2816402.7526 | 1186049.4451 | 2816402.8442 | 1186049.0257 | 2816402.8466 | 1186048.5363 | 2816402.8257 | 1186048.0572 | 2816402.2848 | 1186043.9996 | 2816402.0153 | 1186041.5204 | 2816401.9053 | 1186039.4918 | 2816401.9471 | 1186037.7024 | 2816402.3266 | 1186032.2764 | 2816402.2298 | 1186030.5153 | 2816401.9712 | 1186028.5815 | 2816401.572 | 1186026.7316 | 2816400.9311 | 1186024.8062 | 2816400.0524 | 1186022.9056 | 2816399.1652 | 1186021.4497 | 2816397.9966 | 1186020.1726 | 2816396.7733 | 1186019.3497 | 2816395.4902 | 1186018.7026 | 2816392.7079 | 1186017.6788 | 2816389.3148 | 1186016.6439 | 2816387.3546 | 1186016.1281 | 2816385.1899 | 1186015.7717 | 2816383.6872 | 1186015.7063 | 2816381.8651 | 1186015.8073 | 2816378.0904 | 1186016.2382 | 2816376.7507 | 1186016.1007 | 2816375.7439 | 1186015.6305 | 2816375.1515 | 1186014.6858 | 2816375.0395 | 1186013.5582 | 2816375.3435 | 1186012.5458 | 2816376.266 | 1186011.5446 | 2816378.0748 | 1186010.3307 | 2816388.4875 | 1186004.0216 | 2816390.8947 | 1186002.9517 | 2816393.0023 | 1186002.3494 | 2816394.7067 | 1186002.1217 | 2816397.0975 | 1186002.1414 | 2816399.6609 | 1186002.4566 | 2816401.5769 | 1186002.9263 | 2816403.5191 | 1186003.5194 | 2816407.903 | 1186005.4688 | 2816413.582 | 1186008.5775 | 2816418.8743 | 1186012.4509 | 2816421.7453 | 1186015.0354 | 2816423.6091 | 1186017.3721 | 2816425.5508 | 1186020.3012 | 2816429.8097 | 1186027.3966 | 2816432.9667 | 1186033.4844 | 2816434.1803 | 1186035.4193 | 2816435.0574 | 1186036.519 | 2816435.9063 | 1186037.1281 | 2816436.9497 | 1186037.4328 | 2816438.1424 | 1186037.4092 | 2816439.0649 | 1186037.0421 | 2816439.8942 | 1186036.2934 | 2816440.5549 | 1186035.1381 | 2816440.7778 | 1186033.8336 | 2816440.7878 | 1186032.499 | 2816440.4324 | 1186031.1291 | 2816438.6887 | 1186026.9501 | 2816434.0736 | 1186015.5479 | 2816431.4721 | 1186009.7361 | 2816426.316 | 1186000.6171 | 2816422.0595 | 1185993.6664 | 2816418.4094 | 1185986.8488 | 2816415.9681 | 1185982.3109 | 2816414.2026 | 1185980.0001 | 2816410.8043 | 1185976.1506 | 2816407.079 | 1185973.1014 | 2816404.8337 | 1185971.385 | 2816403.9526 | 1185970.1852 | 2816403.4542 | 1185968.9657 | 2816403.3441 | 1185967.1485 | 2816404.0743 | 1185965.3395 | 2816405.5421 | 1185964.4692 | 2816407.0024 | 1185964.4442 | 2816408.4092 | 1185964.6285 | 2816412.7236 | 1185965.7523 | 2816426.6998 | 1185970.1399 | 2816431.4921 | 1185972.2043 | 2816435.1519 | 1185974.5281 | 2816442.5056 | 1185980.7676 | 2816449.179 | 1185987.65 | 2816453.0516 | 1185991.0605 | 2816456.3451 | 1185993.371 | 2816462.4129 | 1185997.7731 | 2816462.3732 | 1185993.8004 | 2816461.8439 | 1185990.0547 | 2816461.4086 | 1185987.9365 | 2816460.3239 | 1185985.3943 | 2816459.0091 | 1185983.5113 | 2816456.8927 | 1185981.1877 | 2816453.0325 | 1185977.2215 | 2816448.3784 | 1185972.8149 | 2816442.3692 | 1185967.6363 | 2816437.8014 | 1185963.5888 | 2816432.6911 | 1185958.9099 | 2816429.4766 | 1185955.6789 | 2816428.6216 | 1185953.9683 | 2816428.4076 | 1185952.7035 | 2816428.7562 | 1185951.5148 | 2816429.659 | 1185950.6352 | 2816430.6064 | 1185950.002 | 2816432.5614 | 1185949.8169 | 2816435.1988 | 1185950.6242 | 2816446.375 | 1185956.379 | 2816447.826 | 1185957.0321 | 2816449.177 | 1185957.4926 | 2816450.7681 | 1185957.8616 | 2816452.4119 | 1185958.0434 | 2816454.2303 | 1185958.0424 | 2816455.9548 | 1185957.8934 | 2816466.3697 | 1185956.1787 | 2816473.136 | 1185955.4223 | 2816474.8263 | 1185955.5835 | 2816476.2496 | 1185955.9465 | 2816477.6106 | 1185956.5519 | 2816479.1604 | 1185957.4311 | 2816491.369 | 1185968.4405 | 2816494.8994 | 1185971.3826 | 2816498.2925 | 1185973.897 | 2816502.2009 | 1185976.3188 | 2816507.6819 | 1185979.1979 | 2816514.1292 | 1185982.1899 | 2816516.3509 | 1185983.0823 | 2816518.4042 | 1185983.7684 | 2816520.6946 | 1185984.2406 | 2816522.401 | 1185984.3802 | 2816524.2006 | 1185984.2673 | 2816525.6729 | 1185983.909 | 2816527.0363 | 1185983.391 | 2816528.4058 | 1185982.7064
10 | 2816621.9388 | 1186004.4898 | 2816620.8541 | 1186005.9634 | 2816620.2945 | 1186007.7008 | 2816614.4195 | 1186018.2451 | 2816614.3017 | 1186021.9229 | 2816614.2454 | 1186023.4783 | 2816614.0902 | 1186027.5552 | 2816613.892 | 1186033.0322 | 2816623.5597 | 1186033.382 | 2816624.5059 | 1186033.4163 | 2816626.4657 | 1186033.3092 | 2816629.1468 | 1186032.9057 | 2816632.3946 | 1186032.2557 | 2816634.6837 | 1186031.7044
11 | 2816621.9388 | 1186004.4898 | 2816623.3959 | 1186003.0742 | 2816625.6694 | 1186001.8994 | 2816631.0177 | 1186000.0017 | 2816637.3912 | 1185997.4291 | 2816642.5363 | 1185994.6007 | 2816647.2761 | 1185990.9344 | 2816651.641 | 1185986.4426 | 2816659.4619 | 1185977.0255 | 2816673.2497 | 1185961.2834 | 2816677.9307 | 1185956.5027 | 2816683.5108 | 1185951.5765 | 2816688.1059 | 1185948.0169
12 | 2816494.3936 | 1185942.909 | 2816494.7779 | 1185941.3655 | 2816495.4294 | 1185939.8317 | 2816496.4712 | 1185938.49 | 2816497.8792 | 1185937.1616 | 2816500.8275 | 1185935.0768 | 2816505.5527 | 1185932.4028
13 | 2816179.8926 | 1185841.4597 | 2816168.916 | 1185831.7782
14 | 2816401.7716 | 1186233.1678 | 2816391.5528 | 1186218.9597
15 | 2816682.234 | 1186009.8537 | 2816677.8776 | 1186013.2668 | 2816670.3818 | 1186019.1916 | 2816664.9576 | 1186023.4004 | 2816658.7952 | 1186027.9495 | 2816656.71 | 1186029.1978 | 2816653.7096 | 1186030.6132 | 2816650.7939 | 1186031.7981 | 2816646.679 | 1186033.3956 | 2816646.989 | 1186034.7528 | 2816644.9782 | 1186035.214 | 2816643.6769 | 1186029.5826 | 2816640.0323 | 1186030.4296 | 2816634.6837 | 1186031.7044
16 | 2816634.6837 | 1186031.7044 | 2816634.9375 | 1186032.7148 | 2816635.0583 | 1186033.1752 | 2816635.7535 | 1186035.8574
17 | 2816555.0176 | 1186012.6917 | 2816557.5697 | 1186013.5294 | 2816560.2203 | 1186014.6042 | 2816565.0635 | 1186016.7373 | 2816569.7148 | 1186019.1081 | 2816576.2411 | 1186022.8706 | 2816581.7136 | 1186026.6172 | 2816587.0571 | 1186030.5482 | 2816590.7618 | 1186033.53 | 2816591.3578 | 1186034.1634 | 2816591.7842 | 1186035.0465 | 2816597.0404 | 1186034.2133 | 2816600.2536 | 1186033.8846 | 2816603.7676 | 1186033.6892 | 2816606.8921 | 1186033.7021 | 2816610.1912 | 1186033.955 | 2816613.7401 | 1186034.2726 | 2816616.3116 | 1186034.3656 | 2816620.1878 | 1186034.5059 | 2816624.4608 | 1186034.6605 | 2816624.5059 | 1186033.4163 | 2816626.4657 | 1186033.3092 | 2816629.1468 | 1186032.9057 | 2816632.3946 | 1186032.2557 | 2816634.6837 | 1186031.7044
18 | 2816713.3501 | 1185931.0204 | 2816706.8294 | 1185935.1227 | 2816698.7198 | 1185940.4802 | 2816689.9725 | 1185946.5709 | 2816688.1059 | 1185948.0169
19 | 2816555.0176 | 1186012.6917 | 2816554.2556 | 1186018.1261 | 2816553.1409 | 1186026.1285 | 2816550.8225 | 1186025.7998 | 2816550.0873 | 1186031.0941
20 | 2816161.5214 | 1185825.256 | 2816168.916 | 1185831.7782
21 | 2816379.8684 | 1186202.7081 | 2816387.3391 | 1186213.101 | 2816391.5528 | 1186218.9597
22 | 2816682.234 | 1186009.8537 | 2816693.3195 | 1186000.3768
23 | 2816713.3501 | 1185931.0204 | 2816714.8622 | 1185929.1396 | 2816715.6643 | 1185927.4555 | 2816716.2432 | 1185925.6076 | 2816717.4355 | 1185919.6883 | 2816718.3293 | 1185915.4713 | 2816725.6413 | 1185881.0734 | 2816726.4512 | 1185877.2761 | 2816727.525 | 1185871.675 | 2816728.1872 | 1185865.8366
24 | 2816728.1872 | 1185865.8366 | 2816728.2581 | 1185862.6132 | 2816727.751 | 1185859.736 | 2816726.6158 | 1185856.6914 | 2816725.2653 | 1185854.7403 | 2816723.1361 | 1185852.7721 | 2816720.8329 | 1185851.1758 | 2816717.3048 | 1185849.6465 | 2816712.6775 | 1185848.7225 | 2816707.6107 | 1185848.539 | 2816702.3729 | 1185848.8611 | 2816697.0989 | 1185849.7603 | 2816661.461 | 1185857.8367 | 2816647.8867 | 1185860.9163 | 2816645.9449 | 1185861.1574 | 2816644.028 | 1185861.1326 | 2816642.2525 | 1185860.5788 | 2816640.9634 | 1185859.6756 | 2816639.8903 | 1185858.2908 | 2816639.3121 | 1185856.7459 | 2816639.211 | 1185855.107 | 2816639.5974 | 1185853.508 | 2816640.428 | 1185852.0919 | 2816641.6296 | 1185850.9785 | 2816643.2052 | 1185850.09 | 2816645.3543 | 1185849.1888 | 2816657.1518 | 1185845.5889 | 2816670.1844 | 1185840.799 | 2816681.3957 | 1185836.0877 | 2816688.4919 | 1185833.1854 | 2816693.258 | 1185830.9106 | 2816697.4309 | 1185828.3474 | 2816698.9177 | 1185827.1665 | 2816699.9805 | 1185825.8812 | 2816700.634 | 1185824.2919 | 2816700.761 | 1185822.6835 | 2816700.4574 | 1185821.1485 | 2816699.592 | 1185819.938 | 2816698.1683 | 1185818.952 | 2816696.4129 | 1185818.4769 | 2816694.7221 | 1185818.5381 | 2816693.1815 | 1185819.0941 | 2816691.8822 | 1185820.1595 | 2816689.1583 | 1185823.2201 | 2816685.8356 | 1185825.9365 | 2816681.8206 | 1185827.9381 | 2816677.2188 | 1185829.0507 | 2816670.793 | 1185829.6858 | 2816654.3307 | 1185831.07 | 2816631.919 | 1185832.3836 | 2816629.3491 | 1185832.2461 | 2816627.0442 | 1185831.7511 | 2816625.0784 | 1185830.7566 | 2816623.9861 | 1185829.0596 | 2816623.8058 | 1185826.8617 | 2816624.5344 | 1185825.097 | 2816626.1759 | 1185823.6547 | 2816628.588 | 1185822.8743 | 2816631.4001 | 1185822.4421 | 2816651.007 | 1185821.3608 | 2816655.5388 | 1185820.7016 | 2816659.7285 | 1185819.574 | 2816663.1279 | 1185817.9061 | 2816666.5449 | 1185815.3266 | 2816670.7184 | 1185810.4274 | 2816676.2112 | 1185803.4845 | 2816679.7552 | 1185799.9308 | 2816683.4506 | 1185797.0499 | 2816687.9934 | 1185794.6113 | 2816692.4446 | 1185793.4376 | 2816694.719 | 1185793.2974 | 2816697.4909 | 1185793.1308 | 2816703.5967 | 1185793.7412 | 2816710.21 | 1185795.1042 | 2816717.2607 | 1185797.0503 | 2816725.1724 | 1185799.9064 | 2816772.2085 | 1185825.0146 | 2816779.0522 | 1185828.2437 | 2816784.3614 | 1185830.1714 | 2816789.8125 | 1185830.925 | 2816808.8104 | 1185831.2571 | 2816816.062 | 1185831.8757 | 2816819.0564 | 1185832.3456
25 | 2816728.1872 | 1185865.8366 | 2816746.0966 | 1185866.6853 | 2816750.8939 | 1185867.1372 | 2816755.1955 | 1185867.9826 | 2816759.222 | 1185869.252 | 2816773.623 | 1185875.4134 | 2816776.4121 | 1185876.4599 | 2816779.1309 | 1185877.1257 | 2816791.1792 | 1185879.0527 | 2816823.3113 | 1185884.5943
26 | 2816123.8037 | 1185792.769 | 2816108.3661 | 1185812.5464 | 2816106.8436 | 1185813.6594 | 2816105.1553 | 1185814.2882 | 2816103.4549 | 1185814.6161 | 2816101.7601 | 1185814.5772 | 2816099.0198 | 1185813.8664 | 2816096.0221 | 1185812.4567 | 2816093.5911 | 1185811.0118 | 2816084.8444 | 1185804.8226 | 2816077.9886 | 1185800.4369 | 2816071.1658 | 1185796.4085 | 2816051.8519 | 1185785.5662 | 2816044.0943 | 1185781.1008
27 | 2816123.8037 | 1185792.769 | 2816158.6409 | 1185822.7158 | 2816161.5214 | 1185825.256
28 | 2816123.8037 | 1185792.769 | 2816116.153 | 1185786.4916
29 | 2816105.1201 | 1185777.439 | 2816116.153 | 1185786.4916
30 | 2816083.9537 | 1185760.0718 | 2816105.1201 | 1185777.439
31 | 2816083.9537 | 1185760.0718 | 2816069.8947 | 1185777.1603

## bus_geodata
| x | y | coords
0 | 2816450.4628 | 1185184.4484
1 | 2816493.5519 | 1185216.5896
2 | 2816667.0726 | 1185869.353
3 | 2816567.1581 | 1185988.3677
4 | 2816569.3791 | 1185988.8809
5 | 2816528.4058 | 1185982.7064
6 | 2816621.9388 | 1186004.4898
7 | 2816494.3936 | 1185942.909
8 | 2816179.8926 | 1185841.4597
9 | 2816401.7716 | 1186233.1678
10 | 2816634.6837 | 1186031.7044
11 | 2816688.1059 | 1185948.0169
12 | 2816505.5527 | 1185932.4028
13 | 2816555.0176 | 1186012.6917
14 | 2816550.0873 | 1186031.0941
15 | 2816168.916 | 1185831.7782
16 | 2816391.5528 | 1186218.9597
17 | 2816682.234 | 1186009.8537
18 | 2816635.7535 | 1186035.8574
19 | 2816693.3195 | 1186000.3768
20 | 2816713.3501 | 1185931.0204
21 | 2816728.1872 | 1185865.8366
22 | 2816819.0564 | 1185832.3456
23 | 2816823.3113 | 1185884.5943
24 | 2816683.6911 | 1185879.8909
25 | 2816044.0943 | 1185781.1008
26 | 2816123.8037 | 1185792.769
27 | 2816161.5214 | 1185825.256
28 | 2816116.153 | 1185786.4916
29 | 2816105.1201 | 1185777.439
30 | 2816083.9537 | 1185760.0718
31 | 2816069.8947 | 1185777.1603
32 | 2816379.8684 | 1186202.7081
33 | 2816667.0726 | 1185869.353

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1