## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3762-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3762-3_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3762-3_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3762-3_0_6_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_3762-3_0_6_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_3762-3_0_6_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_3762-3_0_6_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_3762-3_0_6_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_3762-3_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3762-3_0_6_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_3762-3_0_6_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_3762-3_0_6_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_3762-3_0_6_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_3762-3_0_6_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_3762-3_0_6_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_3762-3_0_6_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_3762-3_0_6_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_3762-3_0_6_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_3762-3_0_6_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_3762-3_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_3762-3_0_6_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_3762-3_0_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_3762-3_0_6_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_3762-3_0_6_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_3762-3_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3762-3_0_6_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3762-3_0_6_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_3762-3_0_6_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_3762-3_0_6_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_3762-3_0_6_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_3762-3_0_6_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_3762-3_0_6_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_3762-3_0_6_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_3762-3_0_6_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_3762-3_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_3762-3_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_3762-3_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_3762-3_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_3762-3_0_6_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_3762-3_0_6_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_3762-3_0_6_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_3762-3_0_6_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_3762-3_0_6_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_3762-3_0_6_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_3762-3_0_6_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_3762-3_0_6_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_3762-3_0_6_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_3762-3_0_6_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_3762-3_0_6_node_46 | 0.4 | n |  | TRUE
49 | bus_MV_170_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3762-3_0_6_load_0 | 0 | 0.0064056 | 0.0016054 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3762-3_0_6_load_7 | 4 | 0.0046755 | 0.0011718 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3762-3_0_6_load_47 | 6 | 0.0039723 | 0.00099555 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3762-3_0_6_load_9 | 10 | 0.0038267 | 0.00095906 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3762-3_0_6_load_12 | 11 | 0.00569 | 0.001426 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3762-3_0_6_load_31 | 12 | 0.010921 | 0.0027371 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3762-3_0_6_load_29 | 13 | 0.0092876 | 0.0023277 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3762-3_0_6_load_27 | 14 | 0.0018349 | 0.00045986 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3762-3_0_6_load_51 | 16 | 0.0064232 | 0.0016098 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3762-3_0_6_load_16 | 17 | 0.024897 | 0.0062398 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3762-3_0_6_load_8 | 18 | 0.0020134 | 0.0005046 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3762-3_0_6_load_50 | 20 | 0.00057371 | 0.00014378 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3762-3_0_6_load_10 | 22 | 0.0060592 | 0.0015186 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3762-3_0_6_load_17 | 23 | 0.0031607 | 0.00079214 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3762-3_0_6_load_18 | 24 | 0.028225 | 0.0070739 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3762-3_0_6_load_19 | 25 | 0.008444 | 0.0021163 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3762-3_0_6_load_21 | 27 | 0.0025114 | 0.00062941 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3762-3_0_6_load_39 | 29 | 0.0048024 | 0.0012036 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3762-3_0_6_load_32 | 30 | 0.0082147 | 0.0020588 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3762-3_0_6_load_40 | 32 | 0.00076773 | 0.00019241 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3762-3_0_6_load_22 | 34 | 0.012557 | 0.0031472 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3762-3_0_6_load_23 | 35 | 0.010043 | 0.0025171 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3762-3_0_6_load_41 | 40 | 0.023593 | 0.0059128 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3762-3_0_6_load_49 | 41 | 0.0010361 | 0.00025967 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3762-3_0_6_load_48 | 42 | 0.0034443 | 0.00086322 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3762-3_0_6_load_44 | 43 | 0.0018301 | 0.00045866 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3762-3_0_6_load_42 | 44 | 0.0034701 | 0.00086969 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3762-3_0_6_load_28 | 45 | 0.011426 | 0.0028636 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3762-3_0_6_load_43 | 47 | 0.018454 | 0.0046249 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3762-3_0_6_load_46 | 48 | 0.010435 | 0.0026152 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3762-3_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.055154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3762-3_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.25433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3762-3_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.11082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_3762-3_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3762-3_0_6_line_4 | NAYY 4x150 SE | 3 | 11 | 0.18179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3762-3_0_6_line_5 | NAYY 4x150 SE | 3 | 8 | 0.087946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_3762-3_0_6_line_6 | NAYY 4x150 SE | 5 | 6 | 0.016065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_3762-3_0_6_line_7 | NAYY 4x150 SE | 5 | 7 | 0.43639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_3762-3_0_6_line_8 | NAYY 4x150 SE | 6 | 33 | 0.02379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3762-3_0_6_line_9 | NAYY 4x150 SE | 7 | 9 | 0.051407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_3762-3_0_6_line_10 | NAYY 4x150 SE | 7 | 16 | 0.021635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3762-3_0_6_line_11 | NAYY 4x150 SE | 8 | 9 | 0.11681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3762-3_0_6_line_12 | NAYY 4x150 SE | 8 | 10 | 0.087755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3762-3_0_6_line_13 | NAYY 4x150 SE | 9 | 17 | 0.026616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3762-3_0_6_line_14 | NAYY 4x150 SE | 10 | 18 | 0.042376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3762-3_0_6_line_15 | NAYY 4x150 SE | 11 | 21 | 0.033546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3762-3_0_6_line_16 | NAYY 4x150 SE | 12 | 13 | 0.025621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3762-3_0_6_line_17 | NAYY 4x150 SE | 13 | 45 | 0.017321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3762-3_0_6_line_18 | NAYY 4x150 SE | 14 | 15 | 0.051253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3762-3_0_6_line_19 | NAYY 4x150 SE | 15 | 37 | 0.025444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3762-3_0_6_line_20 | NAYY 4x150 SE | 15 | 34 | 0.027537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3762-3_0_6_line_21 | NAYY 4x150 SE | 19 | 20 | 0.058961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3762-3_0_6_line_22 | NAYY 4x150 SE | 19 | 21 | 0.052198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3762-3_0_6_line_23 | NAYY 4x150 SE | 21 | 22 | 0.025478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3762-3_0_6_line_24 | NAYY 4x150 SE | 23 | 24 | 0.034441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_3762-3_0_6_line_25 | NAYY 4x150 SE | 23 | 25 | 0.028807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_3762-3_0_6_line_26 | NAYY 4x150 SE | 24 | 26 | 0.037534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_3762-3_0_6_line_27 | NAYY 4x150 SE | 25 | 27 | 0.015286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_3762-3_0_6_line_28 | NAYY 4x150 SE | 26 | 28 | 0.34624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_3762-3_0_6_line_29 | NAYY 4x150 SE | 27 | 29 | 0.013867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_3762-3_0_6_line_30 | NAYY 4x150 SE | 28 | 30 | 0.087419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3762-3_0_6_line_31 | NAYY 4x150 SE | 29 | 31 | 0.020388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_3762-3_0_6_line_32 | NAYY 4x150 SE | 30 | 46 | 0.0085749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3762-3_0_6_line_33 | NAYY 4x150 SE | 31 | 32 | 0.018334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_3762-3_0_6_line_34 | NAYY 4x150 SE | 31 | 33 | 0.11117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_3762-3_0_6_line_35 | NAYY 4x150 SE | 32 | 47 | 0.010299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3762-3_0_6_line_36 | NAYY 4x150 SE | 34 | 35 | 0.0066457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3762-3_0_6_line_37 | NAYY 4x150 SE | 35 | 36 | 0.024845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3762-3_0_6_line_38 | NAYY 4x150 SE | 36 | 38 | 0.004774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3762-3_0_6_line_39 | NAYY 4x150 SE | 36 | 39 | 0.36672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3762-3_0_6_line_40 | NAYY 4x150 SE | 37 | 40 | 0.070219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3762-3_0_6_line_41 | NAYY 4x150 SE | 38 | 41 | 0.022643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3762-3_0_6_line_42 | NAYY 4x150 SE | 38 | 42 | 0.11866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3762-3_0_6_line_43 | NAYY 4x150 SE | 39 | 43 | 0.070451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3762-3_0_6_line_44 | NAYY 4x150 SE | 40 | 44 | 0.053355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3762-3_0_6_line_45 | NAYY 4x150 SE | 41 | 48 | 0.041454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3762-3_0_6_line_46 | NAYY 4x150 SE | 44 | 47 | 0.084429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3762-3_0_6_line_47 | NAYY 4x150 SE | 45 | 46 | 0.043674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3762-3_0_6_trafo_19 | 0.25 MVA 20/0.4 kV | 49 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2817389.8932 | 1186430.3637 | 2817370.4845 | 1186428.9803 | 2817366.4341 | 1186427.12 | 2817338.3984 | 1186413.3402
1 | 2817109.2106 | 1186305.6418 | 2817136.6723 | 1186312.9232 | 2817153.1314 | 1186317.2802 | 2817158.2132 | 1186318.933 | 2817162.897 | 1186321.0274 | 2817258.8581 | 1186370.8641 | 2817282.7345 | 1186385.9808 | 2817338.3984 | 1186413.3402
2 | 2817315.3903 | 1186361.7144 | 2817320.5264 | 1186365.0268 | 2817326.404 | 1186367.0646 | 2817331.6922 | 1186368.0798 | 2817336.51 | 1186367.9543 | 2817341.2894 | 1186366.7819 | 2817341.555 | 1186372.932 | 2817343.045 | 1186379.6606 | 2817344.9098 | 1186384.901 | 2817348.1717 | 1186390.804 | 2817352.678 | 1186396.73 | 2817357.9363 | 1186401.5152 | 2817363.4697 | 1186405.6652 | 2817370.6347 | 1186410.1192 | 2817374.5263 | 1186412.7746 | 2817377.6304 | 1186415.6572 | 2817389.8932 | 1186430.3637
3 | 2817109.2106 | 1186305.6418 | 2817099.4768 | 1186301.2285
4 | 2817315.3903 | 1186361.7144 | 2817304.6831 | 1186361.1811 | 2817300.1445 | 1186360.5602 | 2817295.8004 | 1186359.2122 | 2817266.3387 | 1186347.0519 | 2817178.6238 | 1186306.4025 | 2817167.7941 | 1186301.8714 | 2817159.2329 | 1186297.9899 | 2817152.2916 | 1186294.3119 | 2817148.5568 | 1186291.9863
5 | 2817315.3903 | 1186361.7144 | 2817320.5264 | 1186365.0268 | 2817326.404 | 1186367.0646 | 2817331.6922 | 1186368.0798 | 2817336.51 | 1186367.9543 | 2817341.2894 | 1186366.7819 | 2817341.8045 | 1186360.382 | 2817343.1275 | 1186354.0336 | 2817345.295 | 1186346.103 | 2817348.4448 | 1186337.2068 | 2817359.4938 | 1186309.3973
6 | 2817633.6428 | 1185783.8884 | 2817634.0918 | 1185774.2712 | 2817636.9248 | 1185772.4275 | 2817637.0359 | 1185769.3724
7 | 2817633.6428 | 1185783.8884 | 2817417.1686 | 1186162.8071
8 | 2817619.2246 | 1185755.0978 | 2817630.2575 | 1185766.8789 | 2817635.0539 | 1185767.3536 | 2817637.0359 | 1185769.3724
9 | 2817417.1686 | 1186162.8071 | 2817406.7301 | 1186190.2049 | 2817400.7677 | 1186205.8513 | 2817395.7458 | 1186204.0225
10 | 2817417.1686 | 1186162.8071 | 2817396.4115 | 1186156.7053
11 | 2817359.4938 | 1186309.3973 | 2817386.1935 | 1186241.7312 | 2817395.9687 | 1186217.6577 | 2817400.7677 | 1186205.8513 | 2817395.7458 | 1186204.0225
12 | 2817359.4938 | 1186309.3973 | 2817349.9219 | 1186305.7904 | 2817322.0802 | 1186297.4041 | 2817312.1496 | 1186293.9955 | 2817288.0694 | 1186285.746 | 2817276.312 | 1186281.5168
13 | 2817395.7458 | 1186204.0225 | 2817393.1765 | 1186198.6119 | 2817372.5917 | 1186197.2965
14 | 2817238.4295 | 1186262.6857 | 2817246.9212 | 1186267.8109 | 2817261.5917 | 1186275.3516 | 2817274.5171 | 1186280.8711 | 2817276.312 | 1186281.5168
15 | 2817119.9529 | 1186274.4613 | 2817138.4248 | 1186285.6771 | 2817148.5568 | 1186291.9863
16 | 2816957.1195 | 1185793.4249 | 2816971.8094 | 1185781.287 | 2816975.2139 | 1185775.6739
17 | 2816975.2139 | 1185775.6739 | 2816980.9597 | 1185766.2007 | 2816981.805 | 1185760.0167
18 | 2817818.5735 | 1185807.6127 | 2817806.4282 | 1185819.4852 | 2817799.5857 | 1185821.6946 | 2817772.7131 | 1185818.3629
19 | 2817818.5735 | 1185807.6127 | 2817796.2364 | 1185795.3087
20 | 2817818.5735 | 1185807.6127 | 2817841.7917 | 1185822.4173
21 | 2817158.5725 | 1186251.1224 | 2817157.7044 | 1186241.1459 | 2817156.3997 | 1186237.5166 | 2817154.3629 | 1186234.4837 | 2817151.3842 | 1186231.717 | 2817147.7952 | 1186229.1395 | 2817143.0656 | 1186226.6207 | 2817118.4625 | 1186214.1251
22 | 2817158.5725 | 1186251.1224 | 2817151.5827 | 1186248.9888 | 2817145.394 | 1186248.3638 | 2817139.6074 | 1186249.0772 | 2817134.4687 | 1186251.9388 | 2817130.2319 | 1186256.0567 | 2817125.9983 | 1186262.1883 | 2817119.9529 | 1186274.4613
23 | 2817119.9529 | 1186274.4613 | 2817096.7057 | 1186264.0364
24 | 2817498.0712 | 1185696.4039 | 2817465.5896 | 1185684.9521
25 | 2817525.2392 | 1185705.9824 | 2817498.0712 | 1185696.4039
26 | 2817429.5173 | 1185674.9739 | 2817446.3412 | 1185678.1658 | 2817465.5896 | 1185684.9521
27 | 2817525.2392 | 1185705.9824 | 2817539.6553 | 1185711.065
28 | 2817089.7721 | 1185703.624 | 2817125.2705 | 1185699.2271 | 2817216.2861 | 1185684.9753 | 2817224.6627 | 1185689.1282 | 2817235.1424 | 1185688.385 | 2817239.4265 | 1185682.3444 | 2817287.1967 | 1185676.8921 | 2817309.9235 | 1185674.2909 | 2817355.6836 | 1185669.0665 | 2817407.8859 | 1185673.4985 | 2817419.3249 | 1185674.3256 | 2817429.5173 | 1185674.9739
29 | 2817552.7329 | 1185715.6757 | 2817539.6553 | 1185711.065
30 | 2817089.7721 | 1185703.624 | 2817085.6845 | 1185709.5161 | 2817073.4982 | 1185714.9699 | 2817061.25 | 1185718.13 | 2817056.0822 | 1185719.4666 | 2817041.1209 | 1185719.6917 | 2817020.7367 | 1185718.5966 | 2817014.0661 | 1185719.0222 | 2817008.2141 | 1185722.5811
31 | 2817571.9605 | 1185722.4546 | 2817552.7329 | 1185715.6757
32 | 2817006.1549 | 1185730.9052 | 2817008.2141 | 1185722.5811
33 | 2817571.9605 | 1185722.4546 | 2817588.5307 | 1185728.4188 | 2817589.2108 | 1185728.6634
34 | 2817571.9605 | 1185722.4546 | 2817567.1879 | 1185749.7021 | 2817567.0537 | 1185770.8442 | 2817574.5292 | 1185763.6182 | 2817584.2312 | 1185767.4527 | 2817606.9555 | 1185752.5159 | 2817607.3526 | 1185753.3647 | 2817609.1784 | 1185755.2665 | 2817611.518 | 1185756.4862 | 2817612.8019 | 1185756.6887 | 2817614.1236 | 1185756.9036 | 2817616.8302 | 1185756.4346 | 2817619.2246 | 1185755.0978
35 | 2817598.9712 | 1185731.9414 | 2817594.655 | 1185730.6215 | 2817589.2108 | 1185728.6634
36 | 2817847.3953 | 1185825.9902 | 2817841.7917 | 1185822.4173
37 | 2817868.3443 | 1185839.3479 | 2817847.3953 | 1185825.9902
38 | 2817868.3443 | 1185839.3479 | 2817872.7291 | 1185841.2652
39 | 2817868.3443 | 1185839.3479 | 2817874.7552 | 1185846.2669 | 2817911.927 | 1185886.3654 | 2817934.7006 | 1185903.0353 | 2817959.7807 | 1185920.7794 | 2817983.476 | 1185936.2594 | 2818006.375 | 1185943.8123 | 2818030.1361 | 1185944.2662 | 2818058.0322 | 1185952.0236 | 2818083.3921 | 1185959.5553 | 2818100.1197 | 1185964.5254 | 2818110.036 | 1185960.9933 | 2818114.1419 | 1185957.3496 | 2818124.9196 | 1185937.5186 | 2818142.181 | 1185930.1494 | 2818154.5602 | 1185933.0479 | 2818169.8211 | 1185936.9636 | 2818172.2792 | 1185945.4074
40 | 2817796.2364 | 1185795.3087 | 2817731.7551 | 1185767.507
41 | 2817872.7291 | 1185841.2652 | 2817886.396 | 1185828.7363 | 2817890.4843 | 1185828.3963
42 | 2817872.7291 | 1185841.2652 | 2817916.5835 | 1185860.4599 | 2817984.3884 | 1185880.8116
43 | 2818172.2792 | 1185945.4074 | 2818186.3384 | 1185935.9638 | 2818199.4027 | 1185927.1958 | 2818205.7605 | 1185898.4602 | 2818202.5135 | 1185890.7675
44 | 2817731.7551 | 1185767.507 | 2817714.8018 | 1185760.1974 | 2817680.6869 | 1185752.868
45 | 2817931.2425 | 1185833.5803 | 2817903.1911 | 1185827.4565 | 2817896.3515 | 1185827.9084 | 2817890.4843 | 1185828.3963
46 | 2817598.9712 | 1185731.9414 | 2817636.0212 | 1185743.2717 | 2817680.6869 | 1185752.868
47 | 2817006.1549 | 1185730.9052 | 2817000.9836 | 1185731.0737 | 2816987.9653 | 1185736.9313 | 2816983.8921 | 1185744.7485 | 2816981.805 | 1185760.0167

## bus_geodata
| x | y | coords
0 | 2817338.3984 | 1186413.3402
1 | 2817389.8932 | 1186430.3637
2 | 2817109.2106 | 1186305.6418
3 | 2817315.3903 | 1186361.7144
4 | 2817099.4768 | 1186301.2285
5 | 2817633.6428 | 1185783.8884
6 | 2817637.0359 | 1185769.3724
7 | 2817417.1686 | 1186162.8071
8 | 2817359.4938 | 1186309.3973
9 | 2817395.7458 | 1186204.0225
10 | 2817276.312 | 1186281.5168
11 | 2817148.5568 | 1186291.9863
12 | 2816957.1195 | 1185793.4249
13 | 2816975.2139 | 1185775.6739
14 | 2817772.7131 | 1185818.3629
15 | 2817818.5735 | 1185807.6127
16 | 2817396.4115 | 1186156.7053
17 | 2817372.5917 | 1186197.2965
18 | 2817238.4295 | 1186262.6857
19 | 2817158.5725 | 1186251.1224
20 | 2817118.4625 | 1186214.1251
21 | 2817119.9529 | 1186274.4613
22 | 2817096.7057 | 1186264.0364
23 | 2817498.0712 | 1185696.4039
24 | 2817465.5896 | 1185684.9521
25 | 2817525.2392 | 1185705.9824
26 | 2817429.5173 | 1185674.9739
27 | 2817539.6553 | 1185711.065
28 | 2817089.7721 | 1185703.624
29 | 2817552.7329 | 1185715.6757
30 | 2817008.2141 | 1185722.5811
31 | 2817571.9605 | 1185722.4546
32 | 2817589.2108 | 1185728.6634
33 | 2817619.2246 | 1185755.0978
34 | 2817841.7917 | 1185822.4173
35 | 2817847.3953 | 1185825.9902
36 | 2817868.3443 | 1185839.3479
37 | 2817796.2364 | 1185795.3087
38 | 2817872.7291 | 1185841.2652
39 | 2818172.2792 | 1185945.4074
40 | 2817731.7551 | 1185767.507
41 | 2817890.4843 | 1185828.3963
42 | 2817984.3884 | 1185880.8116
43 | 2818202.5135 | 1185890.7675
44 | 2817680.6869 | 1185752.868
45 | 2816981.805 | 1185760.0167
46 | 2817006.1549 | 1185730.9052
47 | 2817598.9712 | 1185731.9414
48 | 2817931.2425 | 1185833.5803
49 | 2817571.9605 | 1185722.4546

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1