## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3762-51_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3762-51_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3762-51_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3762-51_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3762-51_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3762-51_0_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_3762-51_0_4_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_3762-51_0_4_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_3762-51_0_4_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_3762-51_0_4_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_3762-51_0_4_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_3762-51_0_4_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_3762-51_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_3762-51_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_3762-51_0_4_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_3762-51_0_4_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_3762-51_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3762-51_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3762-51_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_3762-51_0_4_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_3762-51_0_4_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_3762-51_0_4_node_5 | 0.4 | n |  | TRUE
22 | bus_LV_3762-51_0_4_node_6 | 0.4 | n |  | TRUE
23 | bus_LV_3762-51_0_4_node_7 | 0.4 | n |  | TRUE
24 | bus_LV_3762-51_0_4_node_8 | 0.4 | n |  | TRUE
25 | bus_LV_3762-51_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_3762-51_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_3762-51_0_4_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_3762-51_0_4_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_3762-51_0_4_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_3762-51_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_3762-51_0_4_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_3762-51_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_3762-51_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_3762-51_0_4_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_3762-51_0_4_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_3762-51_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_3762-51_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_3762-51_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_3762-51_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_3762-51_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_3762-51_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_3762-51_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_3762-51_0_4_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_3762-51_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_3762-51_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_3762-51_0_4_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_3762-51_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_3762-51_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_3762-51_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_MV_170_0_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3762-51_0_4_load_0 | 0 | 0.0077078 | 0.0019318 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3762-51_0_4_load_1 | 1 | 0.0058324 | 0.0014617 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3762-51_0_4_load_2 | 2 | 0.0059432 | 0.0014895 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3762-51_0_4_load_42 | 6 | 0.0045822 | 0.0011484 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3762-51_0_4_load_46 | 7 | 0.015575 | 0.0039034 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3762-51_0_4_load_45 | 8 | 0.0039921 | 0.0010005 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3762-51_0_4_load_30 | 10 | 0.0024358 | 0.00061047 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3762-51_0_4_load_39 | 11 | 0.0031055 | 0.00077832 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3762-51_0_4_load_50 | 14 | 0.0042873 | 0.0010745 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3762-51_0_4_load_56 | 15 | 0.002133 | 0.00053458 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3762-51_0_4_load_10 | 17 | 0.016762 | 0.0042009 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3762-51_0_4_load_9 | 18 | 0.0031093 | 0.00077926 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3762-51_0_4_load_41 | 19 | 0.0063826 | 0.0015996 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3762-51_0_4_load_47 | 20 | 0.0013389 | 0.00033555 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3762-51_0_4_load_5 | 21 | 0.0032454 | 0.00081338 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3762-51_0_4_load_6 | 22 | 0.0024081 | 0.00060352 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3762-51_0_4_load_7 | 23 | 0.0020621 | 0.00051681 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3762-51_0_4_load_8 | 24 | 0.002395 | 0.00060025 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3762-51_0_4_load_25 | 25 | 0.005448 | 0.0013654 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3762-51_0_4_load_23 | 26 | 0.0023574 | 0.00059083 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3762-51_0_4_load_12 | 27 | 0.0079752 | 0.0019988 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3762-51_0_4_load_49 | 28 | 0.0025412 | 0.00063689 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3762-51_0_4_load_48 | 29 | 0.0054603 | 0.0013685 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3762-51_0_4_load_29 | 30 | 0.0064425 | 0.0016146 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3762-51_0_4_load_37 | 31 | 0.002608 | 0.00065363 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3762-51_0_4_load_28 | 32 | 0.0071344 | 0.0017881 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3762-51_0_4_load_55 | 34 | 0.0046196 | 0.0011578 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3762-51_0_4_load_54 | 35 | 0.0019573 | 0.00049056 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3762-51_0_4_load_21 | 36 | 0.0023425 | 0.00058709 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3762-51_0_4_load_22 | 37 | 0.0046401 | 0.0011629 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3762-51_0_4_load_24 | 38 | 0.0045834 | 0.0011487 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3762-51_0_4_load_27 | 39 | 0.0035395 | 0.00088708 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3762-51_0_4_load_31 | 40 | 0.0074308 | 0.0018623 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3762-51_0_4_load_32 | 41 | 0.0070275 | 0.0017613 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3762-51_0_4_load_34 | 43 | 0.0088709 | 0.0022232 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3762-51_0_4_load_36 | 44 | 0.0036769 | 0.00092152 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3762-51_0_4_load_43 | 46 | 0.0097308 | 0.0024388 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3762-51_0_4_load_40 | 47 | 0.0063749 | 0.0015977 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3762-51_0_4_load_44 | 48 | 0.012042 | 0.003018 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3762-51_0_4_load_38 | 49 | 0.003716 | 0.00093132 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3762-51_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.038029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3762-51_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.003085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3762-51_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.09213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3762-51_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0091781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3762-51_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.10148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_3762-51_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.029094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_3762-51_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.019273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3762-51_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.037846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3762-51_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.66991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3762-51_0_4_line_9 | NAYY 4x150 SE | 5 | 10 | 0.0077426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_3762-51_0_4_line_10 | NAYY 4x150 SE | 5 | 11 | 0.035269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3762-51_0_4_line_11 | NAYY 4x150 SE | 6 | 19 | 0.031014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3762-51_0_4_line_12 | NAYY 4x150 SE | 7 | 20 | 0.057689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3762-51_0_4_line_13 | NAYY 4x150 SE | 9 | 15 | 0.14535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3762-51_0_4_line_14 | NAYY 4x150 SE | 10 | 30 | 0.01096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_3762-51_0_4_line_15 | NAYY 4x150 SE | 11 | 31 | 0.0055529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3762-51_0_4_line_16 | NAYY 4x150 SE | 12 | 13 | 0.35254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3762-51_0_4_line_17 | NAYY 4x150 SE | 12 | 14 | 0.070586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3762-51_0_4_line_18 | NAYY 4x150 SE | 13 | 18 | 0.0053793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3762-51_0_4_line_19 | NAYY 4x150 SE | 13 | 16 | 0.17459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3762-51_0_4_line_20 | NAYY 4x150 SE | 15 | 35 | 0.10135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3762-51_0_4_line_21 | NAYY 4x150 SE | 16 | 17 | 0.027724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3762-51_0_4_line_22 | NAYY 4x150 SE | 17 | 27 | 0.018481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3762-51_0_4_line_23 | NAYY 4x150 SE | 18 | 23 | 0.012735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3762-51_0_4_line_24 | NAYY 4x150 SE | 19 | 47 | 0.015551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_3762-51_0_4_line_25 | NAYY 4x150 SE | 20 | 29 | 0.037444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3762-51_0_4_line_26 | NAYY 4x150 SE | 21 | 22 | 0.015366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_3762-51_0_4_line_27 | NAYY 4x150 SE | 21 | 23 | 0.0088113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_3762-51_0_4_line_28 | NAYY 4x150 SE | 22 | 24 | 0.0033095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_3762-51_0_4_line_29 | NAYY 4x150 SE | 24 | 25 | 0.011782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_3762-51_0_4_line_30 | NAYY 4x150 SE | 25 | 26 | 0.0023992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_3762-51_0_4_line_31 | NAYY 4x150 SE | 26 | 36 | 0.00055081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_3762-51_0_4_line_32 | NAYY 4x150 SE | 28 | 29 | 0.026621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3762-51_0_4_line_33 | NAYY 4x150 SE | 30 | 39 | 0.0010813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_3762-51_0_4_line_34 | NAYY 4x150 SE | 31 | 49 | 0.0030435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3762-51_0_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.062774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3762-51_0_4_line_36 | NAYY 4x150 SE | 33 | 39 | 0.014391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_3762-51_0_4_line_37 | NAYY 4x150 SE | 33 | 38 | 0.0077963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_3762-51_0_4_line_38 | NAYY 4x150 SE | 34 | 35 | 0.051582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3762-51_0_4_line_39 | NAYY 4x150 SE | 36 | 37 | 0.01148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_3762-51_0_4_line_40 | NAYY 4x150 SE | 37 | 38 | 0.0055924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_3762-51_0_4_line_41 | NAYY 4x150 SE | 40 | 41 | 0.010577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_3762-51_0_4_line_42 | NAYY 4x150 SE | 40 | 42 | 0.020191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_3762-51_0_4_line_43 | NAYY 4x150 SE | 41 | 43 | 0.014292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_3762-51_0_4_line_44 | NAYY 4x150 SE | 42 | 44 | 0.0019121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_3762-51_0_4_line_45 | NAYY 4x150 SE | 43 | 45 | 0.010458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3762-51_0_4_line_46 | NAYY 4x150 SE | 44 | 47 | 0.023983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_3762-51_0_4_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3762-51_0_4_line_48 | NAYY 4x150 SE | 46 | 48 | 0.010517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3762-51_0_4_trafo_34 | 0.25 MVA 20/0.4 kV | 50 | 43 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37
0 | 2818811.9596 | 1187171.5261 | 2818791.505 | 1187157.4886 | 2818781.3317 | 1187149.0445
1 | 2818811.9596 | 1187171.5261 | 2818812.5648 | 1187171.9414 | 2818814.4612 | 1187173.331
2 | 2818740.786 | 1187068.9435 | 2818749.2901 | 1187098.5778 | 2818757.8904 | 1187122.4422 | 2818763.5875 | 1187132.9403 | 2818771.7091 | 1187141.0575 | 2818781.3317 | 1187149.0445
3 | 2818821.8646 | 1187178.7558 | 2818814.4612 | 1187173.331
4 | 2818740.786 | 1187068.9435 | 2818731.0741 | 1187034.1035 | 2818727.4143 | 1187027.64 | 2818721.6653 | 1187022.1125 | 2818730.7784 | 1187018.7857 | 2818768.2095 | 1187033.4585
5 | 2818740.786 | 1187068.9435 | 2818746.8256 | 1187071.7451 | 2818757.6212 | 1187091.4133
6 | 2818821.8646 | 1187178.7558 | 2818839.7483 | 1187185.9407
7 | 2818821.8646 | 1187178.7558 | 2818833.6796 | 1187190.1118 | 2818852.9122 | 1187199.6283
8 | 2818613.3505 | 1187315.6275 | 2818617.4043 | 1187310.4693 | 2818625.4964 | 1187310.6092 | 2818731.1921 | 1187333.3048 | 2818716.1849 | 1187314.8241 | 2818704.0993 | 1187303.3472 | 2818687.915 | 1187280.9077 | 2818673.1625 | 1187264.2274 | 2818665.4164 | 1187251.8968 | 2818670.493 | 1187247.3879 | 2818682.1726 | 1187247.4031 | 2818698.441 | 1187245.5948 | 2818703.4414 | 1187246.1001 | 2818703.6042 | 1187228.8969 | 2818694.8856 | 1187226.4536 | 2818689.6902 | 1187222.7151 | 2818685.1497 | 1187213.5942 | 2818632.5178 | 1187195.7857 | 2818620.2974 | 1187202.6256 | 2818618.8068 | 1187192.615 | 2818618.1472 | 1187185.1599 | 2818618.2356 | 1187177.7211 | 2818621.2208 | 1187168.9864 | 2818623.0107 | 1187165.1583 | 2818629.2829 | 1187155.943 | 2818642.5316 | 1187140.1968 | 2818645.3724 | 1187134.16 | 2818649.4421 | 1187123.3402 | 2818658.9067 | 1187093.6617 | 2818663.6247 | 1187076.3914 | 2818661.8335 | 1187068.1274 | 2818674.6497 | 1187043.9444 | 2818690.5 | 1187013.665 | 2818696.7871 | 1187014.0839 | 2818706.3705 | 1187016.4921 | 2818721.6653 | 1187022.1125 | 2818730.7784 | 1187018.7857 | 2818768.2095 | 1187033.4585
9 | 2818768.2095 | 1187033.4585 | 2818775.4186 | 1187036.2826
10 | 2818768.2095 | 1187033.4585 | 2818787.4515 | 1187009.6775 | 2818789.9247 | 1187005.7062
11 | 2818757.6212 | 1187091.4133 | 2818761.6802 | 1187098.8082 | 2818772.1148 | 1187109.6909 | 2818777.1248 | 1187115.2737
12 | 2818890.133 | 1187213.5069 | 2818884.5742 | 1187208.6261 | 2818866.5135 | 1187198.2318 | 2818840.3547 | 1187186.1843 | 2818839.7483 | 1187185.9407
13 | 2818613.3505 | 1187315.6275 | 2818616.1142 | 1187320.6898 | 2818643.3249 | 1187333.6314 | 2818678.2541 | 1187360.0706 | 2818735.6258 | 1187391.9801
14 | 2818775.4186 | 1187036.2826 | 2818785.6236 | 1187040.2804
15 | 2818791.9075 | 1187000.5743 | 2818790.9331 | 1187004.0869 | 2818789.9247 | 1187005.7062
16 | 2818881.0048 | 1187069.3648 | 2818911.1459 | 1187070.9233 | 2818941.6009 | 1187070.7915 | 2818966.3306 | 1187069.2934 | 2818967.4421 | 1187082.7611 | 2818960.9767 | 1187125.008 | 2818965.333 | 1187134.7676 | 2819017.6506 | 1187172.0126 | 2819047.9772 | 1187194.3699 | 2819094.1062 | 1187222.2227 | 2819133.1387 | 1187243.3863
17 | 2819133.1387 | 1187243.3863 | 2819129.7514 | 1187237.422 | 2819126.8887 | 1187229.4413 | 2819127.7004 | 1187219.5815 | 2819144.2187 | 1187177.3416
18 | 2818881.0048 | 1187069.3648 | 2818875.6401 | 1187068.9689
19 | 2818881.0048 | 1187069.3648 | 2818911.1459 | 1187070.9233 | 2818941.6009 | 1187070.7915 | 2818966.3306 | 1187069.2934 | 2818962.1249 | 1187081.0981 | 2818956.683 | 1187104.3489 | 2818952.5656 | 1187128.1487 | 2818951.0102 | 1187142.2641 | 2818950.2361 | 1187149.4332 | 2818950.8368 | 1187156.608
20 | 2818805.1347 | 1187457.6352 | 2818797.212 | 1187458.1293 | 2818779.6177 | 1187449.6212 | 2818767.6791 | 1187431.6307 | 2818758.6494 | 1187412.4228 | 2818742.8193 | 1187395.981 | 2818735.6258 | 1187391.9801
21 | 2818950.8368 | 1187156.608 | 2818936.4307 | 1187157.4047 | 2818924.5611 | 1187151.4129
22 | 2818908.0632 | 1187143.0847 | 2818924.5611 | 1187151.4129
23 | 2818875.6401 | 1187068.9689 | 2818862.9401 | 1187068.0317
24 | 2818788.1141 | 1187126.1431 | 2818785.151 | 1187124.2174 | 2818777.1248 | 1187115.2737
25 | 2818890.133 | 1187213.5069 | 2818918.27 | 1187238.2121
26 | 2818854.1863 | 1187067.2013 | 2818839.4682 | 1187062.7871
27 | 2818854.1863 | 1187067.2013 | 2818855.0021 | 1187067.446 | 2818862.9401 | 1187068.0317
28 | 2818836.3269 | 1187061.758 | 2818836.965 | 1187062.0363 | 2818839.4682 | 1187062.7871
29 | 2818836.3269 | 1187061.758 | 2818825.528 | 1187057.0471
30 | 2818825.528 | 1187057.0471 | 2818823.329 | 1187056.0879
31 | 2818822.8241 | 1187055.8676 | 2818823.329 | 1187056.0879
32 | 2818938.274 | 1187255.7762 | 2818918.27 | 1187238.2121
33 | 2818786.6304 | 1187040.6748 | 2818785.6236 | 1187040.2804
34 | 2818791.9075 | 1187000.5743 | 2818792.7209 | 1186997.6415
35 | 2818800.0299 | 1187045.924 | 2818806.9825 | 1187029.6031 | 2818833.676 | 1187029.5557 | 2818847.8468 | 1187017.9121
36 | 2818800.0299 | 1187045.924 | 2818786.6304 | 1187040.6748
37 | 2818800.0299 | 1187045.924 | 2818807.1758 | 1187049.0413
38 | 2818805.1347 | 1187457.6352 | 2818826.3363 | 1187456.3131 | 2818837.1252 | 1187462.292 | 2818850.0821 | 1187474.7926
39 | 2818822.8241 | 1187055.8676 | 2818812.3018 | 1187051.2774
40 | 2818812.3018 | 1187051.2774 | 2818807.1758 | 1187049.0413
41 | 2818829.1164 | 1187131.5764 | 2818836.078 | 1187128.4934 | 2818839.0219 | 1187128.8347
42 | 2818810.4308 | 1187139.2138 | 2818822.3651 | 1187134.5664 | 2818829.1164 | 1187131.5764
43 | 2818839.0219 | 1187128.8347 | 2818839.0219 | 1187128.8347 | 2818840.8229 | 1187131.3923 | 2818838.4674 | 1187142.3054
44 | 2818810.4308 | 1187139.2138 | 2818808.731 | 1187138.3383
45 | 2818836.2609 | 1187152.5284 | 2818838.4674 | 1187142.3054
46 | 2818788.1141 | 1187126.1431 | 2818799.8061 | 1187133.7416 | 2818808.731 | 1187138.3383
47 | 2818836.2609 | 1187152.5284 | 2818868.7058 | 1187169.2481
48 | 2818868.7058 | 1187169.2481 | 2818878.0546 | 1187174.0658

## bus_geodata
| x | y | coords
0 | 2818811.9596 | 1187171.5261
1 | 2818781.3317 | 1187149.0445
2 | 2818814.4612 | 1187173.331
3 | 2818740.786 | 1187068.9435
4 | 2818821.8646 | 1187178.7558
5 | 2818768.2095 | 1187033.4585
6 | 2818757.6212 | 1187091.4133
7 | 2818839.7483 | 1187185.9407
8 | 2818852.9122 | 1187199.6283
9 | 2818613.3505 | 1187315.6275
10 | 2818775.4186 | 1187036.2826
11 | 2818789.9247 | 1187005.7062
12 | 2819133.1387 | 1187243.3863
13 | 2818881.0048 | 1187069.3648
14 | 2819144.2187 | 1187177.3416
15 | 2818735.6258 | 1187391.9801
16 | 2818950.8368 | 1187156.608
17 | 2818924.5611 | 1187151.4129
18 | 2818875.6401 | 1187068.9689
19 | 2818777.1248 | 1187115.2737
20 | 2818890.133 | 1187213.5069
21 | 2818854.1863 | 1187067.2013
22 | 2818839.4682 | 1187062.7871
23 | 2818862.9401 | 1187068.0317
24 | 2818836.3269 | 1187061.758
25 | 2818825.528 | 1187057.0471
26 | 2818823.329 | 1187056.0879
27 | 2818908.0632 | 1187143.0847
28 | 2818938.274 | 1187255.7762
29 | 2818918.27 | 1187238.2121
30 | 2818785.6236 | 1187040.2804
31 | 2818791.9075 | 1187000.5743
32 | 2818847.8468 | 1187017.9121
33 | 2818800.0299 | 1187045.924
34 | 2818850.0821 | 1187474.7926
35 | 2818805.1347 | 1187457.6352
36 | 2818822.8241 | 1187055.8676
37 | 2818812.3018 | 1187051.2774
38 | 2818807.1758 | 1187049.0413
39 | 2818786.6304 | 1187040.6748
40 | 2818829.1164 | 1187131.5764
41 | 2818839.0219 | 1187128.8347
42 | 2818810.4308 | 1187139.2138
43 | 2818838.4674 | 1187142.3054
44 | 2818808.731 | 1187138.3383
45 | 2818836.2609 | 1187152.5284
46 | 2818868.7058 | 1187169.2481
47 | 2818788.1141 | 1187126.1431
48 | 2818878.0546 | 1187174.0658
49 | 2818792.7209 | 1186997.6415
50 | 2818836.2609 | 1187152.5284

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1