## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3762-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3762-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3762-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3762-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3762-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3762-8_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3762-8_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3762-8_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3762-8_0_3_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_3762-8_0_3_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_3762-8_0_3_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_3762-8_0_3_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_3762-8_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_3762-8_0_3_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_3762-8_0_3_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_3762-8_0_3_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_3762-8_0_3_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_3762-8_0_3_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_3762-8_0_3_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_3762-8_0_3_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_3762-8_0_3_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_3762-8_0_3_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_3762-8_0_3_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_3762-8_0_3_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_3762-8_0_3_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_3762-8_0_3_node_9 | 0.4 | n |  | TRUE
26 | bus_LV_3762-8_0_3_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_3762-8_0_3_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_3762-8_0_3_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_3762-8_0_3_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_3762-8_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_3762-8_0_3_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_3762-8_0_3_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_3762-8_0_3_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_3762-8_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_3762-8_0_3_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_3762-8_0_3_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_3762-8_0_3_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_3762-8_0_3_node_17 | 0.4 | n |  | TRUE
39 | bus_LV_3762-8_0_3_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_3762-8_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_3762-8_0_3_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_3762-8_0_3_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_3762-8_0_3_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_3762-8_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_3762-8_0_3_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_3762-8_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_3762-8_0_3_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_3762-8_0_3_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_3762-8_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_3762-8_0_3_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_3762-8_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_3762-8_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_3762-8_0_3_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_3762-8_0_3_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_3762-8_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_3762-8_0_3_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_3762-8_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_3762-8_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_3762-8_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_3762-8_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_3762-8_0_3_node_58 | 0.4 | n |  | TRUE
62 | bus_MV_170_0_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3762-8_0_3_load_0 | 0 | 0.0043846 | 0.0010989 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3762-8_0_3_load_1 | 1 | 0.0070655 | 0.0017708 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3762-8_0_3_load_4 | 4 | 0.0073856 | 0.001851 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3762-8_0_3_load_6 | 6 | 0.0036112 | 0.00090505 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3762-8_0_3_load_31 | 9 | 0.004503 | 0.0011286 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3762-8_0_3_load_22 | 11 | 0.0046904 | 0.0011755 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3762-8_0_3_load_19 | 12 | 0.019622 | 0.0049177 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3762-8_0_3_load_63 | 13 | 0.0077708 | 0.0019475 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3762-8_0_3_load_27 | 14 | 0.01204 | 0.0030174 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3762-8_0_3_load_30 | 15 | 0.003825 | 0.00095864 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3762-8_0_3_load_44 | 16 | 0.0043761 | 0.0010968 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3762-8_0_3_load_34 | 17 | 0.0038877 | 0.00097435 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3762-8_0_3_load_45 | 18 | 0.0065347 | 0.0016377 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3762-8_0_3_load_20 | 19 | 0.0029187 | 0.00073151 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3762-8_0_3_load_60 | 21 | 0.0024853 | 0.00062287 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3762-8_0_3_load_62 | 23 | 0.0032475 | 0.0008139 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3762-8_0_3_load_61 | 24 | 0.0028018 | 0.00070219 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3762-8_0_3_load_9 | 25 | 0.0017544 | 0.0004397 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3762-8_0_3_load_10 | 26 | 0.0025048 | 0.00062777 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3762-8_0_3_load_12 | 28 | 0.0024801 | 0.00062157 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3762-8_0_3_load_23 | 30 | 0.0056541 | 0.0014171 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3762-8_0_3_load_16 | 31 | 0.0034297 | 0.00085956 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3762-8_0_3_load_14 | 32 | 0.0063943 | 0.0016026 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3762-8_0_3_load_28 | 34 | 0.011084 | 0.0027779 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3762-8_0_3_load_15 | 35 | 0.0036367 | 0.00091145 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3762-8_0_3_load_51 | 37 | 0.0068694 | 0.0017216 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3762-8_0_3_load_17 | 38 | 0.0011934 | 0.00029909 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3762-8_0_3_load_40 | 42 | 0.0032152 | 0.0008058 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3762-8_0_3_load_25 | 45 | 0.007859 | 0.0019696 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3762-8_0_3_load_41 | 46 | 0.0047954 | 0.0012018 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3762-8_0_3_load_59 | 47 | 0.0035732 | 0.00089553 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3762-8_0_3_load_57 | 48 | 0.0041463 | 0.0010392 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3762-8_0_3_load_32 | 49 | 0.0029663 | 0.00074343 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3762-8_0_3_load_33 | 50 | 0.0046066 | 0.0011545 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3762-8_0_3_load_36 | 51 | 0.0016957 | 0.00042499 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3762-8_0_3_load_38 | 53 | 0.0028041 | 0.00070277 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3762-8_0_3_load_39 | 54 | 0.001945 | 0.00048747 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3762-8_0_3_load_47 | 55 | 0.0067175 | 0.0016836 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3762-8_0_3_load_42 | 56 | 0.0046218 | 0.0011583 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3762-8_0_3_load_48 | 57 | 0.0014683 | 0.00036798 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3762-8_0_3_load_50 | 59 | 0.0011054 | 0.00027705 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3762-8_0_3_load_54 | 60 | 0.0029423 | 0.0007374 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3762-8_0_3_load_58 | 61 | 0.0023337 | 0.00058489 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3762-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3762-8_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.030266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_3762-8_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.039277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3762-8_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.014989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3762-8_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.018832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_3762-8_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.079745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3762-8_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.080874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3762-8_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.034521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_3762-8_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.00010384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3762-8_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.05286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3762-8_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.012665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3762-8_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.025841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3762-8_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.006486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3762-8_0_3_line_13 | NAYY 4x150 SE | 8 | 14 | 0.025769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_3762-8_0_3_line_14 | NAYY 4x150 SE | 9 | 15 | 0.009041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3762-8_0_3_line_15 | NAYY 4x150 SE | 10 | 16 | 0.015607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3762-8_0_3_line_16 | NAYY 4x150 SE | 10 | 17 | 0.010369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3762-8_0_3_line_17 | NAYY 4x150 SE | 11 | 18 | 0.010811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3762-8_0_3_line_18 | NAYY 4x150 SE | 12 | 19 | 0.00062935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3762-8_0_3_line_19 | NAYY 4x150 SE | 14 | 41 | 0.013603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3762-8_0_3_line_20 | NAYY 4x150 SE | 15 | 49 | 0.032892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3762-8_0_3_line_21 | NAYY 4x150 SE | 17 | 50 | 0.026078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3762-8_0_3_line_22 | NAYY 4x150 SE | 18 | 43 | 0.069759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3762-8_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.0082926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3762-8_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.059036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3762-8_0_3_line_25 | NAYY 4x150 SE | 21 | 61 | 0.0095747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3762-8_0_3_line_26 | NAYY 4x150 SE | 22 | 60 | 0.04942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3762-8_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.014239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3762-8_0_3_line_28 | NAYY 4x150 SE | 24 | 44 | 0.014696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3762-8_0_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.019865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3762-8_0_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.024106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3762-8_0_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.024015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3762-8_0_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.012678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3762-8_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.027257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3762-8_0_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.014498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3762-8_0_3_line_35 | NAYY 4x150 SE | 30 | 34 | 0.012473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3762-8_0_3_line_36 | NAYY 4x150 SE | 31 | 35 | 0.030019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3762-8_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.0062234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3762-8_0_3_line_38 | NAYY 4x150 SE | 33 | 36 | 0.028429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3762-8_0_3_line_39 | NAYY 4x150 SE | 33 | 37 | 0.026967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3762-8_0_3_line_40 | NAYY 4x150 SE | 34 | 44 | 0.0018571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3762-8_0_3_line_41 | NAYY 4x150 SE | 35 | 38 | 0.0097044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3762-8_0_3_line_42 | NAYY 4x150 SE | 36 | 60 | 0.053246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3762-8_0_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.0070599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3762-8_0_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.00368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3762-8_0_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.020215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3762-8_0_3_line_46 | NAYY 4x150 SE | 40 | 42 | 0.013161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3762-8_0_3_line_47 | NAYY 4x150 SE | 41 | 45 | 0.0075928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3762-8_0_3_line_48 | NAYY 4x150 SE | 42 | 46 | 0.028735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3762-8_0_3_line_49 | NAYY 4x150 SE | 43 | 55 | 0.01968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3762-8_0_3_line_50 | NAYY 4x150 SE | 43 | 54 | 0.019442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3762-8_0_3_line_51 | NAYY 4x150 SE | 44 | 47 | 0.01593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3762-8_0_3_line_52 | NAYY 4x150 SE | 46 | 56 | 0.014335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3762-8_0_3_line_53 | NAYY 4x150 SE | 47 | 48 | 0.010068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3762-8_0_3_line_54 | NAYY 4x150 SE | 48 | 61 | 0.011074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3762-8_0_3_line_55 | NAYY 4x150 SE | 51 | 52 | 0.037274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3762-8_0_3_line_56 | NAYY 4x150 SE | 51 | 53 | 0.041801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3762-8_0_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.030834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3762-8_0_3_line_58 | NAYY 4x150 SE | 55 | 57 | 0.012068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3762-8_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.0712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3762-8_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.067124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3762-8_0_3_trafo_0 | 0.25 MVA 20/0.4 kV | 62 | 0 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2821425.1124 | 1189368.9732 | 2821423.0613 | 1189366.5939 | 2821413.4299 | 1189356.7678
1 | 2821444.8741 | 1189391.8973 | 2821425.1124 | 1189368.9732
2 | 2821386.624 | 1189328.0897 | 2821395.1937 | 1189338.163 | 2821413.4299 | 1189356.7678
3 | 2821444.8741 | 1189391.8973 | 2821443.5138 | 1189394.6058 | 2821443.6255 | 1189397.1574 | 2821447.8933 | 1189400.8975 | 2821448.142 | 1189402.4307 | 2821447.0711 | 1189404.3379
4 | 2821444.8741 | 1189391.8973 | 2821454.6809 | 1189399.9028 | 2821459.4619 | 1189403.8065
5 | 2821386.624 | 1189328.0897 | 2821431.4911 | 1189360.4314 | 2821451.0063 | 1189375.1383
6 | 2821386.624 | 1189328.0897 | 2821394.9334 | 1189329.721 | 2821437.8957 | 1189352.2473 | 2821459.5618 | 1189362.3271
7 | 2821434.8664 | 1189415.3109 | 2821442.9255 | 1189421.6386 | 2821459.4619 | 1189403.8065
8 | 2821459.5424 | 1189403.8721 | 2821459.4619 | 1189403.8065
9 | 2821494.3122 | 1189405.3303 | 2821478.6376 | 1189395.9617 | 2821451.0063 | 1189375.1383
10 | 2821459.5618 | 1189362.3271 | 2821471.8393 | 1189365.4377
11 | 2821459.5618 | 1189362.3271 | 2821470.8531 | 1189339.0839
12 | 2821434.8664 | 1189415.3109 | 2821429.7933 | 1189411.2518
13 | 2821434.8664 | 1189415.3109 | 2821433.5893 | 1189416.5985 | 2821436.4464 | 1189419.6634 | 2821435.383 | 1189420.7476 | 2821438.8387 | 1189424.1461 | 2821437.6385 | 1189426.0373 | 2821439.893 | 1189428.8797 | 2821439.0594 | 1189432.0081 | 2821436.9381 | 1189435.7417
14 | 2821466.5485 | 1189409.5865 | 2821466.5485 | 1189409.5865 | 2821459.5424 | 1189403.8721
15 | 2821494.3122 | 1189405.3303 | 2821509.1696 | 1189410.1075
16 | 2821494.3122 | 1189405.3303 | 2821502.749 | 1189411.3586
17 | 2821482.3188 | 1189368.0928 | 2821471.8393 | 1189365.4377
18 | 2821470.8531 | 1189339.0839 | 2821471.1281 | 1189338.5178
19 | 2821427.8113 | 1189442.516 | 2821430.3358 | 1189443.6329 | 2821432.9247 | 1189442.8054 | 2821436.9381 | 1189435.7417
20 | 2821466.5485 | 1189409.5865 | 2821494.1994 | 1189427.399
21 | 2821523.9669 | 1189426.5191 | 2821502.749 | 1189411.3586
22 | 2821550.7503 | 1189381.5114 | 2821495.2489 | 1189371.3687 | 2821482.3188 | 1189368.0928
23 | 2821289.9792 | 1189330.0317 | 2821296.0389 | 1189335.6927
24 | 2821289.9792 | 1189330.0317 | 2821281.6843 | 1189332.5504 | 2821273.1255 | 1189330.6431 | 2821265.2299 | 1189326.7022 | 2821259.8856 | 1189325.4255 | 2821233.4436 | 1189318.7185
25 | 2821302.7864 | 1189342.4674 | 2821300.7784 | 1189340.1205 | 2821296.0389 | 1189335.6927
26 | 2821233.4436 | 1189318.7185 | 2821217.4129 | 1189341.8874 | 2821213.819 | 1189362.8273
27 | 2821320.8826 | 1189358.887 | 2821315.8187 | 1189351.9905 | 2821312.3127 | 1189347.5175
28 | 2821326.7713 | 1189370.7287 | 2821328.1767 | 1189368.656 | 2821322.5946 | 1189361.2186 | 2821320.8826 | 1189358.887
29 | 2821352.5437 | 1189429.4067 | 2821353.8765 | 1189431.7368 | 2821362.4131 | 1189446.646
30 | 2821345.394 | 1189407.3385 | 2821344.9252 | 1189416.0873 | 2821352.5437 | 1189429.4067
31 | 2821373.7021 | 1189467.8284 | 2821368.746 | 1189457.7064 | 2821362.4131 | 1189446.646
32 | 2821355.0856 | 1189400.2994 | 2821353.9156 | 1189403.0261 | 2821351.6281 | 1189404.7881 | 2821349.1923 | 1189406.4334 | 2821345.394 | 1189407.3385
33 | 2821355.0856 | 1189400.2994 | 2821354.7378 | 1189397.7279 | 2821353.0596 | 1189394.9959 | 2821346.8154 | 1189388.7355 | 2821337.4317 | 1189380.3056
34 | 2821355.0856 | 1189400.2994 | 2821363.4526 | 1189404.2912 | 2821367.8187 | 1189407.1657
35 | 2821337.4317 | 1189380.3056 | 2821328.1528 | 1189371.9698
36 | 2821392.8916 | 1189423.673 | 2821367.8187 | 1189407.1657
37 | 2821274.9563 | 1189394.2869 | 2821281.1373 | 1189395.0117
38 | 2821274.9563 | 1189394.2869 | 2821258.3896 | 1189393.129 | 2821246.6054 | 1189394.8068
39 | 2821274.9563 | 1189394.2869 | 2821268.7567 | 1189385.9924 | 2821253.4252 | 1189379.5984
40 | 2821326.7713 | 1189370.7287 | 2821328.1528 | 1189371.9698
41 | 2821392.8916 | 1189423.673 | 2821398.3639 | 1189427.2758 | 2821400.8648 | 1189429.1953
42 | 2821246.6054 | 1189394.8068 | 2821238.1857 | 1189385.2177 | 2821231.2715 | 1189382.2031 | 2821217.0792 | 1189378.9973 | 2821211.4883 | 1189371.7933 | 2821213.461 | 1189364.9135 | 2821213.819 | 1189362.8273
43 | 2821406.4652 | 1189433.4938 | 2821400.8648 | 1189429.1953
44 | 2821409.3909 | 1189435.738 | 2821406.4652 | 1189433.4938
45 | 2821409.3909 | 1189435.738 | 2821413.323 | 1189435.5498 | 2821425.6647 | 1189442.5366 | 2821427.8113 | 1189442.516
46 | 2821409.3909 | 1189435.738 | 2821415.5316 | 1189440.4595 | 2821420.2672 | 1189443.0849
47 | 2821427.8113 | 1189442.516 | 2821427.3341 | 1189441.5861 | 2821421.7208 | 1189438.2153
48 | 2821420.2672 | 1189443.0849 | 2821434.7328 | 1189451.1044 | 2821445.0619 | 1189457.588
49 | 2821550.7503 | 1189381.5114 | 2821554.0045 | 1189362.1023
50 | 2821550.7503 | 1189381.5114 | 2821569.9199 | 1189384.7552
51 | 2821326.7713 | 1189370.7287 | 2821316.2712 | 1189358.7486
52 | 2821457.8506 | 1189464.0413 | 2821446.7483 | 1189458.6466 | 2821445.0619 | 1189457.588
53 | 2821309.928 | 1189350.93 | 2821316.2712 | 1189358.7486 | 2821316.2712 | 1189358.7486
54 | 2821309.928 | 1189350.93 | 2821308.1205 | 1189348.7021 | 2821302.7864 | 1189342.4674
55 | 2821600.3218 | 1189389.8998 | 2821602.375 | 1189386.2158 | 2821613.2328 | 1189380.6886 | 2821626.9264 | 1189364.9358
56 | 2821629.2995 | 1189333.9159 | 2821642.116 | 1189347.462 | 2821626.9264 | 1189364.9358
57 | 2821600.3218 | 1189389.8998 | 2821569.9199 | 1189384.7552
58 | 2821556.0001 | 1189350.2007 | 2821554.0045 | 1189362.1023
59 | 2821536.7392 | 1189287.2134 | 2821552.172 | 1189304.149 | 2821559.3751 | 1189316.4747 | 2821559.73 | 1189323.5963 | 2821558.7582 | 1189333.7504 | 2821556.0001 | 1189350.2007
60 | 2821536.7392 | 1189287.2134 | 2821548.1572 | 1189290.4841 | 2821561.3384 | 1189299.5492 | 2821570.9439 | 1189311.3409 | 2821576.7678 | 1189325.4399 | 2821584.8223 | 1189329.2091

## bus_geodata
| x | y | coords
0 | 2821425.1124 | 1189368.9732
1 | 2821413.4299 | 1189356.7678
2 | 2821444.8741 | 1189391.8973
3 | 2821386.624 | 1189328.0897
4 | 2821447.0711 | 1189404.3379
5 | 2821459.4619 | 1189403.8065
6 | 2821451.0063 | 1189375.1383
7 | 2821459.5618 | 1189362.3271
8 | 2821434.8664 | 1189415.3109
9 | 2821459.5424 | 1189403.8721
10 | 2821494.3122 | 1189405.3303
11 | 2821471.8393 | 1189365.4377
12 | 2821470.8531 | 1189339.0839
13 | 2821429.7933 | 1189411.2518
14 | 2821436.9381 | 1189435.7417
15 | 2821466.5485 | 1189409.5865
16 | 2821509.1696 | 1189410.1075
17 | 2821502.749 | 1189411.3586
18 | 2821482.3188 | 1189368.0928
19 | 2821471.1281 | 1189338.5178
20 | 2821289.9792 | 1189330.0317
21 | 2821296.0389 | 1189335.6927
22 | 2821233.4436 | 1189318.7185
23 | 2821312.3127 | 1189347.5175
24 | 2821320.8826 | 1189358.887
25 | 2821352.5437 | 1189429.4067
26 | 2821362.4131 | 1189446.646
27 | 2821345.394 | 1189407.3385
28 | 2821373.7021 | 1189467.8283
29 | 2821355.0856 | 1189400.2994
30 | 2821337.4317 | 1189380.3056
31 | 2821367.8187 | 1189407.1657
32 | 2821281.1373 | 1189395.0117
33 | 2821274.9563 | 1189394.2869
34 | 2821328.1528 | 1189371.9698
35 | 2821392.8916 | 1189423.673
36 | 2821246.6054 | 1189394.8068
37 | 2821253.4252 | 1189379.5984
38 | 2821400.8648 | 1189429.1953
39 | 2821406.4652 | 1189433.4938
40 | 2821409.3909 | 1189435.738
41 | 2821427.8113 | 1189442.516
42 | 2821420.2672 | 1189443.0849
43 | 2821550.7503 | 1189381.5114
44 | 2821326.7713 | 1189370.7287
45 | 2821421.7208 | 1189438.2153
46 | 2821445.0619 | 1189457.588
47 | 2821316.2712 | 1189358.7486
48 | 2821309.928 | 1189350.93
49 | 2821494.1994 | 1189427.399
50 | 2821523.9669 | 1189426.5191
51 | 2821626.9264 | 1189364.9358
52 | 2821600.3218 | 1189389.8998
53 | 2821629.2995 | 1189333.9159
54 | 2821569.9199 | 1189384.7552
55 | 2821554.0045 | 1189362.1023
56 | 2821457.8506 | 1189464.0413
57 | 2821556.0001 | 1189350.2007
58 | 2821536.7392 | 1189287.2134
59 | 2821584.8223 | 1189329.2091
60 | 2821213.819 | 1189362.8273
61 | 2821302.7864 | 1189342.4674
62 | 2821444.8741 | 1189391.8973

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1